## Sheet1
Sample | [7 empty] | 75 As [ He ] | 78 Se [ H2 ] | 78 Se [ He ] | 111 Cd [ No Gas ] | 111 Cd [ He ] | 114 Cd [ He ] | 121 Sb [ He ] | 123 Sb [ No Gas ] | 123 Sb [ He ] | 201 Hg [ No Gas ] | 201 Hg [ He ] | 202 Hg [ No Gas ] | 202 Hg [ He ] | 206 [Pb] [ No Gas ] | 206 [Pb] [ He ] | 207 [Pb] [ No Gas ] | 207 [Pb] [ He ] | 208 Pb [ No Gas ] | 208 Pb [ He ] | 238 U [ No Gas ] | 238 U [ He ] | 72 Ge ( ISTD ) [ He ] |  |  | 89 Y ( ISTD ) [ No Gas ] |  |  | 89 Y ( ISTD ) [ H2 ] |  |  | 89 Y ( ISTD ) [ He ] |  |  | 115 In ( ISTD ) [ He ] |  |  | 159 Tb ( ISTD ) [ No Gas ] |  |  | 159 Tb ( ISTD ) [ He ] |  |  | 209 Bi ( ISTD ) [ No Gas ] |  |  | 209 Bi ( ISTD ) [ He ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | Total Dil. | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD
| FALSE | 001SMPL.d | 2023-02-01 10:15 | Sample |  | blk | 1 | [22 empty] | 16856.4333 | 8.5143 |  | 784763.9733 | 1.6815 |  | 331108.3 | 0.40261 |  | 129498.7867 | 11.1568 |  | 178043.7567 | 11.5744 |  | 1010460.8367 | 3.9488 |  | 571143.24 | 14.564 |  | 686330.7433 | 1.0115 |  | 425321.6233 | 12.1496
| FALSE | 002SMPL.d | 2023-02-01 10:19 | Sample |  | blk | 1 | [22 empty] | 16264.9267 | 10.0875 |  | 929354.0167 | 23.422 |  | 308101.4967 | 5.7739 |  | 121712.0567 | 11.7652 |  | 165635.18 | 11.2597 |  | 1190569.8967 | 21.4453 |  | 544081.5233 | 10.2303 |  | 723315.4233 | 22.8384 |  | 392297.3167 | 11.1486
| FALSE | 003SMPL.d | 2023-02-01 10:23 | Sample |  | blk | 1 | [22 empty] | 16774.9 | 1.5048 |  | 800080.6133 | 0.62022 |  | 324987.8333 | 0.33356 |  | 123481.6333 | 0.83212 |  | 167810.1633 | 0.30487 |  | 1034251.06 | 0.8668 |  | 532750.5933 | 0.48501 |  | 614204.6133 | 0.18555 |  | 395017.0567 | 0.58243
| FALSE | 004CALB.d | 2023-02-01 10:26 | CalBlk | 1 | blk | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 16778.1967 | 0.7235 | 100 | 812224.6033 | 0.77428 | 100 | 333803.5433 | 0.56397 | 100 | 123526.43 | 0.87118 | 100 | 169873.8933 | 0.35804 | 100 | 1044420.4033 | 0.45504 | 100 | 541069.9967 | 0.21145 | 100 | 627436.9967 | 0.10054 | 100 | 399989.15 | 0.71014
| FALSE | 005CALS.d | 2023-02-01 10:30 | CalStd | 2 | curve 1 | 1 | 0.10337 | 0.082429 | <0.000 | 0.11875 | 0.097056 | 0.099988 | 0.1042 | 0.12501 | 0.096051 | 0.0019369 | 0.0022149 | 0.0059137 | 0.00081392 | 0.13403 | 0.10479 | 0.13297 | 0.10288 | 0.13255 | 0.10568 | 0.10914 | 0.092284 | 99.8847 | 16758.8433 | 3.8518 | 93.91 | 762759.9733 | 40.5893 | 98.9361 | 330252.31 | 0.19474 | 100.7123 | 124406.3367 | 6.1061 | 99.3646 | 168794.5367 | 6.3804 | 92.3204 | 964213.61 | 41.7042 | 101.6112 | 549787.5 | 8.7062 | 99.0309 | 621356.2 | 42.4368 | 99.8892 | 399546.1133 | 5.8908
| FALSE | 006CALS.d | 2023-02-01 10:34 | CalStd | 3 | curve 2 | 1 | 0.96638 | 0.99496 | 0.95838 | 1.0116 | 0.98893 | 0.99652 | 0.98954 | 0.98995 | 0.98724 | 0.040711 | 0.045976 | 0.040118 | 0.045334 | 1.0247 | 0.98553 | 1.0378 | 0.98699 | 1.0357 | 0.98959 | 0.97882 | 0.94633 | 98.727 | 16564.6167 | 1.5501 | 98.3243 | 798614.1467 | 1.4991 | 97.9797 | 327059.84 | 0.63961 | 100.7347 | 124433.9867 | 0.7946 | 99.469 | 168971.87 | 0.68235 | 98.6463 | 1030281.73 | 0.95322 | 99.4269 | 537968.9167 | 0.32631 | 97.9686 | 614691.34 | 0.90094 | 99.0543 | 396206.3 | 0.25255
| FALSE | 007CALS.d | 2023-02-01 10:38 | CalStd | 4 | curve 2.5 (Hg only) | 1 | 1.968 | 1.9536 | 1.9083 | 1.9976 | 2.0145 | 2.0058 | 1.9443 | 1.9238 | 1.9702 | 0.085174 | 0.099401 | 0.08463 | 0.090762 | 1.9515 | 1.9453 | 1.9903 | 1.9374 | 1.9849 | 1.9525 | 1.9426 | 1.9125 | 98.8928 | 16592.4267 | 3.5861 | 98.7725 | 802254.3033 | 0.58185 | 97.189 | 324420.2633 | 1.4842 | 100.4535 | 124086.6033 | 0.27951 | 99.1535 | 168435.9633 | 0.49902 | 99.295 | 1037057.39 | 1.1402 | 98.6156 | 533579.1767 | 0.59202 | 99.1574 | 622150.42 | 0.80662 | 98.1018 | 392396.6733 | 0.90808
| FALSE | 008CALS.d | 2023-02-01 10:42 | CalStd | 5 | curve 3 | 1 | 10.0164 | 9.9146 | 9.8004 | 11.0957 | 10.1379 | 10.0408 | 9.933 | 10.7365 | 9.9047 | 0.52909 | 0.48395 | 0.52204 | 0.48378 | 10.7528 | 9.7683 | 10.8475 | 9.815 | 10.8766 | 9.8463 | 10.7324 | 9.7024 | 97.9448 | 16433.3633 | 0.47862 | 89.6491 | 728152.2067 | 11.2076 | 96.4242 | 321867.46 | 0.7463 | 99.3853 | 122767.1567 | 0.17276 | 98.4501 | 167241.07 | 0.31823 | 88.2238 | 921427.2367 | 12.1644 | 96.9533 | 524585.1367 | 0.49185 | 91.2651 | 572630.9733 | 9.8231 | 97.3421 | 389358.0067 | 0.73972
| FALSE | 009CALS.d | 2023-02-01 10:46 | CalStd | 6 | curve 4 | 1 | 50.2539 | 50.9478 | 50.5633 | 50.9014 | 50.5729 | 51.0076 | 50.3225 | 50.7379 | 50.2976 | 2.4949 | 2.5101 | 2.4983 | 2.4864 | 50.7756 | 49.232 | 49.5355 | 49.0802 | 50.5947 | 50.146 | 50.498 | 50.7435 | 98.3692 | 16504.5733 | 2.5586 | 95.3019 | 774065.2233 | 0.58562 | 94.0912 | 314079.9033 | 0.59364 | 97.5514 | 120501.71 | 0.70753 | 96.8716 | 164559.5833 | 1.2438 | 97.0966 | 1014096.21 | 1.1386 | 97.3842 | 526916.7567 | 0.36812 | 97.5308 | 611944.4 | 0.42637 | 95.4864 | 381935.1233 | 0.19877
| FALSE | 010CALS.d | 2023-02-01 10:49 | CalStd | 7 | curve 5 | 1 | 99.8718 | 99.5347 | 99.7388 | 99.4396 | 99.6999 | 99.4921 | 99.8456 | 99.5575 | 99.8609 | 5 | 4.9966 | 4.9991 | 5.0086 | 99.5366 | 100.4073 | 100.1471 | 100.4785 | 99.6146 | 99.9425 | 99.678 | 99.6586 | 100.7429 | 16902.85 | 0.94715 | 96.9055 | 787090.5167 | 0.4392 | 95.2814 | 318052.82 | 1.045 | 98.9152 | 122186.37 | 1.3643 | 96.9353 | 164667.8433 | 0.88346 | 99.6039 | 1040282.9333 | 0.51417 | 98.3234 | 531998.4267 | 0.19797 | 97.4509 | 611443.1333 | 0.38381 | 95.6561 | 382614.15 | 0.5183
| FALSE | 011SMPL.d | 2023-02-01 10:53 | Sample |  | blk | 1 | 0.051065 | 0.11413 | 0.10655 | 0.013704 | 0.0076769 | 0.010882 | 0.036823 | 0.05104 | 0.03432 | 0.078356 | 0.051143 | 0.065981 | 0.053133 | 0.043404 | 0.032499 | 0.047358 | 0.030856 | 0.043942 | 0.029951 | 0.054243 | 0.03741 | 99.5295 | 16699.25 | 1.2626 | 91.9096 | 746512.12 | 19.671 | 95.2203 | 317848.61 | 2.4324 | 100.9416 | 124689.5967 | 1.0576 | 98.8397 | 167902.9167 | 0.4372 | 90.7827 | 948153.0533 | 20.1694 | 98.825 | 534712.2567 | 0.27136 | 93.0078 | 583565.2233 | 19.0083 | 98.3175 | 393259.4133 | 0.14447
| FALSE | 012SMPL.d | 2023-02-01 10:57 | Sample |  | blk | 1 | 0.022379 | 0.037992 | 0.031611 | 0.0036128 | 0.0026854 | 0.002479 | 0.011354 | 0.017921 | 0.012186 | 0.029156 | 0.035704 | 0.02468 | 0.034828 | 0.018304 | 0.02012 | 0.019743 | 0.018279 | 0.018856 | 0.020363 | 0.010272 | 0.0088627 | 93.2515 | 15645.9133 | 10.8687 | 97.0608 | 788351.44 | 0.34466 | 96.5756 | 322372.8267 | 0.78518 | 90.5306 | 111829.2133 | 14.4574 | 89.727 | 152422.81 | 13.5357 | 98.9088 | 1033023.7433 | 1.6467 | 88.7631 | 480270.4533 | 13.7855 | 99.2997 | 623042.8967 | 0.43459 | 89.9194 | 359667.9067 | 11.4795
| FALSE | 013_QC1.d | 2023-02-01 11:01 | QC1 |  | qc 1 | 1 | 5.1406 | 5.2505 | 4.8325 | 5.8953 | 5.1194 | 5.1206 | 5.0769 | 5.7141 | 5.0548 | 0.60305 | 0.5402 | 0.57389 | 0.53092 | 5.402 | 4.8902 | 5.7039 | 5.0976 | 5.6231 | 5.0395 | 5.4694 | 4.9356 | 98.8993 | 16593.5267 | 1.9125 | 90.9886 | 739031.8767 | 33.7942 | 94.5352 | 315561.9667 | 1.6622 | 98.7133 | 121937.0467 | 0.88999 | 97.131 | 165000.27 | 0.38095 | 88.9365 | 928871.3167 | 34.7973 | 95.8703 | 518725.2833 | 0.13674 | 95.8849 | 601617.61 | 31.4826 | 96.3454 | 385371.03 | 0.24381
| FALSE | 014_QC2.d | 2023-02-01 11:04 | QC2 |  | qc 2 | 1 | 10.1564 | 9.9944 | 10.0936 | 10.3346 | 10.2443 | 10.2092 | 10.1366 | 9.9517 | 10.0987 | 1.0222 | 1.0433 | 1.0548 | 1.0431 | 9.8393 | 9.7212 | 10.3198 | 10.1423 | 10.1618 | 9.9959 | 9.8944 | 9.7518 | 98.1238 | 16463.4033 | 2.0728 | 95.8377 | 778417.3067 | 0.40158 | 94.4872 | 315401.5167 | 1.1821 | 98.7892 | 122030.73 | 0.78816 | 97.3016 | 165290.0133 | 0.085684 | 98.0775 | 1024341.3733 | 0.6615 | 96.837 | 523955.8867 | 0.28903 | 98.898 | 620522.75 | 0.73451 | 96.8333 | 387322.86 | 0.42668
| FALSE | 015_QC3.d | 2023-02-01 11:08 | QC3 |  | qc 3 | 1 | 51.1573 | 51.0471 | 51.3312 | 59.3473 | 51.3368 | 51.3626 | 51.2244 | 60.2564 | 51.061 | 5.9552 | 5.2495 | 5.9268 | 5.2375 | 57.1201 | 48.9062 | 57.6902 | 51.1561 | 58.2385 | 51.1372 | 57.3898 | 50.998 | 99.808 | 16745.9833 | 1.5813 | 86.9313 | 706077.66 | 26.813 | 93.906 | 313461.6267 | 0.61673 | 98.3439 | 121480.6567 | 1.1264 | 96.5815 | 164066.7833 | 0.92163 | 86.3637 | 901999.6733 | 27.6862 | 97.4015 | 527010.27 | 0.40284 | 90.1397 | 565569.7467 | 23.5919 | 95.3618 | 381436.7233 | 0.51977
| FALSE | 016SMPL.d | 2023-02-01 11:12 | Sample |  | blk | 1 | 0.026449 | 0.052579 | 0.037478 | 0.0071894 | 0.0026095 | 0.0057105 | 0.018907 | 0.029794 | 0.01832 | 0.057219 | 0.057944 | 0.059143 | 0.055626 | 0.02214 | 0.025239 | 0.024393 | 0.021421 | 0.025493 | 0.022454 | 0.032984 | 0.022617 | 98.8794 | 16590.1833 | 1.328 | 103.5866 | 841355.5467 | 40.9454 | 94.6906 | 316080.4533 | 0.50437 | 99.8037 | 123283.9167 | 0.48287 | 98.4838 | 167298.2967 | 0.79332 | 104.8793 | 1095381.2467 | 40.6207 | 98.436 | 532607.5267 | 0.87288 | 107.755 | 676094.71 | 37.0618 | 98.0449 | 392168.96 | 0.76337
| FALSE | 017SMPL.d | 2023-02-01 11:15 | Sample |  | blk | 1 | 0.0071895 | 0.019832 | <0.000 | 0.0015566 | 0.002 | 0.0041004 | 0.0076917 | 0.013037 | 0.0083476 | 0.037551 | 0.043911 | 0.034158 | 0.042434 | 0.015937 | 0.017499 | 0.014281 | 0.015071 | 0.016308 | 0.015455 | 0.0073542 | 0.0070496 | 100.0041 | 16778.88 | 11.4007 | 97.4892 | 791831.2633 | 0.47297 | 96.763 | 322998.3033 | 1.1999 | 101.7177 | 125648.2033 | 17.3411 | 100.2307 | 170265.7767 | 17.2714 | 101.4053 | 1059097.1967 | 0.87639 | 101.3996 | 548642.85 | 19.2185 | 100.6354 | 631423.4367 | 0.71151 | 99.3327 | 397319.8433 | 15.0716
| FALSE | 018SMPL.d | 2023-02-01 11:19 | Sample |  | 172416-001 mj | 5 | 1.8089 | 0.19189 | 0.16029 | 1.1992 | 1.1902 | 1.7042 | 0.34718 | 0.36705 | 0.38394 | 1.4797 | 1.4773 | 1.4671 | 1.4957 | 1.6673 | 1.7019 | 1.7325 | 1.7532 | 1.7183 | 1.7076 | 0.048418 | 0.042349 | 100.0401 | 16784.9167 | 0.55643 | 98.0718 | 796563.25 | 0.54484 | 97.6493 | 325956.7 | 0.28457 | 101.5442 | 125433.9467 | 0.41676 | 97.9461 | 166384.9367 | 0.70851 | 104.2941 | 1089269.3233 | 1.0293 | 100.3227 | 542816.04 | 0.83147 | 99.8344 | 626398.2533 | 0.54549 | 96.8977 | 387580.12 | 0.39044
| FALSE | 019SMPL.d | 2023-02-01 11:23 | Sample |  | 172416-002 mj | 5 | 1.1486 | 0.22775 | 0.29843 | 1.1553 | 1.1386 | 1.5009 | 0.48427 | 0.46443 | 0.45278 | 0.42034 | 0.38882 | 0.41897 | 0.3974 | 1.8594 | 1.8886 | 1.9944 | 1.9234 | 1.9289 | 1.9021 | 0.030509 | 0.027575 | 97.0963 | 16291.0067 | 2.0815 | 98.3936 | 799177.3833 | 0.44391 | 95.7575 | 319641.8767 | 0.61235 | 100.4907 | 124132.6033 | 0.35318 | 97.185 | 165091.9067 | 0.6512 | 103.9039 | 1085193.0667 | 0.31943 | 100.7264 | 545000.0633 | 0.39096 | 98.9236 | 620683.23 | 0.80065 | 95.6638 | 382645.0133 | 0.54267
| FALSE | 020SMPL.d | 2023-02-01 11:27 | Sample |  | 172416-003 mj | 5 | 1.2249 | 0.19932 | <0.000 | 0.41152 | 0.39556 | 0.70043 | 0.26539 | 0.3057 | 0.30214 | 0.30215 | 0.28699 | 0.30025 | 0.28873 | 3.986 | 4.0977 | 4.2044 | 4.1924 | 4.1238 | 4.131 | 0.020319 | 0.023293 | 97.5735 | 16371.0667 | 1.42 | 96.6196 | 784768.39 | 0.94829 | 94.3566 | 314965.6667 | 0.34801 | 99.4273 | 122819.02 | 1.383 | 96.2117 | 163438.63 | 0.1014 | 102.3923 | 1069406.54 | 0.24673 | 98.7315 | 534206.7067 | 0.077247 | 98.1091 | 615572.7467 | 1.574 | 93.8415 | 375355.92 | 0.77484
| FALSE | 021SMPL.d | 2023-02-01 11:30 | Sample |  | 172426-003 | 1 | 0.17598 | 0.043378 | <0.000 | 0.0065971 | 0.0069806 | 0.028226 | 0.07087 | 0.080545 | 0.070459 | 0.019176 | 0.029965 | 0.025438 | 0.024797 | 1.0714 | 1.0542 | 1.1012 | 1.0506 | 1.0875 | 1.058 | 0.005367 | 0.0057909 | 97.5203 | 16362.1533 | 2.0804 | 95.3777 | 774681.2733 | 0.43357 | 93.5013 | 312110.7033 | 1.2011 | 98.5588 | 121746.1533 | 0.55262 | 97.5936 | 165786.0933 | 0.25452 | 101.8627 | 1063874.43 | 0.54905 | 98.476 | 532824.2733 | 0.30226 | 99.5508 | 624618.8133 | 0.74825 | 97.7703 | 391070.6067 | 0.67083
| FALSE | 022SMPL.d | 2023-02-01 11:34 | Sample |  | 172435-001 | 1 | 0.12466 | 0.048021 | <0.000 | 0.0055563 | 0.0054428 | 0.011015 | 0.057221 | 0.06152 | 0.056077 | 0.0076972 | 0.015623 | 0.0095062 | 0.015461 | 0.64763 | 0.64 | 0.65551 | 0.65462 | 0.65539 | 0.65115 | 0.047799 | 0.047431 | 98.8927 | 16592.4133 | 2.4529 | 93.7948 | 761824.1 | 0.23153 | 92.7955 | 309754.59 | 1.1127 | 97.4973 | 120434.9267 | 0.37955 | 96.047 | 163158.7 | 0.75602 | 100.4719 | 1049348.7267 | 0.33726 | 97.5849 | 528002.7767 | 0.47436 | 97.1931 | 609825.7467 | 0.1265 | 95.197 | 380777.59 | 0.28785
| FALSE | 023SMPL.d | 2023-02-01 11:38 | Sample |  | 172426-002 | 1 | 0.17187 | 0.042915 | <0.000 | 0.0068384 | 0.005709 | 0.032272 | 0.088417 | 0.084527 | 0.08927 | 0.010133 | 0.012888 | 0.0021035 | 0.0093424 | 1.4226 | 1.4021 | 1.4691 | 1.43 | 1.4517 | 1.425 | 0.0053375 | 0.0059635 | 98.8334 | 16582.4667 | 1.2145 | 95.0027 | 771635.49 | 0.43227 | 92.9327 | 310212.4933 | 0.77428 | 97.9394 | 120981.0867 | 0.64386 | 97.8079 | 166150.11 | 0.86751 | 100.9037 | 1053859.29 | 0.26603 | 98.8351 | 534767.1933 | 0.42087 | 99.9974 | 627420.6567 | 0.37198 | 98.0306 | 392111.59 | 0.23261
| FALSE | 024SMPL.d | 2023-02-01 11:42 | Sample |  | 172425-003 | 1 | 0.57995 | 0.2693 | 0.12052 | 0.024064 | 0.020879 | 0.027983 | 0.11321 | 0.12142 | 0.11854 | 0.0069578 | 0.011094 | 0.0091624 | 0.01601 | 1.1316 | 1.1331 | 1.1784 | 1.1677 | 1.1641 | 1.1484 | 0.012122 | 0.011244 | 96.3602 | 16167.4967 | 0.75832 | 92.2624 | 749377.7167 | 0.69841 | 91.3002 | 304763.3767 | 0.90455 | 97.055 | 119888.5267 | 2.4536 | 94.1762 | 159980.81 | 0.69407 | 98.0118 | 1023655.67 | 0.7417 | 96.1334 | 520148.9833 | 0.22728 | 94.8678 | 595235.5933 | 0.75263 | 92.8877 | 371540.8967 | 0.41533
| FALSE | 025SMPL.d | 2023-02-01 11:45 | Sample |  | 172424-003 | 1 | 0.47857 | 0.034504 | 0.011094 | 0.00050792 | <0.000 | 0.0031461 | 0.049106 | 0.054079 | 0.050891 | <0.000 | 0.0037392 | 0.0019688 | 0.0059334 | 0.47742 | 0.47326 | 0.49613 | 0.49221 | 0.49388 | 0.48747 | 0.015069 | 0.013609 | 95.9093 | 16091.8567 | 1.4284 | 93.1208 | 756350.2633 | 0.51962 | 91.6998 | 306097.14 | 1.2189 | 96.0097 | 118597.3067 | 0.47358 | 95.012 | 161400.6433 | 0.6777 | 99.4759 | 1038946.6933 | 2.0564 | 96.4116 | 521654.18 | 0.55578 | 96.1695 | 603402.74 | 0.22911 | 93.4844 | 373927.2867 | 0.97137
| FALSE | 026SMPL.d | 2023-02-01 11:49 | Sample |  | 172425-001 | 1 | 0.60799 | 0.30886 | 0.14627 | 0.0062548 | 0.0068227 | 0.0099302 | 0.12713 | 0.12956 | 0.1205 | 0.00017833 | 0.0071283 | 0.0072202 | 0.0085642 | 2.9143 | 2.9128 | 2.9938 | 2.9604 | 2.9685 | 2.944 | 0.012453 | 0.011637 | 93.5029 | 15688.0933 | 4.2093 | 91.6059 | 744045.5733 | 0.39124 | 90.652 | 302599.47 | 0.62938 | 94.0614 | 116190.65 | 1.1951 | 92.9866 | 157960.0233 | 0.27686 | 98.5776 | 1029565.0033 | 0.31246 | 95.2862 | 515565.2833 | 0.30729 | 94.0624 | 590182.33 | 0.71545 | 91.9321 | 367718.32 | 0.53399
| FALSE | 027SMPL.d | 2023-02-01 11:53 | Sample |  | 172426-001 | 1 | 0.22775 | 0.043583 | <0.000 | 0.002772 | 0.0019047 | 0.02907 | 0.065157 | 0.065432 | 0.060029 | <0.000 | 0.0074376 | 0.0029247 | 0.0078245 | 1.2397 | 1.2272 | 1.2744 | 1.2735 | 1.2636 | 1.2542 | 0.0055591 | 0.0053641 | 95.1072 | 15957.27 | 1.9566 | 93.1977 | 756974.6967 | 0.56456 | 91.8108 | 306467.7233 | 0.6627 | 95.6615 | 118167.2367 | 0.74283 | 95.4923 | 162216.4267 | 0.62029 | 100.4171 | 1048776.6 | 0.69201 | 96.9365 | 524494.2833 | 0.37965 | 98.6476 | 618951.2567 | 0.5441 | 95.8596 | 383428.0067 | 0.072231
| FALSE | 028_QC2.d | 2023-02-01 11:56 | QC2 |  | qc 2 | 1 | 10.941 | 10.1271 | 10.6106 | 10.5323 | 11.3405 | 11.277 | 11.1927 | 10.3015 | 11.1697 | 1.0893 | 1.1087 | 1.0374 | 1.1134 | 10.0244 | 10.529 | 10.4559 | 10.9108 | 10.3321 | 10.7623 | 9.8657 | 10.3154 | 90.8719 | 15246.67 | 10.0324 | 92.4764 | 751115.8767 | 2.0161 | 92.1906 | 307735.3933 | 0.40853 | 89.7543 | 110870.33 | 11.632 | 89.3486 | 151779.9 | 11.0138 | 98.6179 | 1029985.0733 | 3.9597 | 90.8732 | 491687.39 | 10.5257 | 96.1103 | 603031.57 | 2.2181 | 90.3363 | 361335.5267 | 8.2171
| FALSE | 029SMPL.d | 2023-02-01 12:00 | Sample |  | blk | 1 | 0.0072457 | 0.019191 | <0.000 | 0.00089132 | 0.0021821 | 0.004067 | 0.0059849 | 0.0072733 | 0.0036703 | 0.011524 | 0.011438 | 0.0070967 | 0.014037 | 0.014685 | 0.015445 | 0.0077628 | 0.0086215 | 0.011313 | 0.013973 | 0.016065 | 0.013816 | 96.2342 | 16146.37 | 0.16386 | 104.4253 | 848167.7667 | 13.9089 | 75.6269 | 252445.26 | 11.7562 | 96.3475 | 119014.6033 | 0.76377 | 96.3737 | 163713.8167 | 1.1406 | 108.0194 | 1128176.8933 | 10.197 | 97.6323 | 528259.2733 | 0.18804 | 109.2232 | 685306.6033 | 13.3176 | 97.5954 | 390370.9167 | 0.47328
| FALSE | 030SMPL.d | 2023-02-01 12:04 | Sample |  | 172424-002 | 1 | 0.5463 | 0.028477 | 0.054017 | 0.011059 | 0.0077846 | 0.03844 | 0.066452 | 0.069078 | 0.057739 | 0.017004 | 0.011706 | 0.011776 | 0.014056 | 0.99205 | 0.98414 | 1.0211 | 1.0092 | 1.0138 | 0.99771 | 0.007945 | 0.0077578 | 93.2902 | 15652.41 | 1.4033 | 90.5362 | 735357.0367 | 0.24338 | 90.1397 | 300889.5867 | 1.3251 | 94.7914 | 117092.4467 | 1.0288 | 92.4227 | 157001.99 | 0.64221 | 97.9788 | 1023310.2267 | 1.3578 | 95.2397 | 515313.1733 | 0.44978 | 92.877 | 582744.6167 | 0.065641 | 92.5049 | 370009.6867 | 0.35081
| FALSE | 031SMPL.d | 2023-02-01 12:08 | Sample |  | 172428-001 | 1 | 0.23517 | 0.056487 | 0.13405 | 0.0038378 | 0.0037023 | 0.57746 | 0.12436 | 0.1225 | 0.12628 | 0.017285 | 0.016434 | 0.011413 | 0.016388 | 1.9715 | 1.9486 | 2.0306 | 1.9835 | 2.0182 | 1.9792 | 0.15703 | 0.15589 | 95.5379 | 16029.5433 | 0.97874 | 119.958 | 974328.2067 | 0.21741 | 112.3778 | 375120.9567 | 0.97142 | 118.2712 | 146096.1533 | 0.57858 | 96.3607 | 163691.6667 | 0.8886 | 101.4857 | 1059937.6233 | 0.62935 | 97.6503 | 528356.68 | 0.73161 | 101.3601 | 635970.59 | 0.30203 | 99.2356 | 396931.7367 | 0.26419
| FALSE | 032SMPL.d | 2023-02-01 12:11 | Sample |  | 172424-001 | 1 | 0.5415 | 0.026146 | 0.069694 | 0.013728 | 0.012 | 0.045193 | 0.077759 | 0.084353 | 0.077532 | 0.0032896 | 0.0097736 | 0.0066496 | 0.0091746 | 0.71029 | 0.71138 | 0.72768 | 0.71618 | 0.72835 | 0.7173 | 0.0050327 | 0.0060407 | 92.8598 | 15580.1967 | 0.51868 | 90.7124 | 736788.5033 | 0.87505 | 89.2793 | 298017.3067 | 0.37038 | 93.8755 | 115961.0433 | 0.99961 | 91.5746 | 155561.3567 | 0.2346 | 98.038 | 1023928.78 | 0.4469 | 94.7697 | 512770.4067 | 0.50068 | 92.3555 | 579472.8367 | 1.0165 | 90.3501 | 361390.67 | 0.38429
| FALSE | 033SMPL.d | 2023-02-01 12:15 | Sample |  | 172425-004 | 1 | 0.64417 | 0.16131 | 0.14602 | 0.0074502 | 0.0061202 | 0.011538 | 0.10504 | 0.11185 | 0.10498 | 0.013596 | 0.015102 | 0.0090688 | 0.015049 | 2.7979 | 2.7808 | 2.8717 | 2.8871 | 2.8521 | 2.8218 | 0.010619 | 0.011007 | 92.7073 | 15554.6167 | 1.4399 | 90.7275 | 736911.28 | 0.57126 | 89.6555 | 299273.2033 | 1.6754 | 94.2907 | 116473.93 | 0.64571 | 91.855 | 156037.7333 | 0.88697 | 98.7805 | 1031683.9867 | 0.64188 | 95.2821 | 515542.7667 | 0.26083 | 94.0986 | 590409.3267 | 0.86934 | 91.735 | 366930.1767 | 0.45025
| FALSE | 034SMPL.d | 2023-02-01 12:19 | Sample |  | 172425-002 | 1 | 0.47954 | 0.19935 | 0.19426 | 0.01621 | 0.015277 | 0.020439 | 0.14828 | 0.14398 | 0.14673 | 0.0083385 | 0.012193 | 0.010393 | 0.011514 | 1.3327 | 1.3117 | 1.3742 | 1.3279 | 1.3668 | 1.3469 | 0.035043 | 0.03502 | 94.2054 | 15805.9733 | 2.634 | 91.5566 | 743644.91 | 0.45882 | 91.1713 | 304333.03 | 0.60133 | 94.9886 | 117335.9867 | 0.70076 | 93.9177 | 159541.7 | 0.16539 | 99.2021 | 1036087.2733 | 0.82949 | 96.3005 | 521053.1267 | 0.37084 | 95.0945 | 596657.7833 | 0.91296 | 93.8123 | 375238.87 | 0.34259
| FALSE | 035SMPL.d | 2023-02-01 12:23 | Sample |  | 172436-003 | 1 | 0.14786 | 0.024368 | <0.000 | <0.000 | <0.000 | 0.0043691 | 0.063678 | 0.068491 | 0.067322 | 0.0010773 | <0.000 | <0.000 | 0.00034714 | 0.95766 | 0.96203 | 0.96154 | 0.9659 | 0.96681 | 0.96317 | 0.0018375 | 0.0019981 | 94.4967 | 15854.84 | 1.6147 | 92.7374 | 753235.96 | 0.54714 | 92.165 | 307650.08 | 0.2729 | 96.0107 | 118598.5567 | 0.5431 | 95.0611 | 161484.07 | 0.3849 | 100.2671 | 1047210.5133 | 0.71156 | 97.2586 | 526237.2333 | 0.52857 | 97.8521 | 613960.25 | 0.28713 | 96.1996 | 384787.8267 | 0.28039
| FALSE | 036SMPL.d | 2023-02-01 12:26 | Sample |  | 172443-001 | 1 | 0.77908 | 0.012014 | <0.000 | 0.0012485 | 0.0032897 | 0.007292 | 0.30505 | 0.34141 | 0.30339 | <0.000 | <0.000 | <0.000 | <0.000 | 0.43894 | 0.43178 | 0.44675 | 0.44973 | 0.44551 | 0.43533 | 0.097006 | 0.098491 | 160.8092 | 26980.8767 | 1.6156 | 90.3734 | 734034.6467 | 0.59813 | 92.1834 | 307711.5467 | 1.199 | 95.3034 | 117724.9033 | 0.44089 | 92.813 | 157664.9833 | 0.7662 | 97.3848 | 1017107.0233 | 1.1499 | 95.5536 | 517011.7633 | 0.1149 | 92.5021 | 580392.16 | 0.26524 | 91.404 | 365605.9467 | 0.28379
| FALSE | 037SMPL.d | 2023-02-01 12:30 | Sample |  | 172448-001 | 1 | 0.022278 | 0.0060124 | <0.000 | 0.00025588 | 0.00053258 | 0.00097992 | 0.053784 | 0.072158 | 0.057404 | <0.000 | 0.004234 | <0.000 | 0.0013001 | 0.45383 | 0.44561 | 0.46096 | 0.45747 | 0.46142 | 0.45271 | 4.6836e-05 | 6.8889e-05 | 95.1734 | 15968.38 | 0.86208 | 94.0408 | 763822.81 | 0.3441 | 93.4432 | 311916.7033 | 1.3576 | 96.2362 | 118877.13 | 0.50758 | 96.4404 | 163827.1167 | 0.53849 | 102.4688 | 1070205.1633 | 0.55395 | 98.451 | 532688.6133 | 1.3371 | 98.6109 | 618721.31 | 0.24961 | 96.9196 | 387667.72 | 0.30639
| FALSE | 038SMPL.d | 2023-02-01 12:34 | Sample |  | 172450-001 | 1 | 0.57884 | 0.012897 | <0.000 | 0.0043769 | 0.0074283 | 0.061472 | 0.28418 | 0.29694 | 0.27032 | 0.0034047 | 0.0023003 | 0.014125 | 0.0056332 | 8.2635 | 8.1577 | 8.5488 | 8.397 | 8.4592 | 8.318 | 0.058654 | 0.058361 | 136.4557 | 22894.8067 | 1.4499 | 86.3315 | 701205.4133 | 0.52976 | 87.1522 | 290917.1967 | 0.35578 | 89.39 | 110420.2467 | 0.26028 | 86.9357 | 147681.1367 | 0.20857 | 87.922 | 918275.5433 | 0.18536 | 90.9532 | 492120.71 | 0.72304 | 87.0878 | 546420.8633 | 0.22112 | 85.9143 | 343648.0267 | 0.47678
| FALSE | 039SMPL.d | 2023-02-01 12:37 | Sample |  | 172436-001 | 1 | 5.0145 | 0.015966 | <0.000 | 0.010752 | 0.0084417 | 0.012728 | 0.082218 | 0.090246 | 0.086743 | <0.000 | <0.000 | <0.000 | <0.000 | 1.0357 | 1.0296 | 1.0624 | 1.038 | 1.0541 | 1.0386 | 0.63612 | 0.64124 | 92.6339 | 15542.3 | 1.0331 | 90.42 | 734413.33 | 0.63554 | 88.8978 | 296744.1433 | 0.72558 | 92.3749 | 114107.3567 | 0.87805 | 92.0072 | 156296.28 | 1.0981 | 98.7703 | 1031577.5367 | 0.40098 | 95.4798 | 516612.7967 | 0.78552 | 95.8468 | 601378.5967 | 0.39388 | 94.0965 | 376375.87 | 0.47563
| FALSE | 040_QC2.d | 2023-02-01 12:41 | QC2 |  | qc 2 | 1 | 10.0586 | 10.1626 | 9.2215 | 12.7536 | 10.3751 | 10.3729 | 10.3167 | 12.5615 | 10.3262 | 1.2487 | 1.023 | 1.2201 | 1.0044 | 11.7121 | 9.7264 | 12.182 | 10.0684 | 12.025 | 9.9326 | 11.3443 | 9.3918 | 94.6297 | 15877.15 | 1.2781 | 79.07 | 642226.33 | 22.0226 | 91.5501 | 305597.34 | 0.47344 | 94.9874 | 117334.5433 | 0.65583 | 95.0133 | 161402.7133 | 0.40619 | 84.0637 | 877978.22 | 25.2601 | 96.7762 | 523626.9467 | 0.25318 | 84.8473 | 532363.45 | 18.7629 | 96.7904 | 387151.1067 | 0.64504
| FALSE | 041SMPL.d | 2023-02-01 12:45 | Sample |  | blk | 1 | 0.0073101 | 0.01878 | <0.000 | 0.0024792 | 0.0043288 | 0.0041818 | 0.0077329 | 0.014216 | 0.0063202 | 0.0022089 | 0.017484 | 0.0047686 | 0.015415 | 0.011356 | 0.016355 | 0.010855 | 0.014042 | 0.011045 | 0.015563 | 0.016812 | 0.016401 | 93.3236 | 15658.0233 | 4.1378 | 114.8386 | 932747.76 | 41.5679 | 86.5801 | 289007.51 | 3.6243 | 95.0564 | 117419.81 | 1.0446 | 95.3521 | 161978.3667 | 1.5428 | 117.6354 | 1228608.03 | 42.1661 | 97.3202 | 526570.6333 | 0.4738 | 122.4048 | 768012.77 | 37.9011 | 96.9575 | 387819.3733 | 0.74106
| FALSE | 042SMPL.d | 2023-02-01 12:49 | Sample |  | 172444-003 | 1 | 1.8165 | 0.028622 | <0.000 | 0.0021086 | 0.00067532 | 0.0064098 | 0.12002 | 0.12939 | 0.12482 | <0.000 | 0.0045552 | 0.0001101 | 0.0027369 | 0.69013 | 0.68879 | 0.71082 | 0.67819 | 0.6978 | 0.68427 | 0.14591 | 0.14763 | 91.4475 | 15343.2333 | 0.59192 | 89.6991 | 728558.19 | 0.45684 | 89.5069 | 298777.1433 | 0.44799 | 93.4976 | 115494.2167 | 0.28602 | 91.99 | 156267.0133 | 0.41796 | 97.3196 | 1016425.9667 | 1.8153 | 94.9946 | 513987.47 | 0.86259 | 90.5131 | 567912.8 | 0.53103 | 89.7234 | 358883.8533 | 1.0671
| FALSE | 043SMPL.d | 2023-02-01 12:52 | Sample |  | 172436-002 | 1 | 0.37727 | 0.037859 | <0.000 | 0.0091641 | 0.0051234 | 0.0078646 | 0.16235 | 0.17236 | 0.15527 | 0.0026733 | 0.0018199 | <0.000 | 0.0040244 | 0.78318 | 0.76671 | 0.79364 | 0.78601 | 0.80158 | 0.78011 | 0.10799 | 0.10833 | 91.0097 | 15269.78 | 0.61421 | 89.5451 | 727307.41 | 0.59363 | 89.731 | 299525.2333 | 0.6078 | 94.0299 | 116151.7567 | 0.17526 | 90.6664 | 154018.53 | 0.82188 | 92.3847 | 964884.57 | 2.886 | 93.8067 | 507560.01 | 0.63836 | 89.4476 | 561227.08 | 1.3047 | 89.5011 | 357994.8167 | 0.65632
| FALSE | 044SMPL.d | 2023-02-01 12:56 | Sample |  | 172442-001 | 1 | 0.2457 | 0.075432 | 0.016139 | 0.015193 | 0.016598 | 0.014475 | 0.11319 | 0.12105 | 0.11316 | 0.0020843 | 0.0041863 | 0.0027424 | 0.0051071 | 1.0292 | 0.98907 | 1.0253 | 0.98296 | 1.0331 | 0.98594 | 0.098535 | 0.095074 | 97.7501 | 16400.71 | 15.6161 | 98.4463 | 799605.0233 | 0.33076 | 99.047 | 330622.41 | 0.53295 | 106.6226 | 131707.1233 | 18.2502 | 97.4144 | 165481.61 | 19.5579 | 100.2218 | 1046737.06 | 0.50604 | 102.1078 | 552474.6367 | 23.119 | 94.6035 | 593577.2667 | 0.55305 | 97.9381 | 391741.81 | 17.2882
| FALSE | 045SMPL.d | 2023-02-01 13:00 | Sample |  | 172444-001 | 1 | 0.036484 | 0.009136 | <0.000 | 0.0008146 | 0.0026738 | 0.0022095 | 0.066202 | 0.077228 | 0.068386 | <0.000 | <0.000 | <0.000 | <0.000 | 0.61978 | 0.60872 | 0.6195 | 0.59558 | 0.62588 | 0.60747 | 0.23082 | 0.22438 | 91.7789 | 15398.8367 | 0.57473 | 90.7903 | 737421.4733 | 0.23848 | 89.3826 | 298362.12 | 1.2607 | 94.2722 | 116451.1233 | 0.849 | 92.7735 | 157597.8867 | 0.62203 | 99.2651 | 1036745.47 | 0.38919 | 95.2908 | 515590.0833 | 0.50385 | 93.1812 | 584653.6267 | 0.35795 | 93.2072 | 372818.7933 | 0.73046
| FALSE | 046SMPL.d | 2023-02-01 13:04 | Sample |  | 172441-001 | 1 | 0.047156 | 0.0075434 | <0.000 | 0.00099273 | 0.0014312 | 0.0020429 | 0.071118 | 0.080638 | 0.068811 | <0.000 | 0.0054618 | <0.000 | <0.000 | 0.49704 | 0.49446 | 0.51457 | 0.50626 | 0.50869 | 0.49708 | 0.29613 | 0.29141 | 91.6066 | 15369.93 | 1.5243 | 88.7858 | 721140.0067 | 0.32129 | 88.2835 | 294693.5433 | 0.34325 | 92.5129 | 114277.8533 | 0.41349 | 91.2816 | 155063.6033 | 0.26264 | 96.295 | 1005724.9533 | 1.1115 | 94.2586 | 510005.0367 | 0.61362 | 92.1783 | 578360.8433 | 0.086363 | 91.1515 | 364596.2133 | 0.44049
| FALSE | 047SMPL.d | 2023-02-01 13:07 | Sample |  | 172445-001 | 1 | 0.24893 | 0.067637 | 0.023155 | 0.0010006 | 0.00075597 | 0.001647 | 0.067804 | 0.071842 | 0.061855 | <0.000 | 0.0032262 | <0.000 | 0.00073875 | 0.46496 | 0.4699 | 0.47838 | 0.46837 | 0.47659 | 0.46666 | 1.0856 | 1.0734 | 90.5788 | 15197.4867 | 1.7589 | 88.6349 | 719914.52 | 0.73185 | 87.5683 | 292306.02 | 0.94113 | 92.1191 | 113791.42 | 0.53602 | 91.6581 | 155703.1333 | 0.35504 | 96.8338 | 1011351.5667 | 1.2035 | 94.1666 | 509507.3267 | 0.39107 | 93.519 | 586773.11 | 0.68724 | 93.3735 | 373483.7 | 0.61393
| FALSE | 048SMPL.d | 2023-02-01 13:11 | Sample |  | 172444-002 | 1 | 2.0982 | 0.055297 | <0.000 | 0.0026364 | 0.0046135 | 0.0036088 | 0.18263 | 0.18873 | 0.17956 | <0.000 | 0.00084109 | <0.000 | 0.0017838 | 1.0869 | 1.0729 | 1.0891 | 1.0613 | 1.0956 | 1.0746 | 0.12822 | 0.12894 | 90.9702 | 15263.1533 | 2.2931 | 88.743 | 720792.3833 | 0.45011 | 89.1387 | 297548.0333 | 1.4284 | 92.1034 | 113771.9967 | 0.63172 | 91.0964 | 154749.08 | 0.25585 | 97.8269 | 1021724.24 | 1.2155 | 94.9703 | 513855.8233 | 0.52142 | 88.6781 | 556399.1567 | 0.34314 | 88.6913 | 354755.5067 | 0.96582
| FALSE | 049SMPL.d | 2023-02-01 13:15 | Sample |  | 172451-001 | 1 | 0.11784 | 0.003424 | <0.000 | 0.0013655 | 0.0019072 | 0.0030631 | 0.23643 | 0.23323 | 0.22958 | 0.0099804 | 0.0098833 | 0.0093146 | 0.0083577 | 0.9384 | 0.92085 | 0.94783 | 0.9337 | 0.95357 | 0.93779 | 0.091855 | 0.091949 | 89.5381 | 15022.88 | 0.42441 | 86.535 | 702858.7667 | 0.18866 | 86.4439 | 288552.89 | 1.1395 | 90.4926 | 111782.24 | 1.4943 | 89.1792 | 151492.13 | 1.2931 | 94.8322 | 990447.3533 | 0.84064 | 93.0307 | 503361.4067 | 0.36884 | 90.5241 | 567981.6467 | 0.57992 | 90.0909 | 360353.8 | 0.35494
| FALSE | 050SMPL.d | 2023-02-01 13:19 | Sample |  | 172456-001 As | 1 | 6.8556 | 0.0066453 | <0.000 | 0.0045524 | 0.0018272 | 0.031251 | 0.13996 | 0.14072 | 0.13798 | 0.01101 | 0.014693 | 0.014541 | 0.019084 | 0.39075 | 0.39903 | 0.40501 | 0.40438 | 0.40046 | 0.40109 | 0.015067 | 0.015423 | 90.8707 | 15246.4667 | 0.75221 | 88.4973 | 718796.7433 | 0.42376 | 88.4145 | 295130.82 | 0.526 | 91.7035 | 113278.0133 | 1.1642 | 91.8787 | 156077.92 | 0.42159 | 98.6539 | 1030361.4867 | 0.46017 | 95.1158 | 514643.2233 | 0.30559 | 92.7562 | 581986.9033 | 0.62214 | 92.3873 | 369539.03 | 0.21933
| FALSE | 051SMPL.d | 2023-02-01 13:22 | Sample |  | 172456-002 As | 1 | 2.389 | <0.000 | <0.000 | 0.00067745 | <0.000 | 0.0074269 | 0.14347 | 0.15952 | 0.15371 | 0.013859 | 0.024141 | 0.019646 | 0.02489 | 0.37075 | 0.37392 | 0.38666 | 0.37265 | 0.38416 | 0.3809 | 0.0013623 | 0.0013867 | 89.4319 | 15005.0567 | 1.7056 | 88.5914 | 719561.4733 | 0.38736 | 88.7411 | 296220.8467 | 1.4434 | 92.0585 | 113716.6 | 0.73216 | 92.181 | 156591.5 | 0.57971 | 98.7091 | 1030938.2667 | 0.78708 | 95.1208 | 514670.33 | 0.94607 | 94.7381 | 594421.5867 | 0.61757 | 94.689 | 378745.6933 | 0.51949
| FALSE | 052_QC2.d | 2023-02-01 13:26 | QC2 |  | qc 2 | 1 | 11.4713 | 10.1346 | 11.5657 | 13.1411 | 11.79 | 11.9334 | 11.9746 | 12.9002 | 12.0593 | 1.3093 | 1.1363 | 1.2721 | 1.1448 | 12.0377 | 10.9792 | 12.5032 | 11.3265 | 12.3892 | 11.2449 | 11.4223 | 10.5474 | 85.9268 | 14416.9667 | 10.8136 | 76.6053 | 622207.29 | 24.3181 | 91.2323 | 304536.6067 | 0.61704 | 84.0126 | 103777.7267 | 15.2329 | 84.6897 | 143865.6567 | 15.0497 | 81.7575 | 853891.75 | 26.6328 | 85.6813 | 463595.8733 | 15.6701 | 81.689 | 512546.8967 | 19.7054 | 86.5743 | 346287.88 | 14.0161
| FALSE | 053SMPL.d | 2023-02-01 13:30 | Sample |  | blk | 1 | 0.0068852 | 0.018102 | 0.030006 | 0.0026255 | 0.0019857 | 0.0050569 | 0.0044146 | 0.014012 | 0.0050773 | 0.0056669 | 0.017551 | 0.0107 | 0.019184 | 0.012897 | 0.014077 | 0.01137 | 0.016981 | 0.012431 | 0.015231 | 0.018867 | 0.017062 | 93.2572 | 15646.8767 | 1.5415 | 110.614 | 898434.5267 | 42.6415 | 71.0022 | 237007.8 | 31.8756 | 94.3979 | 116606.35 | 1.4108 | 94.6048 | 160708.8233 | 0.79711 | 114.2938 | 1193707.91 | 43.0409 | 96.4046 | 521616.28 | 0.5351 | 118.0622 | 740766.1 | 39.3106 | 96.0016 | 383996.1833 | 0.15743
| FALSE | 054SMPL.d | 2023-02-01 13:34 | Sample |  | 172438-001 T.As | 1 | 43.9809 | 0.011807 | <0.000 | <0.000 | <0.000 | 0.0017471 | 0.14782 | 0.15318 | 0.13618 | 0.0032296 | 0.012272 | 0.011472 | 0.011028 | 0.35493 | 0.35658 | 0.35707 | 0.35651 | 0.36259 | 0.35449 | 0.0019085 | 0.0021718 | 90.8242 | 15238.6567 | 1.9606 | 87.8934 | 713891.9767 | 0.57632 | 88.612 | 295790.02 | 0.53717 | 92.7085 | 114519.5333 | 0.43405 | 91.5153 | 155460.54 | 1.0853 | 96.8545 | 1011567.6433 | 0.56127 | 94.8845 | 513391.35 | 0.46622 | 93.2309 | 584965.08 | 0.60414 | 93.1281 | 372502.1267 | 1.1305
| FALSE | 055SMPL.d | 2023-02-01 13:37 | Sample |  | 172459-001 | 1 | 0.069144 | 0.051386 | <0.000 | 0.00071284 | 0.0020185 | 0.0033135 | 0.0932 | 0.097335 | 0.089797 | 0.0018484 | 0.011422 | 0.0090317 | 0.012365 | 3.0746 | 3.068 | 3.3325 | 3.274 | 3.229 | 3.1775 | 0.0041373 | 0.0037535 | 92.2427 | 15476.66 | 1.8901 | 90.4157 | 734378.8 | 0.77321 | 91.1315 | 304200.2967 | 1.3617 | 94.0697 | 116200.92 | 0.35223 | 95.3213 | 161926.05 | 0.65159 | 100.2339 | 1046863.42 | 0.44781 | 96.9203 | 524406.82 | 0.67717 | 96.5866 | 606020.21 | 0.15891 | 96.8593 | 387426.5433 | 0.11334
| FALSE | 056SMPL.d | 2023-02-01 13:41 | Sample |  | 172453-001 | 1 | 0.056286 | 0.087189 | 0.13808 | 6.7192e-06 | 0.00087675 | 0.00077973 | 0.050779 | 0.045565 | 0.04664 | 0.021439 | 0.019784 | 0.022937 | 0.019817 | 1.0792 | 1.0573 | 1.1032 | 1.0651 | 1.098 | 1.0668 | 0.034095 | 0.032913 | 88.8551 | 14908.29 | 1.4728 | 86.0172 | 698653.1467 | 0.22334 | 86.351 | 288242.64 | 0.25883 | 90.0154 | 111192.8567 | 0.55592 | 88.0937 | 149648.1867 | 0.84057 | 87.7045 | 916003.37 | 0.47375 | 91.2166 | 493545.8667 | 0.44649 | 84.2273 | 528473.1633 | 0.13634 | 83.8062 | 335215.5367 | 0.75563
| FALSE | 057SMPL.d | 2023-02-01 13:45 | Sample |  | 172454-001 | 1 | 0.16858 | 0.05202 | <0.000 | 0.0052384 | 0.003991 | 0.0045705 | 0.089519 | 0.094353 | 0.075537 | <0.000 | 0.0051963 | 0.0003006 | 0.0058698 | 1.7881 | 1.7809 | 1.8431 | 1.8272 | 1.8291 | 1.8146 | 0.005838 | 0.0056035 | 91.7326 | 15391.0733 | 1.8555 | 91.8484 | 746015.43 | 0.82493 | 91.5519 | 305603.35 | 0.64315 | 95.1835 | 117576.75 | 1.1157 | 94.3969 | 160355.6267 | 0.78004 | 101.2589 | 1057568.7533 | 0.17944 | 96.8695 | 524131.9267 | 0.39374 | 96.4993 | 605472.6067 | 0.26887 | 95.6666 | 382656.1267 | 0.27109
| FALSE | 058SMPL.d | 2023-02-01 13:49 | Sample |  | 172457-001 | 1 | 0.098652 | 0.32063 | 0.29502 | <0.000 | 0.0004636 | 0.0030073 | 0.089035 | 0.094337 | 0.087313 | 0.0048989 | 0.013748 | 0.0068995 | 0.013427 | 0.35391 | 0.35331 | 0.36989 | 0.3697 | 0.36444 | 0.36225 | 0.048113 | 0.04851 | 89.8897 | 15081.8733 | 1.3694 | 86.9904 | 706557.75 | 0.25998 | 87.3768 | 291666.7967 | 0.5444 | 91.1369 | 112578.2167 | 1.4208 | 90.8142 | 154269.6833 | 0.62237 | 97.681 | 1020199.9167 | 0.55587 | 93.9047 | 508090.38 | 0.14717 | 92.0855 | 577778.7967 | 0.48644 | 91.6024 | 366399.74 | 0.37765
| FALSE | 059SMPL.d | 2023-02-01 13:52 | Sample |  | 172460-001 | 1 | 2.5742 | 0.17922 | 0.29512 | 0.007816 | 0.0064494 | 0.010725 | 0.12814 | 0.13252 | 0.12668 | 0.009619 | 0.017161 | 0.016263 | 0.01472 | 2.0205 | 2.009 | 2.0373 | 1.9969 | 2.0401 | 2.0045 | 0.26012 | 0.25787 | 98.873 | 16589.11 | 0.69547 | 101.2715 | 822551.9767 | 0.49174 | 101.0988 | 337471.3933 | 0.37654 | 106.1496 | 131122.8333 | 0.48624 | 90.3578 | 153494.3833 | 0.76184 | 97.538 | 1018706.4767 | 1.1072 | 94.5738 | 511710.36 | 0.5303 | 90.6363 | 568685.67 | 0.2408 | 90.0319 | 360117.74 | 0.54216
| FALSE | 060SMPL.d | 2023-02-01 13:56 | Sample |  | 172461-001 | 1 | 0.041667 | 0.038078 | 0.083605 | 0.0080347 | 0.01036 | 0.009453 | 0.060886 | 0.066013 | 0.061776 | 0.0071367 | 0.010328 | 0.0021865 | 0.0079904 | 1.5125 | 1.5091 | 1.5682 | 1.5241 | 1.5446 | 1.5245 | 0.73611 | 0.72594 | 92.0444 | 15443.3933 | 1.649 | 91.4175 | 742515.6533 | 0.50492 | 91.2361 | 304549.1867 | 1.2154 | 93.5762 | 115591.3867 | 0.46751 | 93.901 | 159513.32 | 1.0354 | 99.5068 | 1039268.8833 | 0.50848 | 96.0374 | 519629.6967 | 0.4645 | 95.2256 | 597480.3633 | 0.83717 | 95.2077 | 380820.56 | 0.23606
| FALSE | 061SMPL.d | 2023-02-01 14:00 | Sample |  | 172463-001 | 1 | 3.3731 | 0.53147 | 0.5776 | 0.081472 | 0.074433 | 0.097152 | 3.4442 | 3.3697 | 3.4178 | 0.017437 | 0.023469 | 0.01818 | 0.02414 | 6.5742 | 6.4931 | 6.7453 | 6.5912 | 6.6865 | 6.5516 | 0.0065719 | 0.0063007 | 85.5869 | 14359.9433 | 2.4632 | 83.7809 | 680489.41 | 0.54355 | 84.6907 | 282700.5933 | 0.25483 | 89.3919 | 110422.57 | 0.74112 | 85.9073 | 145934.1067 | 0.37165 | 83.624 | 873385.6933 | 0.79383 | 88.114 | 476758.2 | 0.29446 | 77.9173 | 488881.89 | 0.67242 | 78.1198 | 312470.5533 | 0.31887
| FALSE | 062SMPL.d | 2023-02-01 14:04 | Sample |  | 172467-002 | 1 | 1.1205 | 0.069305 | <0.000 | 0.014872 | 0.015385 | 0.016218 | 0.11453 | 0.13086 | 0.11716 | <0.000 | <0.000 | <0.000 | <0.000 | 0.61045 | 0.60128 | 0.63405 | 0.59484 | 0.62438 | 0.6018 | 0.00245 | 0.0030399 | 92.5149 | 15522.33 | 1.4535 | 91.3128 | 741664.98 | 0.0723 | 90.9127 | 303469.96 | 0.81133 | 94.3401 | 116534.9967 | 0.59574 | 94.7875 | 161019.1633 | 1.005 | 100.238 | 1046906.19 | 1.0277 | 96.2316 | 520680.4 | 0.61849 | 95.1763 | 597171.1433 | 0.43152 | 95.713 | 382841.4367 | 0.38572
| FALSE | 063SMPL.d | 2023-02-01 14:07 | Sample |  | 172470-001 | 1 | 1.8047 | 0.016586 | 0.0013839 | 0.015014 | 0.013028 | 0.021831 | 0.206 | 0.21829 | 0.21287 | <0.000 | <0.000 | <0.000 | <0.000 | 4.6339 | 4.6197 | 4.8184 | 4.6734 | 4.7392 | 4.6606 | 0.075634 | 0.0751 | 93.3699 | 15665.7933 | 0.83053 | 86.529 | 702809.54 | 0.50997 | 90.3412 | 301562.0967 | 1.4189 | 90.4371 | 111713.78 | 0.42011 | 89.0986 | 151355.2433 | 0.34912 | 95.2569 | 994882.31 | 0.85944 | 92.6111 | 501091.1233 | 0.76325 | 89.7524 | 563139.76 | 0.39838 | 89.2124 | 356839.7733 | 0.89439
| FALSE | 064_QC2.d | 2023-02-01 14:11 | QC2 |  | qc 2 | 1 | 9.8834 | 10.0992 | 10.1615 | 10.4614 | 10.3489 | 10.2796 | 10.3443 | 10.254 | 10.3878 | 1.0338 | 1.0059 | 1.033 | 1.0191 | 9.8998 | 9.6999 | 10.1989 | 9.9237 | 10.1296 | 9.895 | 9.2013 | 9.0831 | 93.4762 | 15683.6167 | 1.5632 | 89.8535 | 729812.1667 | 0.73121 | 89.894 | 300069.2133 | 0.4115 | 94.3098 | 116497.4733 | 0.66824 | 95.052 | 161468.49 | 0.48573 | 99.3218 | 1037336.6433 | 0.23408 | 96.7821 | 523658.82 | 0.13244 | 95.0804 | 596569.8433 | 1.0784 | 96.1324 | 384519.1233 | 0.34957
| FALSE | 065SMPL.d | 2023-02-01 14:15 | Sample |  | blk | 1 | 0.0083778 | 0.030629 | <0.000 | 0.0023061 | 0.0026452 | 0.0021606 | 0.0075094 | 0.014875 | 0.0084841 | 0.026968 | 0.024366 | 0.023022 | 0.020943 | 0.016735 | 0.017125 | 0.016852 | 0.014433 | 0.018275 | 0.015662 | 0.022923 | 0.01809 | 93.7483 | 15729.27 | 0.51813 | 86.9021 | 705840 | 5.2114 | 74.0149 | 247064.39 | 4.2223 | 94.816 | 117122.7833 | 0.54313 | 95.6131 | 162421.76 | 0.78858 | 92.5946 | 967077.4 | 9.2705 | 96.8304 | 523920.4267 | 0.52634 | 91.9195 | 576737.0967 | 4.415 | 97.1222 | 388478.1433 | 0.97162
| FALSE | 066SMPL.d | 2023-02-01 14:18 | Sample |  | 172467-003 | 1 | 0.044905 | 0.050193 | 0.027644 | 0.0049744 | 0.0043604 | 0.010916 | 0.058561 | 0.067711 | 0.063357 | <0.000 | <0.000 | <0.000 | <0.000 | 0.90578 | 0.8993 | 0.93525 | 0.91769 | 0.92916 | 0.90854 | 0.0042696 | 0.0042554 | 92.7801 | 15566.83 | 0.72553 | 90.901 | 738319.93 | 0.64528 | 91.8121 | 306471.9667 | 0.31384 | 94.7744 | 117071.4733 | 0.14618 | 95.5078 | 162242.81 | 0.43711 | 99.9923 | 1044340.4667 | 1.2072 | 96.9034 | 524315.2367 | 0.60347 | 95.8065 | 601125.6733 | 1.0563 | 96.7744 | 387086.9567 | 0.72056
| FALSE | 067SMPL.d | 2023-02-01 14:22 | Sample |  | 172469-001 | 1 | 0.33881 | 0.10924 | 0.070721 | 0.038015 | 0.038709 | 0.031757 | 0.15858 | 0.15959 | 0.15666 | <0.000 | <0.000 | <0.000 | 0.0001834 | 2.7855 | 2.7497 | 2.8599 | 2.8393 | 2.8414 | 2.8052 | 0.020682 | 0.021392 | 90.5125 | 15186.3667 | 2.4198 | 88.3898 | 717923.92 | 0.29794 | 89.6552 | 299272.1433 | 0.51546 | 93.6182 | 115643.2067 | 1.0808 | 90.7397 | 154143.05 | 0.47433 | 98.2683 | 1026333.8133 | 0.94601 | 95.1082 | 514601.8667 | 0.48435 | 90.2455 | 566233.5733 | 0.68938 | 90.1962 | 360775.1567 | 0.66492
| FALSE | 068SMPL.d | 2023-02-01 14:26 | Sample |  | 172467-004 | 1 | 0.099016 | 0.041914 | 0.019871 | 0.056125 | 0.052084 | 0.057374 | 0.15203 | 0.15826 | 0.1468 | <0.000 | <0.000 | <0.000 | <0.000 | 0.33708 | 0.32618 | 0.35047 | 0.33523 | 0.34708 | 0.33573 | 0.0064213 | 0.0066441 | 91.3548 | 15327.68 | 0.59862 | 89.6881 | 728469.2167 | 0.23087 | 90.1541 | 300937.6567 | 0.53578 | 93.2217 | 115153.42 | 0.3381 | 94.3928 | 160348.6433 | 0.11871 | 99.9853 | 1044266.85 | 0.64307 | 95.6487 | 517526.3467 | 0.81465 | 95.146 | 596981.0167 | 0.41583 | 95.4795 | 381907.5967 | 0.5098
| FALSE | 069SMPL.d | 2023-02-01 14:30 | Sample |  | 172467-001 | 1 | 0.1182 | 0.038471 | <0.000 | 0.0057661 | 0.003056 | 0.0062351 | 0.096759 | 0.1138 | 0.10772 | <0.000 | <0.000 | <0.000 | <0.000 | 0.4017 | 0.40078 | 0.41474 | 0.40379 | 0.41082 | 0.40817 | 0.0020206 | 0.0020055 | 92.2098 | 15471.1333 | 1.5959 | 89.3433 | 725668.1833 | 0.27607 | 90.2341 | 301204.4867 | 1.2986 | 93.8351 | 115911.1033 | 0.84833 | 94.6071 | 160712.73 | 0.22388 | 99.0084 | 1034063.65 | 1.369 | 95.9808 | 519323.3233 | 0.36353 | 95.7567 | 600812.9667 | 0.72985 | 95.8904 | 383551.26 | 0.50789
| FALSE | 070SMPL.d | 2023-02-01 14:33 | Sample |  | 172471-001 Pb | 1 | 0.070039 | 0.04004 | 0.046392 | 0.0030728 | 0.0024276 | 0.0034011 | 0.11227 | 0.11059 | 0.11901 | <0.000 | <0.000 | <0.000 | <0.000 | 1.9934 | 1.9823 | 2.0315 | 1.9847 | 2.021 | 1.9859 | 0.0031068 | 0.0030624 | 90.38 | 15164.1367 | 2.7829 | 89.3765 | 725937.69 | 0.50225 | 90.5528 | 302268.5933 | 0.56107 | 93.0783 | 114976.3367 | 0.48014 | 94.391 | 160345.71 | 0.87602 | 98.2401 | 1026039.8033 | 1.229 | 96.1579 | 520281.72 | 0.14205 | 95.9174 | 601821.2267 | 0.68448 | 96.4815 | 385915.4633 | 0.27868
| FALSE | 071SMPL.d | 2023-02-01 14:37 | Sample |  | 172471-002 Pb | 1 | 0.055045 | 0.044996 | 0.042592 | 0.0024847 | 0.00029808 | 0.0048159 | 0.1727 | 0.17981 | 0.18052 | <0.000 | <0.000 | <0.000 | <0.000 | 1.5563 | 1.562 | 1.6087 | 1.5758 | 1.5932 | 1.5662 | 0.0034412 | 0.0032479 | 92.4417 | 15510.05 | 1.8895 | 89.1105 | 723777.1233 | 0.41137 | 90.6857 | 302712.1433 | 0.41158 | 94.2002 | 116362.2033 | 0.52807 | 95.007 | 161392.1467 | 0.55086 | 99.1511 | 1035553.8033 | 0.27756 | 96.5284 | 522286.0667 | 0.25427 | 96.4721 | 605301.58 | 0.3308 | 96.9903 | 387950.6467 | 0.69407
| FALSE | 072SMPL.d | 2023-02-01 14:41 | Sample |  | 172478-001 | 1 | 0.15562 | 0.026792 | <0.000 | 0.015141 | 0.018368 | 0.016943 | 0.14552 | 0.16297 | 0.14698 | <0.000 | <0.000 | <0.000 | <0.000 | 0.84629 | 0.83692 | 0.86063 | 0.84499 | 0.85352 | 0.84196 | 0.00080521 | 0.00087128 | 92.1833 | 15466.6967 | 1.1945 | 91.6616 | 744497.6633 | 33.3647 | 89.9251 | 300173.3333 | 0.44219 | 94.7309 | 117017.65 | 0.88889 | 95.4563 | 162155.4133 | 0.12942 | 94.6531 | 988576.3433 | 33.4525 | 96.8896 | 524240.3967 | 0.91416 | 101.5812 | 637357.9467 | 31.7257 | 96.2783 | 385102.58 | 0.83738
| FALSE | 073_QC1.d | 2023-02-01 14:45 | QC1 |  | qc 1 | 1 | 5.0763 | 5.2824 | 4.7917 | 5.8887 | 5.2541 | 5.1787 | 5.2444 | 5.8021 | 5.2752 | 0.58081 | 0.50441 | 0.55878 | 0.51016 | 5.3237 | 4.9102 | 5.5472 | 5.0357 | 5.4845 | 5.0044 | 4.8963 | 4.5159 | 93.2241 | 15641.33 | 0.65956 | 87.2699 | 708827.8733 | 34.7434 | 90.4992 | 302089.5433 | 1.2862 | 94.876 | 117196.9667 | 0.96367 | 95.6851 | 162544.0033 | 1.0661 | 90.0531 | 940532.8567 | 34.9248 | 97.052 | 525119.4233 | 0.9379 | 94.0256 | 589951.53 | 30.0224 | 96.3599 | 385429.2433 | 0.36745
| FALSE | 074_QC2.d | 2023-02-01 14:48 | QC2 |  | qc 2 | 1 | 9.9489 | 9.9573 | 10.0986 | 10.256 | 10.3011 | 10.2263 | 10.2645 | 10.1178 | 10.3462 | 0.99647 | 1.013 | 0.98458 | 0.99491 | 9.3995 | 9.5733 | 9.7553 | 9.9532 | 9.6468 | 9.8242 | 8.6406 | 8.9114 | 93.9203 | 15758.13 | 1.5525 | 95.7013 | 777309.18 | 25.6206 | 91.6453 | 305915.1333 | 0.43677 | 94.8804 | 117202.4267 | 0.53284 | 96.0757 | 163207.4633 | 0.22931 | 99.8439 | 1042790.3767 | 26.1147 | 97.2185 | 526020.0533 | 0.49323 | 102.5504 | 643439.1667 | 22.6925 | 96.4861 | 385934.0367 | 0.36685
| FALSE | 075_QC3.d | 2023-02-01 14:52 | QC3 |  | qc 3 | 1 | 50.4586 | 50.4205 | 50.1914 | 51.9906 | 51.9981 | 51.9549 | 52.5771 | 55.2132 | 52.6061 | 5.2838 | 5.2062 | 5.2166 | 5.1792 | 52.0053 | 48.5697 | 50.9503 | 50.3885 | 52.6317 | 51.614 | 50.0917 | 50.9888 | 93.2041 | 15637.9633 | 2.2249 | 89.4586 | 726604.6667 | 0.39915 | 90.8602 | 303294.52 | 0.46203 | 93.1965 | 115122.3633 | 0.73 | 94.2139 | 160044.85 | 0.96671 | 98.4772 | 1028516.3033 | 0.93688 | 96.323 | 521174.9433 | 0.44015 | 93.5553 | 587000.3567 | 0.72066 | 94.6342 | 378526.5833 | 0.32835
| FALSE | 076SMPL.d | 2023-02-01 14:56 | Sample |  | curve 4 | 1 | 49.2496 | 49.8969 | 50.3191 | 51.1949 | 50.8763 | 50.8963 | 51.1013 | 53.823 | 51.179 | 2.574 | 2.5086 | 2.5238 | 2.5089 | 52.4348 | 48.7303 | 48.9465 | 48.1958 | 51.766 | 50.5689 | 50.1265 | 50.8564 | 93.8143 | 15740.3533 | 1.7556 | 89.7303 | 728811.9533 | 0.45747 | 91.087 | 304051.79 | 0.23361 | 94.6245 | 116886.2167 | 0.32346 | 94.7751 | 160998.1267 | 0.45651 | 98.937 | 1033318.4267 | 0.37954 | 96.7985 | 523747.7967 | 0.25637 | 93.6145 | 587372.06 | 0.34859 | 94.6841 | 378725.9667 | 0.3968
| FALSE | 077SMPL.d | 2023-02-01 15:01 | Sample |  | 172484-001 | 1 | 0.12009 | 0.047343 | 0.0047681 | 0.0033127 | 0.00066771 | 0.0060966 | 0.14731 | 0.14224 | 0.1357 | 0.028887 | 0.043143 | 0.053804 | 0.044338 | 1.5932 | 1.6021 | 1.6944 | 1.6429 | 1.6502 | 1.6304 | 0.044896 | 0.028667 | 438.4669 | 73566.8433 | 0.83261 | 88.9461 | 722442.17 | 0.58536 | 102.1002 | 340814.0633 | 67.3368 | 93.8992 | 115990.3567 | 1.5578 | 90.5299 | 153786.59 | 0.7179 | 95.7448 | 999977.79 | 1.5041 | 93.1456 | 503983.07 | 0.23507 | 88.9234 | 557938.4933 | 0.45451 | 88.8525 | 355400.2467 | 0.29385
| FALSE | 078SMPL.d | 2023-02-01 15:05 | Sample |  | 172487-001 | 1 | 0.029113 | 0.055595 | <0.000 | 0.0031064 | 0.0035159 | 0.00523 | 0.076549 | 0.085595 | 0.079419 | 0.026596 | 0.024347 | 0.025014 | 0.030222 | 0.50892 | 0.48432 | 0.51314 | 0.50182 | 0.5176 | 0.49399 | 0.0078385 | 0.0076885 | 95.4626 | 16016.9067 | 2.2921 | 96.4334 | 783256.1267 | 38.2399 | 91.309 | 304792.5433 | 0.91991 | 97.3925 | 120305.4433 | 4.5083 | 98.4297 | 167206.37 | 4.8203 | 101.8466 | 1063706.8667 | 38.939 | 101.9732 | 551746.42 | 10.6413 | 103.0179 | 646372.6567 | 35.1759 | 98.5741 | 394285.7867 | 5.7125
| FALSE | 079SMPL.d | 2023-02-01 15:09 | Sample |  | 172488-001 | 1 | 0.86172 | 0.067866 | <0.000 | 0.00066042 | <0.000 | 0.0010492 | 0.10991 | 0.12018 | 0.10516 | 0.031857 | 0.028159 | 0.019917 | 0.02485 | 0.34222 | 0.33031 | 0.34543 | 0.34112 | 0.3481 | 0.34363 | 0.0046775 | 0.0047973 | 93.8274 | 15742.55 | 1.7376 | 91.906 | 746483.51 | 0.23106 | 92.586 | 309055.2367 | 0.45242 | 97.1856 | 120049.9533 | 0.66224 | 97.3123 | 165308.1467 | 0.37033 | 101.8333 | 1063568.1433 | 0.53161 | 97.8897 | 529651.84 | 0.49317 | 95.8167 | 601189.6867 | 0.30104 | 96.3318 | 385316.55 | 0.54523
| FALSE | 080SMPL.d | 2023-02-01 15:13 | Sample |  | 172488-002 | 1 | 0.90988 | 0.055239 | 0.19263 | 0.00060706 | 0.002613 | 0.0015792 | 0.11502 | 0.12555 | 0.11889 | 0.015583 | 0.024052 | 0.014113 | 0.022924 | 0.31529 | 0.32064 | 0.31638 | 0.30446 | 0.31785 | 0.31695 | 0.0038333 | 0.0037058 | 93.6155 | 15706.9933 | 1.1196 | 91.5248 | 743386.5767 | 0.68027 | 91.6775 | 306022.8267 | 1.1151 | 95.1672 | 117556.6433 | 0.92691 | 97.068 | 164893.2433 | 0.81377 | 101.166 | 1056598.8033 | 0.51987 | 97.2968 | 526443.5767 | 0.27947 | 95.9853 | 602247.1733 | 0.19411 | 95.983 | 383921.4433 | 0.2427
| FALSE | 081SMPL.d | 2023-02-01 15:16 | Sample |  | 172488-003 | 1 | 1.1066 | 0.06876 | <0.000 | <0.000 | 0.00055029 | 0.0014058 | 0.14319 | 0.14595 | 0.14113 | 0.009151 | 0.023155 | 0.010534 | 0.014623 | 0.41407 | 0.41127 | 0.41899 | 0.4255 | 0.41896 | 0.41945 | 0.0035423 | 0.0038918 | 93.8012 | 15738.1567 | 0.93535 | 91.3361 | 741854.1567 | 0.24994 | 91.1278 | 304187.86 | 1.9173 | 95.8083 | 118348.5867 | 0.50228 | 96.2719 | 163540.7633 | 0.13091 | 100.6122 | 1050814.1567 | 0.53258 | 97.5875 | 528016.7167 | 0.25286 | 95.3249 | 598103.65 | 0.55211 | 95.7091 | 382825.8667 | 0.17948
| FALSE | 082SMPL.d | 2023-02-01 15:20 | Sample |  | 172488-004 | 1 | 0.96787 | 0.064932 | 0.085888 | 7.7816e-05 | <0.000 | 0.0020348 | 0.11833 | 0.13601 | 0.12566 | 0.0079796 | 0.016205 | 0.00672 | 0.011759 | 0.30822 | 0.30412 | 0.31832 | 0.30521 | 0.31758 | 0.30283 | 0.0037132 | 0.0030845 | 94.3576 | 15831.51 | 2.0588 | 91.1084 | 740004.56 | 0.7941 | 92.029 | 307196.2233 | 0.60737 | 96.5267 | 119236.0267 | 0.62118 | 96.2048 | 163426.7967 | 0.45574 | 100.5465 | 1050128.6133 | 0.91414 | 97.0422 | 525066.25 | 0.88184 | 94.7485 | 594486.9967 | 1.2457 | 95.9673 | 383858.7733 | 0.689
| FALSE | 083SMPL.d | 2023-02-01 15:24 | Sample |  | 172488-005 | 1 | 1.1335 | 0.051078 | 0.011813 | <0.000 | 0.0008879 | 0.0012802 | 0.11884 | 0.12514 | 0.11874 | 0.0034152 | 0.010965 | 0.0070843 | 0.011511 | 0.26661 | 0.26142 | 0.26589 | 0.25664 | 0.26994 | 0.26286 | 0.0032093 | 0.0024727 | 95.0672 | 15950.5567 | 1.5315 | 90.8103 | 737583.5067 | 0.31289 | 91.7799 | 306364.51 | 0.57297 | 95.7439 | 118269.0067 | 0.44041 | 96.4427 | 163830.99 | 0.42875 | 100.6748 | 1051468.35 | 0.74118 | 96.5886 | 522612.1967 | 0.39475 | 94.9197 | 595561.5367 | 0.70259 | 95.9719 | 383877.2433 | 0.2271
| FALSE | 084SMPL.d | 2023-02-01 15:28 | Sample |  | 172493-001 rush | 1 | 0.024821 | 0.042408 | 0.050434 | 0.0017888 | 0.0019055 | 0.0019507 | 0.098269 | 0.10945 | 0.10183 | 0.0082246 | 0.0091214 | 0.0072465 | 0.010002 | 0.41692 | 0.41998 | 0.43404 | 0.42835 | 0.43161 | 0.4269 | 0.0027804 | 0.002533 | 94.9347 | 15928.3367 | 3.7307 | 90.1437 | 732169.01 | 0.30172 | 90.9099 | 303460.5533 | 0.91898 | 95.7122 | 118229.8367 | 0.38689 | 94.8465 | 161119.4633 | 0.82951 | 98.5398 | 1029169.8367 | 0.28696 | 96.4679 | 521958.7267 | 0.55843 | 92.8726 | 582716.7433 | 0.5519 | 93.4903 | 373950.9167 | 0.62532
| FALSE | 085SMPL.d | 2023-02-01 15:31 | Sample |  | 172494-001 | 1 | 0.42935 | 0.0776 | 0.13491 | 0.0172 | 0.017545 | 0.016725 | 0.073571 | 0.070544 | 0.065868 | <0.000 | 0.012117 | 0.0079074 | 0.01169 | 0.35891 | 0.35978 | 0.39679 | 0.35906 | 0.38139 | 0.36669 | 0.0059622 | 0.0064132 | 91.3082 | 15319.8767 | 1.0883 | 88.4734 | 718602.8467 | 0.69272 | 88.973 | 296994.8833 | 0.29899 | 93.8713 | 115955.89 | 0.19175 | 94.0841 | 159824.3567 | 0.46184 | 97.2867 | 1016082.1967 | 1.2174 | 95.8221 | 518464.84 | 0.34477 | 92.2631 | 578892.8467 | 0.48678 | 93.8533 | 375402.9667 | 1.01
| FALSE | 086SMPL.d | 2023-02-01 15:35 | Sample |  | 172495-001 | 1 | 0.88456 | 0.010598 | 0.076555 | 0.0030657 | 0.0019218 | 0.0027875 | 0.069503 | 0.081776 | 0.067295 | <0.000 | 0.004448 | 0.00079067 | 0.0092262 | 0.89193 | 0.89572 | 0.91427 | 0.91211 | 0.91348 | 0.90286 | 0.71691 | 0.7116 | 93.6348 | 15710.2333 | 2.3134 | 89.8816 | 730040.5867 | 0.54197 | 90.5697 | 302324.9767 | 0.35512 | 95.427 | 117877.6267 | 0.5592 | 93.4742 | 158788.2633 | 0.54466 | 99.6121 | 1040368.8367 | 0.86583 | 96.2401 | 520726.4333 | 0.82895 | 90.1844 | 565850.4 | 0.23324 | 90.6024 | 362399.91 | 0.5106
| FALSE | 087_QC1.d | 2023-02-01 15:39 | QC1 |  | qc 1 | 1 | 5.0042 | 4.709 | 5.1582 | 5.6723 | 5.2762 | 5.1647 | 5.1259 | 5.6342 | 5.1243 | 0.53855 | 0.50885 | 0.53008 | 0.50566 | 5.1525 | 4.8106 | 5.3833 | 4.9963 | 5.3008 | 4.918 | 4.6517 | 4.3398 | 95.5582 | 16032.95 | 0.97582 | 96.89 | 786964.2033 | 46.7807 | 126.3076 | 421619.14 | 48.8452 | 97.0171 | 119841.82 | 1.9711 | 97.9544 | 166398.8733 | 1.7525 | 101.8935 | 1064196.85 | 46.8903 | 99.0641 | 536006.0633 | 1.6444 | 102.9497 | 645944.5533 | 42.7791 | 98.3566 | 393415.75 | 1.2903
| FALSE | 088SMPL.d | 2023-02-01 15:43 | Sample |  | curve 4 | 1 | 49.3947 | 50.2085 | 49.918 | 54.6536 | 51.1143 | 50.9737 | 51.1473 | 57.5559 | 51.1435 | 2.6971 | 2.4519 | 2.6775 | 2.4566 | 56.5321 | 48.5318 | 52.5964 | 48.1255 | 55.7167 | 50.3615 | 53.3428 | 49.934 | 95.3389 | 15996.15 | 1.0791 | 85.3961 | 693608.1 | 8.5298 | 90.2882 | 301385.29 | 1.2127 | 95.087 | 117457.6 | 0.14399 | 96.0526 | 163168.3467 | 0.66119 | 91.3293 | 953861.61 | 12.2484 | 97.2407 | 526140.06 | 1.0329 | 87.9279 | 551691.9633 | 7.0089 | 94.8573 | 379418.8167 | 0.91473
| FALSE | 089SMPL.d | 2023-02-01 15:47 | Sample |  | blk | 1 | 0.01605 | 0.042703 | <0.000 | 0.0020046 | 0.0068237 | 0.0079836 | 0.020904 | 0.02906 | 0.019328 | 0.029302 | 0.027737 | 0.022957 | 0.026725 | 0.021651 | 0.021798 | 0.020747 | 0.020177 | 0.02212 | 0.022201 | 0.026718 | 0.023 | 95.1074 | 15957.31 | 1.5326 | 87.6284 | 711739.4733 | 6.0344 | 127.4828 | 425542.11 | 50.5849 | 97.1788 | 120041.5 | 0.99279 | 97.5358 | 165687.8333 | 1.3579 | 96.3358 | 1006150.6333 | 7.8017 | 97.6111 | 528144.3633 | 1.643 | 92.3005 | 579127.23 | 4.4369 | 97.1823 | 388718.7833 | 0.97226
| FALSE | 090SMPL.d | 2023-02-01 15:51 | Sample |  | 172438-001 As III | 2 | 12.6487 | 0.027577 | 0.04895 | 0.0021835 | 0.0010897 | 0.0068673 | 0.017043 | 0.016282 | 0.014629 | 0.016258 | 0.013296 | 0.0025399 | 0.0078254 | 0.37073 | 0.37965 | 0.39644 | 0.38172 | 0.38607 | 0.37355 | 0.011208 | 0.009185 | 99.0326 | 16615.8767 | 2.1877 | 90.2683 | 733181.0133 | 0.24507 | 91.3695 | 304994.6933 | 0.27152 | 95.8791 | 118436.04 | 0.43478 | 97.0405 | 164846.5467 | 0.29277 | 100.3381 | 1047951.6067 | 0.15793 | 97.6098 | 528137.2 | 1.0921 | 94.9781 | 595927.9433 | 0.09838 | 98.2375 | 392939.53 | 0.68762
| FALSE | 091SMPL.d | 2023-02-01 15:55 | Sample |  | 172438-001 DMA | 1 | 2.3015 | 0.011632 | <0.000 | 0.02692 | 0.02541 | 0.029827 | 0.359 | 0.34963 | 0.35359 | 0.053257 | 0.049881 | 0.051928 | 0.056004 | 0.94941 | 0.95851 | 0.99603 | 1.0116 | 0.98535 | 0.97502 | 0.010183 | 0.0088041 | 92.21 | 15471.1767 | 0.60411 | 92.5746 | 751913.53 | 0.92481 | 93.9973 | 313766.2667 | 0.93992 | 97.3319 | 120230.63 | 0.39145 | 95.146 | 161628.1667 | 0.03966 | 99.8973 | 1043347.4767 | 0.79497 | 96.4827 | 522038.8467 | 0.48119 | 93.9011 | 589169.9733 | 0.63943 | 94.6533 | 378602.8433 | 0.087255
| FALSE | 092SMPL.d | 2023-02-01 15:58 | Sample |  | 172438-001 MA | 1 | 1.0964 | 0.0092089 | <0.000 | 0.0060341 | 0.0049364 | 0.0062166 | 0.0098243 | 0.013186 | 0.0090431 | 0.0019637 | <0.000 | <0.000 | <0.000 | 0.22782 | 0.22515 | 0.24529 | 0.22972 | 0.23725 | 0.22482 | 0.005891 | 0.0049219 | 98.2587 | 16486.0367 | 2.1808 | 93.6847 | 760929.8767 | 0.078435 | 94.3075 | 314801.6633 | 1.1201 | 100.2252 | 123804.55 | 2.712 | 101.0825 | 171712.74 | 2.7287 | 102.8336 | 1074014.7833 | 0.63945 | 105.0724 | 568515.36 | 8.0566 | 99.2693 | 622852.4667 | 0.12101 | 103.3461 | 413373.3633 | 1.7524
| FALSE | 093SMPL.d | 2023-02-01 16:02 | Sample |  | 172438-001 As V | 1 | 27.2219 | 0.01957 | <0.000 | 0.016653 | 0.0065278 | 0.0062508 | 0.44724 | 0.4336 | 0.43287 | 0.031668 | 0.047088 | 0.039297 | 0.048455 | 0.20049 | 0.20421 | 0.20724 | 0.19753 | 0.20581 | 0.19976 | 0.014655 | 0.014446 | 94.2916 | 15820.43 | 0.79204 | 95.524 | 775869.0267 | 0.4042 | 94.87 | 316679.5667 | 1.0464 | 99.6614 | 123108.16 | 0.50668 | 97.1351 | 165007.2433 | 0.47911 | 103.3116 | 1079007.76 | 0.53302 | 98.7381 | 534242.2533 | 1.1699 | 99.4115 | 623744.74 | 0.45224 | 99.2176 | 396859.5367 | 0.72498
| FALSE | 094_QC1.d | 2023-02-01 16:06 | QC1 |  | qc 1 | 1 | 5.0603 | 4.9949 | 5.0927 | 5.21 | 5.1491 | 5.1057 | 5.1586 | 5.1332 | 5.1486 | 0.52654 | 0.50544 | 0.51524 | 0.51532 | 4.9576 | 4.8409 | 5.1154 | 5.0532 | 5.0559 | 4.9594 | 4.4607 | 4.3678 | 93.3369 | 15660.25 | 2.3884 | 90.4137 | 734361.97 | 0.4507 | 91.317 | 304819.2233 | 0.89059 | 95.732 | 118254.3133 | 0.70404 | 96.5949 | 164089.5633 | 0.83813 | 101.1522 | 1056453.8567 | 0.22039 | 97.4593 | 527323.0867 | 0.59402 | 95.3342 | 598161.8233 | 0.40331 | 95.985 | 383929.46 | 0.35869

## ValueList_Helper (hidden)
Bkgnd
BlkVrfy
CalBlk
CalStd
CICSpike
DilStd
DriftChk
FQBlk
IsoStd
QC1
QC2
QC3
QC4
QC5
Sample
Spike
Spike Ref
SQBlk
SQISTD
SQStd