## Sheet1
Sample | [7 empty] | 75 As [ He ] | 78 Se [ H2 ] | 78 Se [ He ] | 111 Cd [ No Gas ] | 111 Cd [ He ] | 114 Cd [ He ] | 121 Sb [ He ] | 123 Sb [ No Gas ] | 123 Sb [ He ] | 201 Hg [ No Gas ] | 201 Hg [ He ] | 202 Hg [ No Gas ] | 202 Hg [ He ] | 206 [Pb] [ No Gas ] | 206 [Pb] [ He ] | 207 [Pb] [ No Gas ] | 207 [Pb] [ He ] | 208 Pb [ No Gas ] | 208 Pb [ He ] | 238 U [ No Gas ] | 238 U [ He ] | 72 Ge ( ISTD ) [ He ] |  | 89 Y ( ISTD ) [ No Gas ] |  | 89 Y ( ISTD ) [ H2 ] |  | 89 Y ( ISTD ) [ He ] |  | 115 In ( ISTD ) [ He ] |  | 159 Tb ( ISTD ) [ No Gas ] |  | 159 Tb ( ISTD ) [ He ] |  | 209 Bi ( ISTD ) [ No Gas ] |  | 209 Bi ( ISTD ) [ He ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | Total Dil. | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS
| FALSE | 001SMPL.d | 2022-09-01 15:37 | Sample |  | blk | 1 | [22 empty] | 9434.56 |  | 519449.5933 |  | 211248.2433 |  | 75872.7933 |  | 98960.6733 |  | 679925.9367 |  | 352031.4467 |  | 430581.93 |  | 257490.2467
| FALSE | 002SMPL.d | 2022-09-01 15:41 | Sample |  | blk | 1 | [22 empty] | 9099.8967 |  | 506858.9867 |  | 213177.4067 |  | 72594.5167 |  | 94381.1667 |  | 653277.5167 |  | 336445.6767 |  | 422198.5333 |  | 248608.59
| FALSE | 003SMPL.d | 2022-09-01 15:45 | Sample |  | blk | 1 | [22 empty] | 9082.12 |  | 526641.61 |  | 205780.7533 |  | 73570.3233 |  | 96086.54 |  | 686102.6533 |  | 340380.8167 |  | 442751.2267 |  | 251802.5833
| FALSE | 004CALB.d | 2022-09-01 15:48 | CalBlk | 1 | blk | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 9124.37 | 100 | 512121.22 | 100 | 206368.3467 | 100 | 72495.9 | 100 | 94229.7 | 100 | 667390.9467 | 100 | 337813.7267 | 100 | 430696.8833 | 100 | 249691.67
| FALSE | 005CALS.d | 2022-09-01 15:52 | CalStd | 2 | curve 1 | 1 | 0.10848 | 0.10897 | 0.2151 | 0.10595 | 0.11499 | 0.1172 | 0.10256 | 0.10708 | 0.12155 | 0.011377 | 0.010353 | 0.0029933 | 0.0088244 | 0.11374 | 0.11134 | 0.1081 | 0.11293 | 0.11091 | 0.1103 | 0.10178 | 0.098508 | 98.0989 | 8950.9067 | 100.752 | 515972.23 | 101.6737 | 209822.3567 | 98.9757 | 71753.33 | 99.4399 | 93701.93 | 100.5815 | 671272.1367 | 98.9597 | 334299.4933 | 101.2958 | 436278.02 | 99.2442 | 247804.6
| FALSE | 006CALS.d | 2022-09-01 15:56 | CalStd | 3 | curve 2 | 1 | 1.042 | 1.0538 | 0.86985 | 1.0678 | 1.0221 | 1.0437 | 1.036 | 1.0357 | 1.0381 | 0.043904 | 0.047901 | 0.054816 | 0.048049 | 1.0716 | 1.033 | 1.0738 | 1.0335 | 1.0656 | 1.0484 | 1.0265 | 1.0064 | 97.587 | 8904.1967 | 100.2648 | 513477.0733 | 100.5028 | 207406.0667 | 100.4931 | 72853.3633 | 100.0591 | 94285.3933 | 99.3875 | 663303.1 | 98.8339 | 333874.45 | 99.1541 | 427053.7933 | 98.7736 | 246629.4967
| FALSE | 007CALS.d | 2022-09-01 16:00 | CalStd | 4 | curve 2.5 (Hg only) | 1 | 2.0526 | 2.1701 | 2.1115 | 2.0947 | 2.1145 | 2.0986 | 2.0717 | 2.0735 | 2.0806 | 0.099689 | 0.10292 | 0.095267 | 0.098151 | 2.1046 | 2.097 | 2.0538 | 2.0171 | 2.087 | 2.0826 | 2.0379 | 2.045 | 99.1714 | 9048.7633 | 100.0523 | 512388.92 | 99.6835 | 205715.2467 | 100.4682 | 72835.36 | 99.7352 | 93980.16 | 99.1704 | 661854.3233 | 99.0443 | 334585.3433 | 99.3751 | 428005.3567 | 98.3832 | 245654.5767
| FALSE | 008CALS.d | 2022-09-01 16:04 | CalStd | 5 | curve 3 | 1 | 10.157 | 10.1926 | 10.4056 | 10.3432 | 10.4258 | 10.3442 | 10.2591 | 10.3135 | 10.1783 | 0.51995 | 0.50547 | 0.49061 | 0.49759 | 10.516 | 10.2327 | 10.3973 | 10.2114 | 10.4042 | 10.3462 | 10.318 | 10.2816 | 96.7219 | 8825.2667 | 98.8265 | 506111.45 | 99.4309 | 205193.86 | 98.6876 | 71544.4533 | 98.3668 | 92690.6967 | 97.4356 | 650276.3433 | 96.206 | 324997.08 | 97.8375 | 421382.8967 | 96.6117 | 241231.26
| FALSE | 009CALS.d | 2022-09-01 16:08 | CalStd | 6 | curve 4 | 1 | 50.3521 | 50.141 | 49.0736 | 48.8263 | 50.5773 | 50.3984 | 50.0386 | 48.5292 | 50.0703 | 2.3939 | 2.4917 | 2.3879 | 2.4644 | 49.0559 | 50.059 | 48.4862 | 49.8312 | 48.5289 | 50.4956 | 47.969 | 49.6815 | 98.6472 | 9000.9367 | 103.1156 | 528077.04 | 99.7795 | 205913.3333 | 98.6366 | 71507.51 | 98.1863 | 92520.6267 | 100.8347 | 672961.9367 | 96.4273 | 325744.56 | 101.4537 | 436958.07 | 95.936 | 239544.29
| FALSE | 010CALS.d | 2022-09-01 16:11 | CalStd | 7 | curve 5 | 1 | 99.8078 | 99.9097 | 100.4238 | 100.5518 | 99.6685 | 99.7659 | 99.9544 | 100.7037 | 99.9466 | 5.0511 | 5.0036 | 5.057 | 5.0181 | 100.4197 | 99.9469 | 100.7164 | 100.0629 | 100.6944 | 99.7171 | 100.9834 | 100.131 | 98.7934 | 9014.2733 | 96.0767 | 492029.1567 | 96.5019 | 199149.47 | 95.7086 | 69384.8033 | 93.8056 | 88392.73 | 94.1105 | 628085.2133 | 92.1738 | 311375.67 | 94.1507 | 405504.0233 | 92.3781 | 230660.3433
| FALSE | 011SMPL.d | 2022-09-01 16:15 | Sample |  | blk | 1 | 0.053303 | 0.13949 | 0.21849 | 0.024762 | 0.012594 | 0.018311 | 0.064651 | 0.081189 | 0.06188 | 0.16118 | 0.12301 | 0.14514 | 0.12976 | 0.034094 | 0.019081 | 0.040094 | 0.024917 | 0.037856 | 0.023917 | 0.07566 | 0.047497 | 99.0249 | 9035.4 | 97.359 | 498596.1667 | 97.9472 | 202132.0433 | 97.7571 | 70869.9233 | 97.7579 | 92116.9567 | 94.8302 | 632887.8467 | 96.0067 | 324323.7533 | 96.9771 | 417677.41 | 97.2018 | 242704.8
| FALSE | 012SMPL.d | 2022-09-01 16:19 | Sample |  | blk | 1 | 0.019955 | 0.05196 | 0.14487 | 0.0019405 | 0.0012747 | 0.0012768 | 0.016925 | 0.017098 | 0.017886 | 0.059593 | 0.057475 | 0.063889 | 0.066574 | 0.0039395 | 0.0061923 | 0.0058552 | 0.008161 | 0.0065784 | 0.0060323 | 0.010407 | 0.010207 | 97.6113 | 8906.42 | 97.6725 | 500201.6633 | 98.7207 | 203728.2467 | 97.9822 | 71033.1133 | 96.344 | 90784.68 | 95.9146 | 640125.4 | 94.412 | 318936.7233 | 98.591 | 424628.2533 | 97.3898 | 243174.2867
| FALSE | 013_QC1.d | 2022-09-01 16:23 | QC1 |  | qc 1 | 1 | 5.0893 | 5.0395 | 5.5072 | 5.2652 | 5.1779 | 5.2517 | 5.2454 | 5.2764 | 5.2513 | 0.50954 | 0.55685 | 0.54344 | 0.54152 | 5.1988 | 5.1021 | 5.3527 | 5.2852 | 5.272 | 5.2708 | 5.1323 | 5.1829 | 98.2327 | 8963.1133 | 98.9564 | 506776.9667 | 98.6931 | 203671.2633 | 99.2649 | 71963.01 | 98.034 | 92377.1833 | 97.5725 | 651190.1167 | 96.9035 | 327353.2067 | 98.9031 | 425972.3567 | 97.5284 | 243520.2467
| FALSE | 014_QC2.d | 2022-09-01 16:26 | QC2 |  | qc 2 | 1 | 10.2908 | 10.1264 | 10.3937 | 10.6249 | 10.367 | 10.5326 | 10.5399 | 10.6293 | 10.3466 | 1.097 | 1.0579 | 1.0773 | 1.0671 | 10.4953 | 10.1725 | 10.7365 | 10.6133 | 10.6017 | 10.5278 | 10.5205 | 10.2929 | 97.7818 | 8921.9733 | 97.5242 | 499441.9267 | 99.1358 | 204584.8867 | 99.0096 | 71777.87 | 98.42 | 92740.9133 | 95.807 | 639406.9733 | 96.5039 | 326003.2667 | 97.4511 | 419718.6667 | 97.5934 | 243682.6267
| FALSE | 015_QC3.d | 2022-09-01 16:30 | QC3 |  | qc 3 | 1 | 51.5774 | 50.558 | 49.2498 | 51.7253 | 51.4616 | 51.4404 | 51.8569 | 52.1089 | 51.7852 | 5.1828 | 5.2051 | 5.1883 | 5.1142 | 51.2467 | 50.5537 | 52.3903 | 52.2789 | 51.8832 | 52.0356 | 50.8193 | 50.0772 | 100.085 | 9132.13 | 97.7812 | 500758.5167 | 98.5214 | 203316.8967 | 98.1543 | 71157.8467 | 96.6884 | 91109.1467 | 96.6814 | 645242.96 | 96.3725 | 325559.51 | 97.1657 | 418489.76 | 96.3184 | 240499.0933
| FALSE | 016SMPL.d | 2022-09-01 16:34 | Sample |  | blk | 1 | 0.026546 | 0.066678 | 0.074873 | 0.029404 | 0.0025304 | 0.0064901 | 0.037456 | 0.060574 | 0.031492 | 0.15018 | 0.15077 | 0.14437 | 0.13608 | 0.030039 | 0.015583 | 0.032349 | 0.010113 | 0.033508 | 0.011249 | 0.057027 | 0.027863 | 97.3677 | 8884.1933 | 103.5808 | 530459.3633 | 97.4727 | 201152.8733 | 97.9161 | 70985.1933 | 98.2108 | 92543.7167 | 103.2387 | 689005.6867 | 97.5585 | 329566.16 | 107.0371 | 461005.24 | 98.8348 | 246782.34
| FALSE | 017SMPL.d | 2022-09-01 16:38 | Sample |  | blk | 1 | 0.011708 | 0.019266 | <0.000 | 0.00078783 | 0.0012624 | 0.00077069 | 0.015134 | 0.013418 | 0.012714 | 0.08098 | 0.061026 | 0.057085 | 0.068282 | 0.003249 | 0.005253 | 0.0052795 | 0.0071107 | 0.0055957 | 0.0056355 | 0.010023 | 0.0098225 | 98.9152 | 9025.3933 | 98.6613 | 505265.2333 | 98.3676 | 202999.5633 | 98.2114 | 71199.2033 | 98.4535 | 92772.46 | 98.2937 | 656003.2567 | 97.1763 | 328274.73 | 99.4151 | 428177.57 | 98.1699 | 245122.1233
| FALSE | 018SMPL.d | 2022-09-01 16:41 | Sample |  | 170025-001 | 1 | 0.21168 | 0.049519 | 0.23067 | 0.0073081 | 0.0073801 | 0.011809 | 0.15369 | 0.1668 | 0.15558 | 0.038647 | 0.034155 | 0.03401 | 0.03472 | 1.8116 | 1.7581 | 1.8067 | 1.7715 | 1.7967 | 1.7754 | 0.25025 | 0.24348 | 95.2352 | 8689.6133 | 98.4052 | 503953.7767 | 98.3297 | 202921.4567 | 99.7444 | 72310.5933 | 96.6577 | 91080.2367 | 97.5714 | 651182.99 | 97.3336 | 328806.3967 | 95.2009 | 410027.51 | 95.3969 | 238198.1867
| FALSE | 019SMPL.d | 2022-09-01 16:45 | Sample |  | 170026-00 | 1 | 0.016628 | 0.041504 | <0.000 | 0.0045156 | 0.0044112 | 0.0053232 | 0.097789 | 0.10165 | 0.10973 | 0.018951 | 0.021986 | 0.017086 | 0.020302 | 0.042899 | 0.04936 | 0.04993 | 0.048822 | 0.048448 | 0.050441 | 0.012477 | 0.011434 | 96.1736 | 8775.2333 | 97.2343 | 497957.5467 | 97.8055 | 201839.6433 | 97.1687 | 70443.3133 | 96.822 | 91235.12 | 97.9079 | 653428.5267 | 96.2699 | 325212.9933 | 99.1975 | 427240.7533 | 98.4185 | 245742.79
| FALSE | 020SMPL.d | 2022-09-01 16:49 | Sample |  | 170027-001 | 1 | 0.042757 | 0.064177 | 0.1261 | 0.011303 | 0.0090109 | 0.013693 | 0.08006 | 0.072797 | 0.069389 | 0.017741 | 0.016891 | 0.017619 | 0.013009 | 0.3738 | 0.37544 | 0.38563 | 0.38261 | 0.37685 | 0.37926 | 0.0041648 | 0.0053646 | 95.5519 | 8718.5133 | 97.3516 | 498558.14 | 97.0267 | 200232.3333 | 96.9132 | 70258.0867 | 97.095 | 91492.3333 | 98.0362 | 654284.84 | 96.6741 | 326578.22 | 98.9613 | 426223.1233 | 97.7633 | 244106.7733
| FALSE | 021SMPL.d | 2022-09-01 16:53 | Sample |  | 170028-001 | 1 | 1.0908 | 0.07737 | 0.048513 | 0.011828 | 0.014887 | 0.013592 | 0.08705 | 0.091049 | 0.094792 | 0.016474 | 0.013768 | 0.010438 | 0.012251 | 0.70472 | 0.71276 | 0.68962 | 0.68495 | 0.69848 | 0.69639 | 0.020516 | 0.020424 | 97.2949 | 8877.5467 | 98.1843 | 502822.4267 | 97.9495 | 202136.6967 | 99.0723 | 71823.3367 | 96.757 | 91173.81 | 97.0053 | 647404.8467 | 96.8007 | 327006.16 | 96.899 | 417340.84 | 96.0843 | 239914.4267
| FALSE | 022SMPL.d | 2022-09-01 16:56 | Sample |  | 170029-001 | 1 | 0.024756 | 0.011582 | 0.057678 | 0.0017198 | 0.00066094 | 0.0033537 | 0.14873 | 0.14843 | 0.15105 | 0.011288 | 0.0070936 | 0.048625 | 0.030545 | 0.016277 | 0.015771 | 0.01929 | 0.015798 | 0.021356 | 0.017165 | 0.00054984 | 0.00054391 | 126.1156 | 11507.2533 | 95.7707 | 490462.3133 | 94.4293 | 194872.2433 | 96.1395 | 69697.1667 | 93.1147 | 87741.71 | 95.2111 | 635430.3067 | 95.222 | 321673.08 | 93.1063 | 401006.0867 | 92.4311 | 230792.7033
| FALSE | 023SMPL.d | 2022-09-01 17:00 | Sample |  | 170017-001 mj | 5 | 0.22358 | 0.081401 | 0.58259 | 0.85115 | 0.8915 | 0.88532 | 0.36555 | 0.28595 | 0.3145 | 0.13661 | 0.11203 | 0.044485 | 0.12362 | 1.6336 | 1.6664 | 1.652 | 1.6614 | 1.6301 | 1.6353 | 0.015863 | 0.016864 | 98.1234 | 8953.1433 | 98.2681 | 503251.96 | 99.7516 | 205855.63 | 99.9368 | 72450.06 | 96.0733 | 90529.61 | 98.7257 | 658886.43 | 98.5804 | 333018.2767 | 98.5573 | 424483.42 | 97.6783 | 243894.5
| FALSE | 024SMPL.d | 2022-09-01 17:04 | Sample |  | 170017-002 mj | 5 | 0.19446 | 0.062474 | 0.46371 | 0.43091 | 0.41318 | 0.3733 | 0.2973 | 0.27244 | 0.31247 | 0.071896 | 0.11849 | 0.075372 | 0.10703 | 1.4953 | 1.5169 | 1.4969 | 1.515 | 1.4949 | 1.5149 | 0.013919 | 0.014031 | 96.6487 | 8818.5833 | 97.3582 | 498591.92 | 97.2973 | 200790.7633 | 99.6532 | 72244.47 | 96.6927 | 91113.2533 | 99.0025 | 660733.61 | 97.9058 | 330739.2867 | 97.4942 | 419904.4467 | 96.3004 | 240454.13
| FALSE | 025SMPL.d | 2022-09-01 17:08 | Sample |  | 170038-008 Pb | 1 | 0.067289 | 0.028008 | <0.000 | 0.014197 | 0.012769 | 0.013276 | 0.11902 | 0.11512 | 0.11061 | 0.0058757 | 0.0017051 | <0.000 | <0.000 | 2.7251 | 2.6832 | 2.7596 | 2.7247 | 2.7237 | 2.7259 | 0.003014 | 0.0027243 | 96.941 | 8845.2533 | 96.9669 | 496587.8967 | 96.7149 | 199588.9833 | 96.3551 | 69853.4933 | 97.3785 | 91759.48 | 98.5658 | 657819.5333 | 97.1755 | 328272.03 | 99.6631 | 429245.92 | 98.3696 | 245620.6067
| FALSE | 026SMPL.d | 2022-09-01 17:11 | Sample |  | 170038-009 Pb | 1 | 0.041807 | 0.019738 | 0.10331 | 0.0026142 | 0.0044807 | 0.0015527 | 0.089863 | 0.10011 | 0.099331 | 0.0021259 | <0.000 | <0.000 | <0.000 | 0.21059 | 0.20148 | 0.21082 | 0.20959 | 0.20556 | 0.20409 | 0.0029183 | 0.0034296 | 94.1506 | 8590.6533 | 95.1252 | 487156.2267 | 95.9709 | 198053.65 | 96.8588 | 70218.6867 | 97.0595 | 91458.89 | 97.8823 | 653257.9 | 97.1182 | 328078.54 | 97.7048 | 420811.4667 | 97.6145 | 243735.24
| FALSE | 027SMPL.d | 2022-09-01 17:15 | Sample |  | 170042-001 Pb | 1 | 0.72358 | 0.22057 | 0.33759 | 0.0063921 | 0.0052902 | 0.0071523 | 0.23097 | 0.22776 | 0.23485 | 0.0049585 | 0.0059201 | 0.013052 | 0.007592 | 0.82626 | 0.81642 | 0.83147 | 0.83461 | 0.8279 | 0.83602 | 0.14039 | 0.14301 | 97.319 | 8879.7467 | 95.0519 | 486781.1833 | 93.4043 | 192756.8267 | 93.5925 | 67850.71 | 90.118 | 84917.92 | 95.6604 | 638429.1233 | 93.0646 | 314385.04 | 93.3555 | 402079.3633 | 90.2181 | 225266.96
| FALSE | 028_QC2.d | 2022-09-01 17:19 | QC2 |  | qc 2 | 1 | 10.3245 | 10.2888 | 11.1181 | 10.622 | 10.5989 | 10.608 | 10.8084 | 10.6836 | 10.653 | 1.0541 | 1.0154 | 1.0219 | 1.0179 | 10.4406 | 10.2806 | 10.6826 | 10.5955 | 10.5486 | 10.5723 | 10.1625 | 10.2111 | 97.7334 | 8917.56 | 96.8942 | 496215.6467 | 95.9767 | 198065.4533 | 96.5544 | 69997.9733 | 96.6191 | 91043.93 | 98.6615 | 658457.94 | 97.9454 | 330873.05 | 98.4369 | 423964.6133 | 97.6635 | 243857.55
| FALSE | 029SMPL.d | 2022-09-01 17:23 | Sample |  | blk | 1 | 0.0095576 | 0.019663 | 0.15668 | 0.0048352 | 0.0051583 | 0.0044221 | 0.014074 | 0.014718 | 0.01118 | 0.02424 | 0.022546 | 0.022645 | 0.022537 | 0.0073332 | 0.0028713 | 0.0090444 | 0.0018367 | 0.0087841 | 0.0053058 | 0.023996 | 0.016941 | 91.5313 | 8351.65 | 95.4815 | 488981.24 | 96.3135 | 198760.6267 | 95.3463 | 69122.14 | 95.1843 | 89691.85 | 97.4258 | 650210.8267 | 96.1168 | 324695.6367 | 99.3002 | 427682.8467 | 97.714 | 243983.7
| FALSE | 030SMPL.d | 2022-09-01 17:26 | Sample |  | 170042-002 Pb | 1 | 0.71384 | 0.22377 | 0.15985 | 0.006024 | 0.0045972 | 0.0080799 | 0.20804 | 0.20023 | 0.19611 | 0.024942 | 0.010956 | 0.0226 | 0.018585 | 0.5829 | 0.56832 | 0.56874 | 0.58827 | 0.57258 | 0.5708 | 0.15642 | 0.15501 | 94.4554 | 8618.4567 | 94.1461 | 482142.1233 | 93.6012 | 193163.1633 | 94.5836 | 68569.2033 | 90.4011 | 85184.7167 | 94.1372 | 628262.8367 | 93.0507 | 314337.87 | 90.8761 | 391400.6467 | 89.844 | 224332.9467
| FALSE | 031SMPL.d | 2022-09-01 17:30 | Sample |  | 170033-001 | 1 | 4.761 | 0.20821 | 0.31881 | 0.18846 | 0.18952 | 0.26013 | 1.3875 | 1.3884 | 1.4152 | 0.026443 | 0.013954 | 0.13418 | 0.074037 | 10.1637 | 9.923 | 10.0259 | 9.8625 | 10.0154 | 9.9773 | 0.32426 | 0.32346 | 109.6634 | 10006.0967 | 111.3813 | 570407.4933 | 109.8109 | 226614.8867 | 112.5211 | 81573.21 | 86.5835 | 81587.34 | 91.9843 | 613894.5933 | 90.8199 | 306802.1767 | 86.8804 | 374191.23 | 86.1908 | 215211.19
| FALSE | 032SMPL.d | 2022-09-01 17:34 | Sample |  | 170034-001 | 1 | 0.12269 | 0.033877 | 0.2629 | 0.011245 | 0.0078975 | 0.01605 | 0.092795 | 0.10034 | 0.093939 | 0.0091062 | 0.0037668 | 0.071429 | 0.035688 | 8.5569 | 8.3666 | 8.5024 | 8.3231 | 8.4786 | 8.4195 | 0.0086362 | 0.008608 | 151.6512 | 13837.22 | 93.459 | 478623.6033 | 92.111 | 190087.89 | 93.6106 | 67863.8433 | 91.0963 | 85839.7733 | 95.0875 | 634605.1367 | 92.9772 | 314089.6333 | 93.7694 | 403861.8967 | 92.4658 | 230879.35
| FALSE | 033SMPL.d | 2022-09-01 17:38 | Sample |  | 170038-001 | 1 | 0.50082 | 0.045884 | <0.000 | 0.0041733 | 0.0064089 | 0.0061478 | 0.066416 | 0.065187 | 0.072181 | 0.19944 | 0.22446 | 0.21807 | 0.208 | 1.4068 | 1.3623 | 1.3964 | 1.3853 | 1.3879 | 1.3772 | 0.0053821 | 0.0057955 | 94.9186 | 8660.7233 | 95.6747 | 489970.58 | 94.4659 | 194947.6133 | 96.1981 | 69739.6933 | 95.1733 | 89681.54 | 97.8461 | 653016.0333 | 96.1648 | 324857.7767 | 99.097 | 426807.5867 | 97.7667 | 244115.3533
| FALSE | 034SMPL.d | 2022-09-01 17:41 | Sample |  | 170038-002 | 1 | 0.1177 | 0.040126 | 0.10884 | 0.0017871 | 0.0019646 | 0.0041513 | 0.048041 | 0.043606 | 0.045363 | 0.076735 | 0.061859 | 0.070929 | 0.061866 | 1.127 | 1.116 | 1.1377 | 1.1325 | 1.1247 | 1.1316 | 0.0051711 | 0.0053814 | 93.1031 | 8495.07 | 95.8957 | 491102.06 | 94.6302 | 195286.75 | 95.4635 | 69207.15 | 95.5223 | 90010.41 | 97.692 | 651987.5267 | 95.6396 | 323083.79 | 99.2486 | 427460.8033 | 97.4918 | 243428.97
| FALSE | 035SMPL.d | 2022-09-01 17:45 | Sample |  | 170038-003 | 1 | 2.7925 | 0.044331 | 0.10741 | 0.0027293 | 0.0013055 | 0.0046606 | 0.059074 | 0.060053 | 0.05934 | 0.9977 | 1.0258 | 1.0384 | 1.0157 | 1.2043 | 1.2156 | 1.2114 | 1.207 | 1.2101 | 1.2109 | 0.0040191 | 0.0046303 | 97.4896 | 8895.31 | 95.7244 | 490224.7467 | 94.7618 | 195558.34 | 95.682 | 69365.5433 | 96.7783 | 91193.8667 | 97.1274 | 648219.6133 | 96.6824 | 326606.4867 | 98.9956 | 426371.1133 | 97.8513 | 244326.6367
| FALSE | 036SMPL.d | 2022-09-01 17:49 | Sample |  | 170038-004 | 1 | 0.057432 | 0.03975 | <0.000 | 0.0015985 | 0.0019557 | 0.0046476 | 0.051473 | 0.04707 | 0.042942 | 0.030987 | 0.021743 | 0.023129 | 0.02188 | 1.1205 | 1.0915 | 1.1254 | 1.0983 | 1.1113 | 1.1036 | 0.0043159 | 0.003898 | 94.6625 | 8637.3567 | 95.0533 | 486788.1667 | 95.3449 | 196761.6633 | 95.85 | 69487.2967 | 96.1007 | 90555.3767 | 97.1214 | 648179.52 | 96.185 | 324926.0433 | 98.4474 | 424009.75 | 97.9804 | 244648.9167
| FALSE | 037SMPL.d | 2022-09-01 17:53 | Sample |  | 170038-005 | 1 | 0.065716 | 0.02754 | 0.15754 | 0.0056667 | 0.010343 | 0.0067332 | 0.078616 | 0.074811 | 0.077622 | 0.015705 | 0.011003 | 0.011633 | 0.010093 | 2.4983 | 2.4562 | 2.5048 | 2.4706 | 2.4935 | 2.4739 | 0.0044598 | 0.0046394 | 94.492 | 8621.7967 | 94.9578 | 486298.8833 | 93.5527 | 193063.0667 | 95.4359 | 69187.0867 | 95.6207 | 90103.09 | 97.3189 | 649497.43 | 96.2031 | 324987.36 | 98.514 | 424296.5333 | 97.6982 | 243944.3633
| FALSE | 038SMPL.d | 2022-09-01 17:56 | Sample |  | 170038-006 | 1 | 0.046007 | 0.043137 | 0.15872 | 0.0018071 | 0.0032695 | 0.0023769 | 0.039004 | 0.035096 | 0.033337 | <0.000 | <0.000 | <0.000 | <0.000 | 0.20409 | 0.19526 | 0.21028 | 0.20731 | 0.21096 | 0.2083 | 0.0033338 | 0.0036419 | 94.3094 | 8605.1367 | 95.3191 | 488149.38 | 94.359 | 194727.0667 | 95.1878 | 69007.2867 | 95.7623 | 90236.5567 | 97.4715 | 650516.1533 | 96.338 | 325442.9367 | 97.865 | 421501.4133 | 97.1357 | 242539.7267
| FALSE | 039SMPL.d | 2022-09-01 18:00 | Sample |  | 170039-001 | 1 | 0.059025 | 0.031384 | 0.035863 | 0.0037699 | 0.0006734 | 0.0056845 | 0.074598 | 0.067421 | 0.065348 | <0.000 | <0.000 | <0.000 | <0.000 | 2.0344 | 2.0139 | 2.0291 | 2.0844 | 2.0272 | 2.0389 | 0.0030064 | 0.0030825 | 95.9909 | 8758.5633 | 95.1251 | 487155.5667 | 95.0052 | 196060.6567 | 95.5787 | 69290.66 | 96.1159 | 90569.71 | 97.2626 | 649121.5733 | 96.3073 | 325339.1367 | 98.2179 | 423021.29 | 97.4816 | 243403.51
| FALSE | 040_QC2.d | 2022-09-01 18:04 | QC2 |  | qc 2 | 1 | 10.1695 | 10.0018 | 10.2499 | 10.4596 | 10.4224 | 10.498 | 10.4713 | 10.5698 | 10.4648 | 1.0694 | 1.0359 | 1.0432 | 1.0352 | 10.3458 | 10.2072 | 10.588 | 10.439 | 10.4525 | 10.4277 | 10.0078 | 10.0601 | 95.1138 | 8678.5367 | 95.5883 | 489527.8667 | 95.133 | 196324.45 | 96.2105 | 69748.6433 | 95.5383 | 90025.49 | 97.6007 | 651378.5133 | 96.4061 | 325672.97 | 97.6753 | 420684.4 | 97.1616 | 242604.3933
| FALSE | 041SMPL.d | 2022-09-01 18:08 | Sample |  | blk | 1 | 0.016259 | 0.022849 | <0.000 | 0.0033912 | 0.0031959 | 0.0033279 | 0.012024 | 0.013514 | 0.010162 | 0.03409 | 0.021511 | 0.022105 | 0.021784 | 0.00594 | 0.0034191 | 0.0081189 | 0.0045976 | 0.0077285 | 0.0050415 | 0.019445 | 0.014463 | 95.4182 | 8706.3067 | 95.4935 | 489042.5333 | 95.1841 | 196429.8467 | 96.6928 | 70098.2867 | 96.4127 | 90849.39 | 97.8808 | 653247.6767 | 96.7903 | 326970.9833 | 98.5607 | 424497.7 | 98.3726 | 245628.19
| FALSE | 042SMPL.d | 2022-09-01 18:11 | Sample |  | 170039-002 | 1 | 0.074604 | 0.047355 | 0.20465 | 0.0023953 | 0.0051521 | 0.010293 | 0.064954 | 0.063825 | 0.069823 | 0.013613 | 0.0057137 | 0.0045265 | 0.0032588 | 2.0112 | 2.0128 | 2.0393 | 2.0507 | 2.0322 | 2.0483 | 0.0057816 | 0.0060433 | 94.5163 | 8624.0167 | 95.0879 | 486965.14 | 94.4743 | 194965.0433 | 95.6835 | 69366.5933 | 96.5028 | 90934.3067 | 97.3446 | 649668.9133 | 96.3991 | 325649.28 | 98.2415 | 423123.2933 | 96.9437 | 242060.3
| FALSE | 043SMPL.d | 2022-09-01 18:15 | Sample |  | 170039-003 | 1 | 0.075018 | 0.015791 | 0.085929 | 0.0024897 | 0.0039134 | 0.0072687 | 0.12356 | 0.12667 | 0.13037 | 0.0090652 | <0.000 | <0.000 | <0.000 | 1.7318 | 1.6759 | 1.7342 | 1.7397 | 1.7335 | 1.7208 | 0.0036771 | 0.0048673 | 95.808 | 8741.8767 | 94.5406 | 484162.48 | 94.6608 | 195349.99 | 95.0842 | 68932.1667 | 95.4701 | 89961.1967 | 96.959 | 647095.7667 | 96.0716 | 324543.1567 | 97.2027 | 418649.1033 | 97.541 | 243551.7667
| FALSE | 044SMPL.d | 2022-09-01 18:19 | Sample |  | 170039-004 | 1 | 0.092578 | 0.039936 | 0.10885 | 0.0038469 | 0.0071086 | 0.0072349 | 0.1102 | 0.10622 | 0.11256 | 0.014974 | 0.004698 | <0.000 | 0.0011978 | 1.6557 | 1.6441 | 1.6717 | 1.6328 | 1.6635 | 1.6484 | 0.003718 | 0.0033394 | 94.0531 | 8581.75 | 95.1838 | 487456.4 | 94.7629 | 195560.6367 | 95.5204 | 69248.3867 | 95.5128 | 90001.43 | 97.9639 | 653802.0633 | 96.0532 | 324480.7733 | 98.1708 | 422818.5533 | 97.8014 | 244202.0667
| FALSE | 045SMPL.d | 2022-09-01 18:23 | Sample |  | 170039-005 | 1 | 1.8037 | 0.028538 | 0.035097 | 0.0052512 | 0.0064556 | 0.010555 | 0.1197 | 0.11371 | 0.11073 | 0.29692 | 0.27306 | 0.27953 | 0.26145 | 1.6524 | 1.6408 | 1.6687 | 1.6835 | 1.6538 | 1.6682 | 0.0031929 | 0.0039704 | 96.0276 | 8761.9133 | 94.6964 | 484960.2967 | 94.8901 | 195823.19 | 95.6115 | 69314.4267 | 95.7577 | 90232.1767 | 97.4062 | 650080.21 | 96.3509 | 325486.5033 | 98.5551 | 424473.9567 | 97.5229 | 243506.6233
| FALSE | 046SMPL.d | 2022-09-01 18:26 | Sample |  | 170039-006 | 1 | 0.065414 | 0.04543 | <0.000 | 0.005794 | 0.0051327 | 0.0082087 | 0.09065 | 0.086807 | 0.076687 | 0.00023437 | <0.000 | <0.000 | <0.000 | 2.2021 | 2.167 | 2.2161 | 2.2194 | 2.2034 | 2.2051 | 0.0041028 | 0.0037484 | 94.9672 | 8665.16 | 94.3098 | 482980.52 | 95.3807 | 196835.52 | 95.7993 | 69450.5433 | 94.8287 | 89356.8233 | 97.1131 | 648124.3133 | 95.4628 | 322486.5633 | 97.783 | 421148.4367 | 97.143 | 242557.9133
| FALSE | 047SMPL.d | 2022-09-01 18:30 | Sample |  | 170040-001 | 1 | 1.3934 | 0.11589 | 0.13925 | 0.057893 | 0.054676 | 0.066893 | 1.9298 | 1.7838 | 1.8907 | 0.014551 | 0.019067 | 0.0096875 | 0.011763 | 1.675 | 1.8091 | 1.7298 | 1.8634 | 1.6832 | 1.8395 | 0.075028 | 0.08129 | 84.9765 | 7753.57 | 92.7774 | 475132.9167 | 94.5904 | 195204.7467 | 88.0961 | 63866.0767 | 82.6238 | 77856.1767 | 92.3599 | 616401.9433 | 85.036 | 287263.43 | 89.2519 | 384404.9533 | 81.8393 | 204345.9933
| FALSE | 048SMPL.d | 2022-09-01 18:34 | Sample |  | 170040-002 | 1 | 1.1832 | 0.10807 | 0.15281 | 0.054572 | 0.047138 | 0.059374 | 1.5827 | 1.642 | 1.6063 | 0.007566 | 0.01025 | 0.0044035 | 0.0072791 | 1.3929 | 1.3578 | 1.4264 | 1.3996 | 1.4002 | 1.402 | 0.06462 | 0.069591 | 94.2359 | 8598.4367 | 93.3225 | 477924.57 | 94.0182 | 194023.85 | 96.5215 | 69974.13 | 89.6336 | 84461.4633 | 93.0177 | 620791.7667 | 92.345 | 311954.1633 | 89.4828 | 385399.4567 | 89.0278 | 222295.0567
| FALSE | 049SMPL.d | 2022-09-01 18:38 | Sample |  | 170040-003 | 1 | 0.70363 | 0.068454 | 0.011749 | 0.035093 | 0.043799 | 0.045687 | 1.2439 | 1.2676 | 1.2572 | 0.017379 | 0.0087986 | 0.0050816 | 0.0063317 | 0.75484 | 0.73706 | 0.769 | 0.76834 | 0.75874 | 0.7517 | 0.13221 | 0.13209 | 93.5658 | 8537.2933 | 94.3793 | 483336.5467 | 94.8103 | 195658.35 | 95.4897 | 69226.0967 | 93.4421 | 88050.2 | 96.45 | 643698.4733 | 95.4042 | 322288.48 | 93.2206 | 401498.4033 | 92.9757 | 232152.68
| FALSE | 050SMPL.d | 2022-09-01 18:41 | Sample |  | 170040-004 | 1 | 1.774 | 0.069335 | <0.000 | 0.028365 | 0.035831 | 0.038692 | 1.2133 | 1.2467 | 1.2544 | 0.52201 | 0.51441 | 0.54082 | 0.52708 | 0.69071 | 0.6643 | 0.69926 | 0.70721 | 0.68961 | 0.69176 | 0.13205 | 0.13768 | 90.1664 | 8227.12 | 93.9312 | 481041.6633 | 93.6145 | 193190.7133 | 94.4466 | 68469.88 | 92.64 | 87294.3533 | 95.9638 | 640454.0167 | 94.6775 | 319833.5233 | 93.5855 | 403070.0267 | 92.1897 | 230189.8833
| FALSE | 051SMPL.d | 2022-09-01 18:45 | Sample |  | 170040-005 | 1 | 1.7612 | 0.11606 | 0.15077 | 0.07645 | 0.071548 | 0.079993 | 2.3024 | 2.3311 | 2.2776 | 0.16837 | 0.16272 | 0.16626 | 0.15913 | 2.4867 | 2.4664 | 2.5464 | 2.5431 | 2.5071 | 2.5087 | 0.078192 | 0.080602 | 92.7251 | 8460.5833 | 94.7217 | 485090.1033 | 94.4641 | 194943.91 | 97.1006 | 70393.98 | 90.3036 | 85092.8567 | 93.28 | 622542.2667 | 92.986 | 314119.3233 | 89.69 | 386292.0267 | 89.4346 | 223310.6967
| FALSE | 052_QC2.d | 2022-09-01 18:49 | QC2 |  | qc 2 | 1 | 10.0696 | 10.1506 | 9.92 | 10.0473 | 10.4533 | 10.4432 | 10.4969 | 10.1129 | 10.4113 | 0.99454 | 1.0477 | 1.0227 | 1.0208 | 9.855 | 10.1215 | 10.0244 | 10.3368 | 9.9239 | 10.3375 | 9.4338 | 9.8868 | 95.1135 | 8678.5033 | 99.1054 | 507539.74 | 96.6734 | 199503.3 | 96.3674 | 69862.4033 | 97.0319 | 91432.89 | 102.0902 | 681340.5467 | 97.3684 | 328923.7533 | 102.2052 | 440194.7667 | 98.264 | 245357.0033
| FALSE | 053SMPL.d | 2022-09-01 18:52 | Sample |  | blk | 1 | 0.021344 | 0.028754 | <0.000 | 0.0041826 | 0.0032718 | 0.0049501 | 0.016792 | 0.016727 | 0.012052 | 0.042552 | 0.021998 | 0.025223 | 0.024325 | 0.0057207 | 0.0052732 | 0.0083758 | 0.010446 | 0.0082111 | 0.0072797 | 0.017383 | 0.015504 | 93.8094 | 8559.5167 | 94.3713 | 483295.3667 | 94.2918 | 194588.41 | 95.3853 | 69150.4133 | 95.7635 | 90237.6667 | 97.4191 | 650166.21 | 96.6558 | 326516.5267 | 98.5447 | 424428.8967 | 98.0917 | 244926.85
| FALSE | 054SMPL.d | 2022-09-01 18:56 | Sample |  | 170035-002 | 1 | 1.2667 | 0.073658 | 0.14888 | 0.02505 | 0.013432 | 0.020649 | 0.38486 | 0.38374 | 0.38105 | 0.019541 | 0.0063143 | 0.010646 | 0.0033277 | 0.48451 | 0.46439 | 0.47804 | 0.45917 | 0.47679 | 0.46595 | 0.26248 | 0.25692 | 89.9593 | 8208.22 | 85.3946 | 437323.9933 | 86.5624 | 178637.3 | 91.6903 | 66471.7233 | 87.2327 | 82199.0933 | 85.3994 | 569947.9 | 87.0873 | 294192.82 | 76.7635 | 330617.8033 | 78.3725 | 195689.5067
| FALSE | 055SMPL.d | 2022-09-01 19:00 | Sample |  | 170035-003 | 1 | 1.0029 | 0.071892 | 0.11031 | 0.010778 | 0.0066643 | 0.012058 | 0.31737 | 0.30596 | 0.33528 | <0.000 | <0.000 | <0.000 | <0.000 | 0.032577 | 0.038177 | 0.04189 | 0.038621 | 0.03692 | 0.038337 | 0.19995 | 0.20256 | 99.5003 | 9078.7767 | 96.4732 | 494059.5333 | 97.8814 | 201996.28 | 101.3372 | 73465.3167 | 95.665 | 90144.8767 | 91.1111 | 608067.4667 | 93.5682 | 316086.0633 | 80.6505 | 347359.0733 | 83.3657 | 208157.2133
| FALSE | 056SMPL.d | 2022-09-01 19:04 | Sample |  | 170046-001 | 1 | 0.54249 | 0.13098 | 0.71809 | 0.10027 | 0.10879 | 0.10592 | 0.090452 | 0.077615 | 0.087248 | 0.071888 | 0.062598 | 0.077735 | 0.069264 | 0.61299 | 0.59853 | 0.58112 | 0.56759 | 0.59351 | 0.59171 | 0.12089 | 0.11901 | 113.892 | 10391.9267 | 256.0246 | 1311156.2967 | 226.9998 | 468455.7067 | 232.5804 | 168611.2233 | 100.7833 | 94967.8033 | 105.4537 | 703788.6433 | 105.2202 | 355448.3433 | 96.6613 | 416317.3333 | 98.0683 | 244868.3133
| FALSE | 057SMPL.d | 2022-09-01 19:07 | Sample |  | 170047-001 | 1 | 0.1387 | 0.036829 | 0.087996 | 0.0056021 | 0.0079058 | 0.0055372 | 0.083227 | 0.079721 | 0.079842 | 0.0064817 | 0.0035246 | <0.000 | <0.000 | 0.2958 | 0.29237 | 0.30245 | 0.3036 | 0.3019 | 0.30213 | 0.0078144 | 0.0083 | 102.7172 | 9372.2933 | 99.757 | 510876.98 | 99.1443 | 204602.4833 | 101.2385 | 73393.75 | 101.0106 | 95182.0167 | 99.9889 | 667316.8567 | 100.1371 | 338276.9267 | 99.2235 | 427352.7233 | 100.0174 | 249735.03
| FALSE | 058SMPL.d | 2022-09-01 19:11 | Sample |  | 170048-001 | 1 | 0.14222 | 0.0056909 | <0.000 | 0.00094797 | 0.0012806 | 0.0025175 | 0.032046 | 0.034543 | 0.030861 | 0.0036908 | <0.000 | <0.000 | <0.000 | 0.046558 | 0.046207 | 0.047987 | 0.044172 | 0.045226 | 0.045759 | 0.014028 | 0.015269 | 99.1467 | 9046.5133 | 95.0292 | 486664.8133 | 95.6036 | 197295.4833 | 98.0667 | 71094.35 | 96.3274 | 90768.9767 | 97.0702 | 647837.8767 | 97.0417 | 327820.15 | 94.4295 | 406704.9733 | 95.4355 | 238294.47
| FALSE | 059SMPL.d | 2022-09-01 19:15 | Sample |  | 170049-001 | 1 | 0.032194 | 0.0087142 | 0.039745 | 0.0015215 | 4.2636e-05 | 0.0060209 | 0.05728 | 0.056734 | 0.056809 | <0.000 | <0.000 | <0.000 | <0.000 | 2.1288 | 2.1239 | 2.149 | 2.1747 | 2.1424 | 2.1676 | 0.00079006 | 0.00073045 | 93.2857 | 8511.73 | 93.0371 | 476462.77 | 93.6965 | 193359.9267 | 94.4853 | 68497.97 | 93.1974 | 87819.6667 | 95.4921 | 637305.8167 | 95.587 | 322905.9467 | 93.4616 | 402536.3867 | 93.013 | 232245.7633
| FALSE | 060SMPL.d | 2022-09-01 19:19 | Sample |  | 170050-001 | 1 | 1.5193 | 0.030474 | 0.083327 | 0.010073 | 0.0026062 | 0.0056899 | 0.085285 | 0.081295 | 0.082785 | 0.010373 | <0.000 | 0.0058621 | 0.0029905 | 0.29234 | 0.29103 | 0.31195 | 0.30842 | 0.29878 | 0.30173 | 0.0033875 | 0.0028315 | 128.3097 | 11707.45 | 94.0003 | 481395.2567 | 93.4282 | 192806.2933 | 95.6465 | 69339.7933 | 92.1347 | 86818.2933 | 95.3561 | 636398.0867 | 94.766 | 320132.43 | 91.9314 | 395945.55 | 92.2433 | 230323.7133
| FALSE | 061SMPL.d | 2022-09-01 19:22 | Sample |  | 170052-001 | 1 | 6.0966 | 0.32088 | 0.39185 | 0.01124 | 0.007443 | 0.0088601 | 1.1228 | 1.1302 | 1.1306 | 0.0027946 | 0.0062637 | 0.022498 | 0.011272 | 2.1613 | 2.1319 | 2.1 | 2.0855 | 2.1094 | 2.1208 | 0.16833 | 0.17427 | 156.6853 | 14296.5433 | 104.3586 | 534442.5333 | 106.21 | 219183.77 | 107.032 | 77593.8367 | 91.3571 | 86085.5533 | 94.9044 | 633383.1333 | 94.3255 | 318644.52 | 90.3972 | 389337.8733 | 89.8912 | 224450.92
| FALSE | 062SMPL.d | 2022-09-01 19:26 | Sample |  | 170053-001 | 1 | 0.40294 | 1.307 | 1.1724 | 0.00088723 | 3.2944e-05 | 0.0023705 | 0.16241 | 0.16605 | 0.15769 | 0.0017522 | <0.000 | <0.000 | <0.000 | 0.26999 | 0.28534 | 0.27728 | 0.27652 | 0.27937 | 0.28242 | 0.025539 | 0.027992 | 94.0536 | 8581.8 | 94.5259 | 484087.0367 | 95.329 | 196728.8633 | 95.3941 | 69156.81 | 95.3944 | 89889.8567 | 97.5247 | 650871.35 | 97.0104 | 327714.4767 | 95.9877 | 413415.9267 | 96.4684 | 240873.4633
| FALSE | 063SMPL.d | 2022-09-01 19:30 | Sample |  | 170054-001 | 1 | 0.61141 | 0.01191 | 0.066607 | 0.060016 | 0.072889 | 0.062813 | 0.11273 | 0.10263 | 0.11601 | 0.0028023 | <0.000 | <0.000 | <0.000 | 0.86725 | 0.8797 | 0.89063 | 0.86709 | 0.87409 | 0.87922 | 0.088159 | 0.087238 | 93.4439 | 8526.1633 | 92.4696 | 473556.3467 | 91.7809 | 189406.6867 | 93.6462 | 67889.62 | 93.0218 | 87654.16 | 95.5413 | 637634.2567 | 94.6901 | 319876.19 | 93.0164 | 400618.7833 | 92.5027 | 230971.6233
| FALSE | 064_QC2.d | 2022-09-01 19:34 | QC2 |  | qc 2 | 1 | 10.0613 | 10.0564 | 9.7989 | 10.4185 | 10.1304 | 10.2418 | 10.4181 | 10.5649 | 10.379 | 1.0525 | 1.0346 | 1.027 | 1.0135 | 10.1589 | 10.1043 | 10.4024 | 10.4041 | 10.2869 | 10.3634 | 9.5617 | 9.7174 | 94.2848 | 8602.89 | 95.6394 | 489789.79 | 95.0408 | 196134.0633 | 97.822 | 70916.9133 | 97.6254 | 91992.16 | 98.1103 | 654779.2633 | 97.4877 | 329326.7433 | 98.2214 | 423036.3367 | 98.1213 | 245000.62
| FALSE | 065SMPL.d | 2022-09-01 19:37 | Sample |  | blk | 1 | 0.011841 | 0.032645 | 0.15284 | 0.0069837 | 0.00066677 | 0.0041445 | 0.010737 | 0.016857 | 0.010805 | 0.032046 | 0.019586 | 0.028195 | 0.025013 | 0.0091335 | 0.0036398 | 0.013252 | 0.0077094 | 0.011042 | 0.0045683 | 0.023138 | 0.014706 | 95.3331 | 8698.5433 | 94.7576 | 485273.69 | 95.4242 | 196925.4033 | 96.0703 | 69647.02 | 97.3584 | 91740.5 | 97.3228 | 649523.8267 | 96.7152 | 326717.2667 | 98.1744 | 422834.2933 | 98.0175 | 244741.63
| FALSE | 066SMPL.d | 2022-09-01 19:41 | Sample |  | 170059-007 Pb | 1 | 0.11167 | 0.031421 | 0.082838 | 0.0014639 | 0.0025811 | 0.003873 | 0.1653 | 0.17431 | 0.17191 | 0.0045657 | <0.000 | <0.000 | <0.000 | 4.7657 | 4.6475 | 4.6693 | 4.5954 | 4.6725 | 4.6423 | 0.0048572 | 0.0047039 | 95.6863 | 8730.77 | 94.7305 | 485134.9233 | 95.0002 | 196050.2867 | 96.0811 | 69654.8667 | 96.0388 | 90497.1033 | 97.9342 | 653603.6967 | 96.6856 | 326617.3867 | 97.1 | 418206.85 | 97.481 | 243401.9033
| FALSE | 067SMPL.d | 2022-09-01 19:45 | Sample |  | 170059-008 Pb | 1 | 0.12838 | 0.040154 | <0.000 | 0.00015839 | 0.0019714 | 0.0026244 | 0.1202 | 0.12357 | 0.11886 | <0.000 | <0.000 | <0.000 | <0.000 | 0.15173 | 0.13955 | 0.15645 | 0.135 | 0.14796 | 0.13922 | 0.0071406 | 0.008347 | 92.1893 | 8411.69 | 94.5334 | 484125.4 | 94.5169 | 195053.0133 | 95.2234 | 69033.06 | 95.9119 | 90377.4867 | 97.5767 | 651217.7933 | 96.7774 | 326927.4933 | 98.2852 | 423311.4433 | 97.5765 | 243640.5033
| FALSE | 068SMPL.d | 2022-09-01 19:49 | Sample |  | 170059-001 | 1 | 0.050582 | 0.018931 | 0.061723 | 0.005352 | 0.0032608 | 0.0075545 | 0.047231 | 0.04345 | 0.040893 | <0.000 | <0.000 | <0.000 | <0.000 | 0.61731 | 0.60152 | 0.62395 | 0.61015 | 0.61558 | 0.60565 | 0.0080513 | 0.0079952 | 94.9305 | 8661.81 | 93.3499 | 478064.8033 | 93.4145 | 192778.0233 | 94.8058 | 68730.35 | 93.8966 | 88478.4767 | 96.7939 | 645993.72 | 95.3917 | 322246.3667 | 95.6093 | 411786.1933 | 94.3901 | 235684.1333
| FALSE | 069SMPL.d | 2022-09-01 19:52 | Sample |  | 170059-002 | 1 | 0.048697 | 0.017571 | <0.000 | 0.0024651 | 0.0019687 | 0.0036595 | 0.069901 | 0.075248 | 0.06958 | 0.00024348 | <0.000 | <0.000 | <0.000 | 0.69211 | 0.6711 | 0.69243 | 0.69141 | 0.6893 | 0.68849 | 0.0080817 | 0.0076322 | 93.6024 | 8540.63 | 93.5067 | 478867.8467 | 93.1879 | 192310.2367 | 94.8477 | 68760.6667 | 95.1105 | 89622.3133 | 96.2354 | 642266.5267 | 95.6731 | 323196.7467 | 96.4212 | 415282.92 | 95.8772 | 239397.43
| FALSE | 070SMPL.d | 2022-09-01 19:56 | Sample |  | 170059-003 | 1 | 0.058725 | 0.01601 | 0.11191 | 0.0043261 | 0.0039281 | 0.0057471 | 0.047971 | 0.04833 | 0.042671 | <0.000 | <0.000 | <0.000 | <0.000 | 1.2439 | 1.2151 | 1.2443 | 1.2568 | 1.231 | 1.2435 | 0.01752 | 0.01807 | 94.0167 | 8578.43 | 93.1797 | 477192.9833 | 93.1035 | 192136.06 | 94.6871 | 68644.24 | 94.1567 | 88723.54 | 96.456 | 643738.42 | 95.6428 | 323094.39 | 95.3674 | 410744.4367 | 94.6897 | 236432.3867
| FALSE | 071SMPL.d | 2022-09-01 20:00 | Sample |  | 170059-004 | 1 | 0.016601 | 0.0029751 | <0.000 | 0.0020308 | 0.0051897 | 0.0044015 | 0.060476 | 0.054477 | 0.05375 | <0.000 | <0.000 | <0.000 | <0.000 | 0.40597 | 0.39589 | 0.4059 | 0.40882 | 0.40646 | 0.40441 | <0.000 | <0.000 | 94.7235 | 8642.92 | 93.1936 | 477264.3067 | 93.3082 | 192558.51 | 95.5928 | 69300.84 | 95.6374 | 90118.82 | 96.701 | 645373.7067 | 96.3053 | 325332.57 | 96.4711 | 415497.94 | 96.3334 | 240536.57
| FALSE | 072SMPL.d | 2022-09-01 20:04 | Sample |  | 170059-005 | 1 | 0.12642 | 0.035633 | 0.011019 | 9.1463e-05 | 1.9866e-05 | 0.0013452 | 0.042807 | 0.04238 | 0.048833 | <0.000 | <0.000 | <0.000 | <0.000 | 0.13884 | 0.13281 | 0.13809 | 0.13767 | 0.13866 | 0.14021 | 0.00693 | 0.0074391 | 94.0777 | 8583.9967 | 94.184 | 482336.08 | 95.0964 | 196248.8033 | 95.853 | 69489.53 | 96.2172 | 90665.15 | 97.5166 | 650816.8967 | 96.7569 | 326858.2033 | 98.0084 | 422119.22 | 97.4703 | 243375.2267
| FALSE | 073SMPL.d | 2022-09-01 20:07 | Sample |  | 170060-001 | 1 | 0.10598 | 0.023298 | 0.012328 | 0.0045603 | 0.0058334 | 0.0039096 | 0.061101 | 0.061501 | 0.068351 | <0.000 | <0.000 | <0.000 | <0.000 | 1.7143 | 1.6965 | 1.7531 | 1.7358 | 1.7215 | 1.7338 | 0.19168 | 0.19831 | 93.0905 | 8493.92 | 92.9884 | 476213.1967 | 93.1116 | 192152.9167 | 95.3509 | 69125.5033 | 95.0966 | 89609.2133 | 96.6064 | 644742.12 | 96.1658 | 324861.1167 | 98.3988 | 423800.3933 | 97.329 | 243022.2833
| FALSE | 074SMPL.d | 2022-09-01 20:11 | Sample |  | 170056-001 | 1 | 2.6298 | 0.047079 | <0.000 | 0.010113 | 0.0026868 | 0.030638 | 0.096164 | 0.094382 | 0.099211 | 0.032464 | 0.03826 | 0.028328 | 0.033491 | 5.9539 | 5.8597 | 6.0602 | 6.0066 | 5.9886 | 6.0016 | <0.000 | <0.000 | 89.0576 | 8125.9467 | 89.5348 | 458526.7067 | 89.3093 | 184306.1633 | 92.8097 | 67283.2 | 89.9557 | 84765 | 91.6098 | 611395.2933 | 91.0713 | 307651.45 | 86.3067 | 371720.0833 | 85.7499 | 214110.46
| FALSE | 075SMPL.d | 2022-09-01 20:15 | Sample |  | 170056-002 | 1 | 2.8233 | 0.028798 | 0.070007 | 0.0089351 | 0.0060261 | 0.0072434 | 0.05665 | 0.044296 | 0.052114 | 0.012103 | 0.013537 | 0.0062563 | 0.012518 | 0.7023 | 0.74614 | 0.73373 | 0.75531 | 0.71481 | 0.75742 | <0.000 | <0.000 | 89.9472 | 8207.1133 | 95.2102 | 487591.7267 | 89.5795 | 184863.8067 | 92.6158 | 67142.6233 | 90.445 | 85226.0833 | 96.2083 | 642085.7833 | 91.1006 | 307750.28 | 90.9967 | 391919.8767 | 85.8777 | 214429.43
| FALSE | 076_QC1.d | 2022-09-01 20:19 | QC1 |  | qc 1 | 1 | 5.0179 | 5.2227 | 5.4268 | 5.1725 | 5.107 | 5.1605 | 5.1942 | 5.2428 | 5.2044 | 0.51391 | 0.50623 | 0.51581 | 0.49853 | 5.1457 | 5.0924 | 5.2377 | 5.2196 | 5.1937 | 5.2065 | 4.7864 | 4.812 | 97.5263 | 8898.6633 | 98.2947 | 503388.2033 | 98.2015 | 202656.8867 | 99.4855 | 72122.92 | 98.9503 | 93240.5933 | 99.3934 | 663342.84 | 98.2778 | 331995.86 | 98.2653 | 423225.67 | 98.7023 | 246451.4033
| FALSE | 077_QC2.d | 2022-09-01 20:22 | QC2 |  | qc 2 | 1 | 9.967 | 9.8244 | 10.3935 | 10.3259 | 10.3876 | 10.322 | 10.4373 | 10.412 | 10.4115 | 1.0459 | 1.0112 | 1.0253 | 1.0001 | 10.1675 | 9.991 | 10.3324 | 10.3167 | 10.2637 | 10.2663 | 9.4443 | 9.5593 | 96.0514 | 8764.0867 | 94.8732 | 485865.7333 | 94.0008 | 193987.8533 | 95.5788 | 69290.69 | 95.4355 | 89928.6233 | 97.3735 | 649861.8667 | 96.6312 | 326433.4633 | 97.1956 | 418618.4867 | 96.9519 | 242080.7567
| FALSE | 078_QC3.d | 2022-09-01 20:26 | QC3 |  | qc 3 | 1 | 49.3484 | 49.4708 | 48.5808 | 51.5466 | 51.1728 | 51.4005 | 52.3297 | 52.8777 | 52.0874 | 5.1684 | 5.0777 | 5.102 | 5.0399 | 50.9502 | 49.8477 | 51.7826 | 51.2382 | 52.0732 | 51.1168 | 49.9517 | 49.9397 | 91.9817 | 8392.75 | 91.8744 | 470508.26 | 91.822 | 189491.6067 | 92.9652 | 67395.9267 | 92.7372 | 87385.98 | 96.0412 | 640970.57 | 94.5527 | 319411.9633 | 94.6478 | 407644.9633 | 94.615 | 236245.7667
| FALSE | 079SMPL.d | 2022-09-01 20:30 | Sample |  | curve 4 | 1 | 48.1237 | 47.8277 | 46.5702 | 45.8581 | 50.559 | 50.4826 | 50.9948 | 46.6865 | 50.964 | 2.2791 | 2.5371 | 2.2393 | 2.5419 | 44.4874 | 49.544 | 43.489 | 48.8516 | 44.5131 | 49.7189 | 43.3284 | 49.3795 | 91.6287 | 8360.5433 | 100.1011 | 512638.8533 | 91.1619 | 188129.2133 | 91.6826 | 66466.12 | 92.3373 | 87009.1633 | 105.3732 | 703251.2367 | 93.9991 | 317541.72 | 107.4996 | 462997.3833 | 94.1181 | 235005.13

## ValueList_Helper (hidden)
Bkgnd
BlkVrfy
CalBlk
CalStd
CICSpike
DilStd
DriftChk
FQBlk
IsoStd
QC1
QC2
QC3
QC4
QC5
Sample
Spike
Spike Ref
SQBlk
SQISTD
SQStd