## Sheet1
Sample | [7 empty] | 75 As [ He ] | 78 Se [ H2 ] | 78 Se [ He ] | 111 Cd [ No Gas ] | 111 Cd [ He ] | 114 Cd [ He ] | 121 Sb [ He ] | 123 Sb [ No Gas ] | 123 Sb [ He ] | 201 Hg [ No Gas ] | 201 Hg [ He ] | 202 Hg [ No Gas ] | 202 Hg [ He ] | 206 [Pb] [ No Gas ] | 206 [Pb] [ He ] | 207 [Pb] [ No Gas ] | 207 [Pb] [ He ] | 208 Pb [ No Gas ] | 208 Pb [ He ] | 238 U [ No Gas ] | 238 U [ He ] | 72 Ge ( ISTD ) [ He ] |  |  | 89 Y ( ISTD ) [ No Gas ] |  |  | 89 Y ( ISTD ) [ H2 ] |  |  | 89 Y ( ISTD ) [ He ] |  |  | 115 In ( ISTD ) [ He ] |  |  | 159 Tb ( ISTD ) [ No Gas ] |  |  | 159 Tb ( ISTD ) [ He ] |  |  | 209 Bi ( ISTD ) [ No Gas ] |  |  | 209 Bi ( ISTD ) [ He ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | Total Dil. | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD
| FALSE | 001SMPL.d | 2023-04-04 13:18 | Sample |  | blk | 1 | [22 empty] | 9189.95 | 1.208 |  | 486076.73 | 0.024498 |  | 171971.8167 | 1.4921 |  | 67345.9567 | 2.3309 |  | 99171.5533 | 1.5431 |  | 682185.26 | 0.60185 |  | 365697.44 | 0.49982 |  | 458787.3267 | 0.62512 |  | 297216.2633 | 0.557
| FALSE | 002SMPL.d | 2023-04-04 13:22 | Sample |  | blk | 1 | [22 empty] | 8786.3567 | 4.4704 |  | 469045.7467 | 0.65513 |  | 165834.3367 | 1.7259 |  | 63708.76 | 0.98381 |  | 92625.3467 | 0.96928 |  | 637346.1233 | 1.8816 |  | 328832.36 | 0.72191 |  | 445893.38 | 0.35773 |  | 282562.6 | 0.44656
| FALSE | 003SMPL.d | 2023-04-04 13:25 | Sample |  | blk | 1 | [22 empty] | 8763.0167 | 1.6635 |  | 457306.4733 | 0.236 |  | 163467.0667 | 1.1269 |  | 62331.68 | 1.376 |  | 91073.1867 | 0.4711 |  | 604061.1767 | 0.75112 |  | 316235.46 | 0.67749 |  | 433634.4033 | 0.15207 |  | 278426.5633 | 0.42958
| FALSE | 004CALB.d | 2023-04-04 13:29 | CalBlk | 1 | blk | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 8699.6267 | 2.0348 | 100 | 457000.3333 | 0.71209 | 100 | 164546.7667 | 1.2781 | 100 | 62924.24 | 1.5404 | 100 | 91127.82 | 0.40517 | 100 | 605777.9433 | 0.27512 | 100 | 326568.2267 | 0.17627 | 100 | 436697.98 | 0.54267 | 100 | 281474.7067 | 0.72341
| FALSE | 005CALS.d | 2023-04-04 13:33 | CalStd | 2 | curve 1 | 1 | 0.10171 | 0.12409 | <0.000 | 0.10175 | 0.1079 | 0.096742 | 0.10441 | 0.09696 | 0.10115 | 0.0028225 | 0.0031221 | 0.0046656 | 0.0031162 | 0.096487 | 0.10929 | 0.09696 | 0.10331 | 0.10234 | 0.10397 | 0.098743 | 0.10131 | 101.8403 | 8859.7233 | 2.0609 | 99.7934 | 456055.99 | 0.54914 | 99.9412 | 164449.9533 | 1.2054 | 100.1348 | 63009.08 | 2.1084 | 100.5736 | 91650.49 | 1.3484 | 99.3867 | 602062.5867 | 0.26461 | 98.4123 | 321383.24 | 0.55977 | 99.6212 | 435043.87 | 0.41856 | 99.3384 | 279612.4733 | 0.68573
| FALSE | 006CALS.d | 2023-04-04 13:37 | CalStd | 3 | curve 2 | 1 | 1.0125 | 1.0145 | 1.1358 | 1.0087 | 1.0148 | 1.0557 | 1.0109 | 0.93804 | 0.99513 | 0.058265 | 0.049352 | 0.047971 | 0.049748 | 0.99777 | 1.021 | 0.99571 | 1.0419 | 1.0139 | 1.0161 | 0.99828 | 0.98624 | 101.2781 | 8810.82 | 1.864 | 99.8055 | 456111.5333 | 0.67853 | 100.7731 | 165818.8033 | 0.93802 | 100.371 | 63157.6867 | 1.5641 | 101.2241 | 92243.3133 | 0.66739 | 99.863 | 604947.9933 | 0.81404 | 100.591 | 328498.3867 | 0.8478 | 99.1446 | 432962.3933 | 0.28325 | 99.9724 | 281397.1233 | 0.3938
| FALSE | 007CALS.d | 2023-04-04 13:41 | CalStd | 4 | curve 2.5 (Hg only) | 1 | 1.9996 | 1.9706 | 1.9932 | 2.0457 | 2.0331 | 2.007 | 2.0518 | 1.9197 | 1.9863 | 0.099209 | 0.097479 | 0.09796 | 0.098578 | 2.0093 | 2.0535 | 1.9806 | 2.0779 | 2.0149 | 2.0236 | 1.9879 | 1.9902 | 101.1501 | 8799.68 | 4.1263 | 100.2655 | 458213.75 | 0.5312 | 100.9703 | 166143.37 | 1.2163 | 100.2822 | 63101.7933 | 1.1808 | 100.8312 | 91885.2567 | 0.4286 | 102.8262 | 622898.34 | 0.20582 | 99.6087 | 325290.5067 | 0.64956 | 101.0537 | 441299.5033 | 0.42264 | 99.4575 | 279947.6867 | 0.24672
| FALSE | 008CALS.d | 2023-04-04 13:44 | CalStd | 5 | curve 3 | 1 | 10.0509 | 10.1026 | 10.8309 | 10.0956 | 10.0171 | 10.141 | 10.0979 | 9.6464 | 10.0026 | 0.48978 | 0.48769 | 0.50283 | 0.49942 | 9.8809 | 10.1688 | 9.8767 | 10.1238 | 9.9419 | 9.9984 | 9.8258 | 9.819 | 99.6548 | 8669.5933 | 2.0335 | 99.7514 | 455864.3667 | 0.41492 | 99.2342 | 163286.64 | 1.2581 | 99.2689 | 62464.1833 | 0.50003 | 100.1289 | 91245.3267 | 1.6048 | 103.3845 | 626280.66 | 0.24109 | 101.6831 | 332064.7767 | 0.5376 | 101.8638 | 444836.97 | 0.8158 | 100.0124 | 281509.73 | 0.52553
| FALSE | 009CALS.d | 2023-04-04 13:48 | CalStd | 6 | curve 4 | 1 | 50.0624 | 50.1817 | 50.8865 | 49.8959 | 50.2981 | 50.329 | 50.0294 | 47.9995 | 49.9147 | 2.4667 | 2.4932 | 2.4769 | 2.4841 | 48.6128 | 50.2018 | 48.5561 | 50.23 | 49.678 | 50.411 | 50.0724 | 50.859 | 98.2493 | 8547.32 | 3.5947 | 98.0194 | 447948.8233 | 0.26363 | 98.119 | 161451.5933 | 1.7635 | 96.5931 | 60780.4567 | 0.79659 | 97.4101 | 88767.7133 | 1.2713 | 103.9694 | 629823.8033 | 0.29496 | 100.5767 | 328451.5667 | 0.21865 | 101.053 | 441296.2667 | 0.55181 | 97.8631 | 275460.01 | 0.12937
| FALSE | 010CALS.d | 2023-04-04 13:52 | CalStd | 7 | curve 5 | 1 | 99.9636 | 99.8987 | 99.4725 | 100.0424 | 99.8491 | 99.8208 | 99.9754 | 101.0362 | 100.0424 | 5.0176 | 5.0047 | 5.0113 | 5.008 | 100.7056 | 99.882 | 100.7343 | 99.8722 | 100.1667 | 99.7945 | 99.9812 | 99.5887 | 98.083 | 8532.8567 | 1.3549 | 95.9834 | 438644.4833 | 0.10757 | 95.6331 | 157361.1867 | 1.203 | 95.6599 | 60193.2567 | 1.3376 | 95.6274 | 87143.21 | 0.52565 | 104.1274 | 630780.5867 | 0.3592 | 100.3249 | 327629.41 | 0.63325 | 99.5147 | 434578.5567 | 0.55795 | 96.8594 | 272634.7367 | 0.54672
| FALSE | 011SMPL.d | 2023-04-04 13:56 | Sample |  | blk | 1 | 0.038584 | 0.11249 | 0.033242 | 0.0078092 | 0.0071542 | 0.0043272 | 0.040186 | 0.044977 | 0.035793 | 0.093612 | 0.087802 | 0.097304 | 0.091511 | 0.019632 | 0.012099 | 0.018645 | 0.015161 | 0.018862 | 0.010655 | 0.062731 | 0.039288 | 96.3577 | 8382.7633 | 1.8816 | 98.2031 | 448788.3 | 0.20855 | 97.2982 | 160100.9633 | 1.9722 | 96.4353 | 60681.18 | 1.2776 | 97.4326 | 88788.18 | 0.46431 | 103.6353 | 627799.5767 | 0.49121 | 99.6307 | 325362.2267 | 0.70427 | 101.5671 | 443541.4867 | 0.48104 | 98.3062 | 276707.18 | 0.39015
| FALSE | 012SMPL.d | 2023-04-04 14:00 | Sample |  | blk | 1 | 0.019719 | 0.04387 | <0.000 | 0.0022964 | 0.0023536 | 0.0016674 | 0.014421 | 0.016569 | 0.017007 | 0.053004 | 0.047808 | 0.047403 | 0.050692 | 0.00384 | 5.0817e-05 | 0.005346 | 0.0065746 | 0.0035181 | 0.0011376 | 0.010208 | 0.009018 | 98.4281 | 8562.8733 | 1.6557 | 98.1896 | 448726.9067 | 0.17406 | 97.7803 | 160894.28 | 1.959 | 98.0174 | 61676.6967 | 1.0679 | 99.3828 | 90565.4233 | 0.35306 | 104.022 | 630142.2833 | 0.78319 | 100.3736 | 327788.2133 | 0.31019 | 101.8201 | 444646.15 | 0.31557 | 99.5422 | 280186.07 | 0.30229
| FALSE | 013_QC1.d | 2023-04-04 14:04 | QC1 |  | qc 1 | 1 | 5.2006 | 5.2921 | 4.8972 | 5.2059 | 5.2617 | 5.2697 | 5.198 | 5.0313 | 5.2265 | 0.27341 | 0.27572 | 0.27568 | 0.28105 | 5.0834 | 5.2148 | 5.0886 | 5.3032 | 5.112 | 5.1622 | 5.0368 | 5.0565 | 96.9713 | 8436.14 | 0.43486 | 99.8774 | 456440.17 | 0.20048 | 98.7294 | 162455.9533 | 0.44559 | 98.1873 | 61783.5867 | 0.21114 | 100.0395 | 91163.7733 | 0.70311 | 106.0814 | 642617.7567 | 0.35375 | 101.4806 | 331403.3033 | 1.0362 | 103.3603 | 451372.27 | 0.57562 | 99.8274 | 280988.89 | 0.69121
| FALSE | 014_QC2.d | 2023-04-04 14:07 | QC2 |  | qc 2 | 1 | 10.4136 | 10.4232 | 10.1366 | 10.365 | 10.3293 | 10.4229 | 10.1769 | 9.8915 | 10.183 | 0.52556 | 0.51347 | 0.52233 | 0.51497 | 10.0693 | 10.3755 | 10.0741 | 10.4451 | 10.1471 | 10.2333 | 10.1304 | 10.0931 | 98.3261 | 8554 | 0.39838 | 99.2072 | 453377.4133 | 0.081904 | 99.3854 | 163535.4467 | 0.95883 | 98.8719 | 62214.3633 | 0.85824 | 99.3914 | 90573.2467 | 0.87361 | 103.8437 | 629062.2433 | 0.5163 | 98.9582 | 323166.18 | 0.62617 | 102.2537 | 446539.7067 | 0.20339 | 99.8427 | 281031.8633 | 0.43483
| FALSE | 015_QC3.d | 2023-04-04 14:11 | QC3 |  | qc 3 | 1 | 52.974 | 51.0434 | 52.3591 | 51.5972 | 52.5588 | 52.7233 | 52.3648 | 49.5643 | 52.37 | 2.5329 | 2.5713 | 2.5396 | 2.5753 | 50.0186 | 52.8933 | 50.0238 | 53.0146 | 51.0926 | 53.4173 | 52.2221 | 53.5162 | 99.9872 | 8698.5167 | 3.3611 | 99.0107 | 452479.0733 | 0.30064 | 99.0855 | 163041.9633 | 0.32895 | 96.1462 | 60499.2933 | 2.4854 | 95.8796 | 87372.98 | 3.0309 | 104.5184 | 633149.52 | 0.44737 | 98.3312 | 321118.3333 | 2.5751 | 101.5322 | 443389.0233 | 0.25672 | 96.0994 | 270495.3733 | 2.1503
| FALSE | 016SMPL.d | 2023-04-04 14:15 | Sample |  | blk | 1 | 0.027309 | 0.052091 | <0.000 | 0.0054635 | 0.0058639 | 0.0030572 | 0.022623 | 0.029085 | 0.017309 | 0.061804 | 0.052421 | 0.061299 | 0.05736 | 0.0098577 | 0.0070634 | 0.011351 | 0.008523 | 0.010177 | 0.0065393 | 0.042186 | 0.027809 | 97.4312 | 8476.1467 | 2.6683 | 99.2802 | 453711.0367 | 0.49974 | 98.7278 | 162453.34 | 0.56646 | 97.9568 | 61638.5967 | 0.43485 | 98.6763 | 89921.5167 | 0.68233 | 105.4627 | 638869.9467 | 0.84397 | 100.0882 | 326856.1167 | 0.22935 | 102.2647 | 446587.9767 | 0.4482 | 98.6795 | 277757.7533 | 0.63944
| FALSE | 017SMPL.d | 2023-04-04 14:18 | Sample |  | blk | 1 | 0.0047274 | 0.027047 | 0.031616 | 0.0038928 | 0.0017449 | 0.001201 | 0.011933 | 0.011549 | 0.0082783 | 0.028847 | 0.034197 | 0.029224 | 0.031712 | 0.0073433 | 0.0034624 | 0.0046525 | 0.00050216 | 0.0043598 | 0.00070996 | 0.0088523 | 0.0076097 | 97.6227 | 8492.8133 | 1.0391 | 99.7894 | 456037.9267 | 0.37436 | 97.9911 | 161241.2267 | 1.1372 | 97.9281 | 61620.54 | 1.4016 | 99.8392 | 90981.2733 | 0.087155 | 105.8129 | 640991.4733 | 0.34737 | 100.9172 | 329563.4833 | 0.44777 | 102.7971 | 448913.0767 | 0.086031 | 98.8881 | 278344.8633 | 0.57637
| FALSE | 018SMPL.d | 2023-04-04 14:22 | Sample |  | 173440-001 mj | 5 | 0.21677 | 0.20334 | <0.000 | 0.082263 | 0.067977 | 0.071802 | 0.56204 | 0.5337 | 0.53239 | 0.43599 | 0.39426 | 0.44076 | 0.40814 | 1.0939 | 1.0956 | 1.0785 | 1.1133 | 1.0613 | 1.0824 | 0.05417 | 0.052017 | 95.4122 | 8300.5067 | 1.4585 | 98.1974 | 448762.23 | 1.1055 | 101.1722 | 166475.5667 | 1.7516 | 97.1108 | 61106.21 | 0.82803 | 96.0211 | 87501.9367 | 0.4272 | 105.2699 | 637701.95 | 0.59231 | 102.209 | 333782.2 | 0.17065 | 98.8792 | 431803.4433 | 0.59804 | 97.5046 | 274450.91 | 0.50473
| FALSE | 019SMPL.d | 2023-04-04 14:26 | Sample |  | 173440-002 mj | 5 | 0.064208 | 0.25747 | 0.29491 | 0.058506 | 0.023344 | 0.047864 | 0.41307 | 0.33098 | 0.37533 | 0.35437 | 0.29733 | 0.35887 | 0.33549 | 0.74738 | 0.76581 | 0.70357 | 0.75406 | 0.71929 | 0.74162 | 0.028971 | 0.028906 | 93.035 | 8093.6967 | 2.0105 | 97.2834 | 444585.2667 | 0.70524 | 99.6915 | 164039.22 | 0.56963 | 97.7137 | 61485.58 | 1.421 | 97.8059 | 89128.3767 | 1.6309 | 106.1213 | 642859.6 | 0.37657 | 103.6212 | 338393.9833 | 0.2693 | 100.5721 | 439196.2267 | 1.847 | 97.456 | 274313.9367 | 0.5328
| FALSE | 020SMPL.d | 2023-04-04 14:30 | Sample |  | 173446-001 mj | 5 | 0.29623 | 0.097877 | <0.000 | 11.2306 | 11.1985 | 11.4885 | 0.38805 | 0.35692 | 0.40446 | 0.25974 | 0.23635 | 0.26836 | 0.23016 | 1.1816 | 1.2155 | 1.1588 | 1.1669 | 1.1584 | 1.1743 | 0.015034 | 0.013503 | 95.2076 | 8282.71 | 1.411 | 98.1063 | 448345.9033 | 0.70378 | 101.4751 | 166974.0767 | 1.5293 | 97.4762 | 61336.1433 | 0.9843 | 97.338 | 88701.9633 | 1.1393 | 106.4069 | 644589.4667 | 0.27707 | 103.2811 | 337283.29 | 0.40573 | 98.9998 | 432329.9867 | 1.3156 | 97.9687 | 275757.0767 | 0.3457
| FALSE | 021SMPL.d | 2023-04-04 14:33 | Sample |  | 173481-001 soil | 10 | 70.1107 | 1.369 | 7.6611 | 0.42946 | 0.45467 | 0.38024 | 0.21492 | 0.1747 | 0.18024 | 0.85161 | 0.78775 | 0.81331 | 0.83205 | 587.3813 | 603.9635 | 597.3411 | 617.69 | 604.7598 | 613.0365 | 38.359 | 38.1077 | 129.6272 | 11277.0833 | 1.3313 | 374.6598 | 1712196.3267 | 0.83977 | 392.1874 | 645331.6233 | 0.19359 | 394.63 | 248317.9267 | 1.4884 | 103.4178 | 94242.3867 | 1.3409 | 119.9493 | 726626.5167 | 0.59233 | 120.0503 | 392046.26 | 0.4606 | 106.118 | 463415.0267 | 0.39537 | 107.5113 | 302616.9867 | 0.20662
| FALSE | 022SMPL.d | 2023-04-04 14:37 | Sample |  | 173481-001 soil | 50 | 181.4969 | 4.2944 | 11.0597 | 1.143 | 1.2855 | 1.2524 | 0.97173 | 0.84649 | 1.0449 | 6.293 | 5.346 | 6.2295 | 5.7437 | 690.3277 | 676.7881 | 697.9958 | 686.7939 | 694.6552 | 667.2548 | 43.3436 | 40.9496 | 109.0615 | 9487.94 | 1.1424 | 166.0135 | 758682.28 | 4.8678 | 166.415 | 273830.57 | 0.65589 | 165.562 | 104178.6567 | 0.45433 | 105.3565 | 96009.0567 | 0.8065 | 112.6995 | 682708.5767 | 7.7944 | 111.6448 | 364596.4167 | 0.16022 | 103.6548 | 452658.4067 | 7.0088 | 104.5263 | 294215.0233 | 0.32192
| FALSE | 023SMPL.d | 2023-04-04 14:41 | Sample |  | 173454-001 | 1 | 12.5405 | 0.021771 | 0.057149 | 0.016578 | 0.019456 | 0.016827 | 0.16658 | 0.1556 | 0.1737 | 0.010552 | 0.0090973 | 0.016256 | 0.012729 | 0.81375 | 0.83553 | 0.8514 | 0.87615 | 0.83335 | 0.82907 | 0.053434 | 0.050546 | 113.0105 | 9831.4933 | 2.785 | 113.6532 | 519395.6533 | 4.4237 | 105.7938 | 174080.2667 | 2.4545 | 108.6433 | 68362.9567 | 1.2018 | 108.4363 | 98815.63 | 0.46849 | 116.8633 | 707932.1533 | 1.2737 | 110.9582 | 362354.2967 | 0.54482 | 106.6955 | 465937.3033 | 1.156 | 103.0085 | 289942.9867 | 0.18818
| FALSE | 024SMPL.d | 2023-04-04 14:45 | Sample |  | 173500-001 | 1 | 0.95706 | 0.14118 | 0.25047 | 0.012709 | 0.010481 | 0.012599 | 0.093038 | 0.0839 | 0.088318 | 0.0095113 | 0.0064651 | 0.011296 | 0.0087509 | 0.62325 | 0.62953 | 0.64596 | 0.67436 | 0.63551 | 0.6354 | 0.16525 | 0.16339 | 117.2926 | 10204.02 | 2.1204 | 129.7274 | 592854.87 | 0.43332 | 126.39 | 207970.6767 | 1.3739 | 124.2277 | 78169.32 | 0.47211 | 114.3606 | 104214.2767 | 0.40773 | 121.937 | 738667.1867 | 0.60282 | 115.4347 | 376973.2033 | 0.49287 | 110.2821 | 481599.8067 | 0.50469 | 106.5387 | 299879.58 | 0.55729
| FALSE | 025SMPL.d | 2023-04-04 14:48 | Sample |  | 173500-002 | 1 | 0.20453 | 0.063481 | 0.20342 | 0.01321 | 0.011374 | 0.014294 | 0.099502 | 0.087268 | 0.086049 | 0.0053544 | 0.0092253 | 0.010266 | 0.0093359 | 0.064719 | 0.068723 | 0.05869 | 0.0641 | 0.060337 | 0.061853 | 0.048617 | 0.048099 | 119.5932 | 10404.1633 | 3.5307 | 123.0653 | 562408.9733 | 1.8574 | 119.3388 | 196368.16 | 1.0138 | 119.905 | 75449.3067 | 1.7308 | 115.2745 | 105047.1067 | 1.2667 | 121.3735 | 735253.8067 | 0.49563 | 115.0746 | 375796.9767 | 1.3251 | 109.9349 | 480083.4067 | 0.38982 | 106.4068 | 299508.2967 | 0.68232
| FALSE | 026SMPL.d | 2023-04-04 14:52 | Sample |  | 173500-003 | 1 | 1.5163 | 0.03628 | 0.28255 | 0.018945 | 0.019025 | 0.020321 | 0.10382 | 0.10682 | 0.10556 | 0.050289 | 0.033135 | 0.043454 | 0.033392 | 3.0469 | 2.7276 | 2.9813 | 2.6957 | 3.0046 | 2.6342 | 0.62663 | 0.53985 | 119.9127 | 10431.96 | 1.4014 | 260.3059 | 1189598.9133 | 5.8384 | 258.4805 | 425321.26 | 1.3668 | 259.5863 | 163342.7 | 0.96969 | 110.8217 | 100989.39 | 0.89924 | 111.6103 | 676110.5967 | 15.2483 | 117.7672 | 384590.21 | 0.5627 | 99.1214 | 432861.21 | 13.2869 | 106.8179 | 300665.25 | 0.50381
| FALSE | 027SMPL.d | 2023-04-04 14:56 | Sample |  | 173500-004 | 1 | 1.2816 | 0.065277 | 0.25541 | 0.034819 | 0.032419 | 0.032338 | 0.10269 | 0.094781 | 0.099988 | 0.022551 | 0.020056 | 0.01976 | 0.020769 | 1.9174 | 1.9941 | 1.8735 | 1.9525 | 1.8945 | 1.9209 | 0.35475 | 0.35901 | 115.7844 | 10072.81 | 1.9757 | 216.9361 | 991398.9033 | 0.50204 | 205.4393 | 338043.6533 | 0.73915 | 204.4528 | 128650.34 | 1.5394 | 109.4336 | 99724.4833 | 1.1964 | 123.6715 | 749174.38 | 0.87855 | 114.7468 | 374726.6067 | 0.15648 | 110.3428 | 481864.9333 | 0.55237 | 105.378 | 296612.4633 | 0.49188
| FALSE | 028_QC2.d | 2023-04-04 15:00 | QC2 |  | qc 2 | 1 | 10.3879 | 10.1963 | 9.4843 | 10.2482 | 10.2749 | 10.358 | 10.3522 | 9.9327 | 10.2641 | 0.493 | 0.50584 | 0.50835 | 0.50243 | 10.1921 | 10.5516 | 10.1027 | 10.4546 | 10.1509 | 10.3133 | 9.6066 | 9.6527 | 114.0971 | 9926.02 | 1.5049 | 115.4486 | 527600.39 | 0.14616 | 111.6988 | 183796.75 | 0.2953 | 110.6451 | 69622.61 | 0.82998 | 112.6381 | 102644.6033 | 1.9791 | 121.4748 | 735867.3967 | 0.49923 | 113.2266 | 369762.09 | 0.58169 | 111.0492 | 484949.5267 | 0.18283 | 105.9059 | 298098.2267 | 0.16448
| FALSE | 029SMPL.d | 2023-04-04 15:03 | Sample |  | blk | 1 | 0.0040558 | 0.015211 | <0.000 | 0.0013282 | 0.0018632 | 0.0022094 | 0.0064137 | 0.0055707 | 0.0056771 | 0.0068131 | 0.0052567 | 0.007497 | 0.0076122 | <0.000 | 0.0016521 | 0.0074381 | 0.0036741 | 0.0021995 | 0.00059203 | 0.011238 | 0.0086287 | 120.1939 | 10456.4233 | 1.0684 | 126.999 | 580385.76 | 1.8932 | 119.467 | 196579.11 | 2.9128 | 117.384 | 73862.9733 | 0.18359 | 117.0158 | 106633.9633 | 0.33801 | 121.1007 | 733601.3367 | 0.14287 | 115.4791 | 377117.96 | 0.28905 | 109.3797 | 477658.7367 | 0.21589 | 107.4598 | 302472.2967 | 0.41108
| FALSE | 030SMPL.d | 2023-04-04 15:07 | Sample |  | 173500-005 | 1 | 0.53007 | 0.077295 | 0.22116 | 0.032906 | 0.033156 | 0.02668 | 0.11993 | 0.11648 | 0.11524 | 0.010711 | 0.0082426 | 0.0089593 | 0.0092951 | 0.76485 | 0.77303 | 0.74246 | 0.76449 | 0.74695 | 0.74685 | 0.079016 | 0.076118 | 119.772 | 10419.7167 | 3.1875 | 133.5187 | 610181.0633 | 0.88232 | 130.2 | 214239.9033 | 0.73687 | 134.3712 | 84552.0567 | 2.236 | 116.9343 | 106559.68 | 1.7754 | 121.0322 | 733186.6467 | 0.1088 | 116.3075 | 379823.4167 | 0.74263 | 110.0847 | 480737.69 | 0.18405 | 107.6859 | 303108.5933 | 0.52199
| FALSE | 031SMPL.d | 2023-04-04 15:11 | Sample |  | 173503-001 | 1 | 1.2711 | 0.01428 | 0.058899 | 0.019975 | 0.0018442 | 0.0015874 | 0.12291 | 0.16315 | 0.11785 | 0.012582 | 0.0096126 | 0.012239 | 0.011302 | 0.13643 | 0.138 | 0.13652 | 0.14797 | 0.13837 | 0.13862 | 0.010573 | 0.010276 | 214.908 | 18696.1967 | 0.18782 | 113.1653 | 517165.6933 | 0.46615 | 115.0861 | 189370.5367 | 2.135 | 118.7083 | 74696.32 | 0.63868 | 108.1489 | 98553.7533 | 1.364 | 107.3884 | 650535.35 | 0.10396 | 106.9298 | 349198.8333 | 0.45578 | 89.8838 | 392520.54 | 0.4154 | 90.6867 | 255260.17 | 0.47372
| FALSE | 032SMPL.d | 2023-04-04 15:14 | Sample |  | 173504-001 | 1 | 0.22355 | 0.03132 | <0.000 | 0.031414 | 0.03347 | 0.031219 | 0.45291 | 0.42541 | 0.45915 | 0.0053993 | 0.0022878 | 0.0060983 | 0.0061314 | 3.4709 | 3.5716 | 3.5195 | 3.6289 | 3.4944 | 3.4955 | 0.13218 | 0.13522 | 125 | 10874.5367 | 4.8064 | 129.9269 | 593766.1733 | 3.2071 | 124.7738 | 205311.2833 | 1.9059 | 126.2739 | 79456.8633 | 3.0013 | 118.3219 | 107824.1667 | 3.6055 | 117.1359 | 709583.46 | 1.6949 | 115.8446 | 378311.6533 | 0.31241 | 102.6887 | 448439.65 | 1.7212 | 104.9708 | 295466.34 | 0.80692
| FALSE | 033SMPL.d | 2023-04-04 15:18 | Sample |  | 173505-001 Pb | 1 | 0.20114 | 0.034501 | 0.16309 | 0.0055025 | 0.008465 | 0.0036999 | 0.23547 | 0.21692 | 0.23642 | 0.0068607 | 0.0018053 | 0.0070911 | 0.0044778 | 0.84575 | 0.8669 | 0.8706 | 0.87203 | 0.85627 | 0.848 | 0.0079718 | 0.008012 | 129.8448 | 11296.01 | 3.1384 | 125.959 | 575632.9667 | 0.42574 | 128.379 | 211243.4867 | 0.64659 | 126.7018 | 79726.1367 | 0.46173 | 125.4579 | 114327.0333 | 0.7404 | 121.1977 | 734188.81 | 0.12679 | 119.5901 | 390543.3333 | 0.53406 | 110.1086 | 480841.9167 | 0.3619 | 110.0124 | 309657.2033 | 0.31962
| FALSE | 034SMPL.d | 2023-04-04 15:22 | Sample |  | 173505-002 Pb | 1 | 0.1144 | 0.035917 | <0.000 | 0.0038662 | 0.0033402 | 0.0039789 | 0.3043 | 0.30839 | 0.30961 | 0.0065364 | 0.006807 | 0.0078787 | 0.0083678 | 0.62646 | 0.65536 | 0.64007 | 0.68617 | 0.63657 | 0.65151 | 0.017124 | 0.017431 | 116.2188 | 10110.6 | 1.8359 | 120.3326 | 549920.51 | 0.31995 | 119.2726 | 196259.1833 | 0.96979 | 116.921 | 73571.68 | 0.63082 | 116.1194 | 105817.1067 | 1.162 | 121.7193 | 737348.79 | 0.28875 | 116.5535 | 380626.5433 | 0.1268 | 110.713 | 483481.5 | 0.75159 | 108.1626 | 304450.2233 | 0.34701
| FALSE | 035SMPL.d | 2023-04-04 15:26 | Sample |  | 173506-001 Pb | 1 | 0.1367 | 0.04114 | <0.000 | 0.0036615 | 0.0048069 | 0.010237 | 0.20788 | 0.18768 | 0.21584 | 0.0050538 | 0.00061982 | 0.0049311 | 0.0037419 | 0.66211 | 0.70065 | 0.67111 | 0.71359 | 0.66659 | 0.68182 | 0.013284 | 0.012908 | 115.1727 | 10019.5933 | 5.4423 | 117.7845 | 538275.4967 | 0.51301 | 116.1637 | 191143.5833 | 1.4867 | 113.6269 | 71498.84 | 6.4294 | 114.7401 | 104560.1067 | 7.431 | 120.5243 | 730109.7733 | 0.2865 | 114.2971 | 373258.1667 | 7.935 | 111.6166 | 487427.5467 | 0.49232 | 108.0591 | 304159.17 | 7.4448
| FALSE | 036SMPL.d | 2023-04-04 15:29 | Sample |  | 173506-002 Pb | 1 | 0.13037 | 0.033863 | <0.000 | 0.0029452 | 0.0021249 | 0.0025774 | 0.21355 | 0.26493 | 0.22431 | 0.0095745 | 0.00228 | 0.0067052 | 0.0023629 | 0.24817 | 0.21833 | 0.25719 | 0.21877 | 0.25142 | 0.21167 | 0.014666 | 0.012796 | 130.0888 | 11317.2367 | 6.0878 | 102.8308 | 469937.1433 | 14.5151 | 116.7118 | 192045.4333 | 1.0461 | 129.7157 | 81622.6367 | 6.5475 | 125.6503 | 114502.34 | 5.5071 | 102.8234 | 622881.5867 | 19.1725 | 119.6217 | 390646.5367 | 1.6604 | 95.8084 | 418393.17 | 16.2007 | 109.5115 | 308247.2367 | 0.45845
| FALSE | 037SMPL.d | 2023-04-04 15:33 | Sample |  | 173508-001 | 1 | 0.20163 | 0.0070634 | 0.021356 | 0.0038031 | 0.0020077 | 0.0029196 | 0.065403 | 0.067226 | 0.059044 | 0.0078628 | 0.0041518 | 0.0078717 | 0.0090843 | 0.18656 | 0.17905 | 0.17973 | 0.19311 | 0.18321 | 0.18177 | 0.0099904 | 0.0094335 | 143.3826 | 12473.75 | 11.084 | 122.9341 | 561809.0967 | 6.2975 | 114.173 | 187867.9 | 2.982 | 132.5357 | 83397.0633 | 10.7401 | 129.7057 | 118197.96 | 9.3729 | 117.1852 | 709881.9 | 0.18193 | 120.0521 | 392052.0733 | 3.6052 | 102.7352 | 448642.44 | 1.3378 | 106.6526 | 300200.09 | 1.5704
| FALSE | 038SMPL.d | 2023-04-04 15:37 | Sample |  | 173509-001 | 1 | 0.074266 | 0.035421 | <0.000 | 0.0037597 | 0.0022424 | 0.0052132 | 0.079219 | 0.085268 | 0.067741 | 0.011429 | 0.0035098 | 0.0084166 | 0.0048296 | 1.9734 | 1.774 | 1.9902 | 1.7877 | 1.9897 | 1.7365 | 0.016048 | 0.013204 | 127.8512 | 11122.58 | 8.3443 | 108.4852 | 495777.6467 | 20.2529 | 129.7483 | 213496.66 | 0.73415 | 125.5379 | 78993.7833 | 8.353 | 124.3041 | 113275.6367 | 6.3882 | 107.0158 | 648278.1733 | 17.0786 | 118.4659 | 386872.1233 | 2.4403 | 97.0612 | 423864.3633 | 14.5972 | 108.9585 | 306690.4833 | 1.2594
| FALSE | 039SMPL.d | 2023-04-04 15:41 | Sample |  | 173509-002 | 1 | 0.075048 | 0.036594 | <0.000 | 0.0011089 | 0.0026537 | 0.005487 | 0.072783 | 0.080862 | 0.076294 | 0.0089 | 0.0043198 | 0.0076943 | 0.0049454 | 0.91708 | 0.93584 | 0.92109 | 0.96799 | 0.91977 | 0.93467 | 0.014066 | 0.012409 | 127.3904 | 11082.49 | 2.0175 | 118.2831 | 540554.0533 | 1.2385 | 151.0316 | 248517.67 | 4.8973 | 123.4901 | 77705.23 | 2.526 | 121.9649 | 111143.9367 | 2.527 | 119.0766 | 721339.55 | 0.28787 | 117.1505 | 382576.1533 | 1.0765 | 109.6275 | 478741.1833 | 0.66032 | 108.7585 | 306127.7933 | 0.89299
| FALSE | 040_QC2.d | 2023-04-04 15:44 | QC2 |  | qc 2 | 1 | 10.3742 | 10.2727 | 10.336 | 9.745 | 10.1758 | 10.0613 | 10.0743 | 9.2756 | 10.0865 | 0.47773 | 0.48743 | 0.49504 | 0.49029 | 10.0658 | 10.4391 | 10.0036 | 10.3454 | 10.0672 | 10.2172 | 9.3418 | 9.4704 | 118.7113 | 10327.44 | 3.4059 | 126.6426 | 578757.1567 | 1.2161 | 117.8433 | 193907.27 | 1.0442 | 116.5312 | 73326.3767 | 3.1002 | 116.4041 | 106076.5467 | 2.2864 | 119.0145 | 720963.4533 | 0.54667 | 114.0516 | 372456.2 | 1.0624 | 109.036 | 476158.1667 | 0.60135 | 107.2416 | 301857.9733 | 0.33038
| FALSE | 041SMPL.d | 2023-04-04 15:48 | Sample |  | blk | 1 | 0.014475 | 0.012686 | <0.000 | 0.0027168 | 0.0004001 | 0.0028865 | 0.0080943 | 0.014735 | 0.007967 | 0.012454 | 0.0039891 | 0.012753 | 0.0074306 | 0.0081964 | 0.0010623 | 0.0036493 | 0.0025584 | 0.0048533 | <0.000 | 0.017671 | 0.012998 | 115.6952 | 10065.0467 | 1.8181 | 109.6762 | 501220.7267 | 8.4095 | 115.668 | 190327.9233 | 1.2682 | 115.9961 | 72989.68 | 2.1505 | 117.3928 | 106977.53 | 1.5567 | 111.7866 | 677178.8167 | 7.8683 | 114.0323 | 372393.3067 | 0.73426 | 103.5006 | 451985.09 | 6.7013 | 107.5124 | 302620.23 | 0.48401
| FALSE | 042SMPL.d | 2023-04-04 15:52 | Sample |  | 173509-003 | 1 | 0.079693 | 0.031671 | <0.000 | 0.0029681 | 0.0050663 | 0.0056286 | 0.072618 | 0.073335 | 0.071103 | 0.0082395 | 0.0085877 | 0.0088707 | 0.0087955 | 2.4703 | 2.5317 | 2.4902 | 2.5459 | 2.4685 | 2.4702 | 0.019683 | 0.021928 | 117.0753 | 10185.1167 | 0.49176 | 114.6914 | 524140.16 | 0.59863 | 114.0648 | 187689.9767 | 1.2898 | 111.9082 | 70417.3867 | 1.8163 | 112.7337 | 102731.79 | 0.54138 | 117.3706 | 711005.3867 | 0.48269 | 112.0394 | 365884.95 | 0.75858 | 108.2796 | 472854.9167 | 0.65791 | 106.8199 | 300671.05 | 0.66015
| FALSE | 043SMPL.d | 2023-04-04 15:56 | Sample |  | 173509-004 | 1 | 0.071108 | 0.018827 | 0.027455 | 0.0027697 | 0.0035163 | 0.0030276 | 0.11686 | 0.11769 | 0.12041 | 0.0082754 | 0.0046733 | 0.0068492 | 0.0072489 | 0.83022 | 0.8319 | 0.83119 | 0.85771 | 0.82377 | 0.81768 | 0.0017061 | 0.0013723 | 112.755 | 9809.26 | 1.4526 | 114.0831 | 521360.1833 | 0.79012 | 113.6594 | 187022.9433 | 1.8032 | 111.9384 | 70436.4067 | 0.4982 | 112.842 | 102830.4767 | 0.86169 | 116.5856 | 706249.9467 | 0.32736 | 111.6236 | 364527.2967 | 0.56534 | 108.0005 | 471636.0667 | 0.29688 | 106.4777 | 299707.8433 | 0.30017
| FALSE | 044SMPL.d | 2023-04-04 15:59 | Sample |  | 173509-005 | 1 | 0.094322 | 0.028794 | 0.071857 | 0.00047576 | 0.00093552 | 0.0025949 | 0.094716 | 0.086479 | 0.08468 | 0.012293 | 0.00512 | 0.0059805 | 0.0065665 | 0.067918 | 0.060721 | 0.064023 | 0.062463 | 0.063828 | 0.062675 | 0.0046615 | 0.0045849 | 111.8732 | 9732.5467 | 1.2603 | 114.3075 | 522385.8 | 0.37436 | 114.368 | 188188.8133 | 0.7061 | 112.675 | 70899.8833 | 1.4407 | 113.8711 | 103768.2867 | 0.16387 | 116.6574 | 706684.9733 | 0.41268 | 111.4866 | 364079.67 | 0.72063 | 108.4337 | 473527.8567 | 0.2577 | 105.7156 | 297562.59 | 0.51713
| FALSE | 045SMPL.d | 2023-04-04 16:03 | Sample |  | 173509-007 Pb | 1 | 0.44876 | 0.21644 | 0.20537 | 0.00341 | 0.0019644 | 0.020801 | 0.54013 | 0.513 | 0.52796 | 0.0052778 | 0.0015106 | 0.0050359 | 0.0047565 | 13.2588 | 13.6954 | 13.294 | 13.7429 | 13.2402 | 13.3441 | 0.0016602 | 0.0018503 | 114.5066 | 9961.6433 | 0.45224 | 114.7834 | 524560.6133 | 0.37041 | 115.406 | 189896.8533 | 1.0835 | 112.5967 | 70850.61 | 0.45777 | 113.3972 | 103336.41 | 0.1553 | 117.2492 | 710269.79 | 0.46142 | 112.2257 | 366493.4367 | 0.71889 | 109.2843 | 477242.31 | 0.29855 | 106.6688 | 300245.6367 | 0.58027
| FALSE | 046SMPL.d | 2023-04-04 16:07 | Sample |  | 173509-008 Pb | 1 | 0.08135 | 0.037271 | 0.025502 | 0.002105 | 0.0014542 | <0.000 | 0.26902 | 0.2885 | 0.25876 | 0.0053776 | 0.004083 | 0.0060282 | 0.0030705 | 0.071686 | 0.067805 | 0.073324 | 0.069714 | 0.071759 | 0.066352 | 0.0051998 | 0.0046 | 114.1228 | 9928.2567 | 2.7927 | 117.6877 | 537832.9533 | 40.532 | 114.6837 | 188708.3867 | 0.53461 | 112.9091 | 71047.2233 | 0.4984 | 113.4982 | 103428.4333 | 0.52356 | 122.5948 | 742652.31 | 43.3657 | 111.9702 | 365659.19 | 0.78525 | 111.8622 | 488499.98 | 35.3753 | 106.3719 | 299410.06 | 0.74812
| FALSE | 047SMPL.d | 2023-04-04 16:11 | Sample |  | 173511-001 | 1 | 0.023546 | <0.000 | 0.027008 | 0.0041132 | 0.0075837 | 0.0036235 | 0.094772 | 0.093677 | 0.082997 | 0.0071745 | 0.00016912 | 0.0040595 | 0.0031634 | 0.045237 | 0.04496 | 0.048249 | 0.048138 | 0.046549 | 0.045622 | <0.000 | <0.000 | 114.3144 | 9944.9267 | 0.98218 | 113.9542 | 520771.29 | 0.33534 | 114.1291 | 187795.8233 | 0.65999 | 112.2848 | 70654.36 | 0.79879 | 112.4971 | 102516.11 | 1.2797 | 114.9561 | 696378.8833 | 0.48252 | 110.9774 | 362417.06 | 0.56595 | 108.5871 | 474197.6467 | 0.39321 | 106.6705 | 300250.53 | 0.59065
| FALSE | 048SMPL.d | 2023-04-04 16:14 | Sample |  | 173517-001 | 1 | 0.052763 | 0.071073 | 0.051693 | 0.0012627 | 0.00097573 | 0.0014342 | 0.068975 | 0.068243 | 0.069641 | 0.00073521 | 0.0034856 | 0.0017337 | 0.0025023 | 0.26839 | 0.27749 | 0.28131 | 0.29186 | 0.27726 | 0.27941 | 0.001461 | 0.0019804 | 111.3875 | 9690.2967 | 1.8628 | 111.8006 | 510929.31 | 0.29682 | 111.698 | 183795.51 | 1.5895 | 110.968 | 69825.7867 | 1.0717 | 110.6019 | 100789.1433 | 0.88193 | 112.8686 | 683733.3733 | 0.29196 | 109.0496 | 356121.49 | 0.86221 | 105.9222 | 462560.03 | 0.48704 | 104.1294 | 293098.06 | 0.71926
| FALSE | 049SMPL.d | 2023-04-04 16:18 | Sample |  | 173518-001 | 20 | 11.9899 | 2.264 | 9.5236 | 0.61656 | 0.59103 | 0.60439 | 0.77055 | 0.94111 | 0.79683 | 2.2533 | 2.224 | 2.1543 | 2.1607 | 175.2328 | 182.0703 | 173.2121 | 182.1241 | 174.6548 | 178.0069 | 1.8298 | 1.7981 | 120.5646 | 10488.6667 | 1.9623 | 186.0048 | 850042.7033 | 0.71831 | 184.6468 | 303830.37 | 1.3392 | 186.2967 | 117225.81 | 1.1048 | 112.75 | 102746.6533 | 1.2757 | 119.417 | 723401.6833 | 0.49356 | 114.007 | 372310.8 | 0.42997 | 110.0958 | 480786.1533 | 0.80691 | 106.7175 | 300382.87 | 0.4469
| FALSE | 050SMPL.d | 2023-04-04 16:22 | Sample |  | 173521-001 | 1 | 0.063202 | 0.020978 | 0.088781 | 0.0082415 | 0.0044208 | 0.0066942 | 0.10196 | 0.11341 | 0.11173 | <0.000 | <0.000 | 0.0016573 | <0.000 | 1.9808 | 1.8919 | 1.9995 | 1.9175 | 2.0013 | 1.8592 | 0.0071134 | 0.0070575 | 117.4457 | 10217.3367 | 1.9787 | 115.5277 | 527961.7667 | 34.3847 | 117.4025 | 193182.0133 | 1.7992 | 114.6325 | 72131.6467 | 0.50903 | 115.8263 | 105549.9667 | 0.81503 | 116.3356 | 704735.1033 | 36.6504 | 111.6088 | 364478.95 | 0.45694 | 106.1685 | 463635.5233 | 30.7569 | 105.4043 | 296686.3733 | 0.79332
| FALSE | 051SMPL.d | 2023-04-04 16:26 | Sample |  | 173521-002 | 1 | 0.067095 | 0.045966 | 0.0022561 | 0.0048439 | 0.0054592 | 0.0059324 | 0.07014 | 0.067081 | 0.067513 | <0.000 | <0.000 | <0.000 | <0.000 | 1.1754 | 1.229 | 1.187 | 1.2293 | 1.1904 | 1.1987 | 0.0063296 | 0.0083023 | 116.602 | 10143.94 | 1.2177 | 116.8238 | 533885.1633 | 0.74903 | 114.7882 | 188880.34 | 0.44818 | 114.0966 | 71794.39 | 0.89915 | 115.0806 | 104870.4367 | 0.5458 | 114.3957 | 692983.8133 | 0.3992 | 110.2505 | 360043.2267 | 0.21646 | 108.4377 | 473545.4067 | 0.74415 | 106.4387 | 299598.0633 | 0.7006
| FALSE | 052_QC2.d | 2023-04-04 16:30 | QC2 |  | qc 2 | 1 | 10.3752 | 10.419 | 9.7478 | 9.947 | 9.9135 | 9.8908 | 10.0416 | 9.5541 | 9.9683 | 0.49023 | 0.48543 | 0.4867 | 0.48144 | 10.0373 | 10.3324 | 10.0312 | 10.3713 | 10.0906 | 10.1782 | 9.618 | 9.5988 | 119.5548 | 10400.8233 | 2.502 | 116.0661 | 530422.4833 | 0.48444 | 116.3765 | 191493.7867 | 0.5913 | 114.6736 | 72157.48 | 0.40134 | 114.8307 | 104642.75 | 0.5399 | 114.9938 | 696606.7933 | 0.18336 | 110.5437 | 361000.59 | 0.37881 | 108.3081 | 472979.3133 | 0.33869 | 105.8863 | 298043.1733 | 0.9343
| FALSE | 053SMPL.d | 2023-04-04 16:33 | Sample |  | blk | 1 | 0.0098142 | 0.025967 | 0.047574 | 0.0026481 | 0.00094224 | 0.0013693 | 0.0096998 | 0.019436 | 0.0096892 | 0.0080446 | 0.0054501 | 0.0080541 | 0.0065192 | 0.0036065 | 0.00071347 | 0.0012998 | 0.0012067 | 0.0012644 | <0.000 | 0.02063 | 0.016079 | 114.8255 | 9989.3933 | 0.59761 | 114.3236 | 522459.2833 | 0.36509 | 114.1205 | 187781.5367 | 2.1659 | 113.0724 | 71149.9333 | 0.54994 | 112.8457 | 102833.8533 | 0.72467 | 113.7461 | 689048.8867 | 0.54024 | 109.4564 | 357449.9567 | 0.50567 | 107.2897 | 468532.1533 | 0.64792 | 105.4085 | 296698.1933 | 0.35365
| FALSE | 054SMPL.d | 2023-04-04 16:37 | Sample |  | 173521-003 | 1 | 0.059466 | 0.018729 | <0.000 | 0.0036359 | 0.0014478 | 0.0021749 | 0.070438 | 0.086469 | 0.061952 | 0.004771 | <0.000 | 0.0027459 | <0.000 | 1.5331 | 1.352 | 1.5529 | 1.3843 | 1.5497 | 1.3382 | 0.0048407 | 0.0038223 | 113.5352 | 9877.1367 | 2.4658 | 99.4177 | 454339.1167 | 17.8387 | 113.3946 | 186587.1267 | 1.3009 | 112.9948 | 71101.1133 | 1.678 | 112.5829 | 102594.3633 | 0.76522 | 99.708 | 604009.2767 | 17.5135 | 109.0717 | 356193.4333 | 0.32245 | 94.298 | 411797.5267 | 13.5522 | 104.3525 | 293725.93 | 0.26693
| FALSE | 055SMPL.d | 2023-04-04 16:41 | Sample |  | 173521-004 | 1 | 0.067455 | 0.013029 | <0.000 | 0.0072998 | 0.0019912 | 0.0040413 | 0.11369 | 0.11049 | 0.11055 | <0.000 | <0.000 | <0.000 | <0.000 | 0.71966 | 0.7374 | 0.71542 | 0.74045 | 0.71333 | 0.71661 | 0.0011431 | 0.00079309 | 113.7005 | 9891.52 | 1.0341 | 112.4908 | 514083.3267 | 0.73716 | 112.7515 | 185528.9 | 1.0003 | 112.0925 | 70533.36 | 1.1479 | 112.594 | 102604.4467 | 0.58541 | 112.7476 | 683000.3733 | 0.47155 | 108.1184 | 353080.3267 | 0.62006 | 107.1199 | 467790.64 | 0.38289 | 105.1979 | 296105.62 | 0.52642
| FALSE | 056SMPL.d | 2023-04-04 16:45 | Sample |  | 173521-005 | 1 | 0.1123 | 0.037142 | 0.0013943 | 0.0014239 | 0.0014313 | 0.00073727 | 0.047398 | 0.056693 | 0.054104 | <0.000 | <0.000 | <0.000 | <0.000 | 0.08188 | 0.082929 | 0.076667 | 0.087452 | 0.079351 | 0.080384 | 0.0053101 | 0.0053093 | 114.6467 | 9973.8367 | 1.6098 | 114.4026 | 522820.3467 | 0.80321 | 115.3329 | 189776.51 | 0.71555 | 114.0843 | 71786.71 | 0.16345 | 113.3807 | 103321.3967 | 0.46451 | 113.2914 | 686294.4833 | 0.66613 | 109.63 | 358016.61 | 0.5378 | 106.8962 | 466813.4167 | 0.32895 | 105.505 | 296969.9167 | 0.256
| FALSE | 057SMPL.d | 2023-04-04 16:48 | Sample |  | 173522-001 | 1 | 5.1715 | 0.054482 | 0.16285 | 0.0046872 | 0.0071333 | 0.0026371 | 9.0297 | 8.5605 | 8.9321 | <0.000 | <0.000 | 0.012386 | 0.0017797 | 0.47705 | 0.48429 | 0.49223 | 0.4793 | 0.48696 | 0.47828 | 0.044824 | 0.044467 | 155.654 | 13541.3133 | 0.84093 | 111.6197 | 510102.1867 | 0.37917 | 112.428 | 184996.5867 | 1.2214 | 111.5588 | 70197.55 | 1.2513 | 110.2763 | 100492.4067 | 0.92831 | 111.115 | 673110.3467 | 0.37916 | 107.9138 | 352412.0667 | 0.7161 | 102.519 | 447698.3067 | 0.53892 | 101.4711 | 285615.4333 | 0.26311
| FALSE | 058SMPL.d | 2023-04-04 16:52 | Sample |  | 173526-001 | 1 | 0.44607 | 0.016253 | <0.000 | 0.0021972 | <0.000 | 0.00081374 | 0.66012 | 0.63255 | 0.65671 | 0.0049827 | 0.0010165 | 0.0053783 | 0.0044137 | 0.31412 | 0.31518 | 0.33446 | 0.3336 | 0.3246 | 0.32135 | 0.028825 | 0.027881 | 120.2711 | 10463.14 | 1.7781 | 111.1068 | 507758.5467 | 0.63196 | 111.4005 | 183305.9733 | 1.9133 | 111.0157 | 69855.8 | 1.0164 | 107.157 | 97649.7967 | 0.96388 | 108.7504 | 658786.2267 | 0.24585 | 105.6508 | 345021.8767 | 0.33032 | 98.447 | 429916.2033 | 0.51038 | 97.6357 | 274819.74 | 0.075674
| FALSE | 059SMPL.d | 2023-04-04 16:56 | Sample |  | 173530-001 | 1 | 0.20647 | 0.066634 | <0.000 | 0.004409 | 0.0051443 | 0.0026932 | 0.091888 | 0.092877 | 0.093418 | <0.000 | <0.000 | 0.00054689 | <0.000 | 0.39751 | 0.40652 | 0.4215 | 0.42787 | 0.40908 | 0.40824 | 0.33923 | 0.33307 | 112.3587 | 9774.7867 | 1.7242 | 112.5755 | 514470.3 | 0.32728 | 113.7718 | 187207.8967 | 2.4981 | 110.5473 | 69561.0533 | 1.4357 | 110.2792 | 100495.0467 | 1.6452 | 112.971 | 684353.19 | 0.56373 | 108.3621 | 353876.2067 | 0.15905 | 103.4328 | 451688.9367 | 0.32635 | 101.5627 | 285873.27 | 0.39242
| FALSE | 060SMPL.d | 2023-04-04 17:00 | Sample |  | 173530-002 | 1 | 0.22803 | 0.082788 | 0.054549 | 0.0026555 | 0.00203 | 0.0031521 | 0.082549 | 0.087915 | 0.083366 | 0.0046751 | <0.000 | 0.0019614 | 0.00080412 | 0.45388 | 0.45477 | 0.45717 | 0.47308 | 0.45686 | 0.4558 | 0.35668 | 0.34992 | 111.3236 | 9684.74 | 2.576 | 109.5475 | 500632.5433 | 0.29667 | 110.2956 | 181487.9133 | 1.3398 | 109.5232 | 68916.63 | 1.3289 | 107.5265 | 97986.58 | 0.56256 | 110.2754 | 668023.75 | 0.38882 | 105.8097 | 345540.8467 | 0.25509 | 102.0656 | 445718.2533 | 0.14368 | 100.1788 | 281977.98 | 0.53561
| FALSE | 061SMPL.d | 2023-04-04 17:03 | Sample |  | 173531-001 | 1 | 3.4811 | 0.035296 | 0.038524 | 0.0018046 | 0.00047659 | 0.0032421 | 0.1523 | 0.13987 | 0.14798 | 0.00301 | 0.00090635 | 0.0068769 | 0.0019508 | 0.066143 | 0.068211 | 0.064721 | 0.075137 | 0.068065 | 0.06815 | 0.27909 | 0.28371 | 109.1889 | 9499.03 | 1.5285 | 109.3525 | 499741.2567 | 5.102 | 114.6316 | 188622.5967 | 6.6011 | 106.9023 | 67267.4767 | 1.865 | 105.1654 | 95834.9233 | 1.2232 | 110.556 | 669723.76 | 5.6669 | 104.673 | 341828.7067 | 2.1506 | 101.765 | 444405.67 | 4.9883 | 98.1686 | 276319.8367 | 1.8711
| FALSE | 062SMPL.d | 2023-04-04 17:07 | Sample |  | 173531-002 | 1 | 3.4607 | 0.06002 | 0.014056 | 0.00073116 | 0.0026503 | 6.5794e-05 | 0.15117 | 0.14032 | 0.15324 | 0.0012693 | <0.000 | 0.0029563 | 0.00065005 | 0.070505 | 0.072359 | 0.073289 | 0.078452 | 0.071738 | 0.073965 | 0.15687 | 0.15735 | 111.9241 | 9736.98 | 1.9429 | 106.927 | 488656.8 | 0.65103 | 107.6343 | 177108.8367 | 1.0904 | 106.899 | 67265.37 | 1.6242 | 105.1327 | 95805.14 | 1.4681 | 107.7886 | 652959.79 | 0.70185 | 104.0481 | 339787.9067 | 0.46228 | 98.7091 | 431060.66 | 0.37256 | 97.6661 | 274905.2367 | 0.073445
| FALSE | 063SMPL.d | 2023-04-04 17:11 | Sample |  | 173533-001 Pb | 1 | 0.6949 | 0.082469 | 0.026026 | 0.020562 | 0.023818 | 0.0303 | 0.67611 | 0.64962 | 0.68035 | 0.0046512 | <0.000 | 0.00044436 | <0.000 | 0.61325 | 0.64314 | 0.6342 | 0.66105 | 0.62649 | 0.63932 | 0.0029506 | 0.0021722 | 112.9983 | 9830.4267 | 2.1369 | 113.3111 | 517832.1667 | 0.3393 | 114.1866 | 187890.3367 | 1.1593 | 112.7388 | 70940.02 | 0.86291 | 112.6604 | 102664.9667 | 1.1982 | 113.3904 | 686893.7633 | 0.48312 | 109.3811 | 357203.93 | 0.14971 | 107.4189 | 469096.0033 | 0.21095 | 106.2257 | 298998.5833 | 0.48818
| FALSE | 064_QC2.d | 2023-04-04 17:15 | QC2 |  | qc 2 | 1 | 10.4634 | 10.0438 | 10.8065 | 9.99 | 9.9738 | 10.0098 | 10.031 | 9.5789 | 10.0265 | 0.49692 | 0.48388 | 0.48716 | 0.48691 | 10.0951 | 10.3913 | 9.9824 | 10.3166 | 10.0812 | 10.1741 | 9.5438 | 9.479 | 112.3719 | 9775.9367 | 1.5762 | 112.9155 | 516024.1833 | 0.61743 | 113.3933 | 186585.05 | 0.76674 | 112.3644 | 70704.4533 | 0.60689 | 111.9054 | 101976.9833 | 0.5491 | 113.3227 | 686483.82 | 0.63881 | 109.5015 | 357597.25 | 0.13065 | 106.243 | 463960.9367 | 0.47217 | 105.2018 | 296116.33 | 0.41307
| FALSE | 065SMPL.d | 2023-04-04 17:18 | Sample |  | blk | 1 | 0.009994 | 0.020379 | 0.072691 | 0.0028719 | 0.0035035 | 0.0011961 | 0.0062145 | 0.021654 | 0.0090762 | 0.015945 | 0.0075618 | 0.012686 | 0.0081634 | 0.004987 | 0.00044714 | 0.0057956 | 0.0008269 | 0.0036226 | <0.000 | 0.021806 | 0.015713 | 110.3523 | 9600.2367 | 0.5786 | 111.417 | 509176.19 | 0.67959 | 112.8393 | 185673.41 | 0.97149 | 111.9973 | 70473.4633 | 1.0595 | 111.1985 | 101332.7667 | 0.68641 | 111.3392 | 674468.5867 | 0.2923 | 107.9437 | 352509.7533 | 0.27298 | 105.9253 | 462573.7233 | 0.3011 | 104.1812 | 293243.85 | 0.22213
| FALSE | 066SMPL.d | 2023-04-04 17:22 | Sample |  | 173533-002 Pb | 1 | 0.38567 | 0.10222 | <0.000 | 0.1426 | 0.13857 | 0.16291 | 0.43631 | 0.4441 | 0.44378 | 0.0071003 | <0.000 | 0.0026047 | 0.0037826 | 5.5858 | 5.713 | 5.8289 | 6.0062 | 5.7196 | 5.7607 | 0.0069837 | 0.0059635 | 112.2181 | 9762.56 | 3.116 | 111.8165 | 511001.5733 | 0.70019 | 113.1934 | 186256.0167 | 0.55782 | 111.8854 | 70403.03 | 0.35624 | 111.3892 | 101506.5767 | 0.61535 | 112.5137 | 681583.2433 | 0.38377 | 108.752 | 355149.3633 | 0.28879 | 107.9691 | 471498.84 | 0.43259 | 106.4268 | 299564.53 | 0.4807
| FALSE | 067SMPL.d | 2023-04-04 17:26 | Sample |  | 173534-001 | 1 | 0.063236 | 0.010509 | <0.000 | 0.00056018 | 0.0011598 | 1.5765e-05 | 0.069042 | 0.052745 | 0.063415 | <0.000 | <0.000 | <0.000 | <0.000 | 0.1338 | 0.14119 | 0.12562 | 0.14175 | 0.12747 | 0.13787 | 0.0043968 | 0.0032737 | 137.6034 | 11970.9833 | 3.1353 | 106.7435 | 487817.9533 | 0.56175 | 108.6639 | 178802.95 | 1.1577 | 100 | 62924.2167 | 12.6847 | 97.3362 | 88700.37 | 11.9109 | 107.4032 | 650624.7267 | 0.23998 | 97.0284 | 316863.9967 | 11.54 | 97.6541 | 426453.3033 | 0.29235 | 91.4316 | 257356.86 | 9.3098
| FALSE | 068SMPL.d | 2023-04-04 17:30 | Sample |  | 173481-001 soil | 100 | 219.9133 | 6.2665 | 20.8151 | 1.3819 | 1.559 | 1.2394 | 2.3337 | 2.8205 | 2.3103 | 6.5118 | 5.5888 | 5.6708 | 5.1153 | 660.1157 | 677.1169 | 673.5515 | 689.4053 | 664.8593 | 666.7177 | 40.5044 | 40.1122 | 117.0625 | 10183.9967 | 2.2634 | 146.0338 | 667375.1167 | 0.41477 | 146.6449 | 241299.3967 | 0.61571 | 145.1883 | 91358.65 | 0.70799 | 111.7159 | 101804.2367 | 0.72555 | 114.7581 | 695179.4067 | 0.48584 | 111.3419 | 363607.2433 | 0.45681 | 107.3124 | 468630.93 | 1.047 | 106.2806 | 299153.0467 | 0.84162
| FALSE | 069SMPL.d | 2023-04-04 17:33 | Sample |  | 173500-003 dil | 20 | 3.2634 | 0.25903 | 1.4545 | 0.084777 | 0.082158 | 0.078375 | 0.52109 | 0.63021 | 0.46593 | 0.2032 | 0.10747 | 0.17042 | 0.14146 | 2.9029 | 2.7694 | 2.8377 | 2.8611 | 2.7905 | 2.7067 | 0.55339 | 0.5562 | 113.2026 | 9848.2 | 0.8735 | 121.4496 | 555025.0733 | 0.43904 | 124.0468 | 204114.9633 | 1.4921 | 122.1006 | 76830.9033 | 0.46935 | 114.4403 | 104286.9367 | 0.6532 | 114.0063 | 690624.8 | 0.091846 | 110.5351 | 360972.4367 | 0.26584 | 107.4904 | 469408.22 | 0.35547 | 106.6089 | 300077.17 | 0.27912
| FALSE | 070SMPL.d | 2023-04-04 17:37 | Sample |  | 173500-004 dil | 20 | 2.2832 | 0.24194 | <0.000 | 0.067019 | 0.055834 | 0.020045 | 0.43364 | 0.51969 | 0.32083 | 0.063363 | 0.098393 | 0.13828 | 0.11082 | 2.1744 | 2.1533 | 2.1537 | 2.2544 | 2.1334 | 2.1401 | 0.38163 | 0.36153 | 115.1836 | 10020.5433 | 1.5925 | 118.8478 | 543134.6467 | 0.73757 | 120.3479 | 198028.56 | 0.77631 | 119.1078 | 74947.6467 | 0.37063 | 113.9846 | 103871.64 | 0.25359 | 112.9359 | 684141.0533 | 1.061 | 111.1518 | 362986.6133 | 0.27982 | 106.8855 | 466766.9767 | 0.22017 | 107.2091 | 301766.3833 | 0.49717
| FALSE | 071SMPL.d | 2023-04-04 17:41 | Sample |  | 173500-005 dil | 10 | 0.61015 | 0.068127 | 0.21504 | 0.034468 | 0.038833 | 0.032702 | 0.26695 | 0.36074 | 0.26736 | 0.081357 | 0.037443 | 0.092039 | 0.038952 | 0.83683 | 0.88501 | 0.77729 | 0.80623 | 0.79933 | 0.78905 | 0.090872 | 0.077962 | 111.2722 | 9680.27 | 2.078 | 115.1505 | 526238.1867 | 0.14445 | 116.9139 | 192378.1133 | 1.5885 | 115.4101 | 72620.9167 | 0.24029 | 114.2417 | 104105.9267 | 0.13177 | 113.5951 | 688133.93 | 0.1794 | 110.0964 | 359539.8 | 0.56206 | 106.8391 | 466564.0433 | 0.13429 | 106.4303 | 299574.3 | 0.36646
| FALSE | 072SMPL.d | 2023-04-04 17:45 | Sample |  | 173518-001 dil | 100 | 18.4969 | 3.8938 | 4.1092 | 0.86089 | 0.88025 | 1.1096 | 2.6822 | 3.6491 | 2.5298 | 2.7433 | 2.6539 | 3.1956 | 2.5749 | 181.137 | 187.4553 | 178.0642 | 182.0805 | 179.7181 | 181.4872 | 1.855 | 1.7372 | 113.3173 | 9858.1833 | 1.3709 | 128.147 | 585632.4233 | 0.99125 | 130.6738 | 215019.5467 | 0.77124 | 128.1686 | 80649.1067 | 0.29401 | 113.7905 | 103694.81 | 0.70516 | 114.6186 | 694334.0967 | 0.91633 | 111.5072 | 364146.9833 | 0.37716 | 106.6454 | 465718.38 | 1.0362 | 106.4373 | 299594.0033 | 0.5013
| FALSE | 073_QC1.d | 2023-04-04 17:48 | QC1 |  | qc 1 | 1 | 5.2886 | 5.0039 | 5.3733 | 5.0448 | 4.9493 | 4.9606 | 5.046 | 4.8377 | 5.0648 | 0.25436 | 0.24257 | 0.25721 | 0.2393 | 5.1207 | 5.2227 | 5.1221 | 5.1883 | 5.1249 | 5.1049 | 4.7652 | 4.6945 | 113.7136 | 9892.6567 | 0.71073 | 114.1004 | 521439.07 | 0.68906 | 115.6109 | 190234.0167 | 1.0397 | 114.9573 | 72336.0367 | 0.66147 | 115.0989 | 104887.1033 | 0.97912 | 113.6731 | 688606.5433 | 0.99187 | 111.3694 | 363696.9167 | 0.093701 | 105.2251 | 459515.8067 | 0.42482 | 106.1175 | 298693.91 | 0.33186
| FALSE | 074_QC2.d | 2023-04-04 17:52 | QC2 |  | qc 2 | 1 | 10.4079 | 10.1251 | 9.8632 | 9.8632 | 9.9528 | 9.8498 | 10.0172 | 9.5052 | 10.0085 | 0.50159 | 0.49071 | 0.50412 | 0.4806 | 10.0278 | 10.1864 | 9.8867 | 10.1884 | 9.9716 | 9.9875 | 9.3074 | 9.2369 | 115.9757 | 10089.4567 | 1.9683 | 114.339 | 522529.81 | 0.23364 | 116.2934 | 191356.9933 | 0.96029 | 113.994 | 71729.8633 | 1.2836 | 114.8125 | 104626.15 | 0.21221 | 113.6661 | 688564.4433 | 0.49211 | 111.8062 | 365123.58 | 0.17106 | 105.9804 | 462814.1333 | 0.49868 | 106.4203 | 299546.1033 | 0.43398
| FALSE | 075_QC3.d | 2023-04-04 17:56 | QC3 |  | qc 3 | 1 | 51.4622 | 50.8326 | 52.236 | 49.6106 | 49.2338 | 49.5455 | 50.2916 | 48.0731 | 50.054 | 2.5258 | 2.4526 | 2.4819 | 2.4346 | 50.1049 | 51.4172 | 49.7328 | 51.0959 | 51.727 | 52.2798 | 50.9115 | 51.1851 | 112.6021 | 9795.9667 | 0.37955 | 112.3951 | 513646.01 | 0.28739 | 113.6875 | 187069.1733 | 0.8521 | 112.5385 | 70813.9833 | 0.47796 | 111.2698 | 101397.7733 | 0.27471 | 113.2784 | 686215.5067 | 0.16568 | 110.0032 | 359235.4233 | 0.2438 | 104.8716 | 457972.0733 | 0.59404 | 103.9876 | 292698.6833 | 0.74584
| FALSE | 076SMPL.d | 2023-04-04 18:00 | Sample |  | curve 4 | 1 | 49.7875 | 50.1147 | 48.9253 | 49.0408 | 47.8722 | 48.1856 | 48.4592 | 47.4909 | 48.3986 | 2.5621 | 2.4478 | 2.5491 | 2.4208 | 49.6295 | 49.9594 | 49.233 | 49.7673 | 51.3731 | 50.832 | 50.5404 | 49.4584 | 113.1766 | 9845.94 | 0.8916 | 108.8265 | 497337.3433 | 3.0017 | 112.6523 | 185365.7 | 0.72903 | 111.729 | 70304.6433 | 0.26863 | 110.9406 | 101097.7067 | 0.52265 | 110.4974 | 669368.97 | 2.3892 | 109.8491 | 358732.3333 | 0.66856 | 101.4817 | 443168.33 | 2.4937 | 103.5816 | 291556.0167 | 0.27785

## ValueList_Helper (hidden)
Bkgnd
BlkVrfy
CalBlk
CalStd
CICSpike
DilStd
DriftChk
FQBlk
IsoStd
QC1
QC2
QC3
QC4
QC5
Sample
Spike
Spike Ref
SQBlk
SQISTD
SQStd