## Sheet1
Sample | [7 empty] | 75 As [ He ] | 78 Se [ H2 ] | 78 Se [ He ] | 111 Cd [ No Gas ] | 111 Cd [ He ] | 114 Cd [ He ] | 121 Sb [ He ] | 123 Sb [ No Gas ] | 123 Sb [ He ] | 201 Hg [ No Gas ] | 201 Hg [ He ] | 202 Hg [ No Gas ] | 202 Hg [ He ] | 206 [Pb] [ No Gas ] | 206 [Pb] [ He ] | 207 [Pb] [ No Gas ] | 207 [Pb] [ He ] | 208 Pb [ No Gas ] | 208 Pb [ He ] | 238 U [ No Gas ] | 238 U [ He ] | 72 Ge ( ISTD ) [ He ] |  |  | 89 Y ( ISTD ) [ No Gas ] |  |  | 89 Y ( ISTD ) [ H2 ] |  |  | 89 Y ( ISTD ) [ He ] |  |  | 115 In ( ISTD ) [ He ] |  |  | 159 Tb ( ISTD ) [ No Gas ] |  |  | 159 Tb ( ISTD ) [ He ] |  |  | 209 Bi ( ISTD ) [ No Gas ] |  |  | 209 Bi ( ISTD ) [ He ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | Total Dil. | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD
| FALSE | 001SMPL.d | 2023-01-04 10:15 | Sample |  | blk | 1 | [22 empty] | 24080.65 | 10.5725 |  | 69471.65 | 31.6141 |  | 315335.68 | 20.502 |  | 179390.97 | 13.0964 |  | 243792.46 | 14.033 |  | 65953.2967 | 31.4017 |  | 681917.7133 | 15.7485 |  | 54717.97 | 25.6723 |  | 494489.6367 | 12.9084
| FALSE | 002SMPL.d | 2023-01-04 10:19 | Sample |  | blk | 1 | [22 empty] | 23780.6133 | 0.57337 |  | 952035.14 | 0.16707 |  | 476950.1 | 0.65574 |  | 180577.59 | 0.36376 |  | 247150.9633 | 0.43722 |  | 989934.05 | 1.149 |  | 686301.23 | 0.31784 |  | 545865.2633 | 0.33395 |  | 492381.2733 | 0.43939
| FALSE | 003SMPL.d | 2023-01-04 10:23 | Sample |  | blk | 1 | [22 empty] | 23272.0533 | 0.3947 |  | 930837.19 | 2.5813 |  | 479402.27 | 1.6554 |  | 175860.1567 | 0.79465 |  | 240617.86 | 0.38115 |  | 976550.5067 | 2.2027 |  | 677018.34 | 0.4979 |  | 546184.7033 | 1.6465 |  | 494038.1333 | 0.51552
| FALSE | 004CALB.d | 2023-01-04 10:26 | CalBlk | 1 | blk | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 23551.3867 | 0.97541 | 100 | 929832.3667 | 0.2483 | 100 | 471836.8233 | 1.5929 | 100 | 175109.4667 | 0.42692 | 100 | 240322.4967 | 0.45484 | 100 | 983132.9967 | 0.52242 | 100 | 674040.4133 | 0.46424 | 100 | 551133.1867 | 0.36584 | 100 | 486741.15 | 0.32714
| FALSE | 005CALS.d | 2023-01-04 10:30 | CalStd | 2 | curve 1 | 1 | 0.11579 | 0.10125 | <0.000 | 0.11487 | 0.10342 | 0.10453 | 0.10915 | 0.11187 | 0.1096 | <0.000 | <0.000 | <0.000 | <0.000 | 0.1065 | 0.098325 | 0.098798 | 0.098418 | 0.1004 | 0.098043 | 0.10797 | 0.10547 | 100.5438 | 23679.4567 | 2.4521 | 98.3304 | 914307.9833 | 0.4005 | 101.3477 | 478196 | 0.72883 | 100.8655 | 176625.0833 | 0.26311 | 101.509 | 243949.0333 | 0.45367 | 98.3977 | 967380.3167 | 1.5976 | 101.876 | 686685.64 | 0.25738 | 102.2663 | 563623.5167 | 0.69358 | 101.9298 | 496134.2033 | 0.1009
| FALSE | 006CALS.d | 2023-01-04 10:34 | CalStd | 3 | curve 2 | 1 | 1.101 | 1.1083 | 0.8493 | 1.0914 | 1.0618 | 1.0725 | 1.0518 | 1.087 | 1.0829 | 0.039694 | 0.042264 | 0.040803 | 0.035585 | 1.0553 | 1.0765 | 1.0604 | 1.0589 | 1.0697 | 1.0714 | 1.0309 | 1.0401 | 100.775 | 23733.92 | 0.40942 | 100.7001 | 936341.8 | 0.55888 | 103.8234 | 489877.2 | 0.92867 | 101.6585 | 178013.7033 | 0.84111 | 101.919 | 244934.3867 | 0.98673 | 102.0196 | 1002988.6633 | 0.38392 | 103.3711 | 696763.0867 | 0.20176 | 103.6764 | 571394.93 | 0.37436 | 102.2217 | 497555.1467 | 0.19302
| FALSE | 007CALS.d | 2023-01-04 10:38 | CalStd | 4 | curve 2.5 (Hg only) | 1 | 2.3249 | 2.2957 | 2.2734 | 2.3626 | 2.3872 | 2.2839 | 2.2947 | 2.349 | 2.2872 | 0.094425 | 0.095654 | 0.10492 | 0.098912 | 2.3463 | 2.2849 | 2.3309 | 2.2978 | 2.3604 | 2.3285 | 2.2609 | 2.2193 | 98.535 | 23206.3533 | 1.461 | 99.6683 | 926747.6767 | 0.17112 | 102.817 | 485128.4767 | 0.81102 | 100.8986 | 176683.0367 | 0.73081 | 101.8258 | 244710.3 | 0.45653 | 101.6604 | 999456.87 | 0.53352 | 102.6128 | 691651.5233 | 0.63155 | 103.373 | 569722.8 | 0.2403 | 102.8526 | 500626.1133 | 0.74937
| FALSE | 008CALS.d | 2023-01-04 10:42 | CalStd | 5 | curve 3 | 1 | 10.746 | 10.6641 | 10.582 | 10.4445 | 10.7637 | 10.6548 | 10.5772 | 10.4029 | 10.7087 | 0.51624 | 0.56427 | 0.54002 | 0.55595 | 10.0518 | 10.3643 | 10.0711 | 10.4635 | 10.1493 | 10.5346 | 10.7097 | 11.1763 | 98.8565 | 23282.0667 | 0.74576 | 103.7324 | 964536.9667 | 6.1438 | 103.3897 | 487830.7633 | 0.81671 | 99.702 | 174587.5667 | 0.37639 | 100.9359 | 242571.73 | 0.51968 | 106.0493 | 1042605.36 | 5.9075 | 102.7474 | 692558.9667 | 0.24141 | 109.7817 | 605043.2267 | 5.4192 | 102.8409 | 500568.86 | 0.36801
| FALSE | 009CALS.d | 2023-01-04 10:46 | CalStd | 6 | curve 4 | 1 | 50.4155 | 50.5377 | 50.3002 | 50.857 | 50.7035 | 49.5735 | 49.6586 | 52.129 | 50.3808 | 3.3335 | 3.339 | 3.3378 | 3.3202 | 50.8113 | 50.7015 | 51.3341 | 51.2661 | 51.0635 | 50.8504 | 50.7039 | 50.8882 | 97.4479 | 22950.3267 | 2.3673 | 96.6664 | 898835.57 | 1.1393 | 101.3624 | 478264.96 | 1.2587 | 97.3504 | 170469.8333 | 0.151 | 97.3622 | 233983.2533 | 0.3754 | 98.4188 | 967587.7 | 0.52591 | 101.1173 | 681571.2233 | 0.43698 | 101.2922 | 558254.7467 | 0.39215 | 99.494 | 484278.1467 | 0.50428
| FALSE | 010CALS.d | 2023-01-04 10:49 | CalStd | 7 | curve 5 | 1 | 99.7166 | 99.6637 | 99.7934 | 99.5261 | 99.5712 | 100.147 | 100.1125 | 98.8943 | 99.7379 | 4.5818 | 4.5742 | 4.5771 | 4.5844 | 99.5886 | 99.612 | 99.3252 | 99.32 | 99.4526 | 99.5206 | 99.5768 | 99.4379 | 98.497 | 23197.42 | 2.2435 | 96.5159 | 897436.35 | 1.3702 | 99.8321 | 471044.78 | 0.48773 | 97.0086 | 169871.2867 | 0.27318 | 96.9415 | 232972.18 | 0.43514 | 97.6279 | 959811.9467 | 0.45162 | 100.1114 | 674791.4567 | 0.47506 | 99.4438 | 548067.6167 | 0.10737 | 97.9438 | 476732.8667 | 0.40816
| FALSE | 011SMPL.d | 2023-01-04 10:53 | Sample |  | blk | 1 | 0.046196 | 0.15153 | <0.000 | 0.044773 | 0.017513 | 0.018809 | 0.041985 | 0.078619 | 0.038743 | 0.054681 | 0.049172 | 0.051723 | 0.044149 | 0.060635 | 0.026768 | 0.060141 | 0.028529 | 0.060215 | 0.028708 | 0.078939 | 0.042579 | 98.2517 | 23139.64 | 2.0783 | 98.1365 | 912505.3933 | 1.1497 | 102.5658 | 483943.2267 | 0.7483 | 99.5274 | 174281.8133 | 0.3805 | 99.9198 | 240129.6567 | 0.54964 | 101.5774 | 998640.7733 | 0.34194 | 102.0243 | 687684.86 | 0.48769 | 104.9269 | 578287.07 | 0.57476 | 102.9588 | 501142.7633 | 0.39092
| FALSE | 012SMPL.d | 2023-01-04 10:57 | Sample |  | blk | 1 | 0.01556 | 0.02477 | <0.000 | 0.0043862 | 0.0014806 | 0.001671 | 0.010517 | 0.016521 | 0.013413 | 0.023465 | 0.023169 | 0.023154 | 0.021116 | 0.0038621 | 0.0064569 | 0.013238 | 0.006819 | 0.0084149 | 0.0069312 | 0.011424 | 0.0096626 | 97.5615 | 22977.0967 | 1.576 | 98.1982 | 913078.8233 | 0.90901 | 102.6826 | 484494.2233 | 0.65472 | 99.6693 | 174530.33 | 0.12806 | 100.9406 | 242582.97 | 0.12376 | 101.5526 | 998397.1833 | 0.40624 | 103.3331 | 696506.9133 | 0.18879 | 105.2935 | 580307.6567 | 0.23335 | 103.9918 | 506170.9667 | 0.11557
| FALSE | 013_QC1.d | 2023-01-04 11:00 | QC1 |  | qc 1 | 1 | 5.4736 | 5.5332 | 4.9812 | 5.4981 | 5.5611 | 5.3759 | 5.3563 | 5.5621 | 5.4585 | 0.51887 | 0.50727 | 0.5058 | 0.49456 | 5.3245 | 5.2718 | 5.4926 | 5.4529 | 5.4692 | 5.4083 | 5.0949 | 5.0095 | 99.1541 | 23352.1733 | 2.3083 | 99.122 | 921668.8667 | 0.94991 | 102.2704 | 482549.61 | 1.4846 | 100.9194 | 176719.4233 | 0.59405 | 100.8947 | 242472.7367 | 0.27027 | 102.5952 | 1008646.8167 | 0.77417 | 102.8416 | 693194.1567 | 0.44147 | 104.9123 | 578206.6067 | 0.55182 | 103.4155 | 503365.9067 | 0.3875
| FALSE | 014_QC2.d | 2023-01-04 11:04 | QC2 |  | qc 2 | 1 | 10.7706 | 10.5596 | 10.6681 | 10.8019 | 10.7757 | 10.5116 | 10.5431 | 10.8494 | 10.6058 | 0.98994 | 0.94775 | 0.97912 | 0.95618 | 10.5164 | 10.328 | 10.9048 | 10.7468 | 10.7793 | 10.622 | 10.9769 | 10.9129 | 96.8055 | 22799.03 | 1.0888 | 98.8085 | 918753.1967 | 0.51544 | 102.9637 | 485820.7767 | 0.65283 | 99.6237 | 174450.46 | 0.45579 | 100.8775 | 242431.44 | 0.94651 | 101.9754 | 1002553.9 | 0.60469 | 103.2483 | 695935.58 | 0.22701 | 103.9875 | 573109.72 | 0.15483 | 103.3001 | 502803.99 | 0.46456
| FALSE | 015_QC3.d | 2023-01-04 11:08 | QC3 |  | qc 3 | 1 | 53.3959 | 52.9577 | 54.0123 | 52.7211 | 53.6459 | 52.1782 | 52.2704 | 54.4247 | 52.9563 | 4.8627 | 4.899 | 4.9123 | 4.8973 | 53.0622 | 52.52 | 54.8185 | 54.9417 | 53.9497 | 53.868 | 52.4539 | 52.8892 | 96.7724 | 22791.25 | 1.2658 | 96.6306 | 898502.9933 | 0.32138 | 100.2259 | 472902.91 | 0.41622 | 96.0729 | 168232.83 | 0.44654 | 96.761 | 232538.45 | 0.27478 | 99.3309 | 976555.26 | 0.62985 | 99.9098 | 673432.2467 | 0.24618 | 101.3012 | 558304.76 | 0.35588 | 98.799 | 480895.5533 | 0.30789
| FALSE | 016SMPL.d | 2023-01-04 11:11 | Sample |  | blk | 1 | 0.022013 | 0.063256 | <0.000 | 0.028826 | 0.00329 | 0.00287 | 0.017256 | 0.052913 | 0.014821 | 0.060083 | 0.043885 | 0.053791 | 0.035382 | 0.038848 | 0.0078759 | 0.043657 | 0.0088288 | 0.040722 | 0.0099054 | 0.052666 | 0.019256 | 96.2478 | 22667.69 | 1.9884 | 94.4865 | 878566.21 | 9.4179 | 100.4094 | 473768.3433 | 1.2809 | 97.9854 | 171581.7167 | 0.44402 | 98.7647 | 237353.9 | 0.45554 | 97.3516 | 957096.1333 | 9.1456 | 99.8808 | 673237.1533 | 0.42062 | 101.4388 | 559063.05 | 9.6015 | 101.1394 | 492287.1033 | 0.5467
| FALSE | 017SMPL.d | 2023-01-04 11:15 | Sample |  | blk | 1 | 0.007827 | 0.010952 | <0.000 | 0.001855 | 3.8647e-05 | 0.00022191 | 0.0095372 | 0.011566 | 0.0082089 | 0.018512 | 0.016861 | 0.020032 | 0.019225 | 0.0038934 | 0.0022584 | 0.0073642 | 0.0046907 | 0.0053876 | 0.0042715 | 0.008011 | 0.0074306 | 97.4813 | 22958.2033 | 1.3016 | 96.9226 | 901217.8433 | 0.88337 | 100.185 | 472709.9533 | 0.38678 | 98.8478 | 173091.89 | 0.62024 | 100.1155 | 240600.15 | 0.29064 | 101.2714 | 995632.0833 | 0.26777 | 102.0953 | 688163.4867 | 0.027792 | 103.9557 | 572934.4467 | 0.29895 | 102.9505 | 501102.3833 | 0.53446
| FALSE | 018SMPL.d | 2023-01-04 11:19 | Sample |  | 171928-1 | 1 | 2.2634 | 0.0061757 | <0.000 | 0.0014973 | <0.000 | 0.0015928 | 0.15574 | 0.15938 | 0.1542 | 0.022764 | 0.024369 | 0.032573 | 0.02665 | 0.48988 | 0.47599 | 0.48755 | 0.48901 | 0.48984 | 0.48645 | 0.17228 | 0.16547 | 98.5352 | 23206.3967 | 1.2582 | 96.9802 | 901753.6133 | 0.41077 | 100.828 | 475743.48 | 0.3523 | 99.5909 | 174393.1533 | 0.25279 | 99.6023 | 239366.7667 | 0.76703 | 100.7487 | 990493.44 | 0.66214 | 102.5504 | 691231.23 | 0.30317 | 102.4774 | 564786.8833 | 0.085899 | 102.2753 | 497816.1033 | 0.50779
| FALSE | 019SMPL.d | 2023-01-04 11:22 | Sample |  | 171733-8 | 10 | 11.4976 | 1.0841 | <0.000 | 1.5852 | 1.5871 | 1.6316 | 1.5775 | 1.6111 | 1.5686 | 0.74977 | 0.64557 | 0.83034 | 0.76108 | 56.4669 | 55.4744 | 58.2261 | 58.1744 | 57.8447 | 57.1891 | 0.88262 | 0.87773 | 101.3753 | 23875.3 | 0.93538 | 113.172 | 1052309.72 | 0.6675 | 119.0506 | 561724.37 | 1.0059 | 115.8466 | 202858.4467 | 0.92602 | 100.8209 | 242295.4033 | 0.52957 | 103.4482 | 1017033.4733 | 1.0465 | 104.386 | 703603.56 | 0.11731 | 105.4373 | 581099.7967 | 0.21746 | 103.8731 | 505592.9467 | 0.42418
| FALSE | 020SMPL.d | 2023-01-04 11:26 | Sample |  | 171733-8 | 50 | 12.2899 | 1.0556 | 1.6567 | 1.7878 | 1.9186 | 1.7985 | 2.1365 | 2.2077 | 2.0848 | 1.8573 | 1.9346 | 2.2309 | 1.7013 | 55.2911 | 54.0281 | 57.6462 | 57.285 | 56.7927 | 56.1661 | 0.87241 | 0.85053 | 101.276 | 23851.9 | 0.98463 | 103.8301 | 965446.33 | 0.52611 | 107.0071 | 504898.7533 | 0.87276 | 105.0242 | 183907.2633 | 0.25857 | 102.4215 | 246142.0133 | 0.38559 | 103.2862 | 1015440.7833 | 0.45017 | 104.1038 | 701701.4533 | 0.10756 | 107.1319 | 590439.5467 | 0.46551 | 105.7395 | 514677.8867 | 0.087338
| FALSE | 021SMPL.d | 2023-01-04 11:30 | Sample |  | 171930-1 | 1 | 1.1094 | 0.0051135 | <0.000 | 0.0037005 | 0.0010457 | 0.0031824 | 0.082763 | 0.096699 | 0.082583 | 0.0051235 | 0.0086624 | 0.013214 | 0.0076506 | 0.8372 | 0.80687 | 0.85212 | 0.8311 | 0.84356 | 0.82364 | 0.00051483 | 0.00043433 | 98.1711 | 23120.65 | 0.73874 | 93.2142 | 866735.62 | 0.94228 | 97.5107 | 460091.5167 | 0.91261 | 96.1294 | 168331.6867 | 0.89433 | 95.981 | 230663.96 | 0.70976 | 98.0333 | 963797.4633 | 0.40962 | 98.7755 | 665786.9067 | 0.49883 | 98.9398 | 545289.9533 | 0.25499 | 97.1761 | 472996.1867 | 0.86216
| FALSE | 022SMPL.d | 2023-01-04 11:34 | Sample |  | 171931-1 | 1 | 4.9444 | 0.0020132 | <0.000 | 0.00075113 | <0.000 | 0.001228 | 0.068864 | 0.077105 | 0.068431 | <0.000 | 0.0031612 | 0.0044782 | 0.0039436 | 0.52528 | 0.50571 | 0.53071 | 0.52731 | 0.53441 | 0.52448 | 0.057887 | 0.057233 | 95.0385 | 22382.8933 | 0.59025 | 94.6872 | 880432.0933 | 0.25076 | 98.0641 | 462702.3467 | 0.73417 | 95.7661 | 167695.5167 | 0.54968 | 94.778 | 227772.8067 | 0.32594 | 98.0753 | 964211.0167 | 0.83376 | 98.8384 | 666210.6333 | 0.75532 | 98.8746 | 544930.6733 | 0.2239 | 96.8213 | 471269.0233 | 0.51278
| FALSE | 023SMPL.d | 2023-01-04 11:37 | Sample |  | 171944-7 | 10 | 15.4545 | 1.4206 | 1.2531 | 2.382 | 2.4908 | 2.461 | 1.6047 | 1.6508 | 1.5774 | 1.8106 | 1.6603 | 1.8428 | 1.6689 | 98.4114 | 98.5803 | 101.6584 | 102.4477 | 100.7405 | 100.9323 | 1.3114 | 1.3138 | 96.9236 | 22826.8567 | 1.0974 | 114.319 | 1062975.38 | 1.0073 | 118.6224 | 559703.9733 | 0.49086 | 115.4699 | 202198.6833 | 0.50227 | 97.4042 | 234084.1767 | 0.56462 | 102.6914 | 1009592.5567 | 0.84841 | 102.4913 | 690832.89 | 0.1741 | 103.528 | 570577.3967 | 0.21722 | 101.0828 | 492011.7033 | 0.46848
| FALSE | 024SMPL.d | 2023-01-04 11:41 | Sample |  | 171944-7 | 50 | 16.2159 | 1.8372 | <0.000 | 2.453 | 2.1916 | 2.6061 | 2.7683 | 3.073 | 2.6672 | 8.1161 | 8.3491 | 8.4984 | 8.28 | 86.1304 | 85.1308 | 88.6552 | 89.3244 | 87.7071 | 87.0581 | 1.0691 | 1.0688 | 97.3537 | 22928.14 | 0.7107 | 102.7461 | 955366.5533 | 1.2964 | 105.7843 | 499129.0467 | 0.95671 | 102.7082 | 179851.7933 | 0.18545 | 100.4792 | 241474.13 | 0.44926 | 104.6121 | 1028475.89 | 0.4675 | 104.2126 | 702435.1267 | 0.33816 | 106.7306 | 588227.8833 | 0.38466 | 104.6921 | 509579.7367 | 0.29666
| FALSE | 025SMPL.d | 2023-01-04 11:45 | Sample |  | 171944-14 | 10 | 15.9546 | 1.4606 | 1.2402 | 2.0574 | 2.1636 | 2.1694 | 2.0615 | 2.1482 | 2.1061 | 2.0708 | 2.1841 | 2.3592 | 2.1614 | 75.6246 | 77.8134 | 78.7461 | 80.5013 | 77.4257 | 79.3945 | 1.1508 | 1.1743 | 95.8512 | 22574.2933 | 1.1389 | 117.8635 | 1095933.2867 | 0.37414 | 120.3703 | 567951.3633 | 0.63897 | 115.8625 | 202886.16 | 0.68724 | 98.4975 | 236711.6467 | 1.3889 | 106.1236 | 1043336.1233 | 0.84072 | 106.0473 | 714801.8933 | 3.6784 | 107.4618 | 592257.67 | 0.64364 | 102.684 | 499805.28 | 1.1834
| FALSE | 026SMPL.d | 2023-01-04 11:49 | Sample |  | 171944-14 | 50 | 16.7736 | 1.8898 | <0.000 | 2.2478 | 1.9991 | 2.4115 | 2.9192 | 3.539 | 2.9782 | 7.7672 | 8.2696 | 8.6226 | 8.3544 | 70.7835 | 70.4384 | 73.4351 | 72.3928 | 72.0236 | 71.8319 | 0.98118 | 1.0059 | 94.7686 | 22319.31 | 0.70342 | 103.8628 | 965750.3433 | 0.84228 | 106.9219 | 504497.0933 | 0.65419 | 101.695 | 178077.5433 | 0.55069 | 100.3941 | 241269.5867 | 0.22959 | 104.9211 | 1031513.7433 | 0.49298 | 104.4756 | 704207.7867 | 0.50995 | 107.7686 | 593948.49 | 0.21448 | 105.2244 | 512170.3233 | 0.45849
| FALSE | 027SMPL.d | 2023-01-04 11:52 | Sample |  | 171939-1 | 1 | 0.25451 | <0.000 | <0.000 | 0.010168 | 0.0027603 | 0.0013561 | 0.087961 | 0.09214 | 0.094352 | <0.000 | 4.8284e-05 | 0.061515 | 0.02833 | 0.75881 | 0.71519 | 0.7784 | 0.73865 | 0.7805 | 0.73636 | 0.21655 | 0.198 | 103.4973 | 24375.05 | 1.663 | 93.3781 | 868259.9233 | 1.3549 | 97.83 | 461597.81 | 0.62051 | 96.5244 | 169023.3167 | 0.34897 | 95.8833 | 230429.12 | 0.26021 | 96.1852 | 945628.5367 | 0.98661 | 99.0739 | 667798.2833 | 0.41836 | 93.5466 | 515566.2767 | 1.9675 | 95.8116 | 466354.55 | 0.23515
| FALSE | 028_QC2.d | 2023-01-04 11:56 | QC2 |  | qc 2 | 1 | 10.7863 | 10.6867 | 10.6202 | 10.8326 | 10.9546 | 10.6256 | 10.5914 | 10.8168 | 10.705 | 0.95966 | 0.962 | 0.96623 | 0.95575 | 10.5461 | 10.4356 | 10.8459 | 10.8033 | 10.7873 | 10.6859 | 10.8612 | 10.7676 | 96.1251 | 22638.7933 | 1.1358 | 97.7423 | 908839.4233 | 0.33233 | 101.6145 | 479454.7433 | 1.3967 | 98.3831 | 172278.0933 | 0.18741 | 99.8202 | 239890.36 | 0.37914 | 101.9791 | 1002590.3667 | 0.59521 | 101.7654 | 685940.07 | 0.1515 | 103.204 | 568791.2367 | 0.36818 | 101.8794 | 495888.78 | 0.52351
| FALSE | 029SMPL.d | 2023-01-04 12:00 | Sample |  | blk | 1 | 0.0083343 | 0.015852 | <0.000 | 0.0024624 | 0.0026111 | 0.0015648 | 0.0091826 | 0.011835 | 0.0068095 | 0.0044998 | 0.0062918 | 0.010504 | 0.00010577 | 0.0024727 | 0.0049649 | 0.0061693 | 0.0040848 | 0.0049339 | 0.0048175 | 0.020848 | 0.013784 | 96.7867 | 22794.6 | 0.28014 | 96.7522 | 899633.6 | 1.1423 | 100.7543 | 475395.74 | 0.62706 | 98.6596 | 172762.24 | 0.42331 | 99.4312 | 238955.5833 | 0.71701 | 99.8378 | 981538.13 | 0.32252 | 101.4255 | 683649.02 | 0.088957 | 103.9573 | 572942.9933 | 0.4286 | 103.1098 | 501877.9267 | 0.20005
| FALSE | 030SMPL.d | 2023-01-04 12:03 | Sample |  | 171958-1 | 1 | 0.046849 | 0.0089227 | <0.000 | 0.0024652 | 0.0012156 | 0.0017604 | 0.072065 | 0.081595 | 0.073375 | 0.0072588 | 0.0098581 | 0.014983 | 0.006305 | 0.53121 | 0.52144 | 0.55797 | 0.53688 | 0.54466 | 0.53082 | 0.0020532 | 0.0022366 | 94.7168 | 22307.12 | 1.8518 | 95.4509 | 887533.8067 | 0.8493 | 99.9621 | 471658.17 | 0.8047 | 96.8541 | 169600.63 | 0.20742 | 97.7756 | 234976.7467 | 0.82298 | 99.7803 | 980972.7833 | 0.85171 | 100.4387 | 676997.75 | 0.15992 | 101.4825 | 559303.72 | 0.58454 | 100.2685 | 488047.8967 | 0.661
| FALSE | 031SMPL.d | 2023-01-04 12:07 | Sample |  | 171958-3 | 1 | 0.051292 | 0.011272 | <0.000 | 0.00099033 | 0.0015033 | 0.0033089 | 0.064412 | 0.062504 | 0.063433 | 0.0076905 | 0.011697 | 0.014072 | 0.0079741 | 0.43608 | 0.41948 | 0.42889 | 0.43526 | 0.43736 | 0.42738 | 0.0016962 | 0.0016239 | 95.8178 | 22566.42 | 0.65652 | 94.4751 | 878460.0133 | 1.0557 | 99.0379 | 467297.23 | 1.5362 | 95.5563 | 167328.1 | 0.59394 | 96.4555 | 231804.2667 | 0.41582 | 99.7357 | 980534.5867 | 0.76529 | 99.5068 | 670716.03 | 0.54769 | 100.6108 | 554499.5833 | 0.22792 | 99.2185 | 482937.4933 | 0.90368
| FALSE | 032SMPL.d | 2023-01-04 12:11 | Sample |  | 171949-2 | 1 | 0.12254 | 0.033916 | <0.000 | 0.028759 | 0.022072 | 0.026403 | 0.072945 | 0.080082 | 0.073821 | 0.013047 | 0.017369 | 0.02969 | 0.014743 | 2.9124 | 2.8234 | 2.9657 | 2.9293 | 2.9497 | 2.9002 | 7.9248 | 7.5391 | 91.7825 | 21616.0433 | 0.23982 | 137.9115 | 1282345.6167 | 0.065644 | 146.2773 | 690190.2567 | 1.6497 | 143.0408 | 250477.9567 | 0.26142 | 91.6805 | 220328.9567 | 0.4214 | 96.3489 | 947237.6067 | 0.42969 | 96.5918 | 651068.0467 | 0.2637 | 90.6228 | 499452.0767 | 0.3393 | 89.6203 | 436218.6833 | 0.54946
| FALSE | 033SMPL.d | 2023-01-04 12:15 | Sample |  | 171949-1 | 1 | 0.11973 | 0.029171 | <0.000 | 0.027481 | 0.023323 | 0.041255 | 0.080311 | 0.088588 | 0.077612 | 0.018245 | 0.011593 | 0.02254 | 0.010558 | 8.5068 | 8.388 | 8.7343 | 8.639 | 8.6644 | 8.5578 | 6.9413 | 6.7176 | 90.9836 | 21427.9 | 0.3209 | 132.487 | 1231906.62 | 0.82715 | 137.7831 | 650111.35 | 0.61544 | 134.9935 | 236386.3733 | 0.88452 | 91.4831 | 219854.3533 | 0.83026 | 96.5055 | 948777.7233 | 0.2362 | 95.3483 | 642686.4 | 0.66476 | 90.5256 | 498916.5567 | 0.9467 | 88.4875 | 430705.1033 | 0.45334
| FALSE | 034SMPL.d | 2023-01-04 12:18 | Sample |  | 171938-1 | 1 | 0.12629 | 0.063485 | 0.015681 | 0.010591 | 0.010105 | 0.010047 | 0.07792 | 0.079366 | 0.077164 | <0.000 | <0.000 | 0.0063374 | <0.000 | 1.7965 | 1.7493 | 1.8335 | 1.7819 | 1.823 | 1.7791 | 0.030815 | 0.027296 | 95.9409 | 22595.42 | 0.27569 | 102.0124 | 948544.2133 | 0.72966 | 105.8808 | 499584.4 | 0.61767 | 102.8683 | 180132.1567 | 1.2908 | 96.7001 | 232391.9833 | 0.70678 | 100.0558 | 983681.8433 | 0.52289 | 99.9631 | 673791.7 | 0.55548 | 99.48 | 548267.0567 | 0.63177 | 98.11 | 477541.6333 | 0.31671
| FALSE | 035SMPL.d | 2023-01-04 12:22 | Sample |  | 171951-1 | 1 | 0.015028 | <0.000 | <0.000 | 0.0010722 | 0.00020668 | 0.000561 | 0.06143 | 0.064662 | 0.057548 | <0.000 | <0.000 | 0.0048051 | <0.000 | 0.24484 | 0.24554 | 0.24885 | 0.25483 | 0.24696 | 0.24799 | 0.013095 | 0.013556 | 94.6793 | 22298.29 | 1.7153 | 94.8128 | 881600.5 | 1.4107 | 97.2924 | 459061.15 | 1.3947 | 95.2907 | 166863.11 | 0.42623 | 96.9137 | 232905.4567 | 0.47519 | 99.8279 | 981441.1133 | 0.9119 | 99.1648 | 668410.6233 | 0.32295 | 100.7085 | 555037.8 | 0.52177 | 98.5983 | 479918.26 | 0.26912
| FALSE | 036SMPL.d | 2023-01-04 12:26 | Sample |  | 171958-4 | 1 | 0.039092 | 0.0073897 | <0.000 | <0.000 | <0.000 | 0.00043517 | 0.061376 | 0.062107 | 0.057356 | 0.0014091 | <0.000 | 0.0051343 | <0.000 | 0.48558 | 0.46854 | 0.4822 | 0.47416 | 0.48448 | 0.47527 | 0.0029246 | 0.0027431 | 95.9832 | 22605.3667 | 0.79833 | 96.6106 | 898316.2 | 0.2156 | 100.9719 | 476422.83 | 0.26195 | 97.8699 | 171379.52 | 0.77361 | 98.9447 | 237786.3033 | 0.66892 | 100.918 | 992158.25 | 0.47645 | 100.8439 | 679728.3933 | 0.33587 | 99.0782 | 546052.8233 | 0.24361 | 98.7861 | 480832.8033 | 0.21359
| FALSE | 037SMPL.d | 2023-01-04 12:29 | Sample |  | 171958-2 | 1 | 0.047275 | 0.0042926 | <0.000 | <0.000 | 0.00032225 | 0.0012118 | 0.078428 | 0.075593 | 0.074859 | <0.000 | 0.0044636 | 0.0016312 | 0.0020089 | 0.53086 | 0.52232 | 0.5172 | 0.52833 | 0.51929 | 0.51527 | 0.0023254 | 0.0027889 | 97.9871 | 23077.3267 | 0.4473 | 97.2697 | 904445.27 | 1.2766 | 99.8918 | 471326.3833 | 1.5276 | 97.4908 | 170715.6467 | 0.36565 | 99.0377 | 238009.7733 | 0.33715 | 101.2037 | 994967.23 | 0.68442 | 101.2615 | 682543.4767 | 0.28753 | 97.118 | 535249.27 | 0.36123 | 96.4175 | 469303.74 | 0.13405
| FALSE | 038SMPL.d | 2023-01-04 12:33 | Sample |  | 171940-1 | 1 | 0.67513 | 0.56773 | 0.4746 | 0.055998 | 0.05612 | 0.055618 | 0.13614 | 0.15671 | 0.13545 | 0.015044 | 0.018753 | 0.027939 | 0.014113 | 10.1328 | 10.0135 | 10.0978 | 9.9281 | 10.0703 | 9.8996 | 0.031545 | 0.029918 | 95.8369 | 22570.91 | 1.9746 | 102.1945 | 950237.8667 | 0.94254 | 105.773 | 499075.9233 | 0.79161 | 102.3492 | 179223.1533 | 0.44576 | 96.1071 | 230966.9633 | 0.063809 | 100.4309 | 987369.1533 | 0.71262 | 100.6415 | 678364.46 | 0.47946 | 93.956 | 517822.65 | 0.27005 | 93.7108 | 456129.22 | 1.021
| FALSE | 039SMPL.d | 2023-01-04 12:37 | Sample |  | 171952-1 | 1 | 0.8935 | 0.17234 | 0.1545 | 0.01294 | 0.0062714 | 0.0097489 | 0.19658 | 0.20215 | 0.19484 | 0.02826 | 0.027856 | 0.033351 | 0.030486 | 2.1583 | 2.1936 | 2.1152 | 2.1383 | 2.1213 | 2.1371 | 0.79997 | 0.79665 | 96.366 | 22695.5333 | 1.4024 | 105.9676 | 985321.1667 | 2.712 | 108.7314 | 513034.7 | 0.49636 | 106.2623 | 186075.35 | 0.54028 | 94.3072 | 226641.4933 | 0.073606 | 102.1993 | 1004755.1633 | 3.2109 | 99.174 | 668472.5767 | 0.17812 | 94.574 | 521228.9033 | 4.0681 | 90.7215 | 441578.7933 | 0.37947
| FALSE | 040_QC2.d | 2023-01-04 12:41 | QC2 |  | qc 2 | 1 | 10.8025 | 10.792 | 10.7735 | 10.876 | 10.8985 | 10.6304 | 10.529 | 10.8307 | 10.7355 | 0.99284 | 0.98881 | 1.0029 | 0.98696 | 10.736 | 10.6604 | 10.7296 | 10.6724 | 10.7225 | 10.5653 | 10.2379 | 9.9453 | 98.19 | 23125.1133 | 0.94101 | 99.5404 | 925559.05 | 1.0685 | 102.9097 | 485566.0467 | 0.89095 | 100.1323 | 175341.1867 | 0.2099 | 101.415 | 243723.02 | 0.82637 | 103.767 | 1020167.8067 | 0.49038 | 103.046 | 694571.6133 | 0.5368 | 99.2856 | 547195.8133 | 0.43558 | 97.6386 | 475247.0167 | 0.57681
| FALSE | 041SMPL.d | 2023-01-04 12:44 | Sample |  | blk | 1 | 0.0090151 | 0.013226 | <0.000 | 0.0018992 | 0.00087376 | 0.0018653 | 0.011483 | 0.010413 | 0.0062673 | 0.0076962 | 0.0055405 | 0.016129 | 0.0013793 | 0.0064635 | 0.0044041 | 0.0073945 | 0.0045299 | 0.0059906 | 0.003873 | 0.014398 | 0.010848 | 97.0371 | 22853.5767 | 0.28549 | 98.6778 | 917537.6867 | 0.50601 | 101.0847 | 476954.6667 | 0.79035 | 99.2035 | 173714.7833 | 0.30155 | 100.6965 | 241996.23 | 0.80522 | 102.895 | 1011595.08 | 0.68843 | 103.1899 | 695541.4733 | 0.30173 | 99.2799 | 547164.26 | 0.21092 | 99.0268 | 482004.2733 | 0.343
| FALSE | 042SMPL.d | 2023-01-04 12:48 | Sample |  | 171941-1 | 5 | 1.982 | 0.81713 | 0.22357 | 0.047481 | 0.026755 | 0.047045 | 0.46286 | 0.45843 | 0.46868 | 0.097247 | 0.093558 | 0.12178 | 0.081253 | 6.7505 | 6.7722 | 6.6293 | 6.6215 | 6.6624 | 6.6131 | 1.7202 | 1.6644 | 93.1574 | 21939.8533 | 2.5326 | 100.5034 | 934513.0067 | 0.57219 | 104.2263 | 491777.83 | 0.39625 | 101.0733 | 176988.9567 | 0.22818 | 95.5183 | 229552.07 | 0.48346 | 100.2302 | 985396.3467 | 0.38744 | 100.1419 | 674996.7533 | 0.30814 | 94.1878 | 519099.9567 | 0.21352 | 93.0477 | 452901.4433 | 0.41071
| FALSE | 043SMPL.d | 2023-01-04 12:52 | Sample |  | 171967-1 | 5 | 1.1835 | 0.21458 | <0.000 | 0.061132 | 0.044719 | 0.10481 | 0.37609 | 0.37702 | 0.36066 | 0.10701 | 0.052431 | 0.087351 | 0.060151 | 6.3998 | 6.4398 | 6.3548 | 6.2175 | 6.3425 | 6.2124 | 0.29727 | 0.28377 | 94.6178 | 22283.8 | 0.66014 | 105.2404 | 978559.1 | 1.3597 | 109.1438 | 514980.7 | 0.26813 | 107.1089 | 187557.8033 | 0.54719 | 96.8024 | 232637.9867 | 0.21724 | 100.7826 | 990827.1633 | 0.37686 | 100.9058 | 680146.1767 | 0.4653 | 94.4054 | 520299.42 | 0.066166 | 93.579 | 455487.3467 | 0.5577
| FALSE | 044SMPL.d | 2023-01-04 12:55 | Sample |  | 171968-1 | 1 | 0.062301 | <0.000 | <0.000 | 0.00039571 | <0.000 | 0.0040237 | 0.062731 | 0.062177 | 0.063388 | <0.000 | <0.000 | <0.000 | <0.000 | 0.29978 | 0.29367 | 0.29311 | 0.27915 | 0.2932 | 0.28381 | 0.023629 | 0.021718 | 99.877 | 23522.4167 | 0.70491 | 93.9858 | 873910.04 | 0.55966 | 97.5839 | 460436.89 | 0.76393 | 96.2753 | 168587.2133 | 0.22618 | 95.8854 | 230434.1467 | 0.3286 | 98.2046 | 965481.5367 | 0.56713 | 99.0092 | 667362.1867 | 0.36768 | 92.8555 | 511757.6967 | 0.51574 | 92.4132 | 449812.8367 | 0.5352
| FALSE | 045SMPL.d | 2023-01-04 12:59 | Sample |  | 171965-1 | 1 | 0.91009 | 0.012269 | 0.11613 | 0.017942 | 0.018253 | 0.015276 | 0.11834 | 0.12648 | 0.11861 | 0.010576 | 0.010166 | 0.019906 | 0.013205 | 0.68795 | 0.68886 | 0.68463 | 0.67171 | 0.68886 | 0.67457 | 0.10406 | 0.096901 | 89.2731 | 21025.0567 | 0.84195 | 88.2603 | 820672.61 | 0.58951 | 92.4352 | 436143.1 | 0.38541 | 90.6535 | 158742.87 | 0.66218 | 88.5909 | 212903.8033 | 0.52553 | 92.5674 | 910060.3767 | 0.72791 | 91.8672 | 619221.9033 | 0.23999 | 82.8246 | 456473.6333 | 0.69351 | 81.7519 | 397920.2733 | 1.0646
| FALSE | 046SMPL.d | 2023-01-04 13:03 | Sample |  | 171971-1 | 1 | 1.0407 | 0.048987 | <0.000 | <0.000 | <0.000 | <0.000 | 0.21501 | 0.20401 | 0.20752 | 0.066233 | 0.059015 | 0.075285 | 0.058114 | 0.22791 | 0.23574 | 0.21487 | 0.23006 | 0.22283 | 0.23306 | 0.087931 | 0.085996 | 86.5335 | 20379.8433 | 6.6619 | 89.1822 | 829244.5633 | 0.13201 | 74.308 | 350612.5867 | 8.1839 | 86.8625 | 152104.4333 | 7.2966 | 84.8243 | 203851.9567 | 7.3686 | 93.7909 | 922089.7533 | 0.75925 | 88.4352 | 596088.8933 | 6.3351 | 82.5786 | 455117.8367 | 0.37193 | 77.8243 | 378802.99 | 6.1475
| FALSE | 047SMPL.d | 2023-01-04 13:07 | Sample |  | 171981-2 | 1 | 0.070743 | 0.049427 | 0.041545 | <0.000 | <0.000 | 0.00088647 | 0.072993 | 0.074194 | 0.066964 | <0.000 | <0.000 | <0.000 | <0.000 | 0.62887 | 0.61947 | 0.6113 | 0.59561 | 0.61548 | 0.60274 | 0.0028733 | 0.0036993 | 95.0477 | 22385.05 | 1.6613 | 96.5568 | 897816.1767 | 0.87201 | 99.4999 | 469477.0267 | 0.20836 | 97.2998 | 170381.2433 | 0.12657 | 98.7902 | 237414.9767 | 0.3976 | 102.6299 | 1008988.6833 | 0.68793 | 101.1541 | 681819.6333 | 0.3654 | 97.6208 | 538020.42 | 0.37537 | 96.2215 | 468349.6233 | 0.43945
| FALSE | 048SMPL.d | 2023-01-04 13:10 | Sample |  | 171979-8 pb | 1 | 0.0804 | 0.042728 | <0.000 | 0.057233 | 0.063177 | 0.054224 | 0.43664 | 0.43993 | 0.43182 | <0.000 | <0.000 | <0.000 | <0.000 | 0.66147 | 0.67795 | 0.65791 | 0.65311 | 0.66233 | 0.65641 | 0.0014337 | 0.0015399 | 93.8428 | 22101.2767 | 1.6625 | 95.4771 | 887777.1733 | 0.48115 | 98.5323 | 464911.6333 | 0.59804 | 95.3503 | 166967.4767 | 0.241 | 97.6294 | 234625.4633 | 0.57664 | 101.5918 | 998782.52 | 0.55879 | 100.4038 | 676762.2733 | 0.42678 | 96.9378 | 534256.16 | 0.44721 | 95.9093 | 466829.8267 | 0.31843
| FALSE | 049SMPL.d | 2023-01-04 13:14 | Sample |  | 171971-2 | 1 | 0.060288 | 0.034011 | <0.000 | <0.000 | <0.000 | <0.000 | 0.081621 | 0.084701 | 0.083294 | <0.000 | <0.000 | <0.000 | <0.000 | 1.0038 | 0.98972 | 0.99437 | 0.96685 | 0.98892 | 0.96151 | 0.0021158 | 0.0021191 | 93.2945 | 21972.1533 | 1.2232 | 94.3274 | 877086.9933 | 0.6527 | 98.0413 | 462594.9133 | 0.53335 | 95.0201 | 166389.1033 | 0.30225 | 97.171 | 233523.8433 | 0.57505 | 100.646 | 989483.86 | 0.85447 | 99.8595 | 673093.1333 | 0.25904 | 96.5893 | 532335.8333 | 0.62986 | 95.1711 | 463237.0167 | 0.41279
| FALSE | 050SMPL.d | 2023-01-04 13:18 | Sample |  | 171980-5 | 1 | 0.069863 | 0.038065 | <0.000 | <0.000 | <0.000 | <0.000 | 0.047533 | 0.047671 | 0.048276 | <0.000 | <0.000 | <0.000 | <0.000 | 0.22004 | 0.21844 | 0.21453 | 0.21397 | 0.21623 | 0.21375 | 0.0034661 | 0.0033786 | 94.4285 | 22239.2233 | 0.95592 | 95.4242 | 887284.7 | 0.67636 | 97.5975 | 460500.7967 | 1.4919 | 94.7134 | 165852.11 | 0.43615 | 97.3201 | 233882.0633 | 0.21857 | 100.8652 | 991638.9967 | 0.92553 | 99.963 | 673791.0767 | 0.50086 | 96.7663 | 533311.3433 | 0.57781 | 95.5522 | 465091.67 | 0.83858
| FALSE | 051SMPL.d | 2023-01-04 13:22 | Sample |  | 171981-4 | 1 | 0.062472 | 0.031886 | <0.000 | <0.000 | <0.000 | 0.00015137 | 0.062425 | 0.068102 | 0.061759 | <0.000 | <0.000 | <0.000 | <0.000 | 1.08 | 1.0702 | 1.0579 | 1.0615 | 1.0604 | 1.0509 | 0.0019262 | 0.0024771 | 93.5166 | 22024.4667 | 1.419 | 95.5458 | 888415.43 | 0.36209 | 98.7837 | 466098.04 | 0.73497 | 94.7667 | 165945.4533 | 0.72534 | 98.1871 | 235965.67 | 0.35646 | 101.7833 | 1000665.1867 | 0.64864 | 101.1062 | 681496.9233 | 0.22521 | 98.4711 | 542706.69 | 0.39109 | 96.1804 | 468149.6 | 0.45449
| FALSE | 052_QC2.d | 2023-01-04 13:25 | QC2 |  | qc 2 | 1 | 10.7325 | 10.6579 | 10.6392 | 10.9047 | 10.9867 | 10.7316 | 10.651 | 10.9448 | 10.8087 | 0.97984 | 0.96088 | 0.99141 | 0.97944 | 10.7903 | 10.6499 | 10.7748 | 10.585 | 10.7436 | 10.4905 | 10.2747 | 10.0368 | 94.5987 | 22279.31 | 1.4144 | 95.1165 | 884424.29 | 0.54298 | 99.4947 | 469452.8267 | 0.60082 | 96.3341 | 168690.1633 | 0.85904 | 98.4129 | 236508.4333 | 0.28117 | 101.7594 | 1000430.54 | 0.31592 | 101.7442 | 685796.94 | 0.29607 | 96.7009 | 532951.0267 | 0.10839 | 96.7367 | 470857.4367 | 0.26603
| FALSE | 053SMPL.d | 2023-01-04 13:29 | Sample |  | blk | 1 | 0.011092 | 0.028209 | <0.000 | 0.0021722 | 0.00076314 | 0.0025867 | 0.010854 | 0.011882 | 0.0079818 | 0.007151 | 0.008145 | 0.014403 | 0.0070428 | 0.006317 | 0.0057703 | 0.0055752 | 0.0035418 | 0.0050317 | 0.0048599 | 0.016536 | 0.013528 | 94.2157 | 22189.1 | 1.6739 | 95.8676 | 891408.2233 | 0.54127 | 98.4142 | 464354.4333 | 0.69463 | 97.1836 | 170177.7433 | 0.72225 | 99.4636 | 239033.4233 | 0.063252 | 101.0431 | 993387.6367 | 0.55937 | 102.0305 | 687727.0833 | 0.4204 | 97.2767 | 536124.39 | 0.3367 | 96.938 | 471836.9833 | 0.65732
| FALSE | 054SMPL.d | 2023-01-04 13:33 | Sample |  | 171980-8 pb | 1 | 0.061221 | 0.031047 | <0.000 | 0.0001502 | <0.000 | 0.00029269 | 0.098848 | 0.09885 | 0.097184 | <0.000 | <0.000 | <0.000 | <0.000 | 0.27513 | 0.27266 | 0.28177 | 0.26999 | 0.27424 | 0.269 | 0.0037092 | 0.0037182 | 93.4172 | 22001.0367 | 1.044 | 94.9792 | 883147.54 | 0.43196 | 98.6976 | 465691.5633 | 0.47711 | 95.5058 | 167239.61 | 0.48827 | 98.5546 | 236848.8567 | 0.33122 | 100.8818 | 991802.64 | 0.72006 | 100.7189 | 678885.7633 | 0.20755 | 95.6035 | 526902.8533 | 0.15032 | 94.9174 | 462002.0467 | 0.2162
| FALSE | 055SMPL.d | 2023-01-04 13:36 | Sample |  | 171979-9 pb | 1 | 0.073594 | 0.019249 | <0.000 | 0.0012947 | <0.000 | 0.0038972 | 0.12722 | 0.12467 | 0.12089 | <0.000 | <0.000 | <0.000 | <0.000 | 0.1769 | 0.16953 | 0.17779 | 0.16368 | 0.1744 | 0.16546 | 0.0026165 | 0.0026082 | 95.6998 | 22538.63 | 0.28131 | 96.0638 | 893232.2267 | 0.75466 | 99.3815 | 468918.72 | 0.62952 | 97.7407 | 171153.17 | 0.77984 | 99.083 | 238118.6733 | 0.65924 | 101.2571 | 995492.13 | 0.18241 | 102.2845 | 689438.7667 | 0.10675 | 94.6973 | 521908.3467 | 0.46806 | 95.6459 | 465547.7133 | 0.47872
| FALSE | 056SMPL.d | 2023-01-04 13:40 | Sample |  | 171980-3 | 1 | 0.091889 | 0.028834 | 0.011975 | 0.0041452 | 0.002368 | 0.006976 | 0.074077 | 0.080196 | 0.073506 | 0.015953 | 0.013881 | 0.017961 | 0.01124 | 2.4999 | 2.5311 | 2.4625 | 2.4275 | 2.4524 | 2.4318 | 0.0031083 | 0.0034427 | 92.8128 | 21858.6967 | 2.2892 | 97.2641 | 904392.8867 | 0.70818 | 99.8996 | 471363.27 | 0.17863 | 95.8814 | 167897.36 | 0.29177 | 97.8528 | 235162.2533 | 0.8565 | 103.4164 | 1016720.3867 | 0.55203 | 102.9255 | 693759.5133 | 0.98036 | 97.4479 | 537067.83 | 0.33818 | 95.4554 | 464620.55 | 0.85525
| FALSE | 057SMPL.d | 2023-01-04 13:44 | Sample |  | 171980-1 | 1 | 0.063031 | 0.028799 | <0.000 | 0.0067498 | 0.0085998 | 0.0061141 | 0.06921 | 0.070365 | 0.060698 | <0.000 | <0.000 | <0.000 | <0.000 | 2.766 | 2.6949 | 2.7011 | 2.6175 | 2.7179 | 2.6059 | 0.0018903 | 0.0024276 | 94.3767 | 22227.0133 | 0.8603 | 95.2011 | 885210.2467 | 0.41018 | 97.8466 | 461676.1267 | 1.905 | 95.1341 | 166588.8133 | 0.32787 | 98.7254 | 237259.28 | 0.58448 | 100.0353 | 983480.3767 | 0.64062 | 100.8867 | 680016.82 | 0.3034 | 93.274 | 514064.03 | 0.69199 | 93.9563 | 457324.2167 | 0.14571
| FALSE | 058SMPL.d | 2023-01-04 13:48 | Sample |  | 171979-1 | 1 | 0.056059 | 0.027316 | <0.000 | <0.000 | <0.000 | 0.00030995 | 0.057897 | 0.056382 | 0.057329 | <0.000 | <0.000 | <0.000 | <0.000 | 1.3127 | 1.2989 | 1.2992 | 1.2565 | 1.2897 | 1.2572 | 0.0022415 | 0.0024855 | 93.6349 | 22052.31 | 1.8069 | 95.3206 | 886321.6267 | 0.29046 | 98.5522 | 465005.3433 | 0.8037 | 95.156 | 166627.08 | 0.57781 | 97.0121 | 233142.0167 | 0.22566 | 101.6078 | 998939.3967 | 1.2181 | 100.1381 | 674971.2767 | 0.25508 | 94.2047 | 519193.48 | 0.5772 | 93.4846 | 455027.8033 | 0.34428
| FALSE | 059SMPL.d | 2023-01-04 13:51 | Sample |  | 171979-4 | 1 | 0.069478 | 0.020023 | <0.000 | 0.0006575 | <0.000 | 0.00089848 | 0.072504 | 0.073938 | 0.067732 | 0.0055186 | 0.011933 | 0.014526 | 0.01113 | 1.017 | 1.021 | 1.0067 | 0.99694 | 1.0085 | 0.99671 | 0.0036708 | 0.0046191 | 91.1209 | 21460.2433 | 1.839 | 94.3982 | 877745.24 | 1.4056 | 97.3513 | 459339.13 | 0.76759 | 93.855 | 164348.9167 | 0.91334 | 95.8117 | 230257.08 | 0.65682 | 101.3121 | 996032.58 | 1.0398 | 100.4119 | 676816.9567 | 0.48962 | 94.6449 | 521619.39 | 0.24706 | 93.4684 | 454949.3767 | 0.44156
| FALSE | 060SMPL.d | 2023-01-04 13:55 | Sample |  | 171979-3 | 1 | 0.061518 | 0.020282 | <0.000 | <0.000 | 0.00021984 | 0.00065282 | 0.054644 | 0.053022 | 0.056119 | <0.000 | <0.000 | <0.000 | <0.000 | 0.79378 | 0.80101 | 0.79352 | 0.78693 | 0.78858 | 0.78414 | 0.0022168 | 0.0020198 | 93.3699 | 21989.91 | 1.2224 | 97.411 | 905758.97 | 0.74472 | 98.9355 | 466813.97 | 0.39191 | 95.1265 | 166575.4333 | 0.67529 | 97.3611 | 233980.5233 | 0.10631 | 101.8683 | 1001500.55 | 1.0226 | 99.94 | 673635.6967 | 0.25602 | 94.9098 | 523079.3167 | 0.51304 | 93.2739 | 454002.3733 | 0.67909
| FALSE | 061SMPL.d | 2023-01-04 13:59 | Sample |  | 171980-2 | 1 | 0.053749 | 0.015104 | 0.019153 | 0.001396 | 0.0018329 | 0.000457 | 0.069004 | 0.066364 | 0.066629 | <0.000 | <0.000 | <0.000 | <0.000 | 1.137 | 1.1206 | 1.1243 | 1.1099 | 1.1142 | 1.0851 | 0.00020734 | 7.7686e-05 | 96.6068 | 22752.25 | 1.6816 | 96.5221 | 897493.9967 | 1.3762 | 99.1726 | 467933.0067 | 0.85085 | 97.4631 | 170667.1 | 0.43183 | 100.5661 | 241682.9 | 0.56876 | 101.6962 | 999808.7633 | 1.3102 | 102.4801 | 690756.9967 | 0.54314 | 94.9208 | 523139.92 | 0.40835 | 95.8365 | 466475.8033 | 0.54791
| FALSE | 062SMPL.d | 2023-01-04 14:02 | Sample |  | 171980-2 pb | 1 | 0.04974 | 0.022245 | <0.000 | <0.000 | <0.000 | 0.0018214 | 0.090043 | 0.09008 | 0.088443 | <0.000 | <0.000 | <0.000 | <0.000 | 0.9592 | 0.95057 | 0.93807 | 0.92339 | 0.95256 | 0.92945 | 0.001859 | 0.0021966 | 96.4417 | 22713.3667 | 1.3895 | 97.1004 | 902870.96 | 0.062459 | 99.4623 | 469299.9733 | 0.75649 | 98.6839 | 172804.9033 | 0.72793 | 100.1069 | 240579.4033 | 0.77835 | 102.7539 | 1010207.0333 | 0.075342 | 102.2525 | 689223.22 | 0.67917 | 95.5906 | 526831.4433 | 0.526 | 95.4102 | 464400.53 | 0.32281
| FALSE | 063SMPL.d | 2023-01-04 14:06 | Sample |  | 171982-1 | 1 | 2.0686 | 0.051807 | <0.000 | 0.00463 | 0.0024793 | 0.0040791 | 0.096009 | 0.09805 | 0.099471 | <0.000 | <0.000 | <0.000 | <0.000 | 0.40196 | 0.3869 | 0.38996 | 0.38033 | 0.39227 | 0.3805 | 0.0079523 | 0.0075182 | 94.3623 | 22223.6367 | 1.4427 | 96.4441 | 896768.0767 | 0.33011 | 100.3532 | 473503.4233 | 0.42791 | 97.518 | 170763.3133 | 0.54594 | 97.9393 | 235370.1067 | 0.30256 | 100.1793 | 984896.0867 | 0.90325 | 100.8611 | 679844.3533 | 0.62962 | 93.224 | 513788.2933 | 0.9776 | 93.4977 | 455091.76 | 0.3748
| FALSE | 064_QC2.d | 2023-01-04 14:10 | QC2 |  | qc 2 | 1 | 10.71 | 10.7226 | 10.4051 | 13.2743 | 10.9558 | 10.6756 | 10.6791 | 13.2894 | 10.7977 | 1.2001 | 0.99931 | 1.225 | 0.99342 | 12.8525 | 10.7702 | 12.8271 | 10.5666 | 12.7895 | 10.518 | 12.1562 | 9.8603 | 95.0142 | 22377.1533 | 0.69663 | 82.2749 | 765018.2833 | 20.7633 | 100.1405 | 472499.8767 | 0.4162 | 98.6814 | 172800.43 | 1.1099 | 101.0954 | 242954.8733 | 0.59536 | 86.7547 | 852914.48 | 21.4126 | 103.1078 | 694988.0567 | 1.5836 | 81.6747 | 450136.5567 | 15.5771 | 95.0091 | 462448.6233 | 1.9491
| FALSE | 065SMPL.d | 2023-01-04 14:14 | Sample |  | blk | 1 | 0.0074097 | 0.031149 | <0.000 | 0.004606 | 0.0039588 | 0.003143 | 0.01657 | 0.016185 | 0.014784 | 0.017872 | 0.01785 | 0.02091 | 0.012726 | 0.0043157 | 0.0083462 | 0.0090097 | 0.0041499 | 0.0070736 | 0.0050071 | 0.021195 | 0.017814 | 96.5407 | 22736.6767 | 0.39207 | 97.0489 | 902392.47 | 0.49859 | 99.4177 | 469089.2633 | 0.44721 | 97.7084 | 171096.74 | 0.36227 | 99.5245 | 239179.84 | 0.36999 | 101.2115 | 995043.7667 | 0.1414 | 101.6213 | 684968.3333 | 0.70481 | 94.9934 | 523540.0467 | 0.42024 | 95.2868 | 463800.2367 | 0.21512
| FALSE | 066SMPL.d | 2023-01-04 14:17 | Sample |  | 171983-1 | 1 | 0.035223 | 0.006363 | <0.000 | 0.0091736 | 0.012229 | 0.0084666 | 0.052636 | 0.054698 | 0.053796 | <0.000 | <0.000 | <0.000 | <0.000 | 0.9382 | 0.95119 | 0.93621 | 0.92994 | 0.93508 | 0.92371 | 0.0016565 | 0.0017096 | 97.4432 | 22949.2167 | 0.8035 | 97.8168 | 909531.9733 | 0.34224 | 101.7954 | 480308.0833 | 0.58514 | 100.8935 | 176673.9867 | 0.58221 | 101.8556 | 244781.8667 | 0.54129 | 101.9618 | 1002420.1333 | 0.64732 | 103.7368 | 699227.95 | 0.29629 | 95.0988 | 524120.9367 | 0.53878 | 95.2716 | 463726.2767 | 0.47572
| FALSE | 067SMPL.d | 2023-01-04 14:21 | Sample |  | 171979-6 | 1 | 0.057217 | 0.017791 | <0.000 | 0.0021405 | 0.0017112 | 0.0011078 | 0.084152 | 0.08718 | 0.081166 | <0.000 | <0.000 | <0.000 | <0.000 | 0.37143 | 0.37526 | 0.37617 | 0.36316 | 0.37314 | 0.36079 | 0.0033652 | 0.0030246 | 97.0132 | 22847.9433 | 0.18846 | 96.8463 | 900507.8167 | 0.1473 | 101.1765 | 477388.14 | 1.9339 | 99.4099 | 174076.16 | 0.50052 | 101.1545 | 243097.0233 | 0.25019 | 101.5828 | 998693.6233 | 0.7862 | 102.306 | 689583.94 | 0.34259 | 94.3341 | 519906.4033 | 0.68833 | 95.0116 | 462460.4167 | 0.11927
| FALSE | 068SMPL.d | 2023-01-04 14:25 | Sample |  | 171981-3 | 1 | 0.060974 | 0.021408 | <0.000 | 0.0018668 | <0.000 | 0.0012536 | 0.061968 | 0.062617 | 0.062742 | <0.000 | <0.000 | <0.000 | <0.000 | 0.91109 | 0.8999 | 0.89052 | 0.86766 | 0.88421 | 0.86982 | 0.0028556 | 0.0031041 | 96.697 | 22773.4767 | 1.039 | 96.1147 | 893706.0467 | 1.0002 | 100.402 | 473733.68 | 0.6495 | 98.2424 | 172031.7633 | 0.40372 | 100.1523 | 240688.4267 | 0.27609 | 101.3652 | 996554.71 | 0.63457 | 101.9882 | 687441.8567 | 0.39102 | 94.2686 | 519545.4267 | 0.57647 | 94.0968 | 458007.8467 | 0.19621
| FALSE | 069SMPL.d | 2023-01-04 14:28 | Sample |  | 171985-1 | 1 | 0.051025 | 0.011323 | <0.000 | 0.0010382 | <0.000 | 0.0029568 | 0.054065 | 0.051859 | 0.051426 | <0.000 | <0.000 | <0.000 | <0.000 | 0.83646 | 0.81293 | 0.81975 | 0.81161 | 0.81771 | 0.79645 | 0.0025254 | 0.0020962 | 95.3027 | 22445.1167 | 0.37542 | 96.0887 | 893464.11 | 1.4863 | 98.6876 | 465644.5333 | 0.66861 | 97.9125 | 171454.01 | 0.45753 | 99.4013 | 238883.75 | 0.14941 | 100.6594 | 989616.2433 | 0.68879 | 101.0554 | 681154.2967 | 0.36833 | 93.6988 | 516404.9267 | 1.0696 | 93.6228 | 455700.87 | 0.16329
| FALSE | 070SMPL.d | 2023-01-04 14:32 | Sample |  | 171979-5 | 1 | 0.062976 | 0.027858 | 0.062626 | <0.000 | <0.000 | 0.0012031 | 0.075162 | 0.076508 | 0.070436 | 0.0080915 | 0.0083733 | 0.014524 | 0.0075527 | 1.662 | 1.6322 | 1.6341 | 1.6016 | 1.628 | 1.5961 | 0.0025636 | 0.0022669 | 93.5022 | 22021.0667 | 1.5519 | 96.2743 | 895189.71 | 1.1498 | 99.1743 | 467940.6667 | 0.57437 | 96.0465 | 168186.5933 | 0.74372 | 97.9394 | 235370.4033 | 0.27822 | 102.0514 | 1003301.33 | 0.7459 | 101.0801 | 681320.8133 | 0.082619 | 93.9151 | 517597.0233 | 0.93156 | 93.209 | 453686.6933 | 0.6979
| FALSE | 071SMPL.d | 2023-01-04 14:36 | Sample |  | 171981-6 | 1 | 0.059973 | 0.018378 | <0.000 | <0.000 | 0.0011155 | 0.00097574 | 0.066811 | 0.066828 | 0.073607 | <0.000 | <0.000 | <0.000 | <0.000 | 0.92379 | 0.9146 | 0.90197 | 0.8786 | 0.90845 | 0.8803 | 0.0019537 | 0.0023912 | 97.5853 | 22982.6833 | 0.6327 | 96.6535 | 898715.7433 | 0.15843 | 100.6969 | 475125.0733 | 0.58075 | 98.6618 | 172766.23 | 0.55084 | 101.0311 | 242800.4767 | 0.57218 | 101.0574 | 993528.4167 | 0.44388 | 102.3656 | 689985.6533 | 0.71972 | 93.1007 | 513108.79 | 0.43456 | 93.7859 | 456494.39 | 0.17704
| FALSE | 072SMPL.d | 2023-01-04 14:40 | Sample |  | 171980-4 | 1 | 0.078754 | 0.020613 | <0.000 | 0.0058583 | 0.0067606 | 0.0083064 | 0.0687 | 0.066954 | 0.068537 | <0.000 | <0.000 | <0.000 | <0.000 | 2.4099 | 2.3728 | 2.388 | 2.2945 | 2.3648 | 2.288 | 0.0023681 | 0.0027808 | 97.9015 | 23057.1533 | 1.6369 | 96.588 | 898106.3 | 0.4921 | 101.5592 | 479193.84 | 0.39397 | 99.4939 | 174223.3067 | 0.55442 | 100.9446 | 242592.5033 | 0.2786 | 100.8269 | 991262.19 | 1.1742 | 102.6152 | 691667.8133 | 0.46309 | 93.1204 | 513217.63 | 0.85963 | 93.9917 | 457496.4867 | 1.1237
| FALSE | 073SMPL.d | 2023-01-04 14:43 | Sample |  | 171981-1 | 1 | 0.05734 | 0.014034 | 0.076312 | 0.0017072 | <0.000 | 0.0023659 | 0.051359 | 0.050197 | 0.049545 | <0.000 | <0.000 | <0.000 | <0.000 | 0.63639 | 0.62601 | 0.61967 | 0.60438 | 0.62419 | 0.60181 | 0.0022045 | 0.0020051 | 97.245 | 22902.54 | 0.72907 | 97.1285 | 903132.27 | 0.31872 | 102.6463 | 484323.1033 | 0.10395 | 100.3543 | 175729.7967 | 0.51113 | 101.9854 | 245093.86 | 0.53263 | 101.8115 | 1000942.0867 | 0.55183 | 103.5755 | 698140.44 | 0.35432 | 93.5952 | 515834.1933 | 0.76535 | 94.7461 | 461168.42 | 0.35163
| FALSE | 074_QC1.d | 2023-01-04 14:47 | QC1 |  | qc 1 | 1 | 5.3869 | 5.3137 | 4.9756 | 5.489 | 5.5105 | 5.3878 | 5.4365 | 5.4633 | 5.4607 | 0.51633 | 0.49077 | 0.53049 | 0.50301 | 5.4992 | 5.4031 | 5.4684 | 5.2978 | 5.4545 | 5.2795 | 4.5913 | 4.3847 | 98.8896 | 23289.8667 | 0.4508 | 98.2769 | 913810.8367 | 1.2712 | 102.6835 | 484498.3633 | 0.73822 | 101.0075 | 176873.7267 | 1.336 | 103.1402 | 247869.05 | 0.47992 | 103.3999 | 1016558.1367 | 1.5001 | 104.1779 | 702201.0033 | 0.30015 | 94.7447 | 522169.37 | 0.93534 | 96.0352 | 467443.04 | 0.10264
| FALSE | 075_QC2.d | 2023-01-04 14:51 | QC2 |  | qc 2 | 1 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.0014642 | 0.00054796 | 336.5794 | 79269.1267 | 4.188 | 302.734 | 2814918.8833 | 6.9658 | 329.4258 | 1554352.07 | 18.2395 | 353.3469 | 618743.87 | 4.6095 | 343.7201 | 826036.6333 | 4.8949 | 319.7931 | 3143991.93 | 6.9008 | 345.9551 | 2331877.5167 | 4.7556 | 308.8906 | 1702398.3933 | 7.6112 | 321.8177 | 1566418.97 | 4.5197
| FALSE | 076_QC3.d | 2023-01-04 14:54 | QC3 |  | qc 3 | 1 | 51.4942 | 51.2911 | 51.4053 | 50.547 | 51.3546 | 49.9824 | 53.5816 | 53.3043 | 51.0401 | 4.9312 | 4.813 | 4.9869 | 4.8857 | 56.0854 | 55.4522 | 56.9337 | 56.7377 | 55.9513 | 55.4745 | 46.738 | 45.2892 | 101.9754 | 24016.6233 | 0.48349 | 99.369 | 923964.6633 | 1.7707 | 104.3054 | 492151.3033 | 0.98332 | 102.55 | 179574.84 | 0.23163 | 103.6002 | 248974.5167 | 0.14535 | 103.9308 | 1021777.58 | 1.3482 | 104.9941 | 707702.9167 | 0.20071 | 94.3009 | 519723.4833 | 0.88713 | 95.165 | 463207.26 | 0.36996
| FALSE | 077SMPL.d | 2023-01-04 14:58 | Sample |  | curve 4 | 1 | 49.2952 | 49.5246 | 48.7539 | 49.2992 | 50.3174 | 48.9596 | 49.2534 | 51.6814 | 49.9824 | 3.4374 | 3.4542 | 3.5077 | 3.4634 | 54.6567 | 54.9376 | 54.3516 | 54.4763 | 54.071 | 54.1238 | 45.9258 | 44.4228 | 98.45 | 23186.35 | 0.88799 | 98.9221 | 919809.6733 | 0.9907 | 104.2471 | 491876.37 | 0.70843 | 101.4167 | 177590.2433 | 0.59257 | 102.1517 | 245493.5567 | 0.57331 | 102.7341 | 1010012.8567 | 1.6821 | 105.246 | 709400.7967 | 0.36101 | 94.0045 | 518090.1933 | 0.17228 | 94.2087 | 458552.6567 | 0.71044

## ValueList_Helper (hidden)
Bkgnd
BlkVrfy
CalBlk
CalStd
CICSpike
DilStd
DriftChk
FQBlk
IsoStd
QC1
QC2
QC3
QC4
QC5
Sample
Spike
Spike Ref
SQBlk
SQISTD
SQStd