## Sheet1
Sample | [7 empty] | 75 As [ He ] | 78 Se [ H2 ] | 78 Se [ He ] | 111 Cd [ No Gas ] | 111 Cd [ He ] | 114 Cd [ He ] | 121 Sb [ He ] | 123 Sb [ No Gas ] | 123 Sb [ He ] | 201 Hg [ No Gas ] | 201 Hg [ He ] | 202 Hg [ No Gas ] | 202 Hg [ He ] | 206 [Pb] [ No Gas ] | 206 [Pb] [ He ] | 207 [Pb] [ No Gas ] | 207 [Pb] [ He ] | 208 Pb [ No Gas ] | 208 Pb [ He ] | 238 U [ No Gas ] | 238 U [ He ] | 72 Ge ( ISTD ) [ He ] |  | 89 Y ( ISTD ) [ No Gas ] |  | 89 Y ( ISTD ) [ H2 ] |  | 89 Y ( ISTD ) [ He ] |  | 115 In ( ISTD ) [ He ] |  | 159 Tb ( ISTD ) [ No Gas ] |  | 159 Tb ( ISTD ) [ He ] |  | 209 Bi ( ISTD ) [ No Gas ] |  | 209 Bi ( ISTD ) [ He ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | Total Dil. | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS
| FALSE | 001SMPL.d | 2022-11-04 16:28 | Sample |  | blk | 1 | [22 empty] | 12306.8567 |  | 67133.73 |  | 138224.2 |  | 99165.4533 |  | 125043.6933 |  | 81700.2167 |  | 396548.5233 |  | 60927.9433 |  | 372367.04
| FALSE | 002SMPL.d | 2022-11-04 16:31 | Sample |  | blk | 1 | [22 empty] | 14724.8233 |  | 740570.7233 |  | 398241.9867 |  | 114846.4867 |  | 140366.1633 |  | 897667.13 |  | 426366.02 |  | 577041.8867 |  | 306207
| FALSE | 003SMPL.d | 2022-11-04 16:35 | Sample |  | blk | 1 | [22 empty] | 13916.1867 |  | 723562.5067 |  | 323713.1867 |  | 108724.6067 |  | 135340.9033 |  | 857405.6033 |  | 429803.0233 |  | 536049.2033 |  | 311871.5067
| FALSE | 004CALB.d | 2022-11-04 16:39 | CalBlk | 1 | blk | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 13337.8567 | 100 | 720674.8133 | 100 | 326069.6767 | 100 | 105460.56 | 100 | 130715.4533 | 100 | 845458.32 | 100 | 424796.2567 | 100 | 531322.9767 | 100 | 307987.25
| FALSE | 005CALS.d | 2022-11-04 16:43 | CalStd | 2 | curve 1 | 1 | 0.094432 | 0.086556 | <0.000 | 0.079096 | 0.1229 | 0.12701 | 0.10919 | 0.079148 | 0.11318 | <0.000 | <0.000 | <0.000 | <0.000 | 0.069761 | 0.11192 | 0.063481 | 0.10925 | 0.068405 | 0.11182 | 0.070301 | 0.10817 | 108.5887 | 14483.4067 | 118.2439 | 852153.8767 | 124.9449 | 407407.3 | 106.4774 | 112291.6333 | 104.7501 | 136924.6067 | 124.7988 | 1055121.4367 | 102.6121 | 435892.26 | 125.6861 | 667799.1333 | 101.175 | 311605.98
| FALSE | 006CALS.d | 2022-11-04 16:47 | CalStd | 3 | curve 2 | 1 | 1.0826 | 0.69673 | 0.89359 | 1.0231 | 1.219 | 1.2781 | 1.1874 | 1.0578 | 1.1863 | 0.058091 | 0.053611 | 0.056599 | 0.056508 | 0.967 | 1.1405 | 0.95412 | 1.1413 | 0.96018 | 1.1425 | 0.94875 | 1.1306 | 106.0536 | 14145.28 | 93.9644 | 677177.4767 | 100.8841 | 328952.3 | 103.9245 | 109599.3133 | 102.3 | 133721.87 | 95.5668 | 807977.6533 | 99.068 | 420837.1967 | 95.0405 | 504971.7633 | 97.2145 | 299408.13
| FALSE | 007CALS.d | 2022-11-04 16:51 | CalStd | 4 | curve 2.5 (Hg only) | 1 | 2.1803 | 1.3567 | 1.9443 | 1.9167 | 2.5713 | 2.5418 | 2.3619 | 1.9519 | 2.4161 | 0.094404 | 0.089196 | 0.078475 | 0.10305 | 1.7642 | 2.2239 | 1.7524 | 2.1682 | 1.7704 | 2.2134 | 1.7758 | 2.2417 | 106.0482 | 14144.5533 | 99.9751 | 720495.0233 | 100.836 | 328795.7 | 102.5436 | 108143.09 | 102.5958 | 134108.6233 | 102.7254 | 868500.8633 | 99.8653 | 424224.0267 | 102.54 | 544818.55 | 98.4647 | 303258.78
| FALSE | 008CALS.d | 2022-11-04 16:55 | CalStd | 5 | curve 3 | 1 | 10.5452 | 7.0449 | 9.8878 | 9.558 | 11.7951 | 11.7685 | 11.1691 | 9.6771 | 11.2249 | 0.44899 | 0.54007 | 0.4572 | 0.5168 | 9.0784 | 10.5604 | 8.9283 | 10.4249 | 8.9978 | 10.558 | 8.9995 | 10.6506 | 117.0209 | 15608.08 | 103.3015 | 744467.81 | 102.6115 | 334584.9733 | 113.4732 | 119669.49 | 110.8686 | 144922.4367 | 100.8181 | 852375.0933 | 104.1534 | 442439.6967 | 96.961 | 515176.0333 | 100.5936 | 309815.3333
| FALSE | 009CALS.d | 2022-11-04 16:59 | CalStd | 6 | curve 4 | 1 | 50.3973 | 36.6722 | 50.2157 | 41.7328 | 50.2432 | 50.3308 | 50.263 | 41.5689 | 49.994 | 2.0872 | 2.497 | 2.1213 | 2.4855 | 42.5711 | 50.641 | 42.1645 | 50.429 | 42.4677 | 50.4795 | 41.6842 | 50.0564 | 153.6215 | 20489.8167 | 113.753 | 819789.3967 | 134.788 | 439502.8633 | 148.284 | 156381.0867 | 136.1614 | 177983.9867 | 89.1347 | 753596.7333 | 109.2509 | 464093.6733 | 79.7604 | 423785.41 | 98.9645 | 304797.92
| FALSE | 010CALS.d | 2022-11-04 17:03 | CalStd | 7 | curve 5 | 1 | 99.746 | 106.9625 | 99.9046 | 104.1776 | 99.6967 | 99.655 | 99.7497 | 104.2473 | 99.8786 | 5.2115 | 4.9977 | 5.194 | 5.0054 | 103.807 | 99.6221 | 104.0254 | 99.7416 | 103.8668 | 99.703 | 104.2585 | 99.9055 | 154.1141 | 20555.5133 | 91.5669 | 659899.5567 | 91.5804 | 298615.9567 | 144.5211 | 152412.79 | 132.8114 | 173604.97 | 71.53 | 604756.6333 | 108.2207 | 459717.33 | 65.3268 | 347096.1867 | 96.6919 | 297798.7433
| FALSE | 011SMPL.d | 2022-11-04 17:07 | Sample |  | blk | 1 | 0.051252 | 0.21377 | 0.060353 | 0.066093 | 0.00806 | 0.0078638 | 0.045516 | 0.10261 | 0.044543 | 0.047675 | 0.036807 | 0.051231 | 0.042876 | 0.076343 | 0.018639 | 0.068771 | 0.015239 | 0.07269 | 0.015024 | 0.10449 | 0.043135 | 159.6087 | 21288.3833 | 126.5993 | 912369.6033 | 122.5753 | 399680.97 | 159.256 | 167952.29 | 146.6513 | 191695.9667 | 98.8458 | 835700.2733 | 117.5919 | 499525.8933 | 89.887 | 477590.26 | 107.9107 | 332351.2833
| FALSE | 012SMPL.d | 2022-11-04 17:10 | Sample |  | blk | 1 | 0.028271 | 0.024103 | <0.000 | 0.0040979 | 0.0061185 | 0.004436 | 0.016971 | 0.019012 | 0.023723 | 0.036304 | 0.034654 | 0.027126 | 0.030925 | 0.010895 | 0.0084368 | 0.0041288 | 0.0064745 | 0.0076454 | 0.0083481 | 0.015899 | 0.021341 | 114.9555 | 15332.6 | 104.7711 | 755059.2167 | 106.3278 | 346702.6467 | 113.8403 | 120056.5967 | 111.0578 | 145169.6767 | 99.9023 | 844632.6267 | 101.9463 | 433063.8733 | 96.8063 | 514354.3767 | 98.9673 | 304806.5167
| FALSE | 013_QC1.d | 2022-11-04 17:14 | QC1 |  | qc 1 | 1 | 5.4005 | 3.692 | 4.8629 | 4.9474 | 5.9782 | 5.886 | 5.5912 | 5.0977 | 5.6188 | 0.47829 | 0.56328 | 0.45915 | 0.53737 | 4.6857 | 5.4146 | 4.8057 | 5.5776 | 4.7433 | 5.5259 | 4.721 | 5.4774 | 120.0738 | 16015.2667 | 97.318 | 701346.4567 | 99.8005 | 325419.2233 | 118.8992 | 125391.7667 | 113.7346 | 148668.7167 | 95.1856 | 804754.9967 | 100.9145 | 428681.04 | 94.627 | 502775.0767 | 97.6437 | 300730.0433
| FALSE | 014_QC2.d | 2022-11-04 17:18 | QC2 |  | qc 2 | 1 | 10.5646 | 7.2156 | 9.714 | 9.4142 | 11.251 | 11.4248 | 10.9031 | 9.5895 | 11.0697 | 0.8761 | 1.0642 | 0.88496 | 1.0706 | 8.7343 | 10.4304 | 9.0526 | 10.7827 | 8.901 | 10.6939 | 8.9407 | 10.6398 | 128.1139 | 17087.6533 | 100.5409 | 724572.88 | 98.8083 | 322183.96 | 124.5975 | 131401.19 | 118.1323 | 154417.13 | 95.3104 | 805809.71 | 103.318 | 438890.88 | 93.8982 | 498902.8033 | 99.1576 | 305392.77
| FALSE | 015_QC3.d | 2022-11-04 17:22 | QC3 |  | qc 3 | 1 | 53.1334 | 36.3105 | 50.8754 | 53.1745 | 57.1594 | 57.502 | 55.3744 | 55.3542 | 55.5853 | 4.9274 | 5.6235 | 4.9709 | 5.5147 | 47.7174 | 52.1558 | 49.4162 | 54.0508 | 48.7084 | 53.3499 | 49.7509 | 54.3407 | 122.9184 | 16394.6833 | 92.0786 | 663587.1167 | 101.9149 | 332313.66 | 118.2223 | 124677.8767 | 112.3236 | 146824.31 | 88.2233 | 745890.9533 | 101.2358 | 430046.0933 | 87.6166 | 465527.0633 | 96.3039 | 296603.7767
| FALSE | 016SMPL.d | 2022-11-04 17:25 | Sample |  | blk | 1 | 0.029746 | 0.062044 | 0.026614 | 0.062784 | 0.0062287 | 0.0081762 | 0.03212 | 0.097638 | 0.037212 | 0.088457 | 0.059849 | 0.086779 | 0.067098 | 0.075948 | 0.014334 | 0.080357 | 0.012235 | 0.074703 | 0.014238 | 0.089701 | 0.035434 | 122.2264 | 16302.38 | 89.9945 | 648567.83 | 118.9889 | 387986.6367 | 122.25 | 128925.4967 | 115.2859 | 150696.5 | 79.7705 | 674426.17 | 100.9408 | 428792.77 | 78.4601 | 416876.4133 | 98.2493 | 302595.41
| FALSE | 017SMPL.d | 2022-11-04 17:29 | Sample |  | blk | 1 | 0.010785 | 0.027782 | <0.000 | 0.0040085 | 0.0035814 | 0.0045011 | 0.017267 | 0.017543 | 0.01275 | 0.040317 | 0.028885 | 0.028081 | 0.034462 | 0.0081093 | 0.010428 | 0.0035808 | 0.0041458 | 0.0057408 | 0.0084386 | 0.016556 | 0.020518 | 94.6797 | 12628.2433 | 96.6622 | 696619.9633 | 88.5955 | 288883.0967 | 94.9837 | 100170.36 | 94.4325 | 123437.92 | 101.3337 | 856733.8967 | 93.0173 | 395133.8067 | 105.4959 | 560524.0233 | 94.9784 | 292521.2933
| FALSE | 018SMPL.d | 2022-11-04 17:33 | Sample |  | 171184-1 | 1 | 0.095184 | 0.02027 | <0.000 | 0.0032895 | 0.0033279 | 0.0036199 | 0.076177 | 0.086361 | 0.075416 | 0.068946 | 0.043172 | 0.05668 | 0.053713 | 0.069518 | 0.070635 | 0.070503 | 0.077962 | 0.071254 | 0.073274 | 0.0035601 | 0.0055885 | 117.4809 | 15669.4367 | 89.3972 | 644263.22 | 89.3366 | 291299.4667 | 115.6939 | 122011.4533 | 109.2102 | 142754.5633 | 83.5786 | 706622.2033 | 97.4407 | 413924.28 | 82.6939 | 439371.6633 | 95.2316 | 293301.1233
| FALSE | 019SMPL.d | 2022-11-04 17:37 | Sample |  | 171174-1 mj | 5 | 2.0911 | 0.075523 | <0.000 | 0.58673 | 0.8405 | 0.98999 | 0.41244 | 0.39673 | 0.46229 | 8.2981 | 11.1824 | 8.4949 | 11.1202 | 1.3368 | 1.7303 | 1.4232 | 1.7403 | 1.3781 | 1.7273 | 0.16414 | 0.20039 | 92.5867 | 12349.08 | 88.1495 | 635271.14 | 118.9669 | 387915.04 | 93.7853 | 98906.4533 | 91.4526 | 119542.6967 | 95.4037 | 806598.5367 | 94.8768 | 403033.29 | 99.29 | 527550.3767 | 93.9099 | 289230.5467
| FALSE | 020SMPL.d | 2022-11-04 17:41 | Sample |  | 171177-1 | 1 | 0.83348 | 0.024731 | <0.000 | 0.35831 | 0.43376 | 0.47239 | 0.11132 | 0.09527 | 0.11454 | 0.051036 | 0.058583 | 0.052138 | 0.061927 | 1.0968 | 1.347 | 1.1529 | 1.374 | 1.1193 | 1.3666 | 0.24114 | 0.29909 | 91.3196 | 12180.08 | 90.1129 | 649421.1667 | 89.6007 | 292160.5533 | 97.4256 | 102745.6133 | 89.5791 | 117093.7767 | 92.3282 | 780596.1967 | 92.0409 | 390986.1733 | 92.248 | 490134.6033 | 88.9248 | 273876.99
| FALSE | 021SMPL.d | 2022-11-04 17:45 | Sample |  | 171177-2 | 1 | 0.70288 | 0.028736 | 0.011945 | 0.3583 | 0.43433 | 0.43975 | 0.13333 | 0.12245 | 0.13286 | 0.043647 | 0.032001 | 0.030356 | 0.033505 | 0.95669 | 1.112 | 0.97272 | 1.1836 | 0.96139 | 1.1503 | 0.22965 | 0.27726 | 112.8522 | 15052.07 | 96.5207 | 695600.5433 | 111.3884 | 363203.7867 | 118.5736 | 125048.41 | 103.6496 | 135486.0633 | 94.4141 | 798231.64 | 96.5163 | 409997.7767 | 91.4283 | 485779.6533 | 89.1517 | 274575.8633
| FALSE | 022SMPL.d | 2022-11-04 17:48 | Sample |  | 171185-1 | 1 | 0.026391 | 0.011462 | <0.000 | 0.0031113 | 0.005701 | 0.0052958 | 0.12046 | 0.099058 | 0.11759 | <0.000 | <0.000 | <0.000 | <0.000 | 0.31613 | 0.37489 | 0.32527 | 0.39359 | 0.3205 | 0.37913 | 0.003727 | 0.0062593 | 91.3028 | 12177.8367 | 89.9686 | 648380.9833 | 86.4646 | 281934.8967 | 93.067 | 98148.9467 | 92.7357 | 121219.8333 | 94.8294 | 801743.0367 | 94.952 | 403352.39 | 96.7059 | 513820.52 | 95.8872 | 295320.3867
| FALSE | 023SMPL.d | 2022-11-04 17:52 | Sample |  | 171189-1 | 1 | 1.5948 | 0.0059395 | <0.000 | 0.061642 | 0.083957 | 0.087312 | 0.14401 | 0.13296 | 0.14201 | <0.000 | <0.000 | <0.000 | <0.000 | 0.066098 | 0.077284 | 0.064131 | 0.084509 | 0.066151 | 0.082394 | 0.024566 | 0.030748 | 91.7701 | 12240.1633 | 87.0654 | 627458.17 | 86.0789 | 280677.1933 | 93.3641 | 98462.3267 | 93.2554 | 121899.2033 | 95.654 | 808714.96 | 95.5519 | 405901.0633 | 99.5712 | 529044.6233 | 96.8779 | 298371.4467
| FALSE | 024SMPL.d | 2022-11-04 17:56 | Sample |  | 171181-1 | 1 | 0.47675 | 0.012138 | <0.000 | 0.0079747 | 0.0011383 | 0.0012238 | 0.056612 | 0.061126 | 0.064537 | <0.000 | <0.000 | <0.000 | <0.000 | 0.00094395 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 1.8922 | 2.2653 | 112.8522 | 15052.06 | 90.6966 | 653627.55 | 125.9447 | 410667.4733 | 110.5071 | 116541.4567 | 106.1584 | 138765.4033 | 92.4803 | 781882.41 | 96.9939 | 412026.3267 | 92.7933 | 493032.31 | 93.3325 | 287452.3467
| FALSE | 025SMPL.d | 2022-11-04 18:00 | Sample |  | 171187-1 | 1 | 0.04884 | 0.00576 | <0.000 | 0.0013552 | 0.0012692 | 0.010505 | 0.05995 | 0.068798 | 0.06771 | <0.000 | <0.000 | <0.000 | <0.000 | 0.071839 | 0.079244 | 0.067566 | 0.084235 | 0.069767 | 0.082455 | 0.0033237 | 0.0036953 | 91.4863 | 12202.31 | 84.2771 | 607363.6167 | 83.382 | 271883.48 | 90.4665 | 95406.5067 | 89.8257 | 117416.1067 | 93.2835 | 788673.3533 | 93.1977 | 395900.3967 | 95.9568 | 509840.6567 | 92.4666 | 284785.2
| FALSE | 026SMPL.d | 2022-11-04 18:04 | Sample |  | 171186-1 | 1 | 1.1583 | 0.16907 | 0.22006 | 0.0038357 | 0.0042316 | 0.0035261 | 0.072423 | 0.072839 | 0.077172 | <0.000 | <0.000 | <0.000 | <0.000 | 0.2737 | 0.29096 | 0.26616 | 0.29488 | 0.26458 | 0.28999 | 0.17888 | 0.20222 | 143.3191 | 19115.6933 | 107.2327 | 772799.0233 | 126.325 | 411907.58 | 138.8909 | 146475.1633 | 127.0537 | 166078.8 | 83.9443 | 709713.94 | 102.3218 | 434659.2667 | 75.5416 | 401369.8033 | 92.1034 | 283666.6733
| FALSE | 027SMPL.d | 2022-11-04 18:08 | Sample |  | 171188-1 | 1 | 0.30613 | 0.021736 | 0.081931 | 0.0028842 | 0.0046723 | 0.030637 | 1.3343 | 1.1074 | 1.3013 | <0.000 | <0.000 | <0.000 | <0.000 | 3.3537 | 3.8775 | 3.3643 | 3.8947 | 3.3363 | 3.877 | 0.0023377 | 0.0037469 | 188.1254 | 25091.89 | 111.6609 | 804711.69 | 137.8241 | 449402.73 | 151.0661 | 159315.1467 | 124.318 | 162502.8967 | 78.7847 | 666091.82 | 100.9828 | 428971.0033 | 68.4122 | 363489.7067 | 88.6793 | 273120.81
| FALSE | 028SMPL.d | 2022-11-04 18:11 | Sample |  | 171176-1 | 1 | 0.095134 | 0.33986 | 0.46732 | 0.0052893 | 0.0035188 | 0.0052701 | 0.07142 | 0.060279 | 0.070307 | <0.000 | <0.000 | <0.000 | <0.000 | 0.10055 | 0.12262 | 0.10401 | 0.11956 | 0.10104 | 0.11999 | 0.35822 | 0.42994 | 142.0517 | 18946.65 | 104.6734 | 754354.7633 | 128.6108 | 419360.79 | 139.874 | 147511.95 | 126.7581 | 165692.48 | 81.6611 | 690410.9433 | 102.7194 | 436347.9933 | 72.0609 | 382876.1867 | 91.2691 | 281097.2633
| FALSE | 029SMPL.d | 2022-11-04 18:15 | Sample |  | 171198-1 | 1 | 1.7717 | 0.028801 | 0.051309 | 0.0055537 | 0.0042979 | 0.024453 | 0.58079 | 0.48962 | 0.58638 | <0.000 | <0.000 | <0.000 | <0.000 | 0.96937 | 1.1374 | 1.0123 | 1.189 | 0.98947 | 1.1704 | 0.003845 | 0.0058788 | 144.2171 | 19235.47 | 104.3164 | 751782.1233 | 169.8617 | 553867.4467 | 141.6193 | 149352.4867 | 127.954 | 167255.63 | 80.8114 | 683226.82 | 103.3451 | 439006.01 | 89.0873 | 473341.3467 | 114.0639 | 351302.29
| FALSE | 030SMPL.d | 2022-11-04 18:19 | Sample |  | 171196-1 | 1 | 0.080069 | 0.31345 | 0.50084 | 0.005082 | 0.0052559 | 0.0060564 | 0.079069 | 0.068946 | 0.078674 | <0.000 | <0.000 | <0.000 | <0.000 | 0.12799 | 0.14144 | 0.115 | 0.13515 | 0.12244 | 0.13863 | 0.3233 | 0.36865 | 142.66 | 19027.7833 | 104.4068 | 752433.81 | 127.0838 | 414381.6 | 138.6136 | 146182.6767 | 126.659 | 165562.9433 | 80.7009 | 682292.5067 | 101.8572 | 432685.6367 | 72.0132 | 382622.7133 | 90.7426 | 279475.5133
| FALSE | 031SMPL.d | 2022-11-04 18:23 | Sample |  | 171199-1 | 1 | 0.27396 | 0.09596 | 0.33264 | 0.002748 | 0.0015902 | 0.0013721 | 0.083442 | 0.066637 | 0.088516 | 0.020819 | <0.000 | 0.0086063 | <0.000 | 0.062443 | 0.075508 | 0.059402 | 0.068302 | 0.060006 | 0.07374 | 0.028069 | 0.034585 | 135.3284 | 18049.9067 | 100.4034 | 723582.0533 | 125.2363 | 408357.5767 | 132.4378 | 139669.6267 | 116.2489 | 151955.2867 | 75.2315 | 636051.3567 | 91.2019 | 387422.4433 | 63.1903 | 335744.5633 | 77.4059 | 238400.3367
| FALSE | 032SMPL.d | 2022-11-04 18:27 | Sample |  | 171199-2 | 1 | 0.41154 | 0.073045 | 0.24798 | 0.010898 | 0.010737 | 0.0087114 | 0.10324 | 0.090178 | 0.10466 | 0.0025812 | <0.000 | 0.0038672 | <0.000 | 0.065673 | 0.068837 | 0.058869 | 0.064193 | 0.061889 | 0.068429 | 0.18177 | 0.21602 | 130.473 | 17402.3067 | 94.0953 | 678120.8133 | 114.8551 | 374507.5867 | 130.9293 | 138078.7967 | 110.6535 | 144641.2133 | 69.1703 | 584805.96 | 88.419 | 375600.47 | 55.3014 | 293829.1033 | 70.5064 | 217150.7967
| FALSE | 033SMPL.d | 2022-11-04 18:31 | Sample |  | 171199-3 | 1 | 0.19637 | 0.049653 | 0.21851 | 0.0037959 | 0.004398 | 0.0012914 | 0.090018 | 0.068476 | 0.08544 | 0.021967 | <0.000 | 0.0090377 | <0.000 | 0.019376 | 0.022603 | 0.015483 | 0.013141 | 0.017667 | 0.018566 | 0.0064723 | 0.0090379 | 136.4869 | 18204.4333 | 99.0641 | 713929.77 | 124.5121 | 405996.2033 | 135.2714 | 142658.0067 | 117.5899 | 153708.1733 | 73.1312 | 618293.8067 | 93.4691 | 397053.3167 | 60.3495 | 320650.8433 | 78.4282 | 241548.7933
| FALSE | 034SMPL.d | 2022-11-04 18:34 | Sample |  | 171199-4 | 1 | 0.19384 | 0.039751 | 0.23657 | 0.0019333 | 0.0021258 | 0.00060038 | 0.040793 | 0.036124 | 0.045752 | 0.041477 | 0.032983 | 0.043798 | 0.038686 | 0.2485 | 0.27969 | 0.23069 | 0.26346 | 0.23714 | 0.27125 | 0.0083842 | 0.0122 | 134.3438 | 17918.59 | 95.4311 | 687748.1933 | 117.8715 | 384343.29 | 129.6185 | 136696.3967 | 114.7255 | 149963.9433 | 72.0168 | 608871.8267 | 92.4145 | 392573.2467 | 60.1313 | 319491.48 | 77.6766 | 239234.04
| FALSE | 035SMPL.d | 2022-11-04 18:38 | Sample |  | 171199-5 | 1 | 0.76844 | 0.062094 | 0.20535 | 0.0019889 | 0.0017418 | <0.000 | 0.046008 | 0.041136 | 0.04737 | 0.013654 | <0.000 | 0.00010693 | <0.000 | 0.019039 | 0.018787 | 0.014537 | 0.01274 | 0.016544 | 0.015311 | 0.067346 | 0.082213 | 132.0579 | 17613.7 | 96.0352 | 692101.7267 | 118.6326 | 386824.9267 | 130.3257 | 137442.2267 | 114.3389 | 149458.6167 | 72.1533 | 610026.2267 | 92.1865 | 391604.6867 | 60.2006 | 319859.4167 | 77.6213 | 239063.7067
| FALSE | 036_QC2.d | 2022-11-04 18:42 | QC2 |  | qc 2 | 1 | 10.581 | 7.7416 | 10.5584 | 8.7163 | 10.4706 | 10.3107 | 10.4981 | 8.6437 | 10.4525 | 0.40991 | 0.57034 | 0.4037 | 0.5792 | 8.863 | 10.3851 | 9.0985 | 10.6526 | 8.9889 | 10.5797 | 8.3616 | 9.9478 | 139.8823 | 18657.3067 | 100.6373 | 725267.9767 | 124.0752 | 404571.7433 | 135.7626 | 143176.0267 | 124.4429 | 162666.1633 | 76.6018 | 647636.46 | 98.8032 | 419712.4733 | 69.0851 | 367065.04 | 90.2785 | 278046.42
| FALSE | 037SMPL.d | 2022-11-04 18:46 | Sample |  | blk | 1 | 0.021452 | 0.041808 | 0.046048 | 0.0091652 | 0.0050032 | 0.0046403 | 0.01976 | 0.023498 | 0.020211 | 0.024928 | <0.000 | 0.02701 | <0.000 | 0.02338 | 0.016224 | 0.020559 | 0.012908 | 0.019994 | 0.012977 | 0.028003 | 0.024429 | 125.5023 | 16739.3167 | 94.3661 | 680072.4933 | 121.9006 | 397480.78 | 122.0163 | 128679.0533 | 115.4287 | 150883.2133 | 73.1208 | 618205.5433 | 97.5954 | 414581.5867 | 66.6346 | 354044.9433 | 91.7509 | 282581.0733
| FALSE | 038SMPL.d | 2022-11-04 18:50 | Sample |  | 171199-6 | 1 | 0.668 | 0.052352 | 0.097358 | 0.0032442 | 0.0062071 | 0.0020207 | 0.058783 | 0.051756 | 0.066037 | 0.15218 | 0.033096 | 0.154 | 0.043717 | 0.0596 | 0.067234 | 0.051712 | 0.064082 | 0.055876 | 0.067141 | 0.071133 | 0.089196 | 103.7523 | 13838.3267 | 95.3908 | 687457.3333 | 100.5693 | 327926.0167 | 105.1193 | 110859.45 | 97.0741 | 126890.83 | 85.7026 | 724580.1467 | 91.3697 | 388135.2367 | 76.4808 | 406360.0333 | 81.7232 | 251697.1467
| FALSE | 039SMPL.d | 2022-11-04 18:54 | Sample |  | 171199-7 | 1 | 0.44687 | 0.041572 | <0.000 | 0.0030855 | 0.0077276 | 0.0026409 | 0.113 | 0.09649 | 0.11058 | 0.035194 | 0.013536 | 0.024476 | 0.020305 | 0.26284 | 0.31753 | 0.2548 | 0.30984 | 0.25786 | 0.31277 | 0.054157 | 0.069494 | 97.5649 | 13013.07 | 88.2139 | 635735.6467 | 112.9297 | 368229.5667 | 98.1575 | 103517.42 | 93.7896 | 122597.5533 | 87.7335 | 741750.0367 | 89.9862 | 382257.8967 | 81.2781 | 431849.21 | 81.5357 | 251119.6867
| FALSE | 040SMPL.d | 2022-11-04 18:57 | Sample |  | 171199-8 | 1 | 0.56705 | 0.041514 | 0.1245 | 0.16901 | 0.23261 | 0.22824 | 0.092456 | 0.07888 | 0.095988 | 0.011962 | 0.0014665 | 0.010141 | 0.0020766 | 0.031426 | 0.031665 | 0.027373 | 0.029067 | 0.029995 | 0.033501 | 0.068445 | 0.083231 | 98.6911 | 13163.2767 | 88.4594 | 637504.4733 | 100.1234 | 326472.0733 | 98.6826 | 104071.2733 | 92.2326 | 120562.2633 | 84.2385 | 712201.4667 | 88.9573 | 377887.0933 | 76.2449 | 405106.5867 | 80.2402 | 247129.44
| FALSE | 041SMPL.d | 2022-11-04 19:01 | Sample |  | 171199-9 | 1 | 0.26009 | 0.039291 | 0.027394 | 0.0013849 | <0.000 | 0.0016429 | 0.088286 | 0.074355 | 0.09431 | <0.000 | <0.000 | <0.000 | <0.000 | 0.011184 | 0.014581 | 0.0083547 | 0.011967 | 0.010683 | 0.012319 | 0.021566 | 0.026173 | 138.3225 | 18449.2567 | 101.3524 | 730421.0633 | 123.4426 | 402508.9133 | 133.4477 | 140734.6667 | 118.3855 | 154748.16 | 77.2045 | 652731.5933 | 96.5285 | 410049.3833 | 64.3117 | 341702.6367 | 81.7125 | 251664.13
| FALSE | 042SMPL.d | 2022-11-04 19:05 | Sample |  | 171199-10 | 1 | 0.91506 | 0.049939 | 0.098232 | 0.014096 | 0.015243 | 0.025001 | 0.10262 | 0.097671 | 0.10754 | 0.055128 | 0.036168 | 0.047101 | 0.038983 | 0.27011 | 0.27446 | 0.26037 | 0.26568 | 0.26327 | 0.27584 | 0.053845 | 0.057227 | 94.9637 | 12666.1167 | 90.9262 | 655282.14 | 98.3296 | 320623.08 | 104.6934 | 110410.1967 | 91.566 | 119690.9767 | 78.3114 | 662090.6 | 92.9164 | 394705.5067 | 70.0357 | 372115.7167 | 83.2064 | 256265.0633
| FALSE | 043SMPL.d | 2022-11-04 19:09 | Sample |  | 171199-11 | 1 | 0.30712 | 0.036421 | 0.048057 | 0.0060172 | 0.010068 | 0.0085388 | 0.08659 | 0.077984 | 0.088449 | 0.02102 | 0.027479 | 0.019284 | 0.024791 | 0.059921 | 0.078505 | 0.061872 | 0.078385 | 0.058402 | 0.079543 | 0.031828 | 0.042804 | 105.0037 | 14005.2433 | 91.3898 | 658623.5333 | 83.9182 | 273631.65 | 103.8273 | 109496.8467 | 97.5354 | 127493.8233 | 95.9479 | 811199.45 | 92.9764 | 394960.3733 | 88.8485 | 472072.5767 | 82.9792 | 255565.4667
| FALSE | 044SMPL.d | 2022-11-04 19:13 | Sample |  | 171199-12 | 1 | 1.816 | 0.15666 | 0.31573 | 0.18574 | 0.089425 | 0.078657 | 0.18088 | 0.2981 | 0.19669 | 0.038315 | <0.000 | 0.015156 | <0.000 | 0.75221 | 0.90968 | 0.71842 | 0.8466 | 0.72223 | 0.88103 | 2.6052 | 3.1864 | 52.997 | 7068.66 | 52.5238 | 378525.58 | 51.0503 | 166459.6433 | 60.86 | 64183.2467 | 53.3604 | 69750.32 | 42.1862 | 356666.5267 | 49.4923 | 210241.52 | 31.9665 | 169845.21 | 39.2069 | 120752.2367
| FALSE | 045SMPL.d | 2022-11-04 19:17 | Sample |  | 171199-13 | 1 | 0.6999 | 0.13077 | 0.18614 | 0.0067641 | 0.0041776 | 0.0085427 | 0.13163 | 0.11279 | 0.13013 | <0.000 | <0.000 | <0.000 | <0.000 | 0.069605 | 0.082128 | 0.064816 | 0.071722 | 0.067882 | 0.076421 | 0.50121 | 0.6107 | 98.1986 | 13097.5833 | 95.7209 | 689836.4967 | 109.4875 | 357005.4667 | 101.4561 | 106996.1567 | 95.5396 | 124885.0133 | 89.6505 | 757957.4733 | 93.5379 | 397345.5967 | 79.2039 | 420828.3233 | 83.633 | 257579.0867
| FALSE | 046SMPL.d | 2022-11-04 19:20 | Sample |  | 171199-14 | 1 | 1.9177 | 0.12355 | 0.43046 | 0.16245 | 0.092288 | 0.093541 | 0.26682 | 0.37369 | 0.27821 | 0.066984 | 0.013777 | 0.035629 | 0.010587 | 0.13004 | 0.13326 | 0.13025 | 0.12766 | 0.12628 | 0.13123 | 2.7506 | 3.3913 | 55.9309 | 7459.98 | 52.7284 | 380000.4367 | 50.3748 | 164256.9933 | 62.7552 | 66182.0233 | 54.4762 | 71208.8667 | 40.4636 | 342103.0767 | 49.0865 | 208517.7933 | 29.2503 | 155413.3233 | 37.802 | 116425.2967
| FALSE | 047SMPL.d | 2022-11-04 19:24 | Sample |  | 171143-4 pb | 1 | 0.22297 | 0.047418 | 0.14467 | 0.0161 | 0.018506 | 0.024446 | 0.1659 | 0.13647 | 0.15946 | <0.000 | <0.000 | <0.000 | <0.000 | 0.60056 | 0.72157 | 0.61635 | 0.73688 | 0.60686 | 0.72161 | 0.0071452 | 0.0077147 | 113.9599 | 15199.8033 | 103.386 | 745077.1167 | 103.5954 | 337793.03 | 114.5026 | 120755.11 | 111.7875 | 146123.5233 | 93.3624 | 789340.4067 | 101.898 | 432858.73 | 85.1077 | 452196.69 | 94.3655 | 290633.8033
| FALSE | 048_QC2.d | 2022-11-04 19:28 | QC2 |  | qc 2 | 1 | 10.4254 | 7.1906 | 9.8353 | 10.1208 | 11.6099 | 11.6513 | 11.1333 | 10.4084 | 11.2854 | 0.50691 | 0.76002 | 0.51994 | 0.7581 | 9.506 | 10.5346 | 9.7442 | 10.8819 | 9.625 | 10.7307 | 8.8891 | 9.9375 | 115.9943 | 15471.16 | 92.6171 | 667467.7667 | 103.1777 | 336431.2233 | 114.7775 | 121045.0333 | 111.568 | 145836.6333 | 91.5689 | 774176.9167 | 100.2114 | 425694.4633 | 87.3986 | 464368.7367 | 94.621 | 291420.72
| FALSE | 049SMPL.d | 2022-11-04 19:32 | Sample |  | blk | 1 | 0.023811 | 0.047491 | 0.071745 | 0.0038822 | 0.0062335 | 0.0041718 | 0.020216 | 0.017712 | 0.020307 | 0.034144 | <0.000 | 0.018607 | <0.000 | 0.018479 | 0.016204 | 0.013064 | 0.019947 | 0.017281 | 0.018873 | 0.024794 | 0.027196 | 115.4354 | 15396.6133 | 100.2437 | 722430.79 | 105.1523 | 342869.76 | 115.5931 | 121905.17 | 111.7709 | 146101.9033 | 98.1312 | 829658.5567 | 101.04 | 429214.1167 | 93.2379 | 495394.2633 | 94.8985 | 292275.3233
| FALSE | 050SMPL.d | 2022-11-04 19:36 | Sample |  | 171159-1 | 1 | 0.056366 | 0.054139 | 0.0032042 | 0.0012595 | 0.00082053 | 0.0021984 | 0.073134 | 0.063618 | 0.07472 | <0.000 | <0.000 | <0.000 | <0.000 | 0.76186 | 0.90761 | 0.76707 | 0.93171 | 0.75735 | 0.90786 | 0.00034651 | 0.0020831 | 106.0205 | 14140.8667 | 100.5468 | 724615.77 | 96.719 | 315371.44 | 105.1893 | 110933.2033 | 103.4788 | 135262.7433 | 96.7136 | 817673.02 | 97.0237 | 412152.8533 | 92.1183 | 489445.9033 | 94.2298 | 290215.7267
| FALSE | 051SMPL.d | 2022-11-04 19:40 | Sample |  | 171167-1 | 1 | 0.11396 | 0.08431 | 0.011025 | 0.17466 | 0.21903 | 0.20467 | 0.12705 | 0.11938 | 0.12836 | <0.000 | <0.000 | <0.000 | <0.000 | 1.2754 | 1.5312 | 1.2493 | 1.4745 | 1.2588 | 1.5085 | 0.0039861 | 0.0066542 | 102.718 | 13700.3833 | 101.5111 | 731564.8267 | 96.2472 | 313832.8533 | 103.1263 | 108757.5967 | 99.6536 | 130262.6233 | 102.217 | 864202.4967 | 96.1124 | 408281.87 | 98.4143 | 522897.8767 | 90.8679 | 279861.5233
| FALSE | 052SMPL.d | 2022-11-04 19:43 | Sample |  | 171165-2 | 5 | 2.1408 | 0.80951 | 1.5546 | 0.10145 | 0.15675 | 0.26544 | 1.0291 | 0.95475 | 1.1156 | <0.000 | <0.000 | <0.000 | <0.000 | 86.0535 | 101.1926 | 87.0717 | 102.1512 | 86.3326 | 101.7471 | 0.16071 | 0.20204 | 99.4413 | 13263.3367 | 98.5405 | 710156.7267 | 99.7095 | 325122.6033 | 111.0561 | 117120.4167 | 98.4538 | 128694.3067 | 92.9334 | 785713.27 | 95.7249 | 406635.6467 | 88.3755 | 469559.1767 | 89.5826 | 275903.02
| FALSE | 053SMPL.d | 2022-11-04 19:47 | Sample |  | 171168-1 | 5 | 0.43323 | 0.18738 | <0.000 | 0.07227 | 0.092932 | 0.098915 | 0.34248 | 0.30897 | 0.3659 | <0.000 | <0.000 | <0.000 | <0.000 | 3.0926 | 3.7266 | 3.0925 | 3.6699 | 3.0868 | 3.6983 | 0.0025911 | 0.013816 | 96.6892 | 12896.2633 | 89.3693 | 644062.29 | 89.6108 | 292193.72 | 99.1185 | 104530.9067 | 96.6568 | 126345.4133 | 92.9662 | 785990.3633 | 93.6376 | 397768.9167 | 90.6561 | 481676.7733 | 89.0909 | 274388.6333
| FALSE | 054SMPL.d | 2022-11-04 19:51 | Sample |  | 171158-1 | 5 | 5.7371 | 0.24123 | 0.30342 | 0.027745 | 0.02213 | 0.014472 | 0.6353 | 0.55476 | 0.65674 | <0.000 | <0.000 | <0.000 | <0.000 | 1.6432 | 1.8605 | 1.5854 | 2.0047 | 1.6308 | 1.9455 | 0.030193 | 0.041053 | 105.0532 | 14011.84 | 85.4069 | 615506.2 | 68.2139 | 222424.8933 | 97.3957 | 102714.05 | 95.9057 | 125363.5933 | 89.5224 | 756874.75 | 93.3528 | 396559.39 | 87.8117 | 466563.9233 | 88.7926 | 273469.77
| FALSE | 055SMPL.d | 2022-11-04 19:55 | Sample |  | 171160 As | 1 | 17.236 | 0.034057 | 0.077467 | 0.0048255 | 0.0064359 | 0.0041708 | 0.084094 | 0.078681 | 0.078906 | 0.009976 | 0.0096257 | 0.0065607 | 0.010808 | 0.15201 | 0.16711 | 0.15158 | 0.1572 | 0.15137 | 0.16304 | 0.11103 | 0.12115 | 94.3128 | 12579.3067 | 78.5194 | 565869.3933 | 87.8636 | 286496.69 | 96.444 | 101710.39 | 93.0489 | 121629.32 | 82.6319 | 698618.2933 | 92.0742 | 391127.9467 | 81.1503 | 431169.9833 | 86.8567 | 267507.5133
| FALSE | 056SMPL.d | 2022-11-04 19:59 | Sample |  | 171169-1 | 1 | 0.47672 | 0.026695 | <0.000 | 0.0032374 | 0.0020159 | 0.00088742 | 0.037008 | 0.033803 | 0.047747 | <0.000 | <0.000 | <0.000 | <0.000 | 0.047077 | 0.059195 | 0.042887 | 0.053363 | 0.044872 | 0.056943 | <0.000 | 0.00085709 | 100.0329 | 13342.2467 | 86.047 | 620118.8733 | 87.1275 | 284096.3033 | 97.0026 | 102299.4333 | 94.6173 | 123679.38 | 90.8165 | 767815.8567 | 92.1112 | 391284.8433 | 88.1216 | 468210.37 | 86.8367 | 267446.0667
| FALSE | 057SMPL.d | 2022-11-04 20:03 | Sample |  | 171163-1 | 1 | 1.836 | 0.051449 | <0.000 | 0.0046369 | 0.0061459 | 0.0074621 | 0.073512 | 0.068592 | 0.082366 | <0.000 | <0.000 | <0.000 | <0.000 | 0.38856 | 0.48259 | 0.39273 | 0.46595 | 0.3867 | 0.47722 | 2.5836 | 3.166 | 94.1132 | 12552.68 | 91.8934 | 662252.94 | 86.286 | 281352.5267 | 94.0526 | 99188.35 | 92.9881 | 121549.81 | 97.849 | 827272.6067 | 92.0081 | 390846.9867 | 96.3242 | 511792.5 | 88.1528 | 271499.2867
| FALSE | 058SMPL.d | 2022-11-04 20:06 | Sample |  | 171170-1 | 1 | 0.29727 | 0.051694 | 0.078103 | 0.0062052 | 0.0079202 | 0.008828 | 0.29656 | 0.26852 | 0.29483 | <0.000 | <0.000 | <0.000 | <0.000 | 0.58484 | 0.69781 | 0.58341 | 0.70078 | 0.5871 | 0.70114 | 0.62632 | 0.74852 | 92.7872 | 12375.8233 | 87.6169 | 631433.29 | 87.6766 | 285886.91 | 96.2656 | 101522.2767 | 93.1883 | 121811.4667 | 91.2367 | 771367.9467 | 92.3658 | 392366.6467 | 88.6272 | 470896.4367 | 86.8751 | 267564.1367
| FALSE | 059SMPL.d | 2022-11-04 20:10 | Sample |  | 171164-1 | 1 | 0.23958 | 0.025268 | <0.000 | 0.039862 | 0.044504 | 0.053932 | 0.072894 | 0.076283 | 0.095498 | <0.000 | <0.000 | <0.000 | <0.000 | 0.36467 | 0.43496 | 0.37015 | 0.43001 | 0.36378 | 0.43589 | 0.090571 | 0.10873 | 93.5795 | 12481.5 | 85.1917 | 613954.9967 | 85.0187 | 277220.14 | 94.5914 | 99756.65 | 92.8984 | 121432.5 | 91.2593 | 771559.3467 | 92.185 | 391598.3067 | 89.0469 | 473126.45 | 87.2521 | 268725.2033
| FALSE | 060_QC2.d | 2022-11-04 20:14 | QC2 |  | qc 2 | 1 | 10.252 | 7.1518 | 9.2004 | 9.9043 | 12.0699 | 12.1823 | 11.511 | 10.3418 | 11.5707 | 0.65491 | 0.89971 | 0.6574 | 0.88971 | 9.0261 | 10.5034 | 9.3109 | 10.7764 | 9.1667 | 10.7232 | 8.5688 | 9.9479 | 95.0882 | 12682.7233 | 91.6984 | 660847.16 | 88.7909 | 289520.05 | 97.2761 | 102587.88 | 95.9256 | 125389.6333 | 97.3009 | 822638.6033 | 93.9397 | 399052.15 | 96.932 | 515022.18 | 91.5169 | 281860.5233
| FALSE | 061SMPL.d | 2022-11-04 20:18 | Sample |  | blk | 1 | 0.016966 | 0.04371 | <0.000 | 0.0048548 | 0.0040022 | 0.0033772 | 0.015962 | 0.018845 | 0.016994 | 0.014226 | 0.0054098 | 0.0044845 | 0.0062785 | 0.010682 | 0.010408 | 0.0030984 | 0.007285 | 0.0077742 | 0.0098406 | 0.025528 | 0.028541 | 95.3639 | 12719.5 | 97.388 | 701850.5 | 84.0509 | 274064.4067 | 96.2284 | 101483.04 | 95.6095 | 124976.3567 | 102.2401 | 864397.4533 | 93.5902 | 397567.5233 | 101.0178 | 536730.8467 | 90.8617 | 279842.4467
| FALSE | 062SMPL.d | 2022-11-04 20:22 | Sample |  | 171176-3 | 1 | 0.89888 | 0.078381 | 0.15138 | 0.024923 | 0.025845 | 0.03181 | 0.3319 | 0.29164 | 0.34677 | 0.0076889 | <0.000 | 0.011139 | 0.0052133 | 0.26347 | 0.30535 | 0.26202 | 0.30659 | 0.25854 | 0.30738 | 0.14998 | 0.18471 | 86.3502 | 11517.27 | 78.3853 | 564902.9233 | 98.4468 | 321005.04 | 90.1907 | 95115.67 | 84.9027 | 110980.94 | 80.1812 | 677898.47 | 83.6527 | 355353.6467 | 71.4772 | 379774.6267 | 71.5531 | 220374.5733
| FALSE | 063SMPL.d | 2022-11-04 20:26 | Sample |  | 171176-4 | 1 | 0.82209 | 0.062698 | 0.034164 | 0.016541 | 0.024831 | 0.020889 | 0.35067 | 0.30646 | 0.35464 | <0.000 | <0.000 | <0.000 | <0.000 | 0.078895 | 0.091992 | 0.078427 | 0.093694 | 0.079196 | 0.096093 | 0.12882 | 0.15304 | 88.3933 | 11789.7667 | 84.4479 | 608594.8 | 81.8565 | 266909.2533 | 91.6967 | 96703.82 | 85.345 | 111559.04 | 83.9105 | 709428.17 | 83.1823 | 353355.3633 | 72.2871 | 384078.1433 | 70.948 | 218510.73
| FALSE | 064SMPL.d | 2022-11-04 20:29 | Sample |  | 171202-1 | 1 | 0.25823 | 0.029084 | <0.000 | 0.0015113 | 0.0010843 | 0.081713 | 0.080666 | 0.08095 | 0.07432 | <0.000 | <0.000 | <0.000 | <0.000 | 5.9402 | 6.8686 | 6.0811 | 7.1116 | 5.9962 | 7.0323 | 0.0099891 | 0.011954 | 99.7828 | 13308.8867 | 89.8218 | 647322.7867 | 86.673 | 282614.49 | 95.6103 | 100831.16 | 89.0516 | 116404.1933 | 91.8846 | 776846.3167 | 88.8555 | 377454.64 | 86.3171 | 458622.4733 | 81.7968 | 251923.61
| FALSE | 065SMPL.d | 2022-11-04 20:33 | Sample |  | 171203-1 | 1 | 0.22634 | 0.023547 | <0.000 | 0.0016683 | 0.0017587 | 0.0025252 | 0.0682 | 0.069829 | 0.067472 | <0.000 | <0.000 | <0.000 | <0.000 | 0.22973 | 0.24514 | 0.22725 | 0.23535 | 0.22818 | 0.23934 | 0.0073643 | 0.0098153 | 186.7137 | 24903.6067 | 74.0857 | 533917.0667 | 83.3594 | 271809.87 | 90.7321 | 95686.63 | 89.0989 | 116465.98 | 79.7697 | 674419.4167 | 89.6315 | 380751.1633 | 78.8211 | 418794.6967 | 85.1457 | 262237.9933
| FALSE | 066SMPL.d | 2022-11-04 20:37 | Sample |  | 171209-1 | 1 | 0.071314 | 0.0042425 | <0.000 | 0.0078451 | 0.011321 | 0.010877 | 0.079089 | 0.068183 | 0.088299 | <0.000 | <0.000 | <0.000 | <0.000 | 0.083444 | 0.091948 | 0.082185 | 0.096735 | 0.079899 | 0.095284 | 0.010817 | 0.01336 | 95.3551 | 12718.33 | 80.1793 | 577831.9533 | 81.6207 | 266140.4133 | 89.3645 | 94244.2767 | 88.3523 | 115490.1433 | 87.1334 | 736676.8133 | 88.6597 | 376622.8767 | 86.0539 | 457224.0267 | 84.4348 | 260048.2833
| FALSE | 067_QC1.d | 2022-11-04 20:41 | QC1 |  | qc 1 | 1 | 5.1148 | 3.3919 | 4.9376 | 4.9605 | 5.9702 | 6.1424 | 5.7977 | 5.2106 | 5.9173 | 0.3519 | 0.47458 | 0.33172 | 0.45848 | 4.6512 | 5.3527 | 4.7897 | 5.4328 | 4.7154 | 5.439 | 4.3585 | 4.9568 | 92.1616 | 12292.38 | 81.021 | 583897.5867 | 84.949 | 276992.8667 | 93.1046 | 98188.6067 | 93.2148 | 121846.1333 | 87.2926 | 738022.4733 | 92.3122 | 392138.82 | 88.4223 | 469807.7933 | 90.0658 | 277391.11
| FALSE | 068_QC2.d | 2022-11-04 20:45 | QC2 |  | qc 2 | 1 | 10.132 | 8.7869 | 8.9889 | 10.3648 | 12.0655 | 12.183 | 11.5726 | 10.8067 | 11.6975 | 0.8156 | 0.94675 | 0.7975 | 0.95132 | 9.5149 | 10.4042 | 9.7247 | 10.7211 | 9.6387 | 10.642 | 9.0829 | 9.8624 | 91.1445 | 12156.7267 | 77.9642 | 561868.0567 | 76.6422 | 249907.0567 | 92.5975 | 97653.8633 | 93.2047 | 121832.8867 | 83.6177 | 706952.5533 | 91.8178 | 390038.5333 | 85.1755 | 452557.2567 | 89.4549 | 275509.63
| FALSE | 069_QC3.d | 2022-11-04 20:48 | QC3 |  | qc 3 | 1 | 49.6228 | 34.303 | 43.0979 | 47.4058 | 58.7656 | 59.3155 | 56.4915 | 51.641 | 56.9513 | 4.3318 | 5.4551 | 4.3588 | 5.3727 | 43.6015 | 51.5476 | 44.8639 | 53.1228 | 44.9339 | 53.3223 | 44.9705 | 53.2309 | 91.2864 | 12175.6433 | 81.5729 | 587875.6433 | 82.8058 | 270004.4933 | 93.2497 | 98341.6133 | 91.6445 | 119793.5633 | 88.2822 | 746389.6233 | 91.401 | 388267.8233 | 88.8454 | 472056.1067 | 87.9608 | 270908.07
| FALSE | 070SMPL.d | 2022-11-04 20:52 | Sample |  | curve 4 | 1 | 49.4279 | 33.8119 | 44.4321 | 47.1395 | 59.1114 | 59.7884 | 56.6034 | 50.5699 | 57.064 | 2.2359 | 2.7863 | 2.2187 | 2.7223 | 44.1937 | 52.1439 | 43.5474 | 51.4192 | 44.71 | 52.6589 | 45.2082 | 53.1117 | 90.3358 | 12048.8633 | 80.1811 | 577845.0567 | 82.2582 | 268219.1133 | 90.512 | 95454.47 | 90.6932 | 118550.0367 | 87.548 | 740181.5433 | 90.6001 | 384865.7267 | 87.1765 | 463188.5667 | 87.0284 | 268036.36

## ValueList_Helper (hidden)
Bkgnd
BlkVrfy
CalBlk
CalStd
CICSpike
DilStd
DriftChk
FQBlk
IsoStd
QC1
QC2
QC3
QC4
QC5
Sample
Spike
Spike Ref
SQBlk
SQISTD
SQStd