## Sheet1
Sample | [7 empty] | 75 As [ He ] | 78 Se [ H2 ] | 78 Se [ He ] | 111 Cd [ No Gas ] | 111 Cd [ He ] | 114 Cd [ He ] | 121 Sb [ He ] | 123 Sb [ No Gas ] | 123 Sb [ He ] | 201 Hg [ No Gas ] | 201 Hg [ He ] | 202 Hg [ No Gas ] | 202 Hg [ He ] | 206 [Pb] [ No Gas ] | 206 [Pb] [ He ] | 207 [Pb] [ No Gas ] | 207 [Pb] [ He ] | 208 Pb [ No Gas ] | 208 Pb [ He ] | 238 U [ No Gas ] | 238 U [ He ] | 72 Ge ( ISTD ) [ He ] |  | 89 Y ( ISTD ) [ No Gas ] |  | 89 Y ( ISTD ) [ H2 ] |  | 89 Y ( ISTD ) [ He ] |  | 115 In ( ISTD ) [ He ] |  | 159 Tb ( ISTD ) [ No Gas ] |  | 159 Tb ( ISTD ) [ He ] |  | 209 Bi ( ISTD ) [ No Gas ] |  | 209 Bi ( ISTD ) [ He ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | Total Dil. | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS
| FALSE | 001SMPL.d | 2022-10-05 10:21 | Sample |  | blk | 1 | [22 empty] | 14259.86 |  | 682313.41 |  | 278775.7133 |  | 114645.2333 |  | 140572.3433 |  | 813701.54 |  | 456330.9633 |  | 507104.9033 |  | 319523.6833
| FALSE | 002SMPL.d | 2022-10-05 10:25 | Sample |  | blk | 1 | [22 empty] | 13695.9433 |  | 718763.9033 |  | 273646.0967 |  | 108403.49 |  | 132480.2933 |  | 846491.6467 |  | 432253.4733 |  | 518855.4333 |  | 304129.7567
| FALSE | 003SMPL.d | 2022-10-05 10:28 | Sample |  | blk | 1 | [22 empty] | 13872.8167 |  | 718359.6733 |  | 271218.9167 |  | 108948.31 |  | 131770.33 |  | 842812.8867 |  | 432446.5 |  | 519494.2167 |  | 305256.1033
| FALSE | 004CALB.d | 2022-10-05 10:32 | CalBlk | 1 | blk | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 13575.8533 | 100 | 712460.8567 | 100 | 267834.9967 | 100 | 109567.3467 | 100 | 133969.4667 | 100 | 839509.43 | 100 | 435212.8667 | 100 | 517132.36 | 100 | 307619.3333
| FALSE | 005CALS.d | 2022-10-05 10:36 | CalStd | 2 | curve 1 | 1 | 0.11398 | 0.10548 | 0.12599 | 0.11293 | 0.11261 | 0.10483 | 0.10779 | 0.10932 | 0.11032 | <0.000 | 0.0070985 | 0.0082858 | 0.0095957 | 0.11382 | 0.10759 | 0.11293 | 0.10211 | 0.11405 | 0.10643 | 0.10878 | 0.096289 | 103.031 | 13987.3433 | 99.3777 | 708027.2133 | 101.0087 | 270536.6933 | 99.028 | 108502.3267 | 98.6767 | 132196.6367 | 98.9578 | 830760.3333 | 98.8602 | 430252.2133 | 99.0198 | 512063.2133 | 98.5601 | 303189.7933
| FALSE | 006CALS.d | 2022-10-05 10:40 | CalStd | 3 | curve 2 | 1 | 1.0031 | 0.98082 | 1.1966 | 1.095 | 1.0707 | 1.055 | 1.0349 | 1.098 | 1.038 | 0.049428 | 0.050806 | 0.052706 | 0.053493 | 1.1046 | 1.0539 | 1.0895 | 1.0349 | 1.1017 | 1.0458 | 1.0214 | 0.93719 | 103.0885 | 13995.14 | 101.3907 | 722368.8167 | 103.9198 | 278333.58 | 99.8576 | 109411.3367 | 98.9303 | 132536.4467 | 101.526 | 852320.08 | 100.4532 | 437185.07 | 99.851 | 516361.67 | 98.8945 | 304218.6267
| FALSE | 007CALS.d | 2022-10-05 10:44 | CalStd | 4 | curve 2.5 (Hg only) | 1 | 2.0632 | 2.0454 | 2.0596 | 2.1872 | 2.063 | 2.0582 | 2.0697 | 2.1428 | 2.0293 | 0.085134 | 0.10986 | 0.098158 | 0.10468 | 2.1685 | 2.049 | 2.1416 | 2.0742 | 2.1644 | 2.0588 | 1.9914 | 1.8735 | 101.458 | 13773.7933 | 102.2095 | 728202.47 | 104.229 | 279161.6267 | 100.4841 | 110097.7733 | 99.3424 | 133088.44 | 101.8946 | 855414.36 | 99.9069 | 434807.8233 | 100.3506 | 518945.2633 | 98.8509 | 304084.3767
| FALSE | 008CALS.d | 2022-10-05 10:47 | CalStd | 5 | curve 3 | 1 | 10.2031 | 10.0979 | 10.6203 | 10.6724 | 10.3648 | 10.325 | 10.2367 | 10.6413 | 10.2111 | 0.50487 | 0.49267 | 0.51299 | 0.49548 | 10.5049 | 10.0987 | 10.4208 | 10.1381 | 10.4156 | 10.1341 | 9.6772 | 9.1825 | 102.2283 | 13878.3633 | 104.0258 | 741143.0433 | 104.2308 | 279166.66 | 100.0899 | 109665.89 | 99.6084 | 133444.8733 | 104.7087 | 879039.2233 | 100.3571 | 436766.85 | 103.5559 | 535521.1967 | 99.0659 | 304745.91
| FALSE | 009CALS.d | 2022-10-05 10:51 | CalStd | 6 | curve 4 | 1 | 50.1346 | 50.9653 | 49.9127 | 54.6141 | 50.629 | 50.7225 | 50.5202 | 54.9939 | 50.4477 | 2.6764 | 2.5053 | 2.7141 | 2.4873 | 54.6807 | 50.3767 | 54.462 | 50.545 | 54.579 | 50.3632 | 53.4706 | 50.1228 | 104.8581 | 14235.3767 | 100.06 | 712888.4867 | 102.6556 | 274947.65 | 99.1298 | 108613.8633 | 97.9025 | 131159.48 | 101.3599 | 850925.77 | 98.9671 | 430717.3833 | 97.3217 | 503281.95 | 96.5273 | 296936.6567
| FALSE | 010CALS.d | 2022-10-05 10:55 | CalStd | 7 | curve 5 | 1 | 99.9123 | 99.5078 | 99.9796 | 97.6248 | 99.6483 | 99.6057 | 99.7159 | 97.4379 | 99.7547 | 4.9116 | 4.9979 | 4.8916 | 5.0067 | 97.6081 | 99.8013 | 97.726 | 99.7134 | 97.6679 | 99.8045 | 98.2968 | 100.021 | 105.7591 | 14357.7 | 107.6365 | 766867.9667 | 102.6579 | 274953.8367 | 99.4354 | 108948.6833 | 96.6416 | 129470.1867 | 108.0811 | 907351.33 | 98.459 | 428506.0467 | 104.8979 | 542460.75 | 95.2891 | 293127.67
| FALSE | 011SMPL.d | 2022-10-05 10:59 | Sample |  | blk | 1 | 0.050025 | 0.16254 | 0.12398 | 0.070806 | 0.019095 | 0.019359 | 0.056549 | 0.12572 | 0.055687 | 0.14823 | 0.11555 | 0.15954 | 0.11387 | 0.09307 | 0.030813 | 0.089591 | 0.03012 | 0.090035 | 0.030717 | 0.11999 | 0.057546 | 104.0227 | 14121.9733 | 85.5046 | 609186.56 | 103.3102 | 276700.83 | 99.6207 | 109151.7467 | 98.1198 | 131450.56 | 85.9113 | 721233.58 | 99.1692 | 431597.1233 | 86.7946 | 448843.1233 | 98.7285 | 303707.8
| FALSE | 012SMPL.d | 2022-10-05 11:03 | Sample |  | blk | 1 | 0.023554 | 0.031631 | 0.16687 | 0.0044376 | 0.00041952 | 0.0020738 | 0.01315 | 0.020727 | 0.01391 | 0.057022 | 0.061215 | 0.069131 | 0.055949 | 0.0085474 | 0.0043263 | 0.010041 | 0.0074695 | 0.0091083 | 0.0046078 | 0.013054 | 0.011239 | 103.6045 | 14065.1967 | 100.222 | 714042.3967 | 103.0237 | 275933.63 | 99.2979 | 108798.0567 | 98.1399 | 131477.4667 | 100.8037 | 846256.9033 | 98.5336 | 428831.07 | 100.9433 | 522010.4633 | 98.064 | 301663.9767
| FALSE | 013_QC1.d | 2022-10-05 11:06 | QC1 |  | qc 1 | 1 | 5.2145 | 5.472 | 5.3625 | 5.5451 | 5.3085 | 5.3303 | 5.2384 | 5.6241 | 5.2369 | 0.52563 | 0.51928 | 0.53838 | 0.5249 | 5.3046 | 5.159 | 5.5375 | 5.3092 | 5.4266 | 5.2696 | 5.0294 | 4.7716 | 102.1871 | 13872.7733 | 110.5919 | 787923.7233 | 100.1025 | 268109.3967 | 99.6721 | 109208.08 | 98.6066 | 132102.77 | 110.4432 | 927181.3933 | 98.9476 | 430632.6033 | 109.1996 | 564706.28 | 98.0473 | 301612.3767
| FALSE | 014_QC2.d | 2022-10-05 11:10 | QC2 |  | qc 2 | 1 | 10.3191 | 10.2227 | 10.8165 | 10.9983 | 10.4785 | 10.4627 | 10.3847 | 11.0745 | 10.4428 | 1.0642 | 1.002 | 1.0443 | 1.0055 | 10.7279 | 10.1728 | 11.1433 | 10.6246 | 10.9411 | 10.4221 | 10.3128 | 9.6659 | 103.1455 | 14002.8867 | 99.0865 | 705952.61 | 104.8013 | 280694.6067 | 99.3038 | 108804.5567 | 98.1712 | 131519.37 | 99.8369 | 838139.8333 | 98.1137 | 427003.4867 | 99.2004 | 512997.5333 | 98.3547 | 302557.9667
| FALSE | 015_QC3.d | 2022-10-05 11:14 | QC3 |  | qc 3 | 1 | 51.6272 | 50.8427 | 50.0183 | 53.9992 | 51.6742 | 51.5362 | 51.4681 | 54.7367 | 51.2424 | 5.2207 | 4.9746 | 5.1393 | 4.9532 | 52.8219 | 50.6459 | 55.0705 | 52.8426 | 54.2443 | 51.8085 | 53.4272 | 50.8949 | 101.9006 | 13833.88 | 99.3573 | 707881.6567 | 102.0946 | 273445.1233 | 99.2167 | 108709.15 | 97.181 | 130192.87 | 99.3486 | 834040.5667 | 98.7014 | 429561.19 | 98.1548 | 507590.4333 | 96.2747 | 296159.7267
| FALSE | 016SMPL.d | 2022-10-05 11:17 | Sample |  | blk | 1 | 0.030101 | 0.080042 | 0.11246 | 0.048306 | 0.0038234 | 0.0041794 | 0.028904 | 0.072381 | 0.026744 | 0.14516 | 0.13005 | 0.15491 | 0.12861 | 0.054974 | 0.017315 | 0.055908 | 0.015761 | 0.05554 | 0.013912 | 0.074515 | 0.027882 | 100.4173 | 13632.51 | 98.6362 | 702744.0467 | 102.0103 | 273219.2733 | 98.6001 | 108033.51 | 97.2655 | 130306.1333 | 99.4211 | 834649.57 | 98.406 | 428275.63 | 99.2785 | 513401.0933 | 97.973 | 301383.9133
| FALSE | 017SMPL.d | 2022-10-05 11:21 | Sample |  | blk | 1 | 0.016311 | 0.016632 | 0.15382 | 0.0023489 | 0.00084411 | 0.0013909 | 0.0090182 | 0.012585 | 0.0087466 | 0.061544 | 0.06558 | 0.066722 | 0.063193 | 0.0046646 | 0.0044638 | 0.0038126 | 0.0028062 | 0.0042827 | 0.0035279 | 0.0074651 | 0.006706 | 100.8107 | 13685.91 | 99.1017 | 706061.1 | 103.1094 | 276162.9533 | 99.0194 | 108492.96 | 97.7055 | 130895.5167 | 99.9875 | 839404.51 | 98.4209 | 428340.5967 | 98.4295 | 509010.73 | 98.2529 | 302244.86
| FALSE | 018SMPL.d | 2022-10-05 11:25 | Sample |  | 170600-001 | 1 | 0.58169 | 0.035374 | 0.13609 | 0.0053166 | 0.0050373 | 0.0054052 | 0.1239 | 0.12958 | 0.12234 | 0.042516 | 0.052727 | 0.053954 | 0.048909 | 0.033646 | 0.030091 | 0.035453 | 0.032489 | 0.034863 | 0.030915 | 0.032717 | 0.028285 | 103.3756 | 14034.1233 | 99.9737 | 712273.1733 | 102.8705 | 275523.0967 | 100.6482 | 110277.5667 | 96.9951 | 129943.8833 | 100.0667 | 840069.26 | 98.7517 | 429779.91 | 96.8126 | 500649.1767 | 96.431 | 296640.3967
| FALSE | 019SMPL.d | 2022-10-05 11:29 | Sample |  | 170600-002 | 1 | 0.16308 | 0.045839 | 0.14713 | 0.0040876 | 0.0033298 | 0.0040405 | 0.089102 | 0.09063 | 0.094315 | 0.048677 | 0.041498 | 0.037795 | 0.038516 | 0.023112 | 0.021666 | 0.020426 | 0.021321 | 0.021672 | 0.021928 | 0.0061253 | 0.006068 | 103.3835 | 14035.1967 | 100.7342 | 717691.7867 | 104.6395 | 280261.1933 | 100.8566 | 110505.89 | 98.1688 | 131516.1867 | 100.602 | 844563.0433 | 99.4096 | 432643.27 | 97.9356 | 506456.8467 | 96.9397 | 298205.1667
| FALSE | 020SMPL.d | 2022-10-05 11:32 | Sample |  | 170600-003 | 10 | 3.5019 | 0.20422 | 0.76763 | 0.095471 | 0.099105 | 0.08524 | 0.4422 | 0.48627 | 0.48206 | 1.0236 | 1.0263 | 0.99053 | 0.9713 | 4.8932 | 4.6737 | 4.7319 | 4.5311 | 4.7765 | 4.5653 | 1.2359 | 1.1649 | 106.4069 | 14445.6433 | 130.8352 | 932149.9 | 134.7109 | 360802.8367 | 130.8635 | 143383.6633 | 100.2124 | 134254.0433 | 103.1735 | 866151.5833 | 101.2832 | 440797.4833 | 102.5397 | 530265.9033 | 100.2702 | 308450.5433
| FALSE | 021SMPL.d | 2022-10-05 11:36 | Sample |  | 170600-004 | 10 | 4.4672 | 0.1705 | 2.8155 | 0.20998 | 0.21163 | 0.19485 | 0.35115 | 0.34282 | 0.37618 | 1.0879 | 1.0891 | 1.0934 | 1.0709 | 20.0386 | 19.3974 | 19.6048 | 18.7869 | 19.6788 | 18.9049 | 5.0944 | 4.8644 | 108.4304 | 14720.3533 | 221.8779 | 1580793.1867 | 229.5552 | 614829.1033 | 224.9137 | 246431.94 | 98.8794 | 132468.2167 | 105.2475 | 883562.79 | 103.4656 | 450295.7033 | 100.3684 | 519037.6267 | 99.0049 | 304558.3
| FALSE | 022SMPL.d | 2022-10-05 11:40 | Sample |  | 170607-001 | 1 | 1.5184 | 0.27814 | 0.28786 | 0.0047169 | 0.0029324 | 0.0070786 | 0.13604 | 0.14305 | 0.13498 | 0.013084 | 0.021644 | 0.021963 | 0.018281 | 0.20555 | 0.20724 | 0.21236 | 0.20456 | 0.20705 | 0.20403 | 0.12414 | 0.11995 | 104.7354 | 14218.72 | 99.6328 | 709844.5467 | 104.1955 | 279071.9933 | 100.6363 | 110264.4967 | 97.526 | 130655.08 | 100.0051 | 839552.61 | 98.3724 | 428129.4367 | 94.0972 | 486606.9733 | 93.832 | 288645.4367
| FALSE | 023SMPL.d | 2022-10-05 11:44 | Sample |  | 170608-001 | 1 | 0.91718 | 0.20325 | 0.28867 | 0.054038 | 0.055533 | 0.052082 | 0.14322 | 0.15129 | 0.14565 | 0.12551 | 0.1146 | 0.1277 | 0.12147 | 0.66797 | 0.6287 | 0.62983 | 0.60888 | 0.64595 | 0.61473 | 0.14789 | 0.13936 | 105.4481 | 14315.48 | 114.1824 | 813505.0233 | 118.7542 | 318065.3767 | 116.4494 | 127590.47 | 99.8508 | 133769.5533 | 100.5339 | 843991.3933 | 101.1552 | 440240.48 | 97.3502 | 503429.1933 | 97.3357 | 299423.4967
| FALSE | 024SMPL.d | 2022-10-05 11:47 | Sample |  | 170610-001 | 1 | 0.46257 | 0.030895 | 0.13582 | 0.0015418 | 0.00039989 | 0.0011855 | 0.097792 | 0.10833 | 0.10656 | 0.016567 | 0.020517 | 0.039877 | 0.029109 | 0.265 | 0.24323 | 0.24271 | 0.23532 | 0.25212 | 0.23966 | 0.11439 | 0.10863 | 104.7269 | 14217.5733 | 98.1304 | 699140.8133 | 102.3559 | 274144.89 | 100.2634 | 109855.9 | 96.0391 | 128663.0833 | 97.8918 | 821810.57 | 98.1188 | 427025.6567 | 91.5885 | 473633.8833 | 92.4041 | 284252.7733
| FALSE | 025SMPL.d | 2022-10-05 11:51 | Sample |  | 170610-002 | 1 | 0.28627 | 0.042988 | 0.25673 | 0.0018997 | 0.00086256 | 0.002312 | 0.092612 | 0.08211 | 0.087658 | 0.02258 | 0.025916 | 0.03174 | 0.030251 | 0.14728 | 0.14733 | 0.15378 | 0.15578 | 0.15165 | 0.1482 | 0.048349 | 0.046207 | 106.2594 | 14425.6233 | 96.7853 | 689557.2467 | 100.5967 | 269433.12 | 97.576 | 106911.4033 | 94.4167 | 126489.5333 | 96.898 | 813468.1833 | 96.1375 | 418402.7167 | 90.4622 | 467809.3667 | 89.7866 | 276200.8833
| FALSE | 026SMPL.d | 2022-10-05 11:55 | Sample |  | 170610-003 | 1 | 0.66171 | 0.029376 | 0.12272 | 0.0035426 | 0.0026522 | 0.0020123 | 0.061785 | 0.0684 | 0.069386 | 0.023065 | 0.035778 | 0.037929 | 0.034567 | 0.066733 | 0.060601 | 0.065653 | 0.064883 | 0.064363 | 0.061515 | 0.045368 | 0.040598 | 110.0606 | 14941.67 | 93.8377 | 668556.86 | 97.7467 | 261799.7467 | 95.9529 | 105133.02 | 91.6396 | 122769.02 | 94.0213 | 789317.9467 | 93.3927 | 406457.09 | 86.4045 | 446825.5433 | 86.5322 | 266189.64
| FALSE | 027SMPL.d | 2022-10-05 11:59 | Sample |  | 170611-001 | 1 | 0.70587 | 0.037116 | 0.07246 | 0.0051288 | 0.0047443 | 0.0071543 | 0.17174 | 0.18211 | 0.17776 | 0.0097507 | 0.023007 | 0.020961 | 0.017077 | 0.62403 | 0.59621 | 0.64571 | 0.60967 | 0.63079 | 0.60005 | 0.085334 | 0.079212 | 103.5309 | 14055.2067 | 98.0911 | 698860.71 | 100.6226 | 269502.5467 | 98.057 | 107438.47 | 96.1786 | 128849.9267 | 98.6003 | 827758.74 | 97.4248 | 424005.1233 | 93.7886 | 485011.0033 | 92.9828 | 286033.2
| FALSE | 028_QC2.d | 2022-10-05 12:02 | QC2 |  | qc 2 | 1 | 10.4091 | 10.4031 | 10.4639 | 11.7269 | 10.6683 | 10.5289 | 10.4848 | 11.817 | 10.4509 | 1.0851 | 0.98791 | 1.0926 | 0.9827 | 11.4384 | 10.2557 | 11.8024 | 10.6561 | 11.59 | 10.4445 | 10.2373 | 9.0408 | 105.3086 | 14296.5433 | 97.6171 | 695483.4967 | 104.9157 | 281001.0033 | 100.9822 | 110643.5667 | 100.4031 | 134509.5567 | 98.0203 | 822889.5233 | 100.6099 | 437867.17 | 95.2807 | 492727.1267 | 98.2952 | 302375.0333
| FALSE | 029SMPL.d | 2022-10-05 12:06 | Sample |  | blk | 1 | 0.0036612 | 0.0114 | 0.054088 | 0.0046195 | 0.0012597 | 0.0020469 | 0.0058444 | 0.012937 | 0.006318 | 0.032855 | 0.031619 | 0.033596 | 0.027194 | 0.0049184 | 0.0050248 | 0.0065258 | 0.005105 | 0.0074542 | 0.0043315 | 0.013608 | 0.0089547 | 102.1709 | 13870.5667 | 108.6129 | 773824.2233 | 100.5962 | 269431.84 | 99.9488 | 109511.2033 | 98.6515 | 132162.8767 | 109.3345 | 917873.5733 | 99.824 | 434446.7467 | 106.945 | 553047.0133 | 98.258 | 302260.68
| FALSE | 030SMPL.d | 2022-10-05 12:10 | Sample |  | 170609-001 | 1 | 0.080045 | 0.048424 | 0.083106 | 0.0033432 | 0.0016801 | 0.0041088 | 0.073434 | 0.076271 | 0.07435 | 0.048221 | 0.042358 | 0.045799 | 0.047206 | 0.27666 | 0.25502 | 0.28884 | 0.2737 | 0.28291 | 0.26223 | 0.026854 | 0.025572 | 101.8595 | 13828.3 | 99.1538 | 706432.29 | 101.0255 | 270581.7 | 99.6328 | 109165.0033 | 98.7235 | 132259.2867 | 99.7644 | 837531.5667 | 98.9558 | 430668.3633 | 96.8582 | 500885.1367 | 97.3728 | 299537.4433
| FALSE | 031SMPL.d | 2022-10-05 12:14 | Sample |  | 170616-001 | 1 | 0.091573 | 0.16191 | 0.25038 | 0.0017282 | 0.00088489 | 0.0014708 | 0.12774 | 0.13348 | 0.12774 | 0.027676 | 0.030748 | 0.027733 | 0.02258 | 0.25809 | 0.24291 | 0.26437 | 0.24221 | 0.25675 | 0.24134 | 0.1369 | 0.13007 | 99.3361 | 13485.7267 | 95.4686 | 680176.5533 | 99.1117 | 265455.7533 | 96.0862 | 105279.08 | 94.1294 | 126104.6367 | 96.4755 | 809920.5433 | 96.0453 | 418001.5833 | 90.6185 | 468617.3967 | 90.8145 | 279362.8733
| FALSE | 032SMPL.d | 2022-10-05 12:17 | Sample |  | 170619-001 | 1 | 0.39821 | 0.064312 | 0.22231 | 0.0047947 | 0.003832 | 0.0051377 | 0.07627 | 0.085768 | 0.089033 | 0.038282 | 0.049851 | 0.041314 | 0.047835 | 0.2861 | 0.2702 | 0.28893 | 0.27935 | 0.28349 | 0.26944 | 1.0226 | 0.96443 | 102.6625 | 13937.3067 | 98.4066 | 701108.53 | 101.4486 | 271714.7833 | 99.1833 | 108672.52 | 97.3815 | 130461.52 | 98.9333 | 830554.7867 | 98.1833 | 427306.55 | 95.5479 | 494109.0433 | 95.4798 | 293714.2967
| FALSE | 033SMPL.d | 2022-10-05 12:21 | Sample |  | 170620-001 | 1 | 0.048682 | 0.039963 | 0.056912 | 0.00057098 | 0.00084136 | 0.0013707 | 0.10825 | 0.10344 | 0.10771 | 0.022952 | 0.02984 | 0.034167 | 0.028572 | 0.11012 | 0.10236 | 0.10709 | 0.1044 | 0.1067 | 0.10451 | 0.001958 | 0.0013676 | 103.4654 | 14046.3133 | 99.2159 | 706874.46 | 100.7936 | 269960.45 | 99.2163 | 108708.6933 | 100.1284 | 134141.49 | 99.8613 | 838345.37 | 99.8325 | 434483.7367 | 98.3813 | 508761.54 | 98.7695 | 303833.9867
| FALSE | 034SMPL.d | 2022-10-05 12:25 | Sample |  | 170623-001 | 1 | 0.056335 | 0.026547 | 0.083978 | 0.00031669 | <0.000 | 0.0022645 | 0.11189 | 0.1198 | 0.099847 | 0.0035808 | 0.0066774 | 0.0099548 | 0.0050336 | 0.55622 | 0.55988 | 0.57583 | 0.5597 | 0.56463 | 0.55645 | 0.010148 | 0.01135 | 101.63 | 13797.1367 | 98.8461 | 704239.98 | 101.0364 | 270610.8633 | 98.689 | 108130.9733 | 97.1176 | 130107.8867 | 99.7204 | 837161.8367 | 97.6358 | 424923.37 | 95.2184 | 492405.28 | 94.7063 | 291335.03
| FALSE | 035SMPL.d | 2022-10-05 12:29 | Sample |  | 170617-001 mj | 5 | 1.0617 | 0.10865 | 0.43552 | 0.69304 | 0.69623 | 0.68227 | 0.35547 | 0.33053 | 0.33887 | 0.028666 | 0.10516 | 0.026136 | 0.079031 | 2.1324 | 2.3668 | 2.1374 | 2.3306 | 2.1195 | 2.2849 | 0.07845 | 0.085345 | 102.6132 | 13930.6233 | 111.8513 | 796896.5667 | 104.9104 | 280986.6533 | 102.8895 | 112733.2667 | 97.0918 | 130073.3267 | 111.5505 | 936477.31 | 99.877 | 434677.6967 | 106.7677 | 552130.45 | 96.3568 | 296412.1067
| FALSE | 036SMPL.d | 2022-10-05 12:32 | Sample |  | 170617-001 mj new filter | 5 | 1.0769 | 0.15541 | 0.65904 | 0.80982 | 0.6911 | 0.70381 | 0.14052 | 0.15681 | 0.15356 | 0.027928 | 0.07367 | 0.078821 | 0.086089 | 2.5059 | 2.3218 | 2.4173 | 2.3857 | 2.457 | 2.3483 | 0.083087 | 0.079532 | 101.4906 | 13778.22 | 100.9367 | 719134.8 | 104.4318 | 279704.8133 | 101.5516 | 111267.44 | 96.3123 | 129029.0133 | 100.439 | 843195.1867 | 99.3 | 432166.1867 | 95.1136 | 491863.1267 | 94.1865 | 289735.99
| FALSE | 037SMPL.d | 2022-10-05 12:36 | Sample |  | blk pes filter | 1 | <0.000 | 0.0047463 | 0.11371 | 0.0002871 | <0.000 | <0.000 | 0.0020978 | 0.0050221 | 0.0015954 | <0.000 | <0.000 | <0.000 | <0.000 | 0.0073364 | 0.0032938 | 0.0065801 | 0.0041104 | 0.0072822 | 0.0030569 | <0.000 | <0.000 | 101.0568 | 13719.32 | 97.3344 | 693469.2433 | 100.3375 | 268739.0233 | 98.5201 | 107945.8067 | 97.827 | 131058.2433 | 98.6728 | 828367.81 | 98.0109 | 426556.0833 | 96.4538 | 498793.7 | 96.7772 | 297705.3767
| FALSE | 038SMPL.d | 2022-10-05 12:40 | Sample |  | blk pes filter | 1 | <0.000 | 0.0018941 | 0.014074 | 0.00071967 | 0.00040952 | 0.00017679 | 0.0043405 | 0.0059986 | 0.0025178 | <0.000 | <0.000 | <0.000 | <0.000 | 0.026507 | 0.024683 | 0.027642 | 0.025151 | 0.027967 | 0.024032 | <0.000 | <0.000 | 101.8598 | 13828.34 | 97.0581 | 691500.9867 | 101.0264 | 270584.15 | 99.4092 | 108919.9867 | 97.9761 | 131257.9967 | 98.6321 | 828026.08 | 98.7529 | 429785.2967 | 97.0597 | 501927.1833 | 97.0509 | 298547.3467
| FALSE | 039SMPL.d | 2022-10-05 12:44 | Sample |  | blk pes filter | 1 | <0.000 | <0.000 | 0.1013 | 0.0010506 | 0.0012807 | 0.0010696 | 0.00041479 | 0.0033541 | 0.0020113 | <0.000 | <0.000 | <0.000 | <0.000 | 0.019143 | 0.016476 | 0.018404 | 0.019682 | 0.0191 | 0.017761 | <0.000 | <0.000 | 102.376 | 13898.4133 | 98.8009 | 703917.82 | 105.9196 | 283689.7967 | 98.1115 | 107498.17 | 98.8948 | 132488.8367 | 101.3744 | 851047.61 | 98.6803 | 429469.5533 | 98.2862 | 508269.8067 | 97.7389 | 300663.8833
| FALSE | 040_QC2.d | 2022-10-05 12:47 | QC2 |  | qc 2 | 1 | 10.3811 | 10.4022 | 11.1675 | 10.6223 | 10.6085 | 10.559 | 10.5388 | 10.7147 | 10.613 | 0.97412 | 0.98109 | 1.0212 | 0.98012 | 10.8007 | 10.3766 | 11.0948 | 10.7175 | 10.9413 | 10.5196 | 9.5032 | 9.02 | 99.3035 | 13481.3033 | 100.3094 | 714664.99 | 97.3618 | 260769.0967 | 97.3948 | 106712.9433 | 96.639 | 129466.81 | 101.1897 | 849496.67 | 98.0177 | 426585.6167 | 95.6676 | 494728.16 | 95.058 | 292416.9067
| FALSE | 041SMPL.d | 2022-10-05 12:51 | Sample |  | blk | 1 | 0.0079218 | 0.014675 | 0.10177 | 0.004435 | 0.0034659 | 0.0031695 | 0.0090403 | 0.010881 | 0.0067064 | 0.016171 | 0.022893 | 0.029601 | 0.018045 | 0.0079048 | 0.0049297 | 0.0037663 | 0.0073424 | 0.005465 | 0.0042961 | 0.019229 | 0.01572 | 99.9755 | 13572.5333 | 96.5855 | 688133.8967 | 98.4587 | 263706.7767 | 97.9016 | 107268.1467 | 96.8354 | 129729.9067 | 98.1773 | 824207.3567 | 97.0221 | 422252.73 | 96.6564 | 499841.4867 | 96.4671 | 296751.53
| FALSE | 042SMPL.d | 2022-10-05 12:55 | Sample |  | 10 ppb std pes filter | 1 | 10.0369 | 10.1243 | 10.3783 | 10.7102 | 10.2019 | 10.2244 | 10.1437 | 10.6895 | 10.0487 | 0.14145 | 0.14027 | 0.14801 | 0.13662 | 10.8367 | 10.2754 | 10.6619 | 10.2084 | 10.6836 | 10.2117 | 9.4878 | 8.7994 | 101.9578 | 13841.6367 | 95.9692 | 683743.15 | 100.0622 | 268001.5833 | 98.2286 | 107626.4733 | 96.8993 | 129815.4733 | 97.6517 | 819795.4233 | 97.6628 | 425041.1167 | 93.8662 | 485412.3867 | 95.1109 | 292579.3667
| FALSE | 043SMPL.d | 2022-10-05 12:59 | Sample |  | 10 ppb std pes filter | 1 | 9.9335 | 10.0243 | 10.2618 | 10.6645 | 10.2393 | 10.1316 | 10.1362 | 10.5545 | 10.0687 | 0.15137 | 0.15511 | 0.16021 | 0.14627 | 10.6829 | 10.1574 | 10.5921 | 10.1168 | 10.5871 | 10.1298 | 9.3611 | 8.8464 | 100.6144 | 13659.26 | 96.5047 | 687558.5667 | 99.9585 | 267723.8333 | 97.921 | 107289.45 | 96.8438 | 129741.16 | 97.6918 | 820131.6533 | 97.2926 | 423430.13 | 94.752 | 489993 | 95.2945 | 293144.1867
| FALSE | 044SMPL.d | 2022-10-05 13:02 | Sample |  | 10 ppb std pes filter | 1 | 10.0268 | 10.1151 | 9.6055 | 10.6978 | 10.2614 | 10.2532 | 10.0621 | 10.6942 | 10.2255 | 0.14586 | 0.15319 | 0.16034 | 0.16215 | 10.8646 | 10.2492 | 10.6778 | 10.202 | 10.6858 | 10.1886 | 9.5069 | 8.818 | 101.3844 | 13763.7933 | 95.7985 | 682526.7467 | 99.927 | 267639.3567 | 98.0745 | 107457.6567 | 96.5317 | 129323.04 | 97.1008 | 815170.5867 | 97.956 | 426317.2533 | 94.0219 | 486217.6033 | 94.8927 | 291908.1467
| FALSE | 045SMPL.d | 2022-10-05 13:06 | Sample |  | 170633-003 | 1 | 0.75485 | 0.034808 | 0.1114 | 0.013282 | 0.011933 | 0.0072585 | 0.082696 | 0.086506 | 0.074437 | <0.000 | <0.000 | <0.000 | <0.000 | 0.34593 | 0.31898 | 0.33203 | 0.32074 | 0.33887 | 0.31922 | 0.040962 | 0.034726 | 102.1136 | 13862.7967 | 96.461 | 687246.5967 | 99.3338 | 266050.5767 | 99.0595 | 108536.8533 | 97.7405 | 130942.45 | 96.7761 | 812444.3 | 96.8736 | 421606.41 | 95.4872 | 493795.41 | 96.1529 | 295784.9633
| FALSE | 046SMPL.d | 2022-10-05 13:10 | Sample |  | 170633-001 | 1 | 0.30559 | 0.023197 | 0.044369 | 0.0022437 | 0.0030063 | 0.0019226 | 0.099861 | 0.10742 | 0.095403 | <0.000 | <0.000 | <0.000 | <0.000 | 0.018547 | 0.015334 | 0.015396 | 0.013878 | 0.017903 | 0.014419 | 0.039868 | 0.036013 | 101.3842 | 13763.7767 | 96.1377 | 684943.7133 | 99.4161 | 266271.09 | 98.4057 | 107820.54 | 97.2466 | 130280.8 | 96.5792 | 810791.4967 | 96.7604 | 421113.7767 | 94.4832 | 488603.31 | 95.8242 | 294773.8533
| FALSE | 047SMPL.d | 2022-10-05 13:14 | Sample |  | 170633-004 | 1 | 0.94731 | 0.036319 | 0.22669 | 0.0076577 | 0.0047494 | 0.0054101 | 0.11607 | 0.11685 | 0.11213 | <0.000 | <0.000 | <0.000 | <0.000 | 0.01206 | 0.010784 | 0.01108 | 0.0094319 | 0.011629 | 0.0097956 | 0.030238 | 0.027071 | 102.3922 | 13900.61 | 96.9795 | 690941.2733 | 100.4295 | 268985.3933 | 98.4111 | 107826.43 | 97.1185 | 130109.1767 | 96.9546 | 813942.9467 | 96.9754 | 422049.3067 | 95.5225 | 493977.86 | 95.648 | 294231.6633
| FALSE | 048SMPL.d | 2022-10-05 13:17 | Sample |  | 170635-001 | 1 | 0.33143 | 0.02682 | 0.075849 | 0.0063439 | 0.0056521 | 0.027929 | 0.11392 | 0.12794 | 0.11891 | <0.000 | <0.000 | <0.000 | <0.000 | 0.97615 | 0.91641 | 0.9833 | 0.94719 | 0.97527 | 0.92859 | 0.094652 | 0.089322 | 102.0972 | 13860.57 | 95.3386 | 679250.4333 | 97.3556 | 260752.28 | 97.2031 | 106502.8633 | 95.4259 | 127841.63 | 96.7033 | 811833.4067 | 96.6049 | 420436.9833 | 92.9406 | 480626.0067 | 94.033 | 289263.71
| FALSE | 049SMPL.d | 2022-10-05 13:21 | Sample |  | 170633-002 | 1 | 0.31458 | 0.028028 | 0.1829 | 0.0033778 | 0.0021338 | 0.00313 | 0.17482 | 0.17622 | 0.16925 | <0.000 | <0.000 | <0.000 | <0.000 | 0.10997 | 0.098793 | 0.10936 | 0.10668 | 0.10858 | 0.10364 | 0.031606 | 0.030401 | 101.7283 | 13810.49 | 97.1032 | 691822.1333 | 99.4691 | 266413.0867 | 98.6631 | 108102.55 | 97.4139 | 130504.9067 | 97.9293 | 822125.29 | 97.8143 | 425700.3667 | 94.5587 | 488993.52 | 95.6309 | 294179.1367
| FALSE | 050SMPL.d | 2022-10-05 13:25 | Sample |  | 170637-001 | 1 | 0.065701 | 0.056213 | 0.2772 | 0.0048931 | 0.0061299 | 0.007836 | 0.082181 | 0.083233 | 0.088848 | <0.000 | <0.000 | <0.000 | <0.000 | 0.51098 | 0.47254 | 0.50603 | 0.49477 | 0.50426 | 0.48492 | 0.12714 | 0.12196 | 100.1883 | 13601.4233 | 95.9697 | 683746.4667 | 99.1481 | 265553.2233 | 96.4686 | 105698.0667 | 95.0259 | 127305.64 | 96.8628 | 813172.29 | 95.8873 | 417314.0633 | 92.5735 | 478727.6467 | 92.7704 | 285379.8067
| FALSE | 051SMPL.d | 2022-10-05 13:29 | Sample |  | 170638-001 | 1 | 4.9826 | 0.013284 | 0.070229 | 0.0059389 | 0.0049494 | 0.020186 | 0.051989 | 0.053569 | 0.053222 | <0.000 | <0.000 | <0.000 | <0.000 | 0.046138 | 0.04413 | 0.044754 | 0.040916 | 0.048599 | 0.040774 | 0.011451 | 0.01252 | 98.0991 | 13317.79 | 92.1186 | 656308.88 | 95.2965 | 255237.4633 | 94.1318 | 103137.7533 | 91.0547 | 121985.54 | 92.9828 | 780599.0933 | 92.9984 | 404740.8733 | 86.7716 | 448724.26 | 87.1488 | 268086.6767
| FALSE | 052_QC2.d | 2022-10-05 13:32 | QC2 |  | qc 2 | 1 | 10.3757 | 10.098 | 10.113 | 10.8431 | 10.396 | 10.3497 | 10.4294 | 10.9444 | 10.3822 | 0.98695 | 0.98293 | 0.97439 | 0.96365 | 10.8393 | 10.3187 | 11.0742 | 10.5828 | 10.9103 | 10.3935 | 9.4221 | 8.8063 | 100.1391 | 13594.74 | 97.5301 | 694864.07 | 99.459 | 266386.0033 | 98.5457 | 107973.89 | 97.3963 | 130481.3067 | 98.0249 | 822927.88 | 97.784 | 425568.6633 | 94.385 | 488095.2567 | 95.1757 | 292778.7433
| FALSE | 053SMPL.d | 2022-10-05 13:36 | Sample |  | blk | 1 | 0.0095764 | 0.022517 | 0.14397 | 0.0028613 | 0.0030107 | 0.0010712 | 0.0082426 | 0.012388 | 0.0086822 | 0.027862 | 0.022485 | 0.03861 | 0.02197 | 0.0056683 | 0.001619 | 0.0037317 | 0.0052288 | 0.0050182 | 0.0024036 | 0.016688 | 0.01201 | 100.868 | 13693.6867 | 93.1657 | 663769.14 | 98.5429 | 263932.35 | 97.9676 | 107340.5533 | 96.6214 | 129443.1833 | 94.2617 | 791335.5267 | 96.4641 | 419823.9767 | 91.0384 | 470788.9967 | 95.268 | 293062.7567
| FALSE | 054SMPL.d | 2022-10-05 13:40 | Sample |  | 170639-001 | 1 | 1.8727 | 0.0080571 | 0.023954 | 0.015794 | 0.0053166 | 0.0063186 | 0.07307 | 0.078242 | 0.070804 | <0.000 | <0.000 | <0.000 | <0.000 | 0.067185 | 0.057902 | 0.058802 | 0.060393 | 0.063154 | 0.05823 | 2.6382 | 2.4803 | 96.4932 | 13099.78 | 93.8133 | 668383.3833 | 96.6851 | 258956.5467 | 95.3496 | 104472.0233 | 93.361 | 125075.2967 | 94.6564 | 794649.7533 | 94.4566 | 411087.1267 | 89.9622 | 465223.8233 | 90.8768 | 279554.57
| FALSE | 055SMPL.d | 2022-10-05 13:44 | Sample |  | 170640-001 | 1 | 0.25967 | 0.042699 | 0.13895 | 0.007388 | 0.0057418 | 0.0054254 | 0.090193 | 0.08936 | 0.088582 | <0.000 | <0.000 | <0.000 | <0.000 | 0.81527 | 0.7704 | 0.82022 | 0.77604 | 0.80911 | 0.77314 | 0.0066221 | 0.0057298 | 101.0566 | 13719.29 | 94.5935 | 673941.7767 | 96.9716 | 259723.83 | 95.2853 | 104401.57 | 95.9505 | 128544.35 | 95.9428 | 805448.5967 | 95.9617 | 417637.5933 | 91.0474 | 470835.5833 | 92.5887 | 284820.88
| FALSE | 056SMPL.d | 2022-10-05 13:47 | Sample |  | 170641-001 | 1 | 0.65343 | 0.033206 | 0.14924 | 0.0048105 | 0.005711 | 0.0050178 | 0.1648 | 0.16845 | 0.1553 | <0.000 | <0.000 | <0.000 | <0.000 | 0.98499 | 0.93247 | 1.0118 | 0.95021 | 0.98644 | 0.94381 | 0.37016 | 0.34435 | 97.9026 | 13291.1133 | 93.8538 | 668671.2933 | 95.903 | 256861.7667 | 96.2367 | 105444.0033 | 94.1771 | 126168.5467 | 94.7054 | 795060.4133 | 94.9274 | 413136.25 | 88.6958 | 458674.7767 | 89.9896 | 276825.3233
| FALSE | 057SMPL.d | 2022-10-05 13:51 | Sample |  | 170645-001 | 1 | 0.24745 | 0.070994 | 0.18961 | 0.0082832 | 0.0078171 | 0.0084368 | 0.081499 | 0.089051 | 0.094172 | <0.000 | <0.000 | <0.000 | <0.000 | 0.65826 | 0.63641 | 0.65266 | 0.62085 | 0.63929 | 0.62143 | 0.0086667 | 0.0079198 | 100.4585 | 13638.0967 | 96.0692 | 684455.79 | 98.8748 | 264821.3533 | 97.2735 | 106579.9867 | 95.1732 | 127503.02 | 95.9471 | 805484.7967 | 96.7473 | 421056.5333 | 91.9149 | 475321.7567 | 93.4714 | 287536.13
| FALSE | 058SMPL.d | 2022-10-05 13:55 | Sample |  | 170644-001 | 1 | 10.913 | 0.0031831 | 0.038854 | 0.006676 | 0.0044597 | 0.0067021 | 0.2248 | 0.23116 | 0.21802 | <0.000 | <0.000 | 0.088589 | 0.038291 | 0.31874 | 0.30937 | 0.32884 | 0.31419 | 0.3156 | 0.30889 | 0.048197 | 0.043864 | 103.9733 | 14115.26 | 93.3296 | 664936.6333 | 95.6512 | 256187.41 | 95.0362 | 104128.68 | 93.6303 | 125435.96 | 94.5701 | 793924.71 | 95.6166 | 416135.8033 | 89.1346 | 460943.7333 | 90.4946 | 278378.8367
| FALSE | 059SMPL.d | 2022-10-05 13:59 | Sample |  | 170643-001 | 1 | 0.64482 | 0.29556 | 0.44467 | 0.35285 | 0.32692 | 0.31465 | 0.22483 | 0.22744 | 0.22471 | <0.000 | <0.000 | <0.000 | <0.000 | 0.20249 | 0.19601 | 0.16771 | 0.16364 | 0.17401 | 0.16756 | 0.96327 | 0.90001 | 104.5141 | 14188.6833 | 170.5826 | 1215334.2033 | 175.9044 | 471133.4833 | 184.896 | 202585.6067 | 95.0221 | 127300.5567 | 94.8337 | 796137.5133 | 96.8055 | 421310.0933 | 84.111 | 434965.1533 | 84.6046 | 260260.03
| FALSE | 060SMPL.d | 2022-10-05 14:02 | Sample |  | 170637-001 | 1 | 0.086206 | 0.058182 | 0.086106 | 0.0058422 | 0.0038877 | 0.0054236 | 0.18162 | 0.18797 | 0.18534 | <0.000 | <0.000 | <0.000 | <0.000 | 0.54261 | 0.51495 | 0.54339 | 0.52986 | 0.54143 | 0.51841 | 0.1342 | 0.12501 | 101.6631 | 13801.6367 | 97.7077 | 696129.1567 | 99.1371 | 265523.9667 | 98.0949 | 107479.9733 | 96.3092 | 129024.9867 | 97.585 | 819235.0833 | 96.564 | 420258.9767 | 90.5287 | 468153.4433 | 90.1388 | 277284.4733
| FALSE | 061SMPL.d | 2022-10-05 14:06 | Sample |  | 170638-001 | 1 | 4.6577 | 0.010591 | 0.13556 | 0.0039131 | 0.0018465 | 0.034598 | 0.083494 | 0.089642 | 0.088133 | <0.000 | 0.0083782 | 0.0063273 | 0.0052166 | 0.017943 | 0.016591 | 0.014533 | 0.016248 | 0.017488 | 0.015275 | 0.011586 | 0.0093409 | 94.7322 | 12860.7067 | 90.1694 | 642421.42 | 93.0272 | 249159.45 | 92.4175 | 101259.4133 | 89.8182 | 120328.93 | 92.8776 | 779716.47 | 92.3272 | 401819.9433 | 83.4804 | 431704.2633 | 83.9576 | 258269.8867
| FALSE | 062SMPL.d | 2022-10-05 14:10 | Sample |  | 170600-003 dil | 50 | 4.3791 | 0.60103 | 8.5908 | 0.15572 | 0.12335 | 0.24233 | 0.87001 | 1.0108 | 0.83511 | 0.9849 | 1.2725 | 1.4279 | 1.2291 | 5.8709 | 5.6338 | 5.3856 | 5.674 | 5.6288 | 5.3992 | 1.1516 | 1.1442 | 99.3687 | 13490.1533 | 100.6597 | 717161.2767 | 102.7788 | 275277.6533 | 101.745 | 111479.3133 | 95.2681 | 127630.1733 | 97.7959 | 821005.4567 | 96.9358 | 421877.1167 | 91.1952 | 471599.9567 | 92.0367 | 283122.53
| FALSE | 063SMPL.d | 2022-10-05 14:14 | Sample |  | 170600-004 dil | 100 | 9.1756 | 1.6873 | 8.242 | 0.51506 | 0.46789 | 0.39536 | 1.1841 | 1.8523 | 1.1118 | 0.99635 | 2.1075 | 2.2734 | 2.3646 | 22.6719 | 21.1766 | 21.7444 | 20.4339 | 21.4633 | 20.3553 | 4.8017 | 4.4983 | 97.5422 | 13242.19 | 105.8352 | 754034.5967 | 106.5228 | 285305.4367 | 108.8554 | 119270.0233 | 96.8207 | 129710.2167 | 96.5493 | 810540.58 | 98.2651 | 427662.4833 | 92.0273 | 475902.7867 | 94.8067 | 291643.88
| FALSE | 064_QC2.d | 2022-10-05 14:17 | QC2 |  | qc 2 | 1 | 10.3198 | 10.0953 | 9.9501 | 10.916 | 10.5031 | 10.4682 | 10.6137 | 11.0907 | 10.5767 | 1.0274 | 0.99436 | 1.0128 | 0.96971 | 11.1724 | 10.5457 | 11.1875 | 10.6881 | 11.0395 | 10.5149 | 9.2601 | 8.6068 | 97.4354 | 13227.6933 | 93.6836 | 667459.0633 | 95.589 | 256020.88 | 95.0013 | 104090.4433 | 94.5654 | 126688.76 | 95.5417 | 802081.5333 | 95.7963 | 416917.6733 | 88.701 | 458701.4733 | 90.4986 | 278391.1033
| FALSE | 065SMPL.d | 2022-10-05 14:21 | Sample |  | blk | 1 | 0.0088872 | 0.02485 | 0.14197 | 0.0027974 | 0.0017876 | 0.0027883 | 0.0083933 | 0.015044 | 0.0077089 | 0.026802 | 0.029926 | 0.03727 | 0.029734 | 0.0063593 | 0.0041121 | 0.005312 | 0.004064 | 0.0063681 | 0.0037331 | 0.015344 | 0.010196 | 96.4525 | 13094.2533 | 93.1935 | 663967.5233 | 93.6248 | 250759.8867 | 94.564 | 103611.2633 | 94.4816 | 126576.5433 | 95.3373 | 800365.8033 | 95.5071 | 415659.11 | 90.25 | 466712.1333 | 90.7518 | 279169.9667
| FALSE | 066SMPL.d | 2022-10-05 14:25 | Sample |  | 170651-001 | 1 | 0.2577 | 0.18855 | 0.30832 | 0.0016825 | 0.00092054 | 0.00082188 | 0.055624 | 0.075596 | 0.062708 | 0.0012186 | <0.000 | 0.0031075 | <0.000 | 0.6218 | 0.58814 | 0.5832 | 0.56483 | 0.59561 | 0.5707 | 0.012902 | 0.013055 | 95.0104 | 12898.47 | 91.6198 | 652755.0733 | 92.8384 | 248653.85 | 93.3392 | 102269.31 | 92.156 | 123460.9 | 94.5978 | 794157.34 | 94.1995 | 409968.49 | 87.0987 | 450415.6 | 88.4827 | 272189.98
| FALSE | 067SMPL.d | 2022-10-05 14:29 | Sample |  | 170653-001 | 1 | 0.046147 | 0.078947 | 0.24963 | 0.0014363 | 0.0013686 | 0.00028228 | 0.076149 | 0.079526 | 0.077053 | <0.000 | <0.000 | <0.000 | <0.000 | 0.31686 | 0.29879 | 0.30946 | 0.30547 | 0.30683 | 0.29574 | 0.0043337 | 0.0032249 | 94.2818 | 12799.5633 | 92.315 | 657708.13 | 92.8085 | 248573.7533 | 93.2104 | 102128.13 | 93.2988 | 124991.8767 | 95.0309 | 797793.4 | 94.7306 | 412279.7767 | 89.2603 | 461593.8667 | 89.5371 | 275433.3033
| FALSE | 068SMPL.d | 2022-10-05 14:32 | Sample |  | 170655-001 | 1 | 1.1921 | 0.11372 | 0.12691 | 0.0069864 | 0.0040432 | 0.0045535 | 0.14667 | 0.1602 | 0.15066 | <0.000 | <0.000 | <0.000 | <0.000 | 0.0426 | 0.042441 | 0.040884 | 0.042624 | 0.041586 | 0.038562 | 0.097031 | 0.089221 | 93.7979 | 12733.8633 | 92.3289 | 657807.1733 | 93.3124 | 249923.3233 | 94.9011 | 103980.62 | 93.6475 | 125459.1133 | 94.6614 | 794691.3 | 95.658 | 416315.9933 | 87.8071 | 454078.9733 | 90.1031 | 277174.5267
| FALSE | 069SMPL.d | 2022-10-05 14:36 | Sample |  | 170657-001 | 1 | 0.044739 | 0.016799 | 0.11639 | 0.023815 | 0.024875 | 0.022881 | 0.1327 | 0.13269 | 0.12172 | <0.000 | <0.000 | <0.000 | <0.000 | 4.8929 | 4.6244 | 4.8213 | 4.5509 | 4.7556 | 4.5505 | 0.00095132 | 0.0010058 | 93.5028 | 12693.7967 | 92.2818 | 657471.5967 | 93.0015 | 249090.5733 | 93.5149 | 102461.8067 | 91.689 | 122835.2467 | 94.5333 | 793615.9433 | 93.686 | 407733.3233 | 87.1385 | 450621.13 | 87.7264 | 269863.52
| FALSE | 070SMPL.d | 2022-10-05 14:40 | Sample |  | 170658-001 | 1 | 0.67103 | 0.03025 | 0.068275 | 0.042322 | 0.039595 | 0.067246 | 0.98914 | 1.0546 | 1.0117 | <0.000 | <0.000 | <0.000 | <0.000 | 18.1521 | 17.0089 | 17.9299 | 16.9173 | 17.7975 | 16.7168 | 0.18599 | 0.1625 | 96.9604 | 13163.2 | 91.4407 | 651479.32 | 92.9265 | 248889.7133 | 94.9186 | 103999.7667 | 93.3409 | 125048.3633 | 93.6834 | 786481.12 | 95.4143 | 415255.2767 | 85.0644 | 439895.3933 | 87.305 | 268566.9367
| FALSE | 071SMPL.d | 2022-10-05 14:44 | Sample |  | 170659-001 | 1 | 0.079692 | 0.01821 | 0.062842 | 0.002158 | 0.0023141 | 0.0010552 | 0.11332 | 0.11044 | 0.11507 | <0.000 | <0.000 | <0.000 | <0.000 | 0.40169 | 0.38878 | 0.40793 | 0.39765 | 0.3996 | 0.37909 | 0.10564 | 0.097767 | 92.0614 | 12498.1233 | 91.0499 | 648694.97 | 91.524 | 245133.1767 | 91.7988 | 100581.51 | 88.2737 | 118259.7833 | 91.6063 | 769043.6633 | 91.5331 | 398363.69 | 81.1542 | 419674.4167 | 81.6299 | 251109.4133
| FALSE | 072SMPL.d | 2022-10-05 14:47 | Sample |  | 170661-001 | 1 | 0.57448 | 0.02866 | <0.000 | 0.0062926 | 0.0077163 | 0.0070467 | 0.122 | 0.1249 | 0.12135 | <0.000 | <0.000 | <0.000 | <0.000 | 0.24986 | 0.23209 | 0.24778 | 0.24222 | 0.24814 | 0.23108 | 0.02536 | 0.023134 | 95.0679 | 12906.2767 | 92.5519 | 659396.1867 | 94.1835 | 252256.2467 | 93.2141 | 102132.19 | 93.3696 | 125086.7267 | 94.2586 | 791310.1267 | 94.45 | 411058.38 | 87.6185 | 453103.44 | 89.5559 | 275491.2933
| FALSE | 073SMPL.d | 2022-10-05 14:51 | Sample |  | 170662-001 | 1 | 5.2867 | 0.0013639 | 0.033195 | 0.0031073 | 0.0027909 | 0.0029148 | 0.12636 | 0.12425 | 0.12665 | <0.000 | <0.000 | <0.000 | <0.000 | 0.19813 | 0.17956 | 0.18589 | 0.18705 | 0.18871 | 0.18116 | 0.00066345 | 0.00089901 | 95.748 | 12998.6033 | 91.3394 | 650757.46 | 91.6919 | 245582.9667 | 91.6037 | 100367.7667 | 91.0726 | 122009.5233 | 94.1553 | 790442.6367 | 93.973 | 408982.4533 | 85.6128 | 442731.4767 | 86.4279 | 265868.98
| FALSE | 074SMPL.d | 2022-10-05 14:55 | Sample |  | 10 ppb old filters | 1 | 10.1784 | 10.1568 | 10.2989 | 10.8566 | 10.3589 | 10.4424 | 10.6496 | 11.2541 | 10.6876 | 0.316 | 0.25659 | 0.31402 | 0.25716 | 11.2605 | 10.5936 | 10.7926 | 10.287 | 10.8795 | 10.3631 | 9.1302 | 8.4665 | 97.2142 | 13197.6567 | 92.8133 | 661258.1367 | 93.9654 | 251672.1667 | 94.8561 | 103931.34 | 94.0682 | 126022.71 | 95.1342 | 798660.4733 | 95.437 | 415354.1167 | 88.0727 | 455452.49 | 89.9458 | 276690.8033
| FALSE | 075SMPL.d | 2022-10-05 14:59 | Sample |  | 10 ppb old filters | 1 | 10.0447 | 10.2131 | 9.8966 | 10.7528 | 10.2948 | 10.3914 | 10.5638 | 11.1147 | 10.6054 | 0.32532 | 0.31865 | 0.33695 | 0.30106 | 11.2102 | 10.5602 | 10.8118 | 10.3809 | 10.8608 | 10.3715 | 9.1769 | 8.506 | 96.7309 | 13132.0467 | 93.4531 | 665817.03 | 93.769 | 251146.13 | 95.2645 | 104378.79 | 94.0389 | 125983.3667 | 95.2831 | 799910.7033 | 95.6645 | 416344.0267 | 88.1477 | 455840.1567 | 90.3031 | 277789.7467
| FALSE | 076_QC1.d | 2022-10-05 15:02 | QC1 |  | qc 1 | 1 | 5.1385 | 5.1239 | 5.1034 | 5.4693 | 5.2575 | 5.2897 | 5.3121 | 5.5543 | 5.305 | 0.51089 | 0.49602 | 0.51165 | 0.49557 | 5.6128 | 5.2726 | 5.6215 | 5.3618 | 5.5486 | 5.2971 | 4.6784 | 4.3017 | 96.8702 | 13150.9567 | 93.903 | 669021.8467 | 94.7449 | 253760.08 | 94.3167 | 103340.3 | 94.23 | 126239.4267 | 95.6219 | 802754.6667 | 95.1663 | 414175.95 | 88.8763 | 459607.96 | 90.4756 | 278320.3833
| FALSE | 077_QC2.d | 2022-10-05 15:06 | QC2 |  | qc 2 | 1 | 10.1742 | 10.1032 | 9.9648 | 10.8684 | 10.2548 | 10.4316 | 10.411 | 11.0371 | 10.4671 | 1.0631 | 0.99214 | 1.0147 | 0.98858 | 10.8989 | 10.4717 | 10.9572 | 10.6378 | 10.8268 | 10.4491 | 9.1396 | 8.5612 | 96.8128 | 13143.1633 | 93.0943 | 663260.71 | 95.2098 | 255005.12 | 94.3216 | 103345.7067 | 92.8234 | 124354.95 | 94.9708 | 797288.9133 | 94.8083 | 412617.8067 | 89.2071 | 461318.7567 | 89.9643 | 276747.61
| FALSE | 078_QC3.d | 2022-10-05 15:10 | QC3 |  | qc 3 | 1 | 51.0303 | 50.5986 | 52.2331 | 54.0159 | 51.926 | 52.0544 | 52.5427 | 57.651 | 52.7231 | 5.3063 | 5.0516 | 5.2977 | 5.0213 | 55.3273 | 52.3054 | 55.7558 | 53.2179 | 57.3714 | 54.3052 | 51.468 | 48.0099 | 96.5591 | 13108.72 | 91.6478 | 652954.96 | 93.5014 | 250429.3467 | 93.1992 | 102115.8367 | 92.6571 | 124132.2533 | 93.579 | 785604.3967 | 94.3112 | 410454.5733 | 86.5118 | 447380.7633 | 88.6574 | 272727.22
| FALSE | 079SMPL.d | 2022-10-05 15:13 | Sample |  | curve 4 | 1 | 49.7508 | 50.3552 | 49.8815 | 52.8212 | 50.8424 | 51.0508 | 51.4861 | 55.6316 | 51.2719 | 2.9691 | 2.6931 | 2.8609 | 2.6281 | 54.8443 | 51.5333 | 53.0082 | 50.2625 | 55.6818 | 52.3349 | 50.4679 | 47.2505 | 94.7977 | 12869.5967 | 91.1869 | 649670.7767 | 92.9521 | 248958.31 | 92.8509 | 101734.2567 | 93.0496 | 124658.1 | 93.1751 | 782214.17 | 94.3423 | 410589.84 | 86.9728 | 449764.3267 | 89.1687 | 274300.2267

## ValueList_Helper (hidden)
Bkgnd
BlkVrfy
CalBlk
CalStd
CICSpike
DilStd
DriftChk
FQBlk
IsoStd
QC1
QC2
QC3
QC4
QC5
Sample
Spike
Spike Ref
SQBlk
SQISTD
SQStd