## Sheet1
Sample | [7 empty] | 75 As [ He ] | 78 Se [ H2 ] | 78 Se [ He ] | 111 Cd [ No Gas ] | 111 Cd [ He ] | 114 Cd [ He ] | 121 Sb [ He ] | 123 Sb [ No Gas ] | 123 Sb [ He ] | 201 Hg [ No Gas ] | 201 Hg [ He ] | 202 Hg [ No Gas ] | 202 Hg [ He ] | 206 [Pb] [ No Gas ] | 206 [Pb] [ He ] | 207 [Pb] [ No Gas ] | 207 [Pb] [ He ] | 208 Pb [ No Gas ] | 208 Pb [ He ] | 238 U [ No Gas ] | 238 U [ He ] | 72 Ge ( ISTD ) [ He ] |  |  | 89 Y ( ISTD ) [ No Gas ] |  |  | 89 Y ( ISTD ) [ H2 ] |  |  | 89 Y ( ISTD ) [ He ] |  |  | 115 In ( ISTD ) [ He ] |  |  | 159 Tb ( ISTD ) [ No Gas ] |  |  | 159 Tb ( ISTD ) [ He ] |  |  | 209 Bi ( ISTD ) [ No Gas ] |  |  | 209 Bi ( ISTD ) [ He ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | Total Dil. | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD
| FALSE | 001SMPL.d | 2023-02-08 13:46 | Sample |  | blk | 1 | [22 empty] | 15270.9033 | 2.4162 |  | 669665.5967 | 0.14406 |  | 258445.97 | 0.46744 |  | 111669.1167 | 0.13916 |  | 149259.2133 | 1.1256 |  | 773834.2433 | 0.1712 |  | 452652.7933 | 0.6992 |  | 482136.1467 | 0.31881 |  | 331721.5133 | 0.22326
| FALSE | 002SMPL.d | 2023-02-08 13:50 | Sample |  | blk | 1 | [22 empty] | 14683.6767 | 0.9341 |  | 666861.3367 | 0.22839 |  | 253163.2733 | 0.54124 |  | 107515.3167 | 0.71823 |  | 143937.45 | 0.15205 |  | 775478.0433 | 0.50872 |  | 442208.9933 | 0.50341 |  | 492306.0367 | 0.67242 |  | 327921.9433 | 0.39379
| FALSE | 003SMPL.d | 2023-02-08 13:54 | Sample |  | blk | 1 | [22 empty] | 14874.8767 | 0.4867 |  | 660690.5233 | 0.58206 |  | 255857.1567 | 0.26045 |  | 108505.1467 | 0.9594 |  | 143676.9033 | 0.54464 |  | 771372.81 | 0.37634 |  | 441746.35 | 0.34826 |  | 485269.8033 | 0.74912 |  | 327736.51 | 0.24005
| FALSE | 004CALB.d | 2023-02-08 13:57 | CalBlk | 1 | blk | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 15065.1633 | 0.24705 | 100 | 664310.26 | 0.47678 | 100 | 255908.4 | 0.3035 | 100 | 108814.7033 | 0.18688 | 100 | 144224.1733 | 0.38891 | 100 | 763182.2733 | 0.24634 | 100 | 436290.09 | 0.66157 | 100 | 483997.55 | 0.45661 | 100 | 325387.01 | 0.83452
| FALSE | 005CALS.d | 2023-02-08 14:01 | CalStd | 2 | curve 1 | 1 | 0.092581 | 0.11701 | 0.11967 | 0.10277 | 0.11413 | 0.10014 | 0.10308 | 0.096124 | 0.096947 | 0.0037209 | 0.00076045 | 0.0012526 | <0.000 | 0.098166 | 0.090151 | 0.10239 | 0.10392 | 0.098465 | 0.0974 | 0.096512 | 0.094323 | 99.6747 | 15016.15 | 0.47789 | 100.561 | 668036.9967 | 0.49399 | 99.4079 | 254393.2667 | 0.29885 | 100.7849 | 109668.7967 | 0.2619 | 100.1526 | 144444.2867 | 0.73 | 100.8513 | 769679.2167 | 0.49733 | 100.29 | 437555.3767 | 0.33981 | 100.503 | 486432.2667 | 0.5062 | 99.6382 | 324209.77 | 0.36775
| FALSE | 006CALS.d | 2023-02-08 14:05 | CalStd | 3 | curve 2 | 1 | 0.98854 | 1.0181 | 0.98889 | 1.0028 | 0.98566 | 1.0212 | 0.97437 | 0.9572 | 0.9992 | 0.044887 | 0.039312 | 0.04553 | 0.047881 | 0.99449 | 0.99123 | 1.0134 | 0.99553 | 1.0074 | 0.99081 | 0.96877 | 0.9649 | 99.3577 | 14968.3933 | 0.49053 | 100.2411 | 665911.8033 | 0.3497 | 100.6581 | 257592.49 | 0.7635 | 100.1621 | 108991.1367 | 0.45167 | 100.3056 | 144664.9533 | 0.8814 | 100.7099 | 768599.9733 | 0.61497 | 99.5091 | 434148.3267 | 0.67203 | 99.6506 | 482306.6 | 0.31624 | 98.6844 | 321106.1867 | 0.86393
| FALSE | 007CALS.d | 2023-02-08 14:09 | CalStd | 4 | curve 2.5 (Hg only) | 1 | 1.9963 | 2.0094 | 2.0463 | 1.9892 | 1.9294 | 2.0085 | 1.9495 | 1.9264 | 1.9651 | 0.086119 | 0.096448 | 0.098316 | 0.095755 | 1.9567 | 1.9801 | 1.9726 | 1.9394 | 1.9744 | 1.9727 | 1.9297 | 1.9064 | 100.4206 | 15128.52 | 0.76946 | 101.1577 | 672000.8167 | 0.10619 | 102.1102 | 261308.4867 | 1.3609 | 100.6638 | 109537.05 | 1.3771 | 100.8455 | 145443.6133 | 1.309 | 102.9762 | 785896.36 | 0.054572 | 101.153 | 441320.2967 | 0.73702 | 100.9191 | 488445.89 | 0.50476 | 99.2361 | 322901.36 | 0.48283
| FALSE | 008CALS.d | 2023-02-08 14:13 | CalStd | 5 | curve 3 | 1 | 9.9051 | 9.8808 | 10.4476 | 10.0315 | 10.1339 | 9.9891 | 9.9851 | 9.6372 | 9.9205 | 0.4616 | 0.48597 | 0.49064 | 0.48775 | 9.8768 | 9.6976 | 9.8915 | 9.7128 | 9.9285 | 9.804 | 9.7459 | 9.6267 | 101.4324 | 15280.9533 | 1.3146 | 99.7107 | 662388.5767 | 0.21705 | 100.258 | 256568.6633 | 0.19492 | 99.7303 | 108521.2133 | 0.20852 | 100.6225 | 145122.0067 | 1.4993 | 101.7382 | 776447.8367 | 0.5064 | 101.7159 | 443776.1933 | 0.54872 | 100.0888 | 484427.4467 | 0.16178 | 99.5691 | 323985.05 | 0.45525
| FALSE | 009CALS.d | 2023-02-08 14:17 | CalStd | 6 | curve 4 | 1 | 50.0633 | 50.2317 | 51.1174 | 50.4672 | 50.3581 | 50.4576 | 50.4702 | 50.6922 | 50.1261 | 2.4822 | 2.4958 | 2.445 | 2.4937 | 48.9256 | 49.0152 | 48.8668 | 48.9616 | 49.7126 | 50.0968 | 50.0986 | 50.5241 | 97.4969 | 14688.06 | 0.52413 | 98.3932 | 653636.1567 | 0.31817 | 98.6091 | 252348.8433 | 1.1105 | 97.7914 | 106411.3933 | 0.61116 | 99.0682 | 142880.2533 | 0.96656 | 101.9054 | 777724.11 | 0.46877 | 100.6285 | 439032.1133 | 0.25222 | 100.4267 | 486062.8967 | 0.16172 | 98.0881 | 319165.8867 | 0.47799
| FALSE | 010CALS.d | 2023-02-08 14:20 | CalStd | 7 | curve 5 | 1 | 99.978 | 99.8959 | 99.3966 | 99.7632 | 99.8077 | 99.7721 | 99.7667 | 99.6906 | 99.9449 | 5.0131 | 5.0037 | 5.0285 | 5.0045 | 100.5496 | 100.5227 | 100.5773 | 100.548 | 100.1508 | 99.9713 | 99.9764 | 99.7756 | 103.6031 | 15607.9833 | 1.701 | 99.5238 | 661147.0433 | 0.25296 | 101.0123 | 258498.8467 | 0.8444 | 100.803 | 109688.4867 | 0.5739 | 100.8613 | 145466.3233 | 0.22673 | 103.282 | 788230.0367 | 0.62157 | 103.0099 | 449421.84 | 0.51542 | 99.4268 | 481223.0467 | 0.51869 | 98.6691 | 321056.3233 | 0.21341
| FALSE | 011SMPL.d | 2023-02-08 14:24 | Sample |  | blk | 1 | 0.030882 | 0.086701 | 0.12924 | 0.0088127 | 0.0040855 | 0.0068676 | 0.042061 | 0.058072 | 0.042142 | 0.077088 | 0.055193 | 0.068489 | 0.054851 | 0.028143 | 0.015907 | 0.018393 | 0.016832 | 0.023834 | 0.016731 | 0.061548 | 0.038734 | 100.6348 | 15160.8 | 1.4147 | 101.4223 | 673758.4133 | 0.2998 | 101.9657 | 260938.8933 | 0.72916 | 101.7738 | 110744.9067 | 0.11407 | 102.1527 | 147328.9067 | 0.89967 | 104.0707 | 794249.4767 | 0.2527 | 102.8549 | 448745.6333 | 0.20907 | 102.488 | 496039.4467 | 0.44201 | 101.0535 | 328815.0867 | 0.37781
| FALSE | 012SMPL.d | 2023-02-08 14:28 | Sample |  | blk | 1 | 0.017203 | 0.023532 | 0.1693 | 0.0026182 | 0.0033275 | 0.00037305 | 0.011063 | 0.022469 | 0.009065 | 0.033652 | 0.019265 | 0.024738 | 0.021327 | 0.0096909 | <0.000 | 0.0069973 | 0.0094206 | 0.0085027 | 0.0039273 | 0.011367 | 0.010058 | 100.0074 | 15066.2767 | 2.5045 | 100.7722 | 669440.1733 | 0.16032 | 101.1507 | 258853.24 | 0.60937 | 101.8204 | 110795.5267 | 0.32496 | 101.6176 | 146557.14 | 0.52351 | 104.8164 | 799940.31 | 0.17404 | 103.3379 | 450853.1767 | 0.92898 | 103.3942 | 500425.2667 | 0.38677 | 100.6252 | 327421.38 | 0.79191
| FALSE | 013_QC1.d | 2023-02-08 14:32 | QC1 |  | qc 1 | 1 | 5.0977 | 5.1087 | 4.8712 | 5.1715 | 5.121 | 5.1102 | 5.0718 | 4.9869 | 5.047 | 0.51397 | 0.50453 | 0.52041 | 0.51722 | 5.0303 | 5.035 | 4.9667 | 4.9923 | 5.0476 | 5.0312 | 4.8911 | 4.8799 | 102.3259 | 15415.5667 | 2.0912 | 101.8429 | 676552.94 | 0.40937 | 101.9506 | 260900.0667 | 0.59656 | 102.9072 | 111978.18 | 0.40905 | 104.339 | 150482 | 0.77628 | 105.5075 | 805214.56 | 0.24074 | 104.6006 | 456361.8967 | 0.68494 | 103.2949 | 499944.7033 | 0.18885 | 101.6042 | 330606.9867 | 1.0581
| FALSE | 014_QC2.d | 2023-02-08 14:35 | QC2 |  | qc 2 | 1 | 10.1613 | 9.8456 | 9.8012 | 10.3004 | 10.166 | 10.2349 | 10.0618 | 9.929 | 10.1117 | 1.0086 | 1.0388 | 1.0129 | 1.0168 | 9.9577 | 9.9152 | 9.9388 | 9.8622 | 10.0019 | 9.9663 | 9.7468 | 9.7235 | 101.4616 | 15285.35 | 1.3931 | 100.7469 | 669271.67 | 0.53485 | 102.0871 | 261249.3667 | 0.21082 | 102.5299 | 111567.6367 | 0.4843 | 104.1753 | 150245.8967 | 0.39827 | 104.2333 | 795489.9867 | 0.54584 | 104.6483 | 456570.15 | 0.32397 | 102.546 | 496319.9633 | 0.21054 | 101.2398 | 329421.1767 | 0.7128
| FALSE | 015_QC3.d | 2023-02-08 14:39 | QC3 |  | qc 3 | 1 | 51.3159 | 50.6014 | 50.4403 | 51.2978 | 51.5349 | 51.2744 | 51.3966 | 51.6827 | 51.1001 | 5.2015 | 5.1953 | 5.1567 | 5.1563 | 50.0201 | 49.8339 | 49.6666 | 49.5333 | 50.5903 | 50.8608 | 50.9811 | 51.5158 | 104.7105 | 15774.8133 | 1.7032 | 101.4585 | 673998.9167 | 0.81487 | 102.1134 | 261316.7 | 0.99022 | 102.1269 | 111129.0367 | 0.21321 | 103.064 | 148643.25 | 0.78576 | 105.4035 | 804420.4933 | 0.26393 | 104.4252 | 455596.98 | 0.53261 | 101.7619 | 492525.2867 | 0.44673 | 100.2208 | 326105.3733 | 0.47266
| FALSE | 016SMPL.d | 2023-02-08 14:43 | Sample |  | blk | 1 | 0.024191 | 0.062296 | 0.030181 | 0.0038461 | 0.0013645 | 0.0014632 | 0.024878 | 0.035108 | 0.024794 | 0.080731 | 0.06191 | 0.087047 | 0.064535 | 0.014519 | 0.009546 | 0.015737 | 0.010024 | 0.016302 | 0.010809 | 0.037943 | 0.025719 | 105.3527 | 15871.55 | 1.1254 | 101.7196 | 675733.7167 | 0.41314 | 101.8991 | 260768.35 | 0.85596 | 104.1342 | 113313.35 | 1.1046 | 105.3473 | 151936.2567 | 0.64001 | 105.8421 | 807767.87 | 0.43292 | 105.3779 | 459753.3633 | 0.10465 | 104.2342 | 504491.0867 | 0.18293 | 102.5911 | 333818.0667 | 0.85494
| FALSE | 017SMPL.d | 2023-02-08 14:47 | Sample |  | blk | 1 | 0.011377 | 0.010456 | 0.14688 | 0.0016871 | 0.0032031 | 0.0010065 | 0.0084757 | 0.016196 | 0.0094837 | 0.043479 | 0.042302 | 0.042617 | 0.036025 | 0.0064693 | 0.0050354 | 0.0052626 | 0.0042011 | 0.0048589 | 0.0053772 | 0.0080601 | 0.0070785 | 104.4964 | 15742.5533 | 1.0059 | 102.3466 | 679898.7033 | 0.32744 | 102.8046 | 263085.5 | 0.36225 | 104.1009 | 113277.1267 | 0.53538 | 105.0921 | 151568.24 | 0.72947 | 105.7355 | 806954.4333 | 0.31797 | 105.8832 | 461958.0567 | 0.069443 | 103.5483 | 501171.2433 | 0.20332 | 103.1315 | 335576.6467 | 0.26365
| FALSE | 018SMPL.d | 2023-02-08 14:50 | Sample |  | 172574-001 | 1 | 0.17338 | 0.18036 | 0.21066 | 0.0040065 | 0.0057835 | 0.0036124 | 0.052179 | 0.048034 | 0.046831 | 0.051098 | 0.045941 | 0.051341 | 0.048305 | 0.51801 | 0.47945 | 0.51004 | 0.50213 | 0.51307 | 0.49169 | 0.086662 | 0.084487 | 104.165 | 15692.6233 | 2.4956 | 100.2881 | 666224.3667 | 0.39422 | 101.9198 | 260821.26 | 0.49951 | 104.5229 | 113736.2633 | 3.3055 | 104.8183 | 151173.2767 | 2.1751 | 105.0334 | 801596.2633 | 0.39435 | 106.4314 | 464349.69 | 4.1804 | 101.2241 | 489922.1667 | 0.08459 | 101.6748 | 330836.4533 | 3.3872
| FALSE | 019SMPL.d | 2023-02-08 14:54 | Sample |  | 172561-001 | 1 | 0.3073 | 0.39512 | 0.29424 | 0.013577 | 0.01347 | 0.010956 | 0.093014 | 0.098868 | 0.097288 | 0.039995 | 0.043882 | 0.038889 | 0.041925 | 0.67825 | 0.66844 | 0.64605 | 0.63895 | 0.66139 | 0.65555 | 0.098882 | 0.099205 | 102.9901 | 15515.63 | 2.0753 | 105.2866 | 699429.4267 | 0.73703 | 106.0763 | 271458.1133 | 0.30186 | 108.7133 | 118296.0367 | 0.93541 | 105.0453 | 151500.72 | 0.27485 | 105.891 | 808141.68 | 0.66827 | 105.7272 | 461277.35 | 0.45428 | 102.5716 | 496444.0933 | 0.47583 | 100.6926 | 327640.6433 | 0.23897
| FALSE | 020SMPL.d | 2023-02-08 14:58 | Sample |  | 172555-001 | 1 | 3.0464 | 0.078031 | 0.16894 | 0.061291 | 0.059234 | 0.055691 | 0.24012 | 0.2254 | 0.23897 | 0.062866 | 0.064052 | 0.067029 | 0.062641 | 2.6204 | 2.6057 | 2.5452 | 2.5261 | 2.5843 | 2.5738 | 6.3781 | 6.3389 | 107.1768 | 16146.36 | 3.2568 | 144.8786 | 962443.6933 | 1.5775 | 139.6033 | 357256.48 | 0.12261 | 142.5316 | 155095.2967 | 1.3785 | 105.1157 | 151602.2233 | 0.36206 | 107.9939 | 824190.2133 | 0.37267 | 107.0413 | 467010.6267 | 0.45211 | 103.2726 | 499837.0267 | 0.96441 | 101.8697 | 331470.7167 | 0.40679
| FALSE | 021SMPL.d | 2023-02-08 15:02 | Sample |  | 172552-001 | 1 | 2.9438 | 0.054659 | 0.13642 | 0.028623 | 0.021462 | 0.016896 | 0.41244 | 0.40949 | 0.42557 | 0.061717 | 0.064128 | 0.082664 | 0.068632 | 3.8221 | 3.7337 | 3.7549 | 3.7544 | 3.7751 | 3.7439 | 1.703 | 1.6915 | 108.1294 | 16289.8733 | 0.9587 | 113.7023 | 755336.1033 | 26.6489 | 106.6944 | 273039.8233 | 1.901 | 110.8221 | 120590.7433 | 0.75132 | 105.0993 | 151578.5567 | 0.06446 | 113.9755 | 869841.1933 | 26.8241 | 106.5573 | 464899.1467 | 0.18151 | 105.4189 | 510225.0533 | 25.0828 | 100.3657 | 326576.84 | 0.81037
| FALSE | 022SMPL.d | 2023-02-08 15:05 | Sample |  | 172547-001 | 1 | 0.42774 | 0.10803 | 0.10399 | 0.0094421 | 0.0020466 | 0.0060439 | 0.064849 | 0.065644 | 0.069695 | 0.061075 | 0.053993 | 0.069223 | 0.057243 | 0.70426 | 0.67876 | 0.71738 | 0.6672 | 0.71527 | 0.67212 | 1.5835 | 1.5131 | 103.7137 | 15624.6367 | 1.3362 | 102.2445 | 679220.8933 | 25.1229 | 109.1416 | 279302.6067 | 9.2565 | 105.4337 | 114727.32 | 0.51356 | 103.1242 | 148730.01 | 0.5618 | 105.927 | 808416.0733 | 25.0484 | 104.5055 | 455947.35 | 0.44088 | 97.1364 | 470137.8433 | 22.8164 | 97.3516 | 316769.5633 | 0.67306
| FALSE | 023SMPL.d | 2023-02-08 15:09 | Sample |  | 172549-001 | 1 | 0.051367 | 0.62015 | 0.56121 | 0.008144 | 0.0088388 | 0.0099968 | 0.051772 | 0.051486 | 0.044617 | 0.3534 | 0.33748 | 0.34325 | 0.34486 | 0.49327 | 0.47771 | 0.5006 | 0.49518 | 0.49627 | 0.49175 | 0.0036554 | 0.0038798 | 107.0591 | 16128.6333 | 1.7297 | 103.8103 | 689622.3933 | 0.56207 | 105.7587 | 270645.45 | 0.57495 | 106.2897 | 115658.81 | 0.33577 | 106.449 | 153525.24 | 0.9105 | 107.665 | 821680.48 | 0.605 | 107.4152 | 468641.9633 | 0.68548 | 102.8413 | 497749.5567 | 0.33549 | 101.5249 | 330348.7967 | 0.69165
| FALSE | 024SMPL.d | 2023-02-08 15:13 | Sample |  | 172560-001 | 1 | 0.54366 | 0.02909 | 0.091483 | 0.015889 | 0.010621 | 0.0077504 | 0.33202 | 0.3233 | 0.31101 | 0.044981 | 0.04858 | 0.074017 | 0.058827 | 0.51078 | 0.50075 | 0.48526 | 0.49383 | 0.49881 | 0.50068 | 0.74373 | 0.73876 | 111.4148 | 16784.8167 | 1.8258 | 106.0179 | 704287.5933 | 0.62239 | 107.7065 | 275630.0533 | 0.44975 | 109.3713 | 119012.03 | 0.75633 | 107.5864 | 155165.5667 | 0.1981 | 107.8426 | 823035.32 | 0.78522 | 107.9028 | 470769.34 | 0.23188 | 103.8353 | 502560.09 | 0.90748 | 102.4569 | 333381.4133 | 0.18137
| FALSE | 025SMPL.d | 2023-02-08 15:17 | Sample |  | 172554-001 | 1 | 2.293 | 0.064903 | 0.10259 | 0.05248 | 0.040756 | 0.042805 | 0.19935 | 0.1925 | 0.1944 | 0.18689 | 0.17862 | 0.19015 | 0.18065 | 1.2135 | 1.22 | 1.2004 | 1.1818 | 1.2047 | 1.203 | 5.8012 | 5.6877 | 109.5104 | 16497.9233 | 1.8084 | 119.7094 | 795241.5567 | 12.3802 | 119.1259 | 304853.2733 | 0.32896 | 122.307 | 133088.0367 | 1.2187 | 109.1666 | 157444.6067 | 0.31115 | 110.2496 | 841405.6733 | 13.9307 | 108.1239 | 471733.7267 | 0.5357 | 103.8908 | 502828.9867 | 10.4587 | 103.4712 | 336681.9067 | 0.85897
| FALSE | 026SMPL.d | 2023-02-08 15:20 | Sample |  | 172556-001 | 1 | 0.9663 | 0.1011 | 0.10303 | 0.03166 | 0.031208 | 0.026113 | 0.75051 | 0.72192 | 0.76216 | 0.085223 | 0.075055 | 0.078854 | 0.082886 | 7.6129 | 7.6058 | 7.5149 | 7.5663 | 7.5423 | 7.5879 | 5.4452 | 5.4258 | 108.2472 | 16307.6233 | 1.2096 | 136.3475 | 905770.57 | 0.50098 | 131.9417 | 337649.7733 | 1.3508 | 134.1767 | 146003.9433 | 0.32604 | 108.7822 | 156890.1967 | 0.92535 | 108.9224 | 831276.6267 | 0.16001 | 108.6596 | 474071.0233 | 0.5017 | 104.1179 | 503927.9133 | 0.69273 | 102.3782 | 333125.4367 | 1.0365
| FALSE | 027SMPL.d | 2023-02-08 15:24 | Sample |  | 172559-001 | 1 | 0.22318 | 0.11423 | 0.22493 | 0.0065851 | 0.0087567 | 0.0064073 | 0.052024 | 0.054724 | 0.056232 | 0.056565 | 0.044826 | 0.049394 | 0.047026 | 0.40705 | 0.41162 | 0.41305 | 0.40842 | 0.41275 | 0.40605 | 0.069015 | 0.065191 | 108.0484 | 16277.6633 | 0.27949 | 107.0769 | 711322.9167 | 0.45738 | 109.145 | 279311.27 | 0.98695 | 110.2988 | 120021.3267 | 0.55367 | 108.5822 | 156601.8233 | 0.3383 | 108.133 | 825251.87 | 0.19446 | 107.9995 | 471191.1267 | 0.53521 | 103.8552 | 502656.6933 | 0.33818 | 103.2729 | 336036.4433 | 0.41459
| FALSE | 028_QC2.d | 2023-02-08 15:28 | QC2 |  | qc 2 | 1 | 10.0642 | 9.9275 | 10.5527 | 10.1971 | 9.9812 | 10.0282 | 9.973 | 9.8081 | 9.9378 | 1.0289 | 1.0026 | 1.0138 | 1.0033 | 10.0371 | 9.901 | 9.9054 | 9.8734 | 9.9731 | 9.9023 | 9.3174 | 9.2874 | 110.9651 | 16717.07 | 1.182 | 106.9792 | 710673.4867 | 0.51158 | 108.8122 | 278459.54 | 1.2614 | 110.7015 | 120459.4667 | 0.77935 | 110.8654 | 159894.7433 | 0.8221 | 109.3256 | 834353.7267 | 0.70856 | 109.2264 | 476543.7667 | 0.93816 | 105.102 | 508690.9067 | 0.36061 | 104.7702 | 340908.5967 | 0.65952
| FALSE | 029SMPL.d | 2023-02-08 15:32 | Sample |  | blk | 1 | 0.0082281 | 0.013989 | 0.12876 | 0.0010089 | 0.0022116 | 0.00087515 | 0.0070718 | 0.0058707 | 0.005589 | 0.03369 | 0.026007 | 0.031137 | 0.021768 | 0.0031524 | 0.00416 | 0.0045866 | 0.003081 | 0.0029983 | 0.0024142 | 0.013133 | 0.0091934 | 107.8339 | 16245.3467 | 0.45549 | 106.6759 | 708659.07 | 0.099742 | 109.5534 | 280356.2967 | 0.85517 | 109.4876 | 119138.6033 | 0.22261 | 109.8031 | 158362.6767 | 0.69074 | 108.4991 | 828046.1533 | 0.44493 | 108.7115 | 474297.64 | 0.9063 | 106.1389 | 513709.4567 | 0.1506 | 104.6403 | 340486.06 | 0.4691
| FALSE | 030SMPL.d | 2023-02-08 15:35 | Sample |  | 172558-001 | 1 | 3.6844 | 1.4373 | 1.2593 | 0.0067979 | 0.0059983 | 0.0057261 | 0.43621 | 0.43341 | 0.42234 | 0.15937 | 0.18222 | 0.18918 | 0.1762 | 0.40384 | 0.4036 | 0.40012 | 0.39529 | 0.40483 | 0.39858 | 0.47617 | 0.4739 | 107.76 | 16234.2233 | 2.6681 | 106.38 | 706693.0533 | 0.41922 | 108.8773 | 278626.2367 | 0.59165 | 110.1653 | 119876.0067 | 0.28771 | 104.7092 | 151015.93 | 0.18814 | 107.1697 | 817900.1433 | 0.42335 | 106.9602 | 466656.61 | 0.29525 | 99.1448 | 479858.4167 | 1.1139 | 98.5478 | 320661.8867 | 0.43301
| FALSE | 031SMPL.d | 2023-02-08 15:39 | Sample |  | 172551-001 | 1 | 0.64741 | 0.013191 | 0.006615 | 0.0024991 | 0.0015441 | 0.001491 | 0.049954 | 0.057705 | 0.048899 | 0.02744 | 0.019201 | 0.022789 | 0.017411 | 0.22988 | 0.2364 | 0.23267 | 0.23517 | 0.23244 | 0.23459 | 0.1558 | 0.15613 | 110.9501 | 16714.8067 | 2.5084 | 106.0395 | 704431.49 | 0.37402 | 108.8254 | 278493.3733 | 0.5701 | 108.9964 | 118604.0767 | 1.5162 | 108.5099 | 156497.4733 | 0.99983 | 108.4177 | 827424.6333 | 0.14764 | 108.1112 | 471678.2733 | 0.45022 | 104.7308 | 506894.68 | 0.35331 | 103.411 | 336486.09 | 0.24824
| FALSE | 032SMPL.d | 2023-02-08 15:43 | Sample |  | 172572-001 | 1 | 0.059733 | 0.044243 | 0.0070583 | 0.00081865 | 0.0043553 | 0.05786 | 0.051301 | 0.055444 | 0.052812 | 0.064022 | 0.049546 | 0.054712 | 0.048041 | 0.62994 | 0.623 | 0.64121 | 0.62238 | 0.63605 | 0.62791 | 0.0025558 | 0.003782 | 107.9667 | 16265.3567 | 1.2097 | 105.1576 | 698572.6367 | 0.68585 | 81.8394 | 209433.8067 | 7.188 | 108.7463 | 118331.9567 | 1.3423 | 108.9658 | 157155.06 | 1.0777 | 108.1564 | 825430.71 | 0.35498 | 108.1817 | 471986.0533 | 0.35436 | 105.1025 | 508693.6567 | 0.5228 | 105.1041 | 341995.1367 | 0.39324
| FALSE | 033SMPL.d | 2023-02-08 15:47 | Sample |  | 172548-001 | 1 | 0.28352 | 0.021997 | 0.042024 | 0.06595 | 0.052545 | 0.062452 | 0.14079 | 0.13992 | 0.13513 | 0.029567 | 0.028378 | 0.026542 | 0.029687 | 3.8779 | 3.8541 | 3.9433 | 3.9451 | 3.9082 | 3.8921 | 0.95694 | 0.94468 | 103.6178 | 15610.1833 | 1.2934 | 100.277 | 666150.3667 | 0.9597 | 103.1131 | 263875.1433 | 0.46732 | 104.4714 | 113680.28 | 0.7403 | 102.7291 | 148160.16 | 0.17895 | 103.4393 | 789430.6367 | 0.21914 | 103.2206 | 450341.08 | 0.68487 | 96.7114 | 468080.8133 | 0.6776 | 96.1904 | 312991.1533 | 1.055
| FALSE | 034SMPL.d | 2023-02-08 15:50 | Sample |  | 172573-002 | 1 | 0.06377 | 0.030058 | 0.069868 | 0.0014087 | 0.0015685 | 0.0013336 | 0.051382 | 0.057326 | 0.053253 | 0.043736 | 0.036596 | 0.038199 | 0.037606 | 0.59927 | 0.60175 | 0.60211 | 0.59237 | 0.59968 | 0.59326 | 0.0032297 | 0.0034692 | 106.8446 | 16096.3067 | 2.7157 | 106.541 | 707762.5867 | 0.35117 | 107.5122 | 275132.8633 | 1.081 | 108.6288 | 118204.1433 | 1.1575 | 108.841 | 156975.0033 | 0.24341 | 108.3651 | 827022.9633 | 0.55619 | 108.0672 | 471486.43 | 0.18595 | 105.1045 | 508703.05 | 0.36689 | 103.9611 | 338275.7633 | 0.10581
| FALSE | 035SMPL.d | 2023-02-08 15:54 | Sample |  | 172567-001 | 1 | 0.56817 | 0.017343 | 0.11184 | 0.0029351 | 0.0012574 | 0.0034609 | 0.13553 | 0.15194 | 0.13333 | 0.028521 | 0.025311 | 0.035612 | 0.024009 | 0.68679 | 0.69725 | 0.69871 | 0.70227 | 0.699 | 0.70172 | 0.010364 | 0.011326 | 109.4881 | 16494.5633 | 1.9474 | 103.4941 | 687521.72 | 0.20453 | 106.3279 | 272101.9333 | 0.53883 | 106.8596 | 116278.9167 | 0.71564 | 107.7295 | 155371.9233 | 0.49092 | 106.0733 | 809532.58 | 0.79732 | 106.9715 | 466706.2567 | 0.37888 | 102.2288 | 494784.73 | 1.3525 | 102.323 | 332945.81 | 0.38456
| FALSE | 036SMPL.d | 2023-02-08 15:58 | Sample |  | 172570-001 | 1 | 0.026907 | 0.0087922 | 0.017701 | 0.0045935 | 0.003275 | 0.0020215 | 0.046929 | 0.046125 | 0.047597 | 0.016668 | 0.020383 | 0.016518 | 0.015268 | 1.4894 | 1.4569 | 1.4834 | 1.4788 | 1.4861 | 1.479 | <0.000 | 0.00071875 | 109.2 | 16451.16 | 3.1419 | 104.7507 | 695869.9667 | 0.81377 | 107.7525 | 275747.6833 | 0.80541 | 109.1619 | 118784.16 | 0.41363 | 109.1598 | 157434.8433 | 1.1128 | 107.0405 | 816913.8 | 0.27231 | 108.4641 | 473218.1067 | 0.67599 | 104.6445 | 506476.6867 | 0.34268 | 105.2446 | 342452.27 | 0.80394
| FALSE | 037SMPL.d | 2023-02-08 16:02 | Sample |  | 172573-001 | 1 | 0.073158 | 0.026803 | 0.070264 | 0.0017753 | 0.0047515 | 0.0026492 | 0.061767 | 0.052956 | 0.058176 | 0.028781 | 0.022913 | 0.029802 | 0.027588 | 1.1465 | 1.1411 | 1.1953 | 1.1959 | 1.1713 | 1.1747 | 0.0030115 | 0.0040994 | 108.7939 | 16389.9733 | 1.2613 | 105.5334 | 701069.32 | 0.56176 | 109.1499 | 279323.7133 | 0.39687 | 108.058 | 117583.0233 | 0.60534 | 109.4405 | 157839.7267 | 0.13679 | 107.6526 | 821585.4433 | 0.55033 | 107.9557 | 471000.1767 | 0.38774 | 105.3743 | 510009.0367 | 0.21563 | 105.5779 | 343536.8867 | 0.55744
| FALSE | 038SMPL.d | 2023-02-08 16:05 | Sample |  | 172566-001 | 1 | 0.12631 | 0.81307 | 0.72976 | 0.0027334 | 0.0015965 | 0.0015528 | 0.053495 | 0.056951 | 0.058138 | 0.027187 | 0.013664 | 0.017423 | 0.016304 | 0.61779 | 0.61169 | 0.62676 | 0.63266 | 0.62588 | 0.63049 | 0.0077661 | 0.0088171 | 107.3094 | 16166.33 | 0.54111 | 103.1141 | 684997.2833 | 0.46549 | 106.564 | 272706.1333 | 1.1876 | 107.3911 | 116857.32 | 0.23571 | 107.3647 | 154845.79 | 0.71764 | 106.5708 | 813329.18 | 0.4961 | 106.8704 | 466264.96 | 0.85456 | 103.3201 | 500066.6567 | 0.47025 | 103.2397 | 335928.48 | 0.88471
| FALSE | 039SMPL.d | 2023-02-08 16:09 | Sample |  | 172553-001 | 1 | 2.2343 | 0.028523 | 0.23374 | 0.035923 | 0.034722 | 0.033104 | 0.12393 | 0.11956 | 0.12503 | 0.039097 | 0.047317 | 0.044209 | 0.047405 | 2.7387 | 2.7564 | 2.6833 | 2.6338 | 2.7155 | 2.7124 | 3.7797 | 3.7182 | 108.6391 | 16366.6567 | 2.6339 | 187.1897 | 1243520.6933 | 1.2624 | 184.285 | 471600.8533 | 0.68456 | 186.9356 | 203413.4233 | 0.58207 | 108.2058 | 156058.9 | 0.57164 | 108.6329 | 829067.0867 | 0.2204 | 109.27 | 476734.23 | 0.62787 | 102.4488 | 495849.8133 | 0.46749 | 102.6718 | 334080.75 | 1.1912
| FALSE | 040_QC2.d | 2023-02-08 16:13 | QC2 |  | qc 2 | 1 | 10.0313 | 10.0862 | 9.7916 | 10.7974 | 9.9475 | 9.9147 | 9.8744 | 10.3572 | 9.8115 | 1.0486 | 1.0052 | 1.0616 | 0.98641 | 10.4251 | 9.8838 | 10.3328 | 9.7405 | 10.4272 | 9.8734 | 9.689 | 9.1337 | 109.9605 | 16565.7233 | 1.8743 | 101.0514 | 671295.0933 | 9.3195 | 109.0926 | 279177.2433 | 0.76442 | 110.5841 | 120331.7667 | 0.15965 | 110.4011 | 159225.07 | 0.16537 | 102.7059 | 783833.28 | 9.0237 | 108.7245 | 474354.0333 | 0.38808 | 99.9743 | 483873.3367 | 7.0218 | 104.4987 | 340025.2667 | 0.43483
| FALSE | 041SMPL.d | 2023-02-08 16:16 | Sample |  | blk | 1 | 0.011105 | 0.015121 | 0.070059 | 0.0010902 | 0.00015431 | 0.0012198 | 0.0037285 | 0.0060034 | 0.0051963 | 0.025752 | 0.021536 | 0.023128 | 0.020348 | 0.0020042 | 0.0052426 | 0.0068256 | 0.00077831 | 0.0017303 | 0.0013514 | 0.013894 | 0.009522 | 106.4606 | 16038.4667 | 1.6225 | 105.0588 | 697916.69 | 0.12419 | 108.4133 | 277438.6467 | 0.35269 | 108.293 | 117838.68 | 1.0157 | 109.1934 | 157483.27 | 0.51742 | 106.6237 | 813732.8767 | 0.39846 | 107.6794 | 469794.5967 | 0.72263 | 104.1152 | 503915.2533 | 0.38768 | 104.3972 | 339694.8067 | 0.25395
| FALSE | 042SMPL.d | 2023-02-08 16:20 | Sample |  | 172557-001 | 1 | 0.89369 | 0.22126 | 0.20079 | 0.024748 | 0.015726 | 0.0062956 | 0.25893 | 0.25024 | 0.25321 | 0.20271 | 0.18923 | 0.19796 | 0.19104 | 0.5133 | 0.49808 | 0.50359 | 0.51079 | 0.50964 | 0.5073 | 1.0788 | 1.0637 | 106.9256 | 16108.5233 | 2.029 | 105.6308 | 701716.1533 | 0.44838 | 109.3558 | 279850.5867 | 0.23018 | 110.0376 | 119737.0867 | 0.32581 | 107.6278 | 155225.3033 | 1.0401 | 106.4082 | 812088.3467 | 0.66468 | 106.0686 | 462766.8533 | 1.811 | 102.5786 | 496478.12 | 0.31179 | 101.8376 | 331366.48 | 1.1562
| FALSE | 043SMPL.d | 2023-02-08 16:24 | Sample |  | 172575-001 | 1 | 0.095423 | 0.0087462 | <0.000 | 0.0017172 | 0.0036952 | 0.00053356 | 0.037565 | 0.039408 | 0.037749 | 0.040018 | 0.036684 | 0.03159 | 0.028902 | 0.88135 | 0.87649 | 0.86527 | 0.88558 | 0.87375 | 0.87346 | 0.0024436 | 0.0013073 | 106.446 | 16036.26 | 2.7399 | 104.2469 | 692522.77 | 0.28436 | 107.7446 | 275727.45 | 0.79153 | 107.7286 | 117224.5733 | 0.68305 | 105.4115 | 152028.8333 | 0.83331 | 106.1463 | 810089.9667 | 0.67118 | 105.7168 | 461232.0533 | 0.58521 | 97.4536 | 471672.9567 | 0.38664 | 97.2828 | 316545.6633 | 0.41792
| FALSE | 044SMPL.d | 2023-02-08 16:28 | Sample |  | 172584-001 | 1 | 25.3031 | 0.17261 | 0.085192 | 0.0077953 | 0.0052023 | 0.0034445 | 0.38961 | 0.39715 | 0.38789 | 0.0041942 | <0.000 | 0.0008975 | <0.000 | 0.80538 | 0.81323 | 0.82012 | 0.80372 | 0.81016 | 0.81039 | 0.20334 | 0.19928 | 136.1042 | 20504.32 | 0.81884 | 102.1882 | 678846.6467 | 0.58754 | 104.5839 | 267638.9233 | 0.7085 | 107.0493 | 116485.33 | 1.0007 | 103.21 | 148853.8367 | 0.49205 | 102.8472 | 784911.6867 | 0.30857 | 103.2817 | 450607.8967 | 0.49802 | 95.9018 | 464162.5633 | 0.45789 | 95.8367 | 311840.0167 | 0.48168
| FALSE | 045SMPL.d | 2023-02-08 16:32 | Sample |  | 172583-001 | 1 | 0.023753 | 0.013156 | 0.10889 | 0.00048329 | 0.00026973 | 0.00071995 | 0.031917 | 0.034576 | 0.032171 | <0.000 | <0.000 | 0.012452 | <0.000 | 0.45423 | 0.44033 | 0.45154 | 0.45361 | 0.45512 | 0.45136 | 0.0013847 | 0.00061218 | 130.7714 | 19700.92 | 1.6688 | 98.5814 | 654886.36 | 0.6917 | 103.7868 | 265599.2433 | 0.82456 | 103.9188 | 113078.9233 | 0.40699 | 99.6232 | 143680.8067 | 0.82668 | 99.7022 | 760909.1567 | 1.0659 | 100.6335 | 439053.9667 | 0.58565 | 90.8673 | 439795.5467 | 0.95919 | 91.5747 | 297972.22 | 0.36095
| FALSE | 046SMPL.d | 2023-02-08 16:35 | Sample |  | 172585-001 | 1 | 0.1358 | 0.02171 | <0.000 | 0.0022548 | 0.0040122 | 0.0027117 | 0.074743 | 0.086194 | 0.082787 | 0.049119 | 0.05898 | 0.11641 | 0.088088 | 1.0085 | 1.0372 | 1.0044 | 1.0621 | 1.015 | 1.0525 | 0.016307 | 0.017431 | 290.6091 | 43780.7367 | 0.64001 | 101.2956 | 672916.9033 | 0.9944 | 104.2403 | 266759.66 | 0.3903 | 102.8942 | 111963.9933 | 0.09868 | 100.149 | 144439.01 | 0.57738 | 102.8838 | 785190.8467 | 0.60231 | 102.6389 | 447803.28 | 0.47486 | 97.52 | 471994.19 | 1.3172 | 94.464 | 307373.6733 | 0.88474
| FALSE | 047SMPL.d | 2023-02-08 16:39 | Sample |  | 172586-001 | 1 | 0.098439 | 0.028322 | 0.025755 | 0.0068301 | 0.0077955 | 0.026178 | 0.050712 | 0.055323 | 0.051747 | <0.000 | <0.000 | <0.000 | <0.000 | 2.4325 | 2.4195 | 2.5422 | 2.5283 | 2.4982 | 2.4812 | 0.0038348 | 0.0032734 | 107.1324 | 16139.6667 | 4.0478 | 104.3003 | 692877.7067 | 0.33588 | 107.3088 | 274612.3433 | 1.1141 | 105.8295 | 115158.0067 | 0.28115 | 108.1406 | 155964.8933 | 0.67464 | 107.2326 | 818380.3267 | 0.46709 | 106.3712 | 464087.1233 | 1.0398 | 103.5363 | 501113.26 | 0.5968 | 103.295 | 336108.5233 | 0.30791
| FALSE | 048SMPL.d | 2023-02-08 16:43 | Sample |  | 172586-002 | 1 | 0.059111 | 0.02275 | 0.021321 | 0.002622 | 0.0015795 | 0.00068135 | 0.052505 | 0.058242 | 0.046824 | <0.000 | <0.000 | <0.000 | <0.000 | 0.65361 | 0.61485 | 0.67255 | 0.62482 | 0.66826 | 0.62084 | 0.0034368 | 0.0032576 | 106.7409 | 16080.6933 | 0.1042 | 99.1084 | 658387.24 | 7.812 | 107.2481 | 274456.86 | 0.12465 | 107.6659 | 117156.3767 | 1.0792 | 107.9552 | 155697.43 | 0.33775 | 101.3536 | 773512.7033 | 7.7744 | 107.6195 | 469533.41 | 0.72802 | 98.8552 | 478456.64 | 6.5858 | 104.5072 | 340052.9433 | 0.93035
| FALSE | 049SMPL.d | 2023-02-08 16:47 | Sample |  | 172586-004 | 1 | 0.065491 | 0.027264 | 0.0098327 | 0.0021893 | 0.0055141 | 0.0012764 | 0.05441 | 0.055454 | 0.05553 | 0.029312 | 0.018982 | 0.018548 | 0.019292 | 0.95515 | 0.97125 | 0.97493 | 0.97836 | 0.967 | 0.97154 | 0.0034867 | 0.0031973 | 106.4089 | 16030.6733 | 1.4495 | 103.8966 | 690195.5633 | 0.58637 | 107.5299 | 275178.1567 | 0.72355 | 107.2603 | 116714.9933 | 0.71303 | 108.0339 | 155810.9867 | 0.92706 | 106.6543 | 813966.81 | 0.51955 | 107.2397 | 467876.3633 | 0.45209 | 103.826 | 502515.5333 | 0.50318 | 104.5467 | 340181.4733 | 0.3926
| FALSE | 050SMPL.d | 2023-02-08 16:50 | Sample |  | 172586-003 | 1 | 0.06993 | 0.039477 | 0.059804 | 0.0019902 | 0.0041048 | 0.0025614 | 0.060591 | 0.058303 | 0.058146 | 0.017563 | 0.0090466 | 0.01357 | 0.014917 | 1.0779 | 1.0721 | 1.111 | 1.1029 | 1.1001 | 1.0886 | 0.0035026 | 0.0026595 | 105.6408 | 15914.9567 | 1.9713 | 103.4261 | 687070.4067 | 0.64729 | 107.2083 | 274354.9267 | 0.50794 | 107.2933 | 116750.91 | 1.4501 | 108.0495 | 155833.4567 | 1.0777 | 106.1289 | 809956.6533 | 0.84064 | 106.5972 | 465073.13 | 0.82107 | 104.1251 | 503963.1467 | 0.50976 | 104.2869 | 339336.0467 | 0.54221
| FALSE | 051SMPL.d | 2023-02-08 16:54 | Sample |  | 172587-001 | 1 | 0.63363 | 0.087923 | 0.16844 | 0.0038604 | 0.0058377 | 0.0036098 | 0.11869 | 0.11351 | 0.11471 | 0.011492 | 0.0078511 | 0.014803 | 0.0090082 | 0.79085 | 0.78571 | 0.79992 | 0.80234 | 0.79792 | 0.79567 | 0.13673 | 0.13477 | 108.5205 | 16348.79 | 1.9085 | 125.9864 | 836940.62 | 3.2477 | 125.7782 | 321876.8967 | 1.2102 | 125.7664 | 136852.3233 | 0.53469 | 105.2022 | 151726.9667 | 0.72164 | 104.9173 | 800710.0233 | 0.15103 | 105.3325 | 459555.1033 | 0.28786 | 100.4105 | 485984.14 | 0.47024 | 101.0818 | 328907.1067 | 0.66377
| FALSE | 052_QC2.d | 2023-02-08 16:58 | QC2 |  | qc 2 | 1 | 10.0331 | 9.8961 | 10.0499 | 10.1562 | 10.018 | 10.0289 | 9.933 | 9.7605 | 9.9635 | 1.0126 | 0.98018 | 0.98999 | 0.98998 | 9.9243 | 9.9151 | 9.8181 | 9.7881 | 9.9218 | 9.893 | 8.941 | 8.9525 | 106.756 | 16082.96 | 2.84 | 103.9979 | 690869.0333 | 0.46339 | 108.3079 | 277169.1167 | 0.54792 | 107.9276 | 117441.05 | 0.47919 | 108.8037 | 156921.2167 | 0.7017 | 105.8561 | 807875.1433 | 0.51025 | 106.9852 | 466765.8367 | 0.73473 | 102.4935 | 496065.9167 | 0.37665 | 103.1418 | 335610.0033 | 0.37182
| FALSE | 053SMPL.d | 2023-02-08 17:01 | Sample |  | blk | 1 | 0.0040081 | 0.01537 | 0.13999 | 0.0019193 | 0.0030722 | 0.0001746 | 0.003301 | 0.0087011 | 0.0051258 | 0.021932 | 0.01631 | 0.021724 | 0.014513 | 0.0038871 | 0.0028164 | 0.0025124 | <0.000 | 0.0035486 | <0.000 | 0.017267 | 0.011452 | 106.0764 | 15980.5867 | 2.5337 | 103.0159 | 684344.98 | 0.56026 | 107.0897 | 274051.4567 | 0.73567 | 106.3902 | 115768.17 | 0.81624 | 107.2968 | 154747.8567 | 0.47003 | 104.7958 | 799783.32 | 0.075351 | 105.9054 | 462054.6233 | 1.0012 | 102.1387 | 494348.9533 | 0.079254 | 103.4697 | 336676.88 | 0.28284
| FALSE | 054SMPL.d | 2023-02-08 17:05 | Sample |  | 172588-001 | 1 | 0.056559 | 0.032003 | 0.083704 | 0.054361 | 0.063361 | 0.054801 | 0.064702 | 0.06762 | 0.055529 | 0.0029146 | 0.0026652 | 0.003179 | <0.000 | 1.9392 | 1.9378 | 1.9348 | 1.9608 | 1.9457 | 1.9508 | 0.00744 | 0.007739 | 106.3643 | 16023.95 | 0.30491 | 102.7961 | 682885.0433 | 0.50523 | 107.2236 | 274394.2033 | 0.74961 | 108.1894 | 117725.9667 | 1.3186 | 107.7087 | 155341.9733 | 0.55443 | 105.74 | 806988.8933 | 0.094291 | 106.797 | 465944.94 | 0.87793 | 103.0458 | 498739.13 | 0.28952 | 103.5769 | 337025.62 | 0.55838
| FALSE | 055SMPL.d | 2023-02-08 17:09 | Sample |  | 172591-001 rush | 1 | 2.7277 | 0.026133 | 0.14444 | 0.058348 | 0.064601 | 0.060555 | 0.21685 | 0.21613 | 0.21443 | 0.005469 | <0.000 | <0.000 | <0.000 | 49.7714 | 46.9878 | 48.8457 | 48.7569 | 50.0109 | 49.7448 | 0.018702 | 0.016852 | 106.3425 | 16020.6733 | 1.0521 | 102.2967 | 679567.2967 | 0.55261 | 105.3629 | 269632.5533 | 0.76537 | 108.4854 | 118048.0233 | 0.1889 | 104.2417 | 150341.7533 | 1.1507 | 103.4135 | 789233.6333 | 0.5481 | 104.7553 | 457036.8333 | 0.56262 | 126.2578 | 611084.5467 | 0.68894 | 127.0171 | 413297.12 | 0.6468
| FALSE | 056SMPL.d | 2023-02-08 17:13 | Sample |  | 172592-001 | 1 | 0.065087 | 0.026898 | 0.096944 | 0.012015 | 0.014376 | 0.013272 | 0.0519 | 0.050749 | 0.048438 | 0.0045892 | 0.0045094 | 0.0026458 | 0.00086144 | 0.59827 | 0.59496 | 0.59938 | 0.58867 | 0.60133 | 0.59304 | 0.071026 | 0.070916 | 107.93 | 16259.8267 | 2.0445 | 103.3503 | 686566.8567 | 1.074 | 105.8478 | 270873.38 | 0.68831 | 107.5477 | 117027.7467 | 0.68541 | 107.1596 | 154550.1167 | 0.56664 | 106.2955 | 811228.27 | 0.41756 | 106.6485 | 465296.7033 | 0.3512 | 101.0686 | 489169.3567 | 0.56223 | 101.4625 | 330145.7467 | 0.31989
| FALSE | 057SMPL.d | 2023-02-08 17:16 | Sample |  | 172597-001 | 1 | 0.13195 | 0.030597 | 0.047241 | 0.015942 | 0.020799 | 0.022876 | 0.12215 | 0.13469 | 0.1159 | <0.000 | <0.000 | <0.000 | 0.0016038 | 1.7507 | 1.7407 | 1.7795 | 1.7727 | 1.762 | 1.7653 | 0.036372 | 0.037115 | 105.4708 | 15889.3533 | 0.79889 | 103.8685 | 690009.1367 | 1.1929 | 105.9993 | 271261.2333 | 0.62327 | 107.4407 | 116911.26 | 0.9616 | 105.844 | 152652.6333 | 0.73068 | 105.5654 | 805656.4733 | 1.2069 | 105.3995 | 459847.6433 | 0.3633 | 100.5947 | 486876.1233 | 1.4274 | 99.7491 | 324570.7233 | 0.47136
| FALSE | 058SMPL.d | 2023-02-08 17:20 | Sample |  | 172598-001 | 1 | 0.0065292 | 0.008738 | 0.10913 | <0.000 | 0.00051404 | <0.000 | 0.066327 | 0.062854 | 0.062639 | 0.0057332 | <0.000 | 0.006484 | <0.000 | 0.28553 | 0.28791 | 0.28546 | 0.28601 | 0.28864 | 0.28437 | 0.0018827 | 0.0028176 | 106.3646 | 16024 | 0.51684 | 104.5092 | 694265.2067 | 0.20697 | 108.4307 | 277483.2167 | 0.75974 | 107.8938 | 117404.27 | 0.67178 | 109.2616 | 157581.6433 | 0.38012 | 106.5909 | 813482.86 | 0.13295 | 106.9785 | 466736.3867 | 0.13623 | 102.8437 | 497761.2167 | 0.27766 | 103.3081 | 336151.11 | 0.6868
| FALSE | 059SMPL.d | 2023-02-08 17:24 | Sample |  | 172599-001 | 1 | 1.7684 | 0.031756 | <0.000 | 0.002053 | 0.0019465 | 0.002541 | 0.10022 | 0.11096 | 0.10384 | 0.002731 | <0.000 | <0.000 | <0.000 | 2.3006 | 2.2964 | 2.3386 | 2.3157 | 2.3254 | 2.3194 | 0.065521 | 0.064412 | 119.4939 | 18001.9467 | 1.6022 | 102.3729 | 680073.7533 | 0.31616 | 110.9565 | 283947.0167 | 49.4627 | 107.6617 | 117151.79 | 0.77522 | 101.6266 | 146570.14 | 0.84734 | 101.6159 | 775514.8433 | 0.78226 | 102.4438 | 446952.0267 | 0.18544 | 94.8191 | 458921.8833 | 0.42003 | 95.9512 | 312212.88 | 0.61967
| FALSE | 060SMPL.d | 2023-02-08 17:28 | Sample |  | 172594-001 | 1 | 0.04028 | 0.014976 | <0.000 | 0.00064097 | <0.000 | <0.000 | 0.054427 | 0.053917 | 0.058713 | 0.0035037 | 0.0018095 | 0.036831 | 0.021359 | 0.57702 | 0.56893 | 0.58315 | 0.56982 | 0.57358 | 0.56087 | 0.0010937 | 0.0016223 | 724.1315 | 109091.5967 | 0.43004 | 99.2383 | 659250.0233 | 0.52722 | 104.2899 | 266886.57 | 0.47104 | 102.1903 | 111198.0533 | 0.62868 | 101.3559 | 146179.7267 | 0.12099 | 101.5166 | 774756.51 | 0.92741 | 103.0022 | 449388.54 | 0.28373 | 94.6104 | 457912.1033 | 0.32698 | 96.3106 | 313382.2167 | 0.75034
| FALSE | 061SMPL.d | 2023-02-08 17:31 | Sample |  | 172602-003 | 1 | 0.55396 | 0.054377 | 0.19931 | 0.016528 | 0.017162 | 0.017532 | 0.24732 | 0.24276 | 0.23444 | 0.01254 | 0.0070361 | 0.0086857 | 0.006025 | 0.57586 | 0.5603 | 0.57443 | 0.59135 | 0.57471 | 0.57314 | 0.066319 | 0.066159 | 102.828 | 15491.2 | 1.0389 | 98.0519 | 651368.93 | 0.60548 | 102.134 | 261369.3867 | 1.0123 | 104.1284 | 113306.9833 | 0.74981 | 100.5246 | 144980.74 | 0.99784 | 99.4299 | 758831.3367 | 0.18503 | 100.9825 | 440576.65 | 0.10555 | 91.1234 | 441035.2533 | 0.32652 | 92.078 | 299609.76 | 0.57314
| FALSE | 062SMPL.d | 2023-02-08 17:35 | Sample |  | 172602-004 D.ICP | 1 | 0.45186 | 0.051006 | 0.149 | 0.0017236 | 0.00064676 | 0.00015413 | 0.32215 | 0.30643 | 0.31624 | 0.008695 | 0.0049517 | 0.0010991 | 0.0045159 | 0.32162 | 0.31899 | 0.3226 | 0.31349 | 0.32619 | 0.32239 | 0.052502 | 0.050566 | 101.2624 | 15255.3533 | 1.2559 | 97.7866 | 649606.6533 | 0.79402 | 102.9447 | 263444.25 | 0.44369 | 103.5406 | 112667.4033 | 0.84545 | 100.5519 | 145020.13 | 0.82048 | 99.8244 | 761842.04 | 1.0364 | 101.732 | 443846.5767 | 1.2175 | 89.1144 | 431311.49 | 0.56859 | 90.9002 | 295777.5167 | 0.60868
| FALSE | 063SMPL.d | 2023-02-08 17:39 | Sample |  | 172604-001 | 1 | 0.069315 | 0.068012 | 0.12278 | 0.015703 | 0.019379 | 0.012014 | 0.10405 | 0.1847 | 0.11004 | 0.0075803 | 0.0015172 | 0.0029985 | <0.000 | 0.44162 | 0.43441 | 0.4428 | 0.4327 | 0.44177 | 0.43261 | 0.0030387 | 0.0047132 | 103.6468 | 15614.5667 | 2.0201 | 102.607 | 681628.93 | 0.86372 | 110.25 | 282138.94 | 2.1693 | 107.3574 | 116820.6133 | 0.61673 | 105.2834 | 151844.1033 | 0.41201 | 103.5905 | 790584.4133 | 0.44167 | 105.4766 | 460184.0767 | 0.53312 | 93.7305 | 453653.4733 | 0.43902 | 95.6494 | 311230.7633 | 0.81454
| FALSE | 064_QC2.d | 2023-02-08 17:43 | QC2 |  | qc 2 | 1 | 9.929 | 9.7419 | 9.7951 | 10.0932 | 10.0334 | 10.0665 | 10.0628 | 9.7452 | 10.011 | 0.97901 | 0.98084 | 0.97498 | 0.96628 | 9.9245 | 9.8016 | 9.8172 | 9.6141 | 9.8955 | 9.7732 | 8.674 | 8.5075 | 105.0061 | 15819.3333 | 1.1553 | 104.9591 | 697254.3733 | 0.53137 | 110.1803 | 281960.6167 | 1.1422 | 106.3607 | 115736.0333 | 1.0267 | 107.5571 | 155123.3567 | 1.056 | 106.4353 | 812295.02 | 0.73319 | 106.4205 | 464301.8867 | 0.42012 | 101.9259 | 493318.9433 | 0.69058 | 103.7911 | 337722.8067 | 0.7716
| FALSE | 065SMPL.d | 2023-02-08 17:46 | Sample |  | blk | 1 | 0.0023369 | 0.029005 | 0.056688 | 0.0017035 | 0.0021085 | 0.0011667 | 0.0079831 | 0.050978 | 0.0046778 | 0.025245 | 0.012874 | 0.020106 | 0.014061 | 0.0057001 | <0.000 | 0.011127 | 0.0019943 | 0.0072239 | 0.0025592 | 0.015104 | 0.01127 | 100.8856 | 15198.58 | 1.398 | 100.4195 | 667096.7633 | 0.59994 | 105.0952 | 268947.5533 | 0.98108 | 103.8723 | 113028.3633 | 0.16594 | 105.2033 | 151728.6267 | 1.4343 | 103.7755 | 791996.3567 | 0.48681 | 105.1148 | 458605.58 | 1.1551 | 101.6813 | 492134.8533 | 0.83045 | 103.1124 | 335514.2367 | 0.57322
| FALSE | 066SMPL.d | 2023-02-08 17:50 | Sample |  | 172607-001 | 1 | 0.071421 | 0.037809 | 0.18227 | 0.0053808 | 0.0091053 | 0.0061743 | 0.06366 | 0.078467 | 0.070823 | 0.0050824 | 0.0035366 | 0.0007333 | 0.0039956 | 3.0502 | 3.3024 | 3.1291 | 3.3918 | 3.1014 | 3.3511 | 0.0034416 | 0.0040237 | 94.7954 | 14281.0833 | 11.6964 | 102.001 | 677603.01 | 0.49452 | 106.7152 | 273093.1833 | 0.45831 | 98.6332 | 107327.4233 | 13.7333 | 97.8867 | 141176.24 | 13.6664 | 103.9197 | 793096.4567 | 0.18762 | 97.4477 | 425154.62 | 13.3725 | 100.694 | 487356.3633 | 0.33514 | 95.1947 | 309751.1933 | 10.8249
| FALSE | 067SMPL.d | 2023-02-08 17:54 | Sample |  | 172608-001 | 1 | 0.50244 | 0.026227 | 0.17365 | 0.0028296 | 0.0023121 | 0.0025462 | 0.11285 | 0.1491 | 0.11384 | 0.0096295 | 0.00061365 | <0.000 | 0.0038238 | 0.6712 | 0.67411 | 0.70909 | 0.68301 | 0.69071 | 0.68488 | 0.033828 | 0.034278 | 102.5838 | 15454.42 | 1.1918 | 103.1105 | 684973.56 | 0.56032 | 108.0788 | 276582.68 | 0.40361 | 107.5456 | 117025.41 | 0.73261 | 106.1096 | 153035.7233 | 0.57779 | 103.7765 | 792003.81 | 0.34757 | 105.5348 | 460437.8633 | 1.0092 | 98.0206 | 474417.1167 | 0.32729 | 99.3133 | 323152.5133 | 0.53981
| FALSE | 068SMPL.d | 2023-02-08 17:58 | Sample |  | 172609-001 As | 1 | 0.8694 | 0.23116 | 0.35523 | 0.00019864 | 0.0030908 | 0.0011596 | 0.09608 | 0.10021 | 0.091501 | 0.0095342 | 0.002735 | 0.0055442 | 0.0024757 | 1.2891 | 1.2807 | 1.3498 | 1.3297 | 1.3278 | 1.3096 | 0.0057767 | 0.0060086 | 106.8297 | 16094.0733 | 1.3202 | 100.7896 | 669555.8833 | 0.17903 | 107.7579 | 275761.5033 | 0.43414 | 106.4671 | 115851.86 | 1.2824 | 106.2693 | 153266.0033 | 0.53754 | 104.788 | 799723.0767 | 0.47426 | 106.3089 | 463815.1 | 0.69632 | 103.7281 | 502041.59 | 0.17753 | 105.1143 | 342028.4067 | 1.0469
| FALSE | 069SMPL.d | 2023-02-08 18:01 | Sample |  | 172611-001 | 1 | 0.13088 | 0.0079156 | 0.062812 | 0.040627 | 0.039059 | 0.043957 | 0.072086 | 0.064831 | 0.069707 | 0.0026223 | <0.000 | 0.0087283 | <0.000 | 11.1123 | 11.0695 | 11.427 | 11.4033 | 11.3216 | 11.2709 | 0.0052323 | 0.0055908 | 121.1483 | 18251.1867 | 0.97335 | 95.6067 | 635125.35 | 0.24916 | 100.2096 | 256444.71 | 0.14106 | 101.5742 | 110527.6433 | 0.84258 | 97.9015 | 141197.6933 | 1.0921 | 97.2152 | 741929.45 | 0.43037 | 97.9887 | 427515.1467 | 1.219 | 88.325 | 427490.65 | 0.16325 | 88.4891 | 287932.11 | 1.2256
| FALSE | 070SMPL.d | 2023-02-08 18:05 | Sample |  | 172611-002 | 1 | 0.24114 | 0.0085144 | 0.032971 | 0.0060627 | 0.004392 | 0.014667 | 0.075098 | 0.077105 | 0.064395 | 0.0025936 | <0.000 | 0.0020328 | <0.000 | 1.8687 | 1.8419 | 1.9057 | 1.9106 | 1.8962 | 1.8807 | 0.0077373 | 0.0080701 | 108.6607 | 16369.91 | 2.2696 | 98.9159 | 657108.7333 | 0.39562 | 102.9927 | 263567.0967 | 0.37566 | 102.8125 | 111875.1533 | 0.54505 | 99.8648 | 144029.1267 | 0.62531 | 100.9428 | 770377.9233 | 0.85092 | 101.5133 | 442892.42 | 0.89196 | 94.0612 | 455254.05 | 0.30998 | 94.7677 | 308361.6533 | 0.71887
| FALSE | 071SMPL.d | 2023-02-08 18:09 | Sample |  | 172611-003 | 1 | 0.16933 | 0.004842 | 0.10412 | 0.000101 | 0.0003625 | <0.000 | 0.054524 | 0.05551 | 0.050665 | 0.0076039 | <0.000 | 0.011367 | 0.001333 | 0.46789 | 0.46695 | 0.46365 | 0.47914 | 0.4737 | 0.47019 | 0.0074793 | 0.0075389 | 114.8789 | 17306.6933 | 1.1838 | 96.5891 | 641651.1633 | 0.67849 | 101.5029 | 259754.5567 | 0.87749 | 101.028 | 109933.2867 | 1.5723 | 98.4912 | 142048.0667 | 0.73641 | 98.5357 | 752007.0967 | 0.72374 | 99.8346 | 435568.59 | 0.18084 | 89.8544 | 434892.9267 | 0.24213 | 91.3363 | 297196.4733 | 0.13613
| FALSE | 072SMPL.d | 2023-02-08 18:13 | Sample |  | 172602-005 | 1 | 1.4311 | 0.16193 | 0.25946 | 0.18694 | 0.18443 | 0.19978 | 0.35899 | 0.35744 | 0.35561 | 0.024603 | 0.014726 | 0.021568 | 0.016247 | 2.6534 | 2.6736 | 2.731 | 2.7139 | 2.7055 | 2.703 | 0.044199 | 0.043267 | 99.6385 | 15010.7 | 1.9831 | 99.9603 | 664046.2 | 0.03005 | 104.1869 | 266623.0467 | 0.38134 | 105.1126 | 114378 | 0.66358 | 98.238 | 141682.9567 | 0.99297 | 99.1776 | 756905.5367 | 0.20971 | 99.8406 | 435594.49 | 0.52974 | 97.7272 | 472997.4233 | 0.25753 | 98.1528 | 319376.46 | 0.32444
| FALSE | 073SMPL.d | 2023-02-08 18:16 | Sample |  | 172602-006 D.ICP | 1 | 0.78255 | 0.12585 | 0.30965 | 0.013045 | 0.011791 | 0.011359 | 0.39826 | 0.38287 | 0.37529 | 0.007509 | <0.000 | <0.000 | <0.000 | 0.30901 | 0.30962 | 0.31156 | 0.31188 | 0.31326 | 0.31102 | 0.011814 | 0.012278 | 101.7496 | 15328.7467 | 0.61086 | 98.2129 | 652438.6767 | 0.8409 | 103.2295 | 264172.8567 | 0.48797 | 103.048 | 112131.35 | 0.71546 | 101.3021 | 146102.1333 | 0.49964 | 101.0233 | 770992.27 | 0.40556 | 102.0711 | 445325.9033 | 0.24287 | 90.0878 | 436022.84 | 0.4381 | 90.9625 | 295980.0233 | 0.48765
| FALSE | 074_QC1.d | 2023-02-08 18:20 | QC1 |  | qc 1 | 1 | 5.0433 | 4.9067 | 4.9978 | 5.1001 | 5.1331 | 5.1442 | 5.1831 | 4.9417 | 5.0908 | 0.52319 | 0.48505 | 0.50105 | 0.49024 | 5.029 | 4.9615 | 4.9148 | 4.9407 | 5.0026 | 4.9661 | 4.3163 | 4.2097 | 101.8972 | 15350.98 | 0.97386 | 104.3633 | 693295.8933 | 0.46594 | 108.537 | 277755.26 | 0.427 | 105.6461 | 114958.5033 | 0.83157 | 108.6383 | 156682.7533 | 0.54259 | 106.5064 | 812838.24 | 0.37535 | 107.9649 | 471040.01 | 1.0114 | 102.9029 | 498047.5333 | 0.54033 | 104.7919 | 340979.1633 | 0.42807
| FALSE | 075_QC2.d | 2023-02-08 18:24 | QC2 |  | qc 2 | 1 | 9.8695 | 9.933 | 9.6431 | 10.8221 | 10.1008 | 10.0923 | 10.1105 | 10.419 | 10.035 | 1.0329 | 0.94745 | 1.0014 | 0.97177 | 10.1328 | 9.8617 | 9.9753 | 9.7025 | 10.1339 | 9.863 | 8.7315 | 8.3773 | 104.8362 | 15793.74 | 0.41013 | 110.8867 | 736631.4533 | 47.572 | 108.4989 | 277657.8333 | 1.01 | 106.2028 | 115564.31 | 0.5935 | 108.2832 | 156170.5467 | 0.34527 | 117.5316 | 896980.0133 | 45.1732 | 107.6842 | 469815.4467 | 0.60075 | 110.55 | 535059.4733 | 41.2647 | 104.2846 | 339328.4033 | 0.50868
| FALSE | 076_QC3.d | 2023-02-08 18:28 | QC3 |  | qc 3 | 1 | 49.984 | 49.4462 | 48.9423 | 50.6712 | 50.4265 | 50.2743 | 50.7705 | 52.4874 | 50.6529 | 4.9983 | 4.9978 | 5.0654 | 4.9848 | 49.7548 | 49.261 | 49.1389 | 48.7932 | 51.2208 | 50.9193 | 48.9806 | 48.7885 | 104.7255 | 15777.0733 | 0.74748 | 102.6278 | 681766.72 | 0.31688 | 107.9458 | 276242.3833 | 0.20884 | 105.7345 | 115054.6867 | 1.2588 | 106.7742 | 153994.1367 | 0.75974 | 104.7501 | 799434.0833 | 0.24033 | 106.9299 | 466524.6167 | 0.28053 | 100.5216 | 486522.0233 | 0.14572 | 102.7183 | 334232.02 | 0.60938
| FALSE | 077SMPL.d | 2023-02-08 18:31 | Sample |  | curve 4 | 1 | 49.1897 | 48.9133 | 49.1456 | 49.6976 | 49.4897 | 49.219 | 49.9346 | 51.6731 | 49.7064 | 2.4792 | 2.4972 | 2.5649 | 2.462 | 48.9269 | 48.5284 | 48.1129 | 47.9372 | 50.134 | 50.1856 | 47.5014 | 48.061 | 106.0914 | 15982.85 | 1.3571 | 102.8686 | 683366.9633 | 0.10302 | 108.5382 | 277758.3333 | 0.95054 | 106.0156 | 115360.5767 | 0.31109 | 106.9924 | 154308.9567 | 0.82701 | 105.5439 | 805492.6233 | 0.43881 | 107.774 | 470207.1333 | 0.4765 | 100.6478 | 487132.9267 | 0.35547 | 102.5987 | 333842.9967 | 0.41316

## ValueList_Helper (hidden)
Bkgnd
BlkVrfy
CalBlk
CalStd
CICSpike
DilStd
DriftChk
FQBlk
IsoStd
QC1
QC2
QC3
QC4
QC5
Sample
Spike
Spike Ref
SQBlk
SQISTD
SQStd