## Sheet1
Sample | [7 empty] | 75 As [ He ] | 78 Se [ H2 ] | 78 Se [ He ] | 111 Cd [ No Gas ] | 111 Cd [ He ] | 114 Cd [ He ] | 121 Sb [ He ] | 123 Sb [ No Gas ] | 123 Sb [ He ] | 201 Hg [ No Gas ] | 201 Hg [ He ] | 202 Hg [ No Gas ] | 202 Hg [ He ] | 206 [Pb] [ No Gas ] | 206 [Pb] [ He ] | 207 [Pb] [ No Gas ] | 207 [Pb] [ He ] | 208 Pb [ No Gas ] | 208 Pb [ He ] | 238 U [ No Gas ] | 238 U [ He ] | 72 Ge ( ISTD ) [ He ] |  |  | 89 Y ( ISTD ) [ No Gas ] |  |  | 89 Y ( ISTD ) [ H2 ] |  |  | 89 Y ( ISTD ) [ He ] |  |  | 115 In ( ISTD ) [ He ] |  |  | 159 Tb ( ISTD ) [ No Gas ] |  |  | 159 Tb ( ISTD ) [ He ] |  |  | 209 Bi ( ISTD ) [ No Gas ] |  |  | 209 Bi ( ISTD ) [ He ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | Total Dil. | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD
| FALSE | 001SMPL.d | 2023-03-09 16:26 | Sample |  | blk | 1 | [22 empty] | 12985.21 | 0.61679 |  | 598875.15 | 0.47697 |  | 253057.3533 | 0.63336 |  | 94578.7733 | 1.2985 |  | 128418.6667 | 0.28168 |  | 732788.0533 | 0.69029 |  | 413440.7667 | 0.4971 |  | 443008.38 | 0.81698 |  | 296210.03 | 0.31123
| FALSE | 002SMPL.d | 2023-03-09 16:30 | Sample |  | blk | 1 | [22 empty] | 12634.9567 | 1.6419 |  | 599927.7433 | 0.40974 |  | 244477.1333 | 0.67033 |  | 91658.2167 | 0.7632 |  | 123763.53 | 0.624 |  | 733962.7067 | 0.57665 |  | 404561.2933 | 0.44015 |  | 446756.7067 | 0.56377 |  | 291894.8867 | 0.77202
| FALSE | 003SMPL.d | 2023-03-09 16:34 | Sample |  | blk | 1 | [22 empty] | 12515.91 | 1.4994 |  | 595892.85 | 0.15287 |  | 244749.1233 | 0.98012 |  | 91309.25 | 0.6869 |  | 123998.3667 | 0.2118 |  | 728877.2567 | 0.30958 |  | 402194.4767 | 0.26992 |  | 445700.7533 | 0.49741 |  | 291573.4767 | 0.5845
| FALSE | 004CALB.d | 2023-03-09 16:37 | CalBlk | 1 | blk | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 12557.0967 | 2.5888 | 100 | 604011.3967 | 0.27222 | 100 | 245965.0133 | 1.1627 | 100 | 92074.32 | 0.87737 | 100 | 125694.39 | 0.52582 | 100 | 746200.3 | 0.42483 | 100 | 407555.9267 | 0.093425 | 100 | 453070.34 | 0.4758 | 100 | 292274.35 | 0.2057
| FALSE | 005CALS.d | 2023-03-09 16:41 | CalStd | 2 | curve 1 | 1 | 0.10901 | 0.097825 | 0.17291 | 0.095273 | 0.10741 | 0.10593 | 0.10583 | 0.08513 | 0.11894 | 0.0018945 | 0.0050162 | 0.0014572 | 0.0043792 | 0.087651 | 0.10321 | 0.089606 | 0.11088 | 0.087393 | 0.10873 | 0.094238 | 0.10252 | 101.3902 | 12731.6633 | 3.5286 | 110.3167 | 666325.73 | 12.8963 | 99.454 | 244621.9467 | 2.8119 | 101.4237 | 93385.19 | 0.82611 | 101.0009 | 126952.4633 | 1.1972 | 110.3865 | 823704.2233 | 12.8663 | 100.819 | 410893.9533 | 0.21017 | 111.547 | 505386.3667 | 12.3368 | 98.6909 | 288448.0567 | 0.49733
| FALSE | 006CALS.d | 2023-03-09 16:45 | CalStd | 3 | curve 2 | 1 | 1.0467 | 1.3595 | 1.1446 | 1.0129 | 1.061 | 1.0517 | 1.0492 | 0.97446 | 1.0626 | 0.053239 | 0.047716 | 0.043814 | 0.045887 | 0.96486 | 0.96718 | 0.96557 | 0.98066 | 0.97205 | 0.97923 | 0.96882 | 0.96891 | 103.1084 | 12947.4267 | 1.3405 | 101.0847 | 610562.9733 | 0.49234 | 101.9337 | 250721.3533 | 66.0779 | 101.8877 | 93812.3833 | 0.71653 | 101.6755 | 127800.39 | 0.16171 | 102.6857 | 766241.3333 | 0.95266 | 101.8513 | 415100.9267 | 0.62193 | 97.5493 | 441966.9867 | 0.23204 | 97.452 | 284827.06 | 0.76178
| FALSE | 007CALS.d | 2023-03-09 16:49 | CalStd | 4 | curve 2.5 (Hg only) | 1 | 2.1226 | 2.5745 | 2.0178 | 2.0586 | 2.1689 | 2.1664 | 2.1494 | 1.9942 | 2.1365 | 0.10907 | 0.098235 | 0.088619 | 0.10142 | 1.9233 | 1.9611 | 1.9572 | 1.9611 | 1.9692 | 1.9778 | 1.9544 | 1.9747 | 101.6523 | 12764.5733 | 2.5934 | 100.3617 | 606196.06 | 1.964 | 81.6637 | 200864.0433 | 19.8761 | 100.717 | 92734.5233 | 4.8869 | 100.8848 | 126806.5067 | 5.048 | 100.688 | 751334.07 | 2.2083 | 102.3569 | 417161.5033 | 8.4445 | 96.2716 | 436178.0767 | 1.6097 | 96.5574 | 282212.5833 | 5.6621
| FALSE | 008CALS.d | 2023-03-09 16:53 | CalStd | 5 | curve 3 | 1 | 10.3571 | 10.4575 | 11.0134 | 11.5598 | 10.4919 | 10.4168 | 10.2928 | 11.1477 | 10.4071 | 0.53039 | 0.47893 | 0.53606 | 0.48054 | 10.9058 | 9.493 | 10.9538 | 9.4797 | 11.0598 | 9.5355 | 11.1781 | 9.6786 | 101.8775 | 12792.86 | 0.94979 | 88.8445 | 536630.95 | 11.994 | 102.2552 | 251511.9567 | 0.37808 | 101.7479 | 93683.6467 | 0.45388 | 101.5168 | 127600.87 | 0.59347 | 89.4002 | 667104.5667 | 11.4008 | 101.7994 | 414889.5133 | 0.49312 | 85.0962 | 385545.6733 | 8.3054 | 97.5572 | 285134.7533 | 0.27826
| FALSE | 009CALS.d | 2023-03-09 16:57 | CalStd | 6 | curve 4 | 1 | 50.6021 | 50.5299 | 51.1144 | 58.7196 | 50.9567 | 51.0804 | 50.7167 | 58.5872 | 50.8666 | 2.8049 | 2.4526 | 2.7412 | 2.4775 | 56.1066 | 47.8927 | 53.9637 | 47.0457 | 55.9057 | 49.1569 | 59.0149 | 50.6173 | 101.195 | 12707.1533 | 2.615 | 92.9427 | 561384.7733 | 39.8561 | 101.8801 | 250589.5 | 0.79055 | 101.1671 | 93148.9333 | 0.69505 | 100.4114 | 126211.4467 | 0.29001 | 94.2972 | 703646.1433 | 39.8197 | 100.7745 | 410712.3333 | 0.15851 | 88.9673 | 403084.3033 | 36.0978 | 91.6403 | 267841.1367 | 0.69215
| FALSE | 010CALS.d | 2023-03-09 17:01 | CalStd | 7 | curve 5 | 1 | 99.6628 | 99.6857 | 99.34 | 95.4841 | 99.4718 | 99.4176 | 99.6119 | 95.5919 | 99.5253 | 4.8443 | 5.0258 | 4.8761 | 5.0132 | 96.8565 | 101.1047 | 97.9231 | 101.5294 | 96.9415 | 100.4682 | 95.375 | 99.7238 | 104.2686 | 13093.11 | 1.8277 | 100.6391 | 607871.82 | 0.19276 | 101.2395 | 249013.6433 | 0.67536 | 102.682 | 94543.7233 | 0.909 | 100.5745 | 126416.5333 | 0.97483 | 101.537 | 757669.25 | 0.48849 | 101.3415 | 413023.2667 | 0.77824 | 91.3206 | 413746.4633 | 0.42645 | 90.3701 | 264128.7633 | 0.66577
| FALSE | 011SMPL.d | 2023-03-09 17:05 | Sample |  | blk | 1 | 0.040635 | 0.11329 | 0.091929 | 0.0089688 | 0.0051512 | 0.0046023 | 0.03545 | 0.040701 | 0.034703 | 0.067542 | 0.051785 | 0.049769 | 0.047727 | 0.030774 | 0.022178 | 0.030176 | 0.024263 | 0.029475 | 0.022905 | 0.052328 | 0.038239 | 102.0899 | 12819.5333 | 0.83477 | 101.412 | 612539.82 | 0.5986 | 101.1899 | 248891.6533 | 0.37122 | 101.7614 | 93696.14 | 0.82463 | 102.0377 | 128255.6767 | 0.23753 | 104.2691 | 778056.6733 | 3.0484 | 101.1113 | 412084.9 | 0.33039 | 91.2045 | 413220.67 | 1.4123 | 88.4015 | 258374.8 | 0.89016
| FALSE | 012SMPL.d | 2023-03-09 17:08 | Sample |  | blk | 1 | 0.019492 | 0.022789 | 0.032332 | 0.002699 | 0.0030299 | 0.0036475 | 0.015263 | 0.017251 | 0.011357 | 0.029766 | 0.024259 | 0.032429 | 0.027192 | 0.017468 | 0.01355 | 0.011871 | 0.0081814 | 0.013726 | 0.010224 | 0.0091062 | 0.0093187 | 106.724 | 13401.4367 | 7.7401 | 101.8815 | 615375.6333 | 0.37297 | 102.2623 | 251529.5667 | 0.81729 | 107.7119 | 99174.98 | 9.7514 | 106.9716 | 134457.33 | 9.3685 | 104.1535 | 777194.04 | 2.4963 | 108.1565 | 440798.07 | 10.7943 | 88.3382 | 400234.2567 | 0.27832 | 92.1129 | 269222.41 | 8.3647
| FALSE | 013_QC1.d | 2023-03-09 17:12 | QC1 |  | qc 1 | 1 | 5.324 | 4.7173 | 5.1599 | 5.0817 | 5.3065 | 5.3249 | 5.3651 | 4.89 | 5.4094 | 0.5044 | 0.55276 | 0.51469 | 0.5309 | 5.0237 | 5.1985 | 4.7521 | 4.9476 | 4.8923 | 5.0179 | 4.5668 | 4.9535 | 100.8527 | 12664.1767 | 5.6656 | 101.904 | 615511.8767 | 0.48957 | 131.8477 | 324299.1933 | 54.024 | 100.568 | 92597.3 | 8.561 | 99.9512 | 125633.03 | 8.0303 | 104.4057 | 779075.7367 | 2.0381 | 103.5119 | 421868.85 | 7.4243 | 86.7311 | 392953.03 | 0.76574 | 83.7579 | 244802.7233 | 8.6618
| FALSE | 014_QC2.d | 2023-03-09 17:16 | QC2 |  | qc 2 | 1 | 11.0759 | 10.2905 | 10.6679 | 11.7929 | 11.0748 | 11.1883 | 11.0481 | 11.3697 | 11.016 | 1.1344 | 1.0925 | 1.124 | 1.0736 | 11.3246 | 10.4707 | 10.7171 | 10.021 | 10.9878 | 10.1832 | 10.2105 | 10.0299 | 97.3343 | 12222.3667 | 5.3042 | 89.8661 | 542801.45 | 16.9132 | 101.7894 | 250366.3167 | 0.88789 | 97.1624 | 89461.64 | 7.6595 | 98.076 | 123276.0833 | 6.9132 | 91.7941 | 684967.9467 | 17.9962 | 97.2339 | 396282.3933 | 6.2256 | 76.1937 | 345211.08 | 12.8851 | 80.7709 | 236072.7067 | 5.2632
| FALSE | 015_QC3.d | 2023-03-09 17:20 | QC3 |  | qc 3 | 1 | 51.2232 | 50.288 | 50.9112 | 49.2924 | 51.3036 | 51.466 | 51.3346 | 49.5414 | 51.3301 | 5.086 | 5.1286 | 4.9627 | 5.0315 | 53.5477 | 48.9918 | 46.8221 | 46.8141 | 51.1374 | 50.7002 | 45.8176 | 48.2899 | 104.8445 | 13165.42 | 0.94375 | 102.1716 | 617127.9067 | 0.10255 | 102.8565 | 252990.9733 | 0.38512 | 102.664 | 94527.1533 | 2.322 | 101.9077 | 128092.2867 | 1.2954 | 105.7056 | 788775.7367 | 0.94106 | 102.7157 | 418624.1267 | 0.89288 | 83.1838 | 376880.9333 | 0.35629 | 83.2803 | 243407.0433 | 1.0156
| FALSE | 016SMPL.d | 2023-03-09 17:24 | Sample |  | blk | 1 | 0.031471 | 0.05911 | <0.000 | 0.0064829 | 0.0047045 | 0.0049452 | 0.018267 | 0.031304 | 0.018879 | 0.088132 | 0.07798 | 0.078011 | 0.064281 | 0.020383 | 0.016835 | 0.024714 | 0.019348 | 0.021503 | 0.015515 | 0.037745 | 0.025254 | 102.453 | 12865.1267 | 2.6389 | 96.9614 | 585657.68 | 7.2271 | 102.0633 | 251040.0533 | 0.56383 | 101.9521 | 93871.7467 | 0.39536 | 102.4194 | 128735.4633 | 0.35522 | 100.8788 | 752758.26 | 9.4695 | 101.3605 | 413100.67 | 0.61014 | 80.1218 | 363008.03 | 5.3155 | 82.8229 | 242070.1067 | 0.75575
| FALSE | 017SMPL.d | 2023-03-09 17:28 | Sample |  | blk | 1 | 0.027873 | 0.012917 | 0.060645 | 0.0026748 | 0.0077274 | 0.0035819 | 0.012188 | 0.014614 | 0.011675 | 0.049588 | 0.038706 | 0.042953 | 0.040889 | 0.022752 | 0.014578 | 0.025889 | 0.010405 | 0.019845 | 0.011644 | 0.0058474 | 0.0079506 | 101.7266 | 12773.9067 | 1.211 | 87.7727 | 530157.29 | 17.3954 | 102.0889 | 251102.88 | 0.5836 | 101.685 | 93625.78 | 1.0118 | 101.9796 | 128182.6433 | 0.60997 | 88.1127 | 657497.4533 | 17.3516 | 100.8363 | 410964.22 | 0.33752 | 72.772 | 329708.3633 | 13.6088 | 81.9164 | 239420.77 | 0.42502
| FALSE | 018SMPL.d | 2023-03-09 17:31 | Sample |  | 172984-001 | 1 | 0.33636 | 0.054547 | 0.07026 | 0.089426 | 0.097232 | 0.09222 | 0.063973 | 0.059154 | 0.064829 | 0.050585 | 0.042302 | 0.043825 | 0.038473 | 0.39894 | 0.40063 | 0.40023 | 0.40828 | 0.39815 | 0.40235 | 0.0072361 | 0.0068925 | 96.0144 | 12056.6233 | 2.5009 | 94.4587 | 570541.54 | 0.5838 | 96.2427 | 236723.38 | 0.45766 | 98.2388 | 90452.7467 | 0.55761 | 91.2129 | 114649.5367 | 0.54436 | 91.7175 | 684396.45 | 0.58382 | 90.9103 | 370510.5167 | 0.48411 | 63.9315 | 289654.4833 | 0.46536 | 63.2219 | 184781.5233 | 0.27733
| FALSE | 019SMPL.d | 2023-03-09 17:35 | Sample |  | 172984-002 | 1 | 0.23483 | 0.033676 | <0.000 | 0.085609 | 0.093841 | 0.082387 | 0.06763 | 0.06577 | 0.058074 | 0.038832 | 0.035394 | 0.035906 | 0.031683 | 0.67368 | 0.63336 | 0.6685 | 0.63492 | 0.66299 | 0.63241 | 0.0048676 | 0.0062875 | 92.295 | 11589.5733 | 1.0259 | 103.1346 | 622945.02 | 42.0748 | 97.7835 | 240513.17 | 0.12029 | 98.3968 | 90598.1767 | 0.54188 | 91.5301 | 115048.2 | 0.39064 | 97.5287 | 727759.7333 | 42.314 | 90.7604 | 369899.27 | 0.63706 | 66.7282 | 302325.5533 | 33.6336 | 63.8589 | 186643.09 | 0.34906
| FALSE | 020SMPL.d | 2023-03-09 17:39 | Sample |  | 172987-001 | 1 | 0.040566 | 0.02716 | <0.000 | 0.0034442 | 0.0035397 | 0.017051 | 0.097297 | 0.08573 | 0.10829 | 0.030137 | 0.027099 | 0.028891 | 0.024548 | 1.09 | 1.084 | 1.0835 | 1.0694 | 1.0682 | 1.0682 | 0.0025132 | 0.0028994 | 96.05 | 12061.09 | 2.4971 | 101.3377 | 612091.2533 | 0.2425 | 101.362 | 249315.1567 | 0.77823 | 99.2844 | 91415.4333 | 0.79341 | 99.3017 | 124816.66 | 0.25713 | 99.5361 | 742738.61 | 0.23947 | 98.7136 | 402313.1333 | 0.25273 | 81.9762 | 371409.6633 | 0.45743 | 83.1928 | 243151.14 | 0.037129
| FALSE | 021SMPL.d | 2023-03-09 17:43 | Sample |  | 172988-001 | 1 | 0.094163 | 0.044417 | 0.19158 | 0.0060306 | 0.004555 | 0.0069777 | 0.21351 | 0.19069 | 0.20718 | 0.039243 | 0.029035 | 0.034027 | 0.024679 | 0.18682 | 0.17241 | 0.16956 | 0.17404 | 0.1746 | 0.17422 | 0.0027272 | 0.0023045 | 94.5707 | 11875.34 | 1.4026 | 96.357 | 582007.49 | 0.21908 | 97.3308 | 239399.72 | 0.91208 | 97.0122 | 89323.28 | 0.055057 | 98.3936 | 123675.1733 | 0.36625 | 97.9141 | 730635.58 | 0.38916 | 97.7899 | 398548.5467 | 0.22661 | 79.0856 | 358313.4167 | 0.6945 | 80.5303 | 235369.4233 | 0.72919
| FALSE | 022SMPL.d | 2023-03-09 17:47 | Sample |  | 172989-001 | 1 | 0.062381 | 0.053153 | <0.000 | 0.045844 | 0.050185 | 0.073083 | 0.14109 | 0.12318 | 0.14125 | 0.034598 | 0.038489 | 0.029362 | 0.031065 | 0.80498 | 0.85339 | 0.81308 | 0.87432 | 0.80209 | 0.84194 | 0.0058382 | 0.0057856 | 93.9158 | 11793.1033 | 2.7285 | 95.5473 | 577116.8033 | 0.36977 | 95.333 | 234485.9367 | 27.6585 | 94.2779 | 86805.7033 | 6.7046 | 94.7064 | 119040.6933 | 6.82 | 97.3467 | 726401.36 | 0.66685 | 94.7312 | 386082.5667 | 5.9205 | 78.2022 | 354310.7633 | 0.55412 | 76.2965 | 222995.14 | 4.9883
| FALSE | 023SMPL.d | 2023-03-09 17:51 | Sample |  | 172990-001 | 1 | 0.62476 | 0.012098 | 0.037286 | 0.0010719 | 0.0024946 | <0.000 | 0.06793 | 0.069981 | 0.072672 | 0.03146 | 0.030666 | 0.048868 | 0.028296 | 0.068985 | 0.061151 | 0.06015 | 0.053729 | 0.062385 | 0.056785 | 0.018508 | 0.017767 | 96.5213 | 12120.27 | 0.49588 | 90.2883 | 545351.5367 | 7.578 | 95.7647 | 235547.7367 | 0.39988 | 93.6674 | 86243.6633 | 4.0802 | 93.0739 | 116988.7333 | 2.6018 | 92.1221 | 687415.1533 | 7.3869 | 98.0643 | 399667.0033 | 7.9486 | 73.0033 | 330756.2133 | 5.8485 | 76.6183 | 223935.57 | 4.0784
| FALSE | 024SMPL.d | 2023-03-09 17:54 | Sample |  | 172996-001 | 1 | 0.13227 | 0.017541 | <0.000 | 0.0045758 | 0.0046917 | 0.0042526 | 0.12784 | 0.1297 | 0.13719 | 0.02514 | 0.017859 | 0.014456 | 0.015728 | 0.55286 | 0.55447 | 0.55825 | 0.54193 | 0.54965 | 0.54815 | 0.072935 | 0.073847 | 91.1437 | 11444.9967 | 3.6046 | 93.7781 | 566430.2333 | 0.22036 | 95.2232 | 234215.85 | 0.287 | 94.6369 | 87136.2567 | 1.4245 | 94.2284 | 118439.8633 | 0.76048 | 96.58 | 720680.3 | 0.083152 | 96.5577 | 393526.53 | 0.61639 | 77.6194 | 351670.4933 | 0.11408 | 77.9996 | 227972.8933 | 0.6963
| FALSE | 025SMPL.d | 2023-03-09 17:58 | Sample |  | 172999-001 | 1 | 0.065983 | 0.95722 | 0.83559 | 0.082492 | 0.096449 | 0.088523 | 0.32123 | 0.29549 | 0.30982 | 0.011402 | 0.013445 | 0.015222 | 0.0097681 | 0.92639 | 0.94602 | 0.93751 | 0.92264 | 0.92656 | 0.92598 | 0.04643 | 0.049402 | 95.0489 | 11935.38 | 1.1827 | 95.2651 | 575412.1267 | 0.14303 | 96.4977 | 237350.4733 | 0.50314 | 96.365 | 88727.4433 | 0.796 | 96.2036 | 120922.4967 | 0.41516 | 97.4609 | 727253.53 | 0.42745 | 97.3129 | 396604.42 | 0.30846 | 76.2191 | 345326.0767 | 0.66951 | 76.4558 | 223460.56 | 1.2987
| FALSE | 026SMPL.d | 2023-03-09 18:02 | Sample |  | 173003-003 | 1 | 0.52718 | 0.067484 | 0.14099 | 0.016423 | 0.026187 | 0.021336 | 0.23739 | 0.24203 | 0.25603 | 0.014263 | 0.017102 | 0.013543 | 0.010996 | 0.30998 | 0.31182 | 0.309 | 0.32988 | 0.31083 | 0.31088 | 0.085379 | 0.086913 | 94.7389 | 11896.4533 | 0.4071 | 95.8479 | 578932.08 | 0.53945 | 97.4574 | 239711.07 | 0.80697 | 97.0814 | 89387.0333 | 0.82633 | 92.2556 | 115960.1267 | 0.8008 | 92.6812 | 691587.57 | 0.37959 | 92.924 | 378717.3967 | 0.53663 | 67.0507 | 303786.6967 | 0.6026 | 67.2769 | 196633.0467 | 0.45572
| FALSE | 027SMPL.d | 2023-03-09 18:06 | Sample |  | 173003-004 | 1 | 0.4949 | 0.037638 | 0.054023 | 0.0018102 | 0.0026957 | 0.0016569 | 0.33283 | 0.29205 | 0.31459 | 0.0088067 | 0.015407 | 0.0090587 | 0.0047356 | 0.10625 | 0.096838 | 0.098917 | 0.096502 | 0.10172 | 0.094655 | 0.074933 | 0.077833 | 95.6423 | 12009.9 | 3.1054 | 97.5053 | 588943.4133 | 0.44251 | 140.4324 | 345414.6467 | 41.3615 | 98.2169 | 90432.5833 | 0.1625 | 93.7923 | 117891.6367 | 0.94093 | 93.4153 | 697065.4067 | 0.22371 | 93.7642 | 382141.44 | 0.56703 | 65.5029 | 296774.39 | 0.29131 | 66.6965 | 194936.66 | 0.93626
| FALSE | 028_QC2.d | 2023-03-09 18:10 | QC2 |  | qc 2 | 1 | 10.3056 | 17.6048 | 9.9638 | 10.0189 | 10.6813 | 10.6922 | 10.561 | 9.6769 | 10.5529 | 0.99598 | 1.0097 | 0.97235 | 1.0067 | 9.9947 | 10.0221 | 9.5027 | 9.5921 | 9.7133 | 9.7288 | 8.6851 | 9.0341 | 97.6883 | 12266.8133 | 0.92816 | 101.3326 | 612060.5233 | 0.33119 | 62.4606 | 153631.1967 | 12.0577 | 99.3125 | 91441.2633 | 0.52847 | 99.5487 | 125127.0933 | 0.44691 | 99.6926 | 743906.4567 | 0.46923 | 99.487 | 405465.0267 | 0.287 | 76.8818 | 348328.6467 | 0.34351 | 78.6248 | 229800.07 | 0.32789
| FALSE | 029SMPL.d | 2023-03-09 18:13 | Sample |  | blk | 1 | 0.01024 | 0.011789 | <0.000 | 0.0017446 | 0.0023278 | 0.0010179 | 0.0039019 | 0.003553 | 0.0062007 | 0.018581 | 0.02241 | 0.021148 | 0.017099 | 0.010308 | 0.0098435 | 0.0072306 | 0.011058 | 0.008109 | 0.010564 | 0.010587 | 0.0074599 | 96.0231 | 12057.7133 | 0.48103 | 101.5044 | 613098.2533 | 19.7242 | 97.4496 | 239691.8533 | 0.87997 | 96.6319 | 88973.1967 | 0.97719 | 98.2207 | 123457.87 | 1.0056 | 103.2937 | 770777.9233 | 19.246 | 98.0773 | 399719.66 | 0.38521 | 81.746 | 370366.7033 | 19.7616 | 78.0932 | 228246.3533 | 0.66601
| FALSE | 030SMPL.d | 2023-03-09 18:17 | Sample |  | 173007-001 | 1 | 0.38866 | 0.0080546 | 0.092117 | 0.0019513 | 0.0020389 | 0.00045039 | 0.076876 | 0.059402 | 0.06892 | 0.017756 | 0.010316 | 0.013449 | 0.010683 | 0.16002 | 0.16458 | 0.13955 | 0.15721 | 0.14928 | 0.16077 | 0.051976 | 0.053489 | 88.9386 | 11168.1 | 1.8686 | 94.5676 | 571199.1033 | 2.5339 | 104.8835 | 257976.79 | 36.8089 | 91.428 | 84181.7333 | 1.078 | 91.9142 | 115530.96 | 1.0362 | 98.8842 | 737874.5533 | 3.0257 | 93.9938 | 383077.3567 | 1.2862 | 74.1284 | 335853.61 | 2.9817 | 73.32 | 214295.6533 | 0.53942
| FALSE | 031SMPL.d | 2023-03-09 18:21 | Sample |  | 173007-002 | 1 | 0.54038 | <0.000 | 0.00017564 | <0.000 | 0.0038671 | 0.00057516 | 0.062244 | 0.038724 | 0.05837 | 0.0073137 | 0.0073646 | 0.0057889 | 0.0041576 | 0.21608 | 0.24649 | 0.21201 | 0.26078 | 0.21419 | 0.2465 | 0.047583 | 0.054149 | 92.2594 | 11585.1033 | 2.6022 | 105.9407 | 639893.9767 | 19.1101 | 90.155 | 221749.7067 | 3.0194 | 93.1653 | 85781.3533 | 0.69083 | 93.6043 | 117655.35 | 0.29077 | 110.442 | 824118.2633 | 17.9063 | 95.4221 | 388898.3733 | 0.53733 | 87.7311 | 397483.6167 | 23.2358 | 76.0716 | 222337.76 | 0.077097
| FALSE | 032SMPL.d | 2023-03-09 18:25 | Sample |  | 173010-001 | 1 | 0.22131 | 0.036492 | <0.000 | 0.00064164 | 0.00096383 | 0.0030874 | 0.08415 | 0.069079 | 0.081566 | 0.0069876 | 0.0041884 | 0.0072754 | 0.003666 | 0.4754 | 0.46427 | 0.47148 | 0.45455 | 0.47185 | 0.46223 | 0.0092152 | 0.010059 | 94.81 | 11905.3833 | 0.94705 | 95.468 | 576637.6633 | 0.65243 | 96.1074 | 236390.6933 | 0.83892 | 95.3899 | 87829.56 | 1.6678 | 95.8867 | 120524.21 | 0.35922 | 97.8202 | 729934.92 | 0.70504 | 97.1713 | 396027.2467 | 0.30644 | 75.8017 | 343435.1367 | 0.38503 | 77.1085 | 225368.3333 | 1.0282
| FALSE | 033SMPL.d | 2023-03-09 18:29 | Sample |  | 173010-002 | 1 | 0.19345 | 0.024581 | 0.081499 | 0.0072288 | 0.0093293 | 0.013366 | 0.10823 | 0.099626 | 0.10843 | 0.0086696 | 0.0039158 | 0.002224 | 0.0016109 | 5.6869 | 5.6528 | 5.6137 | 5.682 | 5.6106 | 5.6262 | 0.005109 | 0.0055564 | 94.6772 | 11888.71 | 2.3933 | 95.4589 | 576582.8867 | 0.81389 | 96.4528 | 237240.09 | 1.8215 | 94.4561 | 86969.8467 | 0.89641 | 95.1289 | 119571.6467 | 1.1439 | 97.9009 | 730537.03 | 0.4254 | 96.5333 | 393427.27 | 0.27138 | 76.1957 | 345220.21 | 0.55485 | 76.9516 | 224909.8267 | 0.39401
| FALSE | 034SMPL.d | 2023-03-09 18:33 | Sample |  | 173010-003 | 1 | 0.21192 | 0.019405 | 0.050104 | 0.0019842 | 0.002256 | 0.0050878 | 0.076657 | 0.066392 | 0.068981 | 0.0037113 | 0.003725 | 0.0086408 | 0.0031284 | 0.17519 | 0.1648 | 0.16858 | 0.16176 | 0.16943 | 0.16903 | 0.0091692 | 0.0095912 | 92.5022 | 11615.59 | 8.3236 | 95.0717 | 574243.64 | 0.64577 | 96.1637 | 236529.0867 | 0.53196 | 94.3546 | 86876.3333 | 11.7414 | 95.3477 | 119846.76 | 11.5621 | 97.5531 | 727941.4033 | 0.34128 | 98.9035 | 403087.1033 | 14.9522 | 75.939 | 344056.8867 | 0.49037 | 76.6944 | 224158.1933 | 10.6516
| FALSE | 035SMPL.d | 2023-03-09 18:36 | Sample |  | 172993-001 mj | 5 | 0.32498 | 0.082194 | <0.000 | 0.10601 | 0.10146 | 0.21628 | 2.2921 | 2.0503 | 2.411 | 0.2414 | 0.2257 | 0.28093 | 0.22507 | 3.1073 | 3.1053 | 3.0521 | 3.1222 | 3.0571 | 3.1009 | 0.60188 | 0.62935 | 93.8002 | 11778.5767 | 0.6868 | 101.1145 | 610743.0333 | 0.21234 | 104.0064 | 255819.3367 | 0.80124 | 101.2742 | 93247.53 | 0.35428 | 97.5323 | 122592.64 | 0.25065 | 100.2452 | 748029.71 | 0.35135 | 99.9669 | 407421.05 | 0.58788 | 74.0356 | 335433.2533 | 1.0415 | 75.7584 | 221422.3233 | 0.36628
| FALSE | 036SMPL.d | 2023-03-09 18:40 | Sample |  | 173009-001 | 1 | 0.16424 | 0.032819 | 0.0080314 | 0.0089746 | 0.0095215 | 0.0099056 | 0.10461 | 0.092504 | 0.10099 | 0.032708 | 0.0093841 | 0.017927 | 0.011466 | 1.7351 | 1.7355 | 1.7284 | 1.7031 | 1.7207 | 1.7065 | 0.009276 | 0.011129 | 91.7016 | 11515.0533 | 1.7497 | 98.5392 | 595187.72 | 0.38096 | 97.4273 | 239636.9667 | 1.0477 | 96.8348 | 89160.0267 | 0.67515 | 94.4256 | 118687.6567 | 0.10763 | 98.006 | 731321.31 | 0.43877 | 95.7786 | 390351.55 | 0.70417 | 74.709 | 338484.37 | 0.2891 | 75.2784 | 220019.54 | 0.36796
| FALSE | 037SMPL.d | 2023-03-09 18:44 | Sample |  | 173012-001 | 1 | 0.054279 | 0.012482 | 0.069655 | 0.020832 | 0.023596 | 0.026704 | 0.08154 | 0.080477 | 0.084088 | 0.0042845 | 0.0020716 | <0.000 | <0.000 | 0.86482 | 0.83933 | 0.83651 | 0.85073 | 0.83533 | 0.83044 | 0.0027146 | 0.0025685 | 93.7826 | 11776.3733 | 1.5919 | 93.5361 | 564968.6467 | 0.21401 | 93.7561 | 230607.25 | 0.95939 | 93.0656 | 85689.53 | 0.455 | 94.1653 | 118360.46 | 0.7225 | 96.7382 | 721860.7267 | 0.1617 | 95.9355 | 390990.9433 | 0.53549 | 74.475 | 337424.2433 | 0.68859 | 76.1858 | 222671.5833 | 0.49824
| FALSE | 038SMPL.d | 2023-03-09 18:48 | Sample |  | 173012-002 | 1 | 0.061609 | 0.03097 | <0.000 | 0.01211 | 0.015704 | 0.012569 | 0.086856 | 0.080201 | 0.085846 | 0.0079263 | 0.0070719 | 0.0015726 | 0.0044564 | 1.0897 | 1.0851 | 1.0755 | 1.0802 | 1.0747 | 1.0706 | 0.0034716 | 0.0043469 | 91.365 | 11472.7967 | 2.7549 | 92.7917 | 560472.24 | 0.31603 | 94.0003 | 231207.93 | 0.85537 | 92.6734 | 85328.4333 | 0.49567 | 94.4387 | 118704.11 | 0.52232 | 96.2057 | 717887.5233 | 0.2 | 95.3001 | 388401.2133 | 0.35308 | 73.5533 | 333248.26 | 0.82674 | 74.4986 | 217740.31 | 0.16919
| FALSE | 039SMPL.d | 2023-03-09 18:52 | Sample |  | 173012-003 | 1 | 0.068012 | 0.026804 | <0.000 | 0.02069 | 0.021898 | 0.017744 | 0.086014 | 0.07735 | 0.080643 | 0.0086115 | 0.0023296 | 0.004861 | 0.0011739 | 0.63141 | 0.64282 | 0.61688 | 0.62818 | 0.61907 | 0.62209 | 0.004005 | 0.0039191 | 90.8955 | 11413.8367 | 0.7783 | 92.8744 | 560971.82 | 0.39418 | 93.3665 | 229648.8933 | 0.41007 | 92.4563 | 85128.5467 | 0.82597 | 93.4957 | 117518.8533 | 0.55387 | 96.3622 | 719054.85 | 0.4724 | 95.0726 | 387474.01 | 0.55613 | 74.2459 | 336386.2867 | 0.21443 | 74.6586 | 218207.9933 | 0.10548
| FALSE | 040_QC2.d | 2023-03-09 18:56 | QC2 |  | qc 2 | 1 | 10.3009 | 10.3579 | 10.4623 | 10.1326 | 10.63 | 10.6986 | 10.6436 | 9.8583 | 10.6842 | 1.0032 | 0.99057 | 0.9468 | 0.9869 | 10.013 | 9.9009 | 9.5496 | 9.5118 | 9.7247 | 9.629 | 8.6335 | 8.7276 | 92.835 | 11657.38 | 1.7181 | 94.4123 | 570261.18 | 0.28323 | 94.7546 | 233063.0467 | 0.57993 | 94.2299 | 86761.55 | 0.50394 | 95.0515 | 119474.4567 | 0.14746 | 97.2359 | 725574.6933 | 0.44897 | 96.4405 | 393048.8933 | 0.41751 | 73.0099 | 330786.2933 | 0.41766 | 75.4604 | 220551.33 | 0.022225
| FALSE | 041SMPL.d | 2023-03-09 18:59 | Sample |  | blk | 1 | 0.0082087 | 0.0035516 | <0.000 | 0.00025069 | 0.0014735 | <0.000 | 0.0086631 | 0.0073874 | 0.0031823 | 0.024464 | 0.017114 | 0.01917 | 0.014853 | 0.01066 | 0.0095647 | 0.011094 | 0.0047131 | 0.0083071 | 0.0057216 | 0.012581 | 0.0091341 | 93.2778 | 11712.9867 | 2.0228 | 95.0328 | 574008.93 | 0.56001 | 95.3401 | 234503.2667 | 0.61631 | 94.4292 | 86945.0667 | 0.32118 | 95.7209 | 120315.7633 | 0.88515 | 97.4175 | 726929.79 | 0.14011 | 96.5762 | 393601.9733 | 0.096618 | 73.7782 | 334267.2033 | 0.91768 | 75.3257 | 220157.7667 | 0.69844
| FALSE | 042SMPL.d | 2023-03-09 19:03 | Sample |  | 173012-004 | 1 | 0.061931 | 0.028683 | <0.000 | 0.0010439 | 0.0015195 | 0.0013544 | 0.090129 | 0.080484 | 0.084248 | 0.010676 | 0.0053613 | 0.0065475 | 0.0032018 | 0.50145 | 0.50998 | 0.50053 | 0.51137 | 0.49557 | 0.50022 | 0.0057048 | 0.0061467 | 91.5953 | 11501.7067 | 2.0412 | 93.0853 | 562245.86 | 0.45375 | 94.1603 | 231601.29 | 1.3495 | 92.6932 | 85346.66 | 0.28695 | 94.1453 | 118335.3933 | 0.57508 | 96.048 | 716710.1367 | 0.13465 | 95.3036 | 388415.6733 | 0.2163 | 71.8592 | 325572.5933 | 0.26868 | 73.0219 | 213424.36 | 0.36635
| FALSE | 043SMPL.d | 2023-03-09 19:07 | Sample |  | 173017-001 | 1 | 0.017025 | 0.010799 | <0.000 | 0.00098092 | 0.0036216 | 0.0029382 | 0.07195 | 0.04958 | 0.065128 | 0.0080942 | 0.0065179 | 0.0074383 | 0.0090104 | 0.36007 | 0.42346 | 0.34974 | 0.43774 | 0.35165 | 0.42238 | 0.00062267 | 0.0007841 | 93.4225 | 11731.15 | 10.3079 | 113.089 | 683070.1733 | 23.6176 | 80.1602 | 197166.0533 | 8.3923 | 95.8813 | 88282.09 | 16.0086 | 96.47 | 121257.4 | 14.2742 | 116.2527 | 867478.1467 | 23.3435 | 100.7767 | 410721.47 | 19.1387 | 88.0913 | 399115.63 | 28.5331 | 75.0846 | 219452.9567 | 13.791
| FALSE | 044SMPL.d | 2023-03-09 19:11 | Sample |  | 173019-001 | 1 | 0.35939 | <0.000 | <0.000 | 0.0013459 | 0.0015917 | 0.00067424 | 0.065739 | 0.064391 | 0.066167 | 0.0025702 | 0.00090015 | <0.000 | <0.000 | 0.38653 | 0.38018 | 0.36133 | 0.36528 | 0.36687 | 0.3682 | 0.0010464 | 0.00095434 | 92.8265 | 11656.31 | 0.51309 | 91.0549 | 549981.7067 | 0.12325 | 91.1964 | 224311.21 | 0.33922 | 90.5185 | 83344.3367 | 0.25678 | 91.8128 | 115403.4767 | 0.78228 | 94.7198 | 706799.73 | 0.27974 | 93.3215 | 380337.4833 | 0.35829 | 70.2057 | 318081.3333 | 0.51278 | 71.2013 | 208103.16 | 0.94117
| FALSE | 045SMPL.d | 2023-03-09 19:15 | Sample |  | 173020-001 | 1 | 0.063775 | 0.0028387 | <0.000 | 0.0088461 | 0.0081116 | 0.0066842 | 0.12671 | 0.1158 | 0.12043 | 0.012023 | 0.0015689 | 0.0048742 | 0.0054617 | 0.32046 | 0.31184 | 0.3284 | 0.31729 | 0.31804 | 0.31348 | 1.1455 | 1.1219 | 92.0559 | 11559.5467 | 0.45133 | 92.2118 | 556970.03 | 0.6066 | 92.3236 | 227083.6433 | 1.1833 | 92.7427 | 85392.2267 | 0.6191 | 91.183 | 114611.9733 | 0.16333 | 94.8479 | 707755.45 | 0.14519 | 94.8553 | 386588.33 | 0.37201 | 66.3241 | 300494.9567 | 0.77644 | 68.594 | 200482.6667 | 0.93511
| FALSE | 046SMPL.d | 2023-03-09 19:19 | Sample |  | 173021-001 | 1 | 0.95551 | 0.00042737 | 0.050512 | <0.000 | <0.000 | <0.000 | 0.081292 | 0.069618 | 0.085694 | 0.00098046 | 0.0029015 | <0.000 | <0.000 | 0.025577 | 0.016818 | 0.018807 | 0.015943 | 0.018442 | 0.016735 | 0.20431 | 0.19807 | 92.5076 | 11616.2733 | 2.005 | 92.3176 | 557608.67 | 0.52408 | 94.1961 | 231689.3667 | 1.7858 | 93.7235 | 86295.2833 | 0.20421 | 92.9763 | 116865.9433 | 0.88098 | 94.963 | 708613.8367 | 0.13656 | 95.6374 | 389775.9967 | 1.3909 | 67.7824 | 307102.0967 | 0.63953 | 69.7243 | 203786.3 | 0.13289
| FALSE | 047SMPL.d | 2023-03-09 19:22 | Sample |  | 173027-001 | 1 | 0.56972 | 0.038629 | <0.000 | 0.0030334 | 0.00095312 | 0.0015602 | 0.07197 | 0.098929 | 0.068396 | 0.0060802 | 0.005538 | <0.000 | <0.000 | 0.46052 | 0.45916 | 0.43862 | 0.45099 | 0.44887 | 0.43779 | 0.020405 | 0.019716 | 93.8006 | 11778.6333 | 0.76183 | 93.6981 | 565947.3233 | 0.42988 | 93.9007 | 230962.97 | 1.2551 | 96.6247 | 88966.5767 | 1.2349 | 94.8177 | 119180.5167 | 1.6664 | 94.7497 | 707022.6967 | 0.579 | 96.407 | 392912.4167 | 1.5058 | 66.6762 | 302090.1533 | 1.0358 | 69.4281 | 202920.58 | 1.3096
| FALSE | 048SMPL.d | 2023-03-09 19:26 | Sample |  | 173028-001 | 1 | 1.0977 | 0.061316 | 0.081277 | 0.0041098 | 0.0045544 | 0.0014933 | 0.62211 | 0.58525 | 0.6312 | 0.0070124 | 0.0026566 | <0.000 | <0.000 | 0.26686 | 0.26834 | 0.25542 | 0.25323 | 0.25649 | 0.25927 | 0.032766 | 0.031861 | 90.2932 | 11338.21 | 2.4322 | 90.9992 | 549645.2467 | 0.43645 | 91.3628 | 224720.5633 | 1.1976 | 89.9495 | 82820.4333 | 1.4323 | 91.0482 | 114442.46 | 1.119 | 93.7293 | 699407.9567 | 0.75309 | 92.4789 | 376903.2067 | 0.27769 | 65.8787 | 298476.9967 | 0.35905 | 67.3 | 196700.5267 | 0.45482
| FALSE | 049SMPL.d | 2023-03-09 19:30 | Sample |  | 173028-002 | 1 | 0.98577 | 0.057551 | 0.0054055 | 0.0020847 | 0.0025515 | 0.00067792 | 0.6309 | 0.57566 | 0.62701 | 0.0054166 | 0.0040621 | <0.000 | 0.0016838 | 0.14038 | 0.14329 | 0.1334 | 0.12874 | 0.13049 | 0.13217 | 0.047554 | 0.04794 | 91.6931 | 11513.9933 | 1.4435 | 92.13 | 556475.7067 | 0.54584 | 93.3232 | 229542.3033 | 0.7144 | 91.4174 | 84171.9133 | 2.6959 | 92.7441 | 116574.1167 | 2.1612 | 95.1134 | 709736.8033 | 0.58609 | 93.1267 | 379543.2167 | 1.5173 | 68.1851 | 308926.4433 | 0.33174 | 69.0388 | 201782.74 | 1.4229
| FALSE | 050SMPL.d | 2023-03-09 19:34 | Sample |  | 173029-001 | 1 | 13.0163 | 0.031283 | 0.044172 | 0.0017797 | 0.0018872 | 0.0014025 | 0.056065 | 0.050799 | 0.050159 | 0.0084403 | 0.0024847 | 0.0074476 | 0.0046914 | 0.062772 | 0.063033 | 0.05845 | 0.064198 | 0.059645 | 0.062441 | 0.012528 | 0.013121 | 93.942 | 11796.3833 | 0.31024 | 96.0537 | 580175.1033 | 0.52433 | 95.858 | 235777.25 | 0.66077 | 95.8102 | 88216.6167 | 0.13819 | 91.2521 | 114698.7167 | 0.47604 | 94.6239 | 706083.6467 | 0.32078 | 93.331 | 380375.8467 | 0.50409 | 67.2592 | 304731.56 | 0.41472 | 68.9984 | 201664.7033 | 0.21972
| FALSE | 051SMPL.d | 2023-03-09 19:38 | Sample |  | 173030-001 | 1 | 1.5801 | 0.0006227 | 0.0010148 | 0.015841 | 0.0072117 | 0.0025015 | 0.047183 | 0.043117 | 0.040106 | <0.000 | 0.0067468 | 0.015454 | 0.0039292 | 0.075645 | 0.075949 | 0.074583 | 0.073706 | 0.076589 | 0.076425 | 1.8191 | 1.7782 | 91.4712 | 11486.13 | 2.2287 | 91.3263 | 551621.26 | 0.44577 | 91.7425 | 225654.33 | 1.1122 | 92.5076 | 85175.7067 | 1.6444 | 91.5918 | 115125.7867 | 0.40354 | 93.6564 | 698864.28 | 0.1914 | 93.0304 | 379150.7233 | 0.221 | 65.8721 | 298446.78 | 0.39769 | 68.0225 | 198812.43 | 0.53416
| FALSE | 052_QC2.d | 2023-03-09 19:42 | QC2 |  | qc 2 | 1 | 10.4211 | 10.2361 | 10.0359 | 11.0799 | 10.7021 | 10.6505 | 10.5936 | 10.8055 | 10.5873 | 1.093 | 1.0307 | 1.0591 | 1.0161 | 10.7842 | 10.0006 | 10.2354 | 9.573 | 10.4158 | 9.6429 | 9.3486 | 8.6037 | 93.1004 | 11690.7133 | 1.7222 | 88.7597 | 536118.95 | 18.1371 | 94.3682 | 232112.6467 | 1.5323 | 94.3929 | 86911.5967 | 1.3372 | 94.7411 | 119084.2367 | 0.45065 | 92.9721 | 693758.39 | 21.3365 | 95.5264 | 389323.5467 | 0.29465 | 65.5899 | 297168.5733 | 15.273 | 70.6693 | 206548.1633 | 0.20868
| FALSE | 053SMPL.d | 2023-03-09 19:45 | Sample |  | blk | 1 | 0.0068017 | 0.011195 | <0.000 | 0.0014868 | 0.0014764 | 0.0012897 | 0.0044067 | 0.01275 | 0.0074664 | 0.01481 | 0.017518 | 0.020844 | 0.013937 | 0.010683 | 0.0072445 | 0.0059706 | 0.0037179 | 0.0079937 | 0.0047846 | 0.013585 | 0.0079085 | 93.4727 | 11737.4567 | 2.4704 | 93.7156 | 566052.6067 | 0.44336 | 94.8758 | 233361.3033 | 1.7255 | 94.1526 | 86690.3267 | 0.11219 | 95.0788 | 119508.7133 | 0.14746 | 96.1617 | 717558.5767 | 0.15846 | 95.5172 | 389286.1467 | 0.48188 | 68.7993 | 311709.44 | 0.367 | 71.4719 | 208894.16 | 0.63045
| FALSE | 054SMPL.d | 2023-03-09 19:49 | Sample |  | 173031-001 | 1 | 0.085049 | 0.047671 | <0.000 | 0.0059802 | 0.0063789 | 0.007076 | 0.081338 | 0.075214 | 0.078047 | 0.0061152 | 0.0069853 | 0.0064899 | 0.0046143 | 0.089943 | 0.093417 | 0.085015 | 0.094613 | 0.087037 | 0.090685 | 1.0452 | 1.0313 | 88.8233 | 11153.6233 | 1.139 | 91.4949 | 552639.72 | 0.62809 | 91.358 | 224708.6933 | 1.0266 | 90.8031 | 83606.3367 | 0.7226 | 91.5896 | 115122.9833 | 0.93119 | 94.5816 | 705768.4367 | 0.26363 | 93.1258 | 379539.6633 | 0.24543 | 67.8204 | 307274.0533 | 0.59573 | 69.3681 | 202745.0767 | 0.53896
| FALSE | 055SMPL.d | 2023-03-09 19:53 | Sample |  | 173035-001 | 1 | 0.11181 | 0.11581 | 0.14394 | 0.003415 | 0.0026581 | 0.0058162 | 0.086442 | 0.075066 | 0.087963 | 0.034093 | 0.019729 | 0.01942 | 0.020012 | 2.2669 | 2.281 | 2.2014 | 2.2268 | 2.2186 | 2.2189 | 0.0054668 | 0.0052714 | 86.4853 | 10860.0467 | 4.1349 | 88.7812 | 536248.7733 | 0.58897 | 90.0111 | 221395.71 | 0.65528 | 87.4724 | 80539.6433 | 2.2832 | 85.7339 | 107762.64 | 2.43 | 90.1293 | 672545.47 | 0.82062 | 87.6904 | 357387.3967 | 2.5306 | 59.2226 | 268319.9 | 1.0433 | 59.8993 | 175070.3267 | 1.6823
| FALSE | 056SMPL.d | 2023-03-09 19:57 | Sample |  | 173038-001 | 1 | 1.2654 | 0.09033 | 0.12301 | 0.0010312 | 0.0016656 | <0.000 | 0.10082 | 0.093641 | 0.1026 | <0.000 | <0.000 | <0.000 | <0.000 | 0.059115 | 0.052389 | 0.053729 | 0.056271 | 0.056641 | 0.054639 | 0.018906 | 0.019229 | 135.0859 | 16962.87 | 0.67748 | 89.6718 | 541628.0367 | 0.54185 | 89.1718 | 219331.3433 | 1.32 | 88.1918 | 81202.0167 | 0.3365 | 87.8403 | 110410.3467 | 0.29438 | 92.4766 | 690060.98 | 0.36842 | 90.5622 | 369091.7733 | 0.2683 | 63.6867 | 288545.62 | 0.46277 | 64.8125 | 189430.2733 | 0.40228
| FALSE | 057SMPL.d | 2023-03-09 20:01 | Sample |  | 173039-001 | 1 | 1.5194 | 0.017493 | <0.000 | <0.000 | 0.00013812 | 0.00028945 | 0.10838 | 0.12866 | 0.11637 | 0.00010718 | <0.000 | <0.000 | <0.000 | 0.12662 | 0.097259 | 0.11687 | 0.098677 | 0.11445 | 0.095665 | 0.00045694 | 0.0004144 | 118.9009 | 14930.5067 | 1.1189 | 79.3894 | 479520.9433 | 18.6311 | 91.412 | 224841.5433 | 1.0457 | 90.468 | 83297.78 | 0.24619 | 90.9634 | 114335.83 | 0.3971 | 81.9016 | 611150.19 | 18.3036 | 92.7493 | 378005.4233 | 0.41695 | 57.8286 | 262004.2367 | 15.7495 | 66.3831 | 194020.7933 | 1.0304
| FALSE | 058SMPL.d | 2023-03-09 20:05 | Sample |  | 173040-001 | 1 | 0.23751 | 0.007562 | 0.024794 | 0.034915 | 0.027456 | 0.044636 | 0.27889 | 0.28108 | 0.29159 | <0.000 | <0.000 | <0.000 | <0.000 | 10.3513 | 9.908 | 10.1679 | 9.8595 | 10.1919 | 9.7272 | 0.0060314 | 0.005404 | 90.9942 | 11426.2333 | 3.4158 | 88.3768 | 533806.2133 | 0.16144 | 90.2274 | 221927.84 | 0.3781 | 91.8573 | 84576.99 | 7.928 | 90.2865 | 113485.1233 | 7.191 | 91.0332 | 679289.6767 | 0.42809 | 93.4845 | 381001.7367 | 7.2982 | 61.8434 | 280194.1333 | 0.84653 | 65.4334 | 191244.9867 | 6.7619
| FALSE | 059SMPL.d | 2023-03-09 20:08 | Sample |  | 173041-001 | 1 | 0.13139 | 0.030215 | 0.18001 | <0.000 | 0.0023187 | 0.004014 | 0.072949 | 0.066418 | 0.067682 | <0.000 | <0.000 | <0.000 | <0.000 | 1.8564 | 1.8593 | 1.8042 | 1.8293 | 1.8238 | 1.8152 | 0.034778 | 0.032977 | 97.821 | 12283.48 | 1.0093 | 108.5339 | 655557.34 | 0.32192 | 109.5692 | 269501.8233 | 1.3696 | 108.155 | 99583.0233 | 0.959 | 86.6821 | 108954.5467 | 0.59431 | 92.3985 | 689477.6467 | 0.17554 | 90.3963 | 368415.65 | 0.077645 | 61.7289 | 279675.55 | 0.38389 | 62.8359 | 183653.2 | 0.56838
| FALSE | 060SMPL.d | 2023-03-09 20:12 | Sample |  | 173041-002 | 1 | 0.16917 | 0.010163 | <0.000 | 0.00049521 | 0.0021869 | 0.0018092 | 0.073102 | 0.061424 | 0.071624 | <0.000 | <0.000 | <0.000 | <0.000 | 0.76078 | 0.76904 | 0.73718 | 0.72954 | 0.74033 | 0.73846 | 0.0045924 | 0.0037079 | 86.2819 | 10834.5 | 2.6779 | 88.1967 | 532718.0067 | 0.54372 | 88.4447 | 217543.0933 | 0.45773 | 87.2622 | 80346.11 | 1.0452 | 87.0421 | 109407.0767 | 0.69306 | 91.0311 | 679274.2567 | 0.29768 | 89.2396 | 363701.2167 | 0.2666 | 61.4265 | 278305.4533 | 0.92646 | 62.6741 | 183180.36 | 0.064485
| FALSE | 061SMPL.d | 2023-03-09 20:16 | Sample |  | 173042-001 | 1 | 0.54547 | <0.000 | <0.000 | 0.002649 | 0.0047615 | 0.0034855 | 0.074961 | 0.073407 | 0.078111 | <0.000 | <0.000 | <0.000 | <0.000 | 0.11712 | 0.12477 | 0.11872 | 0.11062 | 0.11408 | 0.11747 | 0.15525 | 0.15413 | 86.5475 | 10867.85 | 0.88554 | 87.9871 | 531452.3 | 0.28163 | 87.9833 | 216408.0167 | 1.0726 | 86.5518 | 79692.0233 | 0.34739 | 87.0324 | 109394.9 | 0.24221 | 91.5017 | 682785.9367 | 1.0361 | 89.9596 | 366635.63 | 0.24526 | 62.6688 | 283933.9367 | 0.52807 | 63.7528 | 186333.1867 | 0.44084
| FALSE | 062SMPL.d | 2023-03-09 20:20 | Sample |  | 173043-001 | 1 | 3.5483 | 0.012735 | <0.000 | 0.00045466 | 0.0015924 | 0.00066884 | 0.065345 | 0.074681 | 0.055992 | <0.000 | <0.000 | 0.00066427 | <0.000 | 0.0016338 | 4.6929e-05 | 0.0004569 | <0.000 | 0.00098858 | <0.000 | 0.027024 | 0.026031 | 89.7265 | 11267.04 | 1.2298 | 90.8426 | 548699.9533 | 0.50684 | 92.5494 | 227639.0467 | 2.2003 | 90.7736 | 83579.1833 | 1.6837 | 89.679 | 112721.52 | 2.3757 | 93.399 | 696943.3133 | 0.4325 | 91.4514 | 372715.5767 | 1.5398 | 63.5571 | 287958.4567 | 0.6968 | 63.2648 | 184906.6533 | 1.8552
| FALSE | 063SMPL.d | 2023-03-09 20:24 | Sample |  | 173044-001 | 1 | 0.23781 | 1.1305 | 1.2972 | 0.0037333 | 0.0055407 | 0.007752 | 0.15884 | 0.15726 | 0.14944 | <0.000 | <0.000 | <0.000 | <0.000 | 0.1357 | 0.12469 | 0.12014 | 0.12307 | 0.1277 | 0.12094 | 0.49891 | 0.46804 | 89.0999 | 11188.3667 | 9.3674 | 88.2231 | 532877.3833 | 6.1145 | 90.9101 | 223607.0333 | 1.2007 | 89.3491 | 82267.5933 | 11.5691 | 90.8766 | 114226.77 | 11.3321 | 91.2327 | 680778.9333 | 5.8055 | 94.8147 | 386422.8267 | 7.2411 | 63.8948 | 289488.3433 | 4.1661 | 67.0516 | 195974.6 | 10.0924
| FALSE | 064_QC2.d | 2023-03-09 20:28 | QC2 |  | qc 2 | 1 | 10.1661 | 9.9635 | 10.249 | 10.0914 | 10.6426 | 10.7275 | 10.6869 | 9.8855 | 10.6876 | 1.0155 | 1.0462 | 1.0171 | 1.024 | 9.9649 | 10.0477 | 9.4468 | 9.5834 | 9.6778 | 9.7092 | 8.7752 | 8.5602 | 91.1079 | 11440.51 | 2.1339 | 93.7802 | 566442.8167 | 0.54961 | 92.904 | 228511.2767 | 0.63178 | 92.2559 | 84943.9833 | 0.41919 | 92.7084 | 116529.23 | 0.56916 | 96.2067 | 717894.4433 | 0.39384 | 94.1692 | 383792.15 | 0.4796 | 66.8445 | 302852.4033 | 0.39554 | 68.225 | 199404.1667 | 0.35104
| FALSE | 065SMPL.d | 2023-03-09 20:31 | Sample |  | blk | 1 | 0.008576 | 0.017477 | <0.000 | 0.00084208 | 0.0025566 | 0.0020371 | 0.0085742 | 0.017761 | 0.006698 | 0.02747 | 0.020442 | 0.027852 | 0.015624 | 0.0079228 | 0.011413 | 0.0040642 | 0.010022 | 0.0054834 | 0.0084223 | 0.013432 | 0.0092374 | 88.8585 | 11158.0467 | 0.4599 | 91.6702 | 553698.3667 | 0.54704 | 91.3507 | 224690.85 | 0.68657 | 90.6547 | 83469.6667 | 0.58311 | 93.0383 | 116943.8933 | 0.30729 | 94.4978 | 705142.5133 | 0.43846 | 93.6964 | 381865.3067 | 0.86164 | 66.7931 | 302619.75 | 0.65153 | 68.3211 | 199685.18 | 0.57899
| FALSE | 066SMPL.d | 2023-03-09 20:35 | Sample |  | 173048-001 | 1 | 0.081241 | 0.038069 | 0.083949 | 0.012151 | 0.011974 | 0.014807 | 0.21745 | 0.20253 | 0.21285 | <0.000 | <0.000 | <0.000 | <0.000 | 5.4604 | 5.4012 | 5.4557 | 5.4128 | 5.3881 | 5.3495 | 0.0034578 | 0.0038915 | 88.1235 | 11065.75 | 1.1037 | 89.9693 | 543424.81 | 0.46927 | 90.5581 | 222741.29 | 0.10463 | 88.9175 | 81870.22 | 0.62794 | 91.0755 | 114476.75 | 1.3198 | 93.6348 | 698703.3 | 0.44352 | 92.1696 | 375642.68 | 0.45359 | 65.2862 | 295792.5067 | 0.49405 | 67.2107 | 196439.55 | 0.48557
| FALSE | 067SMPL.d | 2023-03-09 20:39 | Sample |  | 173048-002 | 1 | 0.082436 | 0.03685 | <0.000 | 0.010454 | 0.019467 | 0.015086 | 0.19859 | 0.16658 | 0.20188 | <0.000 | <0.000 | <0.000 | <0.000 | 4.5011 | 5.1485 | 4.4925 | 5.1806 | 4.4611 | 5.1031 | 0.0022742 | 0.0027227 | 87.1139 | 10938.9767 | 0.63451 | 107.3011 | 648110.9567 | 28.5071 | 78.2578 | 192486.77 | 9.9372 | 88.5158 | 81500.3333 | 0.59602 | 90.8429 | 114184.3933 | 0.38368 | 111.928 | 835207.1667 | 28.9558 | 92.1368 | 375509.0367 | 0.35848 | 78.3656 | 355051.3467 | 29.0973 | 67.069 | 196025.3933 | 0.65667
| FALSE | 068SMPL.d | 2023-03-09 20:43 | Sample |  | 173078-003 | 1 | 0.089591 | 0.031195 | <0.000 | 0.0079481 | 0.016251 | 0.011505 | 0.17256 | 0.1582 | 0.18839 | <0.000 | <0.000 | <0.000 | <0.000 | 5.7537 | 5.6889 | 5.6537 | 5.6645 | 5.6518 | 5.6064 | 0.0045796 | 0.0039422 | 89.5318 | 11242.6 | 1.476 | 90.0192 | 543726.3333 | 0.66083 | 90.8834 | 223541.36 | 0.60598 | 89.7555 | 82641.77 | 0.64789 | 91.7619 | 115339.58 | 0.45701 | 93.035 | 694227.3333 | 0.4144 | 92.736 | 377950.9067 | 0.44115 | 64.7814 | 293505.2 | 0.35081 | 67.0573 | 195991.1967 | 0.5706
| FALSE | 069SMPL.d | 2023-03-09 20:47 | Sample |  | 173048-004 | 1 | 0.086008 | 0.02446 | 0.043573 | 0.0081411 | 0.0089005 | 0.017735 | 0.18206 | 0.1643 | 0.16462 | 0.0057457 | <0.000 | <0.000 | <0.000 | 6.2707 | 6.2519 | 6.1233 | 6.1553 | 6.135 | 6.087 | 0.0025668 | 0.0023639 | 89.842 | 11281.5433 | 0.99388 | 91.0531 | 549970.8767 | 0.53572 | 90.5804 | 222796.1467 | 0.36965 | 89.8926 | 82768.03 | 0.75646 | 92.0373 | 115685.7067 | 0.45038 | 94.3401 | 703966.39 | 0.51106 | 93.3368 | 380399.6867 | 0.056712 | 65.1647 | 295241.7867 | 0.46321 | 67.5171 | 197335.0367 | 0.73303
| FALSE | 070SMPL.d | 2023-03-09 20:51 | Sample |  | 173048-005 | 1 | 0.065198 | 0.01885 | <0.000 | <0.000 | 0.0030758 | 0.00011718 | 0.05459 | 0.071146 | 0.064528 | <0.000 | <0.000 | <0.000 | <0.000 | 0.17594 | 0.16745 | 0.16243 | 0.17001 | 0.16725 | 0.16334 | 0.0048303 | 0.0042761 | 85.9633 | 10794.4967 | 2.1871 | 90.6642 | 547621.99 | 0.49794 | 90.7617 | 223242.08 | 1.5648 | 89.6385 | 82534.03 | 0.46933 | 90.8642 | 114211.1467 | 0.62283 | 93.8852 | 700571.5 | 0.39215 | 92.279 | 376088.42 | 0.52713 | 65.186 | 295338.55 | 0.9052 | 67.185 | 196364.62 | 0.75667
| FALSE | 071_QC1.d | 2023-03-09 20:54 | QC1 |  | qc 1 | 1 | 5.1107 | 5.0551 | 5.2855 | 5.6643 | 5.4921 | 5.3733 | 5.4064 | 5.5215 | 5.5193 | 0.59072 | 0.53579 | 0.56887 | 0.5212 | 5.4793 | 5.0537 | 5.1856 | 4.8484 | 5.2979 | 4.8869 | 4.8082 | 4.2806 | 89.1951 | 11200.32 | 2.1368 | 84.0097 | 507428.1667 | 11.394 | 91.1106 | 224100.1767 | 0.54185 | 90.1652 | 83018.9733 | 0.82477 | 92.0619 | 115716.62 | 0.086674 | 86.9103 | 648524.55 | 11.419 | 93.3734 | 380548.7133 | 0.50777 | 61.0142 | 276437.26 | 9.3154 | 67.636 | 197682.6233 | 0.6602
| FALSE | 072_QC2.d | 2023-03-09 20:58 | QC2 |  | qc 2 | 1 | 10.1931 | 10.2336 | 11.0709 | 10.0583 | 10.7046 | 10.5776 | 10.636 | 9.8489 | 10.7082 | 1.0461 | 1.0131 | 1.0477 | 1.0394 | 9.9242 | 9.9432 | 9.389 | 9.4783 | 9.6284 | 9.6021 | 8.8307 | 8.4874 | 89.9213 | 11291.5067 | 1.3068 | 91.0711 | 550079.6633 | 0.14132 | 92.4093 | 227294.5267 | 0.67258 | 91.1196 | 83897.75 | 0.97834 | 92.2147 | 115908.7567 | 0.66114 | 93.4224 | 697118.2267 | 0.18685 | 93.3508 | 380456.55 | 0.53285 | 64.7445 | 293338.3167 | 0.88839 | 67.5035 | 197295.3633 | 1.3042
| FALSE | 073_QC3.d | 2023-03-09 21:02 | QC3 |  | qc 3 | 1 | 50.0307 | 50.0089 | 49.3599 | 49.3681 | 52.5067 | 52.4706 | 52.375 | 51.4893 | 52.5989 | 5.0587 | 5.1773 | 5.108 | 5.1582 | 48.9176 | 48.5085 | 46.2287 | 46.567 | 50.7604 | 50.7474 | 47.4201 | 48.9166 | 88.5579 | 11120.3 | 2.5232 | 90.4259 | 546182.5967 | 0.13916 | 91.337 | 224657.0667 | 0.6996 | 90.1218 | 82979.0167 | 0.058517 | 90.9444 | 114312.0633 | 0.12214 | 93.082 | 694578.1767 | 0.045739 | 93.4974 | 381054.2433 | 0.47102 | 64.0838 | 290344.7667 | 0.21492 | 66.7373 | 195056.08 | 0.14211
| FALSE | 074SMPL.d | 2023-03-09 21:06 | Sample |  | curve 4 | 1 | 49.4678 | 51.7857 | 49.5907 | 41.9938 | 51.1721 | 51.4263 | 51.5166 | 44.1991 | 51.7555 | 2.3391 | 2.631 | 2.3311 | 2.6238 | 43.5473 | 48.309 | 41.316 | 46.3179 | 45.2188 | 50.7747 | 42.1554 | 47.9452 | 89.691 | 11262.59 | 1.5075 | 104.1851 | 629290.1033 | 11.4312 | 88.3047 | 217198.6967 | 2.9512 | 90.4894 | 83317.52 | 0.18741 | 91.6388 | 115184.7967 | 0.50455 | 108.2114 | 807473.4933 | 11.3548 | 93.4645 | 380920.2333 | 0.2068 | 70.2737 | 318389.23 | 9.1167 | 66.5093 | 194389.6433 | 0.97218

## ValueList_Helper (hidden)
Bkgnd
BlkVrfy
CalBlk
CalStd
CICSpike
DilStd
DriftChk
FQBlk
IsoStd
QC1
QC2
QC3
QC4
QC5
Sample
Spike
Spike Ref
SQBlk
SQISTD
SQStd