## Sheet1
Sample | [7 empty] | 75 As [ He ] | 78 Se [ H2 ] | 78 Se [ He ] | 111 Cd [ No Gas ] | 111 Cd [ He ] | 114 Cd [ He ] | 121 Sb [ He ] | 123 Sb [ No Gas ] | 123 Sb [ He ] | 201 Hg [ No Gas ] | 201 Hg [ He ] | 202 Hg [ No Gas ] | 202 Hg [ He ] | 206 [Pb] [ No Gas ] | 206 [Pb] [ He ] | 207 [Pb] [ No Gas ] | 207 [Pb] [ He ] | 208 Pb [ No Gas ] | 208 Pb [ He ] | 238 U [ No Gas ] | 238 U [ He ] | 72 Ge ( ISTD ) [ He ] |  |  | 89 Y ( ISTD ) [ No Gas ] |  |  | 89 Y ( ISTD ) [ H2 ] |  |  | 89 Y ( ISTD ) [ He ] |  |  | 115 In ( ISTD ) [ He ] |  |  | 159 Tb ( ISTD ) [ No Gas ] |  |  | 159 Tb ( ISTD ) [ He ] |  |  | 209 Bi ( ISTD ) [ No Gas ] |  |  | 209 Bi ( ISTD ) [ He ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | Total Dil. | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD
| FALSE | 001SMPL.d | 2023-01-13 12:04 | Sample |  | blk | 1 | [22 empty] | 10874.5467 | 1.7275 |  | 515307.0133 | 0.15556 |  | 210149.7033 | 1.1867 |  | 83333.51 | 0.54478 |  | 125090.7667 | 0.35545 |  | 868988.2067 | 0.2713 |  | 481603.2933 | 0.11756 |  | 616358.79 | 0.79313 |  | 410045.91 | 0.6851
| FALSE | 002SMPL.d | 2023-01-13 12:08 | Sample |  | blk | 1 | [22 empty] | 10401.96 | 2.1271 |  | 512973.89 | 0.40435 |  | 209487.06 | 0.94378 |  | 80764.1533 | 0.33825 |  | 123124.9 | 1.4473 |  | 888719.6233 | 0.33184 |  | 477113.1 | 0.63053 |  | 624603.9767 | 0.21817 |  | 408626.96 | 0.64935
| FALSE | 003SMPL.d | 2023-01-13 12:11 | Sample |  | blk | 1 | [22 empty] | 10186.26 | 0.91725 |  | 457544.4 | 13.8183 |  | 205901.6633 | 0.48549 |  | 79509.2167 | 1.2696 |  | 121920.05 | 0.1426 |  | 788979.7867 | 15.3163 |  | 473450.7 | 0.16433 |  | 571545.9833 | 10.2292 |  | 406771.23 | 0.42949
| FALSE | 004CALB.d | 2023-01-13 12:15 | CalBlk | 1 | blk | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 10222.9367 | 1.7997 | 100 | 513648.1 | 30.8643 | 100 | 230343.1533 | 4.4184 | 100 | 79395.09 | 0.50504 | 100 | 120900.5233 | 0.43891 | 100 | 884595.7467 | 31.4451 | 100 | 469591.4133 | 0.2597 | 100 | 639495.3367 | 27.2136 | 100 | 405511.6767 | 0.66526
| FALSE | 005CALS.d | 2023-01-13 12:19 | CalStd | 2 | curve 1 | 1 | 0.094679 | 0.093733 | 0.098357 | 0.093441 | 0.1007 | 0.10299 | 0.10613 | 0.094298 | 0.090569 | <0.000 | 0.00026161 | <0.000 | <0.000 | 0.097234 | 0.097844 | 0.09062 | 0.089431 | 0.093774 | 0.094358 | 0.091168 | 0.093048 | 99.5975 | 10181.7933 | 0.84946 | 96.3739 | 495022.6633 | 0.46772 | 89.9879 | 207281.0267 | 0.12083 | 99.1968 | 78757.4 | 0.31519 | 100.183 | 121121.81 | 0.66176 | 98.5585 | 871844.11 | 0.78141 | 100.9225 | 473923.5067 | 0.1949 | 96.4291 | 616659.8567 | 0.59511 | 99.7991 | 404697.0233 | 0.35151
| FALSE | 006CALS.d | 2023-01-13 12:23 | CalStd | 3 | curve 2 | 1 | 1.0038 | 1.0259 | 1.0932 | 1.0134 | 0.98935 | 0.99813 | 1.0034 | 0.96586 | 0.99743 | 0.028261 | 0.045762 | 0.0514 | 0.048345 | 0.98946 | 0.99198 | 0.99614 | 0.98773 | 0.99818 | 0.98911 | 0.9628 | 0.94505 | 97.3243 | 9949.4033 | 0.32591 | 94.2759 | 484246.37 | 1.3065 | 88.9906 | 204983.8267 | 0.59641 | 99.0319 | 78626.47 | 0.60272 | 100.4461 | 121439.81 | 1.0378 | 97.8708 | 865761.2467 | 2.1456 | 102.3203 | 480487.3733 | 0.26504 | 94.7141 | 605692.0133 | 1.5782 | 99.5053 | 403505.8033 | 0.086696
| FALSE | 007CALS.d | 2023-01-13 12:27 | CalStd | 4 | curve 2.5 (Hg only) | 1 | 1.9522 | 2.0299 | 1.5622 | 2.0209 | 1.9947 | 2.043 | 2.0334 | 1.9493 | 2.0019 | 0.084922 | 0.097327 | 0.09705 | 0.093698 | 1.9295 | 1.937 | 1.9524 | 1.9848 | 1.96 | 1.9721 | 1.8965 | 1.9181 | 97.096 | 9926.0667 | 1.4106 | 93.5714 | 480627.87 | 1.0164 | 87.9587 | 202606.7567 | 0.61741 | 96.7624 | 76824.6133 | 1.1022 | 97.3765 | 117728.6733 | 0.48398 | 97.358 | 861224.39 | 0.36289 | 98.7993 | 463952.87 | 0.77229 | 96.2176 | 615307.11 | 0.77673 | 97.8573 | 396822.9133 | 0.62938
| FALSE | 008CALS.d | 2023-01-13 12:31 | CalStd | 5 | curve 3 | 1 | 10.0326 | 10.0532 | 9.8068 | 10.1101 | 10.2089 | 10.193 | 10.016 | 9.729 | 10.0124 | 0.46608 | 0.48842 | 0.5018 | 0.48868 | 9.739 | 9.8216 | 9.8204 | 9.9166 | 9.8634 | 9.9126 | 9.9862 | 9.7083 | 96.6392 | 9879.36 | 3.6507 | 91.5198 | 470089.6667 | 0.28354 | 85.3638 | 196629.66 | 0.27476 | 96.52 | 76632.16 | 0.81039 | 96.7923 | 117022.4533 | 0.51501 | 96.6725 | 855160.8033 | 0.44079 | 97.9967 | 460183.9633 | 0.91559 | 95.0922 | 608109.9267 | 0.31049 | 97.6083 | 395813.1967 | 0.27588
| FALSE | 009CALS.d | 2023-01-13 12:34 | CalStd | 6 | curve 4 | 1 | 50.1268 | 50.2935 | 48.2083 | 52.6508 | 50.4839 | 50.4689 | 50.1519 | 52.9108 | 50.3327 | 2.5346 | 2.4784 | 2.585 | 2.4691 | 52.2591 | 49.1204 | 52.4269 | 48.7338 | 52.386 | 49.4557 | 51.2192 | 49.436 | 100.3391 | 10257.6067 | 10.2735 | 89.1381 | 457856.3333 | 6.2955 | 87.4573 | 201451.96 | 1.4635 | 98.4806 | 78188.7567 | 13.8211 | 98.6688 | 119291.1267 | 12.8825 | 92.8574 | 821413.01 | 6.2883 | 100.9507 | 474055.77 | 14.5147 | 91.5656 | 585557.9533 | 4.7367 | 98.5088 | 399464.67 | 11.5046
| FALSE | 010CALS.d | 2023-01-13 12:38 | CalStd | 7 | curve 5 | 1 | 99.9333 | 99.8477 | 100.9143 | 98.6635 | 99.7372 | 99.7463 | 99.9224 | 98.5721 | 99.8324 | 4.9866 | 5.0121 | 4.9573 | 5.0167 | 98.8967 | 100.4577 | 98.8045 | 100.6416 | 98.8207 | 100.281 | 99.3922 | 100.3117 | 99.7279 | 10195.1233 | 2.4674 | 92.9264 | 477314.45 | 0.26123 | 87.1351 | 200709.8233 | 0.2327 | 96.6074 | 76701.52 | 1.7549 | 95.6562 | 115648.79 | 1.0433 | 96.4548 | 853234.9167 | 0.75586 | 97.0531 | 455753.11 | 0.1754 | 93.8176 | 599958.9267 | 0.31817 | 94.2627 | 382246.11 | 0.18393
| FALSE | 011SMPL.d | 2023-01-13 12:42 | Sample |  | blk | 1 | 0.044204 | 0.12487 | 0.04645 | 0.034747 | 0.017782 | 0.018034 | 0.041281 | 0.067735 | 0.041716 | 0.052965 | 0.052285 | 0.060776 | 0.051952 | 0.037096 | 0.016029 | 0.032925 | 0.0082109 | 0.033738 | 0.014128 | 0.071222 | 0.039334 | 96.7589 | 9891.5967 | 3.1067 | 92.0513 | 472819.9567 | 0.38702 | 87.4572 | 201451.7267 | 0.94189 | 96.7368 | 76804.2567 | 1.9273 | 96.7652 | 116989.5733 | 0.81153 | 97.8653 | 865711.9433 | 0.10973 | 98.0397 | 460385.9733 | 0.64612 | 97.5901 | 624084.43 | 0.37236 | 97.4858 | 395316.1667 | 0.080661
| FALSE | 012SMPL.d | 2023-01-13 12:46 | Sample |  | blk | 1 | 0.012367 | 0.023553 | 0.085648 | 0.0016516 | 0.0058592 | 0.0060224 | 0.012238 | 0.010275 | 0.013528 | 0.020132 | 0.025574 | 0.031482 | 0.02508 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.0081005 | 0.0079532 | 94.3114 | 9641.3933 | 2.8936 | 82.767 | 425131.2433 | 12.7696 | 87.0827 | 200589.14 | 1.2139 | 96.2105 | 76386.45 | 0.39648 | 95.9639 | 116020.84 | 0.42234 | 86.5484 | 765603.8067 | 14.3017 | 96.7217 | 454196.6933 | 0.39061 | 88.1722 | 563857.3567 | 10.014 | 96.6801 | 392049.0567 | 0.95195
| FALSE | 013_QC1.d | 2023-01-13 12:50 | QC1 |  | qc 1 | 1 | 4.9801 | 5.062 | 5.3488 | 5.4229 | 5.0485 | 5.0908 | 5.122 | 5.3101 | 5.154 | 0.52231 | 0.52382 | 0.54789 | 0.52194 | 5.0597 | 4.864 | 5.3025 | 5.0847 | 5.2173 | 5.0065 | 5.0268 | 4.835 | 96.9651 | 9912.6767 | 0.57207 | 89.8698 | 461614.6433 | 27.6829 | 86.3898 | 198993.0433 | 0.43448 | 97.0915 | 77085.87 | 0.904 | 97.2038 | 117519.8567 | 0.7432 | 93.6813 | 828700.8467 | 26.3263 | 97.8567 | 459526.65 | 0.32239 | 94.6116 | 605036.8533 | 23.8796 | 97.6195 | 395858.4867 | 0.66774
| FALSE | 014_QC2.d | 2023-01-13 12:53 | QC2 |  | qc 2 | 1 | 10.0139 | 9.935 | 10.1621 | 10.1828 | 10.1263 | 10.2055 | 10.1971 | 9.8643 | 10.2895 | 1.0157 | 1.0254 | 1.0268 | 1.0206 | 9.5932 | 9.7014 | 10.071 | 10.1639 | 9.9464 | 9.9944 | 10.0083 | 9.5876 | 96.8238 | 9898.2367 | 0.96305 | 91.5728 | 470362.09 | 0.32523 | 87.8334 | 202318.27 | 0.65952 | 97.8106 | 77656.83 | 1.2737 | 98.1774 | 118696.9967 | 0.9203 | 96.7259 | 855633.4667 | 0.68846 | 99.5329 | 467397.8733 | 0.67993 | 95.5597 | 611099.58 | 0.37548 | 98.1119 | 397855.24 | 0.29126
| FALSE | 015_QC3.d | 2023-01-13 12:57 | QC3 |  | qc 3 | 1 | 50.6658 | 50.1827 | 50.064 | 50.3908 | 50.9978 | 51.0451 | 51.0033 | 50.8884 | 51.1126 | 5.0619 | 5.136 | 5.0739 | 5.0735 | 49.7816 | 48.7669 | 52.282 | 50.9799 | 51.1289 | 50.7726 | 49.642 | 50.3425 | 97.4766 | 9964.9667 | 1.3561 | 91.4111 | 469531.1667 | 0.56977 | 87.4781 | 201499.8467 | 0.56282 | 96.4849 | 76604.26 | 0.40202 | 95.8213 | 115848.47 | 0.62599 | 94.7681 | 838314.58 | 0.48555 | 96.9538 | 455286.5567 | 0.11733 | 93.5308 | 598125.0067 | 0.73025 | 95.7016 | 388081.0833 | 0.40186
| FALSE | 016SMPL.d | 2023-01-13 13:01 | Sample |  | blk | 1 | 0.012121 | 0.058071 | 0.14663 | 0.0046234 | 0.0046387 | 0.0071011 | 0.016793 | 0.025963 | 0.016775 | 0.071967 | 0.065144 | 0.072321 | 0.058377 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.028385 | 0.019397 | 95.9972 | 9813.7367 | 0.73125 | 89.225 | 458302.4033 | 0.83966 | 85.5799 | 197127.49 | 1.0229 | 95.7391 | 76012.1467 | 1.3277 | 95.575 | 115550.6667 | 1.0917 | 94.2325 | 833577.0367 | 0.83171 | 96.0466 | 451026.4433 | 0.32068 | 94.4906 | 604262.7 | 0.93996 | 96.194 | 390077.8367 | 0.79402
| FALSE | 017SMPL.d | 2023-01-13 13:05 | Sample |  | blk | 1 | 0.004488 | 0.011316 | 0.066394 | 0.0013205 | 0.009317 | 0.0044349 | 0.010194 | 0.0109 | 0.0098571 | 0.028784 | 0.039492 | 0.031633 | 0.036041 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.0070123 | 0.0053052 | 97.3352 | 9950.5133 | 2.4444 | 102.0467 | 524161.1267 | 19.6272 | 84.2171 | 193988.2833 | 2.9966 | 95.6068 | 75907.0833 | 2.0071 | 96.1864 | 116289.8167 | 1.9626 | 106.4645 | 941780.7767 | 15.875 | 97.3059 | 456939.98 | 0.56386 | 105.2438 | 673029.4767 | 17.0606 | 96.4513 | 391121.3233 | 1.3954
| FALSE | 018SMPL.d | 2023-01-13 13:09 | Sample |  | 172053-001 mj | 5 | 0.68085 | 0.19723 | 0.55742 | 0.89565 | 0.8564 | 0.98744 | 0.34611 | 0.29588 | 0.342 | 1.1228 | 0.92375 | 1.1806 | 0.92996 | 2.4909 | 2.5349 | 2.4776 | 2.5963 | 2.4801 | 2.5482 | 0.092179 | 0.058249 | 92.3102 | 9436.8133 | 1.7205 | 88.8618 | 456436.7833 | 0.69344 | 86.4493 | 199130.09 | 0.3226 | 94.4338 | 74975.7733 | 1.2641 | 92.611 | 111967.2033 | 0.65672 | 94.3371 | 834502.1867 | 0.37967 | 96.8929 | 455000.6967 | 0.29866 | 88.8832 | 568403.6133 | 0.26197 | 92.1447 | 373657.6767 | 0.54015
| FALSE | 019SMPL.d | 2023-01-13 13:12 | Sample |  | 172052-001 mj | 5 | 0.48809 | 0.095534 | 0.28111 | 0.17417 | 0.18198 | 0.21849 | 0.42069 | 0.39111 | 0.41574 | 0.22668 | 0.26653 | 0.27361 | 0.24991 | 2.8281 | 2.9595 | 2.9102 | 3.008 | 2.8745 | 2.9425 | 0.69389 | 0.69342 | 95.3771 | 9750.3367 | 2.5967 | 91.2404 | 468654.3767 | 0.23678 | 89.8294 | 206915.8033 | 1.2056 | 101.0897 | 80260.2933 | 0.91994 | 96.912 | 117167.16 | 1.3175 | 95.2036 | 842167.3633 | 0.69903 | 100.1785 | 470429.63 | 0.61629 | 90.7433 | 580299.0233 | 0.45609 | 94.5791 | 383529.2933 | 0.16015
| FALSE | 020SMPL.d | 2023-01-13 13:16 | Sample |  | 172055-001 mj | 5 | 0.10927 | 0.13133 | 0.247 | 0.080159 | 0.10615 | 0.12494 | 0.20259 | 0.22451 | 0.20919 | 0.17276 | 0.20323 | 0.21166 | 0.21504 | 1.1384 | 1.1894 | 1.2101 | 1.1759 | 1.1728 | 1.1955 | 0.020612 | 0.018983 | 90.0368 | 9204.41 | 3.2228 | 86.3021 | 443289.1167 | 0.72779 | 83.4215 | 192155.6833 | 0.71663 | 93.9257 | 74572.43 | 1.4793 | 93.0298 | 112473.4767 | 0.82274 | 96.315 | 851998.1833 | 0.16402 | 96.9943 | 455476.71 | 0.73429 | 91.9119 | 587772.63 | 0.4727 | 93.1143 | 377589.5 | 0.97899
| FALSE | 021SMPL.d | 2023-01-13 13:20 | Sample |  | 172084-001 | 1 | 0.12831 | 0.23046 | 0.016823 | 0.03509 | 0.037243 | 0.038014 | 0.1423 | 0.13769 | 0.13845 | 0.0072698 | 0.016196 | 0.017325 | 0.017879 | 2.6451 | 2.6579 | 2.7153 | 2.7674 | 2.693 | 2.7139 | 0.0062732 | 0.0059973 | 92.6255 | 9469.0433 | 1.9687 | 83.3709 | 428233.03 | 0.12739 | 79.4942 | 183109.46 | 0.51377 | 88.7434 | 70457.8667 | 0.57196 | 90.2736 | 109141.1967 | 0.28909 | 96.1552 | 850584.4667 | 0.33822 | 94.6483 | 444460.2967 | 0.60414 | 92.8862 | 594003.18 | 0.70873 | 92.5394 | 375258.19 | 0.49207
| FALSE | 022SMPL.d | 2023-01-13 13:24 | Sample |  | 172082-001 | 1 | 2.4992 | 0.012282 | 0.059276 | 0.0027734 | 0.0022247 | 0.0094206 | 0.1199 | 0.12132 | 0.11693 | 0.013952 | 0.025436 | 0.029235 | 0.022025 | 0.72575 | 0.73636 | 0.75702 | 0.78744 | 0.74558 | 0.75751 | <0.000 | <0.000 | 91.2551 | 9328.9467 | 2.5028 | 82.4199 | 423348.0633 | 0.27806 | 79.3295 | 182730.0267 | 0.75982 | 89.071 | 70718.0267 | 1.2945 | 89.6081 | 108336.7 | 0.74734 | 95.8562 | 847940.0667 | 0.39119 | 94.1008 | 441889.1567 | 0.26632 | 94.8008 | 606246.9833 | 0.16556 | 92.072 | 373362.8667 | 0.33605
| FALSE | 023SMPL.d | 2023-01-13 13:28 | Sample |  | 172081-001 | 1 | 0.21105 | 0.0080813 | <0.000 | 0.0033914 | 0.007201 | 0.0074956 | 0.046016 | 0.046024 | 0.042367 | 0.011803 | 0.02233 | 0.026264 | 0.023367 | 0.4323 | 0.44192 | 0.44716 | 0.45463 | 0.44452 | 0.45208 | <0.000 | <0.000 | 89.6236 | 9162.1633 | 2.0965 | 83.1499 | 427097.84 | 0.35525 | 78.7281 | 181344.85 | 0.85212 | 89.864 | 71347.5733 | 0.76495 | 90.9665 | 109978.95 | 0.15799 | 98.1005 | 867793.2233 | 0.4536 | 95.4653 | 448297.0167 | 0.45833 | 97.4815 | 623389.91 | 0.44002 | 94.3952 | 382783.5167 | 0.16148
| FALSE | 024SMPL.d | 2023-01-13 13:32 | Sample |  | 172068-001 | 1 | 0.25001 | 0.042789 | 0.096845 | <0.000 | 0.00422 | 0.012889 | 0.06517 | 0.07667 | 0.072827 | 0.012693 | 0.015522 | 0.015834 | 0.015898 | 0.19852 | 0.21155 | 0.21219 | 0.20766 | 0.20876 | 0.2127 | 0.0063782 | 0.0058269 | 113.4556 | 11598.4933 | 2.2527 | 84.0843 | 431897.5 | 0.30197 | 80.2377 | 184822.0367 | 0.66107 | 91.5285 | 72669.17 | 0.72047 | 88.6787 | 107213.0267 | 1.4201 | 95.2157 | 842273.6933 | 0.13227 | 93.1811 | 437570.64 | 0.31707 | 91.697 | 586398.17 | 0.86416 | 90.1225 | 365457.2767 | 0.23162
| FALSE | 025SMPL.d | 2023-01-13 13:35 | Sample |  | 172062-001 | 1 | 0.054213 | 0.0095817 | 0.019964 | <0.000 | 0.001125 | 0.0073761 | 0.083486 | 0.076815 | 0.089174 | 0.011592 | 0.020382 | 0.012562 | 0.012575 | 0.31778 | 0.33822 | 0.32967 | 0.33544 | 0.32524 | 0.34008 | <0.000 | <0.000 | 86.1976 | 8811.9267 | 3.6733 | 82.3729 | 423106.9833 | 0.11983 | 78.1114 | 179924.2233 | 0.13777 | 86.2626 | 68488.2833 | 3.7195 | 85.4604 | 103322.1033 | 4.1666 | 96.0359 | 849529.13 | 0.59449 | 90.7591 | 426197.0333 | 3.5722 | 93.8704 | 600296.79 | 0.63478 | 88.3919 | 358439.4233 | 2.892
| FALSE | 026SMPL.d | 2023-01-13 13:39 | Sample |  | 172081-002 | 1 | 0.21264 | 0.010697 | <0.000 | 0.0023361 | 0.0055144 | 0.0080679 | 0.047455 | 0.051239 | 0.04743 | 0.010197 | 0.017556 | 0.017249 | 0.017253 | 0.5231 | 0.54473 | 0.54087 | 0.56095 | 0.53741 | 0.54573 | <0.000 | <0.000 | 90.2112 | 9222.2367 | 2.0176 | 81.6078 | 419176.9 | 0.1584 | 95.7523 | 220558.7967 | 32.1267 | 88.5942 | 70339.45 | 1.2436 | 88.7278 | 107272.3567 | 0.61089 | 98.2879 | 869450.4033 | 0.50927 | 94.0286 | 441550.08 | 0.27799 | 97.1102 | 621014.9333 | 0.32325 | 93.2815 | 378267.22 | 1.045
| FALSE | 027SMPL.d | 2023-01-13 13:43 | Sample |  | 172071-001 | 1 | 0.12914 | 0.013806 | 0.11675 | 0.004067 | 0.0023213 | 0.0041526 | 0.055243 | 0.068841 | 0.059678 | 0.015218 | 0.014607 | 0.024571 | 0.0163 | 0.45856 | 0.44409 | 0.46939 | 0.45535 | 0.47223 | 0.44911 | 0.97536 | 0.92791 | 91.6809 | 9372.4767 | 16.4745 | 81.5366 | 418811.35 | 35.6439 | 78.4873 | 180790.16 | 0.17727 | 90.804 | 72093.9033 | 18.2106 | 92.4405 | 111761.0667 | 17.9599 | 95.4881 | 844683.7167 | 34.276 | 96.5866 | 453562.2 | 20.446 | 98.2649 | 628399.39 | 32.2813 | 94.6555 | 383838.9333 | 17.0021
| FALSE | 028_QC2.d | 2023-01-13 13:47 | QC2 |  | qc 2 | 1 | 10.1732 | 9.6914 | 9.6455 | 12.3637 | 10.3235 | 10.2955 | 10.3329 | 12.3534 | 10.4483 | 1.1564 | 1.0148 | 1.1666 | 1.0311 | 11.0114 | 9.7849 | 11.4665 | 10.1792 | 11.3309 | 10.0054 | 11.5163 | 9.1706 | 95.3472 | 9747.2833 | 6.9745 | 77.2144 | 396610.2333 | 18.175 | 83.5625 | 192480.4867 | 0.8688 | 94.798 | 75264.9667 | 9.7102 | 95.7558 | 115769.2533 | 9.2171 | 88.2656 | 780794.02 | 20.1226 | 99.145 | 465576.5133 | 10.5496 | 90.9952 | 581909.8267 | 12.5815 | 98.1234 | 397901.7533 | 8.864
| FALSE | 029SMPL.d | 2023-01-13 13:51 | Sample |  | blk | 1 | 0.0061052 | 0.016298 | <0.000 | 0.0029052 | 0.0068606 | 0.0050244 | 0.008935 | 0.017212 | 0.0082396 | 0.013445 | 0.0083325 | 0.016808 | 0.011524 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.020095 | 0.011419 | 92.4203 | 9448.0733 | 1.9311 | 74.1879 | 381064.4833 | 18.3767 | 79.9025 | 184049.91 | 0.81379 | 92.2875 | 73271.7267 | 4.7641 | 93.6508 | 113224.3433 | 3.3215 | 86.8703 | 768451.3033 | 20.2042 | 98.0465 | 460417.77 | 4.6065 | 90.1691 | 576626.91 | 12.9146 | 98.4752 | 399328.27 | 3.8718
| FALSE | 030SMPL.d | 2023-01-13 13:54 | Sample |  | 172069-001 | 1 | 0.51983 | 0.06248 | 0.063512 | 0.0027968 | 0.0044205 | 0.010962 | 0.24554 | 0.24868 | 0.24074 | 0.12249 | 0.14083 | 0.13998 | 0.15003 | 0.35145 | 0.38111 | 0.3692 | 0.38557 | 0.36023 | 0.38593 | 0.069227 | 0.069742 | 141.7519 | 14491.2067 | 2.5867 | 78.6878 | 404178.4867 | 1.9985 | 76.5254 | 176271.1267 | 0.90513 | 86.2908 | 68510.6233 | 3.3841 | 84.8918 | 102634.6467 | 3.9689 | 93.0431 | 823055.31 | 1.5735 | 89.095 | 418382.2433 | 3.7561 | 90.1573 | 576551.9333 | 1.3907 | 85.056 | 344912.07 | 3.4068
| FALSE | 031SMPL.d | 2023-01-13 13:58 | Sample |  | 172075-004 mj | 5 | 0.43959 | 0.10158 | 0.16302 | 0.84879 | 0.83483 | 0.89963 | 0.18545 | 0.219 | 0.18691 | 0.19206 | 0.23276 | 0.22038 | 0.21495 | 1.8719 | 2.0005 | 1.878 | 1.9512 | 1.898 | 1.9581 | 0.015017 | 0.012152 | 90.0149 | 9202.17 | 1.1057 | 85.2964 | 438123.35 | 0.53739 | 81.0409 | 186672.16 | 1.31 | 91.9234 | 72982.6833 | 0.67986 | 91.5972 | 110741.48 | 0.34423 | 99.6816 | 881779.18 | 0.14906 | 96.3273 | 452344.68 | 0.4578 | 97.3513 | 622556.89 | 0.26157 | 94.2378 | 382145.24 | 0.61884
| FALSE | 032SMPL.d | 2023-01-13 14:02 | Sample |  | 172090-001 | 1 | 5.54 | 0.0067971 | <0.000 | 0.0036555 | 0.011785 | 0.012168 | 0.65432 | 0.68035 | 0.67891 | <0.000 | 0.0064076 | 0.0079963 | 0.0057474 | 0.10508 | 0.108 | 0.10118 | 0.10476 | 0.1029 | 0.10578 | 0.0074826 | 0.0064388 | 91.7552 | 9380.08 | 0.98614 | 81.9247 | 420804.68 | 0.57432 | 77.4182 | 178327.41 | 1.0775 | 89.9416 | 71409.18 | 0.20724 | 91.261 | 110334.9833 | 0.43287 | 97.8948 | 865973.5633 | 1.0237 | 94.1888 | 442302.7167 | 0.37737 | 96.3881 | 616397.58 | 0.3024 | 92.9463 | 376908.22 | 0.13638
| FALSE | 033SMPL.d | 2023-01-13 14:06 | Sample |  | 172083-001 | 1 | 0.18574 | 0.11768 | <0.000 | 0.013012 | 0.0080261 | 0.018201 | 0.12182 | 0.12567 | 0.1119 | 0.0122 | 0.019579 | 0.016724 | 0.014183 | 1.278 | 1.2931 | 1.3052 | 1.3047 | 1.2991 | 1.3042 | 0.0093658 | 0.0083139 | 89.7324 | 9173.2833 | 1.9311 | 82.8497 | 425556.0567 | 0.39151 | 77.7097 | 178999.0067 | 0.21978 | 90.299 | 71692.9833 | 0.75336 | 89.89 | 108677.45 | 0.73829 | 99.0421 | 876122.15 | 0.82104 | 94.581 | 444144.2833 | 0.31994 | 96.4209 | 616607.3367 | 0.34025 | 92.0632 | 373327.0833 | 0.35214
| FALSE | 034SMPL.d | 2023-01-13 14:10 | Sample |  | 172080-001 | 1 | 0.21307 | 0.048106 | 0.081697 | 0.0013089 | 0.0022282 | 0.0051105 | 0.14339 | 0.14611 | 0.1359 | 0.014085 | 0.018805 | 0.02514 | 0.021768 | 0.57099 | 0.56594 | 0.57859 | 0.6079 | 0.58367 | 0.58358 | 0.043039 | 0.0409 | 89.8411 | 9184.4033 | 1.2298 | 80.013 | 410985.18 | 0.25463 | 76.3699 | 175912.7667 | 1.2478 | 88.808 | 70509.21 | 0.87801 | 87.9249 | 106301.65 | 1.0049 | 96.1978 | 850962.02 | 0.20103 | 92.6263 | 434965.3833 | 0.57247 | 93.3036 | 596672.25 | 0.13643 | 89.4287 | 362643.76 | 0.22737
| FALSE | 035SMPL.d | 2023-01-13 14:14 | Sample |  | 172078-001 | 1 | 0.11652 | 0.094054 | 0.041506 | 0.0095468 | 0.0081103 | 0.014112 | 0.13166 | 0.12282 | 0.13691 | 0.0013859 | 0.013485 | 0.014032 | 0.012388 | 0.90162 | 0.92687 | 0.92566 | 0.92927 | 0.92279 | 0.93413 | 0.00034317 | <0.000 | 89.4604 | 9145.4833 | 2.7211 | 79.8972 | 410390.38 | 0.27083 | 75.8266 | 174661.3267 | 1.186 | 87.0737 | 69132.2467 | 1.3277 | 88.7399 | 107286.9467 | 0.82001 | 97.2836 | 860566.7933 | 0.73611 | 92.9615 | 436539.3333 | 1.0256 | 99.2086 | 634434.51 | 0.45261 | 94.2374 | 382143.79 | 0.65007
| FALSE | 036SMPL.d | 2023-01-13 14:17 | Sample |  | 172070-001 | 1 | 0.062968 | 0.046313 | 0.078297 | 0.0023589 | 0.0094335 | 0.0044282 | 0.090373 | 0.090797 | 0.082684 | 0.009198 | 0.015112 | 0.017299 | 0.012805 | 0.77203 | 0.79662 | 0.79662 | 0.80117 | 0.791 | 0.80456 | 0.013566 | 0.01251 | 85.8821 | 8779.6733 | 1.5308 | 83.242 | 427570.83 | 0.26725 | 78.9873 | 181941.7567 | 0.18098 | 90.0517 | 71496.6333 | 1.8796 | 88.3045 | 106760.5867 | 0.75482 | 97.7704 | 864872.79 | 0.53184 | 93.2952 | 438106.1133 | 0.28844 | 98.4649 | 629678.1267 | 0.18133 | 93.223 | 378029.95 | 0.45179
| FALSE | 037SMPL.d | 2023-01-13 14:21 | Sample |  | 172089-001 | 1 | 0.19293 | 0.036995 | 0.087735 | 0.0010181 | 0.0010347 | 0.0078968 | 0.12727 | 0.14055 | 0.12581 | <0.000 | <0.000 | <0.000 | <0.000 | 0.38489 | 0.39978 | 0.40584 | 0.40591 | 0.39832 | 0.40085 | 0.0016495 | 0.0013322 | 86.1107 | 8803.0433 | 0.4219 | 78.4777 | 403099.43 | 1.1191 | 75.1027 | 172993.84 | 0.36273 | 86.548 | 68714.8867 | 0.58223 | 88.2713 | 106720.4933 | 0.48082 | 98.1746 | 868447.9133 | 0.58158 | 93.3411 | 438321.8 | 0.028168 | 100.6633 | 643737.1633 | 0.50159 | 94.1935 | 381965.7133 | 0.15926
| FALSE | 038SMPL.d | 2023-01-13 14:25 | Sample |  | 172088-001 | 1 | 0.047839 | 0.016172 | 0.064341 | 0.025195 | 0.026662 | 0.030142 | 0.10842 | 0.11172 | 0.11305 | <0.000 | <0.000 | <0.000 | <0.000 | 1.5017 | 1.5256 | 1.5331 | 1.5724 | 1.5232 | 1.5442 | 0.0016694 | 0.0011918 | 87.394 | 8934.2367 | 1.4825 | 78.2642 | 402002.62 | 0.29156 | 74.5856 | 171802.7867 | 0.93963 | 87.0582 | 69119.9233 | 0.53162 | 88.7201 | 107263.1133 | 1.4679 | 98.9975 | 875727.8067 | 0.5243 | 93.6932 | 439975.4567 | 0.629 | 100.0631 | 639898.85 | 0.41809 | 94.0217 | 381269 | 0.15676
| FALSE | 039SMPL.d | 2023-01-13 14:29 | Sample |  | 172088-002 | 1 | 0.037377 | 0.013288 | 0.021159 | 0.012598 | 0.010921 | 0.019159 | 0.092285 | 0.12699 | 0.10724 | <0.000 | <0.000 | <0.000 | <0.000 | 1.5451 | 1.4762 | 1.5973 | 1.5144 | 1.5939 | 1.5097 | 0.0022803 | 0.0015792 | 87.3396 | 8928.67 | 1.4395 | 72.5542 | 372673.3533 | 9.9404 | 74.2368 | 170999.3033 | 0.61767 | 87.1234 | 69171.6733 | 2.0188 | 88.0824 | 106492.0567 | 0.45316 | 91.6841 | 811033.8167 | 12.0617 | 93.5926 | 439502.6833 | 0.3319 | 95.0519 | 607852.7533 | 7.4436 | 94.1073 | 381616.26 | 0.46789
| FALSE | 040_QC2.d | 2023-01-13 14:33 | QC2 |  | qc 2 | 1 | 10.0455 | 9.8101 | 9.7556 | 11.1852 | 10.5924 | 10.4463 | 10.4913 | 11.2631 | 10.5936 | 1.0538 | 1.0416 | 1.0264 | 1.0195 | 10.1053 | 9.8995 | 10.5417 | 10.2337 | 10.4039 | 10.1072 | 10.1855 | 8.5401 | 90.9505 | 9297.8133 | 2.1747 | 79.2018 | 406818.6767 | 6.189 | 78.4402 | 180681.6167 | 0.66312 | 89.6126 | 71147.9833 | 0.21319 | 92.3394 | 111638.7933 | 0.92561 | 96.7568 | 855906.71 | 7.6035 | 95.6 | 448929.37 | 0.76077 | 96.8943 | 619634.7 | 4.3517 | 94.9562 | 385058.4933 | 1.2206
| FALSE | 041SMPL.d | 2023-01-13 14:36 | Sample |  | blk | 1 | 0.0043972 | 0.018659 | <0.000 | 0.0015151 | 0.0075829 | 0.0030438 | 0.0079935 | 0.015295 | 0.011947 | 0.0056552 | 0.0084246 | 0.013576 | 0.012217 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.019779 | 0.014901 | 89.3626 | 9135.4833 | 1.6564 | 79.5106 | 408404.8533 | 1.1581 | 76.4718 | 176147.6433 | 0.69999 | 87.0344 | 69101.0133 | 3.1623 | 88.5176 | 107018.2567 | 2.1753 | 97.4503 | 862040.82 | 2.5319 | 92.6431 | 435044.1567 | 2.0648 | 98.3952 | 629232.6667 | 0.64749 | 92.6569 | 375734.58 | 2.1204
| FALSE | 042SMPL.d | 2023-01-13 14:40 | Sample |  | 172085-001 | 1 | 0.85622 | 0.85094 | 0.76544 | <0.000 | 0.0025618 | 0.0038959 | 0.13055 | 0.13471 | 0.13547 | 0.020044 | 0.031309 | 0.032941 | 0.028599 | 0.24671 | 0.2557 | 0.25687 | 0.25348 | 0.25161 | 0.26009 | 0.029095 | 0.027627 | 86.4913 | 8841.9533 | 1.1418 | 77.3332 | 397220.3167 | 0.69133 | 73.6805 | 169718.0333 | 0.62292 | 85.445 | 67839.1567 | 0.91463 | 85.5791 | 103465.5567 | 0.51362 | 96.7449 | 855800.8533 | 0.95553 | 91.9653 | 431861.3267 | 0.39547 | 94.9223 | 607023.6 | 0.49165 | 89.9444 | 364735.2333 | 0.24535
| FALSE | 043SMPL.d | 2023-01-13 14:44 | Sample |  | 172073-001 | 1 | 0.020038 | 0.027631 | 0.085564 | 0.00073885 | 0.004283 | 0.0019851 | 0.049211 | 0.046444 | 0.040729 | 0.013852 | 0.021335 | 0.021378 | 0.019674 | 0.24786 | 0.25845 | 0.25335 | 0.26016 | 0.24903 | 0.25934 | <0.000 | <0.000 | 85.9258 | 8784.14 | 0.87159 | 79.515 | 408427.3733 | 0.31559 | 75.9661 | 174982.8067 | 1.4632 | 87.3238 | 69330.8467 | 0.68943 | 88.6222 | 107144.7567 | 0.1133 | 99.1227 | 876835.63 | 0.53386 | 94.2272 | 442482.8033 | 0.35815 | 99.2605 | 634766.5133 | 0.26357 | 93.5055 | 379175.8733 | 0.58855
| FALSE | 044SMPL.d | 2023-01-13 14:48 | Sample |  | 172077-001 | 1 | 1.2619 | 0.040679 | 0.15897 | 0.0083744 | 0.014253 | 0.0142 | 0.042549 | 0.048603 | 0.052021 | 0.022382 | 0.032488 | 0.034337 | 0.030379 | 0.41271 | 0.41901 | 0.43283 | 0.42839 | 0.4218 | 0.42353 | 0.35559 | 0.34643 | 87.0788 | 8902.01 | 1.8373 | 75.7379 | 389026.3 | 0.37647 | 73.5362 | 169385.5033 | 1.2175 | 85.3117 | 67733.3333 | 1.3505 | 84.3348 | 101961.1833 | 1.6201 | 92.8714 | 821536.51 | 0.33279 | 89.6735 | 421098.9867 | 0.18199 | 83.7174 | 535368.7967 | 0.29811 | 81.0018 | 328471.8333 | 0.4798
| FALSE | 045SMPL.d | 2023-01-13 14:52 | Sample |  | 172088-003 | 1 | 0.054764 | 0.050155 | 0.044338 | 0.0026027 | 0.0063657 | 0.0089063 | 0.054604 | 0.058313 | 0.053259 | <0.000 | <0.000 | <0.000 | <0.000 | 0.11783 | 0.1233 | 0.12302 | 0.12297 | 0.11932 | 0.12564 | 0.001644 | 0.00048155 | 84.2399 | 8611.79 | 1.5493 | 77.506 | 398108.29 | 0.66562 | 73.3952 | 169060.7567 | 1.0461 | 86.0542 | 68322.82 | 0.54587 | 88.2858 | 106737.9467 | 1.3357 | 98.7007 | 873101.9567 | 0.57741 | 92.9202 | 436345.0467 | 0.49683 | 100.4843 | 642592.5733 | 0.44744 | 93.8475 | 380562.4267 | 0.22126
| FALSE | 046SMPL.d | 2023-01-13 14:56 | Sample |  | 172102-001 | 1 | 51.0706 | 0.016784 | 0.046404 | 0.0057708 | 0.0055478 | 0.0071884 | 0.056914 | 0.059191 | 0.060757 | <0.000 | <0.000 | <0.000 | <0.000 | 0.24354 | 0.25513 | 0.25011 | 0.2466 | 0.2463 | 0.25032 | 0.0028945 | 0.0024165 | 85.034 | 8692.9733 | 1.8611 | 76.3092 | 391960.89 | 0.39405 | 72.3898 | 166745.0067 | 0.58588 | 85.0388 | 67516.6133 | 1.2502 | 85.0779 | 102859.6533 | 1.5127 | 98.0049 | 866946.9033 | 0.59109 | 91.4088 | 429248.0667 | 0.16255 | 96.0253 | 614077.48 | 0.51502 | 89.8694 | 364430.95 | 0.15504
| FALSE | 047SMPL.d | 2023-01-13 14:59 | Sample |  | 172056-001 | 1 | 46.3693 | 0.028082 | <0.000 | 0.0012036 | 0.0028216 | 0.0049999 | 0.055056 | 0.058896 | 0.05718 | <0.000 | <0.000 | <0.000 | <0.000 | 0.17197 | 0.18103 | 0.17232 | 0.1724 | 0.17281 | 0.17755 | 0.0025145 | 0.0019126 | 83.2182 | 8507.3433 | 2.7471 | 75.2473 | 386506.0767 | 0.27504 | 71.0998 | 163773.4167 | 1.4066 | 83.0744 | 65956.9967 | 0.73424 | 84.4652 | 102118.88 | 0.15237 | 96.318 | 852024.5467 | 0.34557 | 90.9981 | 427319.26 | 0.46753 | 96.0061 | 613954.4533 | 0.4218 | 89.3435 | 362298.3267 | 0.53974
| FALSE | 048SMPL.d | 2023-01-13 15:03 | Sample |  | 172092-001 | 1 | 49.1726 | 0.029846 | 0.003343 | 0.0065495 | 0.011955 | 0.013864 | 0.057638 | 0.068363 | 0.068588 | <0.000 | <0.000 | <0.000 | <0.000 | 0.24876 | 0.2591 | 0.25196 | 0.24739 | 0.25766 | 0.25542 | 0.0029252 | 0.0025431 | 81.5105 | 8332.7633 | 1.8313 | 73.9715 | 379953.36 | 0.051431 | 70.9357 | 163395.5433 | 0.29492 | 82.6527 | 65622.2133 | 1.6997 | 83.886 | 101418.5633 | 0.55748 | 95.6855 | 846429.98 | 0.30278 | 90.4098 | 424556.56 | 0.38794 | 95.1347 | 608382.21 | 0.13987 | 89.713 | 363796.8567 | 0.31312
| FALSE | 049SMPL.d | 2023-01-13 15:07 | Sample |  | 172094-001 | 1 | 45.6097 | 0.018832 | <0.000 | 0.0060544 | 0.0085518 | 0.010763 | 0.046179 | 0.052424 | 0.051353 | <0.000 | <0.000 | <0.000 | <0.000 | 0.26764 | 0.27662 | 0.27289 | 0.28335 | 0.2733 | 0.27928 | 0.0027533 | 0.0016726 | 80.488 | 8228.2333 | 1.4045 | 73.9752 | 379972.0467 | 0.71906 | 70.8121 | 163110.92 | 0.19451 | 81.7908 | 64937.84 | 1.2997 | 83.2726 | 100676.9933 | 0.98614 | 95.8757 | 848112.7667 | 0.25976 | 90.696 | 425900.62 | 0.097399 | 95.0659 | 607941.8433 | 0.59586 | 89.3616 | 362371.5433 | 0.80798
| FALSE | 050SMPL.d | 2023-01-13 15:11 | Sample |  | 172091-001 | 1 | 53.1764 | 0.015776 | 0.0078486 | 0.0034231 | 0.0041703 | 0.0057712 | 0.05868 | 0.069222 | 0.060558 | <0.000 | <0.000 | <0.000 | <0.000 | 0.31746 | 0.33374 | 0.3317 | 0.32886 | 0.3232 | 0.33371 | 0.0028823 | 0.0023792 | 79.3241 | 8109.2567 | 3.9982 | 73.3983 | 377009.1733 | 0.31835 | 70.3808 | 162117.26 | 0.27356 | 80.6969 | 64069.37 | 0.54947 | 82.5996 | 99863.34 | 0.86812 | 95.0341 | 840667.8433 | 0.55615 | 90.1906 | 423527.09 | 0.20109 | 95.5432 | 610994.17 | 0.60317 | 88.5803 | 359203.2633 | 0.22786
| FALSE | 051SMPL.d | 2023-01-13 15:15 | Sample |  | 172110-001 | 1 | 0.22853 | 0.13696 | 0.094849 | 0.0087177 | 0.012074 | 0.015647 | 0.1961 | 0.20803 | 0.19157 | <0.000 | <0.000 | <0.000 | <0.000 | 2.1343 | 2.1261 | 2.1881 | 2.1745 | 2.1714 | 2.1355 | 0.16881 | 0.16043 | 80.564 | 8236.0067 | 1.3928 | 74.4144 | 382227.9367 | 2.465 | 72.5812 | 167185.8367 | 0.53879 | 84.0557 | 66736.13 | 0.5787 | 83.2996 | 100709.6 | 0.38135 | 94.1962 | 833255.49 | 3.3066 | 90.8285 | 426522.9967 | 0.21064 | 93.2572 | 596375.3467 | 2.5645 | 89.4566 | 362756.93 | 0.80848
| FALSE | 052_QC2.d | 2023-01-13 15:18 | QC2 |  | qc 2 | 1 | 10.0536 | 9.9757 | 9.836 | 10.8748 | 10.8287 | 10.7714 | 10.8415 | 11.036 | 10.8953 | 0.91887 | 1.008 | 0.91973 | 1.0172 | 9.5421 | 10.0942 | 9.9951 | 10.3305 | 9.8335 | 10.2537 | 9.6135 | 8.4845 | 83.0763 | 8492.8367 | 0.47622 | 77.0877 | 395959.7333 | 14.9073 | 71.4816 | 164652.9233 | 0.91651 | 83.2992 | 66135.45 | 1.9966 | 85.4797 | 103345.44 | 0.8451 | 98.9908 | 875668.0167 | 14.3508 | 92.3093 | 433476.74 | 0.34804 | 102.5771 | 655975.53 | 15.8176 | 92.6608 | 375750.1767 | 0.25975
| FALSE | 053SMPL.d | 2023-01-13 15:22 | Sample |  | blk | 1 | 0.014795 | 0.024633 | 0.052086 | <0.000 | 0.0034229 | 0.0026941 | 0.00032146 | 0.0052045 | <0.000 | 0.022289 | 0.026782 | 0.022427 | 0.020657 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.014863 | 0.010181 | 82.4238 | 8426.13 | 1.303 | 75.7303 | 388987.23 | 0.43007 | 71.9828 | 165807.36 | 0.74527 | 82.6936 | 65654.69 | 1.1473 | 84.6985 | 102400.87 | 0.58622 | 98.5998 | 872209.6 | 0.66692 | 91.3834 | 429128.75 | 0.86492 | 98.0805 | 627219.9867 | 0.60492 | 92.1486 | 373673.16 | 0.54275
| FALSE | 054SMPL.d | 2023-01-13 15:26 | Sample |  | 172112-001 | 1 | 0.19346 | 0.037812 | 0.052518 | <0.000 | 0.0054546 | 0.0035106 | 0.11642 | 0.11299 | 0.099815 | <0.000 | <0.000 | <0.000 | <0.000 | 0.25862 | 0.26792 | 0.26683 | 0.26814 | 0.26576 | 0.26486 | 0.3691 | 0.36048 | 82.1518 | 8398.33 | 3.6036 | 73.5302 | 377686.43 | 0.72908 | 70.7923 | 163065.22 | 2.173 | 82.3404 | 65374.23 | 1.7181 | 83.9349 | 101477.77 | 1.5483 | 96.1214 | 850285.62 | 0.36365 | 90.6453 | 425662.3267 | 0.18905 | 94.8809 | 606759.19 | 0.25354 | 89.5096 | 362971.7733 | 0.18649
| FALSE | 055SMPL.d | 2023-01-13 15:30 | Sample |  | 172112-002 | 1 | 0.23656 | 0.030874 | 0.1146 | <0.000 | 0.0065476 | 0.0035597 | 0.10005 | 0.099233 | 0.099953 | <0.000 | <0.000 | <0.000 | <0.000 | 0.37924 | 0.37326 | 0.37661 | 0.37419 | 0.37629 | 0.37617 | 0.38183 | 0.36482 | 84.6205 | 8650.6967 | 0.8939 | 74.3556 | 381926.1833 | 9.0802 | 71.9092 | 165637.9233 | 1.3562 | 85.0629 | 67535.7467 | 0.8834 | 87.0446 | 105237.4367 | 0.8769 | 96.4508 | 853199.73 | 8.5351 | 92.867 | 436095.63 | 0.55633 | 94.1234 | 601915.0267 | 8.3629 | 90.5091 | 367025.0967 | 0.42705
| FALSE | 056SMPL.d | 2023-01-13 15:34 | Sample |  | 172112-003 | 1 | 0.2161 | 0.027858 | <0.000 | <0.000 | 0.0022881 | 0.0022325 | 0.10515 | 0.11139 | 0.099699 | <0.000 | <0.000 | <0.000 | <0.000 | 0.22014 | 0.23526 | 0.2222 | 0.22975 | 0.22572 | 0.23426 | 0.38218 | 0.36589 | 88.5249 | 9049.8433 | 1.6651 | 78.5461 | 403450.75 | 0.23073 | 75.3104 | 173472.37 | 1.1213 | 88.3703 | 70161.7 | 1.363 | 90.2634 | 109128.9367 | 0.54467 | 99.3814 | 879123.8067 | 0.87072 | 94.4866 | 443701.0933 | 0.39959 | 96.5927 | 617706.01 | 0.44953 | 91.8995 | 372663.0933 | 0.58799
| FALSE | 057SMPL.d | 2023-01-13 15:38 | Sample |  | 172112-004 | 1 | 0.22875 | 0.031691 | 0.1003 | <0.000 | 0.0020895 | 0.0018673 | 0.11994 | 0.12438 | 0.12047 | <0.000 | <0.000 | <0.000 | <0.000 | 0.15728 | 0.17861 | 0.16072 | 0.16776 | 0.16235 | 0.17157 | 0.38521 | 0.37499 | 90.385 | 9240.0033 | 2.0372 | 79.8319 | 410054.88 | 0.30492 | 76.7257 | 176732.36 | 0.13571 | 90.1934 | 71609.1633 | 0.41843 | 91.1442 | 110193.8267 | 0.92888 | 99.47 | 879907.8067 | 0.69298 | 95.2052 | 447075.55 | 0.15151 | 95.9394 | 613527.8067 | 0.36439 | 92.0676 | 373344.7233 | 0.19556
| FALSE | 058SMPL.d | 2023-01-13 15:41 | Sample |  | 172112-005 | 1 | 0.26621 | 0.03276 | <0.000 | <0.000 | 0.004376 | 0.0023709 | 0.099672 | 0.11235 | 0.095117 | <0.000 | <0.000 | <0.000 | <0.000 | 0.13625 | 0.15195 | 0.1448 | 0.13808 | 0.13934 | 0.14378 | 0.59523 | 0.57766 | 90.5374 | 9255.58 | 2.8594 | 80.2666 | 412287.68 | 0.23774 | 77.6952 | 178965.53 | 0.73536 | 90.5181 | 71866.9467 | 1.1611 | 90.9661 | 109978.5267 | 0.72084 | 100.1313 | 885757.44 | 0.87902 | 95.0733 | 446455.9433 | 0.61187 | 95.1004 | 608162.6567 | 0.069778 | 91.4862 | 370987.17 | 0.32495
| FALSE | 059SMPL.d | 2023-01-13 15:45 | Sample |  | 172112-008 | 1 | 0.16692 | 0.2587 | 0.23065 | <0.000 | 0.0029496 | 0.0034859 | 0.075277 | 0.089507 | 0.08273 | <0.000 | <0.000 | <0.000 | <0.000 | 0.18898 | 0.19061 | 0.20011 | 0.20185 | 0.19338 | 0.19468 | 5.5642 | 5.458 | 94.9857 | 9710.3233 | 1.9672 | 82.6552 | 424556.73 | 0.31277 | 80.7803 | 186071.84 | 0.23937 | 94.6686 | 75162.2333 | 1.2681 | 92.3608 | 111664.7367 | 1.3255 | 100.3123 | 887357.9967 | 0.70753 | 96.8456 | 454778.46 | 0.63222 | 90.6708 | 579835.4567 | 0.863 | 89.0819 | 361237.4167 | 0.37214
| FALSE | 060SMPL.d | 2023-01-13 15:49 | Sample |  | 172116-001 | 1 | 0.92156 | 0.046656 | <0.000 | 0.0027008 | 0.0075227 | 0.0067418 | 0.12474 | 0.12953 | 0.11627 | <0.000 | <0.000 | <0.000 | <0.000 | 0.41913 | 0.42895 | 0.4236 | 0.41774 | 0.42487 | 0.42375 | 0.019312 | 0.014365 | 94.7358 | 9684.78 | 1.58 | 83.8899 | 430898.7033 | 0.56553 | 80.4798 | 185379.67 | 0.82033 | 93.4925 | 74228.47 | 1.2353 | 91.1508 | 110201.78 | 0.83916 | 100.2671 | 886958.86 | 0.17752 | 95.245 | 447262.49 | 0.64637 | 95.6197 | 611483.3167 | 0.26531 | 92.3623 | 374539.93 | 0.25748
| FALSE | 061SMPL.d | 2023-01-13 15:53 | Sample |  | 172119-001 | 1 | 0.030757 | 0.086806 | 0.060244 | 0.00052704 | 0.00083897 | 0.0053156 | 0.061615 | 0.071168 | 0.062714 | <0.000 | <0.000 | <0.000 | <0.000 | 0.24637 | 0.24721 | 0.23934 | 0.24686 | 0.24422 | 0.24511 | 0.0048323 | 0.0041405 | 90.0258 | 9203.28 | 1.9188 | 78.9097 | 405318.1233 | 0.18563 | 75.6871 | 174340.0933 | 0.58231 | 88.6831 | 70410.0533 | 1.231 | 90.2048 | 109058.13 | 0.23891 | 98.7588 | 873616.3733 | 0.60911 | 93.5262 | 439190.8333 | 0.2174 | 93.8463 | 600142.9867 | 0.089275 | 90.5459 | 367174.0233 | 0.69612
| FALSE | 062SMPL.d | 2023-01-13 15:57 | Sample |  | 172123-001 | 1 | 0.26883 | 0.068715 | 0.091407 | 0.0083822 | 0.011939 | 0.013633 | 0.14731 | 0.16022 | 0.15678 | <0.000 | <0.000 | <0.000 | <0.000 | 1.0402 | 1.0858 | 1.0824 | 1.106 | 1.0721 | 1.0999 | 0.0085724 | 0.0074745 | 92.8539 | 9492.3933 | 0.75035 | 87.9135 | 451566.02 | 28.124 | 80.8433 | 186217.0533 | 0.68049 | 93.7259 | 74413.7933 | 0.8267 | 89.1575 | 107791.8833 | 0.12498 | 99.2695 | 878133.66 | 27.4853 | 93.8058 | 440504.09 | 0.50756 | 96.4039 | 616498.3467 | 26.8039 | 87.7 | 355633.9267 | 0.040224
| FALSE | 063SMPL.d | 2023-01-13 16:01 | Sample |  | 172126-001 | 1 | 29.5696 | 0.55324 | 0.42384 | 0.32423 | 0.31512 | 0.31154 | 0.35371 | 0.376 | 0.3741 | <0.000 | <0.000 | <0.000 | <0.000 | 3.1625 | 3.1671 | 3.1824 | 3.1847 | 3.1737 | 3.168 | 0.04754 | 0.045687 | 95.6491 | 9778.15 | 2.2003 | 90.9096 | 466955.6067 | 0.94372 | 88.5449 | 203957.0467 | 0.44334 | 103.5092 | 82181.2167 | 0.82689 | 92.5043 | 111838.1467 | 1.0281 | 100.7393 | 891135.94 | 0.57736 | 95.7292 | 449535.9733 | 0.067249 | 92.9541 | 594436.9367 | 0.48696 | 90.6059 | 367417.5533 | 0.16741
| FALSE | 064_QC2.d | 2023-01-13 16:04 | QC2 |  | qc 2 | 1 | 10.0036 | 9.885 | 9.8165 | 10.6809 | 10.3554 | 10.431 | 10.5226 | 10.8708 | 10.6064 | 0.94862 | 1.0095 | 0.99321 | 0.99943 | 9.967 | 10.0249 | 10.2894 | 10.3291 | 10.163 | 10.1758 | 9.4165 | 8.1601 | 92.8431 | 9491.2933 | 2.3348 | 84.8972 | 436073.07 | 0.86476 | 81.0526 | 186699.05 | 0.35244 | 93.1406 | 73949.06 | 1.0088 | 94.5258 | 114282.15 | 0.47813 | 103.0509 | 911583.89 | 1.0391 | 96.7789 | 454465.2633 | 0.37753 | 97.3328 | 622438.4867 | 0.42285 | 94.4074 | 382832.9767 | 0.56623
| FALSE | 065SMPL.d | 2023-01-13 16:08 | Sample |  | blk | 1 | 0.0042012 | 0.01522 | 0.10059 | 0.00010847 | 0.0011882 | 0.0033394 | 0.0042463 | 0.0054487 | <0.000 | 0.014367 | 0.025361 | 0.025538 | 0.024614 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.011419 | 0.0078757 | 91.7116 | 9375.62 | 3.0995 | 81.0729 | 416429.1633 | 0.57448 | 78.6201 | 181096.0867 | 1.0952 | 89.9332 | 71402.5633 | 0.50978 | 92.2873 | 111575.7833 | 0.95618 | 99.4497 | 879728.05 | 0.48873 | 95.0176 | 446194.3633 | 0.16418 | 96.2937 | 615793.5833 | 0.64496 | 93.1791 | 377852.2133 | 0.67255
| FALSE | 066SMPL.d | 2023-01-13 16:12 | Sample |  | 172128-001 | 1 | 0.26073 | 0.085075 | 0.15838 | 0.0040094 | 0.012788 | 0.011444 | 0.31236 | 0.32958 | 0.33024 | <0.000 | <0.000 | <0.000 | <0.000 | 15.3522 | 15.361 | 15.2346 | 15.3817 | 15.3592 | 15.2282 | 0.23141 | 0.22155 | 87.8399 | 8979.82 | 2.9604 | 81.264 | 417410.9333 | 0.28923 | 78.5554 | 180946.9733 | 0.57272 | 91.8123 | 72894.4633 | 1.0913 | 89.2285 | 107877.6833 | 1.2022 | 99.0239 | 875961.1833 | 0.31631 | 94.2436 | 442559.93 | 0.66627 | 93.6199 | 598694.64 | 0.31596 | 90.965 | 368873.5667 | 0.21888
| FALSE | 067SMPL.d | 2023-01-13 16:16 | Sample |  | 172100-001 mj | 5 | 0.26209 | 0.17699 | 0.16958 | 0.075499 | 0.11246 | 0.10161 | 0.26423 | 0.28787 | 0.27087 | 0.39871 | 0.50939 | 0.49102 | 0.46737 | 0.73347 | 0.79108 | 0.68501 | 0.75336 | 0.71127 | 0.76277 | 0.012338 | 0.0055521 | 87.1004 | 8904.2167 | 2.4325 | 81.0534 | 416329.45 | 0.90735 | 78.0975 | 179892.3333 | 0.1303 | 90.894 | 72165.3867 | 1.144 | 90.5549 | 109481.4033 | 0.99857 | 101.9495 | 901840.7333 | 0.46994 | 97.0253 | 455622.2533 | 0.62572 | 96.7681 | 618827.7333 | 1.4333 | 91.6696 | 371731.13 | 0.17336
| FALSE | 068SMPL.d | 2023-01-13 16:20 | Sample |  | 172129-001 | 1 | 6.0465 | 0.024433 | 0.17921 | <0.000 | 0.0054681 | 0.0051799 | 0.10172 | 0.095888 | 0.093145 | <0.000 | <0.000 | 0.0048999 | 0.002577 | 0.59597 | 0.60297 | 0.59754 | 0.59119 | 0.59301 | 0.59855 | 0.0015287 | 0.001265 | 87.6116 | 8956.4733 | 2.7135 | 76.1136 | 390956.2367 | 0.54939 | 72.7365 | 167543.5167 | 0.72091 | 85.7265 | 68062.5967 | 1.675 | 86.1263 | 104127.1 | 1.2143 | 97.6637 | 863929.3533 | 0.89094 | 91.8882 | 431499.22 | 0.22216 | 91.5469 | 585438.04 | 0.2674 | 87.4912 | 354786.99 | 0.39248
| FALSE | 069SMPL.d | 2023-01-13 16:23 | Sample |  | 172104-001 mj | 5 | 0.29582 | 0.15653 | 0.23665 | 0.16987 | 0.17175 | 0.18725 | 0.16972 | 0.19955 | 0.16507 | 0.34422 | 0.36126 | 0.36167 | 0.37775 | 1.8611 | 1.8727 | 1.8624 | 1.8985 | 1.839 | 1.8582 | 0.43952 | 0.43989 | 92.2232 | 9427.9233 | 1.6872 | 82.523 | 423877.7733 | 0.74778 | 80.8011 | 186119.7133 | 0.98592 | 94.8696 | 75321.7933 | 1.4415 | 92.8014 | 112197.35 | 0.58721 | 101.1798 | 895032.62 | 0.45514 | 97.3654 | 457219.6667 | 0.29604 | 94.1623 | 602163.3067 | 0.74457 | 91.3662 | 370500.5067 | 0.10783
| FALSE | 070SMPL.d | 2023-01-13 16:27 | Sample |  | 172141-001 | 1 | 0.53596 | 0.020389 | 0.084043 | 0.0044203 | 0.0070193 | 0.17023 | 0.10008 | 0.12874 | 0.11146 | <0.000 | <0.000 | 0.001239 | <0.000 | 0.88042 | 0.8988 | 0.89412 | 0.93551 | 0.894 | 0.89997 | 0.068032 | 0.065218 | 95.1378 | 9725.8767 | 3.9836 | 78.0813 | 401063.0033 | 0.72059 | 75.8728 | 174767.9 | 0.93431 | 88.1577 | 69992.89 | 1.4231 | 88.8665 | 107440.0433 | 1.1603 | 98.9466 | 875277.6 | 0.88064 | 93.7054 | 440032.7267 | 0.48717 | 92.6709 | 592626.1133 | 0.24807 | 88.6058 | 359306.7533 | 0.25776
| FALSE | 071SMPL.d | 2023-01-13 16:31 | Sample |  | 172143-003 | 1 | 0.45149 | 0.065156 | 0.19944 | 0.028801 | 0.033127 | 0.038255 | 0.24278 | 0.24752 | 0.2352 | <0.000 | <0.000 | <0.000 | <0.000 | 0.80027 | 0.78861 | 0.81594 | 0.80235 | 0.80719 | 0.80412 | 0.055694 | 0.054682 | 92.1796 | 9423.4667 | 2.6401 | 80.9641 | 415870.6333 | 0.24247 | 78.4934 | 180804.2633 | 0.24485 | 92.8731 | 73736.6867 | 1.4065 | 90.5402 | 109463.5233 | 0.54171 | 98.4274 | 870684.7433 | 0.68424 | 93.8813 | 440858.3433 | 0.49883 | 87.9539 | 562460.9067 | 0.43277 | 84.6764 | 343372.8067 | 0.20396
| FALSE | 072SMPL.d | 2023-01-13 16:35 | Sample |  | 172143-004 | 1 | 0.45588 | 0.048155 | 0.16284 | 0.0069914 | 0.013916 | 0.012509 | 0.33439 | 0.36064 | 0.33784 | <0.000 | <0.000 | <0.000 | <0.000 | 0.43459 | 0.44012 | 0.43419 | 0.43726 | 0.43306 | 0.43879 | 0.042814 | 0.043168 | 91.6139 | 9365.6267 | 4.0169 | 80.574 | 413866.87 | 0.19231 | 78.2511 | 180246.07 | 0.47808 | 90.7812 | 72075.78 | 0.986 | 90.0269 | 108843.05 | 0.67711 | 98.3194 | 869729.3 | 0.8716 | 93.5319 | 439217.8567 | 0.40193 | 85.6133 | 547493.0533 | 0.36288 | 82.8728 | 336058.77 | 0.65105
| FALSE | 073SMPL.d | 2023-01-13 16:39 | Sample |  | 172156-001 | 1 | 0.73293 | 0.016946 | 0.015505 | 0.0082932 | 0.010437 | 0.010525 | 0.059462 | 0.068185 | 0.064673 | <0.000 | <0.000 | <0.000 | <0.000 | 0.31487 | 0.31644 | 0.30739 | 0.31246 | 0.30823 | 0.31075 | 1.8348 | 1.808 | 88.0249 | 8998.7267 | 4.5439 | 80.7187 | 414610.09 | 0.2854 | 77.3251 | 178112.9967 | 0.80603 | 90.0725 | 71513.1467 | 0.9182 | 89.594 | 108319.6 | 1.2746 | 99.2502 | 877962.8767 | 1.0958 | 94.0609 | 441702.1033 | 0.45051 | 93.0142 | 594821.4667 | 0.26091 | 89.1116 | 361358.0033 | 0.11904
| FALSE | 074SMPL.d | 2023-01-13 16:43 | Sample |  | 172136-001 | 1 | 0.42133 | 0.068804 | 0.01805 | 0.0015683 | 0.0059437 | 0.0036941 | 0.065834 | 0.075294 | 0.068233 | <0.000 | <0.000 | 0.0043968 | <0.000 | 0.90914 | 0.92884 | 0.91364 | 0.91377 | 0.90775 | 0.91838 | 0.048846 | 0.046996 | 86.4911 | 8841.93 | 1.7618 | 77.9633 | 400456.8567 | 0.13467 | 76.0649 | 175210.2567 | 0.21721 | 88.6195 | 70359.51 | 1.0391 | 84.666 | 102361.6567 | 1.2377 | 93.9173 | 830788.45 | 0.78663 | 89.3815 | 419727.71 | 0.9014 | 82.5029 | 527601.8933 | 0.27353 | 79.7044 | 323210.7633 | 0.48066
| FALSE | 075SMPL.d | 2023-01-13 16:46 | Sample |  | 172134-001 | 1 | 0.57095 | 0.025056 | 0.21024 | 0.0056267 | 0.0057127 | 0.0041082 | 0.089166 | 0.10867 | 0.097176 | <0.000 | <0.000 | <0.000 | <0.000 | 2.3975 | 2.4021 | 2.444 | 2.4531 | 2.4112 | 2.4259 | 0.78355 | 0.76444 | 83.2394 | 8509.5133 | 4.0805 | 74.1447 | 380842.8533 | 0.43197 | 71.0133 | 163574.2333 | 0.46424 | 83.883 | 66598.9567 | 0.41359 | 83.8211 | 101340.1133 | 0.8973 | 96.2251 | 851203.3367 | 0.73021 | 89.3334 | 419501.9233 | 0.52917 | 88.2836 | 564569.6467 | 0.32777 | 83.8813 | 340148.5667 | 0.4438
| FALSE | 076_QC2.d | 2023-01-13 16:50 | QC2 |  | qc 2 | 1 | 9.8847 | 9.7701 | 9.4223 | 11.1003 | 10.6716 | 10.5335 | 10.644 | 11.3794 | 10.8046 | 0.93718 | 0.99055 | 0.97618 | 1.0019 | 10.4278 | 10.1808 | 10.7681 | 10.3815 | 10.5839 | 10.2828 | 9.8431 | 8.1723 | 88.4383 | 9040.9933 | 1.4959 | 76.4683 | 392777.89 | 4.8811 | 75.4959 | 173899.5833 | 0.71342 | 87.5323 | 69496.3667 | 0.84898 | 90.16 | 109003.96 | 0.2211 | 96.7049 | 855447.1633 | 4.5848 | 93.781 | 440387.7167 | 0.42292 | 91.6115 | 585851.1633 | 3.5834 | 90.6019 | 367401.1667 | 0.40744
| FALSE | 077SMPL.d | 2023-01-13 16:54 | Sample |  | blk | 1 | 0.0056073 | 0.031524 | <0.000 | 0.00020543 | 0.0017134 | 0.0053972 | 0.0043704 | 0.0041085 | 0.00096872 | 0.024863 | 0.024239 | 0.031671 | 0.030395 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.018811 | 0.013539 | 89.2208 | 9120.99 | 0.36636 | 79.9667 | 410747.2567 | 0.44113 | 77.053 | 177486.25 | 0.64108 | 89.3829 | 70965.6133 | 0.49577 | 90.9313 | 109936.38 | 0.95582 | 101.0481 | 893867.0233 | 0.41662 | 94.6474 | 444456.24 | 0.26135 | 95.1896 | 608732.7667 | 0.58805 | 91.4867 | 370989.3633 | 0.43368
| FALSE | 078SMPL.d | 2023-01-13 16:58 | Sample |  | 172152-001 | 1 | 0.062406 | 0.049517 | 0.059906 | 0.0026509 | 0.0082438 | 0.0057779 | 0.10249 | 0.1044 | 0.094754 | <0.000 | <0.000 | <0.000 | <0.000 | 0.24274 | 0.22976 | 0.23448 | 0.22641 | 0.23821 | 0.22931 | 0.077622 | 0.075124 | 90.2652 | 9227.7533 | 2.3679 | 76.4994 | 392937.6267 | 4.0547 | 76.3049 | 175763.0233 | 0.99848 | 89.1413 | 70773.7833 | 0.91381 | 91.0015 | 110021.2767 | 1.0791 | 97.6684 | 863970.7233 | 4.4602 | 94.129 | 442021.91 | 0.22828 | 92.0056 | 588371.64 | 3.2858 | 90.597 | 367381.49 | 0.63247
| FALSE | 079SMPL.d | 2023-01-13 17:02 | Sample |  | 172153-001 | 10 | 14.379 | 0.70688 | 2.5124 | 0.17263 | 0.18212 | 0.25266 | 1.1186 | 1.146 | 1.0476 | <0.000 | <0.000 | <0.000 | <0.000 | 15.1946 | 15.2399 | 14.6228 | 14.6256 | 14.7509 | 14.7641 | 0.943 | 0.90505 | 95.1595 | 9728.0933 | 1.2165 | 96.5252 | 495799.7867 | 0.60458 | 93.8026 | 216067.9567 | 0.86289 | 109.9884 | 87325.3733 | 0.69872 | 92.0173 | 111249.3933 | 1.0151 | 103.0357 | 911449.2933 | 0.41129 | 96.845 | 454775.6133 | 0.58494 | 95.6729 | 611823.56 | 0.23973 | 92.1229 | 373569.2 | 0.50368
| FALSE | 080SMPL.d | 2023-01-13 17:05 | Sample |  | 172147-001 Pb | 1 | 0.12775 | 0.051375 | <0.000 | 0.19533 | 0.19466 | 0.20181 | 0.14557 | 0.14231 | 0.13233 | <0.000 | <0.000 | <0.000 | <0.000 | 3.1568 | 3.1947 | 3.2044 | 3.2533 | 3.1744 | 3.2055 | 0.0029297 | 0.0022501 | 93.463 | 9554.66 | 3.5815 | 80.4291 | 413122.6567 | 0.61159 | 77.9723 | 179603.7533 | 1.682 | 91.5453 | 72682.4667 | 0.82249 | 91.1043 | 110145.5233 | 1.3928 | 99.7467 | 882355.1533 | 0.43115 | 94.9342 | 445803.07 | 0.38375 | 90.4129 | 578186.3267 | 0.50909 | 87.0228 | 352887.52 | 0.29943
| FALSE | 081SMPL.d | 2023-01-13 17:09 | Sample |  | 172147-002 Pb | 1 | 0.096743 | 0.046434 | 0.11405 | <0.000 | 0.0045767 | 0.0061271 | 0.11928 | 0.12916 | 0.12091 | <0.000 | <0.000 | <0.000 | <0.000 | 0.50329 | 0.49935 | 0.50034 | 0.49231 | 0.49944 | 0.49655 | 0.0023248 | 0.002337 | 94.8336 | 9694.7833 | 1.6971 | 80.5999 | 413999.97 | 1.1277 | 78.8377 | 181597.2967 | 0.62821 | 92.9674 | 73811.53 | 1.9892 | 92.4327 | 111751.67 | 1.7086 | 100.231 | 886639.5867 | 0.50079 | 95.6927 | 449364.93 | 0.75619 | 90.7827 | 580551.3767 | 0.50424 | 87.7433 | 355809.3067 | 0.83229
| FALSE | 082SMPL.d | 2023-01-13 17:13 | Sample |  | 172161-001 Pb | 1 | 0.29797 | 0.030847 | 0.0323 | <0.000 | 0.0023755 | 0.00081275 | 0.16875 | 0.18262 | 0.15795 | <0.000 | <0.000 | <0.000 | <0.000 | 1.0426 | 1.0547 | 1.063 | 1.0616 | 1.043 | 1.0534 | 0.00077463 | 0.00024206 | 93.6369 | 9572.4433 | 1.8025 | 81.9847 | 421113.06 | 0.42075 | 78.4932 | 180803.8233 | 0.7163 | 91.943 | 72998.2367 | 0.94987 | 93.2848 | 112781.81 | 1.4167 | 101.996 | 902252.5833 | 1.075 | 96.2248 | 451863.4533 | 0.25342 | 93.9656 | 600905.7133 | 0.5899 | 90.4764 | 366892.33 | 0.24432
| FALSE | 083SMPL.d | 2023-01-13 17:17 | Sample |  | 172159-001 mj | 5 | 0.089386 | 0.052544 | <0.000 | 0.23923 | 0.28248 | 0.28514 | 0.13126 | 0.1473 | 0.12613 | 0.079722 | 0.1036 | 0.11206 | 0.10038 | 1.1794 | 1.2437 | 1.2009 | 1.2011 | 1.1644 | 1.2062 | 0.0037113 | 0.0017883 | 93.2237 | 9530.2033 | 1.0962 | 84.6881 | 434998.9367 | 0.74585 | 81.0333 | 186654.5633 | 0.44187 | 96.5203 | 76632.3667 | 0.81382 | 96.0296 | 116100.3467 | 0.73833 | 105.7806 | 935730.68 | 0.13179 | 100.6268 | 472535.0433 | 0.43005 | 96.2858 | 615743.0367 | 1.2357 | 92.4418 | 374862.29 | 0.35999
| FALSE | 084SMPL.d | 2023-01-13 17:21 | Sample |  | 172159-002 mj | 5 | 0.087457 | 0.049339 | 0.60706 | 0.38589 | 0.32739 | 0.38421 | 0.26235 | 0.26963 | 0.26132 | 0.096981 | 0.1019 | 0.14678 | 0.12832 | 1.1169 | 1.1746 | 1.1786 | 1.1644 | 1.1336 | 1.1402 | 0.0072937 | 0.0045609 | 95.5079 | 9763.7167 | 1.5344 | 87.2143 | 447974.71 | 1.0384 | 84.9538 | 195685.1833 | 0.90453 | 97.6865 | 77558.2967 | 0.51592 | 97.3371 | 117681.12 | 0.97505 | 107.15 | 947844.2733 | 0.7706 | 101.9649 | 478818.2833 | 0.049398 | 94.7024 | 605617.31 | 0.96329 | 93.1445 | 377711.64 | 0.30687
| FALSE | 085SMPL.d | 2023-01-13 17:25 | Sample |  | 172159-003 mj | 5 | 0.10089 | 0.083329 | <0.000 | 0.32825 | 0.33404 | 0.33259 | 0.24943 | 0.32945 | 0.29449 | 0.053484 | 0.12404 | 0.13477 | 0.11339 | 1.3617 | 1.4248 | 1.4024 | 1.3614 | 1.3817 | 1.3877 | 0.0035726 | 0.0022009 | 96.3994 | 9854.85 | 0.66558 | 85.7577 | 440492.83 | 0.46571 | 84.1077 | 193736.3733 | 0.53413 | 99.1375 | 78710.3067 | 1.9722 | 97.8587 | 118311.6433 | 1.5484 | 105.6621 | 934682.14 | 1.1664 | 102.2383 | 480102.42 | 0.38309 | 93.9693 | 600929.3533 | 0.25189 | 93.0069 | 377153.6767 | 0.26036
| FALSE | 086SMPL.d | 2023-01-13 17:28 | Sample |  | 172154-001 mj | 5 | 0.2294 | 0.028713 | 0.56938 | 0.10645 | 0.11709 | 0.11777 | 0.18726 | 0.21091 | 0.18145 | 0.043689 | 0.068706 | 0.066071 | 0.067264 | 0.65732 | 0.72165 | 0.6529 | 0.66774 | 0.64762 | 0.68481 | 0.0050626 | 0.0023457 | 99.2711 | 10148.4267 | 1.9266 | 87.5001 | 449442.5267 | 0.25417 | 85.6782 | 197353.9667 | 1.4141 | 100.762 | 80000.0467 | 1.2271 | 98.7596 | 119400.8133 | 0.85852 | 106.3399 | 940678.2667 | 1.2294 | 102.8287 | 482874.6933 | 0.35481 | 95.539 | 610967.5333 | 0.65695 | 93.7404 | 380128.4567 | 0.68331
| FALSE | 087SMPL.d | 2023-01-13 17:32 | Sample |  | 172148-001 | 3 | 0.11735 | 0.025537 | 0.25272 | 0.012866 | 0.023844 | 0.032867 | 0.22872 | 0.20175 | 0.203 | <0.000 | <0.000 | <0.000 | <0.000 | 0.64637 | 0.65944 | 0.63862 | 0.65248 | 0.64734 | 0.63586 | <0.000 | <0.000 | 97.2372 | 9940.4967 | 2.1328 | 87.1994 | 447898.2133 | 0.23675 | 85.3762 | 196658.2967 | 0.71196 | 96.8267 | 76875.6833 | 0.51877 | 99.4522 | 120238.26 | 0.16674 | 106.7248 | 944082.7067 | 0.41718 | 101.7041 | 477593.7767 | 0.30713 | 99.0185 | 633218.7133 | 0.3244 | 97.6385 | 395935.7167 | 0.37791
| FALSE | 088_QC2.d | 2023-01-13 17:36 | QC2 |  | qc 2 | 1 | 9.9624 | 12.6239 | 9.0412 | 10.3412 | 10.5207 | 10.4825 | 10.6094 | 10.484 | 10.6447 | 0.91709 | 1.0051 | 0.92306 | 0.99577 | 9.4378 | 10.2584 | 9.573 | 10.4677 | 9.4812 | 10.3012 | 8.5766 | 8.0637 | 90.5265 | 9254.4633 | 2.5284 | 94.2305 | 484013.0167 | 35.6572 | 66.7971 | 153862.44 | 9.5928 | 91.8308 | 72909.1633 | 1.8293 | 95.2795 | 115193.4067 | 1.477 | 110.8318 | 980413.22 | 31.8664 | 97.329 | 457048.69 | 0.65491 | 109.4333 | 699820.7933 | 31.5274 | 92.3106 | 374330.3267 | 0.48689
| FALSE | 089SMPL.d | 2023-01-13 17:40 | Sample |  | blk | 1 | 0.0016269 | 0.017828 | 0.12054 | 0.0028538 | 0.0043842 | 0.0038339 | 0.0018886 | 0.0050832 | 0.0031559 | 0.015805 | 0.013111 | 0.023048 | 0.016484 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.023197 | 0.017926 | 90.8742 | 9290.0133 | 1.457 | 81.5741 | 419003.8833 | 0.55781 | 79.3575 | 182794.5167 | 1.4402 | 90.3635 | 71744.1667 | 0.67133 | 93.3193 | 112823.5467 | 0.44144 | 102.1683 | 903776.6867 | 1.4011 | 95.8011 | 449873.92 | 0.74393 | 94.8622 | 606639.3667 | 0.41816 | 92.7614 | 376158.26 | 0.34868
| FALSE | 090SMPL.d | 2023-01-13 17:44 | Sample |  | 172162-001 Pb | 1 | 0.056653 | 0.040073 | 0.10206 | 0.0028396 | 0.0035723 | 0.0065078 | 0.34194 | 0.35022 | 0.3365 | <0.000 | 0.0093243 | 0.0064456 | 0.0067386 | 2.7776 | 2.7942 | 2.9153 | 2.9546 | 2.8333 | 2.8445 | 0.0036542 | 0.0038659 | 89.5041 | 9149.9467 | 2.0233 | 78.9458 | 405503.4933 | 0.30745 | 77.5083 | 178535.0333 | 1.542 | 89.3156 | 70912.2333 | 0.48326 | 92.378 | 111685.53 | 0.40151 | 99.6161 | 881199.7867 | 0.90491 | 95.4774 | 448353.6767 | 0.44026 | 94.1953 | 602374.7067 | 0.51067 | 92.0714 | 373360.1767 | 0.48647
| FALSE | 091SMPL.d | 2023-01-13 17:47 | Sample |  | 172165-001 | 1 | 0.058923 | 0.03559 | 0.189 | 0.0007437 | 0.0040598 | 0.0030817 | 0.099863 | 0.10464 | 0.093678 | <0.000 | 0.00078736 | 1.2448e-05 | <0.000 | 0.69363 | 0.69658 | 0.69395 | 0.69988 | 0.6871 | 0.68739 | 0.0054646 | 0.0049716 | 89.4603 | 9145.47 | 0.7879 | 79.4721 | 408207.09 | 0.30391 | 77.6641 | 178894 | 0.38832 | 89.1609 | 70789.3833 | 1.4013 | 92.2236 | 111498.8033 | 0.44367 | 100.5477 | 889440.7933 | 1.0369 | 95.6642 | 449230.9667 | 0.51242 | 93.9351 | 600710.58 | 0.59461 | 91.5171 | 371112.6733 | 0.34151
| FALSE | 092SMPL.d | 2023-01-13 17:51 | Sample |  | 172165-002 | 1 | 0.069042 | 0.025342 | 0.059621 | 0.00054265 | 0.0021891 | 0.0041496 | 0.082582 | 0.08361 | 0.084619 | <0.000 | <0.000 | <0.000 | <0.000 | 0.50032 | 0.49153 | 0.49519 | 0.49474 | 0.49354 | 0.48936 | 0.0042549 | 0.0034538 | 89.395 | 9138.7933 | 0.24316 | 79.6459 | 409099.5833 | 0.3346 | 78.1293 | 179965.3933 | 0.46667 | 89.3649 | 70951.3233 | 1.1032 | 91.9771 | 111200.8267 | 0.45788 | 99.5094 | 880255.8267 | 0.28543 | 95.446 | 448206.06 | 0.49117 | 93.6308 | 598764.5367 | 0.24442 | 91.4737 | 370936.6467 | 0.3515
| FALSE | 093SMPL.d | 2023-01-13 17:55 | Sample |  | 172165-003 | 1 | 0.055747 | 0.023938 | 0.057432 | 0.00094047 | 0.0072281 | 0.0033842 | 0.072565 | 0.07416 | 0.070151 | <0.000 | <0.000 | <0.000 | <0.000 | 0.62329 | 0.62999 | 0.60525 | 0.61992 | 0.61316 | 0.61347 | 0.0040904 | 0.0031703 | 88.4599 | 9043.2033 | 3.3331 | 79.741 | 409588.09 | 0.38114 | 78.077 | 179844.9567 | 1.1787 | 89.8628 | 71346.68 | 1.4397 | 92.5467 | 111889.3967 | 0.28686 | 100.6876 | 890678.3033 | 0.70923 | 96.0182 | 450893.0367 | 0.9212 | 93.6093 | 598626.9667 | 0.078807 | 91.175 | 369725.4367 | 0.43747
| FALSE | 094SMPL.d | 2023-01-13 17:59 | Sample |  | 172165-004 | 1 | 0.049869 | 0.022532 | <0.000 | 0.0010528 | 0.0034543 | 0.0020181 | 0.056643 | 0.061968 | 0.063862 | <0.000 | <0.000 | <0.000 | <0.000 | 0.69977 | 0.70011 | 0.69389 | 0.69796 | 0.68982 | 0.69512 | 0.003618 | 0.0038007 | 88.8078 | 9078.7633 | 1.4156 | 79.7681 | 409727.2833 | 0.58389 | 78.0381 | 179755.3333 | 0.61859 | 90.2738 | 71672.9833 | 1.0921 | 92.8568 | 112264.3733 | 0.76318 | 101.0273 | 893683.4667 | 0.68 | 96.2164 | 451823.9667 | 0.34935 | 93.3832 | 597181.25 | 0.29287 | 91.5467 | 371232.4233 | 0.557
| FALSE | 095SMPL.d | 2023-01-13 18:03 | Sample |  | 172165-005 | 1 | 0.063577 | 0.035323 | 0.1216 | 0.0075417 | 0.0043955 | 0.010537 | 0.080993 | 0.083092 | 0.077034 | <0.000 | <0.000 | <0.000 | <0.000 | 0.94749 | 0.94354 | 0.94263 | 0.93585 | 0.93445 | 0.93093 | 0.0062567 | 0.005818 | 89.3625 | 9135.4733 | 2.9398 | 80.426 | 413106.4367 | 0.5102 | 78.0961 | 179888.9467 | 1.1013 | 90.1396 | 71566.4267 | 1.1644 | 91.8675 | 111068.3333 | 0.65424 | 101.2332 | 895504.2633 | 1.1302 | 96.0668 | 451121.43 | 0.34584 | 93.2154 | 596108.2933 | 0.49574 | 91.1834 | 369759.2667 | 0.14168
| FALSE | 096SMPL.d | 2023-01-13 18:07 | Sample |  | 172165-006 | 1 | 0.75299 | 0.041178 | 0.1436 | <0.000 | <0.000 | 0.0020773 | 0.16683 | 0.17781 | 0.16769 | <0.000 | <0.000 | <0.000 | <0.000 | 0.34052 | 0.34533 | 0.33451 | 0.33822 | 0.33717 | 0.33657 | 0.0018668 | 0.0011727 | 89.2428 | 9123.24 | 2.7055 | 79.9166 | 410490.2 | 0.057248 | 78.0573 | 179799.7433 | 1.0666 | 89.9826 | 71441.7733 | 0.79108 | 92.7379 | 112120.6033 | 0.68864 | 102.0017 | 902303.05 | 1.6373 | 96.3598 | 452497.23 | 0.10213 | 93.7835 | 599741.17 | 0.47941 | 91.7674 | 372127.3867 | 0.46258
| FALSE | 097SMPL.d | 2023-01-13 18:10 | Sample |  | 172170-001 | 1 | 0.58578 | 0.0010433 | 0.03835 | <0.000 | 0.0035875 | 0.0059787 | 0.060923 | 0.064893 | 0.061094 | <0.000 | <0.000 | 0.00058417 | <0.000 | 0.3626 | 0.35587 | 0.34976 | 0.35045 | 0.34973 | 0.34838 | <0.000 | <0.000 | 88.5577 | 9053.1967 | 2.3901 | 78.4346 | 402877.75 | 0.55697 | 77.0898 | 177571.01 | 0.93194 | 89.1943 | 70815.89 | 0.72929 | 90.5225 | 109442.1533 | 0.84654 | 99.722 | 882136.1767 | 0.65568 | 94.8533 | 445423.1333 | 0.31619 | 91.3136 | 583946.0767 | 0.23048 | 89.3714 | 362411.4367 | 0.16672
| FALSE | 098SMPL.d | 2023-01-13 18:14 | Sample |  | 172170-002 | 1 | 0.054107 | 0.01848 | 0.041875 | <0.000 | <0.000 | 0.00031639 | 0.060568 | 0.066862 | 0.050403 | <0.000 | <0.000 | <0.000 | <0.000 | 0.3414 | 0.35961 | 0.34063 | 0.34508 | 0.33739 | 0.3473 | <0.000 | <0.000 | 87.5246 | 8947.5833 | 1.937 | 78.1864 | 401603.03 | 0.47255 | 76.9639 | 177281.0667 | 1.4415 | 87.5772 | 69532.0033 | 1.0996 | 89.8373 | 108613.7633 | 0.43051 | 99.0729 | 876394.36 | 0.72315 | 93.9278 | 441076.9467 | 0.20791 | 90.8398 | 580916.4267 | 0.55285 | 88.029 | 356967.91 | 0.5067
| FALSE | 099SMPL.d | 2023-01-13 18:18 | Sample |  | 172171-001 | 1 | 4.5082 | 0.0055105 | 0.10828 | 0.0018729 | 0.0024504 | 0.0052256 | 0.12856 | 0.14066 | 0.13885 | <0.000 | 3.5543e-05 | 0.0029078 | <0.000 | 1.8746 | 1.8701 | 1.8524 | 1.8644 | 1.8482 | 1.8465 | 0.026726 | 0.026443 | 91.19 | 9322.2933 | 0.841 | 77.9347 | 400310.26 | 0.090781 | 76.2982 | 175747.6967 | 0.40316 | 86.8275 | 68936.7867 | 1.1535 | 89.45 | 108145.49 | 1.1685 | 99.2549 | 878004.51 | 0.12905 | 93.8406 | 440667.53 | 0.46496 | 91.0888 | 582508.3733 | 0.61783 | 88.4959 | 358861.0533 | 0.13719
| FALSE | 100_QC2.d | 2023-01-13 18:22 | QC2 |  | qc 2 | 1 | 9.7564 | 9.9016 | 10.4934 | 10.6179 | 10.5472 | 10.3931 | 10.5208 | 10.8506 | 10.6009 | 0.98056 | 1.0044 | 0.98736 | 0.98754 | 10.1443 | 10.1278 | 10.3673 | 10.312 | 10.2107 | 10.1677 | 9.3645 | 8.0359 | 90.9615 | 9298.9333 | 2.3497 | 81.4934 | 418589.14 | 0.9807 | 79.4053 | 182904.5867 | 1.8974 | 90.8531 | 72132.94 | 0.52164 | 93.7477 | 113341.5033 | 0.61714 | 102.2638 | 904621.4967 | 0.39202 | 96.3511 | 452456.6567 | 0.24554 | 93.935 | 600709.8267 | 0.26533 | 91.8459 | 372445.66 | 0.30153
| FALSE | 101SMPL.d | 2023-01-13 18:26 | Sample |  | blk | 1 | <0.000 | 0.015095 | 0.015769 | 3.6097e-05 | 0.006733 | 0.0013709 | 0.00322 | 0.0067115 | 0.00042253 | 0.016855 | 0.016331 | 0.018333 | 0.018982 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.019543 | 0.014423 | 89.6996 | 9169.93 | 1.1894 | 80.2435 | 412169.16 | 1.0529 | 79.0505 | 182087.38 | 0.5802 | 89.9035 | 71378.9967 | 0.77768 | 92.1519 | 111412.0733 | 0.086198 | 99.9615 | 884255.5433 | 0.99404 | 95.6154 | 449001.66 | 0.13888 | 93.2161 | 596112.7567 | 0.34006 | 91.6644 | 371710.0233 | 0.32765
| FALSE | 102SMPL.d | 2023-01-13 18:29 | Sample |  | 172174-001 | 1 | 0.3212 | 0.042747 | 0.080957 | <0.000 | 0.0031473 | 0.0016233 | 0.10961 | 0.11676 | 0.10761 | <0.000 | 0.0048396 | 0.02175 | 0.011495 | 1.2589 | 1.2535 | 1.3116 | 1.2928 | 1.2748 | 1.2612 | 0.016982 | 0.014954 | 98.2923 | 10048.36 | 5.0508 | 78.0188 | 400742.1233 | 2.8951 | 77.7539 | 179100.6833 | 0.53428 | 88.9751 | 70641.8867 | 0.8723 | 89.6201 | 108351.1367 | 0.28685 | 97.0932 | 858882.2333 | 2.3946 | 94.4268 | 443420.0933 | 0.88293 | 87.0549 | 556711.8033 | 2.4812 | 86.962 | 352641.2367 | 1.3197
| FALSE | 103SMPL.d | 2023-01-13 18:33 | Sample |  | 172176-005 | 1 | 0.049867 | 0.64238 | 1.012 | <0.000 | 0.0017002 | 0.0010639 | 0.1544 | 0.15871 | 0.14998 | <0.000 | <0.000 | 0.001199 | <0.000 | 0.093482 | 0.10468 | 0.08827 | 0.094429 | 0.091348 | 0.09668 | 0.027255 | 0.025513 | 90.287 | 9229.9833 | 3.0311 | 79.642 | 409079.6033 | 0.52548 | 78.0207 | 179715.4133 | 0.814 | 89.2666 | 70873.29 | 0.87421 | 92.4437 | 111764.9 | 0.6446 | 100.9386 | 892898.7267 | 0.039145 | 95.2915 | 447480.7167 | 0.82109 | 92.1897 | 589548.8967 | 0.31529 | 90.4794 | 366904.3367 | 0.51901
| FALSE | 104SMPL.d | 2023-01-13 18:37 | Sample |  | 172178-001 | 1 | 0.32559 | 0.0054858 | <0.000 | 0.0017471 | 0.0023127 | 0.0081591 | 0.05795 | 0.068189 | 0.062971 | <0.000 | <0.000 | <0.000 | <0.000 | 0.32776 | 0.32996 | 0.31766 | 0.31845 | 0.32222 | 0.32528 | 0.18171 | 0.17871 | 88.8294 | 9080.9767 | 2.554 | 77.2259 | 396669.22 | 0.5353 | 76.4653 | 176132.69 | 1.135 | 88.0485 | 69906.17 | 0.54734 | 88.8316 | 107397.82 | 1.4849 | 97.0169 | 858207.3467 | 0.87111 | 93.1487 | 437418.53 | 0.36728 | 87.9816 | 562638.54 | 0.56798 | 87.2389 | 353763.8367 | 0.14533
| FALSE | 105SMPL.d | 2023-01-13 18:41 | Sample |  | 172180-001 | 1 | 0.36938 | 0.019513 | 0.16743 | 0.0025739 | 0.0038898 | 0.067947 | 3.1927 | 3.3153 | 3.2248 | <0.000 | <0.000 | <0.000 | <0.000 | 25.8135 | 25.7551 | 25.078 | 25.1823 | 26.4754 | 26.372 | 0.016519 | 0.014718 | 338.997 | 34655.45 | 1.883 | 88.5776 | 454977.3 | 0.27005 | 88.0516 | 202820.9333 | 0.84472 | 102.0665 | 81035.8033 | 1.0102 | 89.2908 | 107952.9867 | 0.96646 | 98.4249 | 870662.9133 | 0.38148 | 94.1089 | 441927.41 | 0.30595 | 98.6022 | 630556.73 | 0.62227 | 98.1197 | 397886.84 | 0.26234
| FALSE | 106_QC1.d | 2023-01-13 18:45 | QC1 |  | qc 1 | 1 | 4.8693 | 4.9193 | 4.5684 | 5.296 | 5.0863 | 5.1099 | 5.2445 | 5.3856 | 5.3645 | 0.52417 | 0.49483 | 0.53239 | 0.50569 | 5.0895 | 5.0125 | 5.1533 | 5.045 | 5.1042 | 5.0037 | 4.0682 | 3.9582 | 93.0275 | 9510.1467 | 0.49494 | 81.4488 | 418360.3367 | 0.96502 | 80.4652 | 185346.0433 | 1.1054 | 91.1415 | 72361.8833 | 0.6082 | 93.4927 | 113033.1567 | 1.3529 | 101.4362 | 897300.6033 | 0.52776 | 96.1366 | 451449.0267 | 0.61615 | 91.7353 | 586642.94 | 1.2217 | 91.7343 | 371993.2933 | 0.15941
| FALSE | 107_QC2.d | 2023-01-13 18:49 | QC2 |  | qc 2 | 1 | 9.8166 | 9.8819 | 10.4658 | 10.5865 | 10.3829 | 10.2878 | 10.5159 | 10.7938 | 10.5467 | 0.97725 | 0.98538 | 0.99259 | 0.9859 | 10.1454 | 10.198 | 10.2628 | 10.3113 | 10.1523 | 10.2023 | 9.2559 | 8.0251 | 91.0698 | 9310.0033 | 2.24 | 81.2645 | 417413.73 | 0.54338 | 79.634 | 183431.51 | 0.73813 | 91.2342 | 72435.4733 | 0.64681 | 93.7207 | 113308.7567 | 0.8046 | 101.5264 | 898098.3467 | 0.77335 | 96.4078 | 452722.6733 | 0.34877 | 92.2773 | 590108.7233 | 0.66163 | 91.5714 | 371332.5933 | 0.41878
| FALSE | 108_QC3.d | 2023-01-13 18:52 | QC3 |  | qc 3 | 1 | 48.7406 | 48.9425 | 47.6707 | 52.7492 | 51.6612 | 51.4193 | 52.7399 | 57.928 | 53.0626 | 5.3697 | 5.3454 | 5.3754 | 5.2859 | 55.221 | 52.0342 | 57.2619 | 51.821 | 55.6948 | 53.7258 | 45.5669 | 45.3945 | 89.2429 | 9123.2467 | 2.4893 | 80.0275 | 411059.5167 | 0.45196 | 78.5994 | 181048.31 | 0.9902 | 89.7377 | 71247.3467 | 1.155 | 91.518 | 110645.72 | 0.73342 | 98.771 | 873724.0933 | 0.46563 | 94.9278 | 445772.6867 | 0.58689 | 89.5496 | 572665.8133 | 0.86014 | 89.4445 | 362708.07 | 0.55945
| FALSE | 109SMPL.d | 2023-01-13 18:56 | Sample |  | curve 4 | 1 | 48.4969 | 43.5341 | 47.576 | 54.4869 | 51.3837 | 51.0766 | 51.8951 | 59.5615 | 52.4387 | 2.7986 | 2.6704 | 2.7993 | 2.6214 | 57.1906 | 51.183 | 57.1469 | 49.9346 | 56.7482 | 52.6534 | 47.607 | 45.1903 | 90.1564 | 9216.6367 | 1.1149 | 75.984 | 390290.6067 | 5.8122 | 102.7473 | 236671.28 | 44.3764 | 89.1371 | 70770.5 | 0.6265 | 91.0772 | 110112.85 | 0.89227 | 94.8765 | 839273.6833 | 6.643 | 94.9852 | 446042.14 | 0.30382 | 86.7822 | 554968.3633 | 5.2678 | 89.0898 | 361269.5 | 0.42688

## ValueList_Helper (hidden)
Bkgnd
BlkVrfy
CalBlk
CalStd
CICSpike
DilStd
DriftChk
FQBlk
IsoStd
QC1
QC2
QC3
QC4
QC5
Sample
Spike
Spike Ref
SQBlk
SQISTD
SQStd