## Sheet1
Sample | [7 empty] | 75 As [ He ] | 78 Se [ H2 ] | 78 Se [ He ] | 111 Cd [ No Gas ] | 111 Cd [ He ] | 114 Cd [ He ] | 121 Sb [ He ] | 123 Sb [ No Gas ] | 123 Sb [ He ] | 201 Hg [ No Gas ] | 201 Hg [ He ] | 202 Hg [ No Gas ] | 202 Hg [ He ] | 206 [Pb] [ No Gas ] | 206 [Pb] [ He ] | 207 [Pb] [ No Gas ] | 207 [Pb] [ He ] | 208 Pb [ No Gas ] | 208 Pb [ He ] | 238 U [ No Gas ] | 238 U [ He ] | 72 Ge ( ISTD ) [ He ] |  |  | 89 Y ( ISTD ) [ No Gas ] |  |  | 89 Y ( ISTD ) [ H2 ] |  |  | 89 Y ( ISTD ) [ He ] |  |  | 115 In ( ISTD ) [ He ] |  |  | 159 Tb ( ISTD ) [ No Gas ] |  |  | 159 Tb ( ISTD ) [ He ] |  |  | 209 Bi ( ISTD ) [ No Gas ] |  |  | 209 Bi ( ISTD ) [ He ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | Total Dil. | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD
| FALSE | 001SMPL.d | 2023-02-17 17:02 | Sample |  | blk | 1 | [22 empty] | 11724.1 | 0.84434 |  | 567435.33 | 0.93479 |  | 243614.61 | 0.18924 |  | 89080.7467 | 0.75025 |  | 124124.1233 | 0.34705 |  | 719520.9767 | 0.71902 |  | 418906.71 | 0.36342 |  | 448055.23 | 1.4879 |  | 307202.82 | 0.37849
| FALSE | 002SMPL.d | 2023-02-17 17:06 | Sample |  | blk | 1 | [22 empty] | 12013.2267 | 1.9498 |  | 562404.7267 | 0.45935 |  | 241385.7833 | 0.18263 |  | 88850.29 | 0.23663 |  | 124714.5067 | 1.0425 |  | 716277.9567 | 0.2673 |  | 416959.3633 | 0.13953 |  | 425967.3267 | 0.76536 |  | 302502.56 | 0.73274
| FALSE | 003SMPL.d | 2023-02-17 17:10 | Sample |  | blk | 1 | [22 empty] | 12196.73 | 0.84763 |  | 565148.28 | 0.45237 |  | 243406.08 | 1.3712 |  | 89871.3367 | 0.82406 |  | 124594.86 | 1.2838 |  | 717780.2867 | 0.3398 |  | 418075.3867 | 0.45063 |  | 425268.09 | 0.72979 |  | 301243.7233 | 0.1817
| FALSE | 004CALB.d | 2023-02-17 17:13 | CalBlk | 1 | blk | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 11925.3933 | 1.3412 | 100 | 564923.5733 | 0.53078 | 100 | 342263.8667 | 30.5826 | 100 | 89762.7967 | 0.16474 | 100 | 124181.2067 | 0.616 | 100 | 716745.3033 | 0.94375 | 100 | 415274.7967 | 0.25255 | 100 | 423598.7 | 0.64193 | 100 | 298642.6633 | 0.7059
| FALSE | 005CALS.d | 2023-02-17 17:17 | CalStd | 2 | curve 1 | 1 | 0.10146 | 0.09991 | 0.11169 | 0.10563 | 0.11337 | 0.097541 | 0.10191 | 0.098094 | 0.10424 | <0.000 | <0.000 | <0.000 | <0.000 | 0.075661 | 0.08323 | 0.13525 | 0.08132 | 0.092791 | 0.083237 | 0.089418 | 0.091723 | 100.8111 | 12022.1167 | 0.70811 | 100.3094 | 566671.5367 | 0.20949 | 71.0203 | 243076.6767 | 0.15784 | 99.5625 | 89370.0933 | 0.65948 | 99.9702 | 124144.2533 | 0.43999 | 100.6163 | 721162.3433 | 0.20669 | 100.0734 | 415579.7133 | 0.20086 | 99.4499 | 421268.67 | 0.46716 | 99.369 | 296758.18 | 0.25093
| FALSE | 006CALS.d | 2023-02-17 17:21 | CalStd | 3 | curve 2 | 1 | 1.003 | 1.0402 | 1.0921 | 1.0466 | 1.0341 | 1.0399 | 1.0368 | 1.0368 | 0.99558 | 0.050747 | 0.039078 | 0.053415 | 0.04524 | 1.0054 | 0.98559 | 0.98566 | 0.9967 | 0.99998 | 0.99323 | 0.93849 | 0.91857 | 103.5436 | 12347.9833 | 0.46202 | 100.1979 | 566041.64 | 0.65941 | 71.0322 | 243117.64 | 2.0549 | 100.8897 | 90561.3767 | 1.3002 | 100.5787 | 124899.8167 | 1.0544 | 100.4595 | 720038.8967 | 0.51587 | 100.0384 | 415434.2933 | 0.28801 | 99.174 | 420099.7033 | 0.91873 | 99.1249 | 296029.1 | 0.40974
| FALSE | 007CALS.d | 2023-02-17 17:25 | CalStd | 4 | curve 2.5 (Hg only) | 1 | 2.0437 | 2.0296 | 1.7823 | 2.0934 | 2.0929 | 2.0869 | 2.0877 | 2.0314 | 2.0532 | 0.095211 | 0.089137 | 0.091802 | 0.092271 | 1.9873 | 1.9859 | 1.9762 | 1.9673 | 1.9977 | 1.986 | 1.8528 | 1.8372 | 102.8911 | 12270.1633 | 0.99718 | 100.3224 | 566744.7933 | 0.1599 | 70.014 | 239632.5833 | 1.2158 | 100.1095 | 89861.1033 | 0.18349 | 100.3321 | 124593.6267 | 0.6005 | 100.1874 | 718088.13 | 0.48565 | 99.9425 | 415036.0633 | 0.64744 | 99.5647 | 421754.88 | 0.70561 | 99.3923 | 296827.6733 | 0.37772
| FALSE | 008CALS.d | 2023-02-17 17:29 | CalStd | 5 | curve 3 | 1 | 10.1357 | 10.2883 | 10.0079 | 10.2792 | 10.2154 | 10.2582 | 10.1183 | 10.0577 | 10.1124 | 0.47455 | 0.49253 | 0.49579 | 0.48677 | 9.9236 | 9.8599 | 9.8132 | 9.7699 | 9.916 | 9.8199 | 9.2279 | 9.0338 | 100.9232 | 12035.4933 | 2.3991 | 100.355 | 566929.1267 | 0.12605 | 70.9363 | 242789.33 | 1.4033 | 100.4999 | 90211.52 | 0.38549 | 99.7796 | 123907.51 | 0.31055 | 100.7016 | 721774.21 | 0.66789 | 100.4257 | 417042.6267 | 0.42144 | 99.8415 | 422927.45 | 0.60045 | 99.8512 | 298198.4233 | 0.46589
| FALSE | 009CALS.d | 2023-02-17 17:33 | CalStd | 6 | curve 4 | 1 | 49.9057 | 49.8177 | 51.2886 | 50.7405 | 50.3426 | 50.456 | 50.3925 | 50.9236 | 50.447 | 2.5292 | 2.4493 | 2.4743 | 2.4572 | 48.8463 | 48.3816 | 48.3966 | 48.0606 | 49.7181 | 49.4304 | 49.9899 | 49.8364 | 102.2284 | 12191.1433 | 2.2291 | 99.6231 | 562794.5867 | 0.16099 | 71.2883 | 243994.2533 | 0.43941 | 100.3651 | 90090.48 | 0.22733 | 99.5618 | 123637.0367 | 0.62521 | 99.9702 | 716531.86 | 0.39366 | 100.6798 | 418097.9167 | 0.48105 | 98.5497 | 417455.2667 | 0.6459 | 98.8722 | 295274.54 | 0.41717
| FALSE | 010CALS.d | 2023-02-17 17:37 | CalStd | 7 | curve 5 | 1 | 100.0336 | 100.0619 | 99.354 | 99.6014 | 99.8068 | 99.7458 | 99.7916 | 99.532 | 99.7653 | 4.988 | 5.0264 | 5.0134 | 5.0229 | 100.5844 | 100.8234 | 100.8205 | 100.9928 | 100.1493 | 100.3029 | 100.0829 | 100.1793 | 102.7508 | 12253.4367 | 0.99291 | 100.294 | 566584.4033 | 0.20513 | 71.2304 | 243796.0067 | 0.57533 | 100.5616 | 90266.8967 | 1.0515 | 98.8771 | 122786.7667 | 0.133 | 99.7945 | 715272.3667 | 0.39391 | 100.2975 | 416510.25 | 0.41371 | 97.7342 | 414000.7133 | 0.34998 | 97.0515 | 289837.11 | 0.32184
| FALSE | 011SMPL.d | 2023-02-17 17:41 | Sample |  | blk | 1 | 0.029454 | 0.088046 | 0.12134 | 0.0070465 | 0.0087953 | 0.0014399 | 0.030501 | 0.038536 | 0.023476 | 0.066901 | 0.045752 | 0.065562 | 0.050323 | 0.014914 | 0.010196 | 0.015586 | 0.012211 | 0.015941 | 0.010964 | 0.03192 | 0.020657 | 100.9063 | 12033.4767 | 9.8168 | 97.4514 | 550526.0133 | 8.1681 | 71.2929 | 244009.9367 | 0.85026 | 98.6243 | 88527.96 | 11.2453 | 98.3217 | 122097.1033 | 11.8358 | 96.8643 | 694270.4533 | 7.9611 | 97.3602 | 404312.2167 | 12.5061 | 95.5291 | 404660.1867 | 4.754 | 97.7612 | 291956.52 | 11.1308
| FALSE | 012SMPL.d | 2023-02-17 17:45 | Sample |  | blk | 1 | 0.009537 | 0.029121 | 0.0011757 | 0.0021265 | 0.0032719 | <0.000 | 0.0073894 | 0.013767 | 0.0064926 | 0.02036 | 0.027303 | 0.037972 | 0.029045 | <0.000 | <0.000 | 0.0043666 | <0.000 | <0.000 | <0.000 | 0.0045278 | 0.0053816 | 100.0935 | 11936.5433 | 1.19 | 106.5627 | 601997.7133 | 39.9956 | 70.0761 | 239845.09 | 1.8112 | 99.3868 | 89212.3633 | 0.85175 | 99.1786 | 123161.2133 | 0.45464 | 105.7723 | 758117.8733 | 40.0653 | 99.0592 | 411367.76 | 0.38909 | 105.5899 | 447277.3567 | 34.5408 | 99.3259 | 296629.5533 | 0.46062
| FALSE | 013_QC1.d | 2023-02-17 17:49 | QC1 |  | qc 1 | 1 | 5.1919 | 5.1069 | 5.2 | 5.2792 | 5.3544 | 5.3459 | 5.2498 | 5.162 | 5.2508 | 0.53371 | 0.51714 | 0.50991 | 0.51129 | 5.1193 | 5.0223 | 5.0426 | 4.9857 | 5.0934 | 5.0161 | 4.7636 | 4.6386 | 103.7396 | 12371.3533 | 1.4576 | 100.2398 | 566278.47 | 0.64444 | 70.8816 | 242602.0933 | 1.74 | 99.6862 | 89481.16 | 0.61814 | 99.7754 | 123902.26 | 0.8122 | 100.0818 | 717331.8633 | 0.4323 | 99.583 | 413543.05 | 0.25709 | 99.193 | 420180.4067 | 0.80796 | 99.2112 | 296286.94 | 0.35946
| FALSE | 014_QC2.d | 2023-02-17 17:52 | QC2 |  | qc 2 | 1 | 11.3081 | 10.2803 | 11.6224 | 10.4145 | 11.4571 | 11.3619 | 11.3067 | 10.1585 | 11.3444 | 0.95049 | 1.1018 | 0.99864 | 1.0789 | 9.8642 | 10.7337 | 9.8129 | 10.7723 | 9.9 | 10.7998 | 9.2589 | 10.0216 | 94.8348 | 11309.4267 | 9.3 | 101.5102 | 573455.0367 | 2.1122 | 70.8147 | 242373.2733 | 0.18999 | 93.7929 | 84191.1267 | 9.5179 | 93.7611 | 116433.7 | 8.6859 | 100.9584 | 723614.4333 | 2.1251 | 92.8469 | 385569.6333 | 9.0423 | 102.393 | 433735.54 | 1.8833 | 93.3694 | 278840.9833 | 7.4069
| FALSE | 015_QC3.d | 2023-02-17 17:56 | QC3 |  | qc 3 | 1 | 51.3215 | 50.6403 | 50.9016 | 51.4552 | 51.4704 | 51.2363 | 50.8256 | 51.7133 | 50.7851 | 4.9917 | 4.9162 | 4.9853 | 4.9484 | 50.38 | 49.1816 | 49.1906 | 48.991 | 50.9053 | 50.4564 | 51.5258 | 51.6189 | 103.0965 | 12294.6633 | 3.3412 | 100.7066 | 568915.0933 | 0.11811 | 71.4526 | 244556.5133 | 1.2445 | 101.5661 | 91168.5467 | 0.61624 | 99.8708 | 124020.8033 | 0.55082 | 100.3425 | 719200.2133 | 0.31751 | 100.5092 | 417389.1733 | 0.26998 | 98.4953 | 417224.8467 | 0.14971 | 98.813 | 295097.6367 | 0.40479
| FALSE | 016SMPL.d | 2023-02-17 18:00 | Sample |  | blk | 1 | 0.023502 | 0.041694 | 0.10882 | 0.0075824 | 0.0060406 | 0.0031848 | 0.01844 | 0.035014 | 0.016947 | 0.08615 | 0.059321 | 0.087605 | 0.057095 | 0.020471 | 0.0083087 | 0.019649 | 0.004307 | 0.018299 | 0.0076607 | 0.024604 | 0.016264 | 103.152 | 12301.2867 | 1.7747 | 89.9916 | 508383.93 | 17.2827 | 71.4914 | 244689.0833 | 0.1544 | 100.9008 | 90571.3767 | 1.1152 | 100.2105 | 124442.6567 | 1.3248 | 88.9595 | 637613.38 | 17.0838 | 99.3271 | 412480.5867 | 0.42561 | 91.0519 | 385694.6267 | 13.4233 | 99.744 | 297878.0967 | 0.62041
| FALSE | 017SMPL.d | 2023-02-17 18:04 | Sample |  | blk | 1 | 0.0002475 | 0.023886 | <0.000 | 0.0013783 | 0.0024111 | <0.000 | 0.0022748 | 0.0068802 | 0.0049558 | 0.029586 | 0.026241 | 0.040455 | 0.030195 | <0.000 | <0.000 | <0.000 | 9.3931e-05 | <0.000 | <0.000 | 0.0026321 | 0.0036872 | 100.3075 | 11962.06 | 1.8013 | 100.4019 | 567194.0333 | 0.42173 | 70.6352 | 241758.6267 | 0.49706 | 100.3188 | 90048.94 | 0.70343 | 99.8067 | 123941.18 | 0.79387 | 98.8799 | 708716.69 | 0.39771 | 99.2343 | 412095.24 | 0.84829 | 99.0979 | 419777.2233 | 0.27883 | 99.2429 | 296381.5433 | 0.19028
| FALSE | 018SMPL.d | 2023-02-17 18:07 | Sample |  | 172710-001 | 1 | 0.58995 | 0.01567 | 0.18141 | 0.0029051 | 0.0021161 | <0.000 | 0.079294 | 0.067994 | 0.06848 | 0.005166 | 0.011624 | 0.015884 | 0.013979 | 0.50548 | 0.50689 | 0.52626 | 0.51932 | 0.5221 | 0.5167 | 0.041778 | 0.040842 | 100.3072 | 11962.0333 | 0.73812 | 96.9099 | 547467.0067 | 0.34039 | 69.0851 | 236453.37 | 0.31258 | 97.7815 | 87771.45 | 0.93579 | 95.4417 | 118520.6 | 0.80473 | 96.8542 | 694197.81 | 0.38249 | 96.7449 | 401757.37 | 0.49567 | 92.4283 | 391524.9167 | 0.41714 | 91.8418 | 274278.73 | 0.61918
| FALSE | 019SMPL.d | 2023-02-17 18:11 | Sample |  | 172685-002 soil | 10 | 19.2107 | 0.87898 | 4.0963 | 1.3498 | 1.4826 | 1.349 | 0.55565 | 0.44362 | 0.56793 | 0.9341 | 1.2182 | 1.1927 | 1.2227 | 224.6279 | 228.0214 | 232.48 | 236.8862 | 229.1793 | 231.9786 | 3.9797 | 4.0143 | 108.5515 | 12945.19 | 1.2128 | 174.9187 | 988156.7033 | 0.43312 | 118.0045 | 403886.6467 | 1.2157 | 168.6607 | 151394.5533 | 0.83341 | 101.563 | 126122.1633 | 1.1012 | 104.8362 | 751408.2067 | 0.39602 | 104.5285 | 434080.3433 | 0.4567 | 102.6991 | 435031.92 | 0.90321 | 100.9511 | 301483.0833 | 0.58908
| FALSE | 020SMPL.d | 2023-02-17 18:15 | Sample |  | 172685-002 soil | 50 | 26.0024 | 1.3245 | <0.000 | 1.9488 | 1.8702 | 2.0072 | 0.72414 | 0.70757 | 0.80256 | 0.89972 | 0.91738 | 1.3835 | 0.98003 | 211.0202 | 209.3475 | 216.8516 | 219.2333 | 214.7036 | 214.6401 | 3.5834 | 3.4839 | 108.4958 | 12938.5533 | 2.4874 | 117.2887 | 662591.7333 | 0.2222 | 82.7254 | 283139.1967 | 1.3674 | 117.7593 | 105704.0633 | 0.30048 | 104.3482 | 129580.8767 | 1.1182 | 103.2903 | 740328.6367 | 0.43958 | 103.3623 | 429237.7 | 1.1187 | 102.5679 | 434476.24 | 0.56671 | 102.898 | 307297.4433 | 0.36295
| FALSE | 021SMPL.d | 2023-02-17 18:19 | Sample |  | 172685-004 soil | 10 | 7.5689 | 0.84728 | 2.5237 | 1.0066 | 1.0753 | 1.0045 | 3.3107 | 3.1174 | 3.3621 | 0.57991 | 0.6406 | 0.67603 | 0.74028 | 181.3804 | 181.1425 | 188.8832 | 189.0922 | 185.1475 | 184.8228 | 0.76105 | 0.79234 | 110.4542 | 13172.0967 | 0.45058 | 123.7087 | 698859.6833 | 0.39346 | 87.5765 | 299742.6533 | 1.3081 | 125.0756 | 112271.34 | 0.51361 | 105.4377 | 130933.8333 | 1.1373 | 105.2857 | 754630.6667 | 0.74119 | 106.1137 | 440663.5767 | 0.55796 | 103.9356 | 440270.0167 | 0.49444 | 104.5605 | 312262.41 | 0.030267
| FALSE | 022SMPL.d | 2023-02-17 18:23 | Sample |  | 172685-004 soil | 50 | 7.3702 | 0.51926 | 1.3632 | 1.0745 | 1.0536 | 0.90016 | 3.6747 | 3.5606 | 3.5022 | 0.22204 | <0.000 | 0.70847 | 0.30955 | 169.7975 | 166.2804 | 177.4841 | 176.6818 | 173.9141 | 171.2761 | 0.51196 | 0.55508 | 107.3485 | 12801.7267 | 0.31528 | 110.1425 | 622220.69 | 0.52757 | 77.2183 | 264290.42 | 0.52426 | 109.3345 | 98141.7067 | 0.55037 | 105.5475 | 131070.1033 | 0.47339 | 104.2685 | 747339.91 | 0.32142 | 104.6405 | 434545.5067 | 0.66233 | 103.8472 | 439895.5133 | 0.37792 | 103.7604 | 309872.8833 | 0.39654
| FALSE | 023SMPL.d | 2023-02-17 18:27 | Sample |  | 172724-003 | 1 | 0.047335 | 0.021847 | 0.11363 | 0.0031198 | 0.0050014 | 0.002114 | 0.052102 | 0.050347 | 0.048037 | <0.000 | <0.000 | <0.000 | <0.000 | 1.3579 | 1.3467 | 1.3811 | 1.3592 | 1.3663 | 1.3576 | 3.2806e-05 | 0.00072525 | 108.1227 | 12894.0567 | 1.3572 | 103.7977 | 586377.91 | 0.36404 | 73.0236 | 249933.5467 | 0.99102 | 104.3207 | 93641.1567 | 0.51492 | 104.7777 | 130114.21 | 0.18825 | 101.919 | 730499.3533 | 0.12807 | 101.6601 | 422168.8033 | 0.21953 | 99.7884 | 422702.5067 | 0.91421 | 99.5023 | 297156.27 | 0.58558
| FALSE | 024SMPL.d | 2023-02-17 18:30 | Sample |  | 172723-001 | 1 | 8.2516 | 0.00055602 | 0.058728 | 0.0041763 | 0.0059735 | 0.00022722 | 0.038998 | 0.030263 | 0.038186 | <0.000 | <0.000 | <0.000 | <0.000 | 0.277 | 0.27291 | 0.31469 | 0.27441 | 0.28863 | 0.27783 | 0.003438 | 0.0053857 | 106.5369 | 12704.94 | 2.2921 | 100.7933 | 569404.9267 | 0.36857 | 70.7895 | 242286.7133 | 1.5331 | 101.7427 | 91327.07 | 0.65753 | 98.9923 | 122929.8533 | 0.27914 | 98.8645 | 708606.6933 | 0.40204 | 98.8844 | 410641.9933 | 0.62242 | 93.5953 | 396468.4433 | 0.11186 | 92.9677 | 277641.2233 | 0.47181
| FALSE | 025SMPL.d | 2023-02-17 18:34 | Sample |  | 172724-001 | 1 | 0.055506 | 0.026819 | 0.0067221 | 0.0024919 | 0.0022799 | 0.0034903 | 0.04764 | 0.039801 | 0.04935 | <0.000 | <0.000 | <0.000 | <0.000 | 1.7014 | 1.6861 | 1.6907 | 1.6882 | 1.6915 | 1.6816 | 0.00032506 | 0.0012027 | 105.7256 | 12608.1933 | 1.7469 | 104.946 | 592864.77 | 0.38473 | 72.3998 | 247798.4867 | 1.2304 | 104.5903 | 93883.1467 | 0.5488 | 103.7844 | 128880.7133 | 0.55042 | 102.7273 | 736293.45 | 0.21088 | 102.3109 | 424871.4567 | 0.84809 | 101.061 | 428092.9633 | 0.23423 | 100.3328 | 299636.51 | 0.77484
| FALSE | 026SMPL.d | 2023-02-17 18:38 | Sample |  | 172725-004 | 1 | 0.063885 | 0.056143 | 0.056907 | 0.0050528 | 0.0055023 | 0.0022466 | 0.083318 | 0.073382 | 0.077829 | <0.000 | <0.000 | <0.000 | <0.000 | 0.76291 | 0.77017 | 0.76926 | 0.79053 | 0.76949 | 0.77507 | 0.021901 | 0.023421 | 103.18 | 12304.62 | 1.2289 | 102.297 | 577899.6367 | 0.71061 | 72.3535 | 247639.8333 | 1.4676 | 102.6044 | 92100.5533 | 0.40829 | 100.2478 | 124488.9367 | 0.93243 | 100.3605 | 719329.27 | 0.35472 | 100.6897 | 418138.9467 | 0.22371 | 96.7075 | 409651.7733 | 0.40843 | 96.5339 | 288291.31 | 0.78061
| FALSE | 027SMPL.d | 2023-02-17 18:42 | Sample |  | 172725-002 | 1 | 0.083034 | 0.055273 | 0.052368 | 0.0090372 | 0.0088845 | 0.010214 | 0.079379 | 0.074685 | 0.076766 | <0.000 | <0.000 | <0.000 | <0.000 | 0.62238 | 0.60176 | 0.62442 | 0.63227 | 0.62563 | 0.62081 | 0.07362 | 0.072818 | 105.6046 | 12593.7633 | 2.2728 | 103.62 | 585373.5367 | 0.83929 | 73.5266 | 251655.1367 | 1.2761 | 104.4836 | 93787.4033 | 0.23538 | 102.414 | 127178.9333 | 1.0965 | 101.28 | 725919.66 | 0.34772 | 101.4243 | 421189.42 | 0.81786 | 97.3061 | 412187.5633 | 0.63858 | 97.251 | 290433.0633 | 0.238
| FALSE | 028_QC2.d | 2023-02-17 18:46 | QC2 |  | qc 2 | 1 | 10.4558 | 10.3768 | 10.0677 | 10.4021 | 10.383 | 10.4876 | 10.3194 | 10.0703 | 10.2616 | 0.99531 | 1.0007 | 0.99045 | 0.9886 | 10.1837 | 10.1097 | 9.9848 | 9.9954 | 10.1052 | 10.0638 | 9.3296 | 9.1355 | 107.246 | 12789.5033 | 0.69181 | 105.3047 | 594890.9867 | 0.29128 | 73.9593 | 253136 | 1.9382 | 104.5526 | 93849.3167 | 0.56946 | 104.0072 | 129157.3733 | 0.80224 | 102.1538 | 732182.3567 | 0.55953 | 102.1615 | 424250.9167 | 0.24553 | 99.8796 | 423088.7833 | 0.47224 | 100.1146 | 298984.8733 | 0.60475
| FALSE | 029SMPL.d | 2023-02-17 18:50 | Sample |  | blk | 1 | 0.00076202 | 0.010162 | 0.011333 | 0.0022046 | 0.0031436 | <0.000 | <0.000 | 0.0030405 | <0.000 | <0.000 | <0.000 | 0.0087425 | 0.0032452 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.0082116 | 0.0059282 | 105.1011 | 12533.7233 | 1.4507 | 112.2403 | 634071.7967 | 24.7093 | 70.8154 | 242375.5767 | 1.7296 | 102.3921 | 91910.01 | 0.34632 | 102.6236 | 127439.28 | 0.71338 | 109.9407 | 787994.61 | 23.0622 | 100.7537 | 418404.8033 | 0.27952 | 101.8736 | 431535.0667 | 18.5205 | 98.7666 | 294959.2 | 0.82875
| FALSE | 030SMPL.d | 2023-02-17 18:53 | Sample |  | 172729-001 | 1 | 0.27126 | 0.0072146 | 0.16815 | 0.0025626 | 0.0024093 | <0.000 | 0.054868 | 0.052216 | 0.059211 | <0.000 | <0.000 | <0.000 | <0.000 | 0.38951 | 0.39707 | 0.40706 | 0.3967 | 0.40027 | 0.40045 | 0.056393 | 0.056476 | 106.4068 | 12689.43 | 1.0741 | 99.5297 | 562266.62 | 0.047028 | 71.4181 | 244438.4933 | 1.008 | 101.5187 | 91126.03 | 1.8066 | 99.0326 | 122979.93 | 0.82035 | 97.6805 | 700120.2733 | 0.43825 | 98.0396 | 407133.74 | 0.30681 | 92.9496 | 393733.37 | 0.11098 | 92.4434 | 276075.5633 | 0.13755
| FALSE | 031SMPL.d | 2023-02-17 18:57 | Sample |  | 172732-001 | 1 | 7.3662 | 0.28515 | 0.325 | 0.0050714 | 0.0022828 | 0.0038132 | 0.6076 | 0.57937 | 0.62065 | <0.000 | <0.000 | <0.000 | <0.000 | 2.087 | 2.0681 | 2.1195 | 2.0817 | 2.0895 | 2.0793 | <0.000 | <0.000 | 110.0063 | 13118.6833 | 1.3604 | 104.7056 | 591506.6 | 0.36135 | 73.3954 | 251206.0233 | 1.5208 | 104.4008 | 93713.0567 | 0.72829 | 102.7192 | 127557.9433 | 0.16106 | 101.7468 | 729265.5733 | 0.07593 | 100.7117 | 418230.4067 | 0.69029 | 97.9053 | 414725.48 | 0.32312 | 97.2796 | 290518.4533 | 0.84371
| FALSE | 032SMPL.d | 2023-02-17 19:01 | Sample |  | 172733-001 | 1 | 0.29959 | 0.015868 | <0.000 | 0.0017669 | 0.0022754 | <0.000 | 0.068169 | 0.061387 | 0.068345 | <0.000 | <0.000 | <0.000 | <0.000 | 0.62861 | 0.63187 | 0.63431 | 0.62637 | 0.63228 | 0.62842 | 0.020356 | 0.022826 | 105.1572 | 12540.4067 | 0.81285 | 105.2279 | 594456.9467 | 0.73206 | 74.0604 | 253481.85 | 0.097112 | 104.6473 | 93934.3367 | 1.1553 | 99.455 | 123504.3833 | 0.32193 | 100.4251 | 719792.36 | 0.54101 | 99.2764 | 412269.6867 | 1.0307 | 94.5278 | 400418.54 | 0.63294 | 92.8891 | 277406.35 | 0.58486
| FALSE | 033SMPL.d | 2023-02-17 19:05 | Sample |  | 172724-005 | 1 | 0.14873 | 0.027579 | 0.20196 | 0.00029703 | 0.0018763 | <0.000 | 0.062681 | 0.057526 | 0.06022 | <0.000 | <0.000 | <0.000 | <0.000 | 0.31069 | 0.32293 | 0.31896 | 0.30656 | 0.31695 | 0.3117 | 0.0058287 | 0.0067419 | 106.6115 | 12713.8467 | 0.84857 | 105.5405 | 596223.25 | 0.22496 | 74.6056 | 255348.03 | 0.9561 | 104.8839 | 94146.73 | 0.2729 | 104.5576 | 129840.8867 | 0.67368 | 103.1738 | 739493.54 | 0.39749 | 102.2763 | 424727.8467 | 0.2919 | 100.5471 | 425916.31 | 0.37274 | 98.7226 | 294827.6667 | 0.23263
| FALSE | 034SMPL.d | 2023-02-17 19:09 | Sample |  | 172735-001 | 1 | 0.052856 | 0.0039911 | 0.02353 | 0.0039697 | 0.0034853 | 0.001531 | 0.12659 | 0.12796 | 0.12457 | <0.000 | <0.000 | <0.000 | <0.000 | 1.7585 | 1.7527 | 1.7852 | 1.7949 | 1.783 | 1.7757 | 0.0040181 | 0.005684 | 103.1988 | 12306.86 | 1.5026 | 102.4966 | 579027.4333 | 0.63278 | 86.7536 | 296926.1233 | 68.451 | 103.6021 | 92996.1367 | 1.1456 | 99.5415 | 123611.85 | 0.40038 | 100.2555 | 718576.3533 | 0.22324 | 99.7034 | 414043.0067 | 0.41027 | 94.9664 | 402276.24 | 0.52789 | 94.0466 | 280863.1667 | 0.54254
| FALSE | 035SMPL.d | 2023-02-17 19:13 | Sample |  | 172717-001 | 1 | 0.58792 | 0.17955 | 0.27674 | 0.0045147 | 0.0051729 | 0.0031148 | 0.11614 | 0.12139 | 0.12447 | <0.000 | <0.000 | <0.000 | <0.000 | 0.6236 | 0.63314 | 0.63379 | 0.62462 | 0.63449 | 0.62775 | 0.066036 | 0.063115 | 101.977 | 12161.16 | 1.4807 | 101.6271 | 574115.4133 | 1.2628 | 70.7949 | 242305.3933 | 0.80751 | 101.6709 | 91262.6133 | 0.54555 | 99.439 | 123484.5567 | 0.57618 | 99.7333 | 714833.73 | 1.3522 | 99.4278 | 412898.4567 | 0.36139 | 95.2538 | 403493.6667 | 0.36787 | 94.6684 | 282720.32 | 0.26578
| FALSE | 036SMPL.d | 2023-02-17 19:16 | Sample |  | 172730-001 | 1 | 16.6055 | 0.64069 | 0.7134 | 0.0026943 | 0.0044834 | 0.00067152 | 0.042032 | 0.037528 | 0.038997 | <0.000 | <0.000 | 0.017782 | 0.0072398 | 0.53275 | 0.52766 | 0.53542 | 0.53768 | 0.54096 | 0.53464 | <0.000 | <0.000 | 101.6137 | 12117.83 | 1.6645 | 98.927 | 558862.14 | 0.19014 | 69.3616 | 237399.8433 | 1.0982 | 99.7311 | 89521.4367 | 0.55569 | 96.6664 | 120041.4567 | 0.87884 | 97.2719 | 697191.7767 | 0.25295 | 96.5905 | 401116.06 | 0.2689 | 91.3126 | 386798.7967 | 0.42314 | 91.4224 | 273026.1533 | 0.55054
| FALSE | 037SMPL.d | 2023-02-17 19:20 | Sample |  | 172734-001 | 1 | 0.124 | 0.109 | 0.18121 | 0.0051012 | 0.005936 | 0.0011474 | 0.049414 | 0.053147 | 0.045225 | <0.000 | <0.000 | <0.000 | <0.000 | 0.49838 | 0.49512 | 0.51367 | 0.51249 | 0.49969 | 0.50383 | 0.013385 | 0.013695 | 103.7392 | 12371.3033 | 0.67303 | 102.9345 | 581501.1767 | 0.32388 | 71.8297 | 245847.2067 | 1.2407 | 102.3209 | 91846.06 | 0.55038 | 101.3164 | 125815.8733 | 0.50724 | 101.2797 | 725917.5133 | 0.21495 | 99.9137 | 414916.37 | 0.24842 | 98.5342 | 417389.7433 | 0.81517 | 97.1025 | 289989.58 | 0.64902
| FALSE | 038SMPL.d | 2023-02-17 19:24 | Sample |  | 172725-001 | 1 | 0.093326 | 0.043065 | 0.069325 | 0.016682 | 0.018351 | 0.027479 | 0.077322 | 0.073007 | 0.077797 | <0.000 | <0.000 | <0.000 | <0.000 | 1.5461 | 1.5349 | 1.5421 | 1.5356 | 1.5351 | 1.5268 | 0.090325 | 0.087355 | 105.3436 | 12562.6367 | 1.6727 | 104.551 | 590633.3567 | 0.2514 | 73.6368 | 252032.08 | 0.99241 | 103.7865 | 93161.6633 | 0.66383 | 101.2727 | 125761.7 | 1.0548 | 101.7502 | 729289.9967 | 0.17062 | 100.1251 | 415794.31 | 0.2663 | 95.6379 | 405120.8433 | 0.46025 | 95.212 | 284343.74 | 0.59337
| FALSE | 039SMPL.d | 2023-02-17 19:28 | Sample |  | 172725-003 | 1 | 0.093898 | 0.049192 | 0.3053 | 0.010484 | 0.011113 | 0.010912 | 0.085849 | 0.080277 | 0.081687 | <0.000 | <0.000 | <0.000 | <0.000 | 0.85903 | 0.87297 | 0.89024 | 0.87076 | 0.86583 | 0.86924 | 0.074778 | 0.072186 | 101.6692 | 12124.45 | 1.4038 | 102.021 | 576340.4567 | 0.237 | 68.589 | 234755.31 | 58.3328 | 101.966 | 91527.51 | 1.0859 | 100.1118 | 124320.0333 | 0.4046 | 100.1668 | 717941.1767 | 0.36095 | 100.0085 | 415310.08 | 0.056613 | 94.4858 | 400240.73 | 0.55122 | 93.5195 | 279289.1333 | 0.36639
| FALSE | 040_QC2.d | 2023-02-17 19:32 | QC2 |  | qc 2 | 1 | 10.3713 | 10.0511 | 10.3764 | 10.4282 | 10.275 | 10.3593 | 10.2624 | 10.1117 | 10.2568 | 0.99122 | 1.0148 | 1.0063 | 1.0079 | 10.2829 | 10.2719 | 10.04 | 10.0137 | 10.1534 | 10.0914 | 9.2054 | 9.0903 | 104.4484 | 12455.8767 | 2.2993 | 102.5672 | 579426.27 | 0.25647 | 72.2352 | 247234.9 | 0.41795 | 102.6909 | 92178.1967 | 0.87168 | 101.8316 | 126455.7533 | 0.77113 | 100.9807 | 723774.6667 | 0.57695 | 100.63 | 417891.0367 | 0.18218 | 97.0845 | 411248.6133 | 0.4081 | 96.5548 | 288353.77 | 0.84798
| FALSE | 041SMPL.d | 2023-02-17 19:36 | Sample |  | blk | 1 | 0.0027416 | 0.0052536 | 0.076823 | 0.00096296 | 0.0024135 | <0.000 | <0.000 | 0.0034622 | 0.00010965 | <0.000 | <0.000 | 0.010865 | 0.003074 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.0097243 | 0.0058745 | 102.2571 | 12194.56 | 2.5595 | 100.9558 | 570323.0567 | 0.68232 | 71.6466 | 245220.2867 | 0.82261 | 100.7076 | 90397.9833 | 0.30989 | 100.8195 | 125198.89 | 0.35794 | 99.2582 | 711428.4867 | 0.61353 | 99.0665 | 411398.0233 | 0.41368 | 95.8411 | 405981.69 | 0.82166 | 95.87 | 286308.8367 | 0.89675
| FALSE | 042SMPL.d | 2023-02-17 19:39 | Sample |  | 172724-002 | 1 | 0.064221 | 0.028913 | 0.1063 | 0.0023021 | 0.0031881 | 0.00039275 | 0.064001 | 0.06593 | 0.063863 | <0.000 | <0.000 | <0.000 | <0.000 | 1.9857 | 1.9573 | 1.9659 | 1.9392 | 1.9734 | 1.9442 | 0.0014705 | 0.0017994 | 101.8649 | 12147.7867 | 1.8308 | 100.8364 | 569648.8233 | 0.36876 | 72.0699 | 246669.06 | 0.67304 | 101.4413 | 91056.5833 | 0.81884 | 100.806 | 125182.0767 | 0.77813 | 99.7552 | 714990.79 | 0.28777 | 99.9119 | 414908.7933 | 0.23404 | 95.68 | 405299.2233 | 0.51791 | 96.1443 | 287127.8467 | 0.66652
| FALSE | 043SMPL.d | 2023-02-17 19:43 | Sample |  | 172724-003 | 1 | 0.050042 | 0.018282 | 0.10517 | 0.0027862 | 0.0039573 | 5.5163e-05 | 0.064641 | 0.070548 | 0.059399 | <0.000 | <0.000 | <0.000 | <0.000 | 1.8107 | 1.7897 | 1.8051 | 1.7942 | 1.8048 | 1.7819 | 0.00039561 | 0.0013499 | 105.446 | 12574.85 | 1.1877 | 101.939 | 575877.2467 | 0.52507 | 72.5704 | 248382.1767 | 0.77547 | 101.785 | 91365.0233 | 0.82096 | 102.1858 | 126895.51 | 0.79688 | 100.9702 | 723699.34 | 0.32669 | 100.7206 | 418267.0633 | 0.23042 | 96.8148 | 410106.1067 | 0.52372 | 96.3455 | 287728.68 | 0.6191
| FALSE | 044SMPL.d | 2023-02-17 19:47 | Sample |  | 172724-004 | 1 | 0.070825 | 0.017372 | 0.16896 | 0.0066257 | 0.0063944 | 0.005381 | 0.08129 | 0.083874 | 0.082776 | <0.000 | <0.000 | <0.000 | <0.000 | 2.0838 | 2.0801 | 2.0516 | 2.0541 | 2.0673 | 2.0576 | 0.0044114 | 0.0042624 | 104.2429 | 12431.38 | 2.2178 | 102.0628 | 576576.5767 | 0.26954 | 72.3278 | 247552.0433 | 1.0087 | 101.4961 | 91105.78 | 0.65686 | 101.6276 | 126202.35 | 0.81009 | 101.2906 | 725995.77 | 0.44118 | 100.9557 | 419243.62 | 0.2488 | 97.0735 | 411202.2767 | 0.25688 | 96.6655 | 288684.3333 | 1.2351
| FALSE | 045SMPL.d | 2023-02-17 19:51 | Sample |  | blk syringe test | 1 | <0.000 | <0.000 | 0.070097 | 0.00015682 | <0.000 | <0.000 | 0.0079716 | 0.0035438 | 0.0093049 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 105.4372 | 12573.8 | 1.9347 | 103.6275 | 585415.95 | 0.092541 | 73.6341 | 252022.86 | 1.1736 | 103.457 | 92865.8867 | 0.15599 | 102.0904 | 126777.1033 | 0.62579 | 101.2381 | 725619.4867 | 0.16003 | 100.9906 | 419388.5367 | 0.57842 | 97.0123 | 410942.7533 | 0.63099 | 96.1982 | 287288.7367 | 0.32071
| FALSE | 046SMPL.d | 2023-02-17 19:55 | Sample |  | syringe 1 rinse 1 | 1 | 0.00030665 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.26521 | 0.2675 | 0.27085 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 105.4834 | 12579.3133 | 2.0152 | 102.8098 | 580796.6767 | 0.47841 | 73.2111 | 250575.2267 | 0.63359 | 103.1483 | 92588.8067 | 0.37652 | 102.2445 | 126968.51 | 0.86754 | 100.4256 | 719795.8433 | 0.17236 | 101.0199 | 419510.1067 | 0.52345 | 97.5075 | 413040.65 | 0.4475 | 97.1147 | 290025.82 | 0.4414
| FALSE | 047SMPL.d | 2023-02-17 19:59 | Sample |  | syringe 1 rinse 2 | 1 | <0.000 | <0.000 | 0.05653 | <0.000 | <0.000 | <0.000 | 0.081789 | 0.082487 | 0.075076 | <0.000 | <0.000 | <0.000 | <0.000 | 0.026259 | 0.026852 | 0.029752 | 0.025806 | 0.028143 | 0.027384 | <0.000 | <0.000 | 102.7509 | 12253.4533 | 2.0596 | 102.5408 | 579277.2967 | 0.57754 | 73.0243 | 249935.6667 | 1.496 | 102.7757 | 92254.3533 | 0.60389 | 102.4358 | 127206.0667 | 0.7534 | 100.1324 | 717694.12 | 0.44444 | 100.4675 | 417216.3967 | 0.52617 | 96.4501 | 408561.46 | 0.18454 | 96.9135 | 289424.9867 | 0.27032
| FALSE | 048SMPL.d | 2023-02-17 20:02 | Sample |  | syringe 2 rinse 1 | 1 | <0.000 | <0.000 | <0.000 | 0.00010412 | <0.000 | <0.000 | 0.033166 | 0.03215 | 0.028433 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 101.9586 | 12158.96 | 2.6831 | 101.8933 | 575619.5267 | 0.56614 | 72.9084 | 249539.0467 | 0.52125 | 101.834 | 91409.0867 | 0.60195 | 101.6527 | 126233.6033 | 0.12393 | 99.5737 | 713689.8333 | 0.46469 | 100.2649 | 416374.77 | 0.22911 | 95.6768 | 405285.73 | 0.30878 | 95.9792 | 286634.9467 | 0.69492
| FALSE | 049SMPL.d | 2023-02-17 20:06 | Sample |  | syringe 2 rinse 2 | 1 | <0.000 | <0.000 | 0.041415 | <0.000 | 0.00036705 | <0.000 | 0.027631 | 0.029567 | 0.028524 | <0.000 | <0.000 | <0.000 | <0.000 | 0.00089377 | 0.0039109 | 0.0032992 | <0.000 | 0.0039117 | 0.0017826 | <0.000 | <0.000 | 105.0638 | 12529.27 | 1.2938 | 101.9979 | 576210.17 | 0.35688 | 73.0031 | 249863.34 | 0.68436 | 102.5441 | 92046.4233 | 0.76551 | 103.34 | 128328.81 | 0.22882 | 99.9736 | 716556.3267 | 0.32339 | 100.7822 | 418523.2 | 0.47288 | 95.5093 | 404576.0667 | 0.40572 | 96.4367 | 288001.0233 | 0.20761
| FALSE | 050SMPL.d | 2023-02-17 20:10 | Sample |  | syringe 3 rinse 1 | 1 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.026602 | 0.023301 | 0.026815 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 103.208 | 12307.9633 | 1.6201 | 102.0036 | 576242.56 | 0.65252 | 72.536 | 248264.4167 | 0.26057 | 103.6098 | 93003.0567 | 0.73218 | 102.9759 | 127876.73 | 0.73609 | 100.0366 | 717007.8633 | 0.68864 | 101.3246 | 420775.3233 | 0.63392 | 96.1337 | 407220.9067 | 0.69484 | 96.09 | 286965.62 | 0.18011
| FALSE | 051SMPL.d | 2023-02-17 20:14 | Sample |  | syringe 3 rinse 2 | 1 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.03211 | 0.026885 | 0.026894 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.0067432 | 0.0057575 | 0.004115 | 0.002351 | 0.0073369 | <0.000 | <0.000 | 105.1755 | 12542.59 | 2.4296 | 101.3631 | 572624.0633 | 0.54311 | 72.8469 | 249328.7567 | 0.69705 | 101.8701 | 91441.42 | 0.39243 | 101.3661 | 125877.5933 | 0.64041 | 99.6979 | 714579.72 | 0.78133 | 99.8535 | 414666.4933 | 0.15047 | 94.8841 | 401927.86 | 0.52307 | 95.4538 | 285065.8033 | 0.9544
| FALSE | 052_QC2.d | 2023-02-17 20:18 | QC2 |  | qc 2 | 1 | 10.4086 | 10.2107 | 10.5291 | 10.4248 | 10.3796 | 10.4107 | 10.3525 | 10.1277 | 10.3085 | 0.99385 | 1.0158 | 1.026 | 1.0078 | 10.3771 | 10.2158 | 10.0485 | 9.9297 | 10.1638 | 10.0152 | 9.2498 | 8.9786 | 102.8817 | 12269.0467 | 3.3265 | 101.4605 | 573174.1467 | 0.045137 | 72.184 | 247059.7767 | 0.52684 | 101.9681 | 91529.46 | 0.9463 | 101.6854 | 126274.19 | 0.011059 | 99.8508 | 715675.69 | 0.27219 | 100.403 | 416948.49 | 0.15021 | 94.5471 | 400500.4567 | 0.22611 | 95.615 | 285547.15 | 0.1501
| FALSE | 053SMPL.d | 2023-02-17 20:22 | Sample |  | blk | 1 | <0.000 | 0.0033121 | 0.043971 | 0.0010692 | 0.00038437 | <0.000 | <0.000 | <0.000 | <0.000 | 0.0011671 | <0.000 | 0.0084826 | 0.0016065 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.0095256 | 0.006513 | 102.5366 | 12227.8967 | 0.92645 | 100.6919 | 568832.2 | 0.51998 | 71.5207 | 244789.61 | 1.3445 | 101.423 | 91040.16 | 0.39967 | 100.5814 | 124903.1767 | 0.75813 | 98.8173 | 708268.07 | 0.62177 | 99.4069 | 412811.6767 | 0.43667 | 93.9922 | 398149.64 | 0.48433 | 95.0546 | 283873.73 | 0.87307
| FALSE | 054SMPL.d | 2023-02-17 20:25 | Sample |  | 172741-001 | 1 | 0.22141 | 0.029734 | 0.20864 | 0.0030279 | 0.0054685 | <0.000 | 0.10415 | 0.1017 | 0.11789 | 0.001019 | <0.000 | <0.000 | <0.000 | 0.8675 | 0.87372 | 0.85489 | 0.86793 | 0.86216 | 0.87193 | 0.029167 | 0.029914 | 104.2433 | 12431.4233 | 2.1405 | 101.0491 | 570850.46 | 0.26993 | 72.4993 | 248138.8067 | 1.2502 | 103.0833 | 92530.4767 | 0.71073 | 100.3973 | 124674.6167 | 0.30763 | 98.4733 | 705802.55 | 0.23826 | 100.1821 | 416031.1033 | 0.73448 | 91.4703 | 387466.93 | 0.21036 | 91.6213 | 273620.4367 | 0.60382
| FALSE | 055SMPL.d | 2023-02-17 20:29 | Sample |  | 172743-001 | 1 | 0.058604 | 0.017085 | 0.015538 | 0.01124 | 0.012346 | 0.0082152 | 0.11191 | 0.10317 | 0.10598 | <0.000 | <0.000 | <0.000 | <0.000 | 0.85804 | 0.85081 | 0.85752 | 0.84806 | 0.86131 | 0.8515 | <0.000 | <0.000 | 110.827 | 13216.5533 | 1.5175 | 106.8952 | 603876.35 | 0.15406 | 75.8251 | 259522.0133 | 0.88163 | 107.7674 | 96735.0533 | 0.51319 | 104.3516 | 129585.1067 | 0.51679 | 102.0751 | 731618.13 | 0.279 | 102.1915 | 424375.3967 | 0.9472 | 97.1964 | 411722.5233 | 0.24826 | 96.4652 | 288086.35 | 0.51791
| FALSE | 056SMPL.d | 2023-02-17 20:33 | Sample |  | 172744-003 | 1 | 14.7607 | 0.1151 | 0.097874 | 2.3757 | 0.65754 | 0.56038 | 2.7511 | 2.7235 | 2.7846 | <0.000 | 0.0022763 | 0.072963 | 0.038765 | 20.0815 | 20.0316 | 20.2546 | 20.0712 | 20.0992 | 19.8424 | 0.0010446 | 0.0054921 | 102.9747 | 12280.1433 | 2.1415 | 98.6178 | 557115.1933 | 0.77742 | 69.481 | 237808.2833 | 1.3769 | 98.6846 | 88582.0133 | 0.92991 | 93.7497 | 116419.4767 | 0.3981 | 95.3445 | 683377.3167 | 0.68155 | 95.1053 | 394948.3133 | 0.8885 | 84.6145 | 358426.11 | 0.18861 | 83.6086 | 249690.91 | 0.78975
| FALSE | 057SMPL.d | 2023-02-17 20:37 | Sample |  | 172706-001 mj | 5 | 0.25451 | 0.065325 | 0.23139 | 0.44057 | 0.41197 | 0.61004 | 0.33719 | 0.33547 | 0.35137 | 0.12946 | 0.10668 | 0.14082 | 0.084998 | 1.475 | 1.4692 | 1.4685 | 1.4773 | 1.4503 | 1.4656 | <0.000 | <0.000 | 100.8672 | 12028.8067 | 0.72114 | 102.4446 | 578733.8767 | 0.49578 | 71.1049 | 243366.3267 | 0.60531 | 100.5306 | 90239.0833 | 0.26761 | 97.8425 | 121501.9367 | 0.46219 | 102.8431 | 737122.9867 | 0.65521 | 100.2619 | 416362.2 | 0.17724 | 95.8984 | 406224.3533 | 0.84885 | 92.6224 | 276609.9767 | 1.0752
| FALSE | 058SMPL.d | 2023-02-17 20:41 | Sample |  | oil blk | 5 | 0.27382 | <0.000 | 0.070263 | 0.020424 | 0.0099829 | <0.000 | 0.19184 | 0.13035 | 0.21119 | 0.016713 | 0.087983 | 0.078486 | 0.1126 | 2.3457 | 2.3321 | 2.3569 | 2.2541 | 2.3084 | 2.2908 | <0.000 | <0.000 | 101.0909 | 12055.4933 | 2.726 | 100.611 | 568375.0733 | 0.63987 | 71.4231 | 244455.4667 | 1.0247 | 101.2447 | 90880.04 | 1.1261 | 100.2853 | 124535.4867 | 0.74507 | 99.9555 | 716426.0867 | 0.27508 | 99.7998 | 414443.5267 | 0.62076 | 95.6244 | 405063.6167 | 0.85649 | 94.9619 | 283596.6167 | 0.78044
| FALSE | 059SMPL.d | 2023-02-17 20:45 | Sample |  | 172708-001 oil | 5 | 0.021956 | <0.000 | 0.075014 | 0.028428 | 0.034293 | 0.008731 | 0.29723 | 0.20124 | 0.26959 | 0.11963 | 0.17025 | 0.14797 | 0.19981 | 1.2135 | 1.2286 | 1.1596 | 1.2136 | 1.189 | 1.2139 | <0.000 | <0.000 | 99.8232 | 11904.3033 | 1.8496 | 100.4457 | 567441.6767 | 0.48946 | 71.2746 | 243947.2267 | 0.96451 | 100.5142 | 90224.4 | 1.0565 | 100.4514 | 124741.8133 | 1.0916 | 99.6077 | 713933.4167 | 0.3447 | 99.6377 | 413770.3733 | 0.17005 | 95.8431 | 405990.24 | 0.53944 | 95.8082 | 286124.09 | 0.72333
| FALSE | 060SMPL.d | 2023-02-17 20:48 | Sample |  | 172708-002 oil | 5 | 1.43 | 0.0018036 | 0.059821 | 0.032063 | 0.021806 | 0.0090217 | 0.3371 | 0.28807 | 0.34136 | 0.62439 | 0.67735 | 0.69924 | 0.73918 | 1.1971 | 1.1885 | 1.1845 | 1.1667 | 1.1786 | 1.1674 | <0.000 | <0.000 | 102.1453 | 12181.2233 | 3.2168 | 101.2377 | 571915.77 | 0.65563 | 72.4576 | 247996.2767 | 0.89862 | 101.8861 | 91455.8433 | 0.64339 | 102.3348 | 127080.58 | 0.59448 | 100.3514 | 719263.95 | 0.37122 | 101.9479 | 423363.75 | 0.49568 | 95.9489 | 406438.0933 | 0.50036 | 97.8321 | 292168.3967 | 0.27343
| FALSE | 061SMPL.d | 2023-02-17 20:52 | Sample |  | as std oil | 50 | 507.0448 | <0.000 | 0.13717 | 0.19946 | 0.14405 | 0.036251 | 1.7334 | 2.356 | 1.7747 | 0.05274 | 0.020518 | 0.080747 | 0.12285 | 6.3932 | 6.3075 | 7.0415 | 6.1603 | 6.6786 | 6.2657 | <0.000 | <0.000 | 98.6946 | 11769.7167 | 2.7873 | 99.8915 | 564310.3567 | 0.44203 | 70.8353 | 242443.5967 | 1.438 | 98.931 | 88803.21 | 0.73129 | 99.9386 | 124104.9067 | 0.47799 | 100.0347 | 716994.2967 | 0.47686 | 99.4891 | 413153.1833 | 0.66443 | 97.2145 | 411799.2267 | 0.27219 | 96.1757 | 287221.64 | 0.14544
| FALSE | 062SMPL.d | 2023-02-17 20:56 | Sample |  | mix std oil | 50 | 6.394 | <0.000 | 5.8242 | 631.3121 | 622.9612 | 637.1324 | 0.93263 | 1.2867 | 0.94757 | <0.000 | <0.000 | <0.000 | 0.11139 | 619.8901 | 615.4655 | 621.5684 | 618.2105 | 618.3263 | 611.7671 | <0.000 | <0.000 | 98.6295 | 11761.9567 | 1.5106 | 98.7384 | 557796.7733 | 0.35938 | 69.492 | 237846.1433 | 1.5629 | 98.1289 | 88083.2633 | 0.36162 | 99.4833 | 123539.6133 | 0.25633 | 99.9646 | 716491.5167 | 0.69045 | 99.1465 | 411730.2867 | 0.86889 | 96.5372 | 408930.1467 | 0.72648 | 95.4585 | 285079.83 | 1.4076
| FALSE | 063SMPL.d | 2023-02-17 21:00 | Sample |  | Hg std oil | 100 | <0.000 | <0.000 | 5.1729 | 0.53932 | 0.74624 | 0.22545 | 0.75989 | 1.1984 | 0.61135 | 726.0219 | 682.7722 | 715.7294 | 679.4294 | 4.7475 | 4.2296 | 5.4445 | 4.6347 | 4.9458 | 4.4823 | <0.000 | <0.000 | 99.5339 | 11869.81 | 2.3544 | 97.838 | 552709.7133 | 0.42683 | 68.8517 | 235654.5067 | 0.32892 | 98.2756 | 88214.8967 | 0.64089 | 98.4381 | 122241.61 | 0.25092 | 98.318 | 704689.7567 | 0.58906 | 97.95 | 406761.8567 | 0.17095 | 95.2838 | 403620.9967 | 0.77879 | 94.4043 | 281931.3867 | 0.5637
| FALSE | 064_QC2.d | 2023-02-17 21:04 | QC2 |  | qc 2 | 1 | 10.2153 | 10.0386 | 10.9535 | 10.4532 | 10.4079 | 10.3872 | 10.2742 | 10.1938 | 10.2914 | 1.0968 | 1.0772 | 1.0986 | 1.0794 | 10.4503 | 10.3832 | 10.0161 | 9.9674 | 10.1544 | 10.0824 | 9.1773 | 9.0096 | 99.2169 | 11832.0067 | 2.9314 | 97.7323 | 552113.0433 | 0.46143 | 69.2589 | 237048.0333 | 0.58167 | 98.4727 | 88391.8267 | 0.87797 | 97.7652 | 121405.9967 | 0.61485 | 98.6931 | 707378.08 | 0.184 | 98.2759 | 408115.1767 | 0.61757 | 92.6948 | 392653.9533 | 0.40651 | 92.2886 | 275613.15 | 0.66371
| FALSE | 065SMPL.d | 2023-02-17 21:08 | Sample |  | blk | 1 | <0.000 | 0.0075553 | 0.084439 | 0.0030483 | 0.0020911 | 0.0016136 | 0.0055794 | 0.011169 | 0.0002232 | 0.040635 | 0.040488 | 0.04813 | 0.039745 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.010734 | 0.0089767 | 100.224 | 11952.1033 | 0.87076 | 97.9639 | 553421.2967 | 0.31602 | 69.9227 | 239320.0833 | 0.74003 | 98.1453 | 88097.9567 | 0.4365 | 97.9336 | 121615.1033 | 0.98839 | 98.2182 | 703974.4133 | 0.90704 | 97.9629 | 406815.21 | 0.84712 | 93.3939 | 395615.5533 | 0.72704 | 92.6738 | 276763.52 | 0.75292
| FALSE | 066SMPL.d | 2023-02-17 21:11 | Sample |  | 172753-001 | 1 | 0.34003 | 0.12228 | 0.2001 | 0.017926 | 0.020421 | 0.013688 | 0.14129 | 0.13385 | 0.1385 | 0.036205 | 0.027503 | 0.037131 | 0.033937 | 2.2969 | 2.3138 | 2.3326 | 2.3553 | 2.2931 | 2.2921 | 0.032876 | 0.033234 | 98.2468 | 11716.3167 | 0.14339 | 104.0336 | 587710.4433 | 0.10717 | 73.5397 | 251699.8167 | 0.20516 | 105.1759 | 94408.7867 | 1.0285 | 96.105 | 119344.3733 | 1.12 | 97.9158 | 701806.62 | 0.39172 | 97.0783 | 403141.7933 | 0.29646 | 90.7838 | 384558.86 | 0.31711 | 89.9446 | 268612.8567 | 0.8995
| FALSE | 067SMPL.d | 2023-02-17 21:15 | Sample |  | 172757-001 | 1 | 1.5982 | 0.48008 | 0.70117 | 0.05967 | 0.060124 | 0.064877 | 0.067451 | 0.065603 | 0.072154 | 0.011011 | 0.00704 | 0.010498 | 0.010617 | 10.7049 | 10.6141 | 9.7083 | 9.6309 | 9.9986 | 9.8922 | 0.047933 | 0.050173 | 99.599 | 11877.5667 | 1.639 | 107.1267 | 605184.11 | 0.25083 | 75.6929 | 259069.5167 | 1.4226 | 106.5527 | 95644.6633 | 0.84602 | 95.5969 | 118713.3567 | 0.89782 | 97.6956 | 700228.31 | 0.23767 | 96.9449 | 402587.8967 | 0.37089 | 89.9638 | 381085.6533 | 0.21443 | 87.8234 | 262278.08 | 0.58958
| FALSE | 068SMPL.d | 2023-02-17 21:19 | Sample |  | 172758-001 | 1 | 2.1395 | 0.21287 | 0.32668 | 0.15299 | 0.16154 | 0.16453 | 0.2419 | 0.237 | 0.25468 | 0.0099868 | 0.016036 | 0.023219 | 0.022139 | 4.9222 | 4.9085 | 4.486 | 4.4485 | 4.6066 | 4.5773 | 0.0038914 | 0.0045114 | 104.8586 | 12504.7967 | 2.2851 | 101.0211 | 570691.9533 | 0.35355 | 70.3384 | 240742.9667 | 1.4904 | 101.0062 | 90665.98 | 0.49598 | 97.361 | 120904.1133 | 0.29608 | 99.1245 | 710470.3533 | 0.68638 | 97.6886 | 405675.9533 | 0.16647 | 92.6561 | 392490.0033 | 0.22035 | 90.5457 | 270408.1367 | 1.2831
| FALSE | 069SMPL.d | 2023-02-17 21:23 | Sample |  | 172759-001 | 1 | 0.063711 | 0.022931 | 0.15982 | 0.0059625 | 0.003691 | 0.0026672 | 0.069315 | 0.071357 | 0.067742 | <0.000 | <0.000 | 0.0048686 | 0.0027232 | 1.0899 | 1.1221 | 1.0735 | 1.095 | 1.0738 | 1.086 | <0.000 | 0.00056331 | 104.01 | 12403.6 | 2.1147 | 100.7094 | 568931.09 | 0.48167 | 70.5316 | 241404.0433 | 0.72717 | 99.3573 | 89185.8467 | 0.48952 | 99.7796 | 123907.5133 | 0.27669 | 100.6272 | 721240.5533 | 0.2319 | 99.0981 | 411529.5167 | 0.44468 | 94.5462 | 400496.35 | 0.21677 | 91.9468 | 274592.3233 | 0.10013
| FALSE | 070SMPL.d | 2023-02-17 21:27 | Sample |  | 172759-002 | 1 | 0.049858 | 0.015139 | 0.11047 | 0.0060739 | 0.0016287 | 0.0048682 | 0.066674 | 0.07302 | 0.06806 | <0.000 | 0.00035057 | 0.0074383 | 0.0024419 | 1.4372 | 1.3644 | 1.4354 | 1.3699 | 1.4163 | 1.3446 | <0.000 | <0.000 | 102.8067 | 12260.1 | 2.0215 | 104.498 | 590333.7533 | 44.3407 | 70.6526 | 241818.4467 | 0.59122 | 100.1707 | 89915.9867 | 1.032 | 99.5629 | 123638.47 | 1.4457 | 104.7525 | 750808.52 | 44.1601 | 99.7865 | 414388.08 | 0.25236 | 100.5912 | 426103.0267 | 40.9543 | 92.9819 | 277683.5367 | 0.26597
| FALSE | 071SMPL.d | 2023-02-17 21:31 | Sample |  | 172760-001 | 1 | 0.11184 | 0.05703 | 0.05392 | 8.2266e-05 | 0.002121 | <0.000 | 0.063842 | 0.056823 | 0.069016 | <0.000 | 6.7331e-05 | <0.000 | 0.0021472 | 0.10895 | 0.12914 | 0.12249 | 0.1364 | 0.11209 | 0.13476 | <0.000 | <0.000 | 99.5245 | 11868.6833 | 1.8323 | 115.0016 | 649671.0367 | 26.6726 | 62.2966 | 213218.6333 | 4.9757 | 97.3429 | 87377.6967 | 0.2899 | 96.032 | 119253.7267 | 1.0206 | 115.792 | 829933.7433 | 27.0111 | 96.9812 | 402738.5033 | 0.45472 | 101.856 | 431460.5767 | 20.7317 | 88.316 | 263749.3367 | 0.094357
| FALSE | 072SMPL.d | 2023-02-17 21:34 | Sample |  | 172761-001 | 1 | 0.037485 | 0.00094427 | <0.000 | 0.0011815 | 0.0029658 | <0.000 | 0.087595 | 0.079556 | 0.090298 | <0.000 | <0.000 | <0.000 | <0.000 | 0.78501 | 0.79854 | 0.7954 | 0.77769 | 0.78519 | 0.78277 | <0.000 | <0.000 | 98.8898 | 11793.0033 | 1.9954 | 97.6188 | 551471.8333 | 1.0823 | 68.1808 | 233358.1533 | 0.41738 | 97.1055 | 87164.61 | 0.12215 | 95.1999 | 118220.4433 | 0.12818 | 97.6338 | 699785.72 | 0.31917 | 96.5643 | 401007.36 | 0.94536 | 89.7972 | 380379.6233 | 0.41467 | 87.3402 | 260835.13 | 0.54018
| FALSE | 073SMPL.d | 2023-02-17 21:38 | Sample |  | 172762-001 | 1 | 0.155 | 0.05349 | 0.068407 | 0.012553 | 0.014115 | 0.010448 | 0.37231 | 0.37132 | 0.36792 | <0.000 | <0.000 | <0.000 | <0.000 | 0.35173 | 0.3476 | 0.36626 | 0.34136 | 0.35541 | 0.34926 | 0.044184 | 0.0449 | 99.9627 | 11920.95 | 1.4167 | 98.22 | 554867.8967 | 0.28933 | 68.8806 | 235753.5167 | 1.6322 | 98.0081 | 87974.7833 | 0.60046 | 96.6197 | 119983.5033 | 0.45081 | 98.6973 | 707407.9333 | 0.23718 | 97.3474 | 404259.0133 | 0.90912 | 90.8966 | 385036.78 | 0.62163 | 88.9367 | 265602.86 | 0.40778
| FALSE | 074SMPL.d | 2023-02-17 21:42 | Sample |  | 172764-001 | 1 | 5.3063 | 0.20677 | 0.36376 | 0.00234 | 0.00087719 | <0.000 | 0.64914 | 0.64631 | 0.68213 | <0.000 | <0.000 | 0.013764 | 0.0025168 | 0.32523 | 0.31695 | 0.32349 | 0.32326 | 0.32141 | 0.31905 | 0.10466 | 0.10045 | 131.1693 | 15642.4533 | 0.30232 | 96.9002 | 547411.93 | 0.48917 | 67.5455 | 231183.74 | 1.3945 | 96.992 | 87062.75 | 0.33627 | 95.4384 | 118516.5567 | 0.16053 | 96.6292 | 692584.9633 | 0.039945 | 95.215 | 395403.8133 | 0.28367 | 87.5982 | 371064.6833 | 0.49355 | 85.8521 | 256390.96 | 0.67116
| FALSE | 075SMPL.d | 2023-02-17 21:46 | Sample |  | 172765-001 | 1 | 2.7796 | 0.047718 | <0.000 | 0.0087576 | 0.0032021 | 0.00076626 | 0.62142 | 0.63767 | 0.61765 | <0.000 | <0.000 | <0.000 | <0.000 | 0.16178 | 0.15573 | 0.15764 | 0.15021 | 0.15518 | 0.15705 | 0.21379 | 0.21337 | 100.056 | 11932.0667 | 0.73307 | 101.2992 | 572263.1567 | 0.033832 | 70.9793 | 242936.59 | 1.1424 | 100.6788 | 90372.0733 | 0.95787 | 97.4142 | 120970.1733 | 0.82505 | 99.2831 | 711607.2267 | 0.49202 | 98.5705 | 409338.3267 | 0.78116 | 91.5463 | 387788.96 | 0.19808 | 89.8413 | 268304.3667 | 0.40182
| FALSE | 076_QC1.d | 2023-02-17 21:50 | QC1 |  | qc 1 | 1 | 5.2132 | 5.072 | 5.1108 | 5.2159 | 5.1664 | 5.2494 | 5.2123 | 5.1095 | 5.2062 | 0.50021 | 0.524 | 0.51151 | 0.51859 | 5.2233 | 5.2333 | 4.9853 | 4.9864 | 5.0691 | 5.0516 | 4.5555 | 4.4651 | 101.0818 | 12054.4067 | 0.89464 | 101.1637 | 571497.3167 | 0.50307 | 71.2612 | 243901.4867 | 0.57984 | 100.4196 | 90139.4667 | 0.32341 | 101.178 | 125644.03 | 0.22058 | 101.4746 | 727314.7733 | 0.22301 | 99.9377 | 415015.97 | 0.45733 | 94.5089 | 400338.35 | 0.21746 | 93.1747 | 278259.42 | 0.49796
| FALSE | 077_QC2.d | 2023-02-17 21:54 | QC2 |  | qc 2 | 1 | 10.29 | 10.157 | 11.3767 | 10.4392 | 10.2583 | 10.4877 | 10.368 | 10.1967 | 10.2793 | 1.0121 | 1.0372 | 1.0263 | 1.0217 | 10.3697 | 10.383 | 9.9559 | 9.8946 | 10.1167 | 10.0283 | 9.0217 | 8.8538 | 102.0981 | 12175.6 | 0.27811 | 100.1211 | 565607.7967 | 0.24052 | 70.8119 | 242363.5933 | 0.48762 | 100.0974 | 89850.1967 | 0.68501 | 99.5611 | 123636.1367 | 0.11112 | 100.1757 | 718004.7733 | 0.29727 | 99.7859 | 414385.8767 | 0.30741 | 93.6226 | 396583.9467 | 0.48581 | 92.8343 | 277242.72 | 0.42122
| FALSE | 078_QC3.d | 2023-02-17 21:57 | QC3 |  | qc 3 | 1 | 50.8611 | 50.2118 | 50.5921 | 51.1702 | 51.4185 | 51.4578 | 51.153 | 53.1611 | 51.3654 | 5.1455 | 5.1603 | 5.0896 | 5.0679 | 54.9773 | 50.9671 | 49.0107 | 48.8071 | 53.3787 | 52.4309 | 51.1369 | 51.011 | 101.9956 | 12163.3733 | 2.8773 | 98.9224 | 558836.1233 | 0.79958 | 68.6582 | 234992.1667 | 0.68964 | 97.3541 | 87387.7333 | 0.58851 | 97.0158 | 120475.3567 | 1.1141 | 99.0891 | 710216.45 | 0.80257 | 97.8592 | 406384.7033 | 0.19881 | 91.9606 | 389543.8767 | 0.32126 | 90.7207 | 270930.74 | 0.66306
| FALSE | 079SMPL.d | 2023-02-17 22:01 | Sample |  | curve 4 | 1 | 49.8613 | 49.7125 | 50.9154 | 50.0487 | 50.6509 | 50.4553 | 50.3011 | 51.9299 | 50.3262 | 2.6496 | 2.6476 | 2.6461 | 2.6377 | 50.3654 | 50.5868 | 48.1776 | 48.3954 | 51.4621 | 51.9622 | 49.7932 | 49.8622 | 101.9862 | 12162.26 | 0.90514 | 98.1731 | 554602.9567 | 0.60609 | 70.6683 | 241872.1167 | 0.45044 | 97.607 | 87614.7933 | 1.2169 | 97.9426 | 121626.2967 | 0.44184 | 99.0395 | 709860.9867 | 0.26355 | 98.4976 | 409035.68 | 0.97789 | 91.2965 | 386730.9533 | 0.4202 | 90.0531 | 268937.0633 | 0.19211

## ValueList_Helper (hidden)
Bkgnd
BlkVrfy
CalBlk
CalStd
CICSpike
DilStd
DriftChk
FQBlk
IsoStd
QC1
QC2
QC3
QC4
QC5
Sample
Spike
Spike Ref
SQBlk
SQISTD
SQStd