## Sheet1
Sample | [7 empty] | 75 As [ He ] | 78 Se [ H2 ] | 78 Se [ He ] | 111 Cd [ No Gas ] | 111 Cd [ He ] | 114 Cd [ He ] | 121 Sb [ He ] | 123 Sb [ No Gas ] | 123 Sb [ He ] | 201 Hg [ No Gas ] | 201 Hg [ He ] | 202 Hg [ No Gas ] | 202 Hg [ He ] | 206 [Pb] [ No Gas ] | 206 [Pb] [ He ] | 207 [Pb] [ No Gas ] | 207 [Pb] [ He ] | 208 Pb [ No Gas ] | 208 Pb [ He ] | 238 U [ No Gas ] | 238 U [ He ] | 72 Ge ( ISTD ) [ He ] |  |  | 89 Y ( ISTD ) [ No Gas ] |  |  | 89 Y ( ISTD ) [ H2 ] |  |  | 89 Y ( ISTD ) [ He ] |  |  | 115 In ( ISTD ) [ He ] |  |  | 159 Tb ( ISTD ) [ No Gas ] |  |  | 159 Tb ( ISTD ) [ He ] |  |  | 209 Bi ( ISTD ) [ No Gas ] |  |  | 209 Bi ( ISTD ) [ He ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | Total Dil. | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD
| TRUE | 001SMPL.d | 2023-01-18 11:22 | Sample |  | blk | 1
| TRUE | 002SMPL.d | 2023-01-18 11:26 | Sample |  | blk | 1
| TRUE | 003SMPL.d | 2023-01-18 11:30 | Sample |  | blk | 1
| TRUE | 004CALB.d | 2023-01-18 11:34 | CalBlk | 1 | blk | 1
| TRUE | 005CALS.d | 2023-01-18 11:37 | CalStd | 2 | curve 1 | 1
| TRUE | 006CALS.d | 2023-01-18 11:41 | CalStd | 3 | curve 2 | 1
| TRUE | 007CALS.d | 2023-01-18 11:45 | CalStd | 4 | curve 2.5 (Hg only) | 1
| TRUE | 008CALS.d | 2023-01-18 11:49 | CalStd | 5 | curve 3 | 1
| TRUE | 009CALS.d | 2023-01-18 11:53 | CalStd | 6 | curve 4 | 1
| TRUE | 010CALS.d | 2023-01-18 11:57 | CalStd | 7 | curve 5 | 1
| TRUE | 011SMPL.d | 2023-01-18 12:00 | Sample |  | blk | 1
| TRUE | 012SMPL.d | 2023-01-18 12:04 | Sample |  | blk | 1
| TRUE | 013SMPL.d | 2023-01-18 12:08 | Sample |  | blk | 1
| TRUE | 014_QC1.d | 2023-01-18 12:12 | QC1 |  | qc 1 | 1
| TRUE | 015_QC2.d | 2023-01-18 12:15 | QC2 |  | qc 2 | 1
| TRUE | 016_QC3.d | 2023-01-18 12:19 | QC3 |  | qc 3 | 1
| TRUE | 017SMPL.d | 2023-01-18 12:23 | Sample |  | blk | 1
| TRUE | 018SMPL.d | 2023-01-18 12:26 | Sample |  | blk | 1
| TRUE | 019SMPL.d | 2023-01-18 12:30 | Sample |  | 172185-007 | 1
| TRUE | 020SMPL.d | 2023-01-18 12:34 | Sample |  | 172185-008 | 1
| TRUE | 021SMPL.d | 2023-01-18 12:38 | Sample |  | 172185-005 | 1
| FALSE | 022SMPL.d | 2023-01-18 12:41 | Sample |  | blk | 1 | [22 empty] | 16884.9967 | 0.88534 |  | 899860.8267 | 6.3852 |  | 320785.6967 | 0.94716 |  | 126046.1167 | 0.61345 |  | 182097.5433 | 0.53919 |  | 1162821.4867 | 1.6859 |  | 619345.0433 | 0.14537 |  | 696796.4233 | 3.726 |  | 472010.3633 | 0.14816
| FALSE | 023CALB.d | 2023-01-18 12:45 | CalBlk | 1 | blk | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 18487.1833 | 8.7649 | 100 | 822199.9 | 0.2443 | 100 | 330492.3967 | 2.6608 | 100 | 135871.4567 | 5.5806 | 100 | 192129.98 | 4.9824 | 100 | 1210982.9767 | 0.39714 | 100 | 654905.3667 | 7.4814 | 100 | 726477.1433 | 0.11927 | 100 | 482170.8733 | 6.806
| FALSE | 024CALS.d | 2023-01-18 12:49 | CalStd | 2 | curve 1 | 1 | 0.095512 | 0.095802 | 0.085009 | 0.099776 | 0.11089 | 0.10482 | 0.11786 | 0.10945 | 0.11599 | <0.000 | <0.000 | <0.000 | <0.000 | 0.11766 | 0.13087 | 0.11249 | 0.12958 | 0.11659 | 0.12895 | 0.08524 | 0.090789 | 89.8411 | 16609.0867 | 1.0796 | 104.209 | 856806.36 | 34.8907 | 105.434 | 348451.4433 | 3.332 | 92.6895 | 125938.58 | 0.50505 | 93.6202 | 179872.42 | 0.72946 | 99.6403 | 1206627.16 | 34.2178 | 93.714 | 613737.8433 | 0.63401 | 104.3693 | 758219.28 | 30.7726 | 97.0004 | 467707.57 | 0.59292
| FALSE | 025CALS.d | 2023-01-18 12:52 | CalStd | 3 | curve 2 | 1 | 0.99945 | 0.94587 | 1.0194 | 1.1218 | 1.0699 | 1.0546 | 1.0566 | 1.0895 | 1.0396 | 0.04148 | 0.03373 | 0.05067 | 0.030086 | 1.0839 | 1.0326 | 1.0836 | 1.001 | 1.0882 | 1.0236 | 0.99987 | 0.93831 | 90.437 | 16719.2467 | 2.139 | 86.2588 | 709219.4367 | 17.9694 | 95.7422 | 316420.5333 | 0.62396 | 92.6339 | 125863.0933 | 0.71067 | 92.8236 | 178341.91 | 0.35007 | 85.3505 | 1033580.09 | 18.3535 | 93.8558 | 614666.87 | 0.29337 | 86.1775 | 626059.9967 | 16.2707 | 95.8026 | 461932.2567 | 0.62861
| FALSE | 026CALS.d | 2023-01-18 12:56 | CalStd | 4 | curve 2.5 (Hg only) | 1 | 2.023 | 2.0294 | 1.9623 | 1.8178 | 2.0217 | 2.0513 | 2.0363 | 1.7386 | 1.9847 | 0.066293 | 0.085931 | 0.057989 | 0.080212 | 1.7291 | 1.9814 | 1.7266 | 1.9576 | 1.7509 | 1.961 | 1.6408 | 1.8441 | 93.2596 | 17241.0667 | 3.6961 | 104.1738 | 856516.7933 | 18.5864 | 95.1074 | 314322.6267 | 0.64144 | 94.884 | 128920.3167 | 3.8613 | 94.8863 | 182305.0967 | 2.666 | 99.163 | 1200847.16 | 19.0034 | 94.3693 | 618029.73 | 0.80287 | 103.9225 | 754973.3267 | 16.5514 | 96.8589 | 467025.41 | 0.26337
| FALSE | 027CALS.d | 2023-01-18 13:00 | CalStd | 5 | curve 3 | 1 | 10.167 | 11.653 | 9.9684 | 8.4575 | 10.2681 | 10.2185 | 10.1774 | 8.1486 | 10.1164 | 0.38905 | 0.47985 | 0.37854 | 0.47007 | 8.1943 | 9.7839 | 8.2291 | 9.7624 | 8.2603 | 9.7766 | 7.7834 | 9.1398 | 92.8197 | 17159.7567 | 1.0171 | 109.4622 | 899997.8 | 13.708 | 84.06 | 277811.8967 | 7.5854 | 93.1877 | 126615.4633 | 0.72871 | 94.3734 | 181319.6233 | 0.94552 | 105.9619 | 1283181.1267 | 11.6415 | 94.5296 | 619079.4 | 0.61166 | 107.2317 | 779014.11 | 12.4294 | 96.7627 | 466561.57 | 0.55418
| FALSE | 028CALS.d | 2023-01-18 13:04 | CalStd | 6 | curve 4 | 1 | 49.8371 | 50.1417 | 49.8925 | 44.7464 | 50.7391 | 50.5599 | 50.2572 | 45.2771 | 50.2794 | 2.2475 | 2.4927 | 2.2457 | 2.483 | 45.3484 | 48.2154 | 43.745 | 48.0293 | 45.1851 | 49.2352 | 45.0151 | 50.3248 | 92.796 | 17155.3733 | 1.6726 | 99.9524 | 821808.5633 | 0.34528 | 95.6248 | 316032.73 | 0.46039 | 93.0844 | 126475.08 | 1.2186 | 93.5242 | 179688.01 | 0.18156 | 98.991 | 1198764.58 | 0.88004 | 94.4965 | 618862.7 | 0.18933 | 97.9772 | 711782.13 | 0.083968 | 95.8625 | 462220.89 | 0.097024
| FALSE | 029CALS.d | 2023-01-18 13:08 | CalStd | 7 | curve 5 | 1 | 100.0647 | 99.7644 | 100.0567 | 102.7798 | 99.6029 | 99.6976 | 99.8531 | 102.5457 | 99.8483 | 5.1381 | 5.0061 | 5.1401 | 5.0121 | 102.5055 | 100.9135 | 103.3037 | 101.0091 | 102.5805 | 100.4045 | 102.7141 | 99.9242 | 95.2513 | 17609.28 | 0.90891 | 87.5738 | 720031.3467 | 13.4235 | 95.8702 | 316843.8067 | 0.33265 | 94.1759 | 127958.18 | 1.0551 | 93.4437 | 179533.42 | 0.67459 | 82.1477 | 994794.17 | 14.1504 | 94.6534 | 619890.2967 | 0.56892 | 84.3447 | 612744.88 | 8.3984 | 93.673 | 451663.7867 | 0.45067
| FALSE | 030SMPL.d | 2023-01-18 13:11 | Sample |  | blk | 1 | 0.03494 | 0.09253 | 0.18307 | 0.015637 | 0.014448 | 0.011287 | 0.036758 | 0.046719 | 0.041599 | 0.04807 | 0.046097 | 0.044483 | 0.03795 | 0.022512 | 0.019466 | 0.017715 | 0.016577 | 0.020591 | 0.015349 | 0.048217 | 0.033946 | 92.4287 | 17087.4633 | 1.7362 | 100.4766 | 826118.5567 | 1.3669 | 97.026 | 320663.5133 | 0.35488 | 94.7367 | 128720.12 | 2.5543 | 95.5189 | 183520.4667 | 1.5598 | 99.0632 | 1199638.3167 | 2.2494 | 94.4661 | 618663.4333 | 0.54435 | 98.936 | 718747.7 | 0.55488 | 96.3035 | 464347.6667 | 0.46977
| FALSE | 031SMPL.d | 2023-01-18 13:15 | Sample |  | blk | 1 | 0.010447 | 0.018939 | <0.000 | 0.0043316 | <0.000 | <0.000 | 0.011713 | 0.01214 | 0.013301 | 0.013287 | 0.011495 | 0.014058 | 0.013681 | 0.0044234 | 0.0034351 | 0.00017637 | 1.3713e-05 | 0.0033995 | 0.00071184 | 0.0097585 | 0.0076536 | 92.5614 | 17111.9867 | 1.5409 | 97.8641 | 804638.65 | 2.7515 | 145.7389 | 481655.99 | 38.8129 | 93.81 | 127461.08 | 0.73723 | 93.899 | 180408.1533 | 1.4224 | 96.7871 | 1172075.6167 | 2.5591 | 93.6236 | 613146.1567 | 0.32629 | 96.2245 | 699049.15 | 2.2739 | 96.067 | 463207.1867 | 0.046601
| FALSE | 032_QC1.d | 2023-01-18 13:19 | QC1 |  | qc 1 | 1 | 5.1185 | 5.2036 | 5.2793 | 4.6324 | 5.1821 | 5.136 | 5.1809 | 4.4746 | 5.1634 | 0.43062 | 0.49771 | 0.43475 | 0.49607 | 4.3472 | 4.9138 | 4.5875 | 5.072 | 4.5173 | 4.994 | 4.0629 | 4.4268 | 92.4771 | 17096.4167 | 1.557 | 100.0749 | 822815.3767 | 0.32049 | 96.9902 | 320545.2333 | 0.60548 | 94.6079 | 128545.11 | 1.1888 | 94.6048 | 181764.17 | 1.0826 | 99.3327 | 1202902.4133 | 0.24672 | 94.5913 | 619483.6667 | 0.22183 | 98.6292 | 716518.7033 | 0.45273 | 96.1575 | 463643.3667 | 0.27557
| FALSE | 033_QC2.d | 2023-01-18 13:22 | QC2 |  | qc 2 | 1 | 10.2152 | 10.2906 | 10.0271 | 9.4352 | 10.3326 | 10.3412 | 10.2667 | 9.1667 | 10.2926 | 0.89845 | 0.99799 | 0.92978 | 0.99787 | 8.9472 | 9.7473 | 9.3785 | 10.1164 | 9.2231 | 9.939 | 8.2179 | 8.8043 | 92.8201 | 17159.8233 | 2.565 | 97.8627 | 804627.2733 | 2.5387 | 96.918 | 320306.48 | 0.67556 | 95.0642 | 129165.12 | 0.55568 | 95.6337 | 183740.9567 | 0.59108 | 96.816 | 1172425.5233 | 3.9515 | 95.1173 | 622928.0067 | 0.27174 | 96.0164 | 697537.1733 | 2.5385 | 96.633 | 465936.0367 | 0.34121
| FALSE | 034_QC3.d | 2023-01-18 13:26 | QC3 |  | qc 3 | 1 | 51.1953 | 50.9606 | 51.778 | 45.7341 | 50.6896 | 50.7085 | 50.5266 | 46.5276 | 50.7769 | 4.571 | 4.9649 | 4.5406 | 4.9938 | 45.5233 | 48.3014 | 47.5929 | 49.7821 | 46.6193 | 50.401 | 45.6812 | 51.1126 | 92.9887 | 17190.9833 | 2.071 | 98.7686 | 812075.5967 | 0.74456 | 96.4133 | 318638.6967 | 0.79495 | 94.8886 | 128926.56 | 0.88868 | 94.7722 | 182085.8433 | 1.0544 | 97.701 | 1183142.56 | 0.4978 | 94.3253 | 617741.5767 | 0.67512 | 96.6319 | 702008.41 | 0.51346 | 94.8244 | 457215.8333 | 0.11205
| FALSE | 035SMPL.d | 2023-01-18 13:30 | Sample |  | blk | 1 | 0.015508 | 0.056233 | 0.0082278 | 0.0084493 | 0.0075042 | 0.00264 | 0.019234 | 0.026183 | 0.022125 | 0.085323 | 0.04768 | 0.066869 | 0.045737 | 0.011439 | 0.0058384 | 0.010596 | 0.0039415 | 0.012819 | 0.0051758 | 0.030329 | 0.021506 | 94.6069 | 17490.1533 | 0.72918 | 89.5389 | 736188.9367 | 12.0739 | 98.4739 | 325448.8 | 0.5418 | 95.8415 | 130221.29 | 0.067491 | 96.1497 | 184732.4333 | 0.32928 | 86.5235 | 1047785.0433 | 8.6599 | 94.8249 | 621013.62 | 0.78462 | 87.2928 | 634162.1267 | 9.6716 | 96.8949 | 467198.8633 | 0.1387
| FALSE | 036SMPL.d | 2023-01-18 13:34 | Sample |  | blk | 1 | 0.0046 | 0.015875 | 0.0090519 | 0.0018791 | <0.000 | <0.000 | 0.0088943 | 0.0069953 | 0.011021 | 0.018935 | 0.021479 | 0.017012 | 0.021846 | 0.0015386 | 0.0051582 | <0.000 | 0.0032173 | 0.00077778 | 0.0031723 | 0.0094422 | 0.011492 | 91.7068 | 16954.0033 | 0.98504 | 100.9094 | 829676.87 | 0.56266 | 97.438 | 322025.1167 | 0.99653 | 95.4811 | 129731.6033 | 0.55603 | 95.6078 | 183691.1533 | 0.27156 | 100.3214 | 1214875.2767 | 1.0837 | 95.2113 | 623543.6867 | 0.8143 | 98.9442 | 718806.96 | 1.2104 | 97.0378 | 467888.1833 | 0.18991
| FALSE | 037SMPL.d | 2023-01-18 13:37 | Sample |  | 172185-007 | 1 | 0.59814 | 0.085712 | 0.03893 | 0.0055281 | 0.0039442 | 0.034829 | 0.2163 | 0.19361 | 0.21282 | <0.000 | <0.000 | <0.000 | <0.000 | 5.4568 | 6.0546 | 5.51 | 6.0548 | 5.4799 | 6.0266 | 0.0030989 | 0.0031442 | 95.2455 | 17608.21 | 1.716 | 100.419 | 825644.97 | 0.48242 | 97.0063 | 320598.36 | 0.51366 | 96.9521 | 131730.1633 | 1.3836 | 97.1389 | 186633 | 1.1094 | 100.6647 | 1219032.08 | 0.1882 | 96.2756 | 630514.0667 | 0.25704 | 98.2494 | 713759.3833 | 0.26746 | 97.2379 | 468852.6733 | 0.2234
| FALSE | 038SMPL.d | 2023-01-18 13:41 | Sample |  | 172185-008 | 1 | 0.40691 | 0.050103 | 0.035441 | 0.0053721 | 0.0050412 | 0.0050112 | 0.1567 | 0.14819 | 0.17157 | <0.000 | <0.000 | <0.000 | <0.000 | 0.18057 | 0.2063 | 0.18734 | 0.21141 | 0.18398 | 0.20625 | 0.0090575 | 0.01017 | 96.539 | 17847.35 | 1.5152 | 102.263 | 840806.0333 | 0.95184 | 99.872 | 330069.3767 | 1.8537 | 98.895 | 134370.0833 | 0.81503 | 97.6713 | 187655.7867 | 0.85909 | 102.0178 | 1235418.3067 | 0.65281 | 97.1493 | 636236.2233 | 0.15634 | 98.2452 | 713728.9667 | 0.56364 | 96.9818 | 467618.23 | 0.60937
| FALSE | 039SMPL.d | 2023-01-18 13:45 | Sample |  | 172185-005 | 1 | 0.3579 | 0.025622 | <0.000 | 0.00012646 | 0.00088023 | <0.000 | 0.10508 | 0.096883 | 0.11461 | <0.000 | <0.000 | <0.000 | <0.000 | 0.34916 | 0.38896 | 0.35684 | 0.3952 | 0.35452 | 0.39189 | 0.006139 | 0.0067373 | 98.1879 | 18152.1733 | 2.2854 | 104.2587 | 857214.5433 | 0.11094 | 101.375 | 335036.6667 | 0.8789 | 99.5926 | 135317.9667 | 0.27871 | 99.873 | 191886.0633 | 0.59858 | 102.1925 | 1237534.0933 | 0.1293 | 97.4056 | 637914.2567 | 0.27837 | 99.3685 | 721889.79 | 0.49548 | 97.7065 | 471112.1633 | 0.28586
| FALSE | 040SMPL.d | 2023-01-18 13:49 | Sample |  | 172201-001 | 1 | 0.46994 | 0.038534 | 0.038569 | 0.00093848 | 0.001476 | 0.0013592 | 0.076577 | 0.068242 | 0.081147 | <0.000 | <0.000 | <0.000 | <0.000 | 0.69557 | 0.78944 | 0.70799 | 0.78666 | 0.70124 | 0.78657 | 0.015181 | 0.017107 | 115.5789 | 21367.2833 | 12.564 | 108.3246 | 890644.3433 | 0.45779 | 105.7964 | 349649.1033 | 0.72315 | 103.8155 | 141055.6333 | 19.8336 | 95.6605 | 183792.4333 | 21.7528 | 100.0741 | 1211879.9033 | 0.57863 | 97.9957 | 641779.09 | 24.9179 | 93.9807 | 682748.2367 | 0.36756 | 93.6778 | 451687.1967 | 19.3456
| FALSE | 041SMPL.d | 2023-01-18 13:52 | Sample |  | 172185-003 | 1 | 0.033871 | 0.017918 | <0.000 | <0.000 | 0.00024271 | <0.000 | 0.055283 | 0.044731 | 0.052611 | <0.000 | <0.000 | <0.000 | <0.000 | 0.56715 | 0.64364 | 0.57142 | 0.64086 | 0.57907 | 0.64283 | 0.00020669 | <0.000 | 95.7384 | 17699.34 | 0.26495 | 103.7622 | 853132.8533 | 0.42055 | 100.6811 | 332743.4367 | 0.36405 | 97.9968 | 133149.6933 | 0.49558 | 98.2242 | 188718.1067 | 0.59206 | 102.0276 | 1235537.3933 | 0.50192 | 96.7009 | 633299.1967 | 0.22433 | 99.5663 | 723326.29 | 0.48022 | 97.8543 | 471825.0467 | 0.81952
| FALSE | 042SMPL.d | 2023-01-18 13:56 | Sample |  | 172194-001 | 1 | 0.60004 | 0.053046 | 0.030789 | 0.025712 | 0.020904 | 0.027679 | 0.35198 | 0.30552 | 0.3452 | <0.000 | <0.000 | <0.000 | <0.000 | 1.9468 | 2.1695 | 2.0077 | 2.2207 | 1.9833 | 2.1934 | 0.067358 | 0.072766 | 93.1872 | 17227.6833 | 2.7224 | 101.1418 | 831588.1133 | 0.64586 | 98.8504 | 326693.22 | 0.50561 | 95.9953 | 130430.26 | 1.3452 | 95.566 | 183610.99 | 1.0698 | 99.6103 | 1206264.27 | 0.62127 | 95.3459 | 624425.3633 | 0.43243 | 94.4925 | 686466.7067 | 0.41302 | 93.6627 | 451614.4233 | 0.11276
| FALSE | 043SMPL.d | 2023-01-18 14:00 | Sample |  | 172198-001 | 1 | 0.44125 | 0.060712 | 0.18819 | 0.0048469 | 0.0061478 | 0.0035437 | 0.13076 | 0.12274 | 0.14187 | <0.000 | <0.000 | <0.000 | <0.000 | 0.30624 | 0.34833 | 0.30957 | 0.34719 | 0.31096 | 0.34706 | 0.0067371 | 0.0077641 | 95.209 | 17601.4533 | 1.0714 | 107.0817 | 880425.77 | 0.19664 | 103.4482 | 341888.4567 | 0.46968 | 101.9723 | 138551.2967 | 1.034 | 98.3454 | 188950.9833 | 0.85679 | 101.23 | 1225877.6133 | 0.86242 | 96.8056 | 633985.1067 | 0.47074 | 97.9172 | 711346.1533 | 0.54263 | 96.6541 | 466038.0633 | 0.82031
| FALSE | 044SMPL.d | 2023-01-18 14:04 | Sample |  | 172203-001 | 1 | 0.3278 | 0.10772 | 0.17816 | 0.0041646 | 0.0050931 | 0.0031051 | 0.096615 | 0.08636 | 0.098793 | <0.000 | <0.000 | <0.000 | <0.000 | 2.8575 | 3.1778 | 2.9367 | 3.2593 | 2.909 | 3.201 | 0.092397 | 0.10184 | 96.6051 | 17859.56 | 1.5292 | 103.5622 | 851488.5167 | 0.45475 | 100.545 | 332293.51 | 0.87813 | 98.5426 | 133891.22 | 0.57476 | 97.2194 | 186787.5333 | 0.10094 | 101.6364 | 1230799.1633 | 0.52625 | 96.9887 | 635184.3267 | 0.24299 | 95.5622 | 694237.3 | 0.70475 | 95.2426 | 459232.1433 | 0.26976
| FALSE | 045SMPL.d | 2023-01-18 14:07 | Sample |  | 172185-004 | 1 | 0.062294 | 0.010481 | 0.0055159 | <0.000 | <0.000 | <0.000 | 0.09018 | 0.078065 | 0.093159 | <0.000 | <0.000 | <0.000 | <0.000 | 0.98195 | 1.0954 | 1.0056 | 1.1108 | 0.99665 | 1.0927 | 0.0034603 | 0.0029184 | 95.6482 | 17682.6533 | 1.0196 | 103.5349 | 851263.6667 | 0.15001 | 101.5882 | 335741.28 | 1.244 | 96.9181 | 131684.0033 | 0.95547 | 96.8748 | 186125.4933 | 0.34654 | 101.9027 | 1234024.4333 | 1.246 | 96.6748 | 633128.1733 | 0.24146 | 96.6541 | 702169.6767 | 0.049246 | 96.4763 | 465180.72 | 0.23741
| FALSE | 046SMPL.d | 2023-01-18 14:11 | Sample |  | 172185-003 | 1 | 0.042807 | 0.015933 | <0.000 | 0.00074606 | 0.0017126 | <0.000 | 0.068384 | 0.060418 | 0.070909 | <0.000 | <0.000 | <0.000 | <0.000 | 0.54674 | 0.61082 | 0.56427 | 0.62585 | 0.55786 | 0.61759 | 0.00022956 | <0.000 | 95.2936 | 17617.1067 | 1.4897 | 103.1572 | 848158.26 | 0.28678 | 99.9802 | 330426.8733 | 0.25974 | 97.2933 | 132193.7867 | 0.84446 | 98.191 | 188654.3067 | 0.79563 | 101.7433 | 1232094.4 | 0.97874 | 97.0075 | 635307.3067 | 0.38462 | 96.8731 | 703760.64 | 1.0867 | 96.7833 | 466660.8067 | 0.31469
| FALSE | 047_QC2.d | 2023-01-18 14:15 | QC2 |  | qc 2 | 1 | 10.0899 | 10.1187 | 10.1572 | 9.0889 | 10.3176 | 10.2188 | 10.2175 | 8.7974 | 10.2101 | 0.84637 | 0.96939 | 0.88859 | 0.96096 | 8.8843 | 9.8209 | 9.1939 | 10.0995 | 9.0813 | 9.9242 | 7.8047 | 8.4147 | 96.431 | 17827.3767 | 0.99958 | 103.8141 | 853559.8333 | 0.43203 | 103.0977 | 340730.2133 | 0.91505 | 98.5032 | 133837.7833 | 0.60982 | 98.9506 | 190113.72 | 1.0594 | 101.6712 | 1231221.2167 | 0.81704 | 97.9068 | 641196.8667 | 0.43312 | 95.5825 | 694384.6733 | 0.3866 | 97.2257 | 468793.92 | 0.12366
| FALSE | 048SMPL.d | 2023-01-18 14:18 | Sample |  | blk | 1 | 0.0014527 | 0.017901 | 0.0044334 | 0.003226 | 0.0027448 | 0.0014728 | 0.0084079 | 0.008129 | 0.0095417 | 0.0086712 | 0.0065579 | 0.0092467 | <0.000 | 0.0054926 | 0.0064847 | 0.0028439 | 0.0054953 | 0.0045797 | 0.006009 | 0.021115 | 0.018057 | 95.0165 | 17565.8767 | 1.61 | 95.2056 | 782780.25 | 11.7594 | 100.8077 | 333161.6833 | 0.99071 | 97.7256 | 132781.14 | 0.49564 | 97.4321 | 187196.3567 | 0.75318 | 91.4894 | 1107921.0467 | 15.1422 | 96.8491 | 634269.83 | 0.43567 | 88.8255 | 645296.9 | 9.6674 | 96.8084 | 466781.82 | 0.40594
| FALSE | 049SMPL.d | 2023-01-18 14:22 | Sample |  | 172185-005 | 1 | 0.33902 | 0.036831 | 0.05976 | 0.00048032 | <0.000 | <0.000 | 0.078166 | 0.069345 | 0.080521 | <0.000 | <0.000 | <0.000 | <0.000 | 0.2966 | 0.32516 | 0.29963 | 0.33361 | 0.29859 | 0.32807 | 0.0066781 | 0.0073503 | 95.9977 | 17747.27 | 1.1139 | 102.0203 | 838811.0533 | 0.0536 | 100.3165 | 331538.2967 | 1.2861 | 97.7204 | 132774.1267 | 0.69033 | 98.4555 | 189162.5233 | 0.5922 | 100.807 | 1220755.6033 | 0.083054 | 96.9178 | 634719.89 | 0.57049 | 94.6936 | 687927.35 | 0.98129 | 95.838 | 462102.7067 | 0.21928
| FALSE | 050SMPL.d | 2023-01-18 14:26 | Sample |  | 172202-001 | 1 | 0.38638 | 0.028589 | 0.010401 | 0.039312 | 0.038852 | 1.1458 | 0.49166 | 0.43626 | 0.48819 | <0.000 | <0.000 | <0.000 | <0.000 | 1.712 | 1.9136 | 1.7456 | 1.9197 | 1.7281 | 1.9064 | 0.0096539 | 0.01002 | 96.9244 | 17918.5833 | 1.799 | 103.2666 | 849057.5033 | 0.41536 | 102.8888 | 340039.7 | 0.30217 | 100.4554 | 136490.17 | 0.78421 | 99.8868 | 191912.4267 | 1.3245 | 100.3582 | 1215320.3367 | 0.72567 | 96.9967 | 635236.92 | 0.15672 | 92.0074 | 668413.0033 | 0.18695 | 92.8125 | 447514.95 | 0.39208
| FALSE | 051SMPL.d | 2023-01-18 14:30 | Sample |  | 172146-001 | 1 | 0.091691 | 0.0055135 | <0.000 | 0.0038853 | 0.00082809 | 0.0053216 | 0.096586 | 0.084218 | 0.09352 | <0.000 | <0.000 | <0.000 | <0.000 | 0.64193 | 0.70891 | 0.65171 | 0.71814 | 0.6457 | 0.70977 | 0.015825 | 0.016119 | 94.5651 | 17482.42 | 1.9916 | 102.152 | 839893.45 | 0.792 | 101.2792 | 334720.2033 | 0.64052 | 97.7302 | 132787.4233 | 0.18612 | 97.5491 | 187421.1233 | 0.50682 | 100.2835 | 1214415.6933 | 0.6884 | 96.8577 | 634326.1133 | 0.37432 | 92.584 | 672601.7833 | 0.36408 | 93.3681 | 450193.8233 | 0.47065
| FALSE | 052SMPL.d | 2023-01-18 14:33 | Sample |  | 172205-001 | 1 | 5.9757 | 0.0039103 | 0.10038 | 0.0031769 | 0.0025211 | 0.0021719 | 0.064759 | 0.061058 | 0.064557 | <0.000 | <0.000 | <0.000 | <0.000 | 0.46989 | 0.51136 | 0.46837 | 0.51779 | 0.47107 | 0.51271 | 0.001315 | 0.00054595 | 92.8079 | 17157.5733 | 0.65878 | 97.3148 | 800122.14 | 0.64498 | 97.5826 | 322503.0567 | 0.32456 | 95.2465 | 129412.84 | 0.98419 | 92.4199 | 177566.4167 | 0.97627 | 94.8821 | 1149005.6567 | 1.1783 | 92.5197 | 605916.54 | 0.77826 | 83.1053 | 603741.34 | 1.015 | 84.6731 | 408268.8833 | 0.78876
| FALSE | 053SMPL.d | 2023-01-18 14:37 | Sample |  | 172185-001 | 1 | 0.065917 | 0.022465 | 0.028233 | 0.0021311 | 0.001477 | 0.00066359 | 0.057944 | 0.060476 | 0.058583 | <0.000 | <0.000 | <0.000 | <0.000 | 1.0192 | 1.0174 | 1.0468 | 1.0209 | 1.0364 | 1.0123 | 0.0055624 | 0.0045971 | 95.2631 | 17611.47 | 1.0171 | 92.5502 | 760947.8867 | 19.1108 | 99.8217 | 329903.18 | 1.1346 | 97.1399 | 131985.35 | 0.97269 | 97.5464 | 187415.8467 | 0.18347 | 86.6725 | 1049589.5867 | 20.0425 | 96.5789 | 632500.5033 | 0.35052 | 88.1726 | 640553.5867 | 19.0371 | 95.0371 | 458241.4533 | 0.97944
| FALSE | 054SMPL.d | 2023-01-18 14:41 | Sample |  | 172185-002 | 1 | 0.058795 | 0.026943 | <0.000 | 0.0033747 | 0.0041317 | 0.016637 | 0.093988 | 0.082768 | 0.10286 | <0.000 | <0.000 | <0.000 | <0.000 | 1.2069 | 1.3362 | 1.2036 | 1.335 | 1.1995 | 1.3304 | 0.0044948 | 0.0041786 | 96.9001 | 17914.0967 | 0.59685 | 102.4992 | 842748.67 | 0.24809 | 101.6075 | 335805.2 | 0.49642 | 97.8869 | 133000.3433 | 0.99608 | 98.5578 | 189359.1333 | 0.096036 | 101.4438 | 1228467.5 | 1.0622 | 97.1345 | 636139.2467 | 0.22069 | 93.5024 | 679273.7867 | 0.7786 | 95.1151 | 458617.5 | 0.43792
| FALSE | 055SMPL.d | 2023-01-18 14:45 | Sample |  | 172204-001 | 1 | 0.42971 | 0.01192 | <0.000 | 0.014434 | 0.01598 | 0.020842 | 0.10026 | 0.086121 | 0.10209 | <0.000 | <0.000 | <0.000 | <0.000 | 10.0344 | 11.2833 | 10.2744 | 11.4017 | 10.1516 | 11.247 | 0.068578 | 0.076767 | 93.9478 | 17368.3067 | 1.5904 | 102.1303 | 839715.63 | 21.963 | 98.3213 | 324944.5533 | 1.4058 | 95.8501 | 130232.9767 | 1.6681 | 92.8029 | 178302.1 | 1.4325 | 93.93 | 1137475.7633 | 23.8305 | 96.5896 | 632570.38 | 5.392 | 89.5366 | 650462.6367 | 16.4166 | 88.4404 | 426433.9533 | 0.73843
| FALSE | 056SMPL.d | 2023-01-18 14:48 | Sample |  | 172209-002 | 1 | 3.5863 | 1.3453e-05 | 0.030033 | 0.00029862 | 0.0012303 | <0.000 | 0.07572 | 0.072399 | 0.077598 | <0.000 | <0.000 | <0.000 | <0.000 | 0.73403 | 0.83096 | 0.74274 | 0.81338 | 0.73717 | 0.81457 | 0.0066175 | 0.0063455 | 98.4164 | 18194.4133 | 1.1578 | 99.9623 | 821890.0833 | 0.46884 | 99.0767 | 327441.04 | 0.18872 | 96.5151 | 131136.4167 | 0.79462 | 95.8118 | 184083.1933 | 0.60243 | 99.6096 | 1206255.4333 | 0.58978 | 95.7467 | 627050.2567 | 0.48483 | 88.3627 | 641934.4833 | 0.53194 | 90.0579 | 434232.9333 | 0.23994
| FALSE | 057SMPL.d | 2023-01-18 14:52 | Sample |  | 172196-001 | 1 | 0.72979 | 0.11063 | 0.13764 | 0.01588 | 0.0021763 | 0.0028657 | 1.0367 | 1.0115 | 1.04 | <0.000 | <0.000 | 0.060073 | 0.0094199 | 1.9415 | 2.155 | 1.9191 | 2.1424 | 1.9148 | 2.1143 | 0.81393 | 0.87508 | 93.5661 | 17297.7367 | 1.4203 | 97.4503 | 801236.3667 | 0.27019 | 99.9526 | 330335.8533 | 0.57785 | 104.4466 | 141913.1633 | 0.89778 | 86.571 | 166328.8667 | 0.96791 | 78.0663 | 945369.7 | 0.27281 | 83.8073 | 548858.4567 | 0.29208 | 69.8332 | 507322.1933 | 0.52499 | 71.4896 | 344701.8033 | 0.89714
| FALSE | 058SMPL.d | 2023-01-18 14:56 | Sample |  | 172208-001 | 1 | 0.20545 | 0.011726 | 0.10104 | 0.049298 | 0.025201 | 0.0267 | 0.058359 | 0.33909 | 0.068862 | <0.000 | <0.000 | 0.026869 | <0.000 | 0.12871 | 0.16307 | 0.13352 | 0.14937 | 0.13178 | 0.15407 | 0.0098335 | 0.0099061 | 98.8981 | 18283.47 | 1.948 | 77.585 | 637903.5667 | 0.18529 | 83.2524 | 275142.95 | 0.24648 | 102.5564 | 139344.9267 | 0.44994 | 87.0155 | 167182.8533 | 0.68369 | 68.9749 | 835274.8233 | 0.23998 | 75.5828 | 494995.4867 | 0.63086 | 59.3171 | 430925.23 | 0.56098 | 59.9074 | 288856.11 | 0.42399
| FALSE | 059_QC2.d | 2023-01-18 15:00 | QC2 |  | qc 2 | 1 | 10.4158 | 10.3283 | 10.896 | 8.881 | 9.644 | 9.47 | 9.6891 | 8.5107 | 9.6438 | 0.93944 | 0.9484 | 0.96177 | 0.94611 | 9.6757 | 9.9754 | 9.9156 | 10.1085 | 9.7879 | 9.9541 | 8.2439 | 8.1995 | 119.1514 | 22027.7433 | 1.8586 | 118.0973 | 970995.82 | 13.76 | 122.6203 | 405250.7767 | 0.25492 | 120.1467 | 163245.0967 | 0.22402 | 116.2234 | 223300.04 | 0.80402 | 96.0426 | 1163059.2967 | 12.0522 | 103.9801 | 680970.9767 | 0.68603 | 85.5159 | 621253.2 | 7.4857 | 96.0868 | 463302.7433 | 0.72145
| FALSE | 060SMPL.d | 2023-01-18 15:03 | Sample |  | blk | 1 | 0.0057552 | 0.0289 | 0.04306 | 0.0020823 | 0.006226 | <0.000 | 0.01428 | 0.067647 | 0.017148 | 0.010726 | 0.0038262 | 0.01585 | <0.000 | 0.013358 | 0.011187 | 0.011217 | 0.012742 | 0.012326 | 0.0096156 | 0.027058 | 0.024408 | 112.6024 | 20817.0133 | 1.2049 | 110.4748 | 908323.65 | 24.6627 | 118.5559 | 391818.16 | 0.23909 | 114.5013 | 155574.58 | 0.99453 | 112.1994 | 215568.67 | 0.90698 | 90.2799 | 1093274.1167 | 24.9803 | 102.4483 | 670939.47 | 1.095 | 84.8987 | 616769.91 | 20.4187 | 96.0269 | 463013.53 | 1.0826
| FALSE | 061SMPL.d | 2023-01-18 15:07 | Sample |  | 172209-001 | 1 | 5.2243 | 0.0039828 | <0.000 | 0.00085553 | 0.0036456 | <0.000 | 0.087045 | 0.092897 | 0.089644 | <0.000 | <0.000 | <0.000 | <0.000 | 0.71671 | 0.80106 | 0.69625 | 0.78733 | 0.70454 | 0.78281 | 0.0076862 | 0.0079529 | 107.0115 | 19783.42 | 1.9775 | 105.8199 | 870051.3167 | 0.926 | 106.7255 | 352719.6167 | 1.267 | 104.8933 | 142520.1133 | 0.30904 | 102.5568 | 197042.41 | 0.24753 | 96.889 | 1173308.82 | 0.66073 | 97.435 | 638106.7433 | 0.45703 | 84.9367 | 617045.5333 | 0.46291 | 88.9556 | 428918.0833 | 0.78208
| FALSE | 062SMPL.d | 2023-01-18 15:11 | Sample |  | 172197-001 | 1 | 0.59914 | 0.51036 | 0.49989 | 0.10463 | 0.0080593 | 0.0027578 | 1.2789 | 1.2729 | 1.2692 | <0.000 | <0.000 | <0.000 | <0.000 | 1.9361 | 2.1823 | 1.8771 | 2.0934 | 1.8971 | 2.1112 | 0.03787 | 0.0387 | 90.2565 | 16685.8933 | 0.27222 | 74.6674 | 613915.3633 | 1.0364 | 81.2435 | 268503.4433 | 1.1676 | 88.6066 | 120391.05 | 0.11056 | 73.7051 | 141609.67 | 0.80695 | 54.6677 | 662016.7733 | 2.1673 | 65.2715 | 427466.2767 | 0.22792 | 45.8386 | 333006.72 | 3.6336 | 51.4135 | 247901.01 | 0.41258
| FALSE | 063SMPL.d | 2023-01-18 15:14 | Sample |  | 172169-001 | 1 | 0.30639 | 0.0071293 | <0.000 | 0.0026664 | 0.0058451 | 0.0020104 | 0.19343 | 0.1944 | 0.19975 | <0.000 | <0.000 | <0.000 | <0.000 | 0.26537 | 0.28207 | 0.26326 | 0.29061 | 0.26472 | 0.2827 | 0.92309 | 0.98113 | 111.1581 | 20549.9967 | 0.38719 | 123.2975 | 1013752.1367 | 1.0931 | 116.3651 | 384577.95 | 0.65258 | 112.2447 | 152508.4567 | 0.36322 | 109.2748 | 209949.6333 | 0.84062 | 99.9051 | 1209833.34 | 1.5826 | 100.8938 | 660758.8367 | 0.80138 | 86.0639 | 625234.5767 | 0.76841 | 92.0405 | 443792.3567 | 0.28656
| FALSE | 064SMPL.d | 2023-01-18 15:18 | Sample |  | 172139-001 | 1 | 0.52822 | 0.0062626 | 0.056246 | 0.0054945 | <0.000 | 0.0011016 | 0.075313 | 0.067261 | 0.078477 | <0.000 | <0.000 | <0.000 | <0.000 | 2.0336 | 2.2558 | 2.042 | 2.2839 | 2.0319 | 2.243 | 0.6766 | 0.74214 | 102.551 | 18958.8 | 1.0419 | 106.9968 | 879727.8167 | 0.82526 | 109.6478 | 362377.6333 | 0.74267 | 103.7078 | 140909.3233 | 0.38444 | 99.9775 | 192086.7967 | 0.95754 | 96.1302 | 1164119.8433 | 0.67009 | 95.3334 | 624343.75 | 0.23314 | 81.3762 | 591179.3033 | 0.2684 | 85.8564 | 413974.7067 | 0.60389
| FALSE | 065SMPL.d | 2023-01-18 15:22 | Sample |  | 172144-001 | 1 | 3.1209 | 0.0068866 | 0.028397 | 0.0070456 | 0.0041335 | 0.0052372 | 0.13884 | 0.13189 | 0.1404 | <0.000 | <0.000 | <0.000 | <0.000 | 0.77026 | 0.85522 | 0.79866 | 0.86354 | 0.78032 | 0.85336 | 0.067841 | 0.073223 | 121.4813 | 22458.4667 | 1.6257 | 114.8604 | 944382.0933 | 2.7396 | 113.8827 | 376373.5933 | 0.24582 | 112.4433 | 152778.3233 | 0.73552 | 107.6166 | 206763.7133 | 0.19142 | 99.0042 | 1198924.3367 | 0.3708 | 100.3946 | 657489.37 | 0.90971 | 85.7479 | 622938.92 | 0.19493 | 90.5413 | 436563.71 | 0.79906
| FALSE | 066SMPL.d | 2023-01-18 15:26 | Sample |  | 172225-001 T.As | 1 | 0.081429 | 0.11663 | 0.091436 | 0.0027553 | 0.0032102 | 0.0027675 | 0.11075 | 0.095974 | 0.11313 | <0.000 | <0.000 | <0.000 | <0.000 | 0.6123 | 0.65731 | 0.60784 | 0.67395 | 0.60884 | 0.66297 | <0.000 | <0.000 | 106.2702 | 19646.3667 | 1.1693 | 106.5751 | 876260.4467 | 0.57594 | 109.5393 | 362019.1333 | 0.30802 | 110.1237 | 149626.6567 | 0.56071 | 102.2606 | 196473.2667 | 0.36954 | 91.2772 | 1105351.76 | 0.92479 | 95.0751 | 622651.7867 | 0.4354 | 73.9388 | 537148.21 | 0.26464 | 78.4019 | 378031.1333 | 0.30146
| FALSE | 067SMPL.d | 2023-01-18 15:29 | Sample |  | 172218-001 | 1 | 0.19152 | 0.027951 | 0.11539 | <0.000 | <0.000 | <0.000 | 0.056187 | 0.064353 | 0.058044 | <0.000 | <0.000 | <0.000 | <0.000 | 0.20876 | 0.23444 | 0.20697 | 0.2285 | 0.20897 | 0.22934 | 0.00059186 | 1.7346e-05 | 113.2042 | 20928.2767 | 0.57936 | 120.3776 | 989744.3267 | 0.72795 | 114.0052 | 376778.3867 | 1.6792 | 112.1451 | 152373.13 | 0.25832 | 108.4847 | 208431.5367 | 0.40927 | 101.1259 | 1224617.9067 | 0.66859 | 100.0665 | 655340.8 | 0.69166 | 85.8709 | 623832.4933 | 0.40174 | 90.7954 | 437789.0567 | 0.74576
| FALSE | 068SMPL.d | 2023-01-18 15:33 | Sample |  | 172213-001 | 1 | 1.6055 | 0.51259 | 0.67866 | 0.0093012 | 0.012189 | 0.010129 | 0.17845 | 0.16879 | 0.17919 | <0.000 | <0.000 | <0.000 | <0.000 | 0.63184 | 0.71814 | 0.64208 | 0.6918 | 0.63719 | 0.69458 | 0.03584 | 0.04001 | 108.5457 | 20067.0367 | 2.2862 | 121.9782 | 1002904.6733 | 1.1414 | 114.3808 | 378019.78 | 1.0771 | 112.8317 | 153306.0667 | 0.60081 | 109.6197 | 210612.2667 | 0.47761 | 101.8651 | 1233568.5167 | 0.68185 | 100.8567 | 660515.68 | 0.18569 | 86.7044 | 629887.9367 | 0.21818 | 91.1679 | 439585.1633 | 0.70151
| FALSE | 069SMPL.d | 2023-01-18 15:37 | Sample |  | 172212-001 | 1 | 0.23079 | 0.068357 | 0.15215 | 0.0075515 | 0.0055393 | 0.0077461 | 0.10477 | 0.099867 | 0.10325 | <0.000 | <0.000 | <0.000 | <0.000 | 0.47486 | 0.52122 | 0.47593 | 0.52058 | 0.47478 | 0.51702 | 0.14614 | 0.15645 | 108.4372 | 20046.9833 | 1.2386 | 124.5119 | 1023736.8167 | 1.3789 | 118.4654 | 391519.3033 | 0.86789 | 116.0353 | 157658.8567 | 0.21097 | 104.5397 | 200852.1967 | 0.56156 | 98.2408 | 1189679.7833 | 0.67765 | 97.937 | 641394.4233 | 0.84026 | 81.5264 | 592270.5567 | 0.79128 | 86.6512 | 417807.0733 | 0.60338
| FALSE | 070SMPL.d | 2023-01-18 15:41 | Sample |  | 172223-001 | 1 | 0.40554 | 0.25498 | 0.40677 | <0.000 | 0.00092567 | <0.000 | 0.091677 | 0.083708 | 0.09496 | <0.000 | <0.000 | <0.000 | <0.000 | 1.0326 | 1.1094 | 0.99282 | 1.0914 | 0.9989 | 1.0909 | 0.24996 | 0.27406 | 108.4314 | 20045.9167 | 0.56034 | 176.3814 | 1450207.8433 | 1.0038 | 168.241 | 556023.5867 | 1.046 | 163.0153 | 221491.2233 | 0.53346 | 106.1138 | 203876.48 | 1.1449 | 102.0135 | 1235366.03 | 0.77142 | 101.6472 | 665692.97 | 0.38391 | 86.7485 | 630207.7433 | 0.57889 | 92.2327 | 444719.0867 | 0.34495
| FALSE | 071_QC2.d | 2023-01-18 15:44 | QC2 |  | qc 2 | 1 | 10.144 | 10.1848 | 10.9823 | 8.0833 | 9.6145 | 9.6743 | 9.8863 | 7.8323 | 9.9211 | 0.83363 | 0.93707 | 0.85169 | 0.92548 | 9.0715 | 9.9954 | 9.1423 | 10.0113 | 9.0874 | 9.8893 | 7.6384 | 8.2062 | 107.3956 | 19854.4267 | 1.4451 | 120.0843 | 987332.8767 | 0.54174 | 114.5288 | 378508.8567 | 0.95455 | 110.9876 | 150800.5333 | 0.37155 | 109.4553 | 210296.4267 | 0.063908 | 101.8684 | 1233609.2 | 0.73104 | 101.2251 | 662928.5067 | 0.30281 | 88.2253 | 640936.9933 | 0.39641 | 94.5337 | 455814.07 | 1.1473
| TRUE | 072SMPL.d | 2023-01-18 15:48 | Sample |  | blk | 1
| FALSE | 073SMPL.d | 2023-01-18 15:52 | Sample |  | blk | 1 | <0.000 | 0.015104 | 0.0036321 | <0.000 | <0.000 | 0.0015447 | <0.000 | 0.033227 | 0.00024578 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.0035293 | <0.000 | <0.000 | <0.000 | <0.000 | 0.00076777 | 0.00024675 | 107.6006 | 19892.32 | 0.88767 | 127.7138 | 1050062.53 | 37.5351 | 90.9515 | 300587.81 | 12.4268 | 109.8978 | 149319.77 | 0.93673 | 109.3746 | 210141.4667 | 0.48622 | 108.211 | 1310417.0833 | 35.1455 | 100.1677 | 656003.84 | 0.60108 | 104.3636 | 758177.6167 | 35.4048 | 94.0441 | 453453.3033 | 0.63987
| FALSE | 074SMPL.d | 2023-01-18 15:56 | Sample |  | 172224-001 | 1 | 0.053482 | 0.038527 | 0.0059704 | 1.4202e-05 | 0.00069669 | <0.000 | 0.063812 | 0.083184 | 0.065935 | <0.000 | <0.000 | <0.000 | <0.000 | 0.81225 | 0.91257 | 0.801 | 0.87605 | 0.8014 | 0.8769 | 0.0033271 | 0.0027443 | 106.2404 | 19640.86 | 0.32422 | 116.288 | 956119.77 | 4.2056 | 113.0866 | 373742.49 | 1.5448 | 108.2427 | 147070.9567 | 0.91585 | 107.5343 | 206605.7067 | 0.13137 | 100.5759 | 1217956.63 | 0.098985 | 99.7497 | 653266.3967 | 1.0725 | 88.2702 | 641262.7833 | 0.48216 | 92.419 | 445617.3733 | 0.25427
| FALSE | 075SMPL.d | 2023-01-18 15:59 | Sample |  | 172217-001 | 1 | 0.74287 | 0.19264 | 0.5713 | 0.019865 | 0.022531 | 0.022724 | 0.10982 | 0.112 | 0.10953 | <0.000 | <0.000 | <0.000 | <0.000 | 6.8729 | 7.5659 | 6.5003 | 7.048 | 6.63 | 7.2081 | 1.1098 | 1.2047 | 111.5187 | 20616.6733 | 1.7573 | 179.3495 | 1474611.3133 | 0.33594 | 173.7442 | 574211.2167 | 0.56141 | 170.3952 | 231518.3967 | 0.81541 | 106.5391 | 204693.53 | 0.37347 | 102.8083 | 1244991.05 | 0.48138 | 102.2692 | 669766.1967 | 0.38946 | 86.7154 | 629967.5167 | 0.55731 | 91.6921 | 442112.8067 | 0.34749
| FALSE | 076SMPL.d | 2023-01-18 16:03 | Sample |  | 172216-001 | 1 | 0.36636 | 0.048371 | 0.065135 | 0.0020806 | 0.0021884 | 0.00088004 | 0.096754 | 0.10139 | 0.10332 | <0.000 | <0.000 | <0.000 | <0.000 | 0.55124 | 0.59514 | 0.55127 | 0.60552 | 0.54552 | 0.59484 | 0.0060764 | 0.0054284 | 107.4982 | 19873.39 | 0.79759 | 124.0412 | 1019866.53 | 1.0768 | 115.1028 | 380405.8967 | 1.017 | 113.0354 | 153582.8233 | 0.93052 | 107.2606 | 206079.8167 | 0.79552 | 101.8733 | 1233667.7333 | 0.19545 | 100.0261 | 655076.6233 | 0.38432 | 88.8984 | 645826.5267 | 0.69066 | 92.491 | 445964.5667 | 0.68214
| FALSE | 077SMPL.d | 2023-01-18 16:07 | Sample |  | 172214-001 | 1 | 0.25719 | 0.12644 | 0.16551 | 0.070969 | 0.075971 | 0.081728 | 0.23033 | 0.22602 | 0.2408 | <0.000 | <0.000 | <0.000 | <0.000 | 8.0725 | 8.8299 | 8.0385 | 8.7661 | 7.9756 | 8.6728 | 0.0031121 | 0.003113 | 105.1211 | 19433.9333 | 0.40876 | 108.3977 | 891245.71 | 0.079466 | 111.2065 | 367529.0033 | 0.46026 | 108.368 | 147241.2067 | 0.52745 | 103.5543 | 198958.7667 | 0.89934 | 99.5543 | 1205585.6233 | 0.30484 | 97.9292 | 641343.4433 | 0.92722 | 82.4582 | 599039.97 | 0.98619 | 86.4546 | 416858.7433 | 0.62592
| FALSE | 078SMPL.d | 2023-01-18 16:11 | Sample |  | 172230-001 | 1 | 0.10806 | 0.026872 | 0.049335 | 0.00081581 | <0.000 | <0.000 | 0.10542 | 0.099754 | 0.11157 | <0.000 | <0.000 | <0.000 | <0.000 | 0.51534 | 0.57086 | 0.50959 | 0.55405 | 0.50803 | 0.54964 | 0.010326 | 0.011345 | 105.5782 | 19518.44 | 0.73933 | 107.6498 | 885096.9233 | 0.3446 | 109.5061 | 361909.3067 | 0.58982 | 106.7019 | 144977.37 | 0.21148 | 102.1536 | 196267.64 | 0.40931 | 98.2437 | 1189714.9367 | 0.59423 | 97.1832 | 636457.8533 | 1.1489 | 82.9012 | 602258.4367 | 0.36639 | 87.1349 | 420139.3433 | 0.67826
| FALSE | 079SMPL.d | 2023-01-18 16:14 | Sample |  | 172231-001 | 1 | 0.090685 | 0.049825 | 0.083742 | <0.000 | <0.000 | <0.000 | 0.13612 | 0.11822 | 0.1343 | <0.000 | <0.000 | <0.000 | <0.000 | 0.45142 | 0.48476 | 0.43918 | 0.49933 | 0.4436 | 0.47615 | 0.015185 | 0.016031 | 159.5117 | 29489.2267 | 0.81255 | 107.239 | 881719.24 | 3.6456 | 107.6288 | 355705.05 | 0.97196 | 105.2457 | 142998.8733 | 0.34347 | 100.974 | 194001.23 | 0.20982 | 96.6214 | 1170068.4533 | 0.036594 | 95.339 | 624380.3367 | 0.63379 | 79.4289 | 577032.5567 | 0.29417 | 83.6016 | 403102.49 | 0.36669
| FALSE | 080SMPL.d | 2023-01-18 16:18 | Sample |  | 172232-001 Pb | 1 | 0.073791 | 0.2168 | 0.29093 | 0.041393 | 0.040809 | 0.047449 | 0.44796 | 0.39429 | 0.4724 | <0.000 | <0.000 | <0.000 | <0.000 | 5.0676 | 6.3924 | 4.8414 | 6.0811 | 4.8768 | 6.0833 | 0.00015145 | 0.00034107 | 104.8441 | 19382.73 | 0.51588 | 110.144 | 905603.5367 | 3.5691 | 110.5218 | 365266.14 | 0.58951 | 107.0841 | 145496.7433 | 0.59807 | 104.6472 | 201058.6567 | 0.63387 | 101.2347 | 1225934.8567 | 0.56867 | 98.7367 | 646632.0567 | 0.55318 | 192.2261 | 1396478.47 | 1.0009 | 177.1786 | 854303.52 | 0.36484
| FALSE | 081SMPL.d | 2023-01-18 16:22 | Sample |  | 172234-001 | 1 | 0.19166 | 0.043396 | 0.083271 | 0.0026784 | 0.0060038 | 0.0037308 | 0.10702 | 0.12639 | 0.10531 | <0.000 | <0.000 | <0.000 | <0.000 | 0.94833 | 0.94518 | 0.92342 | 0.90957 | 0.93564 | 0.91432 | 0.0064307 | 0.0054015 | 104.02 | 19230.36 | 2.0309 | 101.7347 | 836462.47 | 17.8253 | 113.8105 | 376135.0067 | 1.0958 | 109.5526 | 148850.7667 | 0.92109 | 106.2182 | 204076.9367 | 0.41639 | 88.5782 | 1072667.1033 | 19.8129 | 99.6438 | 652572.6867 | 0.59863 | 78.3118 | 568917.6233 | 12.7979 | 90.3449 | 435616.7133 | 0.20857
| FALSE | 082SMPL.d | 2023-01-18 16:26 | Sample |  | 172235-007 | 1 | 0.15388 | 0.024131 | 0.096342 | <0.000 | <0.000 | <0.000 | 0.087124 | 0.092002 | 0.087566 | <0.000 | <0.000 | <0.000 | <0.000 | 0.48799 | 0.54411 | 0.48711 | 0.52983 | 0.484 | 0.52841 | 0.0048786 | 0.0049645 | 105.1513 | 19439.5067 | 0.83835 | 112.1386 | 922003.44 | 5.3209 | 111.8817 | 369760.57 | 0.288 | 108.2176 | 147036.89 | 0.23129 | 107.164 | 205894.09 | 0.62524 | 101.6246 | 1230656.89 | 0.19445 | 99.3783 | 650833.9333 | 0.96086 | 86.3136 | 627048.3833 | 0.34795 | 90.3393 | 435589.8533 | 0.5045
| FALSE | 083SMPL.d | 2023-01-18 16:29 | Sample |  | 172237-001 | 1 | 0.58425 | 0.012331 | 0.096978 | 0.0039026 | 0.005916 | 0.0041051 | 0.08905 | 0.087738 | 0.083262 | <0.000 | <0.000 | <0.000 | <0.000 | 1.1087 | 1.22 | 1.0815 | 1.1844 | 1.0815 | 1.1814 | <0.000 | <0.000 | 105.7047 | 19541.83 | 0.21762 | 121.5504 | 999387.0333 | 0.75253 | 115.3887 | 381351.0367 | 0.067844 | 111.7392 | 151821.7233 | 0.64874 | 105.8145 | 203301.4733 | 0.13257 | 100.4698 | 1216671.9 | 1.0601 | 99.0264 | 648529.2433 | 0.40391 | 84.9776 | 617342.84 | 0.61698 | 88.926 | 428775.2633 | 0.80282
| FALSE | 084_QC2.d | 2023-01-18 16:33 | QC2 |  | qc 2 | 1 | 10.2165 | 10.2989 | 10.7882 | 8.8093 | 9.8844 | 9.7995 | 10.0437 | 8.5696 | 10.0342 | 0.8749 | 0.95146 | 0.87775 | 0.95601 | 9.2935 | 10.3411 | 9.2838 | 10.2017 | 9.2258 | 10.0925 | 7.6919 | 8.3742 | 105.2833 | 19463.92 | 1.6063 | 109.6862 | 901839.8733 | 0.1795 | 112.6349 | 372249.83 | 1.3895 | 109.0114 | 148115.3167 | 0.54337 | 107.7866 | 207090.3467 | 0.79161 | 101.2724 | 1226391.5 | 0.9194 | 100.2611 | 656615.2733 | 0.27911 | 85.8661 | 623797.4567 | 0.26282 | 90.3265 | 435528.01 | 0.29184
| FALSE | 085SMPL.d | 2023-01-18 16:37 | Sample |  | blk | 1 | <0.000 | 0.0073667 | 0.016131 | <0.000 | <0.000 | <0.000 | 0.00017692 | 0.029865 | 0.0017131 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 3.4901e-05 | <0.000 | <0.000 | <0.000 | <0.000 | 0.0076721 | 0.0045025 | 105.5545 | 19514.06 | 1.5657 | 113.8438 | 936023.8833 | 4.4029 | 146.3491 | 483672.5833 | 35.3627 | 107.9647 | 146693.2767 | 1.4326 | 106.7597 | 205117.41 | 1.7866 | 101.4795 | 1228899.3067 | 0.79022 | 98.4796 | 644948.3833 | 0.83655 | 86.0749 | 625314.8033 | 0.45941 | 89.4542 | 431321.9333 | 1.7011
| FALSE | 086SMPL.d | 2023-01-18 16:40 | Sample |  | 172238-001 | 1 | 0.25138 | 0.0072899 | 0.032231 | <0.000 | <0.000 | <0.000 | 0.067288 | 0.076216 | 0.075066 | <0.000 | <0.000 | <0.000 | <0.000 | 0.24728 | 0.27976 | 0.23525 | 0.25662 | 0.24605 | 0.27367 | 0.037675 | 0.042444 | 103.2672 | 19091.19 | 0.29236 | 104.7835 | 861529.7667 | 0.1834 | 107.4359 | 355067.6133 | 1.1402 | 105.3058 | 143080.5767 | 1.1615 | 103.2861 | 198443.5967 | 1.0128 | 99.2377 | 1201752.23 | 1.3543 | 97.5813 | 639064.9533 | 0.53644 | 81.605 | 592841.39 | 0.23167 | 85.5434 | 412465.47 | 0.62358
| FALSE | 087SMPL.d | 2023-01-18 16:44 | Sample |  | 172239-001 | 1 | 9.3515 | <0.000 | 0.066252 | <0.000 | <0.000 | <0.000 | 0.1001 | 0.10422 | 0.10488 | <0.000 | <0.000 | <0.000 | <0.000 | 0.42065 | 0.43892 | 0.40951 | 0.42105 | 0.41142 | 0.41762 | 0.029162 | 0.028921 | 104.2 | 19263.6533 | 0.64584 | 96.4411 | 792938.68 | 10.8536 | 107.1521 | 354129.38 | 0.19509 | 103.905 | 141177.2967 | 0.60023 | 101.3664 | 194755.3333 | 0.6843 | 88.025 | 1065967.33 | 14.4691 | 95.9965 | 628686.4933 | 0.7148 | 74.9624 | 544584.6033 | 7.6959 | 83.7607 | 403869.5233 | 0.3872
| FALSE | 088SMPL.d | 2023-01-18 16:48 | Sample |  | 172240-001 | 1 | 0.23863 | 0.032409 | 0.019386 | <0.000 | <0.000 | <0.000 | 0.15083 | 0.14406 | 0.14675 | <0.000 | <0.000 | <0.000 | <0.000 | 0.79 | 0.8659 | 0.74617 | 0.83813 | 0.76091 | 0.83179 | <0.000 | <0.000 | 104.1219 | 19249.2067 | 0.71137 | 107.3596 | 882710.6367 | 0.63241 | 108.8996 | 359904.8767 | 0.65143 | 106.2983 | 144429.0667 | 0.59392 | 104.8566 | 201460.93 | 0.037126 | 100.8494 | 1221268.5833 | 0.78397 | 98.4488 | 644746.1933 | 0.50997 | 83.7614 | 608507.3867 | 0.58061 | 86.8076 | 418561.1133 | 0.46124
| FALSE | 089SMPL.d | 2023-01-18 16:52 | Sample |  | 172241-001 | 1 | 0.19146 | 0.032504 | 0.11316 | 0.00031695 | <0.000 | 0.001534 | 0.11255 | 0.12358 | 0.11249 | <0.000 | <0.000 | <0.000 | <0.000 | 2.086 | 2.1792 | 2.043 | 2.1039 | 2.0423 | 2.0914 | 0.053679 | 0.05821 | 106.0699 | 19609.3433 | 9.0366 | 105.9056 | 870755.3533 | 0.60755 | 108.762 | 359450.2767 | 0.79317 | 111.7836 | 151881.9433 | 14.2359 | 108.1752 | 207837 | 14.1033 | 99.8119 | 1208705.44 | 0.78448 | 106.8976 | 700078.26 | 20.8462 | 80.7444 | 586589.2667 | 0.39501 | 89.9157 | 433547.5367 | 13.9925
| FALSE | 090SMPL.d | 2023-01-18 16:55 | Sample |  | 172243-001 | 1 | 0.47692 | 0.062388 | 0.088067 | 0.044934 | 0.050859 | 0.084456 | 0.15437 | 0.13268 | 0.14436 | <0.000 | <0.000 | <0.000 | <0.000 | 15.937 | 17.7237 | 15.7263 | 17.1613 | 15.6097 | 17.0568 | 0.013177 | 0.015336 | 103.2135 | 19081.2767 | 1.4131 | 115.7325 | 951552.8767 | 6.6391 | 121.5463 | 401701.2067 | 9.7372 | 111.512 | 151512.9733 | 1.5924 | 103.0453 | 197980.8267 | 1.4139 | 98.174 | 1188870.6567 | 2.3397 | 97.6907 | 639781.6867 | 1.1858 | 81.2923 | 590569.96 | 2.0145 | 85.2485 | 411043.4267 | 1.2593
| FALSE | 091SMPL.d | 2023-01-18 16:59 | Sample |  | 172244-001 | 1 | 0.014256 | 0.12579 | 0.040823 | 0.00041864 | 0.00019451 | 9.7803e-05 | 0.067074 | 0.072354 | 0.07168 | <0.000 | <0.000 | <0.000 | <0.000 | 0.59655 | 0.65958 | 0.56936 | 0.63407 | 0.57562 | 0.62989 | 0.0093596 | 0.0090343 | 100.4929 | 18578.31 | 1.3265 | 106.2757 | 873798.65 | 0.24418 | 110.0921 | 363846.08 | 0.61357 | 106.0834 | 144137.05 | 0.34257 | 102.9416 | 197781.77 | 0.39126 | 99.8079 | 1208656.2933 | 0.54496 | 97.6627 | 639598.5767 | 0.89874 | 81.9257 | 595171.1667 | 0.41581 | 85.5603 | 412546.6867 | 0.47154
| FALSE | 092SMPL.d | 2023-01-18 17:03 | Sample |  | 172196-001 dil | 10 | 0.84478 | 0.15746 | 0.29604 | <0.000 | <0.000 | <0.000 | 1.3518 | 1.3925 | 1.3746 | <0.000 | <0.000 | <0.000 | <0.000 | 1.9411 | 2.258 | 1.8434 | 2.0162 | 1.8775 | 2.0894 | 0.78607 | 0.80704 | 101.4977 | 18764.0667 | 0.77537 | 104.9106 | 862575.0033 | 0.3849 | 109.0216 | 360308.0367 | 1.0653 | 106.662 | 144923.1633 | 1.0358 | 101.5185 | 195047.5067 | 0.80514 | 97.8696 | 1185184.4933 | 0.64292 | 96.1646 | 629786.8633 | 0.36371 | 78.9592 | 573620.8433 | 0.40615 | 82.7386 | 398941.5367 | 0.29835
| FALSE | 093SMPL.d | 2023-01-18 17:07 | Sample |  | 172197-001 dil | 10 | 0.66954 | 0.47201 | 1.1621 | <0.000 | <0.000 | <0.000 | 1.7083 | 1.5403 | 1.6966 | <0.000 | <0.000 | <0.000 | <0.000 | 1.996 | 2.2326 | 1.829 | 2.0591 | 1.8958 | 2.0656 | 0.027591 | 0.019296 | 97.887 | 18096.5467 | 1.0604 | 99.5394 | 818412.8433 | 0.58667 | 103.7776 | 342977.08 | 0.29998 | 101.0386 | 137282.5833 | 0.20508 | 96.1309 | 184696.3233 | 0.42171 | 87.7614 | 1062775.5733 | 4.0595 | 91.3223 | 598074.6367 | 0.72044 | 70.0946 | 509220.9167 | 0.19201 | 74.3253 | 358374.78 | 0.23896
| FALSE | 094SMPL.d | 2023-01-18 17:10 | Sample |  | 172208-001 dil | 10 | 0.17138 | <0.000 | 0.36002 | 0.002234 | 0.027016 | <0.000 | 0.18958 | 0.79067 | 0.20825 | <0.000 | <0.000 | <0.000 | <0.000 | 0.08313 | 0.13912 | 0.040785 | 0.078871 | 0.07197 | 0.089389 | 0.0084784 | <0.000 | 104.9102 | 19394.9433 | 0.83336 | 104.1009 | 855917.87 | 0.73997 | 109.4014 | 361563.3133 | 0.53838 | 108.2982 | 147146.39 | 0.21022 | 103.8573 | 199540.97 | 0.7248 | 96.3355 | 1166606.85 | 0.69463 | 96.2014 | 630028.2067 | 0.65178 | 74.8303 | 543624.7833 | 0.43972 | 78.4877 | 378444.8667 | 0.36596
| FALSE | 095SMPL.d | 2023-01-18 17:14 | Sample |  | 172256-001 | 1 | 2.1761 | 0.0094551 | 0.040826 | <0.000 | <0.000 | <0.000 | 0.091852 | 0.08061 | 0.093782 | <0.000 | <0.000 | <0.000 | <0.000 | 0.2592 | 0.29577 | 0.24602 | 0.27069 | 0.24891 | 0.27778 | 0.00059979 | 0.00042264 | 97.7546 | 18072.08 | 0.54193 | 102.9704 | 846622.5467 | 0.84007 | 106.6355 | 352422.3733 | 0.77285 | 101.008 | 137241.0867 | 0.83033 | 98.9926 | 190194.4 | 0.33903 | 95.7016 | 1158929.93 | 0.080534 | 94.1324 | 616478.0333 | 0.37291 | 75.6077 | 549272.9967 | 0.77702 | 78.7103 | 379518.1833 | 0.21451
| FALSE | 096_QC2.d | 2023-01-18 17:18 | QC2 |  | qc 2 | 1 | 10.1579 | 10.3194 | 10.6188 | 8.6248 | 9.774 | 9.7423 | 10.0082 | 8.4207 | 10.0422 | 0.90876 | 1.0004 | 0.92376 | 0.97365 | 9.3937 | 10.4509 | 9.2658 | 10.1542 | 9.1902 | 10.0644 | 7.5384 | 8.2808 | 104.6395 | 19344.89 | 1.2987 | 108.9986 | 896186.37 | 3.976 | 110.6844 | 365803.56 | 0.59586 | 106.3107 | 144445.9333 | 0.611 | 105.4149 | 202533.63 | 1.0608 | 100.5363 | 1217476.9667 | 0.75018 | 98.5785 | 645595.9233 | 0.20587 | 81.6847 | 593420.79 | 0.48001 | 85.6506 | 412982.4767 | 0.22551
| FALSE | 097SMPL.d | 2023-01-18 17:22 | Sample |  | blk | 1 | <0.000 | 0.0067318 | <0.000 | <0.000 | <0.000 | <0.000 | 0.0024103 | 0.031834 | 0.0013305 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.0021713 | <0.000 | <0.000 | <0.000 | <0.000 | 0.009682 | 0.007089 | 103.8086 | 19191.28 | 0.57805 | 108.0086 | 888046.5567 | 32.668 | 110.8248 | 366267.43 | 0.83558 | 106.3884 | 144551.5233 | 0.43824 | 105.6776 | 203038.32 | 0.4344 | 92.4871 | 1120003.55 | 32.4435 | 98.6268 | 645911.96 | 0.20717 | 85.3243 | 619861.42 | 34.5526 | 85.4745 | 412132.9533 | 0.77152
| FALSE | 098SMPL.d | 2023-01-18 17:25 | Sample |  | 172223-001 dil | 10 | 0.53491 | 0.35446 | 0.1795 | <0.000 | <0.000 | <0.000 | 0.25179 | 0.38934 | 0.26278 | <0.000 | <0.000 | <0.000 | <0.000 | 1.0514 | 1.1341 | 0.86892 | 1.0963 | 0.96419 | 1.0693 | 0.23951 | 0.25441 | 105.2053 | 19449.4933 | 2.1067 | 122.335 | 1005838.23 | 0.70991 | 117.4382 | 388124.16 | 0.32224 | 112.3286 | 152622.4733 | 0.78973 | 106.1391 | 203925.0667 | 0.59256 | 101.0843 | 1224113.5867 | 0.50934 | 99.2962 | 650295.91 | 0.37645 | 83.2554 | 604831.7 | 0.15605 | 86.5176 | 417162.5067 | 0.31158
| FALSE | 099_QC1.d | 2023-01-18 17:29 | QC1 |  | qc 1 | 1 | 5.0261 | 5.0638 | 5.1418 | 4.6704 | 4.8021 | 4.7796 | 4.9667 | 4.5737 | 5.0068 | 0.52219 | 0.50865 | 0.49845 | 0.49269 | 5.0693 | 5.2574 | 4.9857 | 5.0287 | 4.9548 | 5.0294 | 4.0211 | 4.0931 | 105.5543 | 19514.01 | 1.2674 | 102.9867 | 846756.7333 | 14.1106 | 113.0533 | 373632.58 | 0.22089 | 108.4733 | 147384.3 | 0.5242 | 107.4268 | 206399 | 0.25541 | 90.925 | 1101085.9067 | 14.8746 | 100.106 | 655599.35 | 0.41879 | 76.4434 | 555344.1433 | 8.1285 | 85.7683 | 413549.8933 | 0.94386
| FALSE | 100_QC2.d | 2023-01-18 17:33 | QC2 |  | qc 2 | 1 | 10.1366 | 10.4884 | 10.9972 | 9.1777 | 9.7922 | 9.6593 | 9.9501 | 8.9501 | 9.9953 | 0.89167 | 0.98122 | 0.90891 | 0.97875 | 9.2816 | 10.5782 | 9.1234 | 10.1416 | 9.0955 | 10.0949 | 7.4445 | 8.2889 | 104.9044 | 19393.86 | 0.67075 | 117.9827 | 970053.9933 | 44.2048 | 110.686 | 365808.6867 | 0.90536 | 108.0416 | 146797.68 | 0.59381 | 107.2032 | 205969.3933 | 0.20879 | 104.4502 | 1264873.6467 | 42.7574 | 99.6897 | 652872.8967 | 0.5297 | 92.4199 | 671409.43 | 42.5613 | 85.3291 | 411432.2133 | 0.44454
| FALSE | 101_QC3.d | 2023-01-18 17:36 | QC3 |  | qc 3 | 1 | 50.1199 | 50.0045 | 51.1058 | 46.1556 | 47.7118 | 47.5814 | 49.3172 | 48.8801 | 49.391 | 5.0125 | 5.2234 | 4.9795 | 5.166 | 53.5067 | 51.8325 | 49.7876 | 49.8759 | 52.3672 | 54.0662 | 43.9956 | 46.833 | 105.3021 | 19467.3933 | 1.1083 | 104.4771 | 859010.4867 | 27.4304 | 108.601 | 358918.07 | 0.96258 | 106.0252 | 144057.9733 | 0.78556 | 104.9453 | 201631.3933 | 0.94638 | 89.2247 | 1080496.3667 | 26.7947 | 98.3755 | 644266.7233 | 0.35657 | 81.3084 | 590686.7867 | 27.2104 | 83.4595 | 402417.5233 | 0.39264
| FALSE | 102SMPL.d | 2023-01-18 17:40 | Sample |  | curve 4 | 1 | 51.9877 | 49.4091 | 53.3208 | 46.7169 | 50.1681 | 49.7708 | 51.2045 | 49.115 | 51.1978 | 2.65 | 2.7796 | 2.6406 | 2.7432 | 55.0799 | 53.5815 | 46.4129 | 49.3136 | 52.2918 | 54.6805 | 45.1301 | 48.0112 | 105.8674 | 19571.9067 | 24.0433 | 111.9355 | 920333.1833 | 50.521 | 109.9709 | 363445.4 | 0.79652 | 107.7034 | 146338.1333 | 31.2848 | 106.3806 | 204389.12 | 29.9378 | 98.5434 | 1193344.3333 | 49.4645 | 102.3605 | 670364.3 | 34.34 | 86.0677 | 625262.29 | 48.0298 | 84.8383 | 409065.3833 | 26.4016

## ValueList_Helper (hidden)
Bkgnd
BlkVrfy
CalBlk
CalStd
CICSpike
DilStd
DriftChk
FQBlk
IsoStd
QC1
QC2
QC3
QC4
QC5
Sample
Spike
Spike Ref
SQBlk
SQISTD
SQStd