## Sheet1
Sample | [7 empty] | 75 As [ He ] | 78 Se [ H2 ] | 78 Se [ He ] | 111 Cd [ No Gas ] | 111 Cd [ He ] | 114 Cd [ He ] | 121 Sb [ He ] | 123 Sb [ No Gas ] | 123 Sb [ He ] | 201 Hg [ No Gas ] | 201 Hg [ He ] | 202 Hg [ No Gas ] | 202 Hg [ He ] | 206 [Pb] [ No Gas ] | 206 [Pb] [ He ] | 207 [Pb] [ No Gas ] | 207 [Pb] [ He ] | 208 Pb [ No Gas ] | 208 Pb [ He ] | 238 U [ No Gas ] | 238 U [ He ] | 72 Ge ( ISTD ) [ He ] |  | 89 Y ( ISTD ) [ No Gas ] |  | 89 Y ( ISTD ) [ H2 ] |  | 89 Y ( ISTD ) [ He ] |  | 115 In ( ISTD ) [ He ] |  | 159 Tb ( ISTD ) [ No Gas ] |  | 159 Tb ( ISTD ) [ He ] |  | 209 Bi ( ISTD ) [ No Gas ] |  | 209 Bi ( ISTD ) [ He ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | Total Dil. | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS
| FALSE | 001SMPL.d | 2022-08-20 11:26 | Sample |  | blk | 1 | [22 empty] | 771.2367 |  | 4984.41 |  | 2230.2533 |  | 6537.3567 |  | 9269.5433 |  | 6633.02 |  | 31387.35 |  | 6903.23 |  | 29808.04
| FALSE | 002SMPL.d | 2022-08-20 11:30 | Sample |  | blk | 1 | [22 empty] | 10439.7533 |  | 458615.7233 |  | 239319.4767 |  | 85123.3067 |  | 110279.88 |  | 699347.4567 |  | 396497.8667 |  | 439155.27 |  | 281745.0133
| FALSE | 003SMPL.d | 2022-08-20 11:34 | Sample |  | blk | 1 | [22 empty] | 10536.4967 |  | 406933.8567 |  | 239389.5733 |  | 85851.99 |  | 111691.3133 |  | 624929.8933 |  | 399983.8367 |  | 396379.2333 |  | 280064.4567
| FALSE | 004CALB.d | 2022-08-20 11:38 | CalBlk | 1 | blk | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 10811.12 | 100 | 468249.0833 | 100 | 240443.1467 | 100 | 86469.87 | 100 | 111972.44 | 100 | 715252.2033 | 100 | 401690.07 | 100 | 459308.3133 | 100 | 285682.07
| FALSE | 005CALS.d | 2022-08-20 11:41 | CalStd | 2 | curve 1 | 1 | 0.097116 | 0.10938 | <0.000 | 0.10387 | 0.098435 | 0.10061 | 0.11246 | 0.10299 | 0.10284 | 0.0029664 | <0.000 | 0.0003331 | 0.0035007 | 0.10936 | 0.10073 | 0.10042 | 0.11108 | 0.10363 | 0.10393 | 0.095159 | 0.093524 | 101.2036 | 10941.24 | 98.7204 | 462257.2333 | 101.6352 | 244374.9367 | 101.1976 | 87505.45 | 100.9039 | 112984.5467 | 98.9885 | 708017.1533 | 100.8766 | 405211.2833 | 95.6938 | 439529.4067 | 98.4934 | 281377.9867
| FALSE | 006CALS.d | 2022-08-20 11:45 | CalStd | 3 | curve 2 | 1 | 1.0134 | 1.0037 | 1.0461 | 1.0381 | 1.0535 | 1.0318 | 1.0127 | 1.0402 | 1.0321 | 0.045863 | 0.049466 | 0.045702 | 0.052826 | 1.0143 | 1.0202 | 1.0054 | 1.0299 | 1.0078 | 1.0052 | 0.9674 | 0.94568 | 100.1442 | 10826.71 | 99.6398 | 466562.58 | 103.4869 | 248827.0433 | 101.8599 | 88078.1567 | 100.8158 | 112885.88 | 99.3431 | 710553.7733 | 100.8019 | 404911.2033 | 95.6441 | 439301.1133 | 97.8474 | 279532.58
| FALSE | 007CALS.d | 2022-08-20 11:49 | CalStd | 4 | curve 2.5 (Hg only) | 1 | 2.0221 | 2.0227 | 2.2353 | 2.0773 | 2.0618 | 2.1251 | 2.0416 | 2.0533 | 2.0477 | 0.078597 | 0.10435 | 0.08649 | 0.10624 | 2 | 2.0245 | 1.9925 | 2.0683 | 1.9899 | 2.0165 | 1.9122 | 1.8998 | 101.5842 | 10982.3933 | 99.487 | 465846.8033 | 102.8662 | 247334.61 | 101.4269 | 87703.6833 | 100.6454 | 112695.07 | 99.2061 | 709573.87 | 101.4434 | 407488.18 | 95.8655 | 440318.2467 | 97.8595 | 279567.0567
| FALSE | 008CALS.d | 2022-08-20 11:53 | CalStd | 5 | curve 3 | 1 | 10.1784 | 10.324 | 10.3546 | 10.261 | 10.2706 | 10.2109 | 10.138 | 10.2432 | 10.0691 | 0.49441 | 0.52331 | 0.51036 | 0.5243 | 10.1027 | 10.0454 | 9.7488 | 10.2344 | 9.8464 | 9.9466 | 9.41 | 9.358 | 103.4565 | 11184.8067 | 99.187 | 464442.27 | 101.392 | 243790.02 | 102.7131 | 88815.91 | 102.3649 | 114620.53 | 99.3255 | 710427.9067 | 101.5302 | 407836.8 | 94.6049 | 434527.9433 | 96.8537 | 276693.7467
| FALSE | 009CALS.d | 2022-08-20 11:57 | CalStd | 6 | curve 4 | 1 | 50.4667 | 50.3685 | 50.3425 | 50.0452 | 50.4932 | 50.6646 | 50.0786 | 50.1773 | 50.2835 | 2.3694 | 2.4209 | 2.4598 | 2.4417 | 49.2699 | 49.1678 | 47.829 | 50.0547 | 49.2313 | 49.6572 | 49.7561 | 49.7497 | 103.5281 | 11192.55 | 99.7217 | 466945.8533 | 100.8244 | 242425.26 | 100.9071 | 87254.22 | 101.0246 | 113119.6933 | 99.5407 | 711967.03 | 101.6558 | 408341.31 | 93.5124 | 429510.3033 | 95.3894 | 272510.4567
| FALSE | 010CALS.d | 2022-08-20 12:01 | CalStd | 7 | curve 5 | 1 | 99.7487 | 99.7833 | 99.793 | 99.9509 | 99.7258 | 99.6463 | 99.9468 | 99.8866 | 99.851 | 5.0663 | 5.0371 | 5.0194 | 5.0266 | 100.3546 | 100.4114 | 101.1106 | 99.9489 | 100.3996 | 100.1767 | 100.1813 | 100.1899 | 99.9076 | 10801.13 | 96.7862 | 453200.65 | 97.9436 | 235498.6667 | 98.4619 | 85139.8733 | 96.5026 | 108056.3567 | 97.4154 | 696765.6467 | 98.984 | 397608.7433 | 89.9751 | 413262.9 | 91.42 | 261170.56
| FALSE | 011SMPL.d | 2022-08-20 12:05 | Sample |  | blk | 1 | 0.056013 | 0.12935 | 0.00013436 | 0.02179 | 0.014463 | 0.016738 | 0.068722 | 0.081844 | 0.061302 | 0.12046 | 0.11805 | 0.1425 | 0.12735 | 0.035674 | 0.030687 | 0.032863 | 0.034174 | 0.035504 | 0.030324 | 0.076591 | 0.054394 | 97.9327 | 10587.6233 | 98.0917 | 459313.32 | 99.0495 | 238157.68 | 99.5646 | 86093.4233 | 99.5237 | 111439.17 | 99.0743 | 708631.1267 | 100.3138 | 402950.47 | 96.2076 | 441889.66 | 97.6911 | 279086.07
| FALSE | 012_QC1.d | 2022-08-20 12:08 | QC1 |  | qc 1 | 1 | 5.3159 | 5.3599 | 4.4316 | 5.3033 | 5.2319 | 5.2696 | 5.2408 | 5.3054 | 5.2802 | 0.57783 | 0.57636 | 0.55882 | 0.58396 | 5.0583 | 5.0752 | 5.0891 | 5.3914 | 5.0551 | 5.1299 | 4.7837 | 4.7684 | 99.9488 | 10805.5833 | 97.8002 | 457948.7367 | 98.8414 | 237657.4533 | 100.4541 | 86862.5 | 100.451 | 112477.39 | 98.0688 | 701439.07 | 100.6344 | 404238.5467 | 94.1776 | 432565.4733 | 96.3281 | 275192.0433
| FALSE | 013_QC2.d | 2022-08-20 12:12 | QC2 |  | qc 2 | 1 | 10.378 | 10.3058 | 10.4887 | 10.2579 | 10.4283 | 10.4628 | 10.4047 | 10.2967 | 10.3604 | 1.0265 | 1.0765 | 1.0225 | 1.0736 | 9.9028 | 9.9346 | 9.9876 | 10.5099 | 9.8713 | 10.0268 | 9.3296 | 9.3011 | 96.8733 | 10473.0833 | 98.1218 | 459454.59 | 97.3215 | 234002.8467 | 99.5646 | 86093.42 | 99.5287 | 111444.7067 | 98.826 | 706855.39 | 100.5504 | 403901.17 | 94.2013 | 432674.5067 | 96.1601 | 274712.06
| FALSE | 014_QC3.d | 2022-08-20 12:16 | QC3 |  | qc 3 | 1 | 51.5624 | 52.8861 | 50.2609 | 51.6417 | 51.99 | 51.9738 | 51.9878 | 52.2287 | 52.0149 | 5.1987 | 5.324 | 5.1869 | 5.3182 | 49.8727 | 50.4829 | 50.0171 | 52.9365 | 50.8744 | 51.9837 | 50.3054 | 51.1477 | 98.5501 | 10654.3733 | 95.9727 | 449391.43 | 95.0267 | 228485.2433 | 97.6873 | 84470.1133 | 96.5067 | 108060.9467 | 97.1063 | 694554.7633 | 99.306 | 398902.4633 | 91.0255 | 418087.8567 | 92.1278 | 263192.58
| FALSE | 015SMPL.d | 2022-08-20 12:19 | Sample |  | blk | 1 | 0.034855 | 0.090238 | 0.096139 | 0.017935 | 0.0050859 | 0.0070868 | 0.044668 | 0.047322 | 0.040198 | 0.15847 | 0.14384 | 0.16386 | 0.15748 | 0.030681 | 0.023447 | 0.023376 | 0.020552 | 0.025898 | 0.021819 | 0.051942 | 0.038193 | 98.653 | 10665.4933 | 96.7734 | 453140.7767 | 98.4761 | 236779.0367 | 98.7875 | 85421.4133 | 99.1607 | 111032.6867 | 97.36 | 696369.8 | 100.1403 | 402253.8367 | 91.9279 | 422232.41 | 93.7126 | 267720.2067
| FALSE | 016SMPL.d | 2022-08-20 12:23 | Sample |  | blk | 1 | 0.010849 | 0.030957 | <0.000 | 0.005567 | 0.0010479 | 0.0038298 | 0.018237 | 0.020082 | 0.020221 | 0.067067 | 0.077621 | 0.07277 | 0.087045 | 0.015006 | 0.0072077 | 0.0085675 | 0.011418 | 0.012189 | 0.0086235 | 0.020022 | 0.018102 | 101.0798 | 10927.8633 | 98.2022 | 459830.7267 | 98.1843 | 236077.3133 | 99.2969 | 85861.91 | 99.7988 | 111747.1733 | 98.5662 | 704996.95 | 100.0407 | 401853.6233 | 92.1076 | 423058.0733 | 93.0092 | 265710.5633
| FALSE | 017SMPL.d | 2022-08-20 12:27 | Sample |  | 169760-001 | 1 | 1.0011 | 0.060618 | <0.000 | 0.0098648 | 0.0031877 | 0.015531 | 0.093985 | 0.10305 | 0.095363 | 0.063204 | 0.076405 | 0.08304 | 0.080957 | 8.7574 | 8.7404 | 8.5553 | 8.9456 | 8.5521 | 8.6087 | 0.65407 | 0.65618 | 97.1303 | 10500.8733 | 94.846 | 444115.5867 | 94.7872 | 227909.43 | 96.8112 | 83712.49 | 97.8554 | 109571.0633 | 96.1952 | 688038.3133 | 97.9234 | 393348.71 | 90.3794 | 415120.12 | 92.3026 | 263692.05
| FALSE | 018SMPL.d | 2022-08-20 12:31 | Sample |  | 169762-001 | 1 | 0.071471 | 0.03038 | 0.10283 | 0.0035175 | 0.0050245 | 0.00091264 | 0.076714 | 0.08485 | 0.079376 | 0.075297 | 0.070902 | 0.088901 | 0.086335 | 0.26197 | 0.26521 | 0.2527 | 0.27532 | 0.25416 | 0.26299 | 0.0086158 | 0.0090728 | 151.2742 | 16354.4367 | 87.9032 | 411605.9633 | 89.5401 | 215293.03 | 93.0939 | 80498.2067 | 87.8422 | 98359.0067 | 87.8323 | 628222.1633 | 89.8087 | 360752.59 | 78.32 | 359730.09 | 80.1166 | 228878.8067
| FALSE | 019SMPL.d | 2022-08-20 12:34 | Sample |  | 169741-001 mj | 5 | 4.1907 | 0.34579 | 0.20655 | 0.23019 | 0.2317 | 0.22649 | 0.15209 | 0.16981 | 0.16216 | 0.38307 | 0.44431 | 0.35084 | 0.47558 | 0.66055 | 0.74392 | 0.66844 | 0.76444 | 0.66949 | 0.72578 | 0.043683 | 0.043635 | 93.9624 | 10158.39 | 98.5663 | 461535.61 | 97.5616 | 234580.2467 | 98.5525 | 85218.18 | 96.0373 | 107535.3367 | 100.1205 | 716114.4 | 99.592 | 400051.2067 | 92.4467 | 424615.25 | 90.7304 | 259200.49
| FALSE | 020SMPL.d | 2022-08-20 12:38 | Sample |  | 169743-001 mj | 5 | 1.3625 | 0.15948 | <0.000 | 0.59008 | 0.55802 | 0.60102 | 0.16707 | 0.13752 | 0.14434 | 0.17116 | 0.22452 | 0.18389 | 0.22029 | 2.8502 | 2.8364 | 2.8551 | 3.0514 | 2.8173 | 2.866 | 0.016672 | 0.015413 | 95.5363 | 10328.5433 | 95.9774 | 449413.2633 | 95.7252 | 230164.6 | 97.7534 | 84527.2767 | 95.3601 | 106777.08 | 97.6558 | 698485.39 | 99.1207 | 398158.1933 | 88.0054 | 404215.97 | 89.3794 | 255340.92
| FALSE | 021SMPL.d | 2022-08-20 12:42 | Sample |  | 169743-002 mj | 5 | 1.4454 | 0.14103 | <0.000 | 0.73156 | 0.76565 | 0.741 | 0.1011 | 0.10709 | 0.093842 | 0.11154 | 0.1476 | 0.10495 | 0.15375 | 0.67192 | 0.67648 | 0.62262 | 0.64159 | 0.65153 | 0.65459 | 0.009954 | 0.012874 | 94.6721 | 10235.1167 | 96.1127 | 450046.6933 | 95.9406 | 230682.6967 | 97.168 | 84021.0533 | 94.988 | 106360.3467 | 98.127 | 701855.5967 | 99.2588 | 398712.8633 | 89.4849 | 411011.4367 | 90.005 | 257128.0767
| FALSE | 022SMPL.d | 2022-08-20 12:46 | Sample |  | 169740-001 mj | 5 | 0.066421 | 0.10868 | <0.000 | 0.026545 | 0.030326 | 0.037447 | 0.097429 | 0.10125 | 0.096264 | 0.15469 | 0.15125 | 0.13947 | 0.18097 | 0.61425 | 0.60192 | 0.55381 | 0.64874 | 0.57632 | 0.60303 | 0.012414 | 0.012235 | 94.4667 | 10212.9067 | 98.1223 | 459456.8033 | 98.5214 | 236887.95 | 98.6389 | 85292.96 | 99.334 | 111226.74 | 100.3695 | 717895.39 | 101.4264 | 407419.9567 | 96.566 | 443535.68 | 96.1457 | 274671.0033
| FALSE | 023SMPL.d | 2022-08-20 12:49 | Sample |  | 169780-001 | 1 | 0.16388 | 0.022994 | 0.016597 | 0.0035324 | 0.003809 | 0.0064236 | 0.085828 | 0.09237 | 0.097645 | 0.010109 | 0.0058976 | 0.018199 | 0.015144 | 1.1449 | 1.156 | 1.1204 | 1.162 | 1.1084 | 1.1314 | 0.034192 | 0.035085 | 102.9519 | 11130.2567 | 93.0115 | 435525.33 | 93.4205 | 224623.2467 | 95.176 | 82298.54 | 92.7745 | 103881.86 | 94.4983 | 675900.9033 | 95.9369 | 385369.14 | 84.2641 | 387032.0333 | 85.3243 | 243756.0867
| FALSE | 024SMPL.d | 2022-08-20 12:53 | Sample |  | 169782-001 | 1 | 0.06403 | 0.1184 | 0.19678 | 0.0075769 | 0.0065248 | 0.0069764 | 0.098297 | 0.092522 | 0.10281 | 0.002841 | 0.0059032 | 0.0071046 | 0.007273 | 0.28863 | 0.27536 | 0.27368 | 0.29017 | 0.27724 | 0.27494 | 0.00061283 | 0.00047124 | 94.2713 | 10191.78 | 92.6449 | 433809.0433 | 92.2364 | 221776.0633 | 94.0995 | 81367.68 | 95.4108 | 106833.7567 | 96.3013 | 688797.1267 | 97.5281 | 391760.89 | 86.7204 | 398314.2233 | 87.5386 | 250082.0633
| FALSE | 025SMPL.d | 2022-08-20 12:57 | Sample |  | 169771-001 | 1 | 0.16412 | 0.013263 | <0.000 | 0.0096239 | 0.0068117 | 0.014977 | 0.19415 | 0.1918 | 0.18734 | 8.4725e-05 | <0.000 | 0.0021309 | 0.0040885 | 1.7394 | 1.6838 | 1.7048 | 1.7056 | 1.6959 | 1.6629 | 0.00026654 | 0.00090072 | 94.2098 | 10185.13 | 90.9177 | 425721.38 | 93.962 | 225925.1567 | 96.3224 | 83289.88 | 96.1731 | 107687.32 | 94.174 | 673581.82 | 98.5229 | 395756.8433 | 87.95 | 403961.79 | 89.7368 | 256362.06
| FALSE | 026SMPL.d | 2022-08-20 13:01 | Sample |  | 169771-002 | 1 | 0.077618 | 0.01938 | <0.000 | 0.09566 | 0.086206 | 0.13473 | 0.15535 | 0.1597 | 0.16897 | <0.000 | <0.000 | 0.0041889 | 0.0062729 | 16.7273 | 17.0951 | 16.4401 | 17.4649 | 16.3568 | 16.8004 | 0.00097874 | 0.0011335 | 94.9808 | 10268.4867 | 94.002 | 440163.4633 | 93.4946 | 224801.3967 | 95.5881 | 82654.8833 | 96.5971 | 108162.08 | 96.9093 | 693145.9433 | 98.3552 | 395082.8767 | 89.0305 | 408924.47 | 89.4124 | 255435.1767
| FALSE | 027_QC2.d | 2022-08-20 13:04 | QC2 |  | qc 2 | 1 | 10.3766 | 10.3575 | 10.3966 | 10.3994 | 10.6515 | 10.4991 | 10.5918 | 10.4286 | 10.4715 | 1.0123 | 1.0432 | 0.98461 | 1.047 | 10.045 | 10.3039 | 9.9263 | 10.6504 | 9.8764 | 10.1671 | 9.2159 | 9.5912 | 92.2759 | 9976.0633 | 93.0377 | 435648.1233 | 93.5518 | 224938.8167 | 94.7792 | 81955.4167 | 95.8488 | 107324.1933 | 95.9703 | 686429.97 | 97.4223 | 391335.8367 | 87.4382 | 401611.08 | 87.7939 | 250811.48
| FALSE | 028SMPL.d | 2022-08-20 13:08 | Sample |  | blk | 1 | 0.0056816 | 0.048528 | <0.000 | 0.006269 | 0.0032552 | 0.0055458 | 0.021173 | 0.024659 | 0.020769 | 0.031552 | 0.028694 | 0.032102 | 0.031347 | 0.018586 | 0.015762 | 0.014632 | 0.018342 | 0.018263 | 0.015842 | 0.035997 | 0.030879 | 94.8882 | 10258.4733 | 93.524 | 437925.4667 | 95.1146 | 228696.51 | 95.7485 | 82793.6167 | 95.9568 | 107445.1933 | 95.7857 | 685109.6333 | 97.5789 | 391964.57 | 87.6798 | 402720.4667 | 89.4083 | 255423.5433
| FALSE | 029SMPL.d | 2022-08-20 13:12 | Sample |  | 169775-001 | 1 | 0.015023 | 0.012358 | <0.000 | 0.0082892 | 0.0081343 | 0.0057092 | 0.027336 | 0.029323 | 0.029046 | 0.0041524 | 0.0058591 | 0.0065623 | 0.0095455 | 0.37163 | 0.38108 | 0.38906 | 0.40269 | 0.37405 | 0.37787 | 0.0077391 | 0.0073046 | 92.9962 | 10053.9267 | 91.3575 | 427780.7367 | 92.3132 | 221960.8333 | 94.0606 | 81334.0467 | 93.8895 | 105130.3267 | 93.9925 | 672283.7733 | 95.7491 | 384614.6667 | 83.3757 | 382951.69 | 84.0719 | 240178.2867
| FALSE | 030SMPL.d | 2022-08-20 13:16 | Sample |  | 169775-002 | 1 | 0.0082754 | 0.0061991 | <0.000 | 0.00010971 | <0.000 | 0.0010485 | 0.055197 | 0.054968 | 0.059356 | <0.000 | 0.003542 | 0.0016076 | 0.0035508 | 1.1465 | 1.1716 | 1.1066 | 1.1391 | 1.1003 | 1.1233 | 0.00399 | 0.0032923 | 91.0109 | 9839.3 | 92.536 | 433299.0267 | 93.0755 | 223793.5933 | 95.0897 | 82223.9533 | 94.4053 | 105707.8667 | 94.2228 | 673930.3 | 96.7242 | 388531.57 | 84.7422 | 389227.9733 | 85.9427 | 245522.96
| FALSE | 031SMPL.d | 2022-08-20 13:19 | Sample |  | 169783-001 | 1 | 0.30683 | 0.057577 | <0.000 | 0.046316 | 0.05208 | 0.053006 | 0.15103 | 0.16932 | 0.14936 | <0.000 | 2.9658e-05 | 0.00046536 | 0.0037435 | 7.8124 | 7.9793 | 7.6191 | 8.131 | 7.6119 | 7.7893 | 0.064732 | 0.068203 | 93.4175 | 10099.4833 | 91.9292 | 430457.5967 | 92.023 | 221263.04 | 94.3694 | 81601.1133 | 93.868 | 105106.3367 | 94.8428 | 678365.4667 | 97.3736 | 391140.2733 | 83.4286 | 383194.45 | 84.2277 | 240623.3367
| FALSE | 032SMPL.d | 2022-08-20 13:23 | Sample |  | 169790-001 | 1 | 0.084431 | 0.029226 | <0.000 | 0.003873 | 0.0012133 | 0.0047976 | 0.053242 | 0.055093 | 0.054752 | <0.000 | <0.000 | 0.0003362 | 0.0025261 | 2.9146 | 2.9334 | 2.8322 | 2.9833 | 2.8328 | 2.861 | 0.16978 | 0.16628 | 92.8727 | 10040.58 | 92.2321 | 431875.8467 | 92.704 | 222900.4733 | 94.9278 | 82083.9067 | 95.5565 | 106996.9633 | 94.9928 | 679438.0633 | 97.2558 | 390666.7467 | 85.1378 | 391044.9567 | 86.4974 | 247107.5133
| FALSE | 033SMPL.d | 2022-08-20 13:27 | Sample |  | 169798-001 | 1 | 0.23565 | 0.044544 | 0.0493 | 0.031402 | 0.032532 | 0.28199 | 0.31439 | 0.31994 | 0.31613 | <0.000 | <0.000 | <0.000 | <0.000 | 17.1123 | 17.0521 | 16.7862 | 17.5111 | 16.7028 | 16.7266 | 0.0044485 | 0.0037781 | 92.708 | 10022.7733 | 93.8561 | 439480.45 | 129.9657 | 312493.5333 | 96.3613 | 83323.5167 | 97.489 | 109160.84 | 95.5847 | 683671.5333 | 97.7289 | 392567.3633 | 85.4571 | 392511.7267 | 88.147 | 251820.2667
| FALSE | 034SMPL.d | 2022-08-20 13:31 | Sample |  | 169799-001 | 1 | 0.25589 | 0.024144 | 0.044167 | 0.0019193 | 0.00076941 | 0.0024092 | 0.041182 | 0.04679 | 0.046006 | <0.000 | <0.000 | <0.000 | <0.000 | 0.71631 | 0.70854 | 0.68714 | 0.72226 | 0.69347 | 0.69856 | 0.029998 | 0.029815 | 95.3925 | 10312.9967 | 89.4571 | 418881.9067 | 89.3893 | 214930.35 | 92.9779 | 80397.8367 | 89.9663 | 100737.44 | 90.7205 | 648880.3633 | 93.0802 | 373894.08 | 76.8456 | 352958.38 | 77.1593 | 220430.3967
| FALSE | 035SMPL.d | 2022-08-20 13:34 | Sample |  | 169800-003 | 1 | 0.5797 | 0.065642 | <0.000 | 0.011726 | 0.0085188 | 0.0098379 | 0.16634 | 0.16589 | 0.16133 | <0.000 | <0.000 | <0.000 | <0.000 | 0.24527 | 0.22622 | 0.23028 | 0.23796 | 0.2324 | 0.22663 | 0.070161 | 0.071507 | 89.5401 | 9680.29 | 91.8483 | 430078.7567 | 92.8166 | 223171.2667 | 94.6189 | 81816.8067 | 92.8705 | 103989.3267 | 94.2557 | 674166.17 | 96.3895 | 387187.0633 | 80.65 | 370432.1033 | 81.5777 | 233052.8933
| FALSE | 036SMPL.d | 2022-08-20 13:38 | Sample |  | 169801-003 | 1 | 1.8983 | 0.21737 | 0.23841 | 0.35966 | 0.33644 | 0.3401 | 0.93565 | 0.96077 | 0.97521 | 0.0041745 | 0.0014758 | 0.013302 | 0.011008 | 4.3836 | 4.4646 | 4.3486 | 4.6492 | 4.2862 | 4.4044 | 1.0858 | 1.1317 | 92.1114 | 9958.2767 | 96.9196 | 453825.1867 | 97.7254 | 234973.94 | 100.3676 | 86787.7633 | 92.6683 | 103762.9333 | 93.4771 | 668596.68 | 95.5524 | 383824.6167 | 80.1822 | 368283.5333 | 80.3969 | 229679.4367
| FALSE | 037SMPL.d | 2022-08-20 13:42 | Sample |  | 169797-001 | 1 | 0.17001 | 0.10443 | <0.000 | 0.005078 | 0.0037374 | 0.0089859 | 0.21161 | 0.21279 | 0.2179 | 0.022042 | 0.0076045 | 0.018076 | 0.013351 | 2.3828 | 2.4317 | 2.3376 | 2.495 | 2.3141 | 2.3871 | 0.030957 | 0.031971 | 87.6888 | 9480.14 | 93.3189 | 436964.75 | 93.6963 | 225286.38 | 96.2979 | 83268.64 | 88.3229 | 98897.36 | 90.7683 | 649221.9433 | 92.1298 | 370076.1167 | 79.7857 | 366462.4 | 79.8099 | 228002.65
| FALSE | 038SMPL.d | 2022-08-20 13:46 | Sample |  | 169806-001 rush | 1 | 3.6333 | 0.070443 | 0.1075 | 0.001335 | 0.00081381 | <0.000 | 0.16632 | 0.17616 | 0.18389 | <0.000 | <0.000 | <0.000 | 0.0022342 | 0.2068 | 0.20435 | 0.1913 | 0.21386 | 0.19515 | 0.19954 | 0.0022523 | 0.0022366 | 93.4174 | 10099.4633 | 89.2238 | 417789.4267 | 89.7207 | 215727.3933 | 92.0472 | 79593.0567 | 92.0914 | 103117 | 93.3943 | 668004.8067 | 95.2744 | 382707.8733 | 82.913 | 380826.2733 | 82.7712 | 236462.4733
| FALSE | 039_QC2.d | 2022-08-20 13:49 | QC2 |  | qc 2 | 1 | 9.8623 | 10.0026 | 9.4209 | 10.1327 | 10.2392 | 10.0585 | 10.0897 | 10.2272 | 10.1725 | 0.91414 | 0.99415 | 0.9413 | 0.99631 | 9.8689 | 9.8556 | 9.7788 | 10.2344 | 9.6989 | 9.7446 | 9.0181 | 9.3087 | 91.6692 | 9910.4667 | 91.8216 | 429953.9467 | 90.9602 | 218707.67 | 93.5758 | 80914.91 | 93.4501 | 104638.4033 | 94.9764 | 679320.9733 | 96.512 | 387679.17 | 83.5105 | 383570.7867 | 83.8415 | 239520.17
| FALSE | 040SMPL.d | 2022-08-20 13:53 | Sample |  | blk | 1 | <0.000 | 0.00031002 | <0.000 | <0.000 | <0.000 | <0.000 | 0.0037189 | <0.000 | 0.0010281 | 0.0044348 | 0.0053259 | 0.0065899 | 0.010031 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.0072064 | 0.0093778 | 204.1492 | 22070.81 | 252.845 | 1183944.5233 | 255.2058 | 613624.8767 | 205.6658 | 177838.9267 | 204.543 | 229031.8133 | 257.2973 | 1840324.3133 | 213.6986 | 858405.9233 | 223.6449 | 1027219.4633 | 180.0466 | 514360.7567
| FALSE | 041SMPL.d | 2022-08-20 13:57 | Sample |  | 169804-001 | 1 | 0.17132 | 0.10112 | 0.1154 | 0.0072606 | 0.003615 | 0.0045566 | 0.064219 | 0.071401 | 0.067602 | 0.0013217 | 0.0060204 | 0.0067845 | 0.0088623 | 0.54278 | 0.54224 | 0.51614 | 0.55483 | 0.52142 | 0.5301 | 0.97446 | 1.009 | 87.1543 | 9422.3533 | 88.2572 | 413263.4733 | 89.1476 | 214349.2533 | 90.4784 | 78236.5267 | 91.7398 | 102723.2867 | 92.0311 | 658254.6533 | 93.7469 | 376571.9367 | 80.6037 | 370219.3333 | 80.0866 | 228793.0067
| FALSE | 042SMPL.d | 2022-08-20 14:01 | Sample |  | 169805-001 | 1 | 0.25906 | 0.0479 | <0.000 | 0.010681 | 0.013362 | 0.011003 | 0.06858 | 0.080726 | 0.071201 | 0.035764 | 0.033159 | 0.031435 | 0.038709 | 0.85189 | 0.86292 | 0.84339 | 0.88959 | 0.83188 | 0.8443 | 0.36795 | 0.3772 | 87.4933 | 9459.0067 | 87.0976 | 407833.7733 | 87.2569 | 209803.2033 | 91.1863 | 78848.7 | 86.6044 | 96973.01 | 87.617 | 626682.5333 | 90.8168 | 364802.0767 | 71.2861 | 327422.8167 | 71.2004 | 203406.8433
| FALSE | 043SMPL.d | 2022-08-20 14:04 | Sample |  | 169808-001 | 1 | 0.97016 | 0.015485 | <0.000 | 0.00099331 | <0.000 | <0.000 | 0.11158 | 0.12643 | 0.10704 | 0.0049969 | 0.0019785 | 0.0028996 | 0.0077575 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.15708 | 0.1652 | 90.764 | 9812.6 | 90.2609 | 422645.9567 | 88.6808 | 213226.8533 | 90.4567 | 78217.8267 | 91.5407 | 102500.31 | 93.2895 | 667255.27 | 94.218 | 378464.34 | 81.655 | 375048.1333 | 81.4473 | 232680.2367
| FALSE | 044SMPL.d | 2022-08-20 14:08 | Sample |  | 169811-001 | 1 | 1.3127 | 0.042452 | <0.000 | 0.00599 | 0.0062292 | 0.0046625 | 0.082416 | 0.090694 | 0.083432 | <0.000 | 0.0021728 | <0.000 | 0.006687 | 0.27802 | 0.27455 | 0.2672 | 0.29969 | 0.27409 | 0.27431 | 0.064366 | 0.065904 | 89.1494 | 9638.0467 | 88.1204 | 412623.1833 | 87.9714 | 211521.1567 | 91.5406 | 79155.0333 | 92.1817 | 103218.0433 | 91.6552 | 655565.97 | 94.1215 | 378076.83 | 78.6024 | 361027.2933 | 80.2726 | 229324.3733
| FALSE | 045SMPL.d | 2022-08-20 14:12 | Sample |  | 169812-001 | 1 | 3.1739 | 0.051953 | <0.000 | 0.003473 | 0.00083482 | <0.000 | 0.1278 | 0.1259 | 0.1157 | 0.0017685 | 0.0011826 | 0.0073002 | 0.010531 | 0.02839 | 0.024041 | 0.026479 | 0.03165 | 0.027095 | 0.026961 | 4.5701 | 4.7683 | 90.3834 | 9771.4533 | 89.5732 | 419425.9067 | 89.1849 | 214439.0333 | 91.675 | 79271.29 | 90.6115 | 101459.8567 | 92.6873 | 662947.7733 | 93.7869 | 376732.61 | 79.215 | 363841.21 | 79.7462 | 227820.57
| FALSE | 046SMPL.d | 2022-08-20 14:16 | Sample |  | 169813-001 | 1 | 1.2755 | 0.10169 | 0.23463 | 0.004925 | <0.000 | 0.00058353 | 0.090752 | 0.080538 | 0.092663 | <0.000 | 0.0063839 | 0.0065631 | 0.008974 | 0.61763 | 0.62418 | 0.60971 | 0.64047 | 0.60625 | 0.61152 | 4.0148 | 4.1859 | 89.2523 | 9649.1733 | 89.1178 | 417293.4867 | 87.581 | 210582.63 | 91.1191 | 78790.61 | 91.018 | 101915.07 | 92.1534 | 659129.5167 | 94.0906 | 377952.5967 | 78.5424 | 360751.8633 | 79.5556 | 227276.1633
| FALSE | 047SMPL.d | 2022-08-20 14:19 | Sample |  | 169814-001 rush | 1 | 1.3865 | 0.09788 | 0.056887 | 0.028259 | 0.0254 | 0.027534 | 0.14606 | 0.14823 | 0.13767 | 0.0044514 | 0.0065975 | 0.0080062 | 0.0055411 | 1.3561 | 1.3699 | 1.257 | 1.3499 | 1.2798 | 1.3093 | 0.05113 | 0.04846 | 88.1827 | 9533.5367 | 92.4242 | 432775.3467 | 90.8959 | 218552.8867 | 94.3396 | 81575.3433 | 92.0568 | 103078.1933 | 93.5339 | 669003.0233 | 94.0871 | 377938.5933 | 80.5684 | 370057.39 | 81.1638 | 231870.2933
| FALSE | 048SMPL.d | 2022-08-20 14:23 | Sample |  | 169816-001 | 1 | 0.45371 | 0.018436 | <0.000 | 0.0056357 | 0.0026154 | 0.0013564 | 0.073591 | 0.067671 | 0.068448 | 0.0013408 | <0.000 | 0.0044668 | 0.0070395 | 0.12424 | 0.12193 | 0.12306 | 0.13195 | 0.12069 | 0.11922 | 0.47671 | 0.48678 | 86.3313 | 9333.3833 | 86.3046 | 404120.6467 | 86.8907 | 208922.6267 | 88.8375 | 76817.6333 | 87.6684 | 98164.4933 | 90.5343 | 647548.77 | 91.4591 | 367381.9433 | 76.3226 | 350555.85 | 76.9777 | 219911.5367
| FALSE | 049SMPL.d | 2022-08-20 14:27 | Sample |  | 169818-001 | 1 | 0.036413 | 0.011074 | <0.000 | 0.0008284 | <0.000 | 6.0315e-05 | 0.055799 | 0.051308 | 0.050257 | 0.0054653 | 0.0044996 | 0.083144 | 0.064802 | 0.10139 | 0.1074 | 0.092617 | 0.1013 | 0.096753 | 0.10005 | 0.01059 | 0.0095922 | 456.0933 | 49308.79 | 85.1997 | 398946.6533 | 84.5078 | 203193.0933 | 87.9821 | 76077.9767 | 85.548 | 95790.2367 | 87.0838 | 622868.8067 | 89.4099 | 359150.5367 | 70.6347 | 324431.06 | 71.3123 | 203726.44
| FALSE | 050SMPL.d | 2022-08-20 14:31 | Sample |  | 169822-001 | 1 | 0.090479 | 0.29118 | 0.18969 | 0.0047113 | 0.0037675 | 0.0044997 | 0.083346 | 0.089383 | 0.085682 | 0.0036358 | <0.000 | <0.000 | 0.0045447 | 0.72273 | 0.72114 | 0.70468 | 0.75569 | 0.69546 | 0.71791 | 0.064723 | 0.064058 | 87.1642 | 9423.4267 | 87.1869 | 408251.7767 | 86.5774 | 208169.4633 | 88.4962 | 76522.58 | 89.6406 | 100372.8033 | 91.4782 | 654299.8933 | 92.8984 | 373163.65 | 77.8471 | 357558.0633 | 78.1838 | 223357.2
| FALSE | 051_QC2.d | 2022-08-20 14:34 | QC2 |  | qc 2 | 1 | 0.090396 | <0.000 | <0.000 | <0.000 | 0.090381 | 0.090814 | 0.09776 | <0.000 | 0.10254 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.05526 | <0.000 | 0.06031 | <0.000 | 0.056822 | <0.000 | 0.078984 | 261.2911 | 28248.49 | 260.2263 | 1218507.38 | 268.7631 | 646222.3567 | 256.496 | 221791.7967 | 255.9803 | 286627.3467 | 267.415 | 1912691.8267 | 271.1024 | 1088991.2967 | 220.2267 | 1011519.7233 | 236.6474 | 676059.2767
| FALSE | 052SMPL.d | 2022-08-20 14:38 | Sample |  | blk | 1 | <0.000 | 0.002116 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.00087067 | 248.9516 | 26914.4567 | 272.6084 | 1276486.15 | 202.9838 | 488060.5767 | 253.478 | 219182.1367 | 252.4375 | 282660.3967 | 278.8712 | 1994632.09 | 263.2777 | 1057560.3933 | 234.253 | 1075943.56 | 218.9259 | 625432.1833
| FALSE | 053SMPL.d | 2022-08-20 14:42 | Sample |  | 169825-001 | 1 | 0.11263 | 0.10896 | <0.000 | 0.004729 | 0.006426 | 0.0072487 | 0.083356 | 0.09777 | 0.087849 | <0.000 | <0.000 | 0.00048041 | 0.0017899 | 0.56212 | 0.56883 | 0.56963 | 0.59556 | 0.5587 | 0.56389 | 0.045657 | 0.046865 | 86.4443 | 9345.6 | 87.8678 | 411439.9367 | 87.9407 | 211447.4767 | 89.9422 | 77772.8867 | 90.815 | 101687.8 | 91.1504 | 651955.55 | 92.977 | 373479.32 | 78.4561 | 360355.26 | 79.2485 | 226398.8133
| FALSE | 054SMPL.d | 2022-08-20 14:45 | Sample |  | 169825-002 | 1 | 0.31199 | 0.081476 | 0.038662 | 0.0044263 | 0.0026182 | 0.0062661 | 0.075639 | 0.074277 | 0.074595 | <0.000 | <0.000 | <0.000 | 0.0016765 | 0.13347 | 0.13449 | 0.1354 | 0.13929 | 0.13442 | 0.13716 | 0.070943 | 0.068731 | 86.3929 | 9340.0433 | 86.9456 | 407121.7833 | 86.0196 | 206828.1267 | 89.0134 | 76969.7533 | 90.0033 | 100778.9233 | 90.9939 | 650835.6833 | 92.6713 | 372251.41 | 76.9705 | 353532.0467 | 78.2589 | 223571.68
| FALSE | 055SMPL.d | 2022-08-20 14:49 | Sample |  | 169825-003 | 1 | 0.28057 | 0.06336 | <0.000 | 0.0069879 | 0.0086416 | 0.0070155 | 0.069128 | 0.069029 | 0.067352 | 0.0017993 | <0.000 | <0.000 | 0.0030957 | 0.1004 | 0.098195 | 0.10373 | 0.10607 | 0.10086 | 0.097991 | 0.055648 | 0.058161 | 86.5267 | 9354.5 | 86.601 | 405508.5533 | 85.6304 | 205892.4933 | 89.8555 | 77697.97 | 90.2081 | 101008.24 | 90.69 | 648662.5267 | 92.7028 | 372378.0067 | 76.3256 | 350569.9733 | 77.7962 | 222249.6867
| FALSE | 056SMPL.d | 2022-08-20 14:53 | Sample |  | 169831-001 | 1 | 0.11399 | 0.10647 | <0.000 | 0.17403 | 0.18594 | 0.22962 | 0.60451 | 0.57583 | 0.58647 | 0.028841 | 0.015946 | 0.016958 | 0.024432 | 511.036 | 519.3031 | 501.1422 | 541.2342 | 498.16 | 511.7646 | 0.17239 | 0.17569 | 89.3038 | 9654.7367 | 93.8153 | 439289.4533 | 94.0036 | 226025.16 | 97.0735 | 83939.32 | 91.2241 | 102145.8433 | 91.6045 | 655203.1233 | 93.5662 | 375846.0967 | 76.4004 | 350913.6133 | 78.2592 | 223572.6233
| FALSE | 057SMPL.d | 2022-08-20 14:57 | Sample |  | 169833-001 | 1 | 0.50836 | 3.2084 | 2.8647 | 0.020285 | 0.016541 | 0.074356 | 0.53351 | 0.54618 | 0.57469 | 0.00059923 | 0.0027924 | 0.0030067 | 0.0058343 | 1.5175 | 1.2256 | 1.4765 | 1.3352 | 1.4626 | 1.2352 | 0.22148 | 0.22708 | 87.2261 | 9430.1233 | 87.1683 | 408164.7067 | 86.4543 | 207873.34 | 89.0041 | 76961.7167 | 89.8951 | 100657.7 | 90.9627 | 650612.5067 | 92.8926 | 373140.2433 | 75.6584 | 347505.3133 | 77.4041 | 221129.6367
| FALSE | 058SMPL.d | 2022-08-20 15:00 | Sample |  | 169834-001 | 1 | 0.4741 | 0.2125 | <0.000 | 0.00074156 | <0.000 | 0.0027162 | 0.20124 | 0.20751 | 0.21826 | 0.00024025 | 0.0025918 | 0.0063105 | 0.0080123 | 2.0272 | 1.9502 | 2.0938 | 2.1453 | 2.0311 | 1.9834 | 0.018232 | 0.016807 | 86.5265 | 9354.4833 | 85.3687 | 399738.36 | 84.2853 | 202658.27 | 88.5467 | 76566.23 | 88.6571 | 99271.57 | 89.567 | 640630.0633 | 91.6225 | 368038.6167 | 75.3159 | 345932.1067 | 77.01 | 220003.6233
| FALSE | 059SMPL.d | 2022-08-20 15:04 | Sample |  | 169836-001 | 1 | 0.026907 | 0.018575 | <0.000 | 0.0016121 | 0.0014997 | 0.0044802 | 0.05296 | 0.049121 | 0.048863 | <0.000 | <0.000 | <0.000 | <0.000 | 1.0644 | 1.0098 | 1.0518 | 1.0837 | 1.0326 | 1.0046 | 0.0034105 | 0.002377 | 86.7117 | 9374.5067 | 86.63 | 405644.1767 | 86.4719 | 207915.8767 | 88.9265 | 76894.6033 | 89.8385 | 100594.3933 | 91.2333 | 652548.3033 | 92.9084 | 373203.8567 | 76.864 | 353042.5367 | 78.1176 | 223168.0567
| FALSE | 060SMPL.d | 2022-08-20 15:08 | Sample |  | 169838-001 T.As | 1 | 0.10454 | 0.0069484 | <0.000 | <0.000 | <0.000 | 0.00048302 | 0.27122 | 0.25961 | 0.26534 | <0.000 | <0.000 | <0.000 | <0.000 | 0.064594 | 0.013341 | 0.065705 | 0.015744 | 0.065162 | 0.011704 | 0.013377 | 0.011074 | 85.1792 | 9208.8267 | 85.9167 | 402303.9467 | 85.2412 | 204956.5733 | 88.3282 | 76377.2667 | 89.0267 | 99685.3167 | 90.0849 | 644334.0567 | 92.3505 | 370962.6033 | 74.5175 | 342264.9967 | 76.2475 | 217825.3433
| FALSE | 061SMPL.d | 2022-08-20 15:12 | Sample |  | 169839-001 T.As | 1 | 13.2703 | 0.0056222 | <0.000 | 0.0012026 | <0.000 | <0.000 | 0.1863 | 0.18643 | 0.18041 | <0.000 | <0.000 | <0.000 | <0.000 | 0.077118 | 0.022317 | 0.073317 | 0.027149 | 0.071647 | 0.022702 | 0.0020516 | 0.00037995 | 86.1052 | 9308.94 | 85.5018 | 400361.4433 | 85.6388 | 205912.6933 | 88.2159 | 76280.1567 | 88.5911 | 99197.6667 | 90.4794 | 647156.0467 | 92.4961 | 371547.6767 | 74.0354 | 340050.7333 | 75.2662 | 215022.0633
| FALSE | 062SMPL.d | 2022-08-20 15:15 | Sample |  | 169842-001 T.As | 1 | 0.41883 | 0.042491 | <0.000 | 0.0049229 | 0.0037011 | 0.0055633 | 0.44757 | 0.43237 | 0.43789 | <0.000 | <0.000 | <0.000 | <0.000 | 0.20838 | 0.14646 | 0.20699 | 0.16344 | 0.20494 | 0.15244 | 0.0050182 | 0.0028072 | 85.4259 | 9235.5 | 86.5304 | 405177.7333 | 85.2571 | 204994.8167 | 89.2714 | 77192.9067 | 87.336 | 97792.2633 | 89.6889 | 641501.4933 | 91.6777 | 368260.05 | 74.4664 | 342030.25 | 75.779 | 216487.02
| FALSE | 063_QC2.d | 2022-08-20 15:19 | QC2 |  | qc 2 | 1 | <0.000 | 0.0011792 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 257.8041 | 27871.51 | 271.8335 | 1272858.0533 | 217.5285 | 523032.3767 | 256.6692 | 221941.51 | 255.3805 | 285955.7667 | 278.9269 | 1995030.4733 | 271.8663 | 1092060.02 | 233.0443 | 1070392.06 | 223.1376 | 637464.0733
| FALSE | 064SMPL.d | 2022-08-20 15:23 | Sample |  | blk | 1 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 272.5816 | 29469.1267 | 259.608 | 1215611.8933 | 311.592 | 749201.5667 | 271.8959 | 235107.99 | 271.4165 | 303911.6467 | 265.5 | 1898994.38 | 286.3752 | 1150340.8767 | 221.6527 | 1018069.47 | 241.0873 | 688743.27
| FALSE | 065SMPL.d | 2022-08-20 15:26 | Sample |  | 169843-001 | 1 | 0.063924 | 0.032192 | <0.000 | 0.00063571 | <0.000 | 0.0019987 | 0.058252 | 0.05764 | 0.058386 | <0.000 | <0.000 | <0.000 | <0.000 | 0.22856 | 0.17347 | 0.22003 | 0.19038 | 0.22092 | 0.17288 | 0.0062707 | 0.0042636 | 88.882 | 9609.1433 | 88.0745 | 412407.9767 | 88.0996 | 211829.48 | 89.3142 | 77229.8867 | 91.6358 | 102606.8933 | 92.2948 | 660140.4233 | 93.368 | 375049.9333 | 77.5219 | 356064.6567 | 78.8224 | 225181.4667
| FALSE | 066SMPL.d | 2022-08-20 15:30 | Sample |  | 169809-001 mj | 5 | 0.20393 | 0.096738 | <0.000 | 0.3556 | 0.34272 | 0.52411 | 0.27749 | 0.25709 | 0.28929 | 0.017233 | 0.048211 | 0.053671 | 0.067597 | 2.3963 | 2.1772 | 2.374 | 2.2481 | 2.3152 | 2.1484 | 0.023097 | 0.010283 | 89.5813 | 9684.7367 | 88.7135 | 415399.98 | 88.5437 | 212897.3267 | 91.4579 | 79083.4867 | 90.033 | 100812.1933 | 92.1186 | 658880.37 | 94.7497 | 380600.29 | 75.8396 | 348337.45 | 76.9026 | 219696.8033
| FALSE | 067SMPL.d | 2022-08-20 15:34 | Sample |  | 169810-001 mj | 5 | 0.37077 | 0.026299 | 0.0062889 | 0.34628 | 0.31837 | 0.35963 | 0.18509 | 0.17435 | 0.15899 | 0.014042 | 0.0050766 | 0.018204 | 0.042354 | 1.7201 | 1.5319 | 1.7266 | 1.5519 | 1.6972 | 1.4838 | 0.022541 | 0.012085 | 89.5709 | 9683.6167 | 90.3468 | 423047.8367 | 89.877 | 216103.1433 | 93.7402 | 81056.9867 | 92.0335 | 103052.1367 | 93.4329 | 668280.92 | 95.8221 | 384907.8967 | 77.4871 | 355904.7767 | 78.6942 | 224815.25
| FALSE | 068SMPL.d | 2022-08-20 15:38 | Sample |  | 169845-001 | 1 | 0.10647 | 0.047903 | <0.000 | 0.0025805 | 0.00035642 | 0.27104 | 0.13617 | 0.13056 | 0.1227 | <0.000 | <0.000 | <0.000 | <0.000 | 7.8692 | 7.7262 | 7.7976 | 8.1719 | 7.7032 | 7.72 | 0.013353 | 0.0095223 | 88.5629 | 9574.6367 | 88.3729 | 413805.1367 | 87.3571 | 210044.2333 | 89.8027 | 77652.2933 | 91.8544 | 102851.6333 | 92.2273 | 659658.0767 | 93.4036 | 375193.0667 | 76.5543 | 351620.4167 | 78.6064 | 224564.5067
| FALSE | 069_QC1.d | 2022-08-20 15:41 | QC1 |  | qc 1 | 1 | 5.1437 | 5.1627 | 5.388 | 5.296 | 5.2905 | 5.3735 | 5.3706 | 5.405 | 5.3548 | 0.47391 | 0.49134 | 0.48481 | 0.50001 | 5.1751 | 5.1081 | 5.2143 | 5.4567 | 5.125 | 5.1321 | 4.6505 | 4.7227 | 86.9793 | 9403.4333 | 86.2817 | 404013.26 | 86.2524 | 207387.8667 | 88.565 | 76582.0833 | 91.296 | 102226.34 | 91.3456 | 653351.15 | 93.2877 | 374727.3867 | 75.7531 | 347940.28 | 78.0177 | 222882.4767
| FALSE | 070_QC2.d | 2022-08-20 15:45 | QC2 |  | qc 2 | 1 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.0042398 | 0.0031943 | 480.3862 | 51935.1267 | 362.3412 | 1696659.35 | 385.7254 | 927450.2467 | 448.4793 | 387799.47 | 403.0528 | 451308.0467 | 282.0932 | 2017678.1833 | 328.0869 | 1317892.69 | 216.5751 | 994747.21 | 256.2148 | 731959.7867
| FALSE | 071_QC3.d | 2022-08-20 15:49 | QC3 |  | qc 3 | 1 | 52.4052 | 54.6092 | 56.1241 | 44.8738 | 42.213 | 41.4099 | 46.0293 | 44.632 | 45.5442 | 5.0195 | 4.6675 | 4.9653 | 4.6764 | 49.4543 | 49.2276 | 49.5455 | 52.678 | 51.0406 | 51.6525 | 46.5258 | 44.6957 | 160.0819 | 17306.6433 | 129.0841 | 604435.2333 | 142.1837 | 341870.9067 | 151.7633 | 131229.49 | 138.6737 | 155276.29 | 101.2364 | 724095.6067 | 109.9418 | 441625.2633 | 80.0139 | 367510.4667 | 82.8726 | 236752.1133

## ValueList_Helper (hidden)
Bkgnd
BlkVrfy
CalBlk
CalStd
CICSpike
DilStd
DriftChk
FQBlk
IsoStd
QC1
QC2
QC3
QC4
QC5
Sample
Spike
Spike Ref
SQBlk
SQISTD
SQStd