## Sheet1
Sample | [7 empty] | 75 As [ He ] | 78 Se [ H2 ] | 78 Se [ He ] | 111 Cd [ No Gas ] | 111 Cd [ He ] | 114 Cd [ He ] | 121 Sb [ He ] | 123 Sb [ No Gas ] | 123 Sb [ He ] | 201 Hg [ No Gas ] | 201 Hg [ He ] | 202 Hg [ No Gas ] | 202 Hg [ He ] | 206 [Pb] [ No Gas ] | 206 [Pb] [ He ] | 207 [Pb] [ No Gas ] | 207 [Pb] [ He ] | 208 Pb [ No Gas ] | 208 Pb [ He ] | 238 U [ No Gas ] | 238 U [ He ] | 72 Ge ( ISTD ) [ He ] |  |  | 89 Y ( ISTD ) [ No Gas ] |  |  | 89 Y ( ISTD ) [ H2 ] |  |  | 89 Y ( ISTD ) [ He ] |  |  | 115 In ( ISTD ) [ He ] |  |  | 159 Tb ( ISTD ) [ No Gas ] |  |  | 159 Tb ( ISTD ) [ He ] |  |  | 209 Bi ( ISTD ) [ No Gas ] |  |  | 209 Bi ( ISTD ) [ He ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | Total Dil. | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD
| FALSE | 001SMPL.d | 2022-12-22 10:16 | Sample |  | blk | 1 | [22 empty] | 23553.6267 | 1.9888 |  | 936277.6767 | 0.76323 |  | 528689.34 | 1.1738 |  | 176777.6567 | 0.64154 |  | 239279.33 | 0.97046 |  | 952310.1133 | 1.0385 |  | 645409.21 | 0.59881 |  | 544863.12 | 0.35499 |  | 478076.7433 | 0.25436
| FALSE | 002SMPL.d | 2022-12-22 10:19 | Sample |  | blk | 1 | [22 empty] | 23121.79 | 1.5983 |  | 932792.9833 | 1.0123 |  | 524047.5067 | 0.52382 |  | 174874.3033 | 0.57136 |  | 235908.8633 | 0.76424 |  | 943262.12 | 1.0456 |  | 629802.0867 | 1.1247 |  | 551227.88 | 0.48471 |  | 476070.0433 | 0.89047
| FALSE | 003SMPL.d | 2022-12-22 10:23 | Sample |  | blk | 1 | [22 empty] | 22924.82 | 0.79963 |  | 867992.8033 | 10.6532 |  | 524161.2633 | 0.51373 |  | 171312.3067 | 0.80898 |  | 229624.2833 | 0.62607 |  | 828926.69 | 13.375 |  | 599845.71 | 0.63118 |  | 511343.1933 | 7.8535 |  | 459349.3667 | 0.3887
| FALSE | 004CALB.d | 2022-12-22 10:27 | CalBlk | 1 | blk | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 22511.91 | 0.86048 | 100 | 917278.19 | 0.69865 | 100 | 516483.42 | 0.97606 | 100 | 169937.3233 | 0.85952 | 100 | 224584.3067 | 0.89912 | 100 | 888803.5867 | 1.6107 | 100 | 578975.7567 | 1.8679 | 100 | 532987.81 | 0.63822 | 100 | 454646.5867 | 0.95404
| FALSE | 005CALS.d | 2022-12-22 10:30 | CalStd | 2 | curve 1 | 1 | 0.10136 | 0.10959 | 0.066048 | 0.10244 | 0.10521 | 0.10056 | 0.10851 | 0.1032 | 0.10527 | <0.000 | 0.003171 | 0.00071361 | 0.0019946 | 0.10467 | 0.10199 | 0.096859 | 0.094125 | 0.10112 | 0.098976 | 0.097411 | 0.096249 | 101.399 | 22826.8433 | 1.4844 | 98.6386 | 904790.41 | 0.73219 | 100.4625 | 518872.21 | 0.37761 | 100.4519 | 170705.27 | 0.15852 | 102.1348 | 229378.78 | 0.29191 | 97.9742 | 870798.5567 | 0.91645 | 102.5482 | 593729.2833 | 0.35647 | 100.4345 | 535303.68 | 0.52892 | 101.4166 | 461087.16 | 0.24594
| FALSE | 006CALS.d | 2022-12-22 10:34 | CalStd | 3 | curve 2 | 1 | 0.99622 | 0.99367 | 0.94428 | 1.006 | 1.0387 | 1.0028 | 1.0071 | 1.0072 | 1.0185 | 0.042935 | 0.046988 | 0.049887 | 0.050803 | 1.0318 | 1.056 | 1.0025 | 1.0197 | 1.0181 | 1.0343 | 0.97799 | 0.96537 | 101.7353 | 22902.5667 | 1.476 | 99.6834 | 914373.6767 | 1.4206 | 100.7176 | 520189.8733 | 1.5663 | 101.4512 | 172403.4333 | 0.61543 | 102.5806 | 230379.85 | 0.88758 | 99.2921 | 882511.6467 | 1.0735 | 103.3282 | 598245.0467 | 0.49539 | 102.1088 | 544227.5433 | 0.44929 | 101.7088 | 462415.57 | 0.51938
| FALSE | 007CALS.d | 2022-12-22 10:38 | CalStd | 4 | curve 2.5 (Hg only) | 1 | 2.0548 | 2.0049 | 2.3145 | 2.0373 | 2.0521 | 2.0076 | 2.0216 | 2.0547 | 2.0637 | 0.10702 | 0.097494 | 0.1016 | 0.098738 | 2.09 | 2.0992 | 2.0451 | 2.0196 | 2.0677 | 2.0686 | 1.9593 | 1.9636 | 100.6676 | 22662.21 | 1.1376 | 99.4896 | 912596.3933 | 0.62142 | 99.8981 | 515957.3067 | 0.15145 | 101.4962 | 172479.8867 | 0.6759 | 102.2491 | 229635.4367 | 0.75612 | 100.3697 | 892089.0767 | 0.76678 | 102.6323 | 594216.1367 | 0.8449 | 102.4078 | 545821.1067 | 0.28551 | 101.0487 | 459414.36 | 0.47361
| FALSE | 008CALS.d | 2022-12-22 10:42 | CalStd | 5 | curve 3 | 1 | 10.0238 | 10.0855 | 10.1305 | 10.1206 | 10.1802 | 9.9658 | 9.8914 | 10.1516 | 10.0584 | 0.48753 | 0.48024 | 0.49756 | 0.48948 | 10.1942 | 10.2073 | 9.9649 | 10.0181 | 10.121 | 10.1443 | 10.1056 | 9.8213 | 100.9541 | 22726.6933 | 1.5569 | 97.8373 | 897439.96 | 0.85147 | 99.7831 | 515363.3433 | 1.1436 | 100.0998 | 170106.9667 | 0.33976 | 101.0858 | 227022.8467 | 0.49611 | 97.9551 | 870628.2233 | 0.68232 | 99.8441 | 578073.3533 | 0.36685 | 100.8938 | 537751.83 | 0.39034 | 99.8277 | 453863.2633 | 0.2388
| FALSE | 009CALS.d | 2022-12-22 10:46 | CalStd | 6 | curve 4 | 1 | 51.127 | 50.2169 | 51.2949 | 50.061 | 51.4837 | 50.9072 | 50.7242 | 51.4847 | 51.5532 | 2.4782 | 2.5501 | 2.4932 | 2.5552 | 50.2925 | 52.5735 | 50.1405 | 51.7824 | 50.0425 | 52.0607 | 49.2196 | 50.3019 | 97.7509 | 22005.5867 | 3.9739 | 96.8953 | 888799.5167 | 0.30293 | 96.638 | 499119.1767 | 0.17862 | 94.6263 | 160805.4 | 5.5065 | 94.623 | 212508.4267 | 6.1729 | 96.7054 | 859521.1867 | 0.24835 | 95.22 | 551300.5067 | 4.9505 | 100.6785 | 536604.1067 | 0.24424 | 94.7587 | 430817.07 | 4.5407
| FALSE | 010CALS.d | 2022-12-22 10:50 | CalStd | 7 | curve 5 | 1 | 99.4342 | 99.883 | 99.3401 | 99.9574 | 99.2398 | 99.5498 | 99.6487 | 99.2424 | 99.2173 | 5.0121 | 4.977 | 5.0036 | 4.9735 | 99.834 | 98.692 | 99.9332 | 99.1068 | 99.9664 | 98.9549 | 100.3799 | 99.8673 | 96.8559 | 21804.1133 | 0.62391 | 94.4123 | 866023.5967 | 0.42069 | 95.4354 | 492907.9233 | 1.3741 | 94.2881 | 160230.65 | 0.42199 | 93.2315 | 209383.3633 | 0.3584 | 90.6973 | 806120.9 | 1.304 | 92.5136 | 535631.38 | 0.55175 | 96.2643 | 513076.9333 | 0.58504 | 92.8519 | 422147.9433 | 0.44425
| FALSE | 011SMPL.d | 2022-12-22 10:53 | Sample |  | blk | 1 | 0.029792 | 0.094398 | 0.20982 | 0.0086149 | 0.0030776 | 0.0043721 | 0.032234 | 0.045128 | 0.034502 | 0.055354 | 0.045708 | 0.054119 | 0.046715 | 0.025949 | 0.020398 | 0.026353 | 0.026626 | 0.027088 | 0.022876 | 0.042684 | 0.027088 | 96.6535 | 21758.5567 | 1.5659 | 96.9397 | 889207.0867 | 0.84338 | 96.2954 | 497349.61 | 0.11801 | 96.3949 | 163810.88 | 0.46879 | 96.1909 | 216029.6233 | 0.29544 | 92.5872 | 822918.6333 | 0.97663 | 93.606 | 541955.98 | 0.58637 | 100.2731 | 534443.3133 | 0.18187 | 96.6029 | 439201.8767 | 0.17622
| FALSE | 012SMPL.d | 2022-12-22 10:57 | Sample |  | blk | 1 | 0.0054884 | 0.01499 | 0.038513 | 0.0032551 | 0.0013464 | 0.0014697 | 0.010409 | 0.014536 | 0.012054 | 0.023576 | 0.027246 | 0.029526 | 0.029861 | 0.010167 | 0.01398 | 0.011925 | 0.015402 | 0.012243 | 0.013417 | 0.0096331 | 0.0080567 | 95.6694 | 21537.02 | 1.8007 | 95.5362 | 876332.79 | 1.8735 | 95.7586 | 494577.2167 | 1.1958 | 96.8123 | 164520.16 | 1.173 | 95.7917 | 215133.0433 | 1.0488 | 91.8762 | 816598.5967 | 0.64567 | 91.1678 | 527839.1867 | 0.30536 | 98.1501 | 523127.8433 | 0.70751 | 95.076 | 432259.5667 | 1.3195
| FALSE | 013_QC1.d | 2022-12-22 11:01 | QC1 |  | qc 1 | 1 | 5.0883 | 5.0721 | 5.3156 | 5.0215 | 5.0614 | 5.0647 | 5.0595 | 5.015 | 5.0721 | 0.50751 | 0.53692 | 0.52211 | 0.5237 | 5.0051 | 5.0567 | 5.188 | 5.192 | 5.1189 | 5.1496 | 5.0302 | 4.937 | 96.9252 | 21819.71 | 1.3848 | 96.6589 | 886631.0433 | 1.498 | 97.3012 | 502544.3233 | 1.6545 | 96.9484 | 164751.5467 | 1.5745 | 97.6291 | 219259.7233 | 1.4638 | 92.7123 | 824030.2667 | 0.19733 | 96.0742 | 556246.3667 | 0.12336 | 98.3243 | 524056.3733 | 0.17908 | 98.0975 | 445996.97 | 0.41374
| FALSE | 014_QC2.d | 2022-12-22 11:04 | QC2 |  | qc 2 | 1 | 10.055 | 10.121 | 9.6102 | 10.0713 | 10.1458 | 9.9525 | 9.9433 | 10.056 | 10.0215 | 1.0355 | 1.0198 | 1.0464 | 1.0408 | 10.1783 | 10.1128 | 10.4476 | 10.4685 | 10.3328 | 10.3587 | 10.1419 | 10.0638 | 98.1268 | 22090.2133 | 0.70264 | 97.4732 | 894100.4633 | 0.10949 | 98.2893 | 507647.8633 | 0.70963 | 97.6993 | 166027.62 | 0.36884 | 97.4439 | 218843.75 | 0.85007 | 95.558 | 849323.2067 | 0.75003 | 95.0446 | 550285.2 | 0.86668 | 100.3516 | 534861.9133 | 0.10112 | 97.339 | 442548.5567 | 0.23212
| FALSE | 015_QC3.d | 2022-12-22 11:08 | QC3 |  | qc 3 | 1 | 49.7582 | 50.2409 | 49.9561 | 48.5613 | 49.2465 | 47.9311 | 47.929 | 49.901 | 48.4836 | 4.9451 | 5.0486 | 4.9656 | 4.9519 | 48.6553 | 48.3265 | 51.0518 | 51.1482 | 49.8291 | 49.8563 | 50.2829 | 50.9294 | 99.0803 | 22304.8667 | 0.96009 | 95.3717 | 874823.9633 | 0.80577 | 96.6802 | 499337.3133 | 1.028 | 96.5803 | 164125.9033 | 0.11006 | 93.5545 | 210108.74 | 0.53508 | 89.5312 | 795756.5667 | 0.53517 | 89.8873 | 520425.96 | 1.3534 | 95.5161 | 509089.2833 | 0.10089 | 92.0411 | 418461.7433 | 0.50946
| FALSE | 016SMPL.d | 2022-12-22 11:12 | Sample |  | blk | 1 | 0.010837 | 0.037486 | 0.010821 | 0.0033725 | 0.0026969 | 0.0011055 | 0.014422 | 0.023579 | 0.0151 | 0.069339 | 0.052544 | 0.075549 | 0.053785 | 0.015461 | 0.013922 | 0.019408 | 0.017303 | 0.017929 | 0.016562 | 0.02697 | 0.016316 | 95.5115 | 21501.4567 | 1.7619 | 95.584 | 876770.74 | 0.55499 | 95.7762 | 494668.0733 | 0.60978 | 95.1984 | 161777.55 | 0.84269 | 93.3046 | 209547.3867 | 0.3534 | 88.4619 | 786252.8 | 0.98888 | 87.772 | 508178.4333 | 0.36536 | 95.304 | 507958.5167 | 0.45455 | 92.7469 | 421670.5867 | 0.58504
| FALSE | 017SMPL.d | 2022-12-22 11:15 | Sample |  | blk | 1 | 0.0029102 | 0.014804 | <0.000 | 0.0013729 | 0.00054932 | 0.00071292 | 0.0063677 | 0.0086202 | 0.0050651 | 0.025819 | 0.02947 | 0.027358 | 0.03038 | 0.0068677 | 0.010149 | 0.0085056 | 0.013627 | 0.0084744 | 0.010512 | 0.0052158 | 0.004286 | 94.3546 | 21241.0167 | 1.906 | 94.6402 | 868114.2033 | 0.31036 | 95.0951 | 491150.57 | 0.8133 | 93.9849 | 159715.3933 | 1.2329 | 92.9118 | 208665.38 | 0.98949 | 88.7417 | 788739.7767 | 1.0572 | 88.7255 | 513699.1233 | 2.0406 | 95.0371 | 506535.9933 | 0.34266 | 93.0862 | 423213.19 | 0.88116
| FALSE | 018SMPL.d | 2022-12-22 11:19 | Sample |  | 171903-001 | 1 | 0.43366 | 0.02333 | 0.070112 | 0.010473 | 0.00913 | 0.0075445 | 0.097488 | 0.099556 | 0.09895 | 0.026327 | 0.024665 | 0.043556 | 0.035213 | 0.45242 | 0.46056 | 0.46167 | 0.46666 | 0.45984 | 0.4674 | 0.015492 | 0.016209 | 97.543 | 21958.7833 | 1.0187 | 95.2057 | 873301.33 | 0.40378 | 93.8398 | 484667.22 | 0.7709 | 94.5211 | 160626.5633 | 0.95197 | 92.0047 | 206628.2067 | 0.84672 | 91.7277 | 815278.7667 | 1.2533 | 90.7122 | 525201.9033 | 1.2196 | 95.9606 | 511458.44 | 0.55491 | 92.1175 | 418808.8433 | 0.89118
| FALSE | 019SMPL.d | 2022-12-22 11:23 | Sample |  | 171901-001 | 1 | 2.4243 | 0.032409 | 0.087282 | 0.013967 | 0.010587 | 0.0092297 | 0.097539 | 0.10251 | 0.096963 | 0.0049419 | 0.00065805 | 0.016076 | 0.008873 | 0.41391 | 0.41001 | 0.41011 | 0.40869 | 0.41266 | 0.40933 | 0.034628 | 0.032786 | 96.8266 | 21797.52 | 0.91874 | 99.4099 | 911865.4033 | 0.27154 | 99.2394 | 512555.2233 | 0.5155 | 100.1913 | 170262.3533 | 0.38263 | 93.9898 | 211086.25 | 0.36395 | 92.3711 | 820997.8533 | 0.35651 | 91.4303 | 529359.4967 | 0.48799 | 95.3141 | 508012.5733 | 0.63754 | 92.8508 | 422142.8133 | 0.37469
| FALSE | 020SMPL.d | 2022-12-22 11:26 | Sample |  | 171902-001 | 1 | 2.7572 | 0.025805 | 0.050318 | 0.0068893 | 0.005923 | 0.0037031 | 0.15014 | 0.15357 | 0.15448 | <0.000 | <0.000 | 0.0042747 | <0.000 | 0.18103 | 0.19108 | 0.18175 | 0.18658 | 0.18366 | 0.18705 | 0.094652 | 0.092523 | 95.7289 | 21550.4067 | 2.3352 | 95.315 | 874303.32 | 0.11851 | 94.5451 | 488309.6633 | 0.73872 | 95.9438 | 163044.3533 | 0.61322 | 94.5732 | 212396.58 | 0.18118 | 93.3699 | 829875.4033 | 0.37412 | 94.0975 | 544801.7333 | 0.14994 | 97.4807 | 519560.01 | 0.14254 | 94.8974 | 431447.6133 | 0.25351
| FALSE | 021SMPL.d | 2022-12-22 11:30 | Sample |  | 171904-001 | 1 | 0.033138 | 0.0044702 | <0.000 | 0.0036765 | 0.0042901 | 0.0028475 | 0.082857 | 0.0877 | 0.084204 | 0.0066149 | 0.0027737 | 0.12674 | 0.069536 | 0.28974 | 0.30156 | 0.2918 | 0.30186 | 0.29126 | 0.29975 | 0.025123 | 0.024967 | 100.524 | 22629.8833 | 1.1315 | 94.1031 | 863187.2433 | 0.27873 | 92.795 | 479270.5633 | 0.40055 | 94.2381 | 160145.6733 | 1.0907 | 93.1285 | 209152.0567 | 0.46249 | 94.2829 | 837989.9267 | 0.4869 | 93.739 | 542726.1833 | 0.041729 | 97.7327 | 520903.2633 | 0.098028 | 94.6401 | 430277.8 | 0.10157
| FALSE | 022SMPL.d | 2022-12-22 11:34 | Sample |  | 171899-001 | 1 | 0.74102 | 0.03023 | <0.000 | 0.010426 | 0.0083169 | 0.0085324 | 0.17908 | 0.17377 | 0.18825 | 0.0029827 | <0.000 | <0.000 | <0.000 | 0.48141 | 0.46928 | 0.47594 | 0.47782 | 0.48522 | 0.48158 | 0.16496 | 0.16285 | 93.9444 | 21148.67 | 0.46373 | 95.8213 | 878947.9467 | 1.2999 | 94.8979 | 490132.1767 | 0.14563 | 95.8996 | 162969.2133 | 1.0602 | 93.4324 | 209834.43 | 0.37707 | 95.1114 | 845353.7267 | 1.8231 | 94.8335 | 549062.7667 | 0.38993 | 96.8272 | 516077.26 | 0.21776 | 93.8475 | 426674.49 | 0.36115
| FALSE | 023SMPL.d | 2022-12-22 11:38 | Sample |  | 171900-001 | 1 | 0.90849 | 0.024331 | 0.14053 | 0.010089 | 0.0048298 | 0.0049162 | 0.3399 | 0.36108 | 0.34357 | <0.000 | <0.000 | 0.012005 | 0.0068352 | 0.44916 | 0.45122 | 0.45213 | 0.45642 | 0.44818 | 0.45752 | 0.024008 | 0.023881 | 96.312 | 21681.68 | 0.56891 | 96.012 | 880697.06 | 0.29193 | 94.2427 | 486748.0133 | 0.11094 | 96.2062 | 163490.28 | 0.77896 | 92.9705 | 208797.1667 | 0.55362 | 94.0892 | 836267.8267 | 0.74783 | 92.7174 | 536811.3667 | 0.69435 | 96.8317 | 516101.11 | 0.22778 | 93.7036 | 426020.2167 | 0.75875
| FALSE | 024SMPL.d | 2022-12-22 11:41 | Sample |  | 171898-001 | 1 | 1.4353 | 0.23133 | 0.41095 | 0.015279 | 0.013302 | 0.015684 | 0.37519 | 0.39766 | 0.37774 | 0.021892 | 0.01419 | 0.018522 | 0.018235 | 8.5686 | 8.6277 | 8.3972 | 8.3846 | 8.4683 | 8.5173 | 0.10873 | 0.10888 | 132.4336 | 29813.3267 | 0.76775 | 186.9732 | 1715064.0167 | 0.29479 | 192.804 | 995800.4967 | 2.3545 | 191.7857 | 325915.5267 | 0.24813 | 90.1929 | 202559.0033 | 0.94674 | 95.3617 | 847578.5567 | 0.50757 | 93.6043 | 541946.16 | 0.95998 | 93.8354 | 500131.1433 | 0.2287 | 90.2885 | 410493.39 | 0.16024
| FALSE | 025SMPL.d | 2022-12-22 11:45 | Sample |  | 171898-001 | 10 | 2.7294 | 0.44303 | 2.3171 | 0.028253 | 0.012192 | 0.029235 | 0.81027 | 0.88729 | 0.80153 | 0.036984 | 0.0066306 | 0.063859 | 0.016954 | 8.7269 | 8.77 | 8.6188 | 8.6924 | 8.639 | 8.7314 | 0.10597 | 0.10933 | 100.9639 | 22728.8967 | 2.277 | 105.7952 | 970436.1067 | 1.179 | 106.1443 | 548217.9633 | 1.0851 | 108.0063 | 183542.9333 | 0.97281 | 96.1642 | 215969.69 | 0.71844 | 93.1737 | 828130.89 | 0.33443 | 92.3003 | 534396.44 | 1.0907 | 97.1684 | 517895.5933 | 0.37347 | 94.3686 | 429043.7867 | 1.0493
| FALSE | 026SMPL.d | 2022-12-22 11:49 | Sample |  | 171909-001 | 1 | 1.5909 | 0.0076496 | 0.02403 | 0.0024597 | 0.0013873 | 0.0025093 | 0.085924 | 0.086407 | 0.085976 | 0.017836 | 0.010553 | 0.016587 | 0.015095 | 0.62378 | 0.62486 | 0.65155 | 0.64147 | 0.64059 | 0.64241 | 0.039761 | 0.041026 | 94.6609 | 21309.9833 | 2.3833 | 95.0251 | 871644.1267 | 0.12311 | 94.4257 | 487693.1333 | 0.77433 | 95.3141 | 161974.17 | 0.74504 | 94.1993 | 211556.7967 | 0.23243 | 95.4405 | 848278.1533 | 1.7321 | 93.4907 | 541288.5333 | 0.45088 | 97.9896 | 522272.51 | 0.57301 | 94.7941 | 430978.3333 | 0.67784
| FALSE | 027SMPL.d | 2022-12-22 11:52 | Sample |  | 171910-001 | 1 | 0.32699 | 0.49551 | 0.47048 | 0.0041385 | 0.0029112 | 0.0022406 | 0.073678 | 0.083132 | 0.078259 | 0.0006313 | 0.0005115 | 0.0022972 | 0.0013108 | 0.54304 | 0.55945 | 0.56064 | 0.56136 | 0.5553 | 0.56428 | 0.004542 | 0.0047385 | 95.773 | 21560.34 | 1.0854 | 94.2715 | 864732.2533 | 0.72814 | 94.0791 | 485903.1233 | 0.25988 | 95.5198 | 162323.8433 | 0.79415 | 94.5544 | 212354.3967 | 0.29341 | 95.1753 | 845921.9067 | 1.1414 | 93.613 | 541996.64 | 0.097124 | 96.8143 | 516008.5067 | 0.1987 | 93.848 | 426676.8633 | 0.33739
| FALSE | 028_QC2.d | 2022-12-22 11:56 | QC2 |  | qc 2 | 1 | 10.0631 | 10.0754 | 10.5678 | 9.9411 | 10.0276 | 9.886 | 9.8037 | 9.9344 | 9.8708 | 0.99591 | 1.0195 | 1.0237 | 1.0002 | 10.1389 | 10.1596 | 10.3529 | 10.3731 | 10.2827 | 10.3203 | 10.2925 | 9.908 | 99.3571 | 22367.19 | 0.86819 | 97.7369 | 896519.5167 | 0.8271 | 97.7061 | 504635.92 | 1.0253 | 99.2602 | 168680.06 | 0.36097 | 98.3325 | 220839.37 | 0.54218 | 95.8176 | 851630.62 | 0.83476 | 95.8256 | 554807.21 | 0.073534 | 98.9466 | 527373.0967 | 0.60791 | 97.3859 | 442761.72 | 0.17415
| FALSE | 029SMPL.d | 2022-12-22 12:00 | Sample |  | blk | 1 | 0.0017004 | 0.003515 | 0.069548 | 0.00098805 | <0.000 | 5.6461e-05 | 0.0049673 | 0.0050352 | 0.0033856 | 0.021956 | 0.0088949 | 0.01731 | 0.01372 | 0.0035817 | 0.01578 | 0.0086129 | 0.0079638 | 0.0072307 | 0.0092417 | 0.0075394 | 0.0050343 | 98.3387 | 22137.91 | 0.85286 | 98.8666 | 906882 | 0.98974 | 95.9477 | 495554.1433 | 1.2412 | 97.9901 | 166521.8 | 0.65391 | 97.2828 | 218481.88 | 0.33982 | 96.5908 | 858502.6533 | 0.56362 | 95.5219 | 553048.37 | 0.20662 | 100.0545 | 533278.0633 | 0.26531 | 97.6261 | 443853.88 | 0.34517
| FALSE | 030SMPL.d | 2022-12-22 12:04 | Sample |  | 171911-001 | 1 | 0.96839 | 0.4313 | 0.41752 | 0.010564 | 0.011184 | 0.0091938 | 0.19048 | 0.20594 | 0.18745 | <0.000 | <0.000 | <0.000 | <0.000 | 0.71097 | 0.72101 | 0.70891 | 0.72274 | 0.70993 | 0.7205 | 0.063581 | 0.062234 | 90.3208 | 20332.9367 | 0.93794 | 92.8567 | 851754.0067 | 1.0391 | 90.6082 | 467976.57 | 0.30356 | 90.62 | 153997.19 | 0.86201 | 89.4175 | 200817.7033 | 0.84214 | 93.2278 | 828611.9133 | 0.61974 | 91.7405 | 531155.5133 | 1.2871 | 95.0358 | 506529.2333 | 0.34796 | 90.4435 | 411198.1767 | 0.86098
| FALSE | 031SMPL.d | 2022-12-22 12:07 | Sample |  | 171917-001 | 1 | 0.13109 | 0.1672 | 0.25343 | 0.0048575 | 0.0064667 | 0.0049273 | 0.1496 | 0.15399 | 0.13664 | 0.016616 | 0.0077915 | 0.010856 | 0.0098079 | 0.61762 | 0.63768 | 0.61991 | 0.63616 | 0.61933 | 0.63323 | 0.002082 | 0.0026374 | 87.5483 | 19708.7867 | 2.2695 | 89.6798 | 822612.9133 | 1.0361 | 88.1453 | 455255.9067 | 0.85566 | 89.3896 | 151906.28 | 0.62714 | 87.0976 | 195607.43 | 0.1085 | 91.8693 | 816537.3067 | 1.9593 | 91.0104 | 526928.2167 | 0.25836 | 90.8103 | 484007.8267 | 0.92196 | 86.8963 | 395071.02 | 0.1511
| FALSE | 032SMPL.d | 2022-12-22 12:11 | Sample |  | 171918-001 | 1 | 0.0071406 | 0.034783 | 0.0010748 | 0.0024508 | 0.0025506 | 0.0027729 | 0.068275 | 0.06959 | 0.068006 | <0.000 | <0.000 | <0.000 | <0.000 | 0.46457 | 0.47963 | 0.47463 | 0.47825 | 0.47359 | 0.47972 | 0.00012075 | 0.00019604 | 95.6199 | 21525.8767 | 0.81675 | 95.2995 | 874161.8633 | 0.60516 | 92.6799 | 478676.4267 | 0.42291 | 93.8647 | 159511.1 | 0.60498 | 95.2009 | 213806.2867 | 0.99845 | 99.5325 | 884648.4667 | 0.97822 | 97.7176 | 565761.4233 | 0.84759 | 102.0752 | 544048.2633 | 0.23943 | 99.1434 | 450751.87 | 0.18886
| FALSE | 033SMPL.d | 2022-12-22 12:15 | Sample |  | 171920-001 | 1 | 0.11738 | 0.36394 | 0.33713 | 0.0034381 | 0.0023874 | 0.0041381 | 0.21912 | 0.22918 | 0.22386 | 0.011358 | 0.0011834 | 0.0032554 | 0.0072537 | 0.69293 | 0.69508 | 0.68728 | 0.68146 | 0.68539 | 0.68905 | 0.41601 | 0.41385 | 91.8089 | 20667.94 | 1.9949 | 94.3835 | 865759.0967 | 0.20864 | 91.3028 | 471564.07 | 0.99517 | 92.32 | 156886.0767 | 0.51954 | 91.875 | 206336.8967 | 0.76669 | 96.774 | 860130.6233 | 0.77894 | 95.3247 | 551907.07 | 0.15398 | 95.6423 | 509761.59 | 0.35953 | 92.0049 | 418297.0633 | 0.27106
| FALSE | 034_QC1.d | 2022-12-22 12:19 | QC1 |  | qc 1 | 1 | 5.0515 | 5.0871 | 4.8827 | 5.0315 | 5.0975 | 5.0593 | 5.0315 | 5.0749 | 5.0655 | 0.53582 | 0.52131 | 0.50947 | 0.51239 | 5.1156 | 5.1855 | 5.2218 | 5.1626 | 5.1757 | 5.1879 | 4.8488 | 4.7941 | 95.7585 | 21557.0567 | 1.0615 | 97.7889 | 896996.3467 | 0.64215 | 94.5886 | 488534.6633 | 0.35784 | 96.5266 | 164034.6633 | 0.33464 | 97.5247 | 219025.2667 | 0.76073 | 99.2604 | 882230.3367 | 0.42136 | 98.4708 | 570121.8333 | 1.0453 | 100.413 | 535188.94 | 0.5886 | 98.218 | 446544.6333 | 0.73247
| FALSE | 035_QC2.d | 2022-12-22 12:22 | QC2 |  | qc 2 | 1 | 10.0297 | 10.0375 | 9.7455 | 10.1121 | 10.2648 | 10.1831 | 10.0782 | 10.1838 | 10.2718 | 1.054 | 1.0408 | 1.0353 | 1.0354 | 10.2534 | 10.3554 | 10.3783 | 10.421 | 10.3533 | 10.4413 | 10.1086 | 9.8446 | 94.76 | 21332.2767 | 0.40189 | 96.6093 | 886175.62 | 0.48059 | 92.4687 | 477585.6367 | 1.2763 | 94.5025 | 160594.98 | 0.81891 | 96.1778 | 216000.3 | 0.3775 | 98.4268 | 874821.2533 | 0.57943 | 98.8912 | 572555.8867 | 0.21845 | 101.2412 | 539603.1733 | 0.82635 | 98.5743 | 448164.5467 | 0.59719
| FALSE | 036_QC3.d | 2022-12-22 12:26 | QC3 |  | qc 3 | 1 | 48.9246 | 49.6379 | 47.6429 | 50.0383 | 50.5301 | 49.6765 | 49.8101 | 52.8209 | 50.3307 | 5.2717 | 5.112 | 5.2025 | 5.0853 | 52.2117 | 51.5276 | 53.1229 | 51.9638 | 52.2874 | 51.7011 | 50.1513 | 48.2052 | 93.7814 | 21111.98 | 1.2575 | 94.172 | 863819.3167 | 2.5202 | 91.2516 | 471299.62 | 0.87555 | 92.9859 | 158017.7367 | 1.036 | 93.7802 | 210615.5767 | 0.55712 | 97.4061 | 865748.5167 | 2.8789 | 99.1158 | 573856.1867 | 0.84536 | 98.9099 | 527177.7633 | 1.9826 | 97.9005 | 445101.1633 | 0.7078
| FALSE | 037SMPL.d | 2022-12-22 12:29 | Sample |  | curve 4 | 1 | 48.49 | 48.8321 | 48.3689 | 49.2182 | 50.399 | 49.9721 | 49.6652 | 51.7352 | 50.4627 | 2.5153 | 2.5726 | 2.5414 | 2.541 | 51.3509 | 52.2945 | 50.4537 | 50.433 | 50.8395 | 51.3793 | 48.9249 | 48.8998 | 92.6294 | 20852.65 | 0.77749 | 94.8446 | 869988.5367 | 0.42966 | 90.493 | 467381.5667 | 0.12887 | 91.6892 | 155814.21 | 0.23345 | 93.1073 | 209104.2733 | 0.78544 | 98.8613 | 878682.4167 | 0.58633 | 99.0818 | 573659.5733 | 0.43782 | 101.1847 | 539302.08 | 0.54416 | 97.1425 | 441655.2867 | 0.077877

## ValueList_Helper (hidden)
Bkgnd
BlkVrfy
CalBlk
CalStd
CICSpike
DilStd
DriftChk
FQBlk
IsoStd
QC1
QC2
QC3
QC4
QC5
Sample
Spike
Spike Ref
SQBlk
SQISTD
SQStd