## Sheet1
Sample | [7 empty] | 75 As [ He ] | 78 Se [ H2 ] | 78 Se [ He ] | 111 Cd [ No Gas ] | 111 Cd [ He ] | 114 Cd [ He ] | 121 Sb [ He ] | 123 Sb [ No Gas ] | 123 Sb [ He ] | 201 Hg [ No Gas ] | 201 Hg [ He ] | 202 Hg [ No Gas ] | 202 Hg [ He ] | 206 [Pb] [ No Gas ] | 206 [Pb] [ He ] | 207 [Pb] [ No Gas ] | 207 [Pb] [ He ] | 208 Pb [ No Gas ] | 208 Pb [ He ] | 238 U [ No Gas ] | 238 U [ He ] | 72 Ge ( ISTD ) [ He ] |  |  | 89 Y ( ISTD ) [ No Gas ] |  |  | 89 Y ( ISTD ) [ H2 ] |  |  | 89 Y ( ISTD ) [ He ] |  |  | 115 In ( ISTD ) [ He ] |  |  | 159 Tb ( ISTD ) [ No Gas ] |  |  | 159 Tb ( ISTD ) [ He ] |  |  | 209 Bi ( ISTD ) [ No Gas ] |  |  | 209 Bi ( ISTD ) [ He ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | Total Dil. | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD
| FALSE | 001SMPL.d | 2023-02-22 18:46 | Sample |  | blk | 1 | [22 empty] | 11328.2067 | 2.5105 |  | 580862.6 | 0.51065 |  | 229414.81 | 0.567 |  | 83066.5167 | 0.81359 |  | 118251.58 | 0.1157 |  | 740789.6167 | 0.92075 |  | 413321.4733 | 0.51651 |  | 480021.85 | 1.0532 |  | 325005.1 | 1.2318
| FALSE | 002SMPL.d | 2023-02-22 18:49 | Sample |  | blk | 1 | [22 empty] | 11165.8767 | 0.36012 |  | 556028.82 | 5.0357 |  | 228988.16 | 1.3356 |  | 82768.7767 | 0.28559 |  | 117685.2967 | 0.27668 |  | 713974.57 | 5.4038 |  | 410489.4767 | 0.35891 |  | 448280.9833 | 4.104 |  | 320607.46 | 0.68539
| FALSE | 003SMPL.d | 2023-02-22 18:53 | Sample |  | blk | 1 | [22 empty] | 11270.3767 | 1.6746 |  | 579480.5933 | 0.24014 |  | 228093.77 | 0.074754 |  | 83790.9067 | 0.78775 |  | 118038.9233 | 0.29342 |  | 738927.48 | 0.31242 |  | 411165.58 | 0.44658 |  | 462031.32 | 0.84397 |  | 322399.83 | 0.41909
| FALSE | 004CALB.d | 2023-02-22 18:57 | CalBlk | 1 | blk | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 11159.1933 | 2.6898 | 100 | 588757.5567 | 20.9569 | 100 | 230181.6 | 0.78664 | 100 | 81397.65 | 6.2518 | 100 | 115568.6567 | 4.3751 | 100 | 755295.7967 | 21.4995 | 100 | 401810.72 | 4.9774 | 100 | 468163.5167 | 20.0341 | 100 | 313762.3967 | 3.9491
| FALSE | 005CALS.d | 2023-02-22 19:01 | CalStd | 2 | curve 1 | 1 | 0.10748 | 0.10839 | 0.11216 | 0.10496 | 0.11158 | 0.10165 | 0.11199 | 0.11072 | 0.098115 | <0.000 | <0.000 | <0.000 | <0.000 | 0.094497 | 0.085553 | 0.087688 | 0.092544 | 0.092109 | 0.087223 | 0.094387 | 0.087876 | 103.3882 | 11537.2867 | 1.6219 | 96.6157 | 568832.0533 | 1.8642 | 94.5992 | 217750.0167 | 1.7465 | 104.3047 | 84901.5667 | 0.42346 | 103.1663 | 119227.9433 | 0.65386 | 96.2853 | 727238.68 | 1.4454 | 102.84 | 413222.1033 | 0.17295 | 96.5375 | 451953.2067 | 0.72748 | 101.7256 | 319176.8133 | 0.16576
| FALSE | 006CALS.d | 2023-02-22 19:05 | CalStd | 3 | curve 2 | 1 | 1.0659 | 0.99391 | 1.1651 | 1.004 | 1.0424 | 1.0208 | 1.0333 | 0.95987 | 1.0219 | 0.039716 | 0.034388 | 0.018221 | 0.03371 | 0.92929 | 0.98869 | 0.93816 | 0.98838 | 0.94359 | 1.002 | 0.86652 | 0.91423 | 102.4215 | 11429.4167 | 2.3302 | 111.7676 | 658039.9967 | 39.3198 | 101.3054 | 233186.4433 | 1.0033 | 103.8945 | 84567.6933 | 0.82909 | 103.298 | 119380.0667 | 0.44882 | 110.3633 | 833569.5567 | 38.2663 | 102.6477 | 412449.46 | 0.309 | 112.8134 | 528151.27 | 36.5047 | 101.2961 | 317829.1467 | 1.0684
| FALSE | 007CALS.d | 2023-02-22 19:08 | CalStd | 4 | curve 2.5 (Hg only) | 1 | 2.0289 | 2.1463 | 2.2988 | 2.2225 | 2.0595 | 2.0817 | 2.0656 | 2.1811 | 2.0326 | 0.094493 | 0.088953 | 0.083439 | 0.07884 | 2.1209 | 1.9867 | 2.1041 | 1.9865 | 2.1279 | 2.0071 | 1.9787 | 1.8305 | 101.1958 | 11292.63 | 2.4052 | 95.3637 | 561460.7033 | 25.0557 | 99.8537 | 229844.7533 | 0.56343 | 104.0236 | 84672.79 | 1.0379 | 102.851 | 118863.52 | 0.60832 | 94.5937 | 714462.0333 | 24.4923 | 102.8223 | 413151.12 | 0.2893 | 96.2562 | 450636.5467 | 22.4881 | 100.9767 | 316826.9667 | 0.6187
| FALSE | 008CALS.d | 2023-02-22 19:12 | CalStd | 5 | curve 3 | 1 | 10.1396 | 11.667 | 9.5513 | 11.0099 | 10.2132 | 10.3278 | 10.1463 | 10.6584 | 10.2718 | 0.52394 | 0.48676 | 0.49769 | 0.48494 | 10.5631 | 9.9006 | 10.4967 | 9.7462 | 10.6284 | 9.9402 | 9.8068 | 8.9844 | 101.3455 | 11309.3433 | 1.9671 | 94.0197 | 553548.3267 | 15.6444 | 87.7468 | 201976.96 | 5.5896 | 102.3237 | 83289.07 | 0.51168 | 101.7781 | 117623.58 | 1.3633 | 93.2336 | 704189.1767 | 16.2888 | 101.979 | 409762.5333 | 0.24983 | 93.6427 | 438400.8967 | 13.2577 | 100.7855 | 316226.99 | 0.19739
| FALSE | 009CALS.d | 2023-02-22 19:16 | CalStd | 6 | curve 4 | 1 | 50.1979 | 50.1467 | 49.7427 | 50.6506 | 50.4663 | 50.702 | 50.0495 | 50.9903 | 50.3059 | 2.4381 | 2.4668 | 2.4234 | 2.4617 | 48.9483 | 48.4969 | 48.8695 | 47.9831 | 49.6497 | 49.3852 | 50.5051 | 50.2709 | 105.0323 | 11720.7567 | 2.1351 | 98.1785 | 578033.4033 | 0.53576 | 100.0486 | 230293.45 | 0.45809 | 103.1542 | 83965.1133 | 1.3825 | 102.3705 | 118308.2533 | 0.72698 | 97.6486 | 737536.1267 | 0.33833 | 103.2264 | 414774.7233 | 0.62364 | 96.6763 | 452603.2067 | 0.25007 | 101.0745 | 317133.92 | 0.21007
| FALSE | 010CALS.d | 2023-02-22 19:20 | CalStd | 7 | curve 5 | 1 | 99.8864 | 99.76 | 100.1719 | 99.5737 | 99.7451 | 99.616 | 99.9603 | 99.4394 | 99.8197 | 5.0288 | 5.0183 | 5.0392 | 5.0213 | 100.4702 | 100.7616 | 100.5162 | 101.034 | 100.1129 | 100.3134 | 99.7681 | 99.967 | 106.0888 | 11838.6533 | 2.6627 | 98.4298 | 579512.7567 | 0.21064 | 100.486 | 231300.3567 | 1.3288 | 104.1289 | 84758.51 | 0.69221 | 101.612 | 117431.5767 | 0.54598 | 97.4695 | 736183.14 | 0.27177 | 103.6937 | 416652.3367 | 0.21153 | 95.8243 | 448614.37 | 0.16332 | 99.4483 | 312031.2367 | 0.84645
| FALSE | 011SMPL.d | 2023-02-22 19:24 | Sample |  | blk | 1 | 0.042174 | 0.08714 | 0.24315 | 0.012925 | 0.0055851 | 0.010687 | 0.042416 | 0.058925 | 0.035541 | 0.06514 | 0.054508 | 0.060675 | 0.051636 | 0.036489 | 0.032097 | 0.042757 | 0.031318 | 0.038771 | 0.029376 | 0.046658 | 0.0298 | 105.6704 | 11791.9633 | 2.0138 | 94.7398 | 557787.46 | 10.9903 | 101.6432 | 233963.95 | 1.3687 | 105.681 | 86021.8367 | 0.97618 | 104.1235 | 120334.1667 | 0.78613 | 92.8968 | 701645.6133 | 10.5967 | 103.7173 | 416747.3633 | 0.81505 | 95.9464 | 449185.9033 | 10.8271 | 102.579 | 321854.31 | 0.93853
| FALSE | 012SMPL.d | 2023-02-22 19:27 | Sample |  | blk | 1 | 0.015978 | 0.034937 | 0.077866 | 0.0077414 | 0.0075029 | 0.0066189 | 0.017555 | 0.023795 | 0.0063232 | 0.033935 | 0.028197 | 0.017388 | 0.017303 | 0.017867 | 0.018607 | 0.027529 | 0.027043 | 0.022054 | 0.020942 | 0.016174 | 0.013606 | 103.0198 | 11496.1767 | 2.4905 | 107.5647 | 633295.0133 | 38.2132 | 99.4321 | 228874.3867 | 0.14701 | 104.1184 | 84749.9067 | 0.23381 | 103.3881 | 119484.2867 | 0.70078 | 106.4751 | 804202.3133 | 38.7897 | 103.1456 | 414450.15 | 0.45596 | 106.6538 | 499314.0967 | 34.1735 | 101.4856 | 318423.53 | 0.88009
| FALSE | 013_QC1.d | 2023-02-22 19:31 | QC1 |  | qc 1 | 1 | 5.1639 | 5.2496 | 5.4708 | 5.2669 | 5.2148 | 5.2917 | 5.2356 | 5.1387 | 5.1351 | 0.51341 | 0.49245 | 0.4812 | 0.50482 | 5.1229 | 5.0529 | 5.0883 | 5.0129 | 5.133 | 5.0733 | 4.7138 | 4.543 | 104.305 | 11639.5933 | 1.65 | 99.2791 | 584513.1767 | 0.27959 | 100.7982 | 232018.96 | 0.56255 | 104.1469 | 84773.1433 | 0.3944 | 103.8344 | 119999.9733 | 0.72402 | 98.1678 | 741457.1867 | 0.59206 | 103.1905 | 414630.52 | 0.5927 | 98.1809 | 459647.0367 | 0.29029 | 102.288 | 320941.18 | 0.20395
| FALSE | 014_QC2.d | 2023-02-22 19:35 | QC2 |  | qc 2 | 1 | 10.5316 | 11.7039 | 10.3574 | 9.7732 | 10.7043 | 10.5874 | 10.5393 | 9.4042 | 10.449 | 0.89404 | 0.99998 | 0.87543 | 1.0021 | 9.1683 | 10.1495 | 9.0673 | 10.0412 | 9.1651 | 10.1781 | 8.4049 | 9.1221 | 103.9486 | 11599.83 | 1.548 | 125.892 | 741198.4733 | 42.4429 | 88.6209 | 203988.9167 | 6.895 | 103.1936 | 83997.2 | 2.3952 | 102.8696 | 118885.07 | 2.4042 | 124.0953 | 937286.65 | 42.2582 | 103.4691 | 415749.91 | 3.5974 | 124.2881 | 581871.4867 | 38.8272 | 100.7153 | 316006.73 | 2.1525
| FALSE | 015_QC3.d | 2023-02-22 19:39 | QC3 |  | qc 3 | 1 | 51.0995 | 50.2655 | 49.7345 | 51.5927 | 51.247 | 51.5864 | 51.0991 | 51.8272 | 51.3327 | 4.9734 | 5.0736 | 4.9732 | 5.0019 | 50.7542 | 49.8743 | 49.5506 | 49.3732 | 50.817 | 50.9311 | 51.1557 | 51.792 | 102.9097 | 11483.89 | 0.47218 | 99.1038 | 583481.3 | 0.18202 | 101.068 | 232639.9467 | 0.19951 | 104.9159 | 85399.07 | 0.39664 | 103.1161 | 119169.9467 | 0.28503 | 98.4867 | 743865.91 | 0.17236 | 103.3048 | 415089.8533 | 0.085527 | 97.8198 | 457956.8 | 0.35369 | 100.6394 | 315768.5233 | 0.10125
| FALSE | 016SMPL.d | 2023-02-22 19:42 | Sample |  | blk | 1 | 0.02577 | 0.051217 | 0.0086244 | 0.010813 | 0.0058941 | 0.0096272 | 0.026756 | 0.034526 | 0.019429 | 0.058494 | 0.059666 | 0.061251 | 0.056061 | 0.024024 | 0.032589 | 0.02813 | 0.023937 | 0.027873 | 0.034067 | 0.034685 | 0.023306 | 102.6908 | 11459.4633 | 3.2216 | 99.6907 | 586936.56 | 0.22471 | 101.4118 | 233431.2233 | 0.46235 | 101.8756 | 82924.37 | 5.738 | 100.6934 | 116369.9867 | 6.8013 | 98.5206 | 744121.7 | 0.84223 | 100.2563 | 402840.5833 | 5.9678 | 98.9762 | 463370.5233 | 0.46489 | 99.5095 | 312223.2933 | 4.8548
| FALSE | 017SMPL.d | 2023-02-22 19:46 | Sample |  | blk | 1 | 0.011291 | 0.019173 | <0.000 | 0.0059438 | 0.0038869 | 0.0063253 | 0.018692 | 0.019016 | 0.0113 | 0.043004 | 0.031791 | 0.037248 | 0.02806 | 0.021853 | 0.018766 | 0.026705 | 0.02196 | 0.022437 | 0.020282 | 0.013578 | 0.012492 | 103.7968 | 11582.89 | 1.6278 | 96.2078 | 566430.4467 | 6.1857 | 101.1152 | 232748.5733 | 1.1629 | 105.414 | 85804.52 | 0.28636 | 104.5705 | 120850.72 | 0.25666 | 94.8296 | 716244.13 | 5.655 | 103.4481 | 415665.56 | 0.659 | 95.2827 | 446078.8967 | 5.0734 | 102.1483 | 320502.8167 | 0.48971
| FALSE | 018SMPL.d | 2023-02-22 19:50 | Sample |  | 172735-001 | 1 | 0.061851 | 0.019614 | <0.000 | 0.0037317 | 0.0036652 | 0.0039062 | 0.090662 | 0.097723 | 0.088784 | 0.024755 | 0.020682 | 0.016315 | 0.017545 | 0.94734 | 0.97732 | 0.99192 | 0.99089 | 0.97566 | 0.98513 | 0.0053445 | 0.0059597 | 101.7543 | 11354.9633 | 2.4003 | 96.5177 | 568255.2667 | 0.54885 | 99.6216 | 229310.55 | 1.0087 | 102.1928 | 83182.5033 | 2.2613 | 99.257 | 114709.9933 | 1.6225 | 96.1123 | 725932.1967 | 0.1741 | 100.2044 | 402631.8533 | 2.2306 | 94.394 | 441918.4067 | 0.39551 | 96.234 | 301945.96 | 1.7557
| FALSE | 019SMPL.d | 2023-02-22 19:53 | Sample |  | 172692-001 | 1 | 0.2074 | 0.031898 | <0.000 | 0.012325 | 0.012501 | 0.011158 | 0.29095 | 0.29644 | 0.28792 | <0.000 | <0.000 | <0.000 | <0.000 | 0.95702 | 0.95298 | 0.99597 | 0.98041 | 0.97946 | 0.97359 | <0.000 | <0.000 | 105.5704 | 11780.8067 | 2.8797 | 99.6888 | 586925.38 | 0.61172 | 101.897 | 234548.1533 | 1.3373 | 105.9501 | 86240.9167 | 0.9609 | 103.5915 | 119719.31 | 1.12 | 98.0421 | 740507.75 | 0.61438 | 103.379 | 415387.95 | 0.54769 | 98.2552 | 459995.0467 | 0.76637 | 101.2513 | 317688.4433 | 0.47853
| FALSE | 020SMPL.d | 2023-02-22 19:57 | Sample |  | 172693-001 | 1 | 0.12633 | 0.044476 | 0.014165 | 0.00933 | 0.011411 | 0.010364 | 0.074293 | 0.080092 | 0.066311 | <0.000 | <0.000 | <0.000 | <0.000 | 0.57315 | 0.57806 | 0.58808 | 0.57788 | 0.58032 | 0.57815 | 0.013925 | 0.012273 | 106.2884 | 11860.9267 | 2.0846 | 100.2777 | 590392.31 | 0.44161 | 99.9576 | 230084.08 | 0.30208 | 108.1054 | 87995.2467 | 0.54507 | 105.5074 | 121933.48 | 0.11184 | 98.1119 | 741035.0233 | 0.88917 | 104.286 | 419032.4267 | 0.74335 | 97.6505 | 457164.0333 | 0.61865 | 101.001 | 316903.2533 | 0.84831
| FALSE | 021SMPL.d | 2023-02-22 20:01 | Sample |  | 172767-001 | 1 | 0.58777 | 0.3119 | 0.2347 | 0.037996 | 0.037981 | 0.034977 | 0.064679 | 0.058343 | 0.057417 | 0.017897 | 0.0025054 | 0.013067 | 0.0040889 | 0.80276 | 0.79428 | 0.81555 | 0.80034 | 0.81748 | 0.81193 | 1.8325 | 1.7501 | 105.7797 | 11804.1667 | 1.5024 | 95.5016 | 562272.8867 | 0.042676 | 94.6731 | 217919.9567 | 0.83606 | 104.14 | 84767.5367 | 0.35765 | 97.7886 | 113012.99 | 0.69491 | 92.4494 | 698266.5533 | 0.56673 | 97.6827 | 392499.49 | 0.20386 | 84.8986 | 397464.4767 | 0.24612 | 87.3903 | 274197.8533 | 0.95911
| FALSE | 022SMPL.d | 2023-02-22 20:05 | Sample |  | 172771-005 | 1 | 0.19726 | 0.10525 | 0.16916 | 0.095078 | 0.088671 | 0.095705 | 0.20045 | 0.20278 | 0.19445 | <0.000 | <0.000 | <0.000 | <0.000 | 2.4379 | 2.4651 | 2.5309 | 2.4922 | 2.5029 | 2.4901 | 0.023532 | 0.020487 | 109.1381 | 12178.9267 | 1.6225 | 117.2674 | 690420.5533 | 0.56733 | 115.1051 | 264950.74 | 0.10208 | 124.0803 | 100998.4733 | 0.64168 | 106.2067 | 122741.6833 | 0.44299 | 100.2037 | 756834.4333 | 0.82092 | 104.6516 | 420501.4233 | 0.33945 | 98.1818 | 459651.46 | 0.50692 | 100.4029 | 315026.6667 | 0.27679
| FALSE | 023SMPL.d | 2023-02-22 20:08 | Sample |  | 172787-002 | 1 | 0.004883 | 0.032354 | <0.000 | 4.5596e-05 | <0.000 | 0.00043789 | 0.057205 | 0.063922 | 0.055328 | <0.000 | <0.000 | <0.000 | <0.000 | 0.52133 | 0.51526 | 0.5626 | 0.57055 | 0.54493 | 0.54088 | <0.000 | <0.000 | 108.0819 | 12061.0733 | 1.1867 | 103.6148 | 610040.1967 | 0.24755 | 102.9893 | 237062.46 | 0.29238 | 108.8784 | 88624.42 | 0.32211 | 107.3146 | 124022.0133 | 0.43909 | 100.518 | 759207.9033 | 0.39863 | 104.976 | 421804.6867 | 0.65958 | 100.6937 | 471411.2333 | 0.21308 | 103.3002 | 324117.2467 | 0.22763
| FALSE | 024SMPL.d | 2023-02-22 20:12 | Sample |  | 172784-001 | 1 | 0.048911 | 0.057747 | 0.051192 | 0.0025802 | 0.0033738 | 0.0032569 | 0.037367 | 0.038932 | 0.027481 | <0.000 | <0.000 | <0.000 | <0.000 | 0.89013 | 0.90471 | 0.94633 | 0.94192 | 0.92764 | 0.93139 | <0.000 | <0.000 | 104.6136 | 11674.03 | 1.0701 | 100.5516 | 592005.1133 | 0.30673 | 101.132 | 232787.31 | 1.3289 | 106.8924 | 87007.93 | 0.43906 | 104.661 | 120955.3167 | 0.50067 | 98.6489 | 745091.1067 | 0.21031 | 103.3838 | 415407.1867 | 0.6647 | 100.1011 | 468636.6367 | 0.42148 | 102.5428 | 321740.5933 | 0.68448
| FALSE | 025SMPL.d | 2023-02-22 20:16 | Sample |  | 172790-001 | 1 | 0.069847 | 0.12545 | 0.03557 | 0.0024628 | 0.001226 | 0.0019012 | 0.083704 | 0.086164 | 0.078989 | <0.000 | <0.000 | <0.000 | <0.000 | 1.0345 | 1.0305 | 1.0829 | 1.0311 | 1.0651 | 1.0426 | <0.000 | 0.00021455 | 105.4213 | 11764.1633 | 1.2938 | 99.8955 | 588142.15 | 0.31031 | 98.6142 | 226991.6467 | 0.45117 | 106.5939 | 86764.9633 | 0.96267 | 101.6009 | 117418.74 | 0.74045 | 96.8004 | 731129.08 | 0.34904 | 101.5905 | 408201.47 | 0.5272 | 94.3001 | 441478.8833 | 0.71899 | 96.2539 | 302008.5 | 0.69586
| FALSE | 026SMPL.d | 2023-02-22 20:20 | Sample |  | 172787-001 | 1 | 0.0042411 | 0.014738 | <0.000 | 0.00014391 | <0.000 | 0.0011273 | 0.039058 | 0.038199 | 0.027375 | <0.000 | <0.000 | <0.000 | <0.000 | 0.17146 | 0.1762 | 0.17168 | 0.17441 | 0.17322 | 0.17879 | <0.000 | <0.000 | 106.1086 | 11840.8667 | 1.062 | 103.5461 | 609635.2633 | 0.33266 | 101.7973 | 234318.64 | 0.5385 | 108.5873 | 88387.5333 | 0.82588 | 107.1572 | 123840.1467 | 1.3186 | 100.4106 | 758396.89 | 0.16373 | 104.9429 | 421671.9233 | 0.67389 | 100.967 | 472690.72 | 0.26629 | 102.5527 | 321771.9633 | 0.34144
| FALSE | 027SMPL.d | 2023-02-22 20:24 | Sample |  | 1782789-001 | 1 | 1.0687 | 0.45853 | 0.24726 | 0.0013965 | <0.000 | 0.0033489 | 0.063231 | 0.063535 | 0.051506 | <0.000 | <0.000 | <0.000 | <0.000 | 0.44731 | 0.42659 | 0.45807 | 0.44137 | 0.45288 | 0.43454 | 0.36277 | 0.34235 | 104.1458 | 11621.8333 | 1.4029 | 93.2695 | 549131.3733 | 17.1596 | 94.8675 | 218367.57 | 0.39274 | 105.3956 | 85789.5033 | 0.7607 | 100.3611 | 115985.9367 | 0.81441 | 90.7964 | 685781.6467 | 17.3173 | 99.3494 | 399196.55 | 0.18283 | 84.2298 | 394333.0933 | 15.0745 | 88.538 | 277798.97 | 0.35248
| FALSE | 028_QC2.d | 2023-02-22 20:27 | QC2 |  | qc 2 | 1 | 10.4558 | 10.286 | 11.0441 | 10.339 | 10.1581 | 10.1828 | 10.1384 | 9.9687 | 10.1236 | 0.63514 | 0.85899 | 0.61697 | 0.84162 | 10.0238 | 10.0353 | 9.9724 | 9.8514 | 10.0846 | 10.0241 | 9.1066 | 8.7321 | 108.7 | 12130.04 | 1.9746 | 104.143 | 613149.8933 | 0.22392 | 102.468 | 235862.4833 | 0.67978 | 109.2868 | 88956.8767 | 1.2076 | 107.6225 | 124377.87 | 1.3379 | 100.3771 | 758144.0267 | 0.17502 | 104.9684 | 421774.2867 | 0.45498 | 100.1301 | 468772.7467 | 0.19521 | 102.6832 | 322181.4033 | 0.84354
| FALSE | 029SMPL.d | 2023-02-22 20:31 | Sample |  | blk | 1 | 0.014291 | 0.04032 | 0.06499 | 0.0030417 | 0.002882 | 0.0044108 | 0.014685 | 0.014131 | 0.010846 | 0.027965 | 0.031866 | 0.0098347 | 0.026153 | 0.0089238 | 0.0183 | 0.016828 | 0.018017 | 0.012482 | 0.019736 | 0.014983 | 0.013853 | 107.6632 | 12014.3433 | 1.0152 | 117.997 | 694716.0433 | 4.1344 | 96.5819 | 222313.8467 | 3.1045 | 107.6834 | 87651.77 | 1.9177 | 105.7702 | 122237.25 | 0.80735 | 115.2755 | 870670.89 | 4.0224 | 103.9943 | 417860.1167 | 0.095566 | 113.1013 | 529499.2467 | 2.8892 | 102.0749 | 320272.8033 | 0.6315
| FALSE | 030SMPL.d | 2023-02-22 20:35 | Sample |  | 172672-001 soil | 10 | 4.19 | 0.46215 | <0.000 | 0.5875 | 0.48963 | 0.53717 | 0.14191 | 0.15413 | 0.065991 | 0.017075 | <0.000 | <0.000 | <0.000 | 33.0125 | 30.628 | 34.5222 | 31.6505 | 34.0112 | 31.3094 | 0.41818 | 0.35265 | 106.766 | 11914.22 | 0.71398 | 110.4656 | 650374.4 | 0.038916 | 110.4846 | 254315.22 | 0.61731 | 115.9486 | 94379.4167 | 0.26679 | 105.5471 | 121979.4 | 1.0287 | 99.591 | 752206.3533 | 0.080257 | 104.0742 | 418181.3 | 0.80005 | 100.9436 | 472581.19 | 0.76029 | 103.3925 | 324406.79 | 0.46249
| FALSE | 031SMPL.d | 2023-02-22 20:38 | Sample |  | 172672-001 soil | 50 | 8.6802 | 1.8348 | <0.000 | 1.1821 | 1.176 | 1.1427 | 0.41766 | 0.47451 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 56.285 | 56.1613 | 58.4947 | 58.6407 | 57.8394 | 57.614 | 0.53274 | 0.59668 | 106.1884 | 11849.77 | 0.81599 | 104.7638 | 616805.05 | 0.54256 | 105.2559 | 242279.8 | 0.81002 | 110.8858 | 90258.4 | 0.35217 | 106.0835 | 122599.2767 | 0.17425 | 99.3318 | 750248.98 | 0.37505 | 104.0276 | 417994.1967 | 0.71888 | 101.0844 | 473240.3 | 0.29569 | 103.5237 | 324818.5567 | 0.6116
| FALSE | 032SMPL.d | 2023-02-22 20:42 | Sample |  | 172793-001 | 1 | 1.4113 | 0.0217 | <0.000 | 0.0013257 | <0.000 | 0.0015689 | 0.045594 | 0.049024 | 0.042645 | <0.000 | <0.000 | <0.000 | <0.000 | 0.58486 | 0.57835 | 0.62471 | 0.61262 | 0.61353 | 0.60089 | <0.000 | <0.000 | 102.5311 | 11441.6467 | 0.80237 | 99.1923 | 584002.0733 | 0.51049 | 100.027 | 230243.72 | 0.64115 | 105.8854 | 86188.19 | 0.70755 | 102.5484 | 118513.7667 | 0.2539 | 97.4492 | 736029.4233 | 0.19757 | 102.5346 | 411994.9567 | 0.39776 | 93.8268 | 439262.93 | 0.1863 | 96.8139 | 303765.5433 | 0.86318
| FALSE | 033SMPL.d | 2023-02-22 20:46 | Sample |  | 172794-001 | 1 | 14.3332 | 0.042667 | <0.000 | 0.0055542 | 0.0050848 | 0.0010224 | 0.54804 | 0.58494 | 0.54737 | <0.000 | <0.000 | <0.000 | <0.000 | 0.41135 | 0.39327 | 0.43039 | 0.40428 | 0.42937 | 0.3963 | 0.0040649 | 0.0032417 | 107.8429 | 12034.4 | 1.8304 | 97.8003 | 575806.37 | 3.4727 | 99.2715 | 228504.65 | 0.5706 | 106.9317 | 87039.8867 | 1.0418 | 104.2992 | 120537.1933 | 0.54043 | 95.8564 | 723999.72 | 3.429 | 103.1898 | 414627.8033 | 0.34579 | 93.4822 | 437649.7633 | 1.9015 | 100.1876 | 314351.04 | 0.90858
| FALSE | 034SMPL.d | 2023-02-22 20:50 | Sample |  | 172795-001 | 1 | 0.065941 | 0.054783 | <0.000 | 0.0082683 | 0.005736 | 0.0067815 | 0.048551 | 0.049547 | 0.037646 | <0.000 | <0.000 | <0.000 | <0.000 | 0.9995 | 0.99575 | 1.0261 | 1.0015 | 1.0184 | 1.0084 | <0.000 | <0.000 | 109.7462 | 12246.79 | 1.8703 | 103.5985 | 609944.07 | 0.094239 | 102.4616 | 235847.7867 | 0.58785 | 109.7523 | 89335.7567 | 0.86111 | 106.0372 | 122545.7767 | 0.46544 | 99.4674 | 751273.0367 | 0.29812 | 104.628 | 420406.47 | 0.30418 | 99.306 | 464914.5367 | 0.19651 | 101.7372 | 319213.0567 | 0.15244
| FALSE | 035_QC1.d | 2023-02-22 20:53 | QC1 |  | qc 1 | 1 | 5.2098 | 5.359 | 5.336 | 5.5484 | 5.1168 | 5.2225 | 5.1135 | 5.379 | 5.0842 | 0.46057 | 0.47276 | 0.4547 | 0.46795 | 5.3317 | 5.0789 | 5.3337 | 4.9781 | 5.3703 | 5.0784 | 4.8377 | 4.4116 | 110.0451 | 12280.1433 | 2.608 | 97.556 | 574368.52 | 6.0806 | 102.3477 | 235585.5533 | 0.23054 | 108.5955 | 88394.1467 | 0.55572 | 106.4539 | 123027.31 | 0.33022 | 94.3115 | 712331.0967 | 6.4274 | 104.4948 | 419871.4033 | 0.25125 | 94.8323 | 443970.3567 | 5.1984 | 102.5279 | 321693.9933 | 1.1226
| FALSE | 036_QC2.d | 2023-02-22 20:57 | QC2 |  | qc 2 | 1 | 10.2728 | 10.1648 | 11.0394 | 10.4142 | 10.1889 | 10.2641 | 10.1516 | 9.9997 | 10.1202 | 0.97766 | 0.96924 | 0.91213 | 0.95114 | 10.0285 | 9.9465 | 9.9649 | 9.8167 | 10.0668 | 9.9492 | 9.0208 | 8.6414 | 108.4506 | 12102.21 | 1.2007 | 101.5165 | 597686.1767 | 0.46027 | 103.2966 | 237769.7867 | 0.68838 | 107.8799 | 87811.67 | 0.93037 | 106.5113 | 123093.6233 | 0.53719 | 99.2958 | 749977.08 | 0.65785 | 104.7376 | 420847.0167 | 0.41277 | 98.9349 | 463177.23 | 1.0681 | 102.112 | 320389.0167 | 0.44099
| FALSE | 037_QC3.d | 2023-02-22 21:01 | QC3 |  | qc 3 | 1 | 51.5658 | 50.7184 | 49.9871 | 58.7716 | 50.8867 | 51.0772 | 50.9557 | 59.6447 | 50.7458 | 5.5941 | 5.0446 | 5.5051 | 4.9699 | 58.6449 | 49.667 | 55.6138 | 49.0069 | 57.8746 | 50.8806 | 56.6862 | 50.0566 | 106.627 | 11898.7167 | 1.457 | 89.1915 | 525121.7033 | 12.7269 | 100.7886 | 231996.73 | 1.6164 | 105.917 | 86213.9167 | 0.65956 | 104.0752 | 120278.3367 | 0.16892 | 87.6032 | 661663.0167 | 12.93 | 103.4611 | 415717.6433 | 0.27623 | 87.5754 | 409995.8833 | 10.8461 | 100.3414 | 314833.6933 | 0.2309
| FALSE | 038SMPL.d | 2023-02-22 21:05 | Sample |  | curve 4 | 1 | 50.7426 | 51.0122 | 49.8486 | 52.6241 | 50.1815 | 50.7173 | 50.213 | 53.1713 | 50.3098 | 2.6326 | 2.6017 | 2.5671 | 2.5497 | 52.8587 | 49.7459 | 50.788 | 48.9585 | 52.6917 | 50.946 | 51.0696 | 49.327 | 104.4546 | 11656.2867 | 1.196 | 96.4766 | 568013.0033 | 3.7216 | 100.9738 | 232423.17 | 0.20541 | 105.6514 | 85997.72 | 1.6782 | 103.1442 | 119202.3533 | 1.9327 | 94.5911 | 714442.7133 | 3.0128 | 102.5784 | 412170.9167 | 1.7836 | 93.361 | 437081.9933 | 2.3081 | 98.8538 | 310166.08 | 1.5732

## ValueList_Helper (hidden)
Bkgnd
BlkVrfy
CalBlk
CalStd
CICSpike
DilStd
DriftChk
FQBlk
IsoStd
QC1
QC2
QC3
QC4
QC5
Sample
Spike
Spike Ref
SQBlk
SQISTD
SQStd