## Sheet1
Sample | [7 empty] | 75 As [ He ] | 78 Se [ H2 ] | 78 Se [ He ] | 111 Cd [ No Gas ] | 111 Cd [ He ] | 114 Cd [ He ] | 121 Sb [ He ] | 123 Sb [ No Gas ] | 123 Sb [ He ] | 201 Hg [ No Gas ] | 201 Hg [ He ] | 202 Hg [ No Gas ] | 202 Hg [ He ] | 206 [Pb] [ No Gas ] | 206 [Pb] [ He ] | 207 [Pb] [ No Gas ] | 207 [Pb] [ He ] | 208 Pb [ No Gas ] | 208 Pb [ He ] | 238 U [ No Gas ] | 238 U [ He ] | 72 Ge ( ISTD ) [ He ] |  |  | 89 Y ( ISTD ) [ No Gas ] |  |  | 89 Y ( ISTD ) [ H2 ] |  |  | 89 Y ( ISTD ) [ He ] |  |  | 115 In ( ISTD ) [ He ] |  |  | 159 Tb ( ISTD ) [ No Gas ] |  |  | 159 Tb ( ISTD ) [ He ] |  |  | 209 Bi ( ISTD ) [ No Gas ] |  |  | 209 Bi ( ISTD ) [ He ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | Total Dil. | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD
| FALSE | 001SMPL.d | 2023-02-24 15:06 | Sample |  | blk | 1 | [22 empty] | 14225.3367 | 0.30962 |  | 574655.29 | 6.844 |  | 254153.64 | 0.30148 |  | 105345.4633 | 0.78597 |  | 143025.8467 | 1.029 |  | 700127.08 | 6.2029 |  | 441869.4567 | 0.72938 |  | 427889.1167 | 5.6141 |  | 315096.73 | 0.65048
| FALSE | 002SMPL.d | 2023-02-24 15:10 | Sample |  | blk | 1 | [22 empty] | 13680.33 | 0.46547 |  | 595405.06 | 22.4166 |  | 242167.6933 | 2.0586 |  | 101352.3033 | 0.3508 |  | 136828.7533 | 0.86526 |  | 710905.5933 | 20.868 |  | 425952.14 | 0.88169 |  | 434801.6633 | 17.2328 |  | 307792.5233 | 0.11043
| FALSE | 003SMPL.d | 2023-02-24 15:14 | Sample |  | blk | 1 | [22 empty] | 13578.06 | 1.842 |  | 527000.1467 | 10.1339 |  | 242306.5267 | 1.3816 |  | 99453.2467 | 0.43701 |  | 134398.01 | 0.18474 |  | 625924.12 | 10.7626 |  | 415265.26 | 0.70871 |  | 398660.4533 | 8.2062 |  | 302700.86 | 0.7284
| TRUE | 004CALB.d | 2023-02-24 15:18 | CalBlk | 1 | blk | 1
| TRUE | 005CALS.d | 2023-02-24 15:21 | CalStd | 2 | curve 1 | 1
| FALSE | 006CALB.d | 2023-02-24 15:44 | CalBlk | 1 | blk | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 13031.95 | 1.5372 | 100 | 599755.1667 | 0.91576 | 100 | 243516.2067 | 0.84543 | 100 | 97445.3133 | 1.4064 | 100 | 131844.07 | 0.28525 | 100 | 718519.54 | 0.90018 | 100 | 401721.9767 | 0.91141 | 100 | 479922.2067 | 1.9462 | 100 | 306003.1967 | 0.92174
| FALSE | 007CALS.d | 2023-02-24 15:48 | CalStd | 2 | curve 1 | 1 | 0.096021 | 0.10216 | 0.082868 | 0.10411 | 0.098575 | 0.11273 | 0.093826 | 0.10006 | 0.10068 | <0.000 | 0.0037354 | 0.0042704 | 0.004669 | 0.14983 | 0.091154 | 0.087084 | 0.094095 | 0.10291 | 0.094144 | 0.090724 | 0.094234 | 102.5605 | 13365.6333 | 1.9562 | 99.7084 | 598005.99 | 0.1784 | 100.8515 | 245589.7967 | 1.8047 | 101.7987 | 99198.0267 | 0.5816 | 102.0961 | 134607.6067 | 0.74911 | 100.1327 | 719473.3033 | 0.16758 | 103.1707 | 414459.3233 | 0.20584 | 94.554 | 453785.6933 | 0.40346 | 99.5405 | 304597.2 | 0.38587
| FALSE | 008CALS.d | 2023-02-24 15:52 | CalStd | 3 | curve 2 | 1 | 1.0147 | 1.0187 | 1.0899 | 1.0408 | 1.0237 | 1.0197 | 1.0109 | 0.98544 | 1.0118 | 0.049203 | 0.050195 | 0.052649 | 0.047947 | 1.0123 | 0.99342 | 1.0182 | 0.98062 | 1.0355 | 0.98826 | 0.96982 | 0.94998 | 106.034 | 13818.3033 | 2.247 | 100.6205 | 603476.8133 | 0.9419 | 101.0785 | 246142.52 | 0.41772 | 104.0552 | 101396.9433 | 0.092938 | 102.9662 | 135754.86 | 1.143 | 102.107 | 733658.5633 | 1.1954 | 105.0178 | 421879.4567 | 0.70908 | 94.4059 | 453075.0967 | 1.1566 | 100.0547 | 306170.6567 | 0.19947
| FALSE | 009CALS.d | 2023-02-24 15:56 | CalStd | 4 | curve 2.5 (Hg only) | 1 | 1.991 | 2.0651 | 1.7463 | 2.0771 | 1.9629 | 2.0407 | 1.9909 | 1.987 | 1.9775 | 0.093606 | 0.094345 | 0.10825 | 0.096366 | 1.9758 | 1.9582 | 1.9744 | 1.9732 | 1.9993 | 1.9813 | 1.9102 | 1.9178 | 104.3267 | 13595.8033 | 2.0662 | 101.7746 | 610398.3933 | 0.67712 | 101.7243 | 247715.2267 | 0.1743 | 103.0791 | 100445.7867 | 0.3956 | 103.4182 | 136350.73 | 0.56233 | 104.1975 | 748679.4433 | 0.54482 | 105.5473 | 424006.6067 | 0.67443 | 96.486 | 463057.94 | 0.71727 | 99.8703 | 305606.2667 | 0.48624
| FALSE | 010CALS.d | 2023-02-24 16:00 | CalStd | 5 | curve 3 | 1 | 9.9679 | 10.0484 | 9.679 | 10.2247 | 10.0124 | 10.1078 | 10.0892 | 9.8898 | 10.0315 | 0.50838 | 0.50376 | 0.4902 | 0.49381 | 9.975 | 9.8138 | 9.8855 | 9.7917 | 10.0395 | 9.8562 | 9.6342 | 9.4838 | 103.5505 | 13494.65 | 1.4461 | 101.3788 | 608024.8567 | 0.28367 | 100.7345 | 245304.7933 | 0.47147 | 102.126 | 99516.9833 | 0.4444 | 101.7689 | 134176.2 | 0.21319 | 103.5248 | 743846.2067 | 0.71711 | 104.3744 | 419294.9533 | 0.55419 | 95.7991 | 459761.1533 | 0.38987 | 99.9479 | 305843.91 | 0.44817
| FALSE | 011CALS.d | 2023-02-24 16:04 | CalStd | 6 | curve 4 | 1 | 50.1572 | 50.8239 | 50.9972 | 50.7661 | 50.245 | 50.7516 | 50.3609 | 50.875 | 50.3495 | 2.4877 | 2.4657 | 2.5132 | 2.4822 | 49.2647 | 48.7278 | 48.9572 | 48.461 | 50.1119 | 49.5813 | 50.1602 | 50.2245 | 102.4836 | 13355.6067 | 2.442 | 98.8068 | 592598.6167 | 0.33724 | 97.7501 | 238037.2233 | 0.79047 | 99.5737 | 97029.8667 | 0.62183 | 99.91 | 131725.4167 | 0.50128 | 101.8236 | 731622.1667 | 0.14779 | 103.4385 | 415535.13 | 0.50711 | 94.2065 | 452118.13 | 0.45493 | 97.4736 | 298272.4267 | 0.48686
| FALSE | 012CALS.d | 2023-02-24 16:07 | CalStd | 7 | curve 5 | 1 | 99.9245 | 99.583 | 99.5326 | 99.5941 | 99.876 | 99.6132 | 99.8105 | 99.5737 | 99.822 | 5.0055 | 5.0169 | 4.9942 | 5.0096 | 100.37 | 100.6548 | 100.5327 | 100.7905 | 99.9397 | 100.2239 | 99.9568 | 99.9399 | 106.213 | 13841.6267 | 0.94787 | 99.4508 | 596461.57 | 0.77604 | 98.6267 | 240171.9867 | 0.19044 | 100.11 | 97552.4833 | 0.15815 | 99.0494 | 130590.7867 | 0.72367 | 101.804 | 731481.4933 | 0.62753 | 103.1713 | 414461.76 | 0.39286 | 93.2161 | 447364.8333 | 1.1215 | 96.5137 | 295334.9833 | 0.32079
| FALSE | 013SMPL.d | 2023-02-24 16:11 | Sample |  | blk | 1 | 0.041187 | 0.084698 | 0.012525 | 0.01868 | 0.0098691 | 0.010344 | 0.038344 | 0.059081 | 0.037285 | 0.056913 | 0.049501 | 0.065881 | 0.054579 | 0.011637 | 0.0091143 | 0.013222 | 0.004533 | 0.012587 | 0.005495 | 0.041453 | 0.029194 | 103.6526 | 13507.9567 | 1.0769 | 95.3099 | 571626.17 | 8.3094 | 98.2191 | 239179.5233 | 1.0324 | 101.0238 | 98442.9833 | 1.5456 | 100.5144 | 132522.2933 | 0.83885 | 97.5023 | 700572.7267 | 8.2221 | 103.2162 | 414642.0233 | 1.1023 | 91.6911 | 440046.0533 | 6.3431 | 98.9496 | 302788.8567 | 1.1321
| FALSE | 014SMPL.d | 2023-02-24 16:15 | Sample |  | blk | 1 | 0.010784 | 0.03141 | <0.000 | 0.0022085 | 0.00079036 | 0.0011174 | 0.0073994 | 0.015953 | 0.010074 | 0.035433 | 0.03982 | 0.028594 | 0.035477 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.0046598 | 104.9415 | 13675.93 | 2.3306 | 113.1622 | 678695.88 | 27.384 | 94.7006 | 230611.19 | 3.7484 | 101.7587 | 99159.0767 | 1.1502 | 101.1721 | 133389.3633 | 0.38257 | 114.4208 | 822135.9367 | 27.6079 | 103.4091 | 415417.0167 | 0.66241 | 107.5261 | 516041.3933 | 24.3455 | 98.9241 | 302710.9367 | 0.34924
| FALSE | 015_QC1.d | 2023-02-24 16:18 | QC1 |  | qc 1 | 1 | 5.1447 | 5.0932 | 5.0064 | 5.4941 | 5.1316 | 5.2276 | 5.1824 | 5.3353 | 5.1971 | 0.50757 | 0.51771 | 0.51719 | 0.52309 | 5.2358 | 5.1115 | 5.1393 | 5.0673 | 5.2331 | 5.101 | 4.8636 | 4.7411 | 104.7707 | 13653.6633 | 1.8313 | 108.2683 | 649344.6633 | 41.3915 | 100.2464 | 244116.19 | 1.5353 | 102.8111 | 100184.6433 | 0.45257 | 102.9952 | 135793.0633 | 0.75116 | 109.8408 | 789227.39 | 40.3799 | 105.3832 | 423347.3 | 0.48456 | 101.2634 | 485985.37 | 34.7015 | 99.3203 | 303923.3833 | 0.81817
| FALSE | 016_QC2.d | 2023-02-24 16:22 | QC2 |  | qc 2 | 1 | 10.4407 | 10.147 | 10.8732 | 10.4993 | 10.4639 | 10.4915 | 10.4605 | 10.2114 | 10.4112 | 1.0181 | 1.0018 | 0.98196 | 0.98394 | 10.2084 | 10.1186 | 10.0854 | 9.9675 | 10.2644 | 10.1132 | 9.504 | 9.4195 | 103.26 | 13456.7867 | 2.7576 | 100.5707 | 603177.9433 | 0.46832 | 99.8564 | 243166.4133 | 0.69849 | 101.5011 | 98908.0733 | 0.76282 | 102.371 | 134970.0967 | 0.64221 | 103.5557 | 744068.2333 | 0.51325 | 104.6572 | 420431.1367 | 0.70202 | 95.1928 | 456851.47 | 0.34186 | 99.4258 | 304246.2133 | 0.57814
| FALSE | 017_QC3.d | 2023-02-24 16:26 | QC3 |  | qc 3 | 1 | 51.4251 | 50.7141 | 50.2996 | 56.5252 | 51.6994 | 51.6861 | 51.7469 | 57.5177 | 51.5528 | 5.0789 | 4.9151 | 5.1253 | 4.8776 | 54.1818 | 49.9775 | 51.9046 | 49.5446 | 53.7393 | 51.0353 | 52.9321 | 51.1455 | 103.738 | 13519.09 | 1.222 | 105.8636 | 634922.64 | 48.3595 | 99.438 | 242147.53 | 0.3948 | 101.2454 | 98658.89 | 0.34494 | 101.7569 | 134160.4867 | 0.81155 | 110.3921 | 793188.72 | 48.5445 | 104.6693 | 420479.5867 | 0.58583 | 100.3666 | 481681.5867 | 42.5871 | 97.8854 | 299532.4167 | 0.6684
| FALSE | 018SMPL.d | 2023-02-24 16:30 | Sample |  | blk | 1 | 0.019097 | 0.045687 | <0.000 | 0.0068316 | 0.0052771 | 0.001599 | 0.016465 | 0.032172 | 0.012951 | 0.085472 | 0.054539 | 0.074349 | 0.062032 | 0.0014668 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.020424 | 0.014592 | 101.3997 | 13214.3533 | 1.1502 | 92.4434 | 554434 | 10.6058 | 100.0915 | 243739.0867 | 0.76824 | 101.9376 | 99333.3833 | 0.44489 | 101.6308 | 133994.1767 | 0.76392 | 94.7414 | 680735.2133 | 10.1965 | 104.6985 | 420596.7467 | 0.43077 | 88.5682 | 425058.5467 | 8.0465 | 99.1806 | 303495.81 | 0.072983
| FALSE | 019SMPL.d | 2023-02-24 16:33 | Sample |  | blk | 1 | 0.0091986 | 0.031302 | 0.0082571 | 0.0035222 | 0.0044348 | 0.0035576 | 0.0053224 | 0.016597 | 0.0070885 | 0.045824 | 0.034208 | 0.058364 | 0.035225 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.0026277 | 104.438 | 13610.31 | 2.1284 | 84.4486 | 506484.74 | 23.8198 | 99.7514 | 242910.8933 | 0.20185 | 102.0143 | 99408.1833 | 0.99564 | 102.1113 | 134627.67 | 1.2021 | 87.2716 | 627063.67 | 23.7971 | 104.5367 | 419946.99 | 0.358 | 81.76 | 392384.44 | 20.0983 | 99.0368 | 303055.7967 | 0.77237
| FALSE | 020SMPL.d | 2023-02-24 16:37 | Sample |  | 172748-001 mj | 5 | 0.32243 | 0.070862 | <0.000 | 0.036418 | 0.027479 | 0.37839 | 0.22056 | 0.22167 | 0.24175 | 0.34056 | 0.30861 | 0.33551 | 0.30457 | 0.50768 | 0.47841 | 0.4899 | 0.52389 | 0.5016 | 0.50423 | <0.000 | 0.0076799 | 106.6483 | 13898.3533 | 1.9668 | 103.2966 | 619526.7233 | 0.3817 | 101.5906 | 247389.6967 | 0.11342 | 104.547 | 101876.1967 | 0.22118 | 103.3864 | 136308.8933 | 0.81525 | 106.5454 | 765549.2533 | 0.88347 | 106.6321 | 428364.5033 | 0.37786 | 97.5659 | 468240.6533 | 0.7247 | 100.0987 | 306305.24 | 1.2504
| FALSE | 021SMPL.d | 2023-02-24 16:41 | Sample |  | 172803-001 | 1 | 0.079814 | 0.0094494 | <0.000 | 0.0028135 | 0.00075164 | 0.0031262 | 0.035385 | 0.037724 | 0.037232 | 0.028198 | 0.027156 | 0.026814 | 0.029076 | 0.25481 | 0.24265 | 0.25841 | 0.2523 | 0.25248 | 0.24699 | <0.000 | <0.000 | 107.5445 | 14015.1467 | 1.3133 | 102.4459 | 614424.7533 | 0.53924 | 99.5251 | 242359.6733 | 0.25519 | 104.1965 | 101534.6433 | 0.92261 | 103.0483 | 135863.0567 | 1.0297 | 105.8282 | 760396.4633 | 0.31515 | 106.2617 | 426876.7433 | 0.45991 | 95.5084 | 458365.85 | 0.44243 | 97.4909 | 298325.3933 | 0.076951
| FALSE | 022SMPL.d | 2023-02-24 16:45 | Sample |  | 172803-002 | 1 | 0.076399 | 0.0093914 | <0.000 | 0.0029032 | 0.00075204 | 0.00235 | 0.048462 | 0.050911 | 0.045398 | 0.013567 | 0.02416 | 0.021749 | 0.023609 | 0.28926 | 0.29174 | 0.30195 | 0.30694 | 0.29634 | 0.2981 | <0.000 | <0.000 | 107.109 | 13958.3967 | 1.1524 | 102.6728 | 615785.7033 | 0.15969 | 100.0717 | 243690.8533 | 0.90475 | 103.6053 | 100958.52 | 0.66253 | 102.3438 | 134934.2133 | 1.1495 | 105.9773 | 761467.88 | 0.067966 | 105.3671 | 423282.8733 | 0.18012 | 95.6617 | 459101.7733 | 0.59597 | 97.4515 | 298204.59 | 0.33335
| FALSE | 023SMPL.d | 2023-02-24 16:48 | Sample |  | 172752-001 mj | 5 | 0.23218 | 0.027658 | <0.000 | 0.48023 | 0.43944 | 0.50677 | 0.43464 | 0.41488 | 0.46153 | 0.38051 | 0.29645 | 0.40714 | 0.35165 | 1.3454 | 1.4195 | 1.3762 | 1.435 | 1.3708 | 1.4102 | <0.000 | <0.000 | 105.4962 | 13748.2133 | 1.9887 | 105.3321 | 631734.4633 | 0.73273 | 104.8322 | 255283.5067 | 0.65166 | 106.5592 | 103836.9233 | 0.5788 | 102.2198 | 134770.7967 | 0.73586 | 109.1364 | 784166.0367 | 2.0379 | 108.3723 | 435355.3233 | 0.65365 | 95.2297 | 457028.3067 | 1.4138 | 96.9613 | 296704.6533 | 0.061253
| FALSE | 024SMPL.d | 2023-02-24 16:52 | Sample |  | 172752-002 mj | 5 | 1.2353 | 0.029034 | <0.000 | 0.59282 | 0.52229 | 0.56239 | 0.40782 | 0.35111 | 0.39664 | 0.15205 | 0.14256 | 0.12978 | 0.11572 | 0.8521 | 0.87145 | 0.84229 | 0.88404 | 0.84694 | 0.86446 | <0.000 | <0.000 | 101.7834 | 13264.36 | 2.1038 | 102.5126 | 614824.3167 | 0.83231 | 103.1996 | 251307.7433 | 1.8875 | 104.0377 | 101379.8533 | 0.64321 | 101.1767 | 133395.54 | 0.49494 | 105.6715 | 759270.16 | 0.98279 | 106.6365 | 428382.1033 | 0.47207 | 93.82 | 450262.8967 | 1.3666 | 96.6948 | 295889.29 | 1.3111
| FALSE | 025SMPL.d | 2023-02-24 16:56 | Sample |  | 172752-003 mj | 5 | 0.43047 | 0.044818 | <0.000 | 0.73778 | 0.65563 | 0.65723 | 0.4763 | 0.45117 | 0.4517 | 0.035913 | 0.027446 | 0.039437 | 0.0371 | 2.2539 | 2.3052 | 2.2595 | 2.3402 | 2.2651 | 2.3174 | <0.000 | <0.000 | 103.6613 | 13509.0833 | 1.2353 | 101.5695 | 609168.1967 | 0.61519 | 102.1587 | 248773.08 | 0.11171 | 103.3997 | 100758.1167 | 0.81166 | 101.0556 | 133235.7533 | 0.61881 | 104.8973 | 753707.6367 | 0.81548 | 106.3669 | 427299.4 | 1.1366 | 92.9943 | 446300.23 | 0.67448 | 96.4801 | 295232.1233 | 0.77912
| FALSE | 026SMPL.d | 2023-02-24 17:00 | Sample |  | 172804-001 | 1 | 27.3723 | 0.0098696 | <0.000 | 0.037201 | 0.031174 | 0.036506 | 0.096212 | 0.10145 | 0.093473 | 0.0079351 | 0.0071778 | 0.078781 | 0.039007 | 3.2594 | 3.151 | 3.2483 | 3.1495 | 3.2771 | 3.1516 | 0.24247 | 0.23336 | 106.8616 | 13926.1567 | 4.5884 | 100.5035 | 602774.74 | 0.23832 | 97.3216 | 236993.8033 | 1.3512 | 102.6406 | 100018.4433 | 2.7269 | 103.0898 | 135917.7767 | 3.4538 | 104.3842 | 750020.5167 | 0.20769 | 105.4247 | 423514.01 | 2.3422 | 93.0213 | 446429.8833 | 0.54083 | 96.5449 | 295430.56 | 2.5354
| FALSE | 027SMPL.d | 2023-02-24 17:03 | Sample |  | 172805-001 | 1 | 0.42909 | 0.0039981 | <0.000 | 0.0066548 | 0.0059186 | 0.0042406 | 0.11022 | 0.12318 | 0.11471 | <0.000 | <0.000 | 0.00063354 | <0.000 | 0.35383 | 0.36531 | 0.35442 | 0.36379 | 0.35747 | 0.36254 | <0.000 | <0.000 | 149.1165 | 19432.79 | 1.3231 | 96.7682 | 580372.39 | 0.15955 | 93.6974 | 228168.3533 | 0.71443 | 98.6423 | 96122.2833 | 0.5263 | 95.568 | 126000.7167 | 0.56729 | 99.7238 | 716534.67 | 0.37337 | 99.438 | 399464.2633 | 0.40351 | 87.4429 | 419657.99 | 0.78734 | 89.2657 | 273155.8433 | 0.53719
| FALSE | 028SMPL.d | 2023-02-24 17:07 | Sample |  | 172806-001 | 1 | 0.043079 | 0.0055577 | <0.000 | 0.0037138 | 0.0020323 | 0.0063615 | 0.12008 | 0.14043 | 0.12342 | <0.000 | <0.000 | <0.000 | <0.000 | 5.94 | 5.8612 | 5.9668 | 5.9267 | 5.9743 | 5.8759 | <0.000 | <0.000 | 104.0625 | 13561.3733 | 0.46499 | 99.4238 | 596299.2233 | 0.53469 | 97.4254 | 237246.6467 | 1.1759 | 101.5114 | 98918.0733 | 0.79641 | 100.1185 | 132000.3233 | 0.054681 | 103.1959 | 741482.9067 | 0.611 | 103.7102 | 416626.8467 | 0.30946 | 93.9169 | 450727.9933 | 0.44724 | 96.3501 | 294834.4867 | 0.67445
| FALSE | 029SMPL.d | 2023-02-24 17:11 | Sample |  | 172806-002 | 1 | 0.029083 | 0.0055887 | <0.000 | 0.0021664 | 0.0012014 | 0.0040736 | 0.080184 | 0.10463 | 0.082828 | <0.000 | <0.000 | <0.000 | <0.000 | 1.7024 | 1.6332 | 1.7023 | 1.6899 | 1.7112 | 1.6706 | <0.000 | <0.000 | 103.2601 | 13456.8033 | 0.59038 | 100.8761 | 605009.3733 | 0.45083 | 97.4497 | 237305.8 | 0.31599 | 101.567 | 98972.31 | 0.86666 | 100.8922 | 133020.3267 | 0.45462 | 104.2492 | 749051.1267 | 0.58338 | 103.5445 | 415961.0767 | 0.43862 | 94.3693 | 452899.1667 | 0.56934 | 96.0882 | 294032.9167 | 0.27174
| FALSE | 030_QC2.d | 2023-02-24 17:15 | QC2 |  | qc 2 | 1 | 10.3576 | 10.2883 | 11.2382 | 10.9914 | 10.4766 | 10.4644 | 10.3997 | 10.7539 | 10.4311 | 0.96574 | 0.96387 | 1.0038 | 0.96746 | 10.6883 | 10.159 | 10.4949 | 10.0013 | 10.7073 | 10.0978 | 9.1041 | 8.4711 | 106.5287 | 13882.7667 | 1.2399 | 98.4238 | 590301.56 | 5.4343 | 100.8841 | 245669.1 | 0.52591 | 103.1366 | 100501.7467 | 0.30712 | 103.1627 | 136013.84 | 0.46831 | 101.8085 | 731514.0967 | 5.6876 | 105.5275 | 423926.98 | 0.46076 | 92.8193 | 445460.28 | 4.5574 | 99.3388 | 303979.9767 | 0.38895
| FALSE | 031SMPL.d | 2023-02-24 17:18 | Sample |  | blk | 1 | 0.003847 | 0.01234 | <0.000 | 0.0026338 | 0.00039798 | 0.001627 | 0.0041865 | 0.017176 | 0.0056384 | 0.0131 | 0.0092799 | 0.016532 | 0.013972 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.0035929 | 0.0051439 | 103.004 | 13423.4267 | 1.7995 | 100.6365 | 603572.6433 | 0.32478 | 82.0561 | 199819.9867 | 3.8344 | 101.0835 | 98501.1033 | 0.31656 | 101.847 | 134279.21 | 0.64283 | 103.8804 | 746401.0033 | 0.43987 | 103.8376 | 417138.2633 | 0.8633 | 95.9031 | 460260.4733 | 0.24067 | 98.3148 | 300846.3833 | 0.15081
| FALSE | 032SMPL.d | 2023-02-24 17:22 | Sample |  | 172809-001 | 1 | 0.3495 | 0.007034 | <0.000 | 0.0027713 | 0.0029604 | 0.0054505 | 0.1245 | 0.13527 | 0.13464 | <0.000 | 0.0018595 | 0.046933 | 0.024227 | 0.70138 | 0.70196 | 0.71947 | 0.70889 | 0.70888 | 0.69968 | 0.0039982 | 0.0084433 | 150.1414 | 19566.3467 | 0.16867 | 96.0237 | 575907.3567 | 0.39446 | 95.124 | 231642.4733 | 1.5925 | 98.2853 | 95774.3933 | 0.78218 | 95.0296 | 125290.8267 | 0.8643 | 98.7083 | 709238.6 | 0.8023 | 98.5485 | 395891.0133 | 0.26008 | 86.4781 | 415027.55 | 0.19326 | 88.9523 | 272196.88 | 0.35239
| FALSE | 033SMPL.d | 2023-02-24 17:26 | Sample |  | 172810-001 | 1 | 1.5293 | 0.036994 | <0.000 | 0.0071809 | 0.0052932 | 0.0063712 | 0.10789 | 0.11524 | 0.10488 | 0.03404 | 0.046904 | 0.040262 | 0.044519 | 0.32162 | 0.31074 | 0.32761 | 0.3126 | 0.32322 | 0.31446 | 5.5575 | 5.4294 | 101.033 | 13166.5733 | 2.9117 | 100.3882 | 602083.33 | 0.17538 | 98.3946 | 239606.8867 | 1.6422 | 101.5553 | 98960.8333 | 0.49857 | 100.3928 | 132361.89 | 0.58207 | 103.0939 | 740749.6933 | 0.39194 | 102.7033 | 412581.91 | 0.51128 | 93.4593 | 448531.8867 | 0.52762 | 96.3848 | 294940.55 | 0.84251
| FALSE | 034SMPL.d | 2023-02-24 17:30 | Sample |  | 172817-001 | 1 | 0.94831 | 0.10385 | <0.000 | 0.0084859 | 0.0087282 | 0.01249 | 0.12201 | 0.13266 | 0.12798 | <0.000 | <0.000 | <0.000 | <0.000 | 0.88395 | 0.87625 | 0.90484 | 0.89157 | 0.90116 | 0.88433 | 0.0009973 | 0.0036541 | 102.8159 | 13398.92 | 2.1988 | 97.4993 | 584756.89 | 0.25819 | 96.4319 | 234827.2133 | 0.4137 | 100.0123 | 97457.2667 | 0.55422 | 99.8385 | 131631.1933 | 0.81923 | 101.939 | 732451.74 | 0.82057 | 102.6119 | 412214.75 | 0.44961 | 94.2291 | 452226.56 | 0.76697 | 97.2016 | 297439.98 | 0.33073
| FALSE | 035SMPL.d | 2023-02-24 17:33 | Sample |  | 172822-001 | 1 | 0.15084 | 0.0058727 | <0.000 | 0.017347 | 0.016875 | 0.025974 | 0.16962 | 0.15975 | 0.16213 | <0.000 | <0.000 | <0.000 | <0.000 | 0.59714 | 0.6073 | 0.62221 | 0.6055 | 0.61734 | 0.61074 | <0.000 | 0.004212 | 96.6036 | 12589.3367 | 1.6117 | 88.2203 | 529105.7533 | 0.36174 | 88.668 | 215920.8533 | 1.1262 | 91.5628 | 89223.7033 | 0.11006 | 86.4774 | 114015.35 | 0.24181 | 88.4858 | 635787.55 | 0.46177 | 90.3638 | 363011.0767 | 0.66172 | 75.0513 | 360187.94 | 0.27265 | 78.0922 | 238964.6533 | 0.3164
| FALSE | 036SMPL.d | 2023-02-24 17:37 | Sample |  | 172822-002 | 1 | 0.28856 | 0.0053102 | <0.000 | 0.027076 | 0.017905 | 0.017223 | 0.081453 | 0.09337 | 0.083079 | 0.001436 | <0.000 | 0.020261 | 0.0045204 | 0.42635 | 0.41694 | 0.42476 | 0.43208 | 0.42716 | 0.42495 | 0.098937 | 0.098844 | 108.3807 | 14124.1233 | 0.43754 | 92.4009 | 554179.01 | 0.39295 | 92.1635 | 224432.9933 | 1.0882 | 99.5827 | 97038.71 | 0.83111 | 91.2842 | 120352.8333 | 0.79093 | 89.4943 | 643034.01 | 0.21951 | 91.853 | 368993.8067 | 0.43088 | 71.7867 | 344520.43 | 0.39611 | 75.2049 | 230129.3367 | 0.36549
| FALSE | 037SMPL.d | 2023-02-24 17:41 | Sample |  | 172824-001 | 1 | 0.074977 | 0.019749 | <0.000 | 0.0083252 | 0.0048958 | 0.0082028 | 0.072934 | 0.080127 | 0.075344 | <0.000 | <0.000 | <0.000 | <0.000 | 0.65823 | 0.64909 | 0.669 | 0.65832 | 0.66502 | 0.65199 | 0.0039461 | 0.0094021 | 102.9273 | 13413.4367 | 1.1156 | 102.2434 | 613209.9833 | 0.2756 | 100.084 | 243720.6867 | 0.94061 | 101.151 | 98566.95 | 0.87662 | 100.7417 | 132821.9633 | 0.51135 | 103.2788 | 742078.02 | 0.1243 | 103.1954 | 414558.4767 | 0.34151 | 92.9468 | 446072.2733 | 0.072113 | 96.0322 | 293861.48 | 0.85337
| FALSE | 038SMPL.d | 2023-02-24 17:45 | Sample |  | 172826-001 | 1 | 0.46982 | 0.35111 | 0.15165 | 0.0060416 | 0.0045857 | 0.0058552 | 0.083952 | 0.088569 | 0.082958 | <0.000 | <0.000 | <0.000 | <0.000 | 0.37178 | 0.3649 | 0.38101 | 0.38047 | 0.37876 | 0.37786 | 0.01676 | 0.023025 | 100.9558 | 13156.5033 | 2.163 | 98.5129 | 590835.9167 | 0.42176 | 96.6582 | 235378.45 | 0.79982 | 99.6722 | 97125.87 | 0.36906 | 100.0197 | 131870.0767 | 0.61487 | 101.4482 | 728924.9267 | 0.54164 | 102.0891 | 410114.24 | 0.8127 | 92.2027 | 442501.37 | 0.87895 | 95.4325 | 292026.39 | 0.22741
| FALSE | 039SMPL.d | 2023-02-24 17:48 | Sample |  | 172781-001 mj | 5 | 0.89015 | 0.15284 | <0.000 | 0.13132 | 0.11701 | 0.24781 | 3.0985 | 3.0454 | 3.069 | 0.21071 | 0.20067 | 0.23948 | 0.19892 | 3.4319 | 3.5069 | 3.3192 | 3.4661 | 3.4426 | 3.4546 | 0.021049 | 0.055095 | 102.4494 | 13351.16 | 1.4327 | 105.2928 | 631499.02 | 0.32502 | 104.1331 | 253581.0833 | 0.90431 | 104.2587 | 101595.2333 | 0.6087 | 101.9323 | 134391.6567 | 0.56287 | 107.7349 | 774096.0633 | 1.122 | 106.3394 | 427188.63 | 0.6836 | 94.2908 | 452522.3767 | 0.35663 | 96.3208 | 294744.62 | 0.51797
| FALSE | 040SMPL.d | 2023-02-24 17:52 | Sample |  | 172836-003 | 1 | 0.46588 | 0.050606 | 0.045158 | 0.31257 | 0.31837 | 0.3087 | 0.29149 | 0.29773 | 0.30351 | <0.000 | <0.000 | 0.0048434 | <0.000 | 0.14249 | 0.14281 | 0.13847 | 0.15424 | 0.14337 | 0.14672 | 0.087696 | 0.092183 | 102.8844 | 13407.8467 | 0.25022 | 100.9713 | 605580.4433 | 0.528 | 98.8439 | 240700.9333 | 1.1212 | 99.8248 | 97274.5567 | 0.66388 | 98.7415 | 130184.8267 | 0.28662 | 103.4233 | 743116.9267 | 0.090986 | 102.5946 | 412145.2267 | 0.57713 | 91.0004 | 436731.28 | 0.50942 | 93.2147 | 285239.8467 | 0.3738
| FALSE | 041SMPL.d | 2023-02-24 17:56 | Sample |  | 172837-003 | 1 | 0.32914 | 0.046893 | 0.013476 | 0.0093623 | 0.011554 | 0.012698 | 0.17605 | 0.1852 | 0.18536 | <0.000 | <0.000 | <0.000 | <0.000 | 0.1365 | 0.13684 | 0.14055 | 0.13986 | 0.13784 | 0.14039 | 0.037424 | 0.04372 | 103.0038 | 13423.4 | 1.2027 | 100.9577 | 605499.2267 | 0.22195 | 98.356 | 239512.8667 | 1.6106 | 100.6525 | 98081.1533 | 1.1778 | 98.9995 | 130524.9567 | 0.71892 | 102.5466 | 736817.2367 | 0.37562 | 102.0174 | 409826.3867 | 0.40146 | 91.6518 | 439857.2 | 0.32454 | 93.7719 | 286944.9733 | 0.4704
| FALSE | 042_QC1.d | 2023-02-24 18:00 | QC1 |  | qc 1 | 1 | 5.0562 | 5.1847 | 5.3894 | 5.3243 | 5.2204 | 5.2255 | 5.1748 | 5.1643 | 5.1702 | 0.47936 | 0.47894 | 0.47809 | 0.47376 | 5.1576 | 5.0793 | 5.1064 | 4.9672 | 5.1753 | 5.0508 | 4.3531 | 4.1958 | 102.0055 | 13293.3033 | 1.7118 | 98.5531 | 591077.4967 | 0.94514 | 97.7776 | 238104.3867 | 0.58499 | 100.2084 | 97648.3833 | 0.78661 | 100.3523 | 132308.55 | 0.25341 | 102.6582 | 737619.5533 | 0.17556 | 102.5691 | 412042.4333 | 0.9715 | 93.8171 | 450248.8967 | 0.88327 | 97.1504 | 297283.1867 | 0.0869
| FALSE | 043_QC2.d | 2023-02-24 18:03 | QC2 |  | qc 2 | 1 | 10.6111 | 10.1122 | 10.696 | 10.6174 | 10.8596 | 10.8718 | 10.8086 | 10.3538 | 10.7944 | 0.92722 | 1.0006 | 0.97393 | 0.99117 | 10.1695 | 10.3598 | 10.0217 | 10.2146 | 10.1916 | 10.3297 | 8.6279 | 8.606 | 100.6682 | 13119.0333 | 17.2163 | 97.3817 | 584051.55 | 0.22095 | 96.385 | 234713.14 | 1.2087 | 98.6903 | 96169.0867 | 23.6917 | 99.4645 | 131138.0133 | 22.8349 | 101.4593 | 729005.1 | 0.2611 | 103.5856 | 416125.9967 | 25.7134 | 93.4561 | 448516.49 | 0.32217 | 97.0761 | 297055.9 | 21.0951
| FALSE | 044_QC3.d | 2023-02-24 18:07 | QC3 |  | qc 3 | 1 | 50.5187 | 50.2915 | 51.2338 | 51.8219 | 51.5847 | 51.5659 | 51.7758 | 54.0095 | 51.9406 | 4.731 | 4.8911 | 4.8631 | 4.8637 | 52.6125 | 49.6077 | 49.6528 | 49.2697 | 52.0582 | 51.2204 | 47.8868 | 48.3331 | 100.2048 | 13058.6433 | 2.0654 | 96.7407 | 580207.5333 | 0.22909 | 96.0632 | 233929.4133 | 1.0046 | 97.0513 | 94571.9833 | 0.31827 | 97.0277 | 127925.2367 | 0.8718 | 100.6492 | 723184.0533 | 0.53762 | 101.8323 | 409082.6467 | 0.45381 | 91.5708 | 439468.8267 | 0.55024 | 94.7597 | 289967.7533 | 0.24868
| FALSE | 045SMPL.d | 2023-02-24 18:11 | Sample |  | curve 4 | 1 | 49.5535 | 50.1505 | 49.228 | 50.6854 | 50.3323 | 50.205 | 50.5948 | 52.6103 | 50.7817 | 2.5733 | 2.5346 | 2.5213 | 2.5051 | 50.4793 | 48.6932 | 48.5845 | 48.3466 | 50.9298 | 50.3109 | 46.543 | 46.8432 | 99.9232 | 13021.94 | 0.38545 | 96.3666 | 577963.7533 | 0.25104 | 96.4933 | 234976.77 | 0.63824 | 96.9603 | 94483.3 | 0.523 | 97.5203 | 128574.7833 | 0.20134 | 100.7407 | 723841.7667 | 0.35336 | 101.5254 | 407849.87 | 0.38347 | 91.2053 | 437714.63 | 0.44682 | 94.5888 | 289444.85 | 0.64724

## ValueList_Helper (hidden)
Bkgnd
BlkVrfy
CalBlk
CalStd
CICSpike
DilStd
DriftChk
FQBlk
IsoStd
QC1
QC2
QC3
QC4
QC5
Sample
Spike
Spike Ref
SQBlk
SQISTD
SQStd