## Sheet1
Sample | [7 empty] | 75 As [ He ] | 78 Se [ H2 ] | 78 Se [ He ] | 111 Cd [ No Gas ] | 111 Cd [ He ] | 114 Cd [ He ] | 121 Sb [ He ] | 123 Sb [ No Gas ] | 123 Sb [ He ] | 201 Hg [ No Gas ] | 201 Hg [ He ] | 202 Hg [ No Gas ] | 202 Hg [ He ] | 206 [Pb] [ No Gas ] | 206 [Pb] [ He ] | 207 [Pb] [ No Gas ] | 207 [Pb] [ He ] | 208 Pb [ No Gas ] | 208 Pb [ He ] | 238 U [ No Gas ] | 238 U [ He ] | 72 Ge ( ISTD ) [ He ] |  |  | 89 Y ( ISTD ) [ No Gas ] |  |  | 89 Y ( ISTD ) [ H2 ] |  |  | 89 Y ( ISTD ) [ He ] |  |  | 115 In ( ISTD ) [ He ] |  |  | 159 Tb ( ISTD ) [ No Gas ] |  |  | 159 Tb ( ISTD ) [ He ] |  |  | 209 Bi ( ISTD ) [ No Gas ] |  |  | 209 Bi ( ISTD ) [ He ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | Total Dil. | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD
| FALSE | 001SMPL.d | 2023-01-25 14:03 | Sample |  | blk | 1 | [22 empty] | 17980.8233 | 1.1317 |  | 809000.5867 | 0.4004 |  | 312242.3767 | 0.60368 |  | 132064.56 | 0.62872 |  | 185439.6867 | 0.42121 |  | 1080091.0067 | 0.76711 |  | 593000.4667 | 0.83347 |  | 634605.5367 | 0.12919 |  | 431547.9567 | 0.66887
| FALSE | 002SMPL.d | 2023-01-25 14:07 | Sample |  | blk | 1 | [22 empty] | 17324.4867 | 1.7556 |  | 763247.93 | 8.9746 |  | 309742.4867 | 50.8711 |  | 127744.49 | 0.78531 |  | 178866.9567 | 0.67666 |  | 987209.5433 | 10.8193 |  | 581645.8567 | 0.16598 |  | 610585.53 | 6.999 |  | 425708.8433 | 0.44117
| FALSE | 003SMPL.d | 2023-01-25 14:10 | Sample |  | blk | 1 | [22 empty] | 17438.47 | 0.99759 |  | 747447.17 | 11.6645 |  | 310960.8233 | 0.28863 |  | 130631.4433 | 3.3168 |  | 182122.09 | 3.5784 |  | 980995.8967 | 13.7929 |  | 608622.2233 | 6.6254 |  | 598741.73 | 9.5189 |  | 435136.8733 | 2.568
| FALSE | 004CALB.d | 2023-01-25 14:14 | CalBlk | 1 | blk | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 17593.6967 | 1.8738 | 100 | 792134.9867 | 3.4768 | 100 | 312294.3767 | 0.27193 | 100 | 128101.2767 | 1.1388 | 100 | 179196.5367 | 0.72935 | 100 | 1063849.56 | 4.8458 | 100 | 583767.46 | 1.053 | 100 | 632298.95 | 3.0968 | 100 | 429604.8267 | 0.012967
| FALSE | 005CALS.d | 2023-01-25 14:18 | CalStd | 2 | curve 1 | 1 | 0.10074 | 0.097288 | 0.060906 | 0.10533 | 0.10864 | 0.11101 | 0.109 | 0.099075 | 0.098841 | <0.000 | <0.000 | <0.000 | <0.000 | 0.099392 | 0.10982 | 0.10081 | 0.098717 | 0.10357 | 0.10342 | 0.098792 | 0.094425 | 98.2549 | 17286.6767 | 2.1686 | 102.6381 | 813032.6433 | 0.44285 | 101.8443 | 318053.96 | 0.6263 | 100.4832 | 128720.2067 | 0.65635 | 100.4647 | 180029.2633 | 0.99141 | 101.6345 | 1081238.58 | 0.52136 | 100.9201 | 589138.7667 | 0.93063 | 102.0327 | 645151.5567 | 0.48223 | 99.4489 | 427237.12 | 0.58307
| FALSE | 006CALS.d | 2023-01-25 14:22 | CalStd | 3 | curve 2 | 1 | 1.0072 | 1.1229 | 1.0754 | 1.0578 | 1.069 | 1.0358 | 1.0313 | 0.9953 | 1.0283 | 0.033636 | 0.040653 | 0.044153 | 0.039856 | 1.0351 | 1.0086 | 1.0296 | 0.99574 | 1.0407 | 1.0105 | 0.96171 | 0.92417 | 99.1083 | 17436.8167 | 1.2729 | 102.7157 | 813647.3833 | 0.27608 | 106.904 | 333855.2333 | 45.5988 | 100.9733 | 129348.0267 | 0.67256 | 100.669 | 180395.35 | 0.91093 | 102.1053 | 1086246.74 | 0.22914 | 100.8338 | 588634.99 | 0.31293 | 101.464 | 641555.9667 | 0.49851 | 99.6549 | 428122.32 | 0.26358
| TRUE | 007CALS.d | 2023-01-25 14:26 | CalStd | 4 | curve 2.5 (Hg only) | 1
| FALSE | 008CALS.d | 2023-01-25 14:29 | CalStd | 5 | curve 3 | 1 | 10.1477 | 10.1081 | 10.9208 | 11.913 | 10.4454 | 10.4616 | 10.2752 | 11.5688 | 10.2328 | 0.54999 | 0.48312 | 0.54899 | 0.48026 | 11.2525 | 9.8011 | 11.3318 | 9.9015 | 11.3904 | 9.8895 | 10.8298 | 9.2862 | 97.0024 | 17066.31 | 1.7408 | 90.825 | 719456.9233 | 16.6086 | 101.5705 | 317199.1 | 0.21288 | 99.766 | 127801.5333 | 0.98411 | 100.5344 | 180154.2 | 0.82991 | 88.9042 | 945807.1667 | 18.3616 | 100.7913 | 588387 | 0.74269 | 92.8417 | 587037.2233 | 13.2585 | 100.6346 | 432330.8867 | 0.8435
| FALSE | 009CALS.d | 2023-01-25 14:33 | CalStd | 6 | curve 4 | 1 | 49.9022 | 54.1323 | 49.0183 | 50.1563 | 50.9007 | 50.7744 | 50.4778 | 50.648 | 50.3652 | 2.3651 | 2.4605 | 2.3949 | 2.4695 | 48.3572 | 48.3032 | 47.1589 | 48.5567 | 48.4844 | 49.757 | 48.6081 | 50.8695 | 97.5595 | 17164.3267 | 1.8545 | 106.9299 | 847029.3733 | 31.293 | 91.4281 | 285524.7433 | 5.3653 | 98.2654 | 125879.2033 | 0.34684 | 97.8397 | 175325.4133 | 0.6349 | 105.3296 | 1120548.9933 | 31.3065 | 99.6701 | 581841.8333 | 0.10504 | 111.0368 | 702084.37 | 28.1173 | 97.5408 | 419040.01 | 0.1612
| FALSE | 010CALS.d | 2023-01-25 14:37 | CalStd | 7 | curve 5 | 1 | 100.0341 | 97.9218 | 100.3981 | 99.7299 | 99.5044 | 99.5663 | 99.7332 | 99.5191 | 99.7939 | 5.0626 | 5.0215 | 5.0477 | 5.0173 | 100.6958 | 100.8682 | 101.2871 | 100.7316 | 100.6183 | 100.1325 | 100.6133 | 99.6374 | 102.27 | 17993.08 | 1.2326 | 99.4078 | 787444.11 | 0.38903 | 100.0003 | 312295.3033 | 1.1066 | 100.3378 | 128533.99 | 1.0292 | 98.4896 | 176489.87 | 0.43839 | 100.0765 | 1064663.48 | 1.3683 | 99.9505 | 583478.57 | 0.94101 | 100.3851 | 634734.2167 | 0.72922 | 96.8594 | 416112.54 | 0.39937
| FALSE | 011SMPL.d | 2023-01-25 14:41 | Sample |  | blk | 1 | 0.039009 | 0.14453 | 0.068542 | 0.0098079 | 0.0068281 | 0.0074995 | 0.033251 | 0.040262 | 0.02915 | 0.028794 | 0.031403 | 0.039723 | 0.035634 | 0.015909 | 0.019939 | 0.021179 | 0.016857 | 0.017648 | 0.016968 | 0.042153 | 0.030348 | 100.2751 | 17642.1033 | 6.9932 | 117.4319 | 930219.1167 | 26.9263 | 75.3278 | 235244.5067 | 16.1662 | 102.242 | 130973.3467 | 9.352 | 102.0137 | 182804.9833 | 8.7225 | 118.5239 | 1260915.89 | 24.7019 | 103.4244 | 603758.0967 | 11.4537 | 120.349 | 760965.68 | 26.0333 | 100.8699 | 433341.82 | 8.0417
| FALSE | 012SMPL.d | 2023-01-25 14:44 | Sample |  | blk | 1 | 0.0088091 | 0.021058 | 0.021781 | 0.0035087 | 0.0028071 | 0.0042448 | 0.01088 | 0.018601 | 0.014258 | 0.017421 | 0.017844 | 0.01941 | 0.015963 | 0.0078652 | 0.0074941 | 0.0060367 | 0.0022307 | 0.0056893 | 0.0045694 | 0.0082552 | 0.0075578 | 99.1967 | 17452.3667 | 0.91114 | 99.8199 | 790708.66 | 0.81142 | 107.4936 | 335696.3833 | 4.7235 | 101.3634 | 129847.7633 | 1.5005 | 101.7937 | 182410.8333 | 1.7707 | 102.6962 | 1092533.5667 | 1.0972 | 101.469 | 592343.1467 | 0.66263 | 102.686 | 649282.3333 | 0.29656 | 100.3179 | 430970.6133 | 0.2519
| FALSE | 013_QC1.d | 2023-01-25 14:48 | QC1 |  | qc 1 | 1 | 5.1914 | 5.1103 | 4.8259 | 5.3458 | 5.3431 | 5.2701 | 5.2073 | 5.2222 | 5.2002 | 0.52933 | 0.51245 | 0.53342 | 0.51371 | 5.0842 | 4.9448 | 5.2753 | 5.1452 | 5.2476 | 5.0692 | 4.6867 | 4.4656 | 99.2725 | 17465.7067 | 0.62366 | 98.861 | 783112.88 | 1.7939 | 101.1899 | 316010.49 | 0.47221 | 101.2804 | 129741.5 | 0.56963 | 101.6147 | 182090.0833 | 1.0174 | 101.868 | 1083722.39 | 3.4975 | 100.9823 | 589501.85 | 0.25071 | 101.7275 | 643221.8133 | 1.7358 | 99.6329 | 428027.93 | 0.047862
| FALSE | 014_QC2.d | 2023-01-25 14:53 | QC2 |  | qc 2 | 1 | 9.8436 | 9.8341 | 10.1357 | 10.5989 | 9.9555 | 9.9491 | 9.9407 | 10.3389 | 9.9504 | 1.0431 | 0.96054 | 1.0585 | 0.9715 | 10.0363 | 9.4129 | 10.4991 | 9.8308 | 10.4083 | 9.6839 | 9.3615 | 8.5468 | 103.6625 | 18238.07 | 6.2834 | 99.7789 | 790383.9633 | 1.8575 | 102.1163 | 318903.5967 | 1.4722 | 106.1423 | 135969.62 | 7.8813 | 105.6622 | 189342.9433 | 8.287 | 102.318 | 1088509.8267 | 1.9889 | 106.6517 | 622597.63 | 8.2519 | 102.1246 | 645732.8933 | 1.3696 | 104.5116 | 448986.9067 | 6.5909
| FALSE | 015_QC3.d | 2023-01-25 14:56 | QC3 |  | qc 3 | 1 | 50.8478 | 49.0982 | 49.1938 | 51.3079 | 50.8916 | 51.0783 | 51.0113 | 52.3362 | 51.1193 | 5.2005 | 5.1012 | 5.1594 | 5.0957 | 51.1528 | 48.4029 | 51.018 | 50.3434 | 51.9419 | 50.8198 | 50.1533 | 49.7362 | 100.044 | 17601.4367 | 0.57114 | 100.5233 | 796280.0233 | 0.22685 | 102.5074 | 320124.91 | 0.70678 | 101.8336 | 130450.1967 | 0.76735 | 100.5497 | 180181.58 | 0.37481 | 103.3337 | 1099314.6033 | 0.64854 | 101.8027 | 594290.91 | 0.12026 | 102.5573 | 648468.4367 | 0.64297 | 99.0605 | 425568.84 | 0.071834
| FALSE | 016SMPL.d | 2023-01-25 15:00 | Sample |  | blk | 1 | 0.027786 | 0.059591 | <0.000 | 0.0078619 | 0.0062918 | 0.0037302 | 0.01746 | 0.033672 | 0.017882 | 0.055844 | 0.052623 | 0.068234 | 0.052044 | 0.014204 | 0.011205 | 0.013747 | 0.0091366 | 0.014236 | 0.010399 | 0.030803 | 0.01983 | 99.1593 | 17445.7833 | 1.1141 | 99.3108 | 786675.5433 | 0.78941 | 101.3229 | 316425.67 | 0.87461 | 101.3507 | 129831.5733 | 0.43403 | 101.0619 | 181099.51 | 0.69131 | 104.1707 | 1108219.6567 | 0.27097 | 100.6708 | 587683.1 | 0.18603 | 103.4889 | 654359.0267 | 0.59893 | 98.9867 | 425251.57 | 0.66594
| FALSE | 017SMPL.d | 2023-01-25 15:04 | Sample |  | blk | 1 | 0.011667 | 0.027137 | <0.000 | 0.0025052 | 0.0033932 | 0.003939 | 0.0082009 | 0.01466 | 0.0093045 | 0.02374 | 0.026884 | 0.032494 | 0.031932 | 0.0039014 | 0.0066702 | 0.0068819 | 0.0053609 | 0.0051281 | 0.0061556 | 0.0062691 | 0.0072109 | 97.4962 | 17153.1867 | 4.8856 | 99.5815 | 788819.9433 | 0.30967 | 101.865 | 318118.55 | 0.67417 | 98.3473 | 125984.1167 | 5.3245 | 98.1072 | 175804.72 | 5.4819 | 103.6239 | 1102402.4767 | 1.1639 | 97.8361 | 571135.07 | 5.1914 | 102.5692 | 648543.99 | 0.38377 | 96.6511 | 415217.74 | 3.7307
| FALSE | 018SMPL.d | 2023-01-25 15:07 | Sample |  | 172299-001 mj | 5 | 0.15954 | 0.11728 | 0.18246 | 0.070775 | 0.091358 | 0.18321 | 0.33031 | 0.34361 | 0.32437 | 0.43492 | 0.4581 | 0.41295 | 0.44593 | 1.028 | 1.0686 | 1.0564 | 1.0542 | 1.0453 | 1.0578 | 0.31943 | 0.30406 | 97.7422 | 17196.46 | 1.7008 | 97.2224 | 770132.6367 | 0.69654 | 99.7239 | 311432.21 | 1.6971 | 100.451 | 128678.95 | 0.53446 | 96.3391 | 172636.2867 | 0.26233 | 102.7806 | 1093431.4867 | 0.56642 | 98.6582 | 575934.2767 | 0.71642 | 100.3444 | 634476.8467 | 0.80814 | 94.3516 | 405339.1867 | 0.32891
| FALSE | 019SMPL.d | 2023-01-25 15:11 | Sample |  | 172314-001 Pb | 1 | 0.14511 | 0.032172 | <0.000 | 0.08033 | 0.07021 | 0.079335 | 0.37857 | 0.38106 | 0.39238 | 0.065799 | 0.069233 | 0.067312 | 0.068202 | 12.2694 | 12.4099 | 12.5918 | 12.6836 | 12.5455 | 12.5634 | 0.0040983 | 0.0019642 | 95.173 | 16744.4433 | 3.0553 | 91.7581 | 726848.33 | 0.91484 | 96.7262 | 302070.4333 | 0.49586 | 92.5552 | 118564.45 | 7.387 | 90.4989 | 162170.8633 | 6.1378 | 98.3922 | 1046745.2 | 1.4132 | 95.0234 | 554715.9633 | 9.0569 | 94.5053 | 597556.14 | 0.65266 | 88.4304 | 379901.45 | 4.5878
| FALSE | 020SMPL.d | 2023-01-25 15:15 | Sample |  | 172316-001 | 1 | 0.47835 | 0.061251 | 0.054451 | 0.0029659 | 0.0053233 | 0.004145 | 0.13779 | 0.13645 | 0.1321 | 0.053207 | 0.053642 | 0.054825 | 0.055713 | 0.98368 | 0.95242 | 1.0035 | 0.97984 | 1.0009 | 0.97873 | 0.23342 | 0.21694 | 98.5707 | 17342.2367 | 0.93973 | 97.3538 | 771173.8067 | 0.68301 | 100.1108 | 312640.4967 | 0.62454 | 98.7972 | 126560.4633 | 0.45788 | 96.6012 | 173106.0267 | 0.25392 | 103.6858 | 1103061.2967 | 0.74652 | 99.0388 | 578156.14 | 0.42532 | 99.83 | 631224.0667 | 0.57863 | 94.4141 | 405607.73 | 0.32345
| FALSE | 021SMPL.d | 2023-01-25 15:19 | Sample |  | 172321-001 | 10 | 1.8916 | 4.6254 | 3.9171 | 0.11728 | 0.11566 | 0.11411 | 0.39097 | 0.41894 | 0.39008 | 0.48009 | 0.48458 | 0.49364 | 0.48545 | 1.046 | 1.0625 | 1.0751 | 0.96846 | 1.0462 | 1.0039 | 0.073998 | 0.077344 | 98.3241 | 17298.84 | 1.5449 | 101.7708 | 806162.4633 | 0.12547 | 104.3957 | 326021.9733 | 0.438 | 103.9068 | 133105.9567 | 1.0068 | 100.1063 | 179387.0767 | 0.38749 | 105.153 | 1118669.6167 | 1.0335 | 100.9589 | 589364.9633 | 0.34392 | 104.7767 | 662501.96 | 0.61585 | 99.0077 | 425342.0233 | 0.2205
| FALSE | 022SMPL.d | 2023-01-25 15:22 | Sample |  | 172322-001 | 1 | 0.18835 | 0.050179 | <0.000 | 0.035592 | 0.0071501 | 0.0086487 | 0.88333 | 0.88449 | 0.91362 | 0.043966 | 0.055462 | 0.05257 | 0.051661 | 0.6046 | 0.6112 | 0.63031 | 0.60991 | 0.62208 | 0.61497 | 0.10377 | 0.098745 | 98.0836 | 17256.5367 | 0.84825 | 91.4679 | 724549 | 0.59271 | 95.4735 | 298158.2567 | 0.48027 | 95.1482 | 121886.0333 | 0.34902 | 88.9537 | 159402.0033 | 0.76773 | 90.2419 | 960038.3967 | 0.65352 | 91.9521 | 536786.5033 | 0.78065 | 86.6665 | 547991.6067 | 0.43858 | 83.278 | 357766.12 | 0.88087
| FALSE | 023SMPL.d | 2023-01-25 15:26 | Sample |  | 172321-001 | 1 | 0.48516 | 0.04918 | 0.058079 | 0.037757 | 0.021599 | 0.02986 | 4.3744 | 4.2629 | 4.3344 | 0.060464 | 0.063985 | 0.072702 | 0.068337 | 1.5006 | 1.5016 | 1.5292 | 1.5449 | 1.5251 | 1.5281 | 0.75748 | 0.73279 | 102.4344 | 18021.99 | 2.2005 | 105.713 | 837389.4667 | 16.9981 | 105.6802 | 330033.45 | 0.17213 | 105.6239 | 135305.5333 | 0.60927 | 98.0506 | 175703.26 | 0.93825 | 102.385 | 1089222.71 | 16.81 | 99.5437 | 581103.7633 | 0.58151 | 99.59 | 629706.75 | 14.3264 | 93.6558 | 402349.9433 | 0.24293
| FALSE | 024SMPL.d | 2023-01-25 15:30 | Sample |  | 172325-001 | 1 | 0.023908 | 0.011153 | 0.021161 | 0.0030874 | 0.0015861 | 0.0074452 | 0.070013 | 0.066205 | 0.066465 | 0.063411 | 0.062476 | 0.072306 | 0.064966 | 0.3334 | 0.33138 | 0.33689 | 0.32923 | 0.33932 | 0.3304 | 0.0035405 | 0.0038589 | 111.5157 | 19619.73 | 1.2564 | 95.4822 | 756347.88 | 0.32692 | 98.2109 | 306707.0433 | 0.50341 | 96.8145 | 124020.6033 | 0.29557 | 95.8512 | 171762.1067 | 0.72356 | 101.0978 | 1075528.4833 | 0.64693 | 98.1628 | 573042.4067 | 0.22626 | 98.3855 | 622090.55 | 0.56951 | 94.2024 | 404698.1067 | 0.78992
| FALSE | 025SMPL.d | 2023-01-25 15:34 | Sample |  | 172325-002 | 1 | 0.21278 | 0.011825 | 0.021084 | 0.0028753 | <0.000 | 0.0056982 | 0.11507 | 0.10989 | 0.11294 | 0.034656 | 0.040531 | 0.056032 | 0.047761 | 0.84565 | 0.84194 | 0.85904 | 0.8571 | 0.85829 | 0.8553 | 0.0051995 | 0.0048126 | 101.5113 | 17859.5833 | 0.85186 | 96.7125 | 766093.86 | 0.080495 | 99.4425 | 310553.4533 | 0.59678 | 96.8273 | 124037.0467 | 0.91192 | 95.6842 | 171462.75 | 0.37939 | 102.5211 | 1090670.7667 | 1.3922 | 98.3785 | 574301.7767 | 0.24272 | 98.5796 | 623317.4833 | 0.70514 | 94.1193 | 404341.1067 | 0.74982
| FALSE | 026SMPL.d | 2023-01-25 15:37 | Sample |  | 172328-007 Pb | 1 | 0.070827 | 0.026228 | 0.013451 | 0.0034011 | 0.0055613 | 0.0036575 | 0.11789 | 0.12542 | 0.119 | <0.000 | <0.000 | <0.000 | <0.000 | 0.32319 | 0.32692 | 0.36376 | 0.34555 | 0.34368 | 0.33708 | 0.0034069 | 0.0036173 | 97.1289 | 17088.57 | 0.95242 | 99.127 | 785219.5833 | 0.30584 | 102.1729 | 319080.27 | 1.2177 | 99.5721 | 127553.0967 | 0.62515 | 100.3296 | 179787.1067 | 0.84279 | 106.1662 | 1129448.9767 | 0.3665 | 100.9827 | 589504.0333 | 0.51489 | 103.2747 | 653004.79 | 0.16772 | 98.8218 | 424543.15 | 0.1801
| FALSE | 027SMPL.d | 2023-01-25 15:41 | Sample |  | 172328-006 Pb | 1 | 0.053664 | 0.027209 | <0.000 | 0.034195 | 0.037689 | 0.034243 | 0.14945 | 0.1504 | 0.13402 | <0.000 | <0.000 | <0.000 | <0.000 | 11.502 | 11.2989 | 12.4172 | 12.1985 | 11.9867 | 11.7685 | 0.0029869 | 0.002926 | 98.0463 | 17249.96 | 3.234 | 99.3558 | 787032.3233 | 0.23869 | 101.7105 | 317636.04 | 0.83189 | 99.4407 | 127384.87 | 0.84903 | 100.0202 | 179232.6933 | 0.44396 | 105.2633 | 1119843.56 | 0.29423 | 101.3327 | 591547.48 | 0.17757 | 102.235 | 646430.91 | 0.603 | 98.7422 | 424201.2567 | 0.44837
| FALSE | 028_QC2.d | 2023-01-25 15:45 | QC2 |  | qc 2 | 1 | 10.1375 | 10.0447 | 9.6968 | 10.5175 | 10.4687 | 10.4648 | 10.3817 | 10.23 | 10.3781 | 1.0282 | 0.98941 | 1.0209 | 1.0115 | 10.0212 | 9.9107 | 10.3559 | 10.238 | 10.2621 | 10.1082 | 8.8654 | 8.5041 | 97.4837 | 17150.98 | 0.56537 | 100.0442 | 792485.0133 | 0.437 | 102.663 | 320610.93 | 1.0363 | 100.5731 | 128835.44 | 0.44335 | 100.7198 | 180486.39 | 0.050859 | 105.8087 | 1125644.9467 | 0.6297 | 101.2922 | 591310.7433 | 0.9054 | 101.9114 | 644384.86 | 0.49285 | 99.007 | 425338.75 | 0.46004
| FALSE | 029SMPL.d | 2023-01-25 15:48 | Sample |  | blk | 1 | 0.00076169 | 0.021474 | 0.10134 | 0.0017562 | 0.00099998 | 0.0018134 | 0.006704 | 0.0096742 | 0.001692 | 0.011636 | 0.0069189 | 0.01734 | 0.010058 | 0.0046365 | 0.0024348 | <0.000 | 0.0018128 | 0.0026916 | 0.0021097 | 0.011945 | 0.0081809 | 95.5356 | 16808.2433 | 2.1252 | 99.629 | 789196.5167 | 0.94667 | 101.4849 | 316931.7033 | 0.48866 | 99.906 | 127980.8433 | 0.22528 | 100.2963 | 179727.4533 | 0.67077 | 105.1789 | 1118944.7567 | 0.50324 | 100.8336 | 588633.49 | 0.53794 | 100.8687 | 637791.5433 | 0.62954 | 98.0584 | 421263.6233 | 0.36933
| FALSE | 030SMPL.d | 2023-01-25 15:52 | Sample |  | 172328-003 | 1 | 0.060171 | 0.031992 | <0.000 | 0.0054287 | 0.0049188 | 0.006146 | 0.064591 | 0.064979 | 0.063777 | 0.000891 | 0.0019711 | 0.0062594 | 0.0013251 | 1.1829 | 1.1767 | 1.1925 | 1.2028 | 1.2 | 1.1854 | 0.0042878 | 0.0040484 | 98.1029 | 17259.9267 | 2.1935 | 99.3201 | 786749.1667 | 1.0395 | 102.0688 | 318755.08 | 0.8577 | 99.4533 | 127400.89 | 0.33133 | 99.6913 | 178643.3 | 0.58731 | 105.1488 | 1118624.99 | 0.35631 | 100.8969 | 589003.0933 | 0.30699 | 99.9213 | 631801.6433 | 0.76868 | 97.0607 | 416977.3433 | 0.94646
| FALSE | 031SMPL.d | 2023-01-25 15:56 | Sample |  | 172330-001 | 1 | 0.21192 | 0.2029 | 0.15854 | 0.0065515 | 0.0030849 | 0.0086487 | 0.28401 | 0.29202 | 0.27991 | <0.000 | 0.0016462 | 0.0027584 | 0.0022061 | 0.74016 | 0.72767 | 0.75219 | 0.74716 | 0.75082 | 0.74508 | 0.0040347 | 0.0035824 | 95.7319 | 16842.7833 | 2.5238 | 97.1677 | 769698.98 | 0.74208 | 100.194 | 312900.2567 | 0.45388 | 98.4137 | 126069.15 | 0.41309 | 97.7665 | 175194.24 | 0.22299 | 103.4748 | 1100816.5567 | 0.26471 | 99.2809 | 579569.7467 | 0.29253 | 97.0607 | 613713.7467 | 0.66965 | 93.8899 | 403355.3733 | 0.70638
| FALSE | 032SMPL.d | 2023-01-25 16:00 | Sample |  | 172328-001 | 1 | 0.06101 | 0.018886 | 0.10138 | 0.12564 | 0.12689 | 0.1256 | 0.062996 | 0.066851 | 0.067651 | <0.000 | <0.000 | <0.000 | <0.000 | 1.862 | 1.8726 | 1.8919 | 1.8739 | 1.8806 | 1.864 | 0.0022794 | 0.0026879 | 100.2845 | 17643.75 | 2.1415 | 98.9305 | 783663.4967 | 0.17495 | 102.1046 | 318866.8667 | 1.4837 | 100.0283 | 128137.5367 | 0.85577 | 100.7825 | 180598.6667 | 0.52845 | 105.3561 | 1120830.7367 | 0.77088 | 101.1019 | 590200.1467 | 0.13312 | 99.8234 | 631182.4233 | 0.69465 | 96.4869 | 414512.5667 | 0.356
| FALSE | 033SMPL.d | 2023-01-25 16:03 | Sample |  | 172334-001 | 1 | 1.6614 | 0.28014 | 0.28318 | 0.0070754 | 0.012243 | 0.014933 | 0.11354 | 0.11144 | 0.11933 | 0.0030499 | 0.010072 | 0.005499 | 0.0074694 | 2.6087 | 2.5496 | 2.6283 | 2.6035 | 2.6215 | 2.5591 | 0.018656 | 0.017847 | 92.9812 | 16358.8233 | 1.1142 | 96.405 | 763658.12 | 23.1194 | 97.4542 | 304344.0833 | 0.5896 | 96.754 | 123943.1067 | 0.048257 | 92.9542 | 166570.7767 | 0.24998 | 97.1977 | 1034037.4433 | 24.1048 | 96.1628 | 561366.91 | 0.87777 | 91.6679 | 579615.29 | 18.6555 | 87.9719 | 377931.5667 | 0.57521
| FALSE | 034SMPL.d | 2023-01-25 16:07 | Sample |  | 172331-001 | 1 | 0.31447 | 0.0075193 | <0.000 | 0.0031207 | 0.00020509 | 0.0022831 | 0.057567 | 0.057446 | 0.062631 | 0.00070283 | 0.0031763 | 0.028157 | 0.016236 | 0.41633 | 0.42068 | 0.41244 | 0.40849 | 0.41339 | 0.41304 | 0.0018363 | 0.00243 | 211.1718 | 37152.9333 | 1.231 | 95.9025 | 759676.9933 | 0.30096 | 100.3018 | 313236.89 | 0.27394 | 97.5747 | 124994.4933 | 0.62173 | 95.76 | 171598.6367 | 0.28842 | 103.4367 | 1100410.79 | 0.54576 | 97.9987 | 572084.4667 | 0.44961 | 95.2458 | 602238.1933 | 0.27565 | 91.6378 | 393680.3733 | 0.89194
| FALSE | 035SMPL.d | 2023-01-25 16:11 | Sample |  | 172328-004 | 1 | 0.055785 | 0.038479 | 0.14075 | 1.2553e-06 | <0.000 | 0.0030337 | 0.056471 | 0.064008 | 0.055925 | <0.000 | <0.000 | <0.000 | <0.000 | 0.62766 | 0.61599 | 0.62746 | 0.6225 | 0.62769 | 0.61563 | 0.0029274 | 0.0034135 | 98.1158 | 17262.19 | 1.8188 | 98.9525 | 783837.5733 | 0.6586 | 102.4496 | 319944.4867 | 0.21382 | 99.3179 | 127227.5167 | 0.86572 | 100.073 | 179327.2967 | 0.2198 | 105.5164 | 1122535.79 | 0.14879 | 100.3823 | 585998.9433 | 0.40277 | 98.858 | 625078.35 | 1.0156 | 95.4254 | 409952 | 1.0984
| FALSE | 036SMPL.d | 2023-01-25 16:15 | Sample |  | 172327-001 | 1 | 0.052971 | 0.027244 | <0.000 | 0.014005 | 0.013766 | 0.02071 | 0.072414 | 0.082594 | 0.078357 | <0.000 | <0.000 | <0.000 | <0.000 | 2.2344 | 2.2008 | 2.2376 | 2.2312 | 2.2321 | 2.204 | 0.0009307 | 0.0017446 | 96.7053 | 17014.0333 | 1.1218 | 98.6643 | 781554.3533 | 0.73482 | 101.6712 | 317513.3133 | 0.93455 | 98.9769 | 126790.6567 | 0.12363 | 98.735 | 176929.69 | 0.16304 | 105.1679 | 1118828.4033 | 0.57297 | 100.1684 | 584750.3167 | 0.36138 | 97.0973 | 613945.39 | 0.67215 | 94.3175 | 405192.5833 | 0.55324
| FALSE | 037SMPL.d | 2023-01-25 16:18 | Sample |  | 172327-003 | 1 | 0.05249 | 0.026415 | <0.000 | 0.00087953 | <0.000 | 0.00072713 | 0.052082 | 0.053962 | 0.04975 | <0.000 | <0.000 | <0.000 | <0.000 | 0.34659 | 0.34455 | 0.34721 | 0.33823 | 0.34468 | 0.33891 | 0.0031985 | 0.002779 | 96.1491 | 16916.18 | 1.8348 | 98.7121 | 781933.0267 | 0.207 | 101.6159 | 317340.7567 | 0.60912 | 98.892 | 126681.94 | 1.0293 | 99.7818 | 178805.5867 | 0.59796 | 104.9879 | 1116912.91 | 0.72543 | 100.0728 | 584192.4233 | 0.23374 | 96.6898 | 611368.3033 | 0.33869 | 93.8305 | 403100.2333 | 0.99824
| FALSE | 038SMPL.d | 2023-01-25 16:22 | Sample |  | 172326-001 | 1 | 0.058711 | 0.028559 | <0.000 | 0.009925 | 0.010578 | 0.019034 | 0.063824 | 0.072181 | 0.05904 | <0.000 | <0.000 | <0.000 | <0.000 | 2.7163 | 2.7094 | 2.6852 | 2.66 | 2.6788 | 2.6545 | 0.0074964 | 0.0075114 | 97.0852 | 17080.8733 | 1.3805 | 99.268 | 786336.7767 | 0.35385 | 102.7442 | 320864.3467 | 0.27 | 100.3808 | 128589.14 | 0.66779 | 99.775 | 178793.2833 | 0.80194 | 105.1307 | 1118432.3867 | 0.42843 | 100.3774 | 585970.6267 | 0.71525 | 95.6387 | 604722.5 | 0.79973 | 93.0584 | 399783.3667 | 0.40979
| FALSE | 039SMPL.d | 2023-01-25 16:26 | Sample |  | 172332-001 | 1 | 0.22346 | 0.0058512 | <0.000 | 0.0091669 | 0.0059925 | 0.012809 | 0.062169 | 0.066839 | 0.055996 | 0.027192 | 0.014795 | 0.01399 | 0.016294 | 0.80768 | 0.7959 | 0.81661 | 0.79204 | 0.80234 | 0.79145 | <0.000 | 0.00013327 | 96.3703 | 16955.0933 | 0.68857 | 96.6201 | 765361.9 | 0.16963 | 100.3404 | 313357.4567 | 0.86331 | 98.7126 | 126452.1433 | 1.2038 | 96.685 | 173256.2567 | 0.94636 | 104.1392 | 1107883.8967 | 0.47982 | 99.4245 | 580407.7767 | 0.30142 | 93.2331 | 589512.1533 | 0.75967 | 90.7621 | 389918.3667 | 0.36582
| FALSE | 040_QC2.d | 2023-01-25 16:30 | QC2 |  | qc 2 | 1 | 10.2144 | 10.0703 | 10.4837 | 11.8199 | 10.4067 | 10.5233 | 10.398 | 11.5929 | 10.4344 | 1.1543 | 1.023 | 1.1915 | 1.0434 | 11.4341 | 10.2342 | 11.5199 | 10.2427 | 11.4578 | 10.2152 | 9.3445 | 8.1695 | 97.5862 | 17169.0233 | 5.5019 | 89.8109 | 711423.6767 | 14.1562 | 103.6142 | 323581.18 | 0.32077 | 100.9864 | 129364.85 | 6.5126 | 101.3587 | 181631.2067 | 6.2302 | 92.9191 | 988519.0233 | 16.5881 | 103.5905 | 604727.4633 | 3.7262 | 88.4661 | 559369.96 | 11.1865 | 93.9832 | 403756.4067 | 6.6746
| FALSE | 041SMPL.d | 2023-01-25 16:33 | Sample |  | blk | 1 | 0.00098757 | 0.016172 | 0.083593 | 0.0013058 | 0.00055481 | 0.0029427 | 0.0056818 | 0.0083059 | 0.0040973 | 0.011605 | 0.0075485 | 0.010581 | 0.009671 | 0.0024374 | 0.0041247 | <0.000 | 0.0011813 | 0.00080505 | 0.0012433 | 0.01014 | 0.0077999 | 98.2611 | 17287.76 | 0.63522 | 99.1965 | 785769.7967 | 0.52512 | 103.5167 | 323276.8333 | 0.97479 | 101.5476 | 130083.7867 | 0.5519 | 100.7389 | 180520.6833 | 0.56203 | 104.8782 | 1115746.5233 | 0.31467 | 101.2288 | 590940.8367 | 0.044355 | 96.2246 | 608427.2867 | 0.57007 | 93.3135 | 400879.3767 | 0.34155
| FALSE | 042SMPL.d | 2023-01-25 16:37 | Sample |  | 172327-002 | 1 | 0.066362 | 0.033425 | <0.000 | 0.0061485 | 0.0070779 | 0.011427 | 0.070463 | 0.07311 | 0.071296 | 0.0040669 | 0.0061415 | 0.0037726 | 0.0014622 | 2.7984 | 2.7697 | 2.711 | 2.6571 | 2.7401 | 2.6904 | 0.0041254 | 0.0039569 | 98.0271 | 17246.5867 | 1.3439 | 98.8709 | 783190.8767 | 0.23987 | 102.8245 | 321115.1033 | 0.25757 | 100.3469 | 128545.7167 | 1.2333 | 99.3319 | 177999.4033 | 0.53479 | 105.4975 | 1122334.94 | 1.1086 | 100.4648 | 586480.6367 | 0.33784 | 94.5443 | 597802.4567 | 0.53645 | 91.7996 | 394375.6133 | 0.081909
| FALSE | 043SMPL.d | 2023-01-25 16:41 | Sample |  | 172328-002 | 1 | 0.078946 | 0.036658 | 0.06855 | 0.0018399 | 0.0037423 | 0.0043133 | 0.065009 | 0.068354 | 0.068742 | <0.000 | 0.0046621 | 0.00025758 | 0.0013833 | 1.6501 | 1.6678 | 1.6391 | 1.6384 | 1.6404 | 1.6348 | 0.0038397 | 0.004111 | 97.5655 | 17165.3733 | 1.2208 | 98.8557 | 783070.3867 | 0.4911 | 102.981 | 321603.8233 | 0.54004 | 98.3325 | 125965.2133 | 0.62043 | 99.0469 | 177488.5767 | 0.16463 | 105.4459 | 1121785.3233 | 0.48908 | 100.5399 | 586919.3367 | 0.28841 | 93.9406 | 593985.7267 | 0.24928 | 90.6193 | 389304.7667 | 0.93516
| FALSE | 044SMPL.d | 2023-01-25 16:44 | Sample |  | 172339-001 | 1 | 16.9715 | 0.030528 | 0.16727 | 0.0043812 | 0.0023031 | 0.0026893 | 0.11292 | 0.11527 | 0.10313 | <0.000 | 0.0024492 | 0.018432 | 0.0087625 | 0.68135 | 0.64758 | 0.66805 | 0.63263 | 0.67328 | 0.64002 | 0.0056953 | 0.0055289 | 123.0453 | 21648.2167 | 0.68773 | 85.7883 | 679558.9133 | 8.8914 | 96.7359 | 302100.8967 | 2.0898 | 96.236 | 123279.4833 | 0.31495 | 91.9799 | 164824.78 | 0.38311 | 86.101 | 915985.55 | 9.3508 | 93.7006 | 546993.5533 | 0.17059 | 82.2174 | 519859.8967 | 11.876 | 80.5618 | 346097.57 | 0.77913
| FALSE | 045SMPL.d | 2023-01-25 16:48 | Sample |  | 172340-001 | 1 | 0.069357 | 0.017848 | <0.000 | 0.00355 | 0.0056552 | 0.0060272 | 0.07472 | 0.078017 | 0.079353 | <0.000 | <0.000 | <0.000 | <0.000 | 0.71126 | 0.72635 | 0.70137 | 0.70732 | 0.70304 | 0.71025 | 0.013225 | 0.01304 | 102.7317 | 18074.3 | 1.222 | 92.8686 | 735644.5967 | 0.36707 | 99.039 | 309293.08 | 1.5242 | 96.2852 | 123342.5267 | 0.89246 | 92.2103 | 165237.7033 | 0.81316 | 96.5828 | 1027496.1833 | 3.8624 | 94.467 | 551467.74 | 0.18084 | 84.2915 | 532974.0933 | 0.14011 | 80.7087 | 346728.5533 | 0.30961
| FALSE | 046SMPL.d | 2023-01-25 16:52 | Sample |  | 172344-001 | 1 | 0.6535 | 0.010313 | 0.010345 | 0.0005171 | <0.000 | 0.0023031 | 0.04083 | 0.04155 | 0.041966 | <0.000 | 0.0016309 | 0.00010305 | <0.000 | 0.57923 | 0.58752 | 0.56562 | 0.57342 | 0.56617 | 0.57168 | 0.79331 | 0.77539 | 93.9799 | 16534.5433 | 0.5554 | 94.0122 | 744703.5733 | 0.55562 | 98.2424 | 306805.5867 | 0.84465 | 96.1166 | 123126.56 | 1.003 | 93.985 | 168417.7933 | 0.88748 | 101.2728 | 1077390.59 | 0.87586 | 95.8428 | 559498.8033 | 0.59699 | 87.8862 | 555703.6133 | 0.3976 | 84.1676 | 361588.2533 | 0.67847
| FALSE | 047SMPL.d | 2023-01-25 16:56 | Sample |  | 172347-001 | 1 | 0.044181 | 1.3285 | 1.2632 | 0.023159 | 0.017575 | 0.025148 | 0.063685 | 0.077452 | 0.059623 | 0.012906 | 0.01665 | 0.017446 | 0.015808 | 1.3791 | 1.3705 | 1.3737 | 1.3558 | 1.3732 | 1.3425 | 0.017934 | 0.017672 | 94.6449 | 16651.54 | 3.5887 | 95.2434 | 754456.23 | 0.63862 | 98.3143 | 307029.9033 | 0.36708 | 97.2491 | 124577.3567 | 5.6842 | 96.6841 | 173254.6433 | 5.5373 | 104.6323 | 1113130.5133 | 1.1003 | 98.0113 | 572157.8767 | 5.5628 | 91.5694 | 578992.1133 | 1.0847 | 87.7224 | 376859.8733 | 5.2811
| FALSE | 048SMPL.d | 2023-01-25 16:59 | Sample |  | 172353-001 | 1 | 0.019954 | 0.004109 | <0.000 | 0.0023911 | 0.0030856 | 0.0044327 | 0.039092 | 0.045077 | 0.040137 | <0.000 | <0.000 | 0.0031828 | 0.0012223 | 0.46393 | 0.46937 | 0.45332 | 0.44821 | 0.45343 | 0.45655 | 0.0086033 | 0.0084556 | 96.111 | 16909.4767 | 1.6112 | 96.4243 | 763810.4633 | 0.33337 | 101.3744 | 316586.51 | 1.1426 | 98.4832 | 126158.2367 | 0.56497 | 98.8541 | 177143.1967 | 0.27123 | 104.5226 | 1111962.92 | 0.7507 | 99.2673 | 579490.48 | 0.52488 | 92.2662 | 583398.5167 | 0.68097 | 89.5781 | 384831.9933 | 0.19074
| FALSE | 049SMPL.d | 2023-01-25 17:03 | Sample |  | 172354-001 | 1 | 0.084124 | 0.0041349 | 0.0076366 | 0.0013724 | <0.000 | 0.0028782 | 0.0622 | 0.067429 | 0.05725 | <0.000 | <0.000 | 0.0065414 | 0.00020009 | 0.78869 | 0.81386 | 0.82499 | 0.79834 | 0.80239 | 0.79922 | 0.18797 | 0.18398 | 97.7361 | 17195.39 | 1.2047 | 101.7978 | 806375.6833 | 35.8694 | 100.7056 | 314497.91 | 1.2938 | 97.021 | 124285.1733 | 0.30101 | 96.8488 | 173549.74 | 0.95879 | 103.7623 | 1103874.9033 | 34.4271 | 99.0523 | 578235.2667 | 0.64536 | 100.5922 | 636043.41 | 36.1966 | 88.5626 | 380469.13 | 0.51299
| FALSE | 050SMPL.d | 2023-01-25 17:07 | Sample |  | 172360-001 mj | 5 | 0.17532 | 0.10747 | <0.000 | 0.15628 | 0.16348 | 0.17726 | 0.30123 | 0.3091 | 0.32443 | 0.07506 | 0.090383 | 0.09338 | 0.099288 | 1.4801 | 1.5544 | 1.528 | 1.5556 | 1.504 | 1.5453 | 0.009769 | 0.0055493 | 93.6009 | 16467.85 | 1.2816 | 101.9069 | 807240.0533 | 0.82407 | 104.7765 | 327211.0633 | 0.73474 | 99.5881 | 127573.6067 | 0.71749 | 97.9173 | 175464.34 | 0.55903 | 107.8903 | 1147790.2167 | 0.73513 | 101.9774 | 595311.01 | 0.64525 | 94.89 | 599988.19 | 1.7664 | 90.0815 | 386994.62 | 0.80107
| FALSE | 051SMPL.d | 2023-01-25 17:11 | Sample |  | 172360-002 mj | 5 | 0.41335 | 0.17346 | <0.000 | 0.25017 | 0.25872 | 0.36168 | 2.147 | 2.0307 | 2.0724 | 0.17872 | 0.11758 | 0.12396 | 0.15338 | 3.3392 | 3.395 | 3.3028 | 3.3227 | 3.2892 | 3.3175 | 0.01012 | 0.012257 | 93.4933 | 16448.93 | 3.2923 | 99.4552 | 787819.8067 | 0.24124 | 103.8241 | 324236.6867 | 0.77999 | 97.9558 | 125482.69 | 1.2329 | 95.3276 | 170823.6933 | 0.19878 | 106.6878 | 1134997.3533 | 0.43783 | 100.6316 | 587454.7867 | 0.19277 | 90.1471 | 569999.24 | 0.70809 | 87.0067 | 373785.1233 | 0.4693
| FALSE | 052_QC2.d | 2023-01-25 17:14 | QC2 |  | qc 2 | 1 | 10.0547 | 12.5671 | 10.1527 | 10.9933 | 10.388 | 10.4457 | 10.4339 | 10.8304 | 10.3377 | 1.1356 | 1.0532 | 1.1408 | 1.0656 | 11.1201 | 10.5152 | 11.0737 | 10.3498 | 11.0245 | 10.3288 | 8.8284 | 8.1545 | 95.6433 | 16827.2 | 2.4326 | 93.8565 | 743470.16 | 6.1182 | 88.6457 | 276835.4733 | 37.3872 | 98.8326 | 126605.7833 | 0.15252 | 99.4422 | 178197.03 | 0.63535 | 100.6145 | 1070387.11 | 6.9096 | 100.1851 | 584847.7467 | 0.17129 | 88.6253 | 560376.95 | 5.727 | 90.162 | 387340.23 | 0.61898
| FALSE | 053SMPL.d | 2023-01-25 17:18 | Sample |  | blk | 1 | <0.000 | 0.017979 | <0.000 | 0.0022048 | 0.00021859 | 0.0028528 | 0.0037758 | 0.016885 | 0.0047149 | 0.01383 | 0.004584 | 0.017115 | 0.004473 | 0.0086049 | 0.0055386 | 0.0091377 | 5.8372e-05 | 0.0065171 | 0.0020715 | 0.019583 | 0.011976 | 93.7398 | 16492.2933 | 0.98363 | 83.6625 | 662720.24 | 20.188 | 102.4557 | 319963.48 | 0.31755 | 97.279 | 124615.6833 | 0.21926 | 97.8369 | 175320.38 | 0.24444 | 88.6977 | 943609.9567 | 22.8028 | 98.8111 | 576827.2333 | 0.30491 | 81.7287 | 516769.58 | 16.5586 | 89.1447 | 382970 | 0.7452
| FALSE | 054SMPL.d | 2023-01-25 17:22 | Sample |  | 172359-001 mj | 5 | 0.087985 | 0.10258 | <0.000 | 0.74718 | 0.74407 | 3.1062 | 0.56087 | 0.56439 | 0.56754 | 0.17177 | 0.17284 | 0.19323 | 0.17956 | 4.9975 | 5.0209 | 4.8595 | 4.8637 | 4.8921 | 4.8678 | 0.38186 | 0.37101 | 93.0318 | 16367.74 | 0.93661 | 100.5589 | 796562.08 | 0.6725 | 105.7021 | 330101.7233 | 0.8722 | 98.7772 | 126534.8867 | 0.67201 | 100.1882 | 179533.7867 | 1.0313 | 107.0462 | 1138810.13 | 0.83635 | 102.3394 | 597423.83 | 0.89136 | 93.3577 | 590299.9333 | 0.50092 | 91.7088 | 393985.57 | 0.75808
| FALSE | 055SMPL.d | 2023-01-25 17:26 | Sample |  | 172357-001 | 1 | 0.050218 | 0.083767 | <0.000 | 0.016192 | 0.018428 | 0.076437 | 0.14287 | 0.1413 | 0.15397 | 0.019501 | 0.0088622 | 0.014228 | 0.0095458 | 3.4277 | 3.4845 | 3.3164 | 3.3326 | 3.3559 | 3.3681 | 0.0009841 | 0.0012437 | 94.8502 | 16687.6633 | 14.4969 | 97.8406 | 775029.3967 | 0.97462 | 74.4338 | 232452.4833 | 14.4016 | 96.9871 | 124241.7567 | 19.9182 | 98.4485 | 176416.25 | 18.9821 | 105.3621 | 1120894.61 | 0.8365 | 102.6543 | 599262.37 | 22.2511 | 92.997 | 588019.3533 | 0.89654 | 90.1989 | 387498.8367 | 17.8703
| FALSE | 056SMPL.d | 2023-01-25 17:29 | Sample |  | 172358-001 | 1 | 0.091997 | 0.30405 | 0.12154 | 0.0030284 | 0.0021674 | 0.0035006 | 0.055498 | 0.058036 | 0.055372 | 0.00021201 | 0.0096876 | 0.013517 | 0.0080032 | 0.50306 | 0.48958 | 0.48574 | 0.47987 | 0.48916 | 0.48043 | 0.067714 | 0.063607 | 92.918 | 16347.7167 | 1.6912 | 91.0694 | 721392.5833 | 7.266 | 98.9338 | 308964.8367 | 1.6155 | 93.912 | 120302.42 | 2.4687 | 93.2267 | 167059.03 | 2.2353 | 98.2407 | 1045132.9333 | 10.5965 | 96.0879 | 560929.9833 | 1.7478 | 87.8866 | 555705.9733 | 5.7046 | 85.2598 | 366280.1167 | 2.2274
| FALSE | 057SMPL.d | 2023-01-25 17:33 | Sample |  | 172350-001 | 1 | 0.069332 | 0.019524 | <0.000 | 0.010337 | 0.012235 | 0.011371 | 0.12761 | 0.12574 | 0.13253 | 0.0015129 | 0.0012195 | 0.0029662 | 0.001488 | 2.0042 | 1.9784 | 2.024 | 2.0089 | 1.9867 | 1.9671 | 0.049379 | 0.051474 | 91.9251 | 16173.0267 | 0.3519 | 93.9427 | 744152.9567 | 0.34098 | 98.9125 | 308898.2633 | 1.0706 | 95.1789 | 121925.3567 | 0.50141 | 93.8243 | 168129.91 | 0.89082 | 101.9163 | 1084236.34 | 0.40721 | 96.7535 | 564815.51 | 0.22142 | 86.1555 | 544760.41 | 0.55486 | 82.7631 | 355554.4233 | 0.06803
| FALSE | 058SMPL.d | 2023-01-25 17:37 | Sample |  | 172366-001 | 1 | 1.8049 | 0.13362 | 0.17555 | 0.0026218 | <0.000 | 0.0065547 | 0.24312 | 0.24035 | 0.24307 | 0.004868 | 0.0025328 | 0.010887 | 0.0059371 | 1.1201 | 1.1004 | 1.0758 | 1.0714 | 1.0837 | 1.061 | 0.088838 | 0.086804 | 90.754 | 15966.98 | 6.8445 | 94.9086 | 751803.9033 | 0.42468 | 99.3283 | 310196.81 | 0.087885 | 95.8906 | 122837.1233 | 7.549 | 94.315 | 169009.28 | 7.2177 | 102.8791 | 1094479.2633 | 0.11392 | 99.9537 | 583497.24 | 11.9778 | 87.8333 | 555369.2367 | 0.39248 | 84.7157 | 363942.65 | 7.7588
| FALSE | 059SMPL.d | 2023-01-25 17:41 | Sample |  | 172365-001 | 1 | 0.95839 | 0.17272 | 0.1561 | 0.026699 | 0.026567 | 0.02889 | 0.15291 | 0.15717 | 0.14844 | 0.003928 | 0.0036156 | 0.009003 | 0.0059123 | 0.51425 | 0.51521 | 0.49339 | 0.50485 | 0.50218 | 0.50309 | 0.006084 | 0.0070066 | 93.6009 | 16467.8633 | 1.331 | 94.948 | 752116.5433 | 0.6072 | 89.5941 | 279797.2733 | 32.3001 | 95.8955 | 122843.34 | 1.3692 | 94.9961 | 170229.6367 | 0.23706 | 103.1132 | 1096968.9433 | 0.48954 | 97.2416 | 567664.6433 | 0.13638 | 88.4626 | 559347.8833 | 0.3335 | 84.7568 | 364119.28 | 0.7659
| FALSE | 060SMPL.d | 2023-01-25 17:44 | Sample |  | 172349-001 | 1 | 0.35175 | 0.0084457 | <0.000 | 0.00035189 | <0.000 | 0.00065923 | 0.043912 | 0.043097 | 0.03125 | 0.0025192 | 0.0048791 | 0.00012587 | 0.0030917 | 0.24513 | 0.25539 | 0.24714 | 0.23208 | 0.24203 | 0.24295 | 0.0008451 | 0.00099703 | 92.8231 | 16331.0133 | 1.1923 | 94.99 | 752448.81 | 0.62205 | 99.4323 | 310521.3867 | 0.529 | 94.7775 | 121411.1833 | 0.48168 | 95.5145 | 171158.65 | 0.2084 | 103.2502 | 1098427.31 | 0.26396 | 97.5647 | 569551.1833 | 0.53234 | 89.5639 | 566311.43 | 0.70345 | 85.6068 | 367770.7667 | 0.10501
| FALSE | 061SMPL.d | 2023-01-25 17:48 | Sample |  | 172348-001 | 1 | 0.54621 | 0.023674 | 0.019376 | 0.0015235 | <0.000 | 0.001522 | 0.048779 | 0.066235 | 0.046661 | 0.0037882 | 0.00015333 | 0.0019711 | 0.00090273 | 0.32632 | 0.32016 | 0.3096 | 0.31212 | 0.31547 | 0.31134 | 0.0061691 | 0.0061311 | 94.3219 | 16594.71 | 0.070952 | 97.1676 | 769698.2167 | 0.38173 | 102.6162 | 320464.6567 | 0.84373 | 97.2693 | 124603.2767 | 0.54615 | 94.4979 | 169336.9633 | 0.5921 | 102.6458 | 1091996.46 | 0.5938 | 97.4881 | 569104.09 | 0.5533 | 87.2035 | 551387.0633 | 0.50453 | 84.0488 | 361077.6867 | 0.98012
| FALSE | 062SMPL.d | 2023-01-25 17:52 | Sample |  | 172361-001 | 1 | 2.3331 | 0.0043098 | <0.000 | 0.0050941 | 0.0015216 | 0.0041926 | 0.040697 | 0.060887 | 0.043777 | 0.0062699 | 0.01058 | 0.015456 | 0.010818 | 0.66034 | 0.56568 | 0.64015 | 0.53699 | 0.65359 | 0.54737 | 0.0014744 | 0.0015752 | 92.1215 | 16207.5733 | 1.095 | 82.427 | 652933.32 | 11.6687 | 98.1206 | 306425.2133 | 0.14216 | 93.7341 | 120074.5933 | 0.31514 | 95.438 | 171021.6667 | 0.53207 | 85.7486 | 912236.3167 | 15.6849 | 96.9734 | 566099.11 | 0.48095 | 77.8442 | 492207.9 | 11.4536 | 84.9522 | 364958.8967 | 0.32593
| FALSE | 063SMPL.d | 2023-01-25 17:56 | Sample |  | 172367-001 | 1 | 0.026534 | 0.0053079 | <0.000 | 0.00040918 | <0.000 | 0.0011455 | 0.97746 | 0.97357 | 0.99974 | <0.000 | 0.0026816 | 0.0057294 | <0.000 | 0.34899 | 0.36483 | 0.33789 | 0.33888 | 0.3411 | 0.34609 | <0.000 | 0.00045727 | 93.5 | 16450.1033 | 0.6824 | 95.7362 | 758360.1433 | 0.38319 | 138.8346 | 433572.6233 | 42.8083 | 95.5132 | 122353.6267 | 0.41046 | 95.7796 | 171633.72 | 0.37941 | 103.0901 | 1096723.3 | 0.84728 | 98.0518 | 572394.6867 | 0.26285 | 87.4807 | 553139.7067 | 0.59029 | 83.8497 | 360222.5233 | 0.53992
| FALSE | 064_QC2.d | 2023-01-25 17:59 | QC2 |  | qc 2 | 1 | 9.9485 | 9.6984 | 9.2574 | 10.4163 | 10.2762 | 10.4024 | 10.3492 | 10.248 | 10.4184 | 1.0759 | 1.0705 | 1.0637 | 1.0855 | 10.6203 | 10.6241 | 10.3577 | 10.2814 | 10.4265 | 10.2933 | 8.1919 | 8.0515 | 94.8656 | 16690.36 | 1.5397 | 97.1235 | 769349.2933 | 0.054885 | 102.7623 | 320920.77 | 0.53808 | 98.2941 | 125915.99 | 0.51114 | 98.8209 | 177083.5667 | 1.0731 | 104.399 | 1110648.2133 | 0.42912 | 100.1231 | 584486.1233 | 0.15898 | 89.0147 | 562838.9667 | 0.21242 | 86.7146 | 372530.0967 | 0.37396
| FALSE | 065SMPL.d | 2023-01-25 18:03 | Sample |  | blk | 1 | <0.000 | 0.013754 | <0.000 | 0.00030847 | 0.00086336 | 0.0013695 | 0.0056282 | 0.019889 | 0.00594 | 0.012099 | 0.0073314 | 0.014659 | 0.0091363 | 0.0049837 | 0.00353 | 0.00042838 | <0.000 | 0.0055676 | 0.00087527 | 0.01466 | 0.0085238 | 95.953 | 16881.68 | 0.86233 | 92.4019 | 731948.1033 | 8.3593 | 103.398 | 322906.25 | 0.28475 | 97.4262 | 124804.25 | 0.54897 | 98.2418 | 176045.9233 | 0.42939 | 98.4007 | 1046834.9667 | 9.6474 | 99.8257 | 582749.7167 | 0.66006 | 84.7521 | 535886.52 | 6.5306 | 86.8064 | 372924.5233 | 0.25476
| FALSE | 066SMPL.d | 2023-01-25 18:07 | Sample |  | 172369-003 | 1 | 0.017647 | 0.0081913 | <0.000 | 0.00062359 | 0.0012311 | 0.00060953 | 0.069051 | 0.086765 | 0.075487 | 0.012067 | 0.0088588 | 0.0112 | 0.011724 | 0.45311 | 0.46183 | 0.43552 | 0.43224 | 0.44288 | 0.4397 | 0.002276 | 0.0029485 | 94.4417 | 16615.7867 | 1.7648 | 96.4868 | 764305.7433 | 0.97433 | 102.1729 | 319080.2833 | 0.58734 | 97.0796 | 124360.1567 | 0.17859 | 97.8825 | 175402.1133 | 0.26197 | 102.7031 | 1092606.6933 | 1.227 | 98.5762 | 575455.7633 | 0.52102 | 88.1249 | 557212.7267 | 0.20945 | 85.4249 | 366989.5233 | 0.34898
| FALSE | 067SMPL.d | 2023-01-25 18:11 | Sample |  | 172369-001 | 1 | 0.014769 | 0.0082007 | <0.000 | 6.2756e-05 | 0.0019029 | 0.0032273 | 0.070574 | 0.083565 | 0.074435 | 0.0046937 | 0.0081923 | 0.012711 | 0.012327 | 0.59765 | 0.61052 | 0.56773 | 0.5617 | 0.57692 | 0.57555 | 0.002751 | 0.0026777 | 95.1629 | 16742.6633 | 0.99461 | 97.1539 | 769589.91 | 0.50429 | 101.9756 | 318464.1567 | 0.89496 | 97.3891 | 124756.6467 | 0.95204 | 96.8081 | 173476.73 | 1.004 | 103.1812 | 1097692.98 | 0.45943 | 98.399 | 574421.4067 | 0.35978 | 87.4412 | 552889.69 | 0.51189 | 84.607 | 363475.9633 | 0.25581
| FALSE | 068SMPL.d | 2023-01-25 18:14 | Sample |  | 172369-002 | 1 | 0.011932 | 0.011412 | <0.000 | <0.000 | <0.000 | 0.00045156 | 0.047477 | 0.051861 | 0.045661 | 0.0039978 | 0.0088738 | 0.0067932 | 0.008806 | 0.3102 | 0.34979 | 0.30471 | 0.33433 | 0.30726 | 0.33546 | 0.0011429 | 0.0023441 | 94.2519 | 16582.39 | 0.93635 | 105.3392 | 834428.51 | 14.2961 | 107.8617 | 336845.99 | 41.37 | 97.3666 | 124727.8 | 0.11423 | 96.9106 | 173660.4467 | 0.59099 | 110.0567 | 1170837.6967 | 10.8704 | 98.7346 | 576380.7067 | 0.5458 | 94.9362 | 600280.4967 | 14.1488 | 84.1681 | 361590.2167 | 0.49732
| FALSE | 069SMPL.d | 2023-01-25 18:18 | Sample |  | 172369-004 | 1 | 0.012981 | 0.0040288 | <0.000 | 0.0024418 | 0.0041962 | 0.0021822 | 0.045876 | 0.052449 | 0.04259 | 0.0077756 | 0.0072143 | 0.0059484 | 0.0091701 | 0.36033 | 0.35332 | 0.34727 | 0.33716 | 0.35127 | 0.34234 | 0.0018412 | 0.0024834 | 94.284 | 16588.0333 | 1.5058 | 96.7025 | 766014.5033 | 0.56732 | 102.6611 | 320604.93 | 0.64037 | 97.3019 | 124644.9167 | 0.40244 | 97.1711 | 174127.2967 | 0.24572 | 102.991 | 1095669.35 | 1.2192 | 99.0465 | 578201.4933 | 0.58482 | 87.294 | 551959.1633 | 0.60345 | 84.9717 | 365042.6267 | 0.91214
| FALSE | 070SMPL.d | 2023-01-25 18:22 | Sample |  | 172367-002 | 1 | 1.1395 | 0.029958 | <0.000 | 0.011763 | 0.0078618 | 0.012067 | 0.075022 | 0.091134 | 0.077326 | 0.019075 | 0.025054 | 0.035801 | 0.026122 | 1.4111 | 1.4477 | 1.3567 | 1.3789 | 1.3765 | 1.3811 | 0.034288 | 0.032353 | 101.1444 | 17795.0467 | 0.99078 | 78.3095 | 620316.8867 | 0.33263 | 87.5174 | 273311.9833 | 0.77032 | 86.2489 | 110485.9867 | 0.6978 | 81.8 | 146582.75 | 0.23354 | 80.608 | 857547.65 | 0.47689 | 82.9018 | 483953.93 | 0.4988 | 68.8787 | 435519.5533 | 0.25331 | 65.621 | 281910.8667 | 0.27522
| FALSE | 071SMPL.d | 2023-01-25 18:25 | Sample |  | 172377-001 | 1 | 0.53886 | 0.017035 | <0.000 | <0.000 | <0.000 | <0.000 | 0.061523 | 0.072375 | 0.05737 | <0.000 | 0.00010896 | 0.0021136 | 0.00070358 | 0.46503 | 0.47035 | 0.44738 | 0.43535 | 0.45445 | 0.45161 | <0.000 | 7.5731e-05 | 95.485 | 16799.3467 | 1.616 | 96.7714 | 766559.8667 | 0.93883 | 72.7352 | 227147.7867 | 14.3813 | 96.3759 | 123458.7033 | 0.4251 | 96.4069 | 172757.88 | 0.37216 | 103.8607 | 1104921.32 | 0.30603 | 97.6622 | 570120.1033 | 0.15425 | 85.6072 | 541293.31 | 1.1405 | 82.8787 | 356050.99 | 0.22137
| FALSE | 072SMPL.d | 2023-01-25 18:29 | Sample |  | 172378-001 | 1 | 0.1176 | 0.053598 | 0.067255 | 0.0022496 | 0.0014296 | 0.014877 | 0.11521 | 0.12551 | 0.12317 | <0.000 | <0.000 | 0.0037655 | <0.000 | 14.2022 | 14.2218 | 14.0294 | 13.9167 | 13.9478 | 13.8116 | 0.16888 | 0.16628 | 92.7725 | 16322.1067 | 1.5163 | 95.4023 | 755715.2733 | 0.71078 | 100.2193 | 312979.1433 | 0.71882 | 94.6906 | 121299.8233 | 0.65188 | 95.0072 | 170249.6133 | 0.80901 | 102.9165 | 1094876.2967 | 1.185 | 97.605 | 569786.09 | 0.7472 | 86.0246 | 543932.4667 | 0.20411 | 83.526 | 358831.68 | 0.5944
| FALSE | 073SMPL.d | 2023-01-25 18:33 | Sample |  | 172381-001 | 1 | 0.26618 | 0.048727 | <0.000 | 0.040263 | 0.035131 | 0.040684 | 0.13558 | 0.14175 | 0.12255 | 0.0056255 | 0.0018239 | 0.0017556 | <0.000 | 3.5655 | 3.5616 | 3.3844 | 3.3488 | 3.4365 | 3.3992 | 0.022977 | 0.023738 | 93.3162 | 16417.7733 | 1.2091 | 98.1672 | 777616.3933 | 0.43586 | 105.0661 | 328115.5167 | 0.77207 | 98.4584 | 126126.53 | 0.38357 | 94.726 | 169745.7733 | 0.43368 | 102.4389 | 1089796.2 | 0.52935 | 97.2891 | 567942.38 | 0.22105 | 85.3323 | 539555.34 | 0.31719 | 82.7122 | 355335.58 | 0.89537
| FALSE | 074SMPL.d | 2023-01-25 18:37 | Sample |  | 172385-003 | 1 | 0.41917 | 0.062249 | <0.000 | 0.048761 | 0.054819 | 0.054271 | 0.36765 | 0.35601 | 0.3719 | <0.000 | <0.000 | 0.0038449 | 0.0025754 | 1.0405 | 1.063 | 1.0065 | 1.0073 | 1.0158 | 1.0075 | 0.15303 | 0.14912 | 93.3227 | 16418.9167 | 1.5984 | 97.318 | 770889.65 | 0.50292 | 102.4109 | 319823.4267 | 0.84839 | 96.8803 | 124104.9433 | 0.76943 | 94.9395 | 170128.2367 | 0.73163 | 102.9237 | 1094953.7067 | 0.67863 | 97.7701 | 570750.3167 | 0.27716 | 83.8864 | 530413.0233 | 0.28041 | 81.7609 | 351248.89 | 0.12532
| FALSE | 075SMPL.d | 2023-01-25 18:40 | Sample |  | 172386-003 | 1 | 0.43976 | 0.065564 | 0.015098 | 0.087493 | 0.092601 | 0.076839 | 0.3255 | 0.31553 | 0.3401 | 0.002229 | <0.000 | 0.00013284 | <0.000 | 0.79221 | 0.80361 | 0.75924 | 0.7541 | 0.76888 | 0.76094 | 0.046544 | 0.045828 | 94.7515 | 16670.2967 | 1.9925 | 98.5694 | 780802.6 | 0.2096 | 104.7905 | 327254.9633 | 0.84275 | 98.8664 | 126649.1333 | 0.56192 | 95.4762 | 171089.9567 | 0.30334 | 102.6753 | 1092310.2633 | 0.99979 | 98.074 | 572524.03 | 0.4535 | 84.408 | 533711.1933 | 1.3845 | 81.6103 | 350601.7167 | 0.61227
| FALSE | 076_QC1.d | 2023-01-25 18:44 | QC1 |  | qc 1 | 1 | 5.0781 | 5.0087 | 5.1036 | 5.2363 | 5.1887 | 5.2002 | 5.2366 | 5.1172 | 5.1999 | 0.52791 | 0.52601 | 0.53629 | 0.53868 | 5.3517 | 5.347 | 5.2282 | 5.1232 | 5.26 | 5.1536 | 4.0941 | 4.0464 | 97.205 | 17101.95 | 1.2994 | 98.0417 | 776622.75 | 0.34072 | 103.4145 | 322957.8133 | 0.47119 | 99.3259 | 127237.7467 | 0.86002 | 99.7985 | 178835.4933 | 0.55022 | 104.8568 | 1115518.57 | 0.6253 | 100.3889 | 586037.6033 | 0.28133 | 87.7497 | 554840.2433 | 0.51475 | 86.0232 | 369559.7367 | 0.70692
| FALSE | 077_QC2.d | 2023-01-25 18:48 | QC2 |  | qc 2 | 1 | 10.0178 | 13.3952 | 9.8829 | 12.5944 | 10.3404 | 10.3521 | 10.5357 | 12.3025 | 10.3674 | 1.2539 | 1.1035 | 1.298 | 1.0803 | 12.511 | 10.6661 | 12.211 | 10.2973 | 12.2727 | 10.3194 | 9.6094 | 8.0448 | 95.7572 | 16847.2267 | 1.0146 | 83.5851 | 662107.0867 | 16.4236 | 86.9432 | 271518.5767 | 46.7812 | 98.1 | 125667.31 | 1.0224 | 98.5989 | 176685.8233 | 0.5224 | 86.3166 | 918279.09 | 17.4764 | 99.6051 | 581462.4533 | 0.46533 | 75.7826 | 479172.35 | 12.5779 | 85.1291 | 365718.67 | 0.56088
| FALSE | 078_QC3.d | 2023-01-25 18:52 | QC3 |  | qc 3 | 1 | 49.5974 | 68.7936 | 49.1525 | 53.0392 | 50.8768 | 50.7714 | 51.7151 | 56.3091 | 51.8116 | 5.5331 | 5.532 | 5.4642 | 5.4803 | 58.2395 | 52.7444 | 50.7399 | 50.731 | 56.1397 | 55.702 | 45.0759 | 45.8752 | 94.8022 | 16679.22 | 0.51448 | 108.1943 | 857044.98 | 47.4853 | 74.525 | 232737.26 | 14.905 | 97.6975 | 125151.74 | 0.50842 | 97.1248 | 174044.2 | 0.11771 | 109.9369 | 1169563.3333 | 44.363 | 98.8862 | 577265.3167 | 0.53477 | 99.5065 | 629178.5367 | 47.0737 | 83.654 | 359381.4167 | 0.63616
| FALSE | 079SMPL.d | 2023-01-25 18:55 | Sample |  | curve 4 | 1 | 48.9389 | 48.0225 | 49.1985 | 52.4275 | 50.3755 | 50.5307 | 50.7243 | 55.2042 | 50.7947 | 2.8383 | 2.6728 | 2.8091 | 2.6647 | 60.8927 | 52.0875 | 50.791 | 48.3154 | 57.4372 | 53.8418 | 46.8647 | 44.8641 | 94.1004 | 16555.74 | 2.6063 | 92.8567 | 735550.2133 | 5.2255 | 102.6351 | 320523.5533 | 1.3021 | 96.9527 | 124197.66 | 0.74108 | 97.6335 | 174955.8533 | 0.46859 | 98.1408 | 1044070.8267 | 6.9814 | 98.6618 | 575955.2667 | 0.3925 | 82.5944 | 522243.2933 | 4.5955 | 83.9597 | 360695.1333 | 0.47904

## ValueList_Helper (hidden)
Bkgnd
BlkVrfy
CalBlk
CalStd
CICSpike
DilStd
DriftChk
FQBlk
IsoStd
QC1
QC2
QC3
QC4
QC5
Sample
Spike
Spike Ref
SQBlk
SQISTD
SQStd