## Sheet1
Sample | [7 empty] | 75 As [ He ] | 78 Se [ H2 ] | 78 Se [ He ] | 111 Cd [ No Gas ] | 111 Cd [ He ] | 114 Cd [ He ] | 121 Sb [ He ] | 123 Sb [ No Gas ] | 123 Sb [ He ] | 201 Hg [ No Gas ] | 201 Hg [ He ] | 202 Hg [ No Gas ] | 202 Hg [ He ] | 206 [Pb] [ No Gas ] | 206 [Pb] [ He ] | 207 [Pb] [ No Gas ] | 207 [Pb] [ He ] | 208 Pb [ No Gas ] | 208 Pb [ He ] | 238 U [ No Gas ] | 238 U [ He ] | 72 Ge ( ISTD ) [ He ] |  | 89 Y ( ISTD ) [ No Gas ] |  | 89 Y ( ISTD ) [ H2 ] |  | 89 Y ( ISTD ) [ He ] |  | 115 In ( ISTD ) [ He ] |  | 159 Tb ( ISTD ) [ No Gas ] |  | 159 Tb ( ISTD ) [ He ] |  | 209 Bi ( ISTD ) [ No Gas ] |  | 209 Bi ( ISTD ) [ He ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | Total Dil. | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS
| TRUE | 001SMPL.d | 2022-09-26 14:52 | Sample |  | blk | 1
| TRUE | 002CALB.d | 2022-09-26 14:56 | CalBlk | 1 | blk | 1
| FALSE | 003CALB.d | 2022-09-26 14:59 | CalBlk | 1 | blk | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 11010.16 | 100 | 454509.42 | 100 | 187977.48 | 100 | 84168.6667 | 100 | 103132.7467 | 100 | 557749.68 | 100 | 324542.4967 | 100 | 337665.3733 | 100 | 223555.3067
| FALSE | 004CALS.d | 2022-09-26 15:03 | CalStd | 2 | curve 1 | 1 | 0.09649 | 0.12144 | 0.19234 | 0.10807 | 0.12398 | 0.11226 | 0.10599 | 0.1062 | 0.097892 | 0.0040191 | <0.000 | <0.000 | <0.000 | 0.10521 | 0.11055 | 0.10476 | 0.11141 | 0.10501 | 0.11006 | 0.098113 | 0.096042 | 98.445 | 10838.9467 | 103.0132 | 468204.7433 | 84.7562 | 159322.5767 | 97.8797 | 82384.0467 | 97.7131 | 100774.1533 | 98.9111 | 551676.2267 | 99.8629 | 324097.4233 | 97.7436 | 330046.42 | 99.8039 | 223116.9333
| FALSE | 005CALS.d | 2022-09-26 15:07 | CalStd | 3 | curve 2 | 1 | 1.0225 | 0.99378 | 1.0543 | 1.0822 | 1.0872 | 1.0319 | 1.0481 | 1.0568 | 1.0153 | 0.025645 | 0.029084 | 0.019156 | 0.025396 | 1.0327 | 1.0514 | 1.0521 | 1.0411 | 1.0423 | 1.0473 | 0.96718 | 0.95269 | 97.2026 | 10702.16 | 100.3779 | 456227.1733 | 90.5556 | 170224.1833 | 100.5425 | 84625.3167 | 100.2874 | 103429.11 | 100.1038 | 558328.7033 | 100.4852 | 326117.3167 | 100.0874 | 337960.4067 | 100.0658 | 223702.4
| FALSE | 006CALS.d | 2022-09-26 15:11 | CalStd | 4 | curve 2.5 (Hg only) | 1 | 2.0476 | 1.9993 | 2.0493 | 2.0571 | 2.1253 | 2.1203 | 2.0608 | 2.0582 | 2.0363 | 0.089458 | 0.06473 | 0.063766 | 0.059201 | 2.0743 | 2.0304 | 2.0578 | 2.0475 | 2.0309 | 2.0379 | 1.937 | 1.8546 | 97.7381 | 10761.1267 | 104.2744 | 473936.8967 | 90.5029 | 170125.1433 | 100.2139 | 84348.69 | 100.6771 | 103831.0867 | 98.1714 | 547550.8833 | 101.7593 | 330252.06 | 96.2195 | 324899.82 | 101.1702 | 226171.24
| FALSE | 007CALS.d | 2022-09-26 15:15 | CalStd | 5 | curve 3 | 1 | 10.1079 | 10.0536 | 9.5229 | 10.3591 | 10.2632 | 10.3802 | 10.173 | 10.1835 | 10.2158 | 0.4461 | 0.46701 | 0.45516 | 0.45915 | 10.205 | 10.2508 | 10.2734 | 10.1907 | 10.0998 | 10.1718 | 9.5227 | 9.4211 | 103.8886 | 11438.2967 | 104.1948 | 473575.0167 | 99.5863 | 187199.84 | 104.4813 | 87940.54 | 104.0354 | 107294.5633 | 99.1878 | 553219.6467 | 100.9847 | 327738.3367 | 97.1289 | 327970.5233 | 99.4756 | 222382.92
| FALSE | 008CALS.d | 2022-09-26 15:19 | CalStd | 6 | curve 4 | 1 | 50.0799 | 50.1313 | 49.3683 | 51.0697 | 51.9678 | 52.0996 | 51.1238 | 50.8357 | 51.1168 | 2.4485 | 2.4914 | 2.4673 | 2.4929 | 50.0277 | 50.4992 | 50.4195 | 50.3774 | 50.4097 | 50.3413 | 50.9614 | 50.895 | 94.7086 | 10427.57 | 100.4942 | 456755.78 | 106.2509 | 199727.79 | 95.126 | 80066.2667 | 95.2195 | 98202.48 | 97.084 | 541485.91 | 98.8127 | 320689.05 | 94.9463 | 320600.6833 | 97.8262 | 218695.6667
| FALSE | 009CALS.d | 2022-09-26 15:22 | CalStd | 7 | curve 5 | 1 | 99.949 | 99.929 | 100.3629 | 99.4284 | 98.9889 | 98.9119 | 99.4203 | 99.5632 | 99.4199 | 5.0316 | 5.0085 | 5.0219 | 5.0087 | 99.9653 | 99.7248 | 99.7624 | 99.7918 | 99.7847 | 99.8117 | 99.5674 | 99.6109 | 106.1612 | 11688.5233 | 102.2487 | 464729.7667 | 106.1288 | 199498.15 | 103.4648 | 87084.9433 | 102.1287 | 105328.1733 | 96.6119 | 538852.4767 | 100.5697 | 326391.51 | 92.2424 | 311470.79 | 97.1193 | 217115.2967
| FALSE | 010SMPL.d | 2022-09-26 15:26 | Sample |  | blk | 1 | 0.053789 | 0.11169 | <0.000 | 0.054774 | 0.022431 | 0.018026 | 0.074931 | 0.11864 | 0.065191 | 0.17419 | 0.13435 | 0.16143 | 0.128 | 0.072621 | 0.032447 | 0.076976 | 0.03825 | 0.074559 | 0.035251 | 0.10523 | 0.052174 | 107.5553 | 11842.01 | 105.2425 | 478337.1333 | 92.5853 | 174039.4733 | 105.6932 | 88960.56 | 104.7824 | 108064.9933 | 99.944 | 557437.4467 | 101.9171 | 330764.2933 | 98.7603 | 333479.4067 | 101.1833 | 226200.72
| FALSE | 011SMPL.d | 2022-09-26 15:30 | Sample |  | blk | 1 | 0.01438 | 0.045115 | <0.000 | 0.0037609 | 0.0059251 | 0.0026019 | 0.020732 | 0.018401 | 0.01675 | 0.049022 | 0.058838 | 0.031756 | 0.054875 | 0.0045718 | 0.010934 | 0.0078485 | 0.01665 | 0.0087512 | 0.012256 | 0.01071 | 0.0091971 | 86.4974 | 9523.5033 | 97.1618 | 441609.6067 | 83.9957 | 157892.98 | 88.6264 | 74595.6667 | 90.2603 | 93087.95 | 103.6347 | 578022.1933 | 97.9873 | 318010.4233 | 104.0999 | 351509.3033 | 99.3618 | 222128.5867
| FALSE | 012_QC1.d | 2022-09-26 15:34 | QC1 |  | qc 1 | 1 | 5.1423 | 5.2089 | 4.8912 | 5.4098 | 5.6889 | 5.7214 | 5.5667 | 5.4592 | 5.4715 | 0.4765 | 0.50039 | 0.46734 | 0.48503 | 5.1087 | 5.1967 | 5.3882 | 5.3695 | 5.1697 | 5.2663 | 4.8817 | 4.8746 | 89.1131 | 9811.49 | 98.1597 | 446145.2467 | 88.799 | 166922.0667 | 88.2959 | 74317.49 | 90.4036 | 93235.6933 | 99.8127 | 556705.0467 | 97.9021 | 317734.02 | 98.4933 | 332577.89 | 98.9558 | 221220.9867
| FALSE | 013_QC2.d | 2022-09-26 15:38 | QC2 |  | qc 2 | 1 | 10.1818 | 10.2981 | 10.2748 | 10.9965 | 11.1225 | 11.1738 | 10.8558 | 11.127 | 10.7282 | 0.91622 | 0.94437 | 0.93044 | 0.97266 | 10.1834 | 10.336 | 10.7457 | 10.7388 | 10.324 | 10.5116 | 9.7732 | 9.6901 | 88.1132 | 9701.4067 | 95.1606 | 432514.0233 | 101.4208 | 190648.2967 | 89.5408 | 75365.27 | 91.0164 | 93867.6867 | 101.4508 | 565841.6033 | 98.5719 | 319907.61 | 101.3998 | 342391.9233 | 99.5597 | 222571.0667
| FALSE | 014_QC3.d | 2022-09-26 15:41 | QC3 |  | qc 3 | 1 | 50.6912 | 49.2509 | 46.4343 | 54.0408 | 54.2629 | 55.0955 | 53.2246 | 54.9927 | 53.4888 | 4.7495 | 4.7658 | 4.7027 | 4.8005 | 49.7868 | 50.6109 | 52.345 | 52.5333 | 51.6323 | 51.4871 | 52.1148 | 51.4697 | 87.0935 | 9589.1367 | 93.7549 | 426125.0067 | 87.835 | 165109.9533 | 88.7411 | 74692.24 | 90.3565 | 93187.1267 | 100.4102 | 560037.58 | 97.7524 | 317248.22 | 100.1009 | 338006.0133 | 98.177 | 219480
| FALSE | 015SMPL.d | 2022-09-26 15:45 | Sample |  | blk | 1 | 0.02777 | 0.070439 | 0.075664 | 0.017127 | 0.003637 | 0.0080777 | 0.037569 | 0.053312 | 0.025421 | 0.20721 | 0.14251 | 0.16806 | 0.14597 | 0.03195 | 0.018418 | 0.031884 | 0.024811 | 0.029017 | 0.021256 | 0.044989 | 0.031484 | 106.6257 | 11739.6567 | 102.4004 | 465419.65 | 110.332 | 207399.3133 | 107.1439 | 90181.6133 | 105.6031 | 108911.3433 | 98.4044 | 548850.34 | 102.7148 | 333353.09 | 96.2446 | 324984.5933 | 100.6456 | 224998.5267
| FALSE | 016SMPL.d | 2022-09-26 15:49 | Sample |  | blk | 1 | 0.0068454 | 0.014358 | <0.000 | 0.0018625 | 0.0020492 | 0.00017547 | 0.013176 | 0.018764 | 0.011121 | 0.060849 | 0.046452 | 0.032894 | 0.041783 | 0.0086471 | 0.0066566 | 0.012034 | 0.014753 | 0.0096416 | 0.010718 | 0.0069542 | 0.0059236 | 107.1407 | 11796.3667 | 104.5961 | 475399.0933 | 108.8362 | 204587.4867 | 107.1408 | 90179.0033 | 105.8454 | 109161.28 | 97.3785 | 543128.1867 | 103.0403 | 334409.7133 | 96.1823 | 324774.1733 | 101.8595 | 227712.3433
| FALSE | 017SMPL.d | 2022-09-26 15:52 | Sample |  | 170466-001 soil | 10 | 20.188 | 0.10747 | 1.2599 | 0.43811 | 0.43882 | 0.39059 | 0.39024 | 0.22416 | 0.38806 | 0.61657 | 0.7058 | 0.52326 | 0.62031 | 30.5926 | 33.084 | 30.6708 | 32.2634 | 30.2501 | 32.6435 | 2.7827 | 2.8725 | 96.9498 | 10674.3333 | 239.8792 | 1090273.43 | 226.3564 | 425499.08 | 224.8755 | 189274.74 | 89.0646 | 91854.7833 | 107.3993 | 599019.49 | 102.4155 | 332381.83 | 103.2118 | 348510.4333 | 96.2834 | 215246.5467
| FALSE | 018SMPL.d | 2022-09-26 15:56 | Sample |  | 170466-001 soil | 50 | 31.1476 | 0.23683 | <0.000 | 1.038 | 0.72301 | 0.79556 | 0.57084 | 0.25148 | 0.33921 | 0.71593 | 0.23035 | <0.000 | 0.37143 | 21.3151 | 21.4698 | 21.5284 | 21.2262 | 21.0898 | 21.2414 | 1.7392 | 1.565 | 92.3447 | 10167.2967 | 113.9472 | 517900.6833 | 122.1875 | 229685.0267 | 108.75 | 91533.44 | 92.5836 | 95484.0167 | 102.2365 | 570224.0233 | 99.4021 | 322601.9433 | 101.9548 | 344266.11 | 99.5255 | 222494.4533
| FALSE | 019SMPL.d | 2022-09-26 16:00 | Sample |  | 170476-001 | 1 | 2.8916 | 31.8375 | 31.1968 | 0.023036 | 0.0268 | 0.022601 | 0.58003 | 0.56661 | 0.56562 | 0.028303 | 0.019244 | 0.017739 | 0.023099 | 1.281 | 1.3149 | 1.3369 | 1.365 | 1.291 | 1.3297 | 0.035524 | 0.033349 | 89.3859 | 9841.5333 | 97.3525 | 442476.1033 | 93.3493 | 175475.74 | 93.2045 | 78448.9533 | 93.6582 | 96592.29 | 101.0308 | 563499.0233 | 99.1511 | 321787.4233 | 100.3191 | 338742.7933 | 98.9626 | 221236.25
| FALSE | 020SMPL.d | 2022-09-26 16:04 | Sample |  | 170479-001 | 1 | 0.11513 | 0.17916 | 0.030788 | 0.0049606 | 0.0050272 | 0.0019154 | 0.16492 | 0.17178 | 0.16053 | <0.000 | <0.000 | <0.000 | <0.000 | 0.80108 | 0.82098 | 0.85408 | 0.84408 | 0.812 | 0.82636 | 0.00092022 | 0.00066388 | 104.707 | 11528.41 | 98.5456 | 447899.1933 | 113.8891 | 214085.7933 | 104.8263 | 88230.8967 | 103.6526 | 106899.78 | 101.7696 | 567619.6667 | 102.8605 | 333825.96 | 102.7576 | 346976.86 | 101.5182 | 226949.3
| FALSE | 021SMPL.d | 2022-09-26 16:07 | Sample |  | 170479-002 | 1 | 0.078837 | 0.14242 | 0.19731 | 0.011235 | 0.0091304 | 0.0076008 | 0.087799 | 0.097475 | 0.084704 | <0.000 | <0.000 | <0.000 | <0.000 | 1.4604 | 1.3143 | 1.4943 | 1.3209 | 1.4469 | 1.308 | 0.00062482 | 0.00029175 | 92.1933 | 10150.6267 | 95.9895 | 436281.3533 | 94.8426 | 178282.6833 | 93.7488 | 78907.0833 | 96.2102 | 99224.24 | 87.2261 | 486503.0433 | 100.37 | 325743.3533 | 85.4993 | 288701.59 | 100.6686 | 225049.9267
| FALSE | 022SMPL.d | 2022-09-26 16:11 | Sample |  | 170479-003 | 1 | 0.066302 | 0.16187 | <0.000 | 0.017567 | 0.017452 | 0.012287 | 0.095204 | 0.090483 | 0.096675 | <0.000 | <0.000 | <0.000 | <0.000 | 1.0685 | 1.0664 | 1.0716 | 1.0891 | 1.0492 | 1.0693 | <0.000 | <0.000 | 107.5556 | 11842.0433 | 98.8842 | 449438.0633 | 94.9716 | 178525.2367 | 106.2995 | 89470.8467 | 105.8458 | 109161.7267 | 102.473 | 571542.83 | 103.8686 | 337097.72 | 102.3385 | 345561.5567 | 102.4082 | 228939.0533
| FALSE | 023SMPL.d | 2022-09-26 16:15 | Sample |  | 170464-001 mj | 5 | 0.065643 | 0.026536 | 0.76625 | 0.051063 | 0.022012 | 0.028644 | 0.12227 | 0.048492 | 0.073611 | <0.000 | <0.000 | <0.000 | <0.000 | 0.79953 | 0.77908 | 0.77224 | 0.82356 | 0.76607 | 0.78377 | <0.000 | <0.000 | 108.2826 | 11922.09 | 103.8225 | 471882.91 | 107.6641 | 202384.2033 | 110.3347 | 92867.2733 | 106.867 | 110214.9133 | 103.1526 | 575333.1267 | 105.3859 | 342022.1833 | 100.2176 | 338400.09 | 102.1236 | 228302.7767
| FALSE | 024SMPL.d | 2022-09-26 16:19 | Sample |  | 170449-1 liver | 10 | 10.9982 | 16.4678 | 20.2861 | 2.1703 | 2.1069 | 2.1393 | 0.16637 | <0.000 | 0.16847 | 0.69866 | 0.73079 | 0.48129 | 0.68596 | 1.8324 | 1.9327 | 1.9366 | 2.1512 | 1.894 | 1.9772 | <0.000 | <0.000 | 121.1007 | 13333.38 | 110.0448 | 500164.02 | 122.9846 | 231183.2733 | 121.5536 | 102310.0667 | 116.934 | 120597.2167 | 98.1176 | 547250.76 | 107.4935 | 348862.1867 | 93.2222 | 314779.0167 | 102.5072 | 229160.3367
| FALSE | 025SMPL.d | 2022-09-26 16:22 | Sample |  | 170468-001 mj | 5 | 0.024559 | 0.0058865 | <0.000 | 0.011012 | 0.0069344 | 0.0046495 | 0.19591 | 0.12316 | 0.16141 | 0.31357 | 0.28999 | 0.14239 | 0.29468 | 0.83056 | 0.88364 | 0.87506 | 0.92871 | 0.84222 | 0.89541 | <0.000 | <0.000 | 111.2422 | 12247.9467 | 111.0253 | 504620.4767 | 118.8548 | 223420.21 | 113.3212 | 95380.9667 | 110.2145 | 113667.26 | 100.3048 | 559449.9367 | 105.7664 | 343256.9333 | 97.1792 | 328140.41 | 101.6598 | 227265.9167
| FALSE | 026SMPL.d | 2022-09-26 16:26 | Sample |  | 170469-001 mj | 5 | 0.035024 | <0.000 | 0.49157 | 0.010525 | <0.000 | 0.0060805 | 0.14498 | 0.1357 | 0.11071 | 0.26017 | 0.13657 | 0.10584 | 0.1369 | 0.9816 | 0.95623 | 0.98866 | 1.0132 | 0.94046 | 0.96212 | <0.000 | <0.000 | 117.7566 | 12965.19 | 109.7647 | 498890.9233 | 120.933 | 227326.8133 | 117.0304 | 98502.9133 | 113.161 | 116706.0167 | 100.4232 | 560109.8867 | 106.4141 | 345359.01 | 96.6307 | 326288.5333 | 102.0171 | 228064.5667
| FALSE | 027_QC2.d | 2022-09-26 16:30 | QC2 |  | qc 2 | 1 | 10.3303 | 10.9789 | 11.0705 | 10.8696 | 10.0878 | 9.9776 | 10.1771 | 10.7553 | 10.0823 | 0.96172 | 0.87764 | 0.94519 | 0.87008 | 10.9139 | 10.3589 | 11.4307 | 10.7053 | 11.0449 | 10.4858 | 10.0255 | 9.2614 | 117.6662 | 12955.2367 | 102.9968 | 468130.1967 | 113.4301 | 213223.0567 | 116.8711 | 98368.8733 | 113.2336 | 116780.94 | 93.0297 | 518872.8967 | 106.2423 | 344801.5067 | 87.6602 | 295998.07 | 101.2086 | 226257.1833
| FALSE | 028SMPL.d | 2022-09-26 16:34 | Sample |  | blk | 1 | <0.000 | 0.018445 | 0.10458 | 0.0051742 | 0.0028594 | 0.0028428 | 0.0065025 | 0.013218 | 0.0026834 | 0.039534 | 0.0047718 | 0.0040873 | 0.0065302 | 0.0071095 | 0.0054172 | 0.0095448 | 0.01161 | 0.010835 | 0.0075022 | 0.01999 | 0.013659 | 101.889 | 11218.1467 | 106.6543 | 484753.63 | 116.6187 | 219216.9567 | 102.3649 | 86159.1867 | 102.9116 | 106135.5867 | 97.8889 | 545975.1867 | 102.5183 | 332715.5033 | 94.6413 | 319571.0467 | 101.891 | 227782.8267
| FALSE | 029SMPL.d | 2022-09-26 16:37 | Sample |  | 170470-001 mj | 5 | 0.033614 | 0.0673 | 0.19996 | 0.053592 | 0.038201 | 0.0436 | 0.0888 | 0.081135 | 0.065448 | 0.30685 | 0.081488 | 0.048336 | 0.068949 | 0.81026 | 0.80063 | 0.81348 | 0.83637 | 0.79281 | 0.79441 | 0.017832 | 0.0079707 | 113.6457 | 12512.5733 | 107.6714 | 489376.5533 | 117.3809 | 220649.5667 | 116.1474 | 97759.6833 | 110.9351 | 114410.45 | 98.3452 | 548519.79 | 105.147 | 341246.66 | 93.2384 | 314833.7533 | 99.093 | 221527.7433
| FALSE | 030SMPL.d | 2022-09-26 16:41 | Sample |  | 170485-001 | 1 | 2.7628 | 2.8414 | 2.7771 | 0.0014813 | 0.0012342 | 0.0014427 | 0.027603 | 0.020403 | 0.026092 | <0.000 | <0.000 | <0.000 | <0.000 | 0.048167 | 0.043739 | 0.051994 | 0.052859 | 0.047815 | 0.046692 | 0.00074032 | 0.00034422 | 95.395 | 10503.1367 | 104.7291 | 476003.7233 | 115.1783 | 216509.31 | 95.3242 | 80233.0967 | 95.4949 | 98486.5033 | 95.8101 | 534380.4533 | 99.47 | 322822.2667 | 90.2679 | 304803.2867 | 97.4848 | 217932.5333
| FALSE | 031SMPL.d | 2022-09-26 16:45 | Sample |  | 170487-001 | 1 | 0.014423 | 0.23974 | 0.23827 | 0.0060919 | 0.0047393 | 0.006112 | 0.10317 | 0.097512 | 0.098113 | <0.000 | <0.000 | <0.000 | <0.000 | 1.048 | 1.052 | 1.1105 | 1.1106 | 1.0565 | 1.0782 | 0.0010261 | 0.0016264 | 95.7989 | 10547.6167 | 97.4765 | 443039.7333 | 95.4088 | 179347.1267 | 96.3666 | 81110.5133 | 96.6286 | 99655.73 | 101.3425 | 565237.4167 | 100.3034 | 325527.04 | 97.9237 | 330654.4967 | 98.0444 | 219183.49
| FALSE | 032_QC1.d | 2022-09-26 16:49 | QC1 |  | qc 1 | 1 | 5.2046 | 5.0476 | 5.1884 | 5.4087 | 5.5056 | 5.5254 | 5.334 | 5.4317 | 5.4117 | 0.39674 | 0.43698 | 0.41838 | 0.44648 | 5.0519 | 5.2487 | 5.2002 | 5.3704 | 5.0775 | 5.2859 | 4.7179 | 4.8082 | 96.0814 | 10578.7133 | 100.5917 | 457198.5333 | 96.2767 | 180978.5867 | 95.7866 | 80622.2967 | 97.9292 | 100997.12 | 104.4237 | 582422.8667 | 101.432 | 329189.84 | 101.7732 | 343652.81 | 99.6446 | 222760.8267
| FALSE | 033_QC2.d | 2022-09-26 16:52 | QC2 |  | qc 2 | 1 | 10.322 | 9.997 | 10.0649 | 10.9321 | 10.8022 | 10.8448 | 10.5594 | 10.9919 | 10.5655 | 0.93828 | 0.93228 | 0.94926 | 0.94465 | 10.4233 | 10.5424 | 10.779 | 10.8102 | 10.4598 | 10.593 | 9.7479 | 9.6388 | 96.9402 | 10673.2667 | 98.7033 | 448616.02 | 96.6809 | 181738.26 | 97.1673 | 81784.4567 | 97.3009 | 100349.0733 | 101.8461 | 568046.29 | 101.972 | 330942.5267 | 98.5535 | 332781.0867 | 99.9065 | 223346.3633
| FALSE | 034_QC3.d | 2022-09-26 16:56 | QC3 |  | qc 3 | 1 | 51.276 | 51.2383 | 51.963 | 50.0328 | 49.5291 | 49.3879 | 50.2987 | 49.9419 | 50.0166 | 4.5633 | 4.6096 | 4.6985 | 4.6177 | 50.4437 | 50.8947 | 52.251 | 52.1489 | 51.8782 | 51.072 | 50.371 | 49.7884 | 115.9287 | 12763.93 | 107.2618 | 487514.93 | 117.0746 | 220073.9533 | 113.5578 | 95580.0667 | 111.2793 | 114765.4 | 97.8424 | 545715.8533 | 105.054 | 340944.8733 | 90.5687 | 305819.13 | 98.2377 | 219615.6933
| FALSE | 035SMPL.d | 2022-09-26 17:00 | Sample |  | curve 4 | 1 | 49.34 | 48.5826 | 48.9241 | 53.478 | 52.186 | 52.3793 | 51.4158 | 53.5035 | 51.0045 | 2.6206 | 2.6602 | 2.6842 | 2.6986 | 51.4944 | 51.255 | 51.3631 | 50.5523 | 51.9816 | 50.4284 | 52.2397 | 50.6263 | 95.6577 | 10532.0667 | 95.3746 | 433486.4233 | 96.6393 | 181660.1833 | 95.3022 | 80214.61 | 95.4075 | 98396.3433 | 98.7073 | 550539.4967 | 100.1953 | 325176.4533 | 94.8581 | 320302.9667 | 97.5612 | 218103.29

## ValueList_Helper (hidden)
Bkgnd
BlkVrfy
CalBlk
CalStd
CICSpike
DilStd
DriftChk
FQBlk
IsoStd
QC1
QC2
QC3
QC4
QC5
Sample
Spike
Spike Ref
SQBlk
SQISTD
SQStd