## Sheet1
Sample | [7 empty] | 75 As [ He ] | 78 Se [ H2 ] | 78 Se [ He ] | 111 Cd [ No Gas ] | 111 Cd [ He ] | 114 Cd [ He ] | 121 Sb [ He ] | 123 Sb [ No Gas ] | 123 Sb [ He ] | 201 Hg [ No Gas ] | 201 Hg [ He ] | 202 Hg [ No Gas ] | 202 Hg [ He ] | 206 [Pb] [ No Gas ] | 206 [Pb] [ He ] | 207 [Pb] [ No Gas ] | 207 [Pb] [ He ] | 208 Pb [ No Gas ] | 208 Pb [ He ] | 238 U [ No Gas ] | 238 U [ He ] | 72 Ge ( ISTD ) [ He ] |  |  | 89 Y ( ISTD ) [ No Gas ] |  |  | 89 Y ( ISTD ) [ H2 ] |  |  | 89 Y ( ISTD ) [ He ] |  |  | 115 In ( ISTD ) [ He ] |  |  | 159 Tb ( ISTD ) [ No Gas ] |  |  | 159 Tb ( ISTD ) [ He ] |  |  | 209 Bi ( ISTD ) [ No Gas ] |  |  | 209 Bi ( ISTD ) [ He ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | Total Dil. | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD
| FALSE | 001SMPL.d | 2023-03-27 14:54 | Sample |  | blk | 1 | [22 empty] | 9367.8567 | 3.4766 |  | 469501.57 | 0.67016 |  | 198429.7333 | 0.70253 |  | 71519.6133 | 0.43812 |  | 98693.8333 | 0.56071 |  | 610367.8767 | 0.61353 |  | 342198.5067 | 0.33114 |  | 360311.8667 | 0.7174 |  | 246013.08 | 0.71772
| FALSE | 002SMPL.d | 2023-03-27 14:58 | Sample |  | blk | 1 | [22 empty] | 9310.0533 | 1.2919 |  | 466398.2667 | 0.20074 |  | 195497.2467 | 1.2976 |  | 69260.7533 | 0.94196 |  | 95579.7433 | 0.11111 |  | 605215.9167 | 0.32525 |  | 337839.9633 | 0.18564 |  | 356269.4967 | 0.29791 |  | 242458.3433 | 0.26024
| FALSE | 003SMPL.d | 2023-03-27 15:01 | Sample |  | blk | 1 | [22 empty] | 9053.2 | 0.53133 |  | 467281.3967 | 0.58295 |  | 193175.5 | 1.0171 |  | 67932.91 | 0.4439 |  | 94645.4433 | 0.29463 |  | 603520.4867 | 0.20771 |  | 332589.7367 | 0.33673 |  | 364208.2233 | 0.13159 |  | 244351.7333 | 0.32304
| FALSE | 004CALB.d | 2023-03-27 15:05 | CalBlk | 1 | blk | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 9116.57 | 2.4987 | 100 | 461676.11 | 0.12272 | 100 | 192987.8633 | 1.364 | 100 | 68265.6633 | 0.22147 | 100 | 94358.1567 | 0.83365 | 100 | 597027.0633 | 0.66974 | 100 | 330222.5133 | 0.33759 | 100 | 364140.9667 | 0.1336 | 100 | 243013.3567 | 0.66058
| FALSE | 005CALS.d | 2023-03-27 15:09 | CalStd | 2 | curve 1 | 1 | 0.11015 | 0.10379 | 0.16809 | 0.09928 | 0.11361 | 0.10623 | 0.095827 | 0.094053 | 0.10966 | 0.0020227 | 0.0022736 | 0.0042128 | 0.0030997 | 0.099696 | 0.095905 | 0.10543 | 0.10134 | 0.1021 | 0.10202 | 0.10474 | 0.099569 | 99.0243 | 9027.6167 | 1.9681 | 99.7277 | 460418.9667 | 0.13354 | 101.8352 | 196529.5967 | 1.2077 | 99.6226 | 68008.02 | 0.95408 | 99.1868 | 93590.8733 | 0.91297 | 99.7999 | 595832.1733 | 0.35633 | 99.855 | 329743.6767 | 0.38409 | 99.4997 | 362319.3067 | 0.32246 | 99.4948 | 241785.7 | 0.14706
| FALSE | 006CALS.d | 2023-03-27 15:13 | CalStd | 3 | curve 2 | 1 | 1.0114 | 1.0579 | 1.3534 | 1.0228 | 0.98644 | 1.0567 | 1.0473 | 0.9887 | 0.99338 | 0.042911 | 0.046393 | 0.049681 | 0.048131 | 1.0216 | 1.0034 | 1.0318 | 1.0083 | 1.0353 | 1.0048 | 0.9866 | 0.96256 | 99.9514 | 9112.1367 | 2.2319 | 100.3837 | 463447.7267 | 0.72679 | 101.0158 | 194948.15 | 1.355 | 99.2508 | 67754.25 | 0.32714 | 100.429 | 94762.9367 | 0.566 | 101.4065 | 605424.3867 | 0.56653 | 100.2526 | 331056.7067 | 0.15218 | 99.5245 | 362409.3867 | 0.94664 | 99.5297 | 241870.4 | 0.13074
| FALSE | 007CALS.d | 2023-03-27 15:17 | CalStd | 4 | curve 2.5 (Hg only) | 1 | 2.0229 | 2.0794 | 1.8974 | 2.0528 | 2.1063 | 2.0633 | 2.0326 | 2.0057 | 2.031 | 0.099035 | 0.09867 | 0.10363 | 0.10095 | 1.9978 | 1.9753 | 2.0127 | 1.9669 | 2.0212 | 1.9695 | 1.9187 | 1.8721 | 99.4143 | 9063.17 | 1.6672 | 100.0832 | 462060.34 | 0.39501 | 100.4255 | 193808.99 | 1.2384 | 99.8004 | 68129.4367 | 0.61786 | 100.5335 | 94861.5633 | 0.49778 | 101.2697 | 604607.52 | 0.95871 | 100.8318 | 332969.1933 | 0.34635 | 98.9714 | 360395.2333 | 0.98291 | 99.3244 | 241371.6 | 0.29824
| FALSE | 008CALS.d | 2023-03-27 15:21 | CalStd | 5 | curve 3 | 1 | 10.0911 | 10.1219 | 10.5195 | 10.2527 | 10.0721 | 10.2347 | 10.1007 | 9.9084 | 10.0269 | 0.46886 | 0.4971 | 0.47616 | 0.49506 | 9.8072 | 9.654 | 9.8072 | 9.8322 | 9.81 | 9.7071 | 9.263 | 9.4151 | 96.9634 | 8839.7333 | 3.5767 | 97.8092 | 451561.5333 | 0.77406 | 99.0074 | 191072.36 | 0.51737 | 96.6654 | 65989.3 | 0.95658 | 97.4273 | 91930.5767 | 1.0341 | 100.4788 | 599885.6633 | 0.9175 | 98.4638 | 325149.5433 | 0.63882 | 99.4926 | 362293.3133 | 0.80006 | 98.9689 | 240507.7 | 0.70261
| FALSE | 009CALS.d | 2023-03-27 15:25 | CalStd | 6 | curve 4 | 1 | 49.8841 | 50.0707 | 49.4034 | 50.755 | 50.368 | 50.649 | 50.0199 | 50.8388 | 50.1131 | 2.428 | 2.468 | 2.4729 | 2.4661 | 48.6497 | 47.5543 | 48.7505 | 48.1604 | 49.5355 | 49.1243 | 50.2518 | 51.1758 | 95.463 | 8702.95 | 2.5765 | 95.6548 | 441615.2767 | 0.36844 | 96.2009 | 185656.01 | 0.43449 | 94.7914 | 64709.9933 | 0.98108 | 94.4179 | 89091 | 0.40439 | 99.3841 | 593350.0467 | 0.56612 | 97.6647 | 322510.9567 | 0.58366 | 97.2486 | 354122.0533 | 0.17502 | 96.4985 | 234504.2 | 0.15721
| FALSE | 010CALS.d | 2023-03-27 15:28 | CalStd | 7 | curve 5 | 1 | 100.0487 | 99.9519 | 100.2428 | 99.597 | 99.8089 | 99.6514 | 99.9795 | 99.5899 | 99.9408 | 5.0392 | 5.0163 | 5.0159 | 5.0174 | 100.6942 | 101.2574 | 100.6437 | 100.9365 | 100.2509 | 100.4671 | 99.9479 | 99.471 | 98.2682 | 8958.69 | 2.4631 | 96.2298 | 444270.0667 | 0.24746 | 96.4146 | 186068.3933 | 1.1516 | 96.121 | 65617.6567 | 1.1196 | 95.9077 | 90496.7733 | 1.3497 | 99.4515 | 593752.5967 | 0.24066 | 98.6748 | 325846.4833 | 0.36123 | 95.405 | 347408.7933 | 0.21104 | 95.1478 | 231221.7767 | 0.27979
| FALSE | 011SMPL.d | 2023-03-27 15:32 | Sample |  | blk | 1 | 0.0414 | 0.076207 | 0.24638 | 0.0070764 | 0.0024732 | 0.0036796 | 0.044082 | 0.058737 | 0.04334 | 0.09228 | 0.079286 | 0.094722 | 0.076109 | 0.02131 | 0.010032 | 0.017046 | 0.015417 | 0.020253 | 0.013452 | 0.055152 | 0.034721 | 99.1584 | 9039.8433 | 1.0548 | 99.9831 | 461598.0267 | 0.63548 | 100.012 | 193011.0933 | 0.65152 | 98.1782 | 67021.9833 | 0.76646 | 99.5992 | 93979.9667 | 0.27024 | 101.1593 | 603948.6167 | 0.34424 | 99.9596 | 330089.2433 | 0.32936 | 97.5019 | 355044.3267 | 0.45571 | 97.3056 | 236465.58 | 0.56174
| FALSE | 012SMPL.d | 2023-03-27 15:36 | Sample |  | blk | 1 | 0.012032 | 0.035393 | 0.27211 | 0.0023104 | 3.7788e-05 | 0.00076542 | 0.015002 | 0.018782 | 0.013381 | 0.042095 | 0.03743 | 0.039807 | 0.042272 | 0.003642 | 0.0037687 | 0.0033729 | 0.0064999 | 0.0035772 | 0.0033476 | 0.0080205 | 0.0084097 | 98.585 | 8987.5667 | 0.52121 | 116.0277 | 535672.3467 | 24.6002 | 90.4949 | 174644.18 | 6.9934 | 97.9508 | 66866.7833 | 0.39676 | 99.0185 | 93432.0067 | 1.2127 | 116.615 | 696223.13 | 22.5074 | 98.9862 | 326874.7367 | 0.079887 | 110.436 | 402142.8067 | 19.7333 | 97.15 | 236087.5733 | 0.59038
| FALSE | 013_QC1.d | 2023-03-27 15:40 | QC1 |  | qc 1 | 1 | 5.304 | 5.1148 | 5.2816 | 5.2778 | 5.2954 | 5.353 | 5.207 | 5.1092 | 5.2003 | 0.2737 | 0.2574 | 0.24804 | 0.25966 | 5.1177 | 4.988 | 5.0764 | 5.0781 | 5.1129 | 5.0411 | 4.728 | 4.7567 | 98.7558 | 9003.1433 | 0.51874 | 98.9274 | 456724.3233 | 0.31985 | 100.0895 | 193160.5833 | 0.66877 | 98.0556 | 66938.33 | 0.83145 | 98.9345 | 93352.77 | 0.89258 | 101.1924 | 604146.25 | 0.38801 | 99.3604 | 328110.3267 | 0.26623 | 99.0329 | 360619.18 | 0.45517 | 98.6145 | 239646.3733 | 0.95263
| FALSE | 014_QC2.d | 2023-03-27 15:43 | QC2 |  | qc 2 | 1 | 10.5198 | 10.3466 | 11.1036 | 10.4761 | 10.5463 | 10.6352 | 10.5043 | 10.2046 | 10.4194 | 0.4706 | 0.4921 | 0.46951 | 0.48116 | 10.1999 | 10.0103 | 10.1767 | 10.0741 | 10.2029 | 9.9993 | 9.5367 | 9.4065 | 98.0362 | 8937.5433 | 2.5364 | 98.6269 | 455336.7733 | 0.11892 | 99.9791 | 192947.52 | 0.54337 | 97.5826 | 66615.44 | 0.5119 | 98.6303 | 93065.7333 | 0.57366 | 100.9935 | 602958.5567 | 0.35306 | 99.4157 | 328292.9133 | 0.31813 | 98.4677 | 358561.4033 | 0.52294 | 98.2274 | 238705.7167 | 0.30915
| FALSE | 015_QC3.d | 2023-03-27 15:47 | QC3 |  | qc 3 | 1 | 52.0981 | 50.4788 | 49.3663 | 52.1038 | 51.6562 | 52.3661 | 51.5957 | 52.5367 | 51.6904 | 2.3185 | 2.3321 | 2.3334 | 2.3588 | 50.155 | 49.8868 | 50.0781 | 49.9891 | 51.1152 | 51.4751 | 50.967 | 51.3066 | 98.3776 | 8968.6633 | 0.95923 | 97.464 | 449967.8267 | 0.40584 | 97.926 | 188985.3633 | 1.381 | 97.2544 | 66391.3567 | 0.71993 | 97.4461 | 91948.2967 | 0.63479 | 100.689 | 601140.4767 | 0.27436 | 99.4096 | 328272.7433 | 0.32278 | 97.609 | 355434.36 | 0.17028 | 95.8608 | 232954.5967 | 0.31137
| FALSE | 016SMPL.d | 2023-03-27 15:51 | Sample |  | blk | 1 | 0.020008 | 0.052905 | 0.00096202 | 0.0047509 | 3.2137e-05 | 0.0041868 | 0.017955 | 0.030981 | 0.019682 | 0.0497 | 0.044979 | 0.048674 | 0.045033 | 0.014225 | 0.0067597 | 0.010546 | 0.014689 | 0.012701 | 0.0093023 | 0.034543 | 0.023366 | 97.7439 | 8910.89 | 0.338 | 98.5077 | 454786.56 | 0.73654 | 98.9813 | 191021.85 | 1.1056 | 98.2551 | 67074.4867 | 0.79691 | 99.0395 | 93451.8133 | 0.9519 | 100.6161 | 600705.06 | 0.21532 | 99.2834 | 327856.23 | 0.15123 | 95.5351 | 347882.55 | 0.68571 | 95.4482 | 231951.9767 | 0.26422
| FALSE | 017SMPL.d | 2023-03-27 15:54 | Sample |  | blk | 1 | 0.0048094 | 0.018688 | 0.19639 | 0.00095147 | 0.0018697 | 0.0024688 | 0.0093523 | 0.018047 | 0.0086767 | 0.026761 | 0.029345 | 0.027521 | 0.028439 | 0.0042093 | 0.0021707 | 0.0047589 | 0.0047503 | 0.004907 | 0.0036551 | 0.0050158 | 0.0053139 | 98.4875 | 8978.6833 | 3.2527 | 98.3387 | 454006.3867 | 0.7254 | 98.1538 | 189424.8633 | 0.90744 | 98.3172 | 67116.8667 | 0.95953 | 99.2657 | 93665.2867 | 0.81925 | 100.7356 | 601419.0233 | 0.39285 | 99.3037 | 327923.2867 | 0.86194 | 95.3391 | 347168.6233 | 0.46942 | 95.1914 | 231327.78 | 0.86189
| FALSE | 018SMPL.d | 2023-03-27 15:58 | Sample |  | 173354-001 | 1 | 0.70797 | 0.15277 | 0.25183 | 0.02078 | 0.014936 | 0.02173 | 0.11447 | 0.12019 | 0.11229 | 0.025008 | 0.02292 | 0.029096 | 0.02822 | 1.0924 | 1.0674 | 1.0848 | 1.0531 | 1.0628 | 1.044 | 0.06331 | 0.061571 | 100.9879 | 9206.6367 | 1.7491 | 121.3046 | 560034.5667 | 0.44385 | 122.2898 | 236004.5267 | 0.22585 | 122.2228 | 83436.18 | 0.72812 | 97.6488 | 92139.64 | 0.71687 | 101.4258 | 605539.4167 | 0.24076 | 99.6314 | 329005.3767 | 0.25117 | 92.9638 | 338519.23 | 0.26551 | 92.5815 | 224985.38 | 0.41744
| FALSE | 019SMPL.d | 2023-03-27 16:02 | Sample |  | 173367-003 | 1 | 0.572 | 0.086812 | 0.25645 | 0.017268 | 0.015226 | 0.017693 | 0.25868 | 0.24543 | 0.25083 | 0.0061869 | 0.012594 | 0.013496 | 0.012819 | 0.26739 | 0.25758 | 0.26228 | 0.25773 | 0.25733 | 0.2555 | 0.09614 | 0.09884 | 94.7803 | 8640.71 | 1.3731 | 93.8425 | 433248.6133 | 0.42282 | 94.5991 | 182564.85 | 1.1163 | 95.4651 | 65169.88 | 1.0057 | 91.3954 | 86239.0433 | 0.72576 | 94.1503 | 562102.5933 | 0.40667 | 93.5064 | 308779.1933 | 0.97225 | 80.1872 | 291994.5333 | 0.73372 | 79.674 | 193618.3833 | 0.8007
| FALSE | 020SMPL.d | 2023-03-27 16:06 | Sample |  | 173367-004 D. ICP | 1 | 0.56597 | 0.078519 | 0.14921 | 0.0045642 | 3.9279e-05 | 0.0041914 | 0.35348 | 0.34266 | 0.34566 | 0.01385 | 0.013266 | 0.011833 | 0.011495 | 0.12822 | 0.12245 | 0.12555 | 0.12605 | 0.12287 | 0.12303 | 0.087961 | 0.088013 | 97.6096 | 8898.6467 | 2.1113 | 95.7491 | 442050.49 | 0.26405 | 97.1608 | 187508.6067 | 0.79523 | 98.0701 | 66948.2133 | 0.42535 | 93.593 | 88312.67 | 0.45464 | 95.2372 | 568592.1233 | 0.40064 | 95.1687 | 314268.4567 | 0.3968 | 79.1693 | 288287.8 | 0.8798 | 79.8542 | 194056.3067 | 0.45259
| FALSE | 021SMPL.d | 2023-03-27 16:09 | Sample |  | 173369-001 | 1 | 0.25919 | 0.027082 | 0.031962 | 0.016553 | 0.017284 | 0.020597 | 0.073077 | 0.063831 | 0.069324 | 0.023761 | 0.022974 | 0.019465 | 0.022041 | 0.20172 | 0.19887 | 0.1983 | 0.21039 | 0.1997 | 0.19657 | 0.011273 | 0.010085 | 94.9997 | 8660.71 | 2.2975 | 94.8587 | 437939.8733 | 0.28282 | 94.6038 | 182573.7667 | 1.6686 | 94.7326 | 64669.82 | 0.27121 | 91.9402 | 86753.0667 | 0.14586 | 95.3405 | 569208.4233 | 0.34587 | 94.1106 | 310774.4033 | 0.5201 | 82.5011 | 300420.3667 | 0.2138 | 81.726 | 198605.08 | 0.33456
| FALSE | 022SMPL.d | 2023-03-27 16:13 | Sample |  | 173370-001 | 1 | 0.37436 | 0.026376 | 0.16369 | 0.0043991 | 0.0031463 | 0.0060144 | 0.048735 | 0.056053 | 0.0482 | 0.011104 | 0.010957 | 0.0098881 | 0.012983 | 0.12075 | 0.11655 | 0.11973 | 0.11512 | 0.11951 | 0.11513 | 0.012984 | 0.01307 | 101.622 | 9264.44 | 1.3003 | 110.0178 | 507925.9267 | 0.35017 | 110.3882 | 213035.7667 | 1.4132 | 109.4626 | 74725.3633 | 0.77436 | 98.4529 | 92898.3733 | 1.4358 | 102.4401 | 611595.06 | 0.27741 | 100.3295 | 331310.5133 | 0.7386 | 89.4849 | 325851.1567 | 0.12364 | 89.4977 | 217491.4167 | 0.69881
| FALSE | 023SMPL.d | 2023-03-27 16:17 | Sample |  | 173376-001 | 1 | 0.090639 | 0.19102 | 0.1444 | 0.013031 | 0.015132 | 0.014685 | 0.13641 | 0.12498 | 0.13257 | 0.01024 | 0.010191 | 0.010843 | 0.012502 | 0.31675 | 0.29477 | 0.31402 | 0.30624 | 0.30621 | 0.29672 | 0.013446 | 0.013405 | 100.2071 | 9135.45 | 1.4112 | 102.0773 | 471266.43 | 0.5845 | 101.9691 | 196788.0667 | 1.0769 | 99.7022 | 68062.3633 | 0.60131 | 100.4005 | 94736.05 | 0.34172 | 103.1449 | 615802.8567 | 0.24606 | 100.4777 | 331799.9767 | 0.53775 | 89.6423 | 326424.4733 | 0.39469 | 89.2511 | 216892.02 | 0.17456
| FALSE | 024SMPL.d | 2023-03-27 16:21 | Sample |  | 173381-001 | 1 | 0.0133 | 0.19454 | 0.21327 | 0.0051536 | 0.0041897 | 0.0069036 | 0.10692 | 0.11148 | 0.115 | 0.011151 | 0.009161 | 0.010665 | 0.0094563 | 4.551 | 4.503 | 4.5476 | 4.5038 | 4.4992 | 4.4145 | <0.000 | 0.00067636 | 100.8779 | 9196.6033 | 1.0446 | 102.795 | 474579.96 | 0.61041 | 101.6442 | 196160.9233 | 1.0314 | 100.6411 | 68703.3467 | 0.71297 | 101.1012 | 95397.22 | 0.70415 | 103.4956 | 617896.89 | 1.1035 | 100.7595 | 332730.4933 | 0.42109 | 94.5077 | 344141.19 | 0.77936 | 93.8827 | 228147.61 | 0.3145
| FALSE | 025SMPL.d | 2023-03-27 16:24 | Sample |  | 173316-001 powder | 5 | 0.079254 | 0.053377 | 0.1288 | 0.020312 | 0.015374 | 0.041424 | 0.36652 | 0.2835 | 0.31483 | 0.13826 | 0.17601 | 0.15817 | 0.15895 | 0.70691 | 0.67901 | 0.68126 | 0.72384 | 0.68213 | 0.70453 | 0.016642 | 0.017438 | 94.7927 | 8641.84 | 1.5535 | 106.6156 | 492218.91 | 1.1252 | 104.174 | 201043.19 | 1.0494 | 98.7163 | 67389.3633 | 0.21346 | 99.8291 | 94196.93 | 0.60074 | 108.938 | 650389.3467 | 0.78823 | 101.1974 | 334176.5267 | 0.22667 | 97.2068 | 353969.87 | 0.90435 | 94.1318 | 228752.83 | 0.24456
| FALSE | 026SMPL.d | 2023-03-27 16:28 | Sample |  | 173316-002 powder | 5 | 0.04552 | 0.10094 | 0.8421 | 0.00469 | 5.143e-05 | 0.014525 | 0.47785 | 0.41837 | 0.41662 | 0.098234 | 0.085664 | 0.094948 | 0.097737 | 0.89409 | 0.87875 | 0.9523 | 0.93037 | 0.90556 | 0.89355 | 0.0092582 | 0.011318 | 96.8778 | 8831.9333 | 1.65 | 101.5339 | 468757.65 | 0.87597 | 98.1013 | 189323.5667 | 0.95047 | 99.4323 | 67878.15 | 0.45409 | 98.2347 | 92692.4467 | 0.5153 | 104.8988 | 626273.9833 | 0.92937 | 100.2959 | 331199.7 | 0.87405 | 99.3964 | 361943.1 | 0.6666 | 96.9554 | 235614.5533 | 0.65321
| FALSE | 027SMPL.d | 2023-03-27 16:32 | Sample |  | 173316-003 powder | 5 | 0.060232 | <0.000 | 0.36487 | 0.013842 | 0.0031281 | 0.026529 | 0.34459 | 0.34985 | 0.33027 | 0.033303 | 0.054758 | 0.053408 | 0.060402 | 0.64295 | 0.58296 | 0.61389 | 0.5787 | 0.61328 | 0.59498 | 0.023755 | 0.023279 | 101.9148 | 9291.1333 | 0.99024 | 101.7607 | 469804.7933 | 0.16295 | 99.3245 | 191684.2433 | 0.64343 | 99.6252 | 68009.8333 | 0.69209 | 97.6905 | 92179 | 0.82076 | 102.7531 | 613464.1033 | 0.57821 | 99.6893 | 329196.38 | 0.81395 | 93.1024 | 339023.9 | 0.55362 | 92.3209 | 224352.2167 | 0.40628
| FALSE | 028_QC2.d | 2023-03-27 16:36 | QC2 |  | qc 2 | 1 | 10.5533 | 10.1238 | 9.7977 | 10.5937 | 10.6461 | 10.7366 | 10.5021 | 10.3211 | 10.6047 | 0.47603 | 0.48651 | 0.47991 | 0.48765 | 10.5251 | 10.2978 | 10.344 | 10.1913 | 10.34 | 10.1628 | 9.0592 | 9.0751 | 94.1704 | 8585.11 | 4.2385 | 98.1243 | 453016.2967 | 0.35238 | 97.6475 | 188447.8433 | 0.53435 | 94.0244 | 64186.3867 | 0.91604 | 95.8429 | 90435.5467 | 0.51107 | 101.5528 | 606297.59 | 0.56287 | 97.0943 | 320627.3967 | 0.53993 | 95.1717 | 346559.25 | 1.1629 | 93.1645 | 226402.27 | 1.0917
| FALSE | 029SMPL.d | 2023-03-27 16:39 | Sample |  | blk | 1 | 0.013435 | 0.010673 | 0.16826 | 0.00090349 | <0.000 | 0.00066336 | 0.010951 | 0.010591 | 0.0061786 | 0.0077693 | 0.0094946 | 0.011778 | 0.011019 | 0.0080939 | 0.002126 | 0.0047442 | 0.0072326 | 0.0063477 | 0.0038286 | 0.018413 | 0.012695 | 93.085 | 8486.16 | 1.6245 | 94.3779 | 435720.07 | 0.46078 | 94.2565 | 181903.6233 | 0.78535 | 91.4135 | 62404.0367 | 0.61107 | 93.4736 | 88199.9833 | 0.25357 | 99.0358 | 591270.6767 | 0.6901 | 95.0233 | 313788.21 | 0.44915 | 92.8569 | 338129.88 | 0.79553 | 91.4761 | 222299.0567 | 0.32221
| FALSE | 030SMPL.d | 2023-03-27 16:43 | Sample |  | 173316-004 powder | 5 | 0.07828 | 0.080615 | 0.28888 | 0.013356 | 0.010083 | 0.044842 | 0.49845 | 0.48252 | 0.52008 | 0.080467 | 0.089624 | 0.077413 | 0.092249 | 0.84737 | 0.84114 | 0.84681 | 0.82898 | 0.83231 | 0.81576 | 0.032349 | 0.035408 | 92.1212 | 8398.2933 | 1.9194 | 97.6156 | 450668.0433 | 0.23956 | 96.9337 | 187070.3133 | 0.96484 | 94.5119 | 64519.1733 | 0.34726 | 95.6731 | 90275.4133 | 0.37995 | 101.3748 | 605235.21 | 0.50158 | 97.129 | 320741.7533 | 0.68436 | 96.7872 | 352441.75 | 1.4139 | 94.5865 | 229857.7767 | 0.87733
| FALSE | 031SMPL.d | 2023-03-27 16:47 | Sample |  | 173316-005 powder | 5 | 0.053613 | 0.065364 | 0.52658 | 0.0090708 | <0.000 | 0.014134 | 0.58527 | 0.55397 | 0.58975 | 0.039039 | 0.036673 | 0.05014 | 0.039819 | 0.4501 | 0.4537 | 0.48185 | 0.50188 | 0.46272 | 0.47151 | 0.011819 | 0.013055 | 92.8653 | 8466.13 | 3.5223 | 99.5932 | 459798.1 | 1.7449 | 97.8034 | 188748.7133 | 0.69991 | 95.4439 | 65155.4233 | 1.2421 | 97.783 | 92266.2367 | 0.94095 | 103.3178 | 616835.0133 | 1.4495 | 97.9102 | 323321.5133 | 0.34692 | 97.6431 | 355558.5067 | 2.3526 | 93.7483 | 227821 | 0.28909
| FALSE | 032SMPL.d | 2023-03-27 16:51 | Sample |  | 173360-001 Pb | 1 | 0.41011 | 0.061778 | <0.000 | 0.039932 | 0.039445 | 0.036779 | 0.44412 | 0.44043 | 0.4746 | 0.0081287 | 0.0077836 | 0.011107 | 0.011144 | 13.3505 | 13.3548 | 13.3021 | 13.4594 | 13.1268 | 13.1096 | 0.16999 | 0.17062 | 90.2679 | 8229.3367 | 2.6801 | 91.2908 | 421467.9733 | 0.36797 | 91.7952 | 177153.67 | 0.66653 | 89.1229 | 60840.3333 | 0.76554 | 90.6968 | 85579.84 | 0.11006 | 97.5408 | 582344.8433 | 0.23365 | 93.5687 | 308984.97 | 0.49408 | 87.5897 | 318949.9533 | 0.13848 | 84.8735 | 206254 | 0.26143
| FALSE | 033SMPL.d | 2023-03-27 16:54 | Sample |  | 173360-002 Pb | 1 | 0.31606 | 0.035884 | 0.095952 | 0.0068989 | 0.011891 | 0.012117 | 0.29034 | 0.28492 | 0.28995 | 0.0059031 | 0.0081405 | 0.011856 | 0.0096326 | 5.4623 | 5.3012 | 5.3726 | 5.2374 | 5.3146 | 5.1749 | 0.17574 | 0.17248 | 90.0482 | 8209.31 | 1.3183 | 89.8291 | 414719.6533 | 2.8799 | 91.6149 | 176805.58 | 1.034 | 88.4431 | 60376.27 | 1.6146 | 89.5957 | 84540.8067 | 0.99282 | 96.1272 | 573905.39 | 2.5266 | 92.7722 | 306354.61 | 0.17928 | 85.6264 | 311800.7333 | 1.7176 | 83.9637 | 204042.89 | 0.42771
| FALSE | 034SMPL.d | 2023-03-27 16:58 | Sample |  | 173360-003 Pb | 1 | 0.33246 | 0.034451 | 0.15161 | 0.047608 | 0.052841 | 0.05133 | 0.43156 | 0.42481 | 0.43642 | 0.0041229 | 0.0053487 | 0.0087553 | 0.0074388 | 3.0069 | 3.0167 | 2.9189 | 2.952 | 2.9089 | 2.9167 | 0.26419 | 0.27009 | 91.5239 | 8343.84 | 1.1632 | 92.1452 | 425412.52 | 0.47489 | 91.257 | 176114.87 | 0.82421 | 88.2206 | 60224.4033 | 0.45251 | 89.5479 | 84495.7367 | 0.10798 | 98.8066 | 589902.4167 | 0.45973 | 93.5147 | 308806.4933 | 0.51702 | 98.541 | 358828.26 | 0.42777 | 94.7015 | 230137.2167 | 0.92887
| FALSE | 035SMPL.d | 2023-03-27 17:02 | Sample |  | 173360-004 Pb | 1 | 0.28204 | 0.035919 | 0.12615 | 0.0054632 | 0.00024579 | 0.0056608 | 0.3996 | 0.39169 | 0.40659 | 0.008842 | 0.012765 | 0.014347 | 0.012904 | 0.32779 | 0.32502 | 0.3259 | 0.324 | 0.31941 | 0.32111 | 0.40884 | 0.41243 | 90.3656 | 8238.2433 | 2.6415 | 91.3723 | 421844.2033 | 0.86395 | 91.3521 | 176298.4033 | 0.10262 | 87.7745 | 59919.8667 | 0.3372 | 89.1708 | 84139.9467 | 0.41576 | 97.6995 | 583292.68 | 0.85483 | 92.8754 | 306695.4833 | 0.77889 | 86.6493 | 315525.6533 | 0.86241 | 83.4884 | 202887.87 | 0.62175
| FALSE | 036SMPL.d | 2023-03-27 17:06 | Sample |  | 173360-005 Pb | 1 | 0.86015 | 0.044043 | 0.070034 | 0.18491 | 0.18987 | 0.19849 | 0.39366 | 0.39592 | 0.39271 | 0.004105 | 0.010384 | 0.010078 | 0.0090133 | 1.8552 | 1.8918 | 1.8308 | 1.8115 | 1.8102 | 1.8086 | 0.34162 | 0.34186 | 89.219 | 8133.7167 | 2.1505 | 92.1506 | 425437.3 | 1.1358 | 90.6339 | 174912.4667 | 0.91169 | 88.3386 | 60304.9 | 0.41259 | 89.1756 | 84144.4367 | 1.1703 | 99.3317 | 593037.3433 | 1.6347 | 92.8093 | 306477.2933 | 0.064984 | 86.2526 | 314080.92 | 1.4732 | 82.1737 | 199692.9767 | 1.2087
| FALSE | 037SMPL.d | 2023-03-27 17:09 | Sample |  | 173360-006 Pb | 1 | 0.52134 | 0.026831 | 0.097345 | 0.020403 | 0.014602 | 0.021133 | 0.59508 | 0.6137 | 0.61711 | 0.0067596 | 0.010188 | 0.0083166 | 0.0079486 | 1.732 | 1.7516 | 1.7208 | 1.7086 | 1.6938 | 1.6914 | 0.31057 | 0.30911 | 87.7311 | 7998.0667 | 2.4444 | 91.1459 | 420798.84 | 0.48624 | 90.7892 | 175212.2167 | 0.54037 | 88.1998 | 60210.1467 | 0.56868 | 89.5205 | 84469.87 | 0.12251 | 98.0385 | 585316.59 | 0.57975 | 92.9133 | 306820.79 | 0.19719 | 85.5926 | 311677.85 | 0.81619 | 82.1301 | 199587.0267 | 0.17868
| FALSE | 038SMPL.d | 2023-03-27 17:13 | Sample |  | 173360-007 Pb | 1 | 0.24971 | 0.012941 | 0.098862 | 0.049857 | 0.0484 | 0.054151 | 0.45024 | 0.43214 | 0.42809 | 0.0064495 | 0.0066617 | 0.0084284 | 0.0082546 | 4.1112 | 4.1057 | 3.9701 | 3.9268 | 3.9851 | 3.9517 | 0.26423 | 0.26221 | 88.9751 | 8111.4767 | 0.45073 | 91.2266 | 421171.4867 | 0.67377 | 90.6053 | 174857.2567 | 1.3007 | 87.6095 | 59807.21 | 0.43938 | 89.3645 | 84322.7367 | 0.82969 | 97.9913 | 585034.8367 | 0.4858 | 92.6617 | 305989.7567 | 0.24197 | 84.0973 | 306232.55 | 0.78507 | 81.6394 | 198394.6667 | 0.37067
| FALSE | 039SMPL.d | 2023-03-27 17:17 | Sample |  | 173360-008 Pb | 1 | 0.37471 | 0.028292 | <0.000 | 0.009096 | 0.014116 | 0.014278 | 0.44172 | 0.42748 | 0.41187 | 0.0078056 | 0.0079655 | 0.0097716 | 0.0075356 | 1.6417 | 1.6661 | 1.5947 | 1.6246 | 1.5908 | 1.6088 | 0.35237 | 0.35999 | 87.9996 | 8022.5433 | 1.7295 | 90.2679 | 416745.49 | 0.56435 | 90.929 | 175481.98 | 0.75742 | 87.1469 | 59491.4333 | 1.4752 | 88.8014 | 83791.4033 | 0.34614 | 97.421 | 581629.8967 | 0.99101 | 92.7178 | 306175.0733 | 0.2171 | 84.5802 | 307991.0767 | 0.75495 | 81.1422 | 197186.2867 | 0.05411
| FALSE | 040_QC2.d | 2023-03-27 17:21 | QC2 |  | qc 2 | 1 | 10.3372 | 10.3531 | 10.0895 | 10.624 | 10.8112 | 10.6865 | 10.5416 | 10.3874 | 10.5963 | 0.50363 | 0.53323 | 0.50159 | 0.51688 | 10.8634 | 10.9344 | 10.382 | 10.3097 | 10.4338 | 10.3798 | 9.0564 | 9.2273 | 90.902 | 8287.1467 | 1.4314 | 94.8184 | 437753.7933 | 0.22318 | 95.5864 | 184470.1233 | 0.43505 | 92.0017 | 62805.5967 | 0.82965 | 93.6503 | 88366.73 | 0.56776 | 99.5814 | 594527.9533 | 0.50121 | 95.3014 | 314706.5333 | 0.3084 | 87.0308 | 316914.72 | 0.74547 | 84.7725 | 206008.4567 | 0.27584
| FALSE | 041SMPL.d | 2023-03-27 17:24 | Sample |  | blk | 1 | 0.0094682 | 0.021338 | 0.066475 | 0.0011144 | <0.000 | 0.00069574 | 0.0078664 | 0.01088 | 0.005982 | 0.013958 | 0.010773 | 0.014504 | 0.012159 | 0.0032112 | <0.000 | 0.0039922 | 0.00329 | 0.0028873 | 0.00010761 | 0.020435 | 0.013902 | 92.097 | 8396.0833 | 2.1978 | 97.523 | 450240.5967 | 26.8944 | 93.6835 | 180797.8333 | 0.35351 | 90.019 | 61452.0967 | 0.39338 | 93.2587 | 87997.2367 | 1.0033 | 101.5635 | 606361.53 | 25.7531 | 94.8274 | 313141.41 | 0.23652 | 87.4965 | 318610.42 | 19.9587 | 84.5239 | 205404.3867 | 0.11161
| FALSE | 042SMPL.d | 2023-03-27 17:28 | Sample |  | 173360-009 Pb | 1 | 0.45722 | 0.023698 | 0.01581 | 0.040674 | 0.046725 | 0.10843 | 0.35567 | 0.37107 | 0.37039 | 0.0044275 | 0.0067471 | 0.0079506 | 0.0083652 | 4.584 | 4.5735 | 4.4086 | 4.4343 | 4.4214 | 4.3915 | 0.31327 | 0.32701 | 87.5727 | 7983.6233 | 1.9192 | 90.3491 | 417120.2667 | 0.36891 | 90.7375 | 175112.2867 | 1.7441 | 88.0184 | 60086.3133 | 0.91439 | 88.3619 | 83376.7067 | 0.5079 | 97.0919 | 579664.9567 | 0.2341 | 92.489 | 305419.5533 | 0.49978 | 94.0289 | 342397.74 | 0.40352 | 90.6156 | 220207.9733 | 0.24361
| FALSE | 043SMPL.d | 2023-03-27 17:32 | Sample |  | 173360-010 Pb | 1 | 0.51137 | 0.039493 | 0.18356 | 0.0098991 | 0.0078395 | 0.040937 | 0.49259 | 0.49186 | 0.49418 | 0.0049969 | 0.0080573 | 0.0096381 | 0.0081122 | 5.1962 | 5.214 | 4.9903 | 4.9851 | 4.9679 | 4.9542 | 0.38145 | 0.39069 | 87.8043 | 8004.7433 | 1.0843 | 90.6039 | 418296.68 | 0.060367 | 90.5576 | 174765.1467 | 1.1099 | 87.2318 | 59549.4 | 0.78769 | 88.5539 | 83557.81 | 0.81998 | 96.9555 | 578850.8033 | 0.60241 | 92.338 | 304920.7367 | 0.45443 | 83.8252 | 305241.7933 | 0.89214 | 80.6628 | 196021.42 | 0.62948
| FALSE | 044SMPL.d | 2023-03-27 17:36 | Sample |  | 173360-010 dup Pb | 1 | 0.48769 | 0.039516 | <0.000 | 0.011167 | 0.0065346 | 0.040722 | 0.39603 | 0.39096 | 0.38362 | 0.0030926 | 0.0063945 | 0.0073525 | 0.0079206 | 5.1746 | 5.1627 | 4.9258 | 4.969 | 4.9554 | 4.9397 | 0.38211 | 0.39269 | 88.1578 | 8036.9633 | 2.4989 | 90.3749 | 417239.26 | 0.84692 | 90.2784 | 174226.3933 | 0.17331 | 86.5403 | 59077.3 | 0.48499 | 88.3049 | 83322.89 | 0.76674 | 96.8239 | 578065.1033 | 0.98883 | 92.6687 | 306013.06 | 0.55753 | 82.7674 | 301390.1833 | 0.96124 | 80.1762 | 194838.93 | 0.61099
| FALSE | 045SMPL.d | 2023-03-27 17:39 | Sample |  | 173352-001 Pb | 1 | 0.1561 | 0.019835 | 0.067894 | 0.092732 | 0.093937 | 0.094272 | 0.3876 | 0.38311 | 0.38238 | 0.013222 | 0.016668 | 0.015129 | 0.016445 | 4.545 | 4.5798 | 4.3178 | 4.388 | 4.3277 | 4.3491 | 0.018062 | 0.018898 | 85.8412 | 7825.7767 | 2.8055 | 93.0502 | 429590.5867 | 0.51767 | 93.7356 | 180898.4133 | 0.98145 | 89.4469 | 61061.53 | 0.80058 | 88.1699 | 83195.5267 | 1.2615 | 97.0204 | 579238.3167 | 0.64888 | 92.2958 | 304781.6733 | 0.28768 | 83.9086 | 305545.7167 | 0.85101 | 79.9022 | 194172.91 | 0.80324
| FALSE | 046SMPL.d | 2023-03-27 17:43 | Sample |  | 173352-002 Pb | 1 | 0.15271 | 0.033488 | 0.34181 | 0.01006 | 0.011833 | 0.014047 | 0.42961 | 0.44185 | 0.42831 | 0.032911 | 0.031344 | 0.029332 | 0.030608 | 3.0181 | 3.0224 | 3.071 | 3.0345 | 2.9809 | 2.9343 | 0.015231 | 0.015807 | 84.4386 | 7697.9067 | 2.4063 | 92.3514 | 426364.4067 | 0.51251 | 93.5273 | 180496.3667 | 0.6707 | 88.3517 | 60313.8633 | 0.36247 | 86.7317 | 81838.3867 | 1.099 | 95.9563 | 572885.31 | 0.55938 | 91.7185 | 302874.9867 | 0.15774 | 82.1198 | 299031.7767 | 0.32251 | 79.5903 | 193415.1067 | 0.15073
| FALSE | 047SMPL.d | 2023-03-27 17:47 | Sample |  | 173374-001 Pb | 1 | 0.017053 | 0.023981 | 0.15992 | 0.0068391 | 0.010101 | 0.0094738 | 0.26345 | 0.26591 | 0.25745 | 0.020391 | 0.019786 | 0.02135 | 0.017975 | 1.0715 | 1.0474 | 1.0205 | 1.0159 | 1.018 | 1.013 | <0.000 | 0.00019814 | 83.329 | 7596.7467 | 2.2656 | 90.5532 | 418062.3033 | 0.60131 | 89.9986 | 173686.4367 | 0.60958 | 85.8933 | 58635.6633 | 0.84074 | 88.2981 | 83316.5033 | 0.36681 | 97.8913 | 584437.37 | 0.74364 | 92.0322 | 303911.14 | 0.42601 | 85.3276 | 310712.7033 | 1.2874 | 81.316 | 197608.69 | 0.1744
| FALSE | 048SMPL.d | 2023-03-27 17:51 | Sample |  | 173374-002 Pb | 1 | 0.12035 | 0.019014 | 0.10275 | 0.55179 | 0.57391 | 0.60269 | 1.3589 | 1.3218 | 1.3642 | 0.01966 | 0.013329 | 0.012941 | 0.013971 | 34.121 | 34.7641 | 33.585 | 34.1174 | 35.5471 | 33.5385 | 0.00033348 | 0.00091139 | 86.2556 | 7863.5533 | 1.4401 | 90.4917 | 417778.4733 | 1.3711 | 90.7597 | 175155.1367 | 0.62978 | 86.2497 | 58878.9133 | 1.3375 | 88.3595 | 83374.41 | 0.32835 | 97.7237 | 583436.6567 | 1.0038 | 92.2549 | 304646.38 | 0.8514 | 84.9053 | 309174.9033 | 0.95765 | 80.8726 | 196531.18 | 1.1241
| FALSE | 049SMPL.d | 2023-03-27 17:54 | Sample |  | 173374-003 Pb | 1 | 0.020624 | 0.028844 | 0.047114 | 0.012666 | 0.010827 | 0.013373 | 0.25696 | 0.26204 | 0.27994 | 0.009541 | 0.01001 | 0.012662 | 0.010246 | 1.6229 | 1.6789 | 1.6001 | 1.6448 | 1.5813 | 1.6049 | <0.000 | 0.00032909 | 84.6823 | 7720.1233 | 3.4813 | 90.1117 | 416023.99 | 0.41615 | 89.5078 | 172739.2267 | 0.66393 | 85.7527 | 58539.6833 | 1.1912 | 88.1371 | 83164.5333 | 0.7948 | 97.8657 | 584284.7433 | 0.49668 | 92.6286 | 305880.5067 | 0.55539 | 84.9218 | 309235.1033 | 1.3239 | 80.6043 | 195879.1067 | 0.87571
| FALSE | 050SMPL.d | 2023-03-27 17:58 | Sample |  | 173374-004 Pb | 1 | 0.53182 | 0.0268 | 0.047982 | 0.39807 | 0.43834 | 0.39611 | 1.0368 | 1.0307 | 1.0497 | 0.019195 | 0.017676 | 0.018687 | 0.017974 | 24.9755 | 25.409 | 24.2195 | 24.6744 | 24.0724 | 24.3837 | <0.000 | 0.00017124 | 84.8043 | 7731.2467 | 1.6048 | 90.2776 | 416790.0133 | 0.4143 | 90.8571 | 175343.2533 | 0.74335 | 85.8146 | 58581.9 | 0.85354 | 87.6639 | 82718.0633 | 1.1233 | 97.6026 | 582714.1333 | 1.1712 | 92.5931 | 305763.3367 | 0.79859 | 83.7321 | 304902.96 | 1.3753 | 79.6674 | 193602.3333 | 0.73361
| FALSE | 051SMPL.d | 2023-03-27 18:02 | Sample |  | 173384-001 | 1 | 0.056993 | 0.016578 | 0.17259 | 0.0017013 | 0.00085679 | 0.0025534 | 0.073109 | 0.069436 | 0.071477 | 0.00034196 | <0.000 | 0.001337 | 0.0012665 | 1.1448 | 1.1616 | 1.1115 | 1.1149 | 1.1071 | 1.0987 | 0.0034936 | 0.0034436 | 88.3654 | 8055.8967 | 0.7076 | 92.6847 | 427902.93 | 0.91542 | 94.6602 | 182682.6767 | 0.42064 | 90.1824 | 61563.6267 | 0.8041 | 91.2007 | 86055.29 | 0.83848 | 98.0799 | 585563.3867 | 0.24207 | 93.9411 | 310214.7867 | 0.050104 | 83.32 | 303402.34 | 0.22962 | 81.5609 | 198203.97 | 0.69488
| FALSE | 052_QC2.d | 2023-03-27 18:06 | QC2 |  | qc 2 | 1 | 10.4475 | 10.0524 | 10.6217 | 10.6149 | 10.6582 | 10.7346 | 10.557 | 10.424 | 10.5109 | 0.49794 | 0.54037 | 0.51578 | 0.51397 | 10.8973 | 10.8164 | 10.1848 | 10.2469 | 10.3509 | 10.2955 | 9.0717 | 9.3796 | 90.8776 | 8284.9233 | 1.4638 | 93.3075 | 430778.2367 | 1.0299 | 94.1058 | 181612.6933 | 0.25572 | 91.3138 | 62335.9567 | 0.76364 | 92.7422 | 87509.8667 | 0.56344 | 98.6684 | 589076.8467 | 0.67634 | 94.9869 | 313668.1333 | 0.24521 | 83.4976 | 304048.99 | 0.65663 | 81.1929 | 197309.6067 | 0.88134
| FALSE | 053SMPL.d | 2023-03-27 18:09 | Sample |  | blk | 1 | 0.00091542 | 0.01947 | 0.1677 | 0.00098612 | 0.0008143 | <0.000 | 0.0094853 | 0.012862 | 0.00619 | 0.01355 | 0.014776 | 0.020109 | 0.013857 | 0.0020378 | 0.001279 | 0.0017029 | 0.0020417 | 0.0027402 | 0.0023791 | 0.021154 | 0.01608 | 91.8895 | 8377.1733 | 3.0463 | 94.0508 | 434210.2533 | 0.37244 | 95.1172 | 183564.71 | 1.4902 | 91.4167 | 62406.2233 | 1.0938 | 93.5123 | 88236.44 | 0.50585 | 98.3639 | 587259.0733 | 0.30911 | 94.1534 | 310915.6733 | 0.51422 | 83.8203 | 305224.0733 | 0.251 | 81.527 | 198121.5033 | 0.32622
| FALSE | 054SMPL.d | 2023-03-27 18:13 | Sample |  | 173384-002 | 1 | 0.067271 | 0.033431 | 0.038021 | 0.0016959 | 0.00085086 | 0.0012268 | 0.087061 | 0.080213 | 0.086001 | 0.003901 | 0.0039403 | 0.0030481 | 0.0048748 | 0.75241 | 0.74586 | 0.73134 | 0.70638 | 0.72106 | 0.70213 | 0.0058199 | 0.0059099 | 91.4139 | 8333.8167 | 0.79467 | 92.7434 | 428174.0367 | 0.49246 | 93.5077 | 180458.4533 | 1.136 | 90.3928 | 61707.2233 | 1.1992 | 92.46 | 87243.52 | 0.049418 | 97.7711 | 583719.8133 | 0.87943 | 94.0421 | 310548.14 | 0.12043 | 83.3003 | 303330.44 | 0.17875 | 81.6013 | 198302.0733 | 0.29185
| FALSE | 055SMPL.d | 2023-03-27 18:17 | Sample |  | 173384-003 | 1 | 0.060795 | 0.03037 | 0.095794 | 0.00089503 | 0.0022668 | 0.0001851 | 0.064598 | 0.062649 | 0.061632 | <0.000 | 0.0015882 | 0.0017978 | 0.0023981 | 0.59059 | 0.57396 | 0.56377 | 0.56448 | 0.56454 | 0.55828 | 0.0040031 | 0.0045514 | 90.7679 | 8274.92 | 1.7334 | 91.9038 | 424297.72 | 0.34293 | 93.8708 | 181159.2267 | 0.69685 | 88.9007 | 60688.6267 | 0.52542 | 91.7612 | 86584.15 | 0.59652 | 96.5996 | 576725.78 | 0.26167 | 93.195 | 307750.8133 | 0.2493 | 82.5522 | 300606.43 | 0.78693 | 80.9678 | 196762.5367 | 0.51088
| FALSE | 056SMPL.d | 2023-03-27 18:21 | Sample |  | 173384-004 | 1 | 0.058617 | 0.035322 | 0.25506 | 0.00097519 | 0.00090712 | 0.0028824 | 0.072661 | 0.074101 | 0.074651 | <0.000 | <0.000 | 0.0038212 | 0.0021857 | 0.56299 | 0.54347 | 0.53432 | 0.5459 | 0.54144 | 0.53252 | 0.0035485 | 0.0047671 | 88.9017 | 8104.7833 | 2.614 | 91.826 | 423938.5233 | 0.23181 | 92.7005 | 178900.62 | 0.51602 | 88.8307 | 60640.8533 | 1.2734 | 91.4755 | 86314.5567 | 0.76731 | 96.8482 | 578210.18 | 0.58759 | 93.0203 | 307173.86 | 0.24356 | 82.3283 | 299791.17 | 0.27399 | 80.8204 | 196404.34 | 0.34904
| FALSE | 057SMPL.d | 2023-03-27 18:24 | Sample |  | 173384-005 | 1 | 0.060969 | 0.033846 | 0.14823 | 0.0015912 | 0.0015534 | 0.0028587 | 0.056082 | 0.059866 | 0.060327 | 9.6991e-05 | 0.0015313 | 0.0012474 | 0.0022636 | 0.7717 | 0.76813 | 0.75376 | 0.75832 | 0.74916 | 0.73947 | 0.0028327 | 0.0034107 | 89.3528 | 8145.9133 | 2.3457 | 91.4854 | 422366.3867 | 0.39495 | 92.6183 | 178742.1467 | 0.28707 | 89.3684 | 61007.9367 | 0.5631 | 91.3451 | 86191.5133 | 0.35494 | 96.7196 | 577442.1233 | 0.43588 | 93.3839 | 308374.7567 | 0.40525 | 82.8399 | 301653.96 | 0.37081 | 80.5467 | 195739.14 | 0.45821
| FALSE | 058SMPL.d | 2023-03-27 18:28 | Sample |  | 173384-006 | 1 | 0.058649 | 0.032093 | 0.17231 | 0.00081691 | <0.000 | 0.0019908 | 0.070296 | 0.076585 | 0.073244 | <0.000 | <0.000 | <0.000 | <0.000 | 0.12994 | 0.12734 | 0.12701 | 0.12966 | 0.12886 | 0.12615 | 0.0031587 | 0.0041428 | 87.597 | 7985.8433 | 2.1899 | 91.944 | 424483.3833 | 0.65641 | 93.1169 | 179704.3 | 0.33586 | 90.1974 | 61573.88 | 1.4196 | 91.2172 | 86070.8467 | 0.231 | 97.1496 | 580009.3167 | 0.76302 | 93.0352 | 307223.1433 | 0.89072 | 81.9749 | 298504.1333 | 0.98562 | 80.1599 | 194799.2167 | 0.57936
| FALSE | 059SMPL.d | 2023-03-27 18:32 | Sample |  | 173385-001 | 1 | 0.057474 | 0.031886 | 0.17491 | 0.00084022 | 0.0015701 | 0.0009639 | 0.094971 | 0.094554 | 0.078516 | <0.000 | <0.000 | <0.000 | 0.00064943 | 2.4837 | 2.462 | 2.407 | 2.3984 | 2.3906 | 2.3784 | 0.0039953 | 0.0040796 | 88.9385 | 8108.14 | 4.2253 | 91.1597 | 420862.73 | 0.31837 | 93.6447 | 180722.85 | 0.90897 | 89.6349 | 61189.8433 | 1.1655 | 91.7065 | 86532.6033 | 0.10944 | 96.5915 | 576677.6833 | 0.26999 | 94.1596 | 310936.18 | 0.39453 | 81.6565 | 297344.7467 | 0.83511 | 79.7825 | 193882.11 | 0.65378
| FALSE | 060SMPL.d | 2023-03-27 18:36 | Sample |  | 173385-002 | 1 | 0.054554 | 0.030361 | 0.039887 | 0.0016594 | 0.0015357 | 0.0014981 | 0.098803 | 0.092145 | 0.082672 | <0.000 | <0.000 | 0.00012089 | <0.000 | 0.9157 | 0.89647 | 0.88047 | 0.86331 | 0.88639 | 0.87358 | 0.0028849 | 0.0034369 | 90.5117 | 8251.56 | 1.3628 | 91.6543 | 423146.17 | 0.48552 | 93.5846 | 180606.8933 | 1.1734 | 89.6529 | 61202.1333 | 0.69341 | 92.2174 | 87014.68 | 0.40386 | 96.6739 | 577169.5433 | 0.4971 | 93.1107 | 307472.41 | 0.6189 | 81.8768 | 298146.9433 | 0.78501 | 79.975 | 194349.9167 | 0.97503
| FALSE | 061SMPL.d | 2023-03-27 18:39 | Sample |  | 173385-003 | 1 | 0.047145 | 0.029127 | 0.093575 | 0.0010599 | <0.000 | 0.0012252 | 0.062813 | 0.064584 | 0.059285 | <0.000 | <0.000 | <0.000 | <0.000 | 0.84404 | 0.86078 | 0.84144 | 0.82639 | 0.82262 | 0.8112 | 0.0022835 | 0.0035926 | 89.1092 | 8123.7 | 1.7429 | 91.4797 | 422339.8967 | 0.58554 | 92.9744 | 179429.3767 | 0.95367 | 89.9518 | 61406.2 | 0.96062 | 91.4765 | 86315.5133 | 0.50324 | 96.7991 | 577917.0767 | 0.51614 | 93.7937 | 309728.0567 | 0.41882 | 81.8719 | 298129.19 | 0.29121 | 80.2563 | 195033.6467 | 0.030117
| FALSE | 062SMPL.d | 2023-03-27 18:43 | Sample |  | 173385-004 | 1 | 0.056735 | 0.020122 | 0.11995 | 0.00053039 | 0.00086182 | 0.00096635 | 0.075694 | 0.085401 | 0.082249 | <0.000 | <0.000 | <0.000 | <0.000 | 0.93185 | 0.93165 | 0.91998 | 0.93262 | 0.91206 | 0.90615 | 0.003447 | 0.0036538 | 90.0606 | 8210.44 | 2.0643 | 91.2782 | 421409.8433 | 0.75976 | 92.6157 | 178736.9767 | 1.1092 | 89.7915 | 61296.7833 | 0.819 | 91.6983 | 86524.84 | 0.40078 | 96.6325 | 576921.9933 | 0.95654 | 93.4995 | 308756.46 | 0.66275 | 81.3153 | 296102.4867 | 0.79919 | 79.9402 | 194265.4233 | 0.62573
| FALSE | 063SMPL.d | 2023-03-27 18:47 | Sample |  | 173385-005 | 1 | 0.059371 | 0.036244 | 0.066655 | 0.0016507 | 0.00087107 | 0.00069403 | 0.082186 | 0.077582 | 0.074746 | <0.000 | <0.000 | 0.00081584 | 0.00011144 | 1.0773 | 1.0732 | 1.0366 | 1.0309 | 1.0421 | 1.0292 | 0.0032731 | 0.0039577 | 90.9753 | 8293.83 | 0.82058 | 91.9096 | 424324.54 | 0.17623 | 93.9263 | 181266.31 | 0.70378 | 89.9439 | 61400.7933 | 0.27401 | 91.9863 | 86796.62 | 0.30079 | 97.2315 | 580498.1267 | 0.18189 | 93.7708 | 309652.28 | 0.37535 | 81.645 | 297302.86 | 0.63679 | 79.7075 | 193699.7633 | 0.055935
| FALSE | 064_QC2.d | 2023-03-27 18:51 | QC2 |  | qc 2 | 1 | 10.3335 | 10.1309 | 10.6735 | 10.649 | 10.5314 | 10.6758 | 10.6748 | 10.4106 | 10.5862 | 0.50022 | 0.50524 | 0.50226 | 0.53206 | 10.7861 | 10.7565 | 10.2057 | 10.2153 | 10.293 | 10.2638 | 8.9842 | 9.3685 | 89.9387 | 8199.32 | 0.22637 | 92.875 | 428781.58 | 0.27819 | 94.8095 | 182970.82 | 0.64502 | 91.9858 | 62794.73 | 1.1357 | 93.9867 | 88684.0867 | 1.2217 | 98.2519 | 586590.5733 | 0.67983 | 95.1337 | 314152.9167 | 0.45217 | 82.3585 | 299901.07 | 0.14439 | 80.3824 | 195339.9767 | 0.89578
| FALSE | 065SMPL.d | 2023-03-27 18:54 | Sample |  | blk | 1 | <0.000 | 0.016558 | 0.16938 | 0.00066153 | 0.00086892 | 0.00014327 | 0.006022 | 0.01168 | 0.0071486 | 0.01644 | 0.013749 | 0.012389 | 0.012513 | <0.000 | <0.000 | <0.000 | 0.0004418 | 0.0015046 | <0.000 | 0.018722 | 0.013844 | 90.4631 | 8247.13 | 1.1731 | 92.2066 | 425695.6233 | 0.20969 | 95.0025 | 183343.27 | 0.80431 | 91.0326 | 62143.9767 | 1.4675 | 93.0884 | 87836.4667 | 0.4602 | 96.2654 | 574730.3533 | 1.2859 | 93.5137 | 308803.2567 | 0.23791 | 80.9349 | 294716.9667 | 0.5486 | 79.9511 | 194291.9233 | 0.1903
| FALSE | 066SMPL.d | 2023-03-27 18:58 | Sample |  | 173385-006 | 1 | 0.064393 | 0.027721 | 0.041892 | 0.00098998 | <0.000 | 0.0023331 | 0.093376 | 0.092495 | 0.088077 | 0.00087458 | 0.003603 | 0.0050567 | 0.0031859 | 1.0667 | 1.0352 | 1.0423 | 1.0239 | 1.0291 | 1.0123 | 0.0048665 | 0.0059892 | 89.2555 | 8137.04 | 1.0628 | 91.191 | 421006.9467 | 0.55267 | 92.7015 | 178902.5933 | 1.5758 | 89.2525 | 60928.7933 | 0.63644 | 91.7089 | 86534.82 | 0.55388 | 96.1241 | 573886.6433 | 0.51903 | 93.293 | 308074.4367 | 0.13332 | 81.0454 | 295119.6467 | 0.10821 | 79.5665 | 193357.18 | 0.064501
| FALSE | 067SMPL.d | 2023-03-27 19:02 | Sample |  | 173386-001 | 1 | 0.072745 | 0.027815 | 0.17279 | 0.0010804 | 0.00088485 | 0.0017602 | 0.086458 | 0.083432 | 0.077411 | 0.00066622 | 0.0012449 | 0.002822 | 0.0021086 | 0.44982 | 0.42199 | 0.43946 | 0.39532 | 0.43452 | 0.39773 | 0.0044014 | 0.0044397 | 91.8412 | 8372.7633 | 1.0918 | 90.4344 | 417514.0867 | 18.7616 | 92.5609 | 178631.3733 | 1.8885 | 89.8214 | 61317.1833 | 1.0637 | 92.5155 | 87295.9633 | 1.0458 | 94.5971 | 564770.4167 | 17.5468 | 93.2544 | 307947.1233 | 0.2015 | 78.2817 | 285055.7633 | 13.8673 | 79.3508 | 192833.0967 | 0.48195
| FALSE | 068SMPL.d | 2023-03-27 19:06 | Sample |  | 173386-002 | 1 | 0.085546 | 0.024511 | 0.30969 | 0.0016719 | <0.000 | 0.00149 | 0.082754 | 0.085015 | 0.082093 | 0.0002837 | 0.0015042 | 0.0011556 | 0.0009165 | 0.56382 | 0.55689 | 0.53435 | 0.52737 | 0.54194 | 0.5279 | 0.0035419 | 0.005197 | 88.5117 | 8069.2267 | 3.1078 | 91.3359 | 421676.2033 | 0.28452 | 93.1083 | 179687.7333 | 0.82694 | 89.8622 | 61345.01 | 1.4736 | 91.2528 | 86104.46 | 0.26483 | 96.4275 | 575698.2433 | 0.40087 | 93.169 | 307665.1233 | 0.40994 | 80.7805 | 294154.7667 | 0.49118 | 78.8624 | 191646.1533 | 0.66126
| FALSE | 069SMPL.d | 2023-03-27 19:09 | Sample |  | 173386-003 | 1 | 0.078266 | 0.025833 | 0.17358 | 0.0027312 | 0.0015427 | 0.0036308 | 0.08249 | 0.088083 | 0.087458 | <0.000 | <0.000 | 0.0010118 | <0.000 | 1.2188 | 1.2019 | 1.1759 | 1.1481 | 1.1705 | 1.1545 | 0.0033788 | 0.0039941 | 89.3778 | 8148.19 | 0.83112 | 91.4347 | 422132.1833 | 1.0673 | 93.8477 | 181114.68 | 0.36915 | 89.8848 | 61360.4533 | 0.55661 | 91.6746 | 86502.4333 | 0.44657 | 96.8151 | 578012.2433 | 0.56357 | 93.605 | 309104.92 | 0.23554 | 80.8565 | 294431.6033 | 0.61732 | 79.0548 | 192113.73 | 0.47107
| FALSE | 070SMPL.d | 2023-03-27 19:13 | Sample |  | 173386-004 | 1 | 0.08765 | 0.019951 | 0.03897 | 0.0024908 | 0.0021883 | 0.003339 | 0.073391 | 0.093934 | 0.064936 | 0.0018952 | 0.00053505 | 0.0016661 | 0.00047765 | 0.725 | 0.62554 | 0.70839 | 0.61164 | 0.70556 | 0.60563 | 0.0034534 | 0.0044135 | 89.8163 | 8188.17 | 0.68361 | 80.8171 | 373113.0567 | 17.4492 | 93.2055 | 179875.2867 | 0.6533 | 90.4045 | 61715.2333 | 0.35783 | 92.0824 | 86887.21 | 0.59964 | 85.5864 | 510974.1933 | 17.0169 | 93.5953 | 309072.8367 | 0.61684 | 72.0579 | 262392.3367 | 13.1821 | 79.1262 | 192287.1267 | 0.80547
| FALSE | 071SMPL.d | 2023-03-27 19:17 | Sample |  | 173386-005 | 1 | 0.091292 | 0.04794 | 0.19616 | 0.0015738 | 0.00083872 | 0.0027763 | 0.093212 | 0.088722 | 0.095595 | 0.0005765 | 0.00042957 | <0.000 | 0.00024092 | 0.83729 | 0.82143 | 0.8052 | 0.7753 | 0.79598 | 0.7788 | 0.0031094 | 0.0048321 | 89.7432 | 8181.5 | 1.2607 | 91.9266 | 424403.0633 | 0.20502 | 94.749 | 182854.0633 | 1.5729 | 91.0619 | 62164.0033 | 0.22105 | 92.4898 | 87271.64 | 0.30701 | 97.1022 | 579726.3667 | 0.26611 | 94.1173 | 310796.5467 | 0.097268 | 81.0654 | 295192.2367 | 1.1369 | 79.1926 | 192448.6233 | 0.8731
| FALSE | 072SMPL.d | 2023-03-27 19:21 | Sample |  | 173386-006 | 1 | 0.066973 | 0.019436 | 0.27797 | 0.000361 | 0.00015969 | 0.0013358 | 0.078474 | 0.069638 | 0.079116 | <0.000 | 2.8386e-05 | 9.9002e-05 | 0.0002753 | 0.032545 | 0.042104 | 0.032859 | 0.038478 | 0.03167 | 0.037504 | 0.0035563 | 0.0048259 | 87.7315 | 7998.1033 | 7.6337 | 92.2334 | 425819.5267 | 0.29451 | 95.2068 | 183737.5433 | 0.62344 | 86.5756 | 59101.38 | 10.5701 | 88.0109 | 83045.4767 | 10.7178 | 96.6766 | 577185.48 | 0.67384 | 89.3932 | 295196.42 | 9.4393 | 80.5319 | 293249.5233 | 0.57497 | 75.1609 | 182651.1367 | 7.7765
| FALSE | 073SMPL.d | 2023-03-27 19:24 | Sample |  | 173384-008 Pb | 1 | 0.073551 | 0.033544 | 0.1151 | 0.0049131 | 0.0027785 | 0.0074433 | 0.28473 | 0.26985 | 0.26968 | <0.000 | <0.000 | 0.00066926 | 0.0012268 | 0.083689 | 0.080913 | 0.083575 | 0.078034 | 0.082718 | 0.079436 | 0.0031886 | 0.0035467 | 90.9384 | 8290.46 | 2.014 | 92.7145 | 428040.6933 | 0.73071 | 129.7033 | 250311.54 | 35.8911 | 91.7846 | 62657.3633 | 0.37519 | 92.8064 | 87570.4133 | 0.55201 | 97.2112 | 580376.96 | 0.40114 | 94.1365 | 310859.9967 | 0.36349 | 81.4852 | 296720.94 | 1.129 | 79.5194 | 193242.86 | 0.3562
| FALSE | 074SMPL.d | 2023-03-27 19:28 | Sample |  | 173384-009 Pb | 1 | 0.059206 | 0.022748 | 0.063496 | 0.0009848 | 0.0021466 | 0.0035448 | 0.3048 | 0.32111 | 0.30759 | <0.000 | <0.000 | <0.000 | 1.8156e-05 | 0.10506 | 0.10377 | 0.1084 | 0.10655 | 0.10448 | 0.10221 | 0.0028771 | 0.0035277 | 90.3535 | 8237.1367 | 1.6878 | 91.4863 | 422370.5 | 1.3307 | 93.9125 | 181239.6867 | 0.88731 | 91.4624 | 62437.3933 | 0.0083874 | 92.8904 | 87649.6867 | 0.42007 | 95.7802 | 571833.6533 | 1.8415 | 94.6801 | 312655.1267 | 0.56132 | 79.391 | 289095.19 | 1.4844 | 79.0975 | 192217.4933 | 0.7314
| FALSE | 075SMPL.d | 2023-03-27 19:32 | Sample |  | 173389-001 | 1 | 1.6906 | 0.047795 | 0.11471 | 0.022357 | 0.021107 | 0.023297 | 0.20158 | 0.20346 | 0.20016 | <0.000 | <0.000 | 0.0018242 | 0.0016122 | 0.74305 | 0.74985 | 0.72876 | 0.73715 | 0.72417 | 0.7348 | 0.07228 | 0.075851 | 89.4264 | 8152.62 | 1.2879 | 92.7658 | 428277.6533 | 0.48074 | 94.9383 | 183219.32 | 0.40944 | 92.1852 | 62930.83 | 1.0399 | 91.8523 | 86670.1 | 0.80485 | 96.0163 | 573243.28 | 0.27748 | 93.465 | 308642.5167 | 0.05809 | 79.5391 | 289634.59 | 0.47632 | 77.3834 | 188051.99 | 0.90384
| FALSE | 076_QC2.d | 2023-03-27 19:36 | QC2 |  | qc 2 | 1 | 10.3553 | 10.0794 | 10.6798 | 10.5701 | 10.6124 | 10.6981 | 10.5354 | 10.2416 | 10.6234 | 0.48241 | 0.52995 | 0.4929 | 0.51703 | 10.7765 | 10.5735 | 10.0636 | 9.983 | 10.2253 | 10.1094 | 8.9522 | 9.2881 | 93.3165 | 8507.26 | 2.3387 | 92.9395 | 429079.5733 | 0.51881 | 95.2666 | 183852.97 | 0.51851 | 91.9009 | 62736.79 | 1.0629 | 94.508 | 89175.96 | 0.21709 | 97.5931 | 582656.9333 | 0.73233 | 94.6186 | 312451.8933 | 0.54643 | 80.609 | 293530.4867 | 0.64217 | 79.4092 | 192974.9867 | 0.85917
| FALSE | 077SMPL.d | 2023-03-27 19:39 | Sample |  | blk | 1 | 0.0061844 | 0.019558 | 0.062141 | 0.00094942 | 0.00015506 | 0.00090376 | 0.0068784 | 0.010379 | 0.0030121 | 0.014356 | 0.0085337 | 0.014319 | 0.011466 | <0.000 | <0.000 | 0.00017861 | <0.000 | <0.000 | <0.000 | 0.018343 | 0.012837 | 91.512 | 8342.7533 | 2.9983 | 92.7625 | 428262.38 | 0.25974 | 94.8542 | 183057.0433 | 1.0077 | 92.1706 | 62920.84 | 0.17964 | 94.6346 | 89295.5067 | 0.62504 | 96.8012 | 577929.6367 | 0.51672 | 94.9558 | 313565.57 | 0.34932 | 79.73 | 290329.4933 | 0.37033 | 78.7183 | 191295.9967 | 0.18368
| FALSE | 078SMPL.d | 2023-03-27 19:43 | Sample |  | 173365-001 | 1 | 0.055231 | 0.013298 | 0.035608 | 0.0018072 | 0.0034299 | 0.0021898 | 0.05247 | 0.057549 | 0.063844 | 0.0027632 | 0.0034007 | 0.0034007 | 0.0033239 | 0.26351 | 0.25782 | 0.2529 | 0.25065 | 0.2543 | 0.24727 | 0.0038943 | 0.0043432 | 93.6581 | 8538.4067 | 1.2451 | 94.7328 | 437358.66 | 13.759 | 96.1274 | 185514.17 | 1.2136 | 92.3192 | 63022.3433 | 0.79383 | 93.6774 | 88392.2467 | 0.47896 | 98.0958 | 585658.2267 | 11.9633 | 94.7441 | 312866.4333 | 0.37529 | 79.5932 | 289831.38 | 7.962 | 79.5941 | 193424.3767 | 0.90859
| FALSE | 079SMPL.d | 2023-03-27 19:47 | Sample |  | 173365-002 | 1 | 0.046609 | 0.023886 | 0.087198 | 0.00058688 | <0.000 | 0.00063148 | 0.073219 | 0.086225 | 0.078804 | 0.0046885 | <0.000 | 0.0047723 | 0.0021971 | 0.28093 | 0.2656 | 0.28878 | 0.2639 | 0.28064 | 0.25726 | 0.0054163 | 0.0059125 | 92.8408 | 8463.9 | 2.9267 | 89.729 | 414257.55 | 5.1874 | 95.0492 | 183433.4633 | 1.7101 | 92.4322 | 63099.4467 | 1.0934 | 94.2437 | 88926.6333 | 0.77864 | 94.2693 | 562813.37 | 5.0608 | 94.5892 | 312354.7667 | 0.81082 | 77.4874 | 282163.53 | 4.355 | 79.4186 | 192997.77 | 0.60854
| FALSE | 080SMPL.d | 2023-03-27 19:51 | Sample |  | 173375-001 | 1 | 0.04461 | 0.014944 | 0.13796 | 0.00049334 | <0.000 | 0.0011429 | 0.072086 | 0.072043 | 0.071028 | 0.0012391 | 0.0022099 | 0.0059405 | 0.0025046 | 0.065302 | 0.066376 | 0.064866 | 0.064115 | 0.06534 | 0.061119 | 0.0038774 | 0.0037829 | 93.0117 | 8479.48 | 2.6656 | 93.0248 | 429473.3933 | 0.20456 | 95.5788 | 184455.5067 | 0.78734 | 92.9278 | 63437.7533 | 0.082998 | 93.2119 | 87953.03 | 0.68396 | 97.037 | 579336.9733 | 0.62187 | 95.0447 | 313859.1133 | 0.48289 | 80.5479 | 293307.9033 | 0.28355 | 79.0588 | 192123.3533 | 0.74165
| FALSE | 081SMPL.d | 2023-03-27 19:54 | Sample |  | 173394-001 | 20 | 10.1116 | 5.506 | 11.5898 | 0.70084 | 0.59692 | 0.6825 | 0.90817 | 0.81413 | 0.88353 | 0.16256 | 0.23096 | 0.18999 | 0.20571 | 208.0443 | 206.4976 | 195.8847 | 195.1943 | 196.7313 | 195.2061 | 1.3633 | 1.4701 | 95.9872 | 8750.74 | 2.2936 | 135.6861 | 626430.4467 | 0.14192 | 138.8925 | 268045.7067 | 0.79797 | 137.0156 | 93534.6167 | 0.64036 | 92.9105 | 87668.59 | 0.94728 | 98.7877 | 589789.2833 | 0.22472 | 96.6843 | 319273.4633 | 0.21488 | 79.745 | 290384.1333 | 0.28213 | 78.3809 | 190476.0267 | 0.20023
| FALSE | 082SMPL.d | 2023-03-27 19:58 | Sample |  | 173395-001 | 1 | 9.0622 | 0.0030742 | 0.057899 | 0.019328 | 0.0052123 | 0.0056794 | 0.074355 | 0.073889 | 0.071079 | 0.003559 | 0.017337 | 0.060975 | 0.037751 | 0.26354 | 0.25138 | 0.24481 | 0.23431 | 0.24843 | 0.24191 | 0.048182 | 0.049943 | 111.7697 | 10189.56 | 1.3647 | 94.2355 | 435062.92 | 0.34044 | 96.6024 | 186430.8667 | 1.4556 | 94.3793 | 64428.6533 | 0.35872 | 92.7243 | 87492.9467 | 0.39959 | 96.5355 | 576343.3 | 0.59111 | 93.9441 | 310224.64 | 0.24848 | 77.0115 | 280430.31 | 0.32715 | 76.3307 | 185493.8267 | 0.36086
| FALSE | 083SMPL.d | 2023-03-27 20:02 | Sample |  | 173396-001 | 1 | 0.74018 | 0.037036 | 0.27308 | 0.04659 | 0.043575 | 0.043476 | 0.15502 | 0.15835 | 0.15211 | 0.0024472 | 0.0015502 | 0.0026668 | 0.0029781 | 1.5079 | 1.46 | 1.3723 | 1.3471 | 1.4055 | 1.3876 | 1.2541 | 1.2981 | 96.9264 | 8836.3667 | 4.2077 | 103.4342 | 477530.79 | 1.3299 | 105.9718 | 204512.6233 | 0.082552 | 103.615 | 70733.4533 | 0.71157 | 94.5712 | 89235.6867 | 0.9834 | 98.5203 | 588192.9567 | 0.67594 | 95.9008 | 316686.0733 | 0.18985 | 80.4876 | 293088.41 | 1.0866 | 79.3565 | 192846.9067 | 0.5901
| FALSE | 084SMPL.d | 2023-03-27 20:06 | Sample |  | 173397-001 | 1 | 2.15 | 0.28461 | 0.32032 | 0.0055599 | 0.0008034 | 0.0029584 | 0.16806 | 0.17561 | 0.17923 | 0.00025107 | 0.0014102 | 0.0022437 | 0.0014273 | 0.28827 | 0.28085 | 0.28084 | 0.27625 | 0.27773 | 0.2751 | 4.2951 | 4.4173 | 93.1948 | 8496.1733 | 0.9443 | 93.1371 | 429991.61 | 0.48822 | 94.368 | 182118.8567 | 0.50098 | 92.5548 | 63183.1533 | 1.1468 | 93.3633 | 88095.8833 | 0.43378 | 97.2908 | 580852.14 | 0.28273 | 94.8578 | 313241.78 | 0.12695 | 78.0717 | 284290.8967 | 0.67896 | 76.8393 | 186729.6767 | 0.65171
| FALSE | 085SMPL.d | 2023-03-27 20:09 | Sample |  | 173403-001 | 1 | 0.047609 | 0.057001 | 0.0072635 | 0.0012733 | 0.0013913 | 0.0011105 | 0.10455 | 0.1002 | 0.099677 | <0.000 | <0.000 | 0.00028514 | 0.00093342 | 1.0686 | 1.0502 | 1.0212 | 0.99279 | 1.0234 | 1.0065 | 0.0049536 | 0.0037326 | 94.7435 | 8637.36 | 1.8505 | 94.2329 | 435050.6367 | 0.55794 | 96.8322 | 186874.3233 | 0.74529 | 94.0753 | 64221.1333 | 0.82431 | 95.5864 | 90193.5967 | 1.336 | 98.5947 | 588636.76 | 0.48011 | 95.8597 | 316550.28 | 0.32532 | 81.596 | 297124.3467 | 0.22551 | 80.7886 | 196327.1433 | 0.58487
| FALSE | 086SMPL.d | 2023-03-27 20:13 | Sample |  | 173404-001 | 1 | 0.011351 | 0.016325 | 0.10882 | 0.0048241 | <0.000 | 0.0054158 | 0.069914 | 0.072781 | 0.070132 | <0.000 | <0.000 | 0.0024381 | 0.001665 | 2.8031 | 2.7803 | 2.7457 | 2.7055 | 2.734 | 2.7036 | 0.00050904 | 0.0011015 | 94.2558 | 8592.8933 | 3.0673 | 94.0549 | 434229.0167 | 0.67251 | 95.9476 | 185167.16 | 1.4981 | 94.8549 | 64753.35 | 1.0008 | 94.0695 | 88762.27 | 0.64374 | 97.3449 | 581175.6433 | 0.40597 | 95.6175 | 315750.6167 | 0.21003 | 77.612 | 282617.0733 | 0.4061 | 77.3138 | 187882.9133 | 0.23165
| FALSE | 087SMPL.d | 2023-03-27 20:17 | Sample |  | 173404-002 | 1 | 0.090607 | 0.17064 | 0.21496 | 0.014714 | 0.011791 | 0.013716 | 0.11412 | 0.17938 | 0.12316 | <0.000 | 0.0013548 | <0.000 | <0.000 | 0.42207 | 0.42671 | 0.42383 | 0.42804 | 0.41957 | 0.4116 | 0.017623 | 0.01838 | 90.1214 | 8215.9767 | 4.0489 | 89.8206 | 414680.15 | 0.15543 | 92.1019 | 177745.54 | 1.3436 | 93.5502 | 63862.6933 | 1.6107 | 90.1935 | 85104.8967 | 1.1088 | 92.3334 | 551255.65 | 0.51361 | 91.4983 | 302148.0833 | 0.59939 | 70.1636 | 255494.3133 | 0.15445 | 69.6275 | 169204.0367 | 0.45935
| FALSE | 088_QC1.d | 2023-03-27 20:21 | QC1 |  | qc 1 | 1 | 5.2433 | 5.029 | 5.3077 | 5.7436 | 5.3479 | 5.2826 | 5.3072 | 5.5672 | 5.2403 | 0.27311 | 0.24299 | 0.27707 | 0.24982 | 6.0522 | 5.3652 | 5.672 | 5.0446 | 5.7244 | 5.0983 | 4.9757 | 4.654 | 97.5363 | 8891.9667 | 3.2677 | 91.6476 | 423115.1367 | 5.9519 | 100.6976 | 194334.1667 | 0.74899 | 96.7339 | 66036.0333 | 0.3654 | 98.5415 | 92981.9467 | 0.13005 | 92.3004 | 551058.4267 | 6.4055 | 97.3273 | 321396.4967 | 0.43918 | 74.1394 | 269971.9067 | 7.5323 | 80.5023 | 195631.45 | 0.60928
| FALSE | 089_QC2.d | 2023-03-27 20:24 | QC2 |  | qc 2 | 1 | 10.5556 | 10.1873 | 10.0463 | 10.5069 | 10.5393 | 10.5662 | 10.5206 | 10.2594 | 10.4428 | 0.53844 | 0.5263 | 0.50852 | 0.5101 | 10.6893 | 10.5642 | 10.0535 | 10.0271 | 10.1758 | 10.0975 | 8.9259 | 9.2332 | 93.1826 | 8495.0533 | 1.7314 | 93.976 | 433864.5533 | 0.21679 | 95.8215 | 184923.96 | 0.58606 | 91.6867 | 62590.53 | 0.68248 | 93.8586 | 88563.2533 | 0.22799 | 97.2894 | 580843.9667 | 0.13199 | 94.5849 | 312340.65 | 1.0003 | 79.801 | 290588.0433 | 0.3762 | 78.7828 | 191452.84 | 0.47492
| FALSE | 090_QC3.d | 2023-03-27 20:28 | QC3 |  | qc 3 | 1 | 51.1307 | 50.3851 | 52.2285 | 51.819 | 52.1293 | 52.5197 | 52.1859 | 54.3743 | 52.0822 | 2.5688 | 2.6268 | 2.5576 | 2.6028 | 52.6387 | 52.8301 | 49.6464 | 50.0312 | 53.911 | 55.2206 | 46.7871 | 50.0741 | 86.9872 | 7930.2533 | 1.5567 | 89.9089 | 415087.98 | 0.5086 | 92.1596 | 177856.91 | 0.084185 | 88.2454 | 60241.34 | 1.1522 | 89.0855 | 84059.41 | 0.56172 | 95.252 | 568679.9233 | 0.38129 | 92.1851 | 304416.0533 | 0.78364 | 78.3982 | 285480.03 | 0.23068 | 75.7248 | 184021.3167 | 0.86113
| FALSE | 091SMPL.d | 2023-03-27 20:32 | Sample |  | curve 4 | 1 | 49.8191 | 49.4471 | 50.1187 | 49.8406 | 50.8834 | 51.0214 | 50.9073 | 50.4355 | 50.8162 | 2.5522 | 2.7278 | 2.5335 | 2.7019 | 48.5272 | 50.3641 | 45.5249 | 48.0834 | 49.7165 | 53.2041 | 43.0813 | 48.0583 | 88.1214 | 8033.6467 | 3.2396 | 94.4881 | 436229 | 26.4534 | 90.8345 | 175299.6533 | 0.6817 | 88.234 | 60233.4933 | 0.60602 | 89.6956 | 84635.15 | 0.94442 | 102.2699 | 610579.0533 | 25.2974 | 92.2064 | 304486.3633 | 0.39543 | 85.526 | 311435.3633 | 28.2752 | 76.1219 | 184986.3267 | 0.49962

## ValueList_Helper (hidden)
Bkgnd
BlkVrfy
CalBlk
CalStd
CICSpike
DilStd
DriftChk
FQBlk
IsoStd
QC1
QC2
QC3
QC4
QC5
Sample
Spike
Spike Ref
SQBlk
SQISTD
SQStd