## Sheet1
Sample | [7 empty] | 75 As [ He ] | 78 Se [ H2 ] | 78 Se [ He ] | 111 Cd [ No Gas ] | 111 Cd [ He ] | 114 Cd [ He ] | 121 Sb [ He ] | 123 Sb [ No Gas ] | 123 Sb [ He ] | 201 Hg [ No Gas ] | 201 Hg [ He ] | 202 Hg [ No Gas ] | 202 Hg [ He ] | 206 [Pb] [ No Gas ] | 206 [Pb] [ He ] | 207 [Pb] [ No Gas ] | 207 [Pb] [ He ] | 208 Pb [ No Gas ] | 208 Pb [ He ] | 238 U [ No Gas ] | 238 U [ He ] | 72 Ge ( ISTD ) [ He ] |  |  | 89 Y ( ISTD ) [ No Gas ] |  |  | 89 Y ( ISTD ) [ H2 ] |  |  | 89 Y ( ISTD ) [ He ] |  |  | 115 In ( ISTD ) [ He ] |  |  | 159 Tb ( ISTD ) [ No Gas ] |  |  | 159 Tb ( ISTD ) [ He ] |  |  | 209 Bi ( ISTD ) [ No Gas ] |  |  | 209 Bi ( ISTD ) [ He ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | Total Dil. | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD
| FALSE | 001SMPL.d | 2023-01-27 15:05 | Sample |  | blk | 1 | [22 empty] | 16218.6833 | 1.5691 |  | 766894.5367 | 0.37576 |  | 311589.6633 | 0.46595 |  | 118671.1933 | 0.15465 |  | 165055.7733 | 0.86993 |  | 912181.1833 | 0.37508 |  | 539265.3667 | 0.76096 |  | 564387.65 | 0.35062 |  | 405723.0267 | 0.58751
| FALSE | 002SMPL.d | 2023-01-27 15:08 | Sample |  | blk | 1 | [22 empty] | 15040.74 | 9.2748 |  | 763895.1933 | 0.29448 |  | 310999.2033 | 2.0017 |  | 108961.38 | 13.7141 |  | 151234.1467 | 12.5665 |  | 910691.8167 | 0.4981 |  | 500330.1433 | 13.0549 |  | 562457.96 | 0.90758 |  | 380020.8467 | 10.2101
| FALSE | 003SMPL.d | 2023-01-27 15:12 | CalBlk | 1 | blk | 1 | [21 empty] | 100 | 15744.7967 | 1.2814 | 100 | 741277.02 | 4.6186 | 100 | 311972.72 | 0.60261 | 100 | 116428.12 | 0.56906 | 100 | 161274.7333 | 0.89184 | 100 | 885841.31 | 4.7446 | 100 | 535952.23 | 0.1062 | 100 | 547531.5767 | 4.131 | 100 | 399185.4667 | 0.28138
| FALSE | 004CALB.d | 2023-01-27 15:16 | Sample |  | blk | 1 | [21 empty] | 99.3431 | 15641.3667 | 0.21785 | 112.6601 | 835123.4567 | 13.893 | 80.6872 | 251722.1267 | 12.0294 | 99.9422 | 116360.8367 | 1.6901 | 99.4423 | 160375.3333 | 0.66878 | 114.4144 | 1013529.8767 | 15.1063 | 99.867 | 535239.6433 | 0.59875 | 113.1492 | 619527.48 | 14.4656 | 100.4223 | 400871.3367 | 0.3551
| FALSE | 005CALS.d | 2023-01-27 15:20 | CalStd | 2 | curve 1 | 1 | 0.096157 | 0.1159 | <0.000 | 0.10237 | 0.1099 | 0.10727 | 0.10404 | 0.097382 | 0.10869 | <0.000 | <0.000 | <0.000 | <0.000 | 0.096257 | 0.094878 | 0.096377 | 0.10156 | 0.096519 | 0.097853 | 0.090856 | 0.094462 | 99.3713 | 15645.8067 | 3.1401 | 103.3589 | 766176.0167 | 0.77951 | 99.5881 | 310687.58 | 0.75645 | 100.5719 | 117093.9933 | 0.27365 | 100.3941 | 161910.38 | 0.30993 | 104.2373 | 923377.4267 | 0.32411 | 100.3783 | 537979.7167 | 0.56068 | 104.6104 | 572774.82 | 0.64601 | 99.7174 | 398057.4433 | 0.65873
| FALSE | 006CALS.d | 2023-01-27 15:24 | CalStd | 3 | curve 2 | 1 | 1.0288 | 1.53 | 0.89431 | 0.9486 | 1.0455 | 1.0469 | 1.0253 | 0.92425 | 1.0208 | 0.037006 | 0.030543 | 0.030297 | 0.035444 | 0.9535 | 1.0023 | 0.9559 | 1.0169 | 0.96296 | 1.0086 | 0.90631 | 0.95461 | 99.2512 | 15626.8967 | 0.45666 | 108.1221 | 801484.26 | 16.3424 | 68.0261 | 212222.8033 | 12.5988 | 99.031 | 115299.9033 | 0.45372 | 99.2192 | 160015.53 | 0.19316 | 110.0033 | 974454.9667 | 17.1567 | 98.9524 | 530337.52 | 0.35642 | 110.2912 | 603878.97 | 14.2471 | 99.1902 | 395952.71 | 0.35187
| FALSE | 007CALS.d | 2023-01-27 15:28 | CalStd | 4 | curve 2.5 (Hg only) | 1 | 2.019 | 1.983 | 1.688 | 1.9754 | 2.0659 | 2.0993 | 2.0698 | 1.9154 | 2.0616 | 0.097321 | 0.088748 | 0.086372 | 0.08584 | 2.0231 | 2.0137 | 2.0099 | 2.0153 | 2.0262 | 2.0168 | 1.9328 | 1.9425 | 98.8483 | 15563.4633 | 2.2537 | 102.9237 | 762950.04 | 0.68438 | 99.8017 | 311354.23 | 0.58818 | 98.5984 | 114796.2967 | 0.54435 | 98.4895 | 158838.62 | 0.32435 | 103.4579 | 916472.6167 | 0.59466 | 98.2456 | 526549.53 | 0.5932 | 104.0518 | 569716.5967 | 0.52473 | 99.4402 | 396950.6533 | 0.31812
| FALSE | 008CALS.d | 2023-01-27 15:31 | CalStd | 5 | curve 3 | 1 | 10.1285 | 10.1197 | 9.9009 | 10.1247 | 10.3651 | 10.3623 | 10.2077 | 9.739 | 10.2342 | 0.49253 | 0.4851 | 0.4901 | 0.47436 | 10.293 | 9.8585 | 10.248 | 9.9203 | 10.3092 | 9.982 | 10.0214 | 9.7346 | 96.6442 | 15216.4367 | 1.8132 | 98.7445 | 731970.3267 | 4.6885 | 99.4376 | 310218.2867 | 0.589 | 97.0431 | 112985.48 | 0.76385 | 96.6864 | 155930.68 | 0.52608 | 99.3744 | 880299.2333 | 4.5187 | 96.6928 | 518227.1167 | 0.58491 | 101.0292 | 553166.8167 | 3.6069 | 98.2342 | 392136.8 | 0.1115
| FALSE | 009CALS.d | 2023-01-27 15:35 | CalStd | 6 | curve 4 | 1 | 50.0038 | 49.3869 | 49.922 | 48.5675 | 50.6171 | 50.4724 | 50.2327 | 48.5278 | 50.2668 | 2.4369 | 2.4669 | 2.4808 | 2.4662 | 49.9835 | 48.6469 | 48.9454 | 48.8912 | 50.0152 | 49.6851 | 49.7035 | 50.4954 | 97.9228 | 15417.7433 | 1.7647 | 99.5225 | 737737.2633 | 0.3564 | 96.4237 | 300815.49 | 0.96473 | 96.4202 | 112260.2 | 0.6725 | 94.8687 | 152999.2633 | 0.52969 | 101.5866 | 899896.4433 | 0.44953 | 96.2391 | 515795.69 | 0.54971 | 102.2121 | 559643.38 | 0.57636 | 96.7104 | 386053.88 | 0.21549
| FALSE | 010CALS.d | 2023-01-27 15:39 | CalStd | 7 | curve 5 | 1 | 99.985 | 100.2892 | 100.0501 | 100.7043 | 99.6545 | 99.7271 | 99.8626 | 100.763 | 99.843 | 5.0325 | 5.0185 | 5.0111 | 5.0199 | 99.9794 | 100.6907 | 100.5029 | 100.5622 | 99.9619 | 100.1591 | 100.1471 | 99.7793 | 99.9152 | 15731.4433 | 0.16444 | 119.4465 | 885429.3667 | 62.5741 | 94.675 | 295360.13 | 1.5713 | 97.8794 | 113959.1633 | 0.24551 | 95.2783 | 153659.8933 | 0.18301 | 123.5553 | 1094504.1367 | 63.578 | 96.752 | 518544.5133 | 0.44177 | 121.9844 | 667903.2633 | 57.2361 | 95.8284 | 382532.9433 | 0.55984
| FALSE | 011SMPL.d | 2023-01-27 15:43 | Sample |  | blk | 1 | 0.034803 | 0.08558 | 0.025771 | 0.0071366 | 0.0035808 | 0.0070813 | 0.038403 | 0.046467 | 0.037384 | 0.053735 | 0.030457 | 0.046176 | 0.036972 | 0.016095 | 0.012786 | 0.012844 | 0.01488 | 0.014495 | 0.013302 | 0.048127 | 0.03315 | 98.9145 | 15573.8833 | 6.0652 | 100.3318 | 743736.7 | 0.29826 | 98.296 | 306656.7167 | 0.94608 | 102.1676 | 118951.7633 | 5.9623 | 100.4707 | 162033.8533 | 5.9062 | 101.6344 | 900319.25 | 0.32469 | 101.1388 | 542055.83 | 7.7245 | 105.1244 | 575589.48 | 0.38794 | 101.7713 | 406256.34 | 4.2934
| FALSE | 012SMPL.d | 2023-01-27 15:47 | Sample |  | blk | 1 | 0.017899 | 0.021479 | 0.030724 | 0.0027545 | 0.0027567 | 0.0012785 | 0.012816 | 0.0158 | 0.011082 | 0.025841 | 0.017856 | 0.012995 | 0.014895 | 0.0009814 | 0.0031473 | <0.000 | 0.0064705 | 0.0010144 | 0.0028488 | 0.0096843 | 0.0088318 | 100.4589 | 15817.0467 | 1.8087 | 100.016 | 741395.9667 | 0.50484 | 97.2707 | 303457.9567 | 0.51308 | 98.7337 | 114953.7533 | 0.5403 | 97.2327 | 156811.8233 | 0.35639 | 100.9017 | 893828.8233 | 0.24385 | 96.6336 | 517909.7267 | 0.4647 | 104.6335 | 572901.6467 | 0.281 | 99.1689 | 395867.9033 | 1.1199
| FALSE | 013_QC1.d | 2023-01-27 15:50 | QC1 |  | qc 1 | 1 | 5.1368 | 4.9361 | 4.7582 | 4.9835 | 5.2363 | 5.2101 | 5.1696 | 4.8571 | 5.2549 | 0.53053 | 0.51462 | 0.52811 | 0.5298 | 4.9577 | 4.9823 | 5.1652 | 5.1661 | 5.0965 | 5.0952 | 4.8095 | 4.8204 | 99.9645 | 15739.2067 | 1.8773 | 100.8243 | 747387.61 | 0.17512 | 101.7721 | 317501.0833 | 6.5646 | 98.8553 | 115095.4167 | 0.86986 | 97.7196 | 157596.9867 | 0.93836 | 102.6185 | 909037.3167 | 0.17992 | 97.5212 | 522667.1933 | 1.0959 | 104.7992 | 573808.7 | 0.67885 | 98.7592 | 394232.3567 | 0.62894
| FALSE | 014_QC2.d | 2023-01-27 15:54 | QC2 |  | qc 2 | 1 | 10.3812 | 10.181 | 10.5655 | 9.9894 | 10.4111 | 10.4508 | 10.3574 | 9.7118 | 10.3587 | 1.0473 | 1.0344 | 1.0316 | 1.0505 | 9.9097 | 9.7798 | 10.314 | 10.241 | 10.1907 | 10.0808 | 9.6688 | 9.5831 | 98.4458 | 15500.0833 | 0.98296 | 100.8719 | 747739.8933 | 0.28439 | 98.8411 | 308357.37 | 1.4661 | 99.5163 | 115864.9133 | 0.40722 | 99.1651 | 159928.2667 | 0.53713 | 102.381 | 906933.0067 | 0.18414 | 98.5612 | 528241.0567 | 0.062136 | 105.0199 | 575017.1633 | 0.37368 | 99.7689 | 398263.01 | 0.45372
| FALSE | 015_QC3.d | 2023-01-27 15:58 | QC3 |  | qc 3 | 1 | 51.4469 | 50.0576 | 51.0856 | 49.1906 | 51.3157 | 51.4402 | 51.5889 | 49.6205 | 51.7325 | 5.2453 | 5.2362 | 5.3295 | 5.2572 | 49.8616 | 48.9469 | 50.7781 | 51.1959 | 51.043 | 51.1089 | 50.3783 | 50.9307 | 99.9364 | 15734.79 | 2.2503 | 99.9217 | 740696.34 | 0.27406 | 97.3052 | 303565.58 | 0.61143 | 98.3748 | 114535.8833 | 0.22491 | 97.1126 | 156618.0333 | 0.67737 | 101.2599 | 897002.2867 | 0.50348 | 97.6696 | 523462.5733 | 0.37349 | 103.0638 | 564306.6867 | 0.57754 | 97.7311 | 390128.2767 | 0.70406
| FALSE | 016SMPL.d | 2023-01-27 16:01 | Sample |  | blk | 1 | 0.024201 | 0.056094 | <0.000 | 0.0043916 | 0.0017148 | 0.0017843 | 0.025006 | 0.034168 | 0.026798 | 0.075399 | 0.048855 | 0.061357 | 0.053032 | 0.008209 | 0.0066645 | 0.0047837 | 0.0067297 | 0.0069403 | 0.0067311 | 0.030795 | 0.021601 | 100.1203 | 15763.7433 | 2.3787 | 99.9612 | 740989.1033 | 0.12961 | 97.2911 | 303521.6167 | 0.35655 | 99.2472 | 115551.62 | 0.4993 | 98.1968 | 158366.62 | 0.40214 | 101.4598 | 898772.8567 | 0.23124 | 97.637 | 523287.8233 | 0.1671 | 104.2076 | 570569.5867 | 0.50046 | 98.8864 | 394740.1967 | 0.53345
| FALSE | 017SMPL.d | 2023-01-27 16:05 | Sample |  | blk | 1 | 0.011411 | 0.014141 | <0.000 | 0.0025877 | 0.0027774 | 0.0022341 | 0.010894 | 0.016286 | 0.0080211 | 0.040683 | 0.033784 | 0.032465 | 0.026957 | 0.0014453 | 0.0029781 | 0.0015813 | 0.001835 | 0.0037452 | 0.0016054 | 0.0090822 | 0.0078364 | 98.1558 | 15454.4233 | 0.65861 | 99.9011 | 740544.05 | 30.4476 | 96.9811 | 302554.4367 | 0.31265 | 98.5945 | 114791.67 | 0.37811 | 97.612 | 157423.5033 | 0.67168 | 101.6381 | 900351.85 | 29.7603 | 97.4623 | 522351.3567 | 0.56934 | 104.8618 | 574151.2367 | 28.6124 | 98.536 | 393341.41 | 0.40284
| FALSE | 018SMPL.d | 2023-01-27 16:09 | Sample |  | 172184-001 mj | 5 | 0.29628 | 0.45895 | 0.084884 | 0.24172 | 0.27644 | 0.34221 | 0.37096 | 0.35585 | 0.39478 | 0.46464 | 0.39845 | 0.36989 | 0.4102 | 0.74138 | 0.81843 | 0.81973 | 0.82469 | 0.77893 | 0.80618 | 0.09125 | 0.088904 | 98.8344 | 15561.27 | 2.2223 | 101.9084 | 755423.68 | 0.06786 | 97.8515 | 305270.02 | 0.23776 | 98.9283 | 115180.3967 | 0.93574 | 96.2544 | 155233.99 | 0.65626 | 104.4176 | 924974.0567 | 0.27125 | 98.6479 | 528705.8333 | 0.36078 | 103.888 | 568819.3467 | 0.15138 | 97.8864 | 390748.2333 | 0.46883
| FALSE | 019SMPL.d | 2023-01-27 16:13 | Sample |  | 172388-001 | 1 | 0.38814 | 1.1469 | 1.2302 | 0.0037092 | 0.0035718 | 0.0051013 | 0.12995 | 0.13421 | 0.1281 | 0.020405 | 0.0070948 | 0.012358 | 0.0098265 | 0.5458 | 0.55559 | 0.55406 | 0.57149 | 0.55486 | 0.56079 | 1.5843 | 1.5723 | 98.3253 | 15481.1233 | 1.5737 | 96.6648 | 716553.5833 | 0.12937 | 94.8567 | 295927.14 | 0.38023 | 97.056 | 113000.52 | 0.61463 | 95.9456 | 154736.0767 | 0.12546 | 101.3982 | 898227.0967 | 0.55832 | 96.7449 | 518506.2 | 0.77762 | 100.2738 | 549030.4667 | 0.5964 | 94.3402 | 376592.4733 | 0.35261
| FALSE | 020SMPL.d | 2023-01-27 16:16 | Sample |  | 172389-001 | 1 | 1.4536 | 0.11111 | 0.22181 | 0.011188 | 0.0086306 | 0.0096312 | 0.4598 | 0.45013 | 0.46281 | 0.0064495 | <0.000 | <0.000 | <0.000 | 1.2077 | 1.197 | 1.2163 | 1.2111 | 1.2195 | 1.2218 | 0.25252 | 0.24926 | 95.9094 | 15100.7333 | 1.9584 | 91.5636 | 678739.9867 | 0.77043 | 90.3206 | 281775.6733 | 1.0217 | 95.2294 | 110873.8 | 0.59362 | 89.3316 | 144069.2233 | 0.94974 | 95.0355 | 841864.1133 | 0.59872 | 91.4186 | 489960.25 | 0.48858 | 90.6006 | 496066.65 | 0.43228 | 85.63 | 341822.71 | 0.5328
| FALSE | 021SMPL.d | 2023-01-27 16:20 | Sample |  | 172392-002 | 1 | 0.11494 | 0.038167 | <0.000 | 0.0018238 | 0.0032468 | 0.006236 | 0.11889 | 0.11752 | 0.12317 | <0.000 | <0.000 | <0.000 | <0.000 | 2.8513 | 2.8368 | 2.9265 | 2.9185 | 2.9024 | 2.8851 | 0.053326 | 0.050805 | 96.6299 | 15214.18 | 2.0296 | 97.8126 | 725062.4367 | 0.24632 | 94.8569 | 295927.6267 | 0.38014 | 96.698 | 112583.6933 | 0.85979 | 94.5812 | 152535.52 | 0.41595 | 101.6963 | 900868.0967 | 0.89399 | 96.2203 | 515694.6867 | 0.34441 | 102.0015 | 558490.4033 | 0.11107 | 95.8234 | 382513.1167 | 0.33579
| FALSE | 022SMPL.d | 2023-01-27 16:24 | Sample |  | 172415-001 | 1 | 0.023615 | 0.024513 | <0.000 | 0.0031552 | 0.0014821 | 0.0049334 | 0.087888 | 0.085001 | 0.088555 | <0.000 | <0.000 | <0.000 | <0.000 | 1.3445 | 1.3585 | 1.3771 | 1.3962 | 1.3713 | 1.374 | 0.0021747 | 0.0025404 | 97.4357 | 15341.0533 | 2.1958 | 98.4697 | 729933.45 | 0.15095 | 95.2845 | 297261.5867 | 1.2708 | 97.3256 | 113314.3967 | 1.1691 | 97.3321 | 156972.0933 | 0.63935 | 102.5397 | 908338.8233 | 0.22499 | 97.4872 | 522485.0567 | 0.5402 | 104.841 | 574037.7133 | 0.3327 | 98.8153 | 394456.5067 | 0.86601
| FALSE | 023SMPL.d | 2023-01-27 16:28 | Sample |  | 172395-001 | 1 | 7.6396 | 0.41926 | 0.39736 | 0.057213 | 0.061444 | 0.063163 | 0.55177 | 0.51905 | 0.54199 | <0.000 | <0.000 | <0.000 | <0.000 | 0.69291 | 0.70713 | 0.69658 | 0.71435 | 0.70678 | 0.70875 | 0.041152 | 0.04215 | 95.9798 | 15111.83 | 1.193 | 98.224 | 728111.71 | 0.64688 | 95.6206 | 298310.1867 | 0.9721 | 97.6034 | 113637.78 | 0.91288 | 94.3567 | 152173.5133 | 0.82884 | 100.5279 | 890517.2967 | 0.35748 | 95.7538 | 513194.6833 | 0.6421 | 100.8875 | 552390.7133 | 0.37546 | 94.9355 | 378968.7933 | 0.081724
| FALSE | 024SMPL.d | 2023-01-27 16:31 | Sample |  | 172397-001 | 1 | 0.83098 | 0.19298 | 0.082532 | 0.01648 | 0.020435 | 0.016953 | 0.12469 | 0.11571 | 0.12344 | <0.000 | <0.000 | <0.000 | <0.000 | 0.97413 | 0.97794 | 0.99889 | 1.006 | 0.98897 | 0.99287 | 0.38996 | 0.38832 | 96.298 | 15161.9167 | 2.415 | 97.1233 | 719953.0033 | 0.35595 | 93.0899 | 290415.1767 | 0.52175 | 95.4706 | 111154.6533 | 0.59756 | 94.9773 | 153174.31 | 0.8051 | 101.5738 | 899782.3633 | 0.51225 | 96.6568 | 518034.52 | 1.0197 | 101.8935 | 557898.8267 | 0.5334 | 95.2071 | 380052.9733 | 0.64651
| FALSE | 025SMPL.d | 2023-01-27 16:35 | Sample |  | 172398-001 | 1 | 0.013111 | 0.0036095 | <0.000 | <0.000 | <0.000 | 0.00034766 | 0.077736 | 0.083189 | 0.083448 | <0.000 | <0.000 | <0.000 | <0.000 | 0.53393 | 0.54971 | 0.55327 | 0.55175 | 0.54359 | 0.55032 | 0.0022413 | 0.0021424 | 105.1787 | 16560.1767 | 1.2593 | 95.8969 | 710861.9333 | 0.27294 | 93.2828 | 291016.8833 | 1.1157 | 94.0906 | 109547.9633 | 1.2572 | 92.5694 | 149291.1333 | 0.5969 | 99.1059 | 877921.28 | 0.18732 | 93.9266 | 503401.7867 | 0.25727 | 99.4701 | 544630.2033 | 0.67961 | 93.3276 | 372550.3567 | 0.34907
| FALSE | 026SMPL.d | 2023-01-27 16:39 | Sample |  | 172400-001 | 1 | 0.34942 | 0.25625 | 0.40589 | 0.0056605 | 0.0037873 | 0.0080718 | 0.17349 | 0.16513 | 0.18182 | <0.000 | <0.000 | <0.000 | <0.000 | 0.27946 | 0.28434 | 0.28276 | 0.2812 | 0.2833 | 0.28301 | 0.007578 | 0.0073595 | 93.7267 | 14757.08 | 0.91408 | 96.7944 | 717514.37 | 0.34778 | 94.2716 | 294101.81 | 0.61865 | 94.5778 | 110115.1733 | 1.2581 | 94.1444 | 151831.1467 | 0.78139 | 100.6992 | 892034.99 | 0.79156 | 95.244 | 510462.4267 | 0.86632 | 103.5701 | 567078.8467 | 0.35204 | 97.1216 | 387695.1567 | 0.61383
| FALSE | 027SMPL.d | 2023-01-27 16:43 | Sample |  | 172403-001 T.As | 1 | 0.16403 | 0.03641 | <0.000 | 0.0052669 | 0.0013383 | 0.0038464 | 0.23488 | 0.25247 | 0.22978 | <0.000 | <0.000 | 0.0020916 | <0.000 | 0.92581 | 0.83804 | 0.96051 | 0.83889 | 0.94705 | 0.83258 | 0.0014842 | 0.0020381 | 95.2948 | 15003.97 | 1.6481 | 88.3591 | 654985.9833 | 27.3445 | 95.0408 | 296501.5167 | 0.35969 | 94.7531 | 110319.3033 | 3.2934 | 94.7831 | 152861.1533 | 2.7853 | 91.0914 | 806925.52 | 27.0883 | 94.9753 | 509022.1 | 2.6342 | 93.4718 | 511787.8167 | 23.8801 | 96.2042 | 384033.1433 | 2.6732
| FALSE | 028_QC2.d | 2023-01-27 16:46 | QC2 |  | qc 2 | 1 | 10.0761 | 9.9924 | 10.0664 | 9.9661 | 10.3212 | 10.2882 | 10.3542 | 9.7401 | 10.3917 | 0.98238 | 1.0383 | 1.0186 | 1.0337 | 9.8868 | 9.8813 | 10.2466 | 10.2442 | 10.1297 | 10.1378 | 9.3217 | 9.4198 | 96.8206 | 15244.2067 | 1.5394 | 98.9438 | 733447.5833 | 0.21751 | 95.9989 | 299490.5067 | 1.7619 | 97.7612 | 113821.5733 | 0.858 | 97.0987 | 156595.63 | 0.38218 | 102.1579 | 904956.92 | 0.14524 | 97.3859 | 521941.7333 | 0.5732 | 104.1112 | 570041.6967 | 0.10659 | 98.1194 | 391678.3433 | 1.2041
| FALSE | 029SMPL.d | 2023-01-27 16:50 | Sample |  | blk | 1 | 0.0046408 | 0.020737 | <0.000 | 0.0013873 | 0.00081574 | 0.0027658 | 0.0062693 | 0.012685 | 0.0072484 | 0.012448 | 0.0024511 | 0.0075323 | 0.0013147 | <0.000 | 0.00061837 | <0.000 | 9.9074e-05 | <0.000 | 0.0059922 | 0.013996 | 0.0096784 | 96.5452 | 15200.8433 | 0.67676 | 98.4339 | 729668.0033 | 0.26878 | 96.6955 | 301663.4833 | 0.91653 | 96.9657 | 112895.3967 | 1.2805 | 96.6442 | 155862.6333 | 0.78037 | 100.9143 | 893940.75 | 0.35033 | 96.7848 | 518720.0433 | 1.2348 | 103.9706 | 569272.1167 | 0.11861 | 99.3218 | 396478.0667 | 1.0713
| FALSE | 030SMPL.d | 2023-01-27 16:54 | Sample |  | 172403-002 T.As | 1 | 0.22377 | 0.036754 | <0.000 | 0.0020452 | 0.0040534 | 0.0008194 | 0.35923 | 0.32899 | 0.34444 | <0.000 | <0.000 | <0.000 | <0.000 | 0.099009 | 0.10505 | 0.10322 | 0.10463 | 0.10408 | 0.10421 | 0.0014521 | 0.0013141 | 94.3833 | 14860.4533 | 2.0783 | 96.3536 | 714247.0733 | 0.67772 | 94.0753 | 293489.4 | 1.043 | 95.4883 | 111175.2633 | 0.3793 | 94.1908 | 151905.9133 | 0.49735 | 100.2174 | 887767.42 | 0.24066 | 95.0748 | 509555.4233 | 0.46281 | 100.903 | 552475.6733 | 0.41899 | 95.6814 | 381946.1767 | 0.446
| FALSE | 031SMPL.d | 2023-01-27 16:58 | Sample |  | 172406-001 | 1 | 0.34109 | 0.035276 | 0.10034 | 0.022615 | 0.018468 | 0.017506 | 0.088033 | 0.10766 | 0.085548 | 0.00015892 | <0.000 | <0.000 | <0.000 | 0.51862 | 0.41661 | 0.52347 | 0.43342 | 0.51932 | 0.42166 | 0.26852 | 0.21991 | 93.359 | 14699.18 | 2.3607 | 94.0894 | 697463.3 | 12.7815 | 106.4633 | 332136.5833 | 0.46905 | 108.148 | 125914.6567 | 0.35552 | 93.921 | 151470.8433 | 0.83324 | 84.4312 | 747926.3467 | 15.5998 | 95.4917 | 511789.8867 | 1.4116 | 84.879 | 464739.3733 | 13.4477 | 95.1341 | 379761.4933 | 0.41777
| FALSE | 032SMPL.d | 2023-01-27 17:01 | Sample |  | 172407-001 rush | 1 | 2.2792 | 0.041539 | 0.042627 | <0.000 | <0.000 | <0.000 | 0.083715 | 0.065289 | 0.086607 | <0.000 | <0.000 | <0.000 | <0.000 | 0.19651 | 0.23843 | 0.20133 | 0.24809 | 0.20313 | 0.24376 | 0.039731 | 0.044765 | 101.5704 | 15992.0567 | 9.6505 | 113.3213 | 840025.1233 | 35.0163 | 93.7524 | 292482.06 | 44.0728 | 92.6463 | 107866.33 | 17.8616 | 91.6608 | 147825.64 | 17.7521 | 118.4964 | 1049689.76 | 34.8619 | 96.0315 | 514683.13 | 19.9126 | 117.6281 | 644051.0867 | 32.8452 | 92.9441 | 371019.4267 | 15.3638
| FALSE | 033SMPL.d | 2023-01-27 17:05 | Sample |  | 172408-001 | 1 | 48.068 | 0.0080077 | <0.000 | <0.000 | <0.000 | <0.000 | 0.069462 | 0.064846 | 0.075919 | <0.000 | <0.000 | <0.000 | <0.000 | 0.321 | 0.32163 | 0.33048 | 0.34092 | 0.32882 | 0.33584 | 0.011381 | 0.011319 | 95.1817 | 14986.1667 | 2.1649 | 93.8647 | 695797.6967 | 0.31653 | 92.2424 | 287771.07 | 0.60471 | 92.1548 | 107294.11 | 0.74424 | 90.2332 | 145523.3667 | 0.67256 | 98.1516 | 869467.27 | 0.3934 | 93.1033 | 498989.4333 | 0.11947 | 97.6034 | 534409.37 | 0.74109 | 90.9988 | 363253.82 | 0.34292
| FALSE | 034SMPL.d | 2023-01-27 17:09 | Sample |  | 172409-001 | 1 | 0.6845 | 0.99494 | 0.95214 | 0.010925 | 0.0083731 | 0.013281 | 0.11186 | 0.10788 | 0.12182 | <0.000 | <0.000 | <0.000 | <0.000 | 22.3702 | 22.3647 | 23.7605 | 23.9388 | 23.3639 | 23.1559 | 0.013336 | 0.013346 | 95.5493 | 15044.0433 | 1.2168 | 96.2559 | 713523.1233 | 0.74776 | 93.1412 | 290575.0767 | 0.52414 | 94.4164 | 109927.2833 | 0.13434 | 93.6495 | 151033.0567 | 0.26527 | 100.7243 | 892257.1667 | 0.11641 | 95.5035 | 511853.28 | 0.66726 | 102.3993 | 560668.47 | 0.55222 | 96.7588 | 386247.1733 | 0.10642
| FALSE | 035SMPL.d | 2023-01-27 17:13 | Sample |  | 172412-001 | 1 | 1.207 | 0.080042 | <0.000 | 0.001584 | <0.000 | <0.000 | 0.09591 | 0.10515 | 0.090322 | <0.000 | <0.000 | <0.000 | <0.000 | 0.29642 | 0.26965 | 0.28937 | 0.2772 | 0.29507 | 0.27491 | 0.22708 | 0.20479 | 93.8396 | 14774.85 | 0.60267 | 95.0487 | 704573.83 | 36.8679 | 92.3354 | 288061.21 | 1.3866 | 93.9184 | 109347.3767 | 1.3186 | 94.096 | 151753.0667 | 0.40939 | 99.7135 | 883303.2067 | 37.1195 | 95.6953 | 512881.36 | 0.55861 | 100.9147 | 552540.09 | 32.9319 | 95.6162 | 381685.9133 | 0.39783
| FALSE | 036SMPL.d | 2023-01-27 17:16 | Sample |  | 172413-001 | 1 | 1.8082 | 0.0068141 | <0.000 | 0.010659 | 0.0064373 | 0.017415 | 0.072771 | 0.072156 | 0.07058 | <0.000 | <0.000 | <0.000 | <0.000 | 2.0107 | 2.0167 | 2.0723 | 2.0788 | 2.04 | 2.0536 | 4.1256 | 4.1156 | 93.3024 | 14690.27 | 0.88344 | 97.8404 | 725268.0433 | 0.40687 | 95.9033 | 299192.2167 | 0.34125 | 95.9353 | 111695.64 | 1.3083 | 93.2511 | 150390.41 | 0.32264 | 100.3054 | 888546.4967 | 0.5131 | 95.1941 | 510195.1433 | 0.63852 | 101.5398 | 555962.29 | 0.44322 | 95.3691 | 380699.39 | 0.59913
| FALSE | 037SMPL.d | 2023-01-27 17:20 | Sample |  | 172413-002 | 1 | 1.7931 | 0.0028231 | 0.011719 | 0.0045124 | 0.00040888 | 0.00092949 | 0.064101 | 0.057465 | 0.06543 | <0.000 | <0.000 | <0.000 | <0.000 | 0.26476 | 0.26383 | 0.25633 | 0.25962 | 0.25974 | 0.25989 | 4.5867 | 4.6039 | 91.148 | 14351.0733 | 1.2714 | 93.4421 | 692664.6933 | 0.38464 | 92.0608 | 287204.5233 | 1.2051 | 91.9759 | 107085.7733 | 1.3251 | 91.0958 | 146914.49 | 0.61743 | 98.0204 | 868304.7633 | 0.76392 | 93.4823 | 501020.6 | 0.68342 | 97.009 | 531154.8433 | 0.67727 | 92.2306 | 368171.3033 | 0.20734
| FALSE | 038SMPL.d | 2023-01-27 17:24 | Sample |  | 172419-003 | 1 | 0.43509 | 0.057463 | <0.000 | 0.032995 | 0.038889 | 0.04015 | 0.2547 | 0.23215 | 0.24485 | <0.000 | <0.000 | <0.000 | <0.000 | 0.61315 | 0.6081 | 0.63188 | 0.63763 | 0.62767 | 0.62013 | 0.053992 | 0.052899 | 91.0204 | 14330.9767 | 1.4786 | 93.602 | 693850.0167 | 0.56315 | 91.0435 | 284030.77 | 0.15319 | 91.5471 | 106586.5767 | 0.75874 | 90.1119 | 145327.7067 | 0.23253 | 97.2904 | 861838.7967 | 0.61401 | 92.2265 | 494289.81 | 0.68878 | 93.2716 | 510691.52 | 0.36754 | 88.6943 | 354054.57 | 0.48533
| FALSE | 039SMPL.d | 2023-01-27 17:28 | Sample |  | 172419-004 D.ICP | 1 | 0.35241 | 0.047072 | 0.098753 | 0.009082 | 0.0087717 | 0.0095142 | 0.33237 | 0.32181 | 0.3349 | <0.000 | <0.000 | <0.000 | <0.000 | 0.32669 | 0.32512 | 0.34157 | 0.33537 | 0.33249 | 0.32622 | 0.03218 | 0.03152 | 90.9784 | 14324.36 | 1.3203 | 92.5734 | 686225.25 | 0.26889 | 90.7227 | 283030.2133 | 0.23756 | 91.6047 | 106653.5967 | 0.15913 | 88.7021 | 143054.14 | 0.27787 | 96.5282 | 855086.7833 | 0.20015 | 92.1459 | 493858.2433 | 0.61971 | 92.2784 | 505253.3467 | 0.64671 | 87.7676 | 350355.4567 | 0.40676
| FALSE | 040_QC2.d | 2023-01-27 17:31 | QC2 |  | qc 2 | 1 | 10.1607 | 10.0023 | 10.0951 | 9.9911 | 10.4896 | 10.4949 | 10.4374 | 9.7343 | 10.5896 | 1.0081 | 1.0259 | 1.0222 | 1.0243 | 9.8844 | 9.9277 | 10.2293 | 10.2758 | 10.1071 | 10.1439 | 9.0026 | 9.0347 | 94.7364 | 14916.06 | 1.0034 | 98.099 | 727185.6667 | 0.59165 | 95.0304 | 296468.86 | 1.8925 | 93.8923 | 109317.0067 | 0.8703 | 94.5517 | 152488.08 | 0.27928 | 101.4417 | 898612.8333 | 0.56652 | 96.0177 | 514609.15 | 1.0618 | 102.9052 | 563438.35 | 0.19191 | 97.3433 | 388580.1367 | 0.47598
| FALSE | 041SMPL.d | 2023-01-27 17:35 | Sample |  | blk | 1 | 0.0051611 | 0.022811 | <0.000 | 0.0026177 | 0.0041511 | 0.0027661 | 0.010209 | 0.012611 | 0.011343 | 0.014836 | 0.0056122 | 0.0079007 | 0.0018099 | 0.0016633 | <0.000 | 1.0089e-05 | 0.0040257 | 0.0032094 | 0.00095342 | 0.017519 | 0.013179 | 93.8468 | 14775.99 | 1.3168 | 88.5177 | 656161.73 | 10.1285 | 95.2405 | 297124.26 | 0.56423 | 94.0224 | 109468.48 | 1.1233 | 94.6075 | 152577.9133 | 0.23154 | 91.6045 | 811470.8567 | 10.2957 | 95.9767 | 514389.3667 | 0.59962 | 92.4646 | 506272.8267 | 6.5807 | 98.1489 | 391796.28 | 0.5336
| FALSE | 042SMPL.d | 2023-01-27 17:39 | Sample |  | 172387-001 mj | 5 | 0.077392 | 1.4182 | 1.9419 | 0.39686 | 0.39771 | 0.39754 | 0.52284 | 0.43973 | 0.51859 | 0.047746 | <0.000 | 0.033363 | 0.011259 | 1.6071 | 1.6941 | 1.5896 | 1.7354 | 1.6219 | 1.7071 | 0.032878 | 0.032771 | 91.3106 | 14376.6633 | 1.0362 | 101.3518 | 751297.4033 | 1.4499 | 100.5243 | 313608.3833 | 1.6884 | 95.2947 | 110949.85 | 0.6386 | 94.2825 | 152053.8167 | 0.79855 | 106.0555 | 939483.4233 | 2.0377 | 98.0966 | 525751.1333 | 0.39417 | 105.8811 | 579732.3167 | 2.2741 | 99.7138 | 398042.99 | 0.44533
| FALSE | 043SMPL.d | 2023-01-27 17:42 | Sample |  | 172387-002 mj? | 1 | 0.0099044 | 0.0082672 | <0.000 | 0.012488 | 0.0062148 | 0.0095629 | 0.063719 | 0.059879 | 0.068622 | <0.000 | <0.000 | <0.000 | <0.000 | 0.59857 | 0.59927 | 0.61082 | 0.62035 | 0.61106 | 0.61269 | 0.0028509 | 0.0029493 | 91.2254 | 14363.2533 | 0.208 | 97.5786 | 723327.9267 | 0.21074 | 97.2061 | 303256.4867 | 1.2124 | 94.7925 | 110365.15 | 0.55278 | 92.7886 | 149644.4967 | 1.1318 | 99.8428 | 884448.5433 | 0.51451 | 96.4131 | 516728.1733 | 0.50658 | 99.9229 | 547109.4367 | 0.82502 | 97.0537 | 387424.3433 | 0.44087
| FALSE | 044SMPL.d | 2023-01-27 17:46 | Sample |  | 172387-003 mj? | 1 | 0.014403 | 0.051269 | <0.000 | <0.000 | <0.000 | 0.0068459 | 0.066715 | 0.058265 | 0.071605 | <0.000 | <0.000 | <0.000 | <0.000 | 0.1436 | 0.16824 | 0.15177 | 0.1746 | 0.14783 | 0.16372 | 0.0036019 | 0.0039849 | 90.9432 | 14318.8233 | 1.345 | 104.6065 | 775423.6 | 9.6927 | 87.7315 | 273698.2567 | 6.691 | 95.3795 | 111048.5767 | 1.7851 | 96.0528 | 154908.9133 | 0.58026 | 107.4193 | 951564.17 | 9.8349 | 97.4533 | 522302.9733 | 0.7222 | 108.3332 | 593158.3267 | 7.7166 | 100.2832 | 400315.8067 | 0.32038
| FALSE | 045SMPL.d | 2023-01-27 17:50 | Sample |  | 172387-004 mj? | 1 | 0.014209 | 0.087794 | 0.0097171 | 0.0098242 | 0.0094356 | 0.0097961 | 0.063563 | 0.054326 | 0.062442 | <0.000 | <0.000 | <0.000 | <0.000 | 0.32814 | 0.34866 | 0.34831 | 0.35785 | 0.33629 | 0.34766 | 0.0027644 | 0.0018581 | 92.8219 | 14614.6233 | 0.5009 | 98.8948 | 733084.65 | 0.46899 | 98.6609 | 307795.1967 | 0.53787 | 96.8408 | 112749.9733 | 0.52139 | 95.9793 | 154790.29 | 1.1481 | 100.9704 | 894437.4667 | 0.133 | 98.2456 | 526549.6867 | 0.70381 | 106.5976 | 583655.4367 | 0.62295 | 103.4291 | 412874.0033 | 0.20262
| FALSE | 046SMPL.d | 2023-01-27 17:54 | Sample |  | 172423-001 | 1 | 0.08177 | 0.25361 | 0.16294 | 0.0036759 | <0.000 | 0.0023804 | 0.10251 | 0.098818 | 0.10141 | 0.11188 | 0.10179 | 0.094061 | 0.10843 | 0.81885 | 0.82033 | 0.85754 | 0.85779 | 0.84368 | 0.84607 | 0.019952 | 0.01857 | 90.9216 | 14315.4267 | 1.5765 | 92.1366 | 682987.6167 | 0.71421 | 91.378 | 285074.4633 | 0.70917 | 90.2469 | 105072.79 | 0.30989 | 90.2471 | 145545.8033 | 0.76969 | 96.3242 | 853279.13 | 0.73336 | 92.8068 | 497400.1433 | 0.015971 | 94.932 | 519782.58 | 0.5844 | 91.2194 | 364134.76 | 0.38157
| FALSE | 047_QC1.d | 2023-01-27 17:57 | QC1 |  | qc 1 | 1 | 5.1002 | 4.8715 | 4.5149 | 5.8469 | 5.2576 | 5.2176 | 5.22 | 5.7051 | 5.181 | 0.56953 | 0.50189 | 0.58834 | 0.51302 | 5.7117 | 4.9755 | 5.9336 | 5.1804 | 5.8566 | 5.1048 | 4.9919 | 4.3406 | 93.7972 | 14768.1767 | 1.0052 | 89.2145 | 661326.3767 | 29.6176 | 94.8095 | 295779.9133 | 1.595 | 95.1313 | 110759.5867 | 0.45794 | 95.3526 | 153779.6767 | 0.56288 | 94.4445 | 836628.76 | 30.2029 | 96.3974 | 516644.18 | 0.34214 | 93.648 | 512752.2067 | 24.7777 | 96.9122 | 386859.4033 | 0.27275
| FALSE | 048_QC2.d | 2023-01-27 18:01 | QC2 |  | qc 2 | 1 | 10.0899 | 10.1407 | 10.3429 | 10.048 | 10.4629 | 10.4041 | 10.398 | 9.8917 | 10.4149 | 1.0443 | 1.0372 | 1.0073 | 1.0323 | 9.9664 | 9.8802 | 10.3353 | 10.2691 | 10.1957 | 10.1377 | 8.7389 | 8.5884 | 94.885 | 14939.45 | 1.6709 | 96.0982 | 712353.8167 | 0.93086 | 94.4851 | 294767.8733 | 0.32071 | 95.2531 | 110901.41 | 0.72645 | 95.8133 | 154522.61 | 0.604 | 100.9172 | 893966.42 | 0.15942 | 96.4208 | 516769.5233 | 0.42939 | 101.1373 | 553758.91 | 0.048539 | 96.4899 | 385173.69 | 0.22096
| FALSE | 049_QC3.d | 2023-01-27 18:05 | QC3 |  | qc 3 | 1 | 50.7535 | 49.7294 | 48.1602 | 50.6866 | 52.1605 | 52.3337 | 52.8416 | 52.3781 | 52.9234 | 5.2716 | 5.3166 | 5.3984 | 5.2874 | 51.2214 | 49.8313 | 52.5474 | 51.9649 | 53.2612 | 52.6224 | 49.4787 | 49.8842 | 93.5709 | 14732.55 | 0.70018 | 93.8792 | 695904.93 | 2.0863 | 93.7919 | 292605.26 | 0.77443 | 92.9795 | 108254.24 | 2.8263 | 93.0512 | 150068.01 | 2.0061 | 98.0508 | 868574.6567 | 2.8127 | 94.41 | 505992.3167 | 1.7858 | 97.2883 | 532684.1833 | 2.3888 | 93.4648 | 373097.7667 | 1.6436
| FALSE | 050SMPL.d | 2023-01-27 18:08 | Sample |  | curve 4 | 1 | 48.5731 | 48.8958 | 48.827 | 50.4876 | 50.4558 | 50.3128 | 50.5807 | 52.3588 | 50.7107 | 2.5662 | 2.4989 | 2.6221 | 2.4879 | 52.6057 | 48.6715 | 50.9591 | 48.6405 | 52.8617 | 50.4035 | 49.3452 | 47.5744 | 92.9212 | 14630.26 | 2.3914 | 92.8303 | 688129.3667 | 10.5007 | 93.6859 | 292274.3567 | 0.27302 | 95.2303 | 110874.8 | 0.9069 | 95.3959 | 153849.4767 | 1.574 | 97.752 | 865927.19 | 10.5397 | 96.3296 | 516280.7933 | 0.31577 | 95.9421 | 525313.39 | 6.3855 | 95.2647 | 380282.97 | 0.41998

## ValueList_Helper (hidden)
Bkgnd
BlkVrfy
CalBlk
CalStd
CICSpike
DilStd
DriftChk
FQBlk
IsoStd
QC1
QC2
QC3
QC4
QC5
Sample
Spike
Spike Ref
SQBlk
SQISTD
SQStd