## Sheet1
Sample | [6 empty] | 75 As [ He ] | 78 Se [ H2 ] | 78 Se [ He ] | 111 Cd [ No Gas ] | 111 Cd [ He ] | 114 Cd [ He ] | 121 Sb [ He ] | 123 Sb [ No Gas ] | 123 Sb [ He ] | 201 Hg [ No Gas ] | 201 Hg [ He ] | 202 Hg [ No Gas ] | 202 Hg [ He ] | 206 [Pb] [ No Gas ] | 206 [Pb] [ He ] | 207 [Pb] [ No Gas ] | 207 [Pb] [ He ] | 208 Pb [ No Gas ] | 208 Pb [ He ] | 238 U [ No Gas ] | 238 U [ He ] | 72 Ge ( ISTD ) [ He ] |  |  | 89 Y ( ISTD ) [ No Gas ] |  |  | 89 Y ( ISTD ) [ H2 ] |  |  | 89 Y ( ISTD ) [ He ] |  |  | 115 In ( ISTD ) [ He ] |  |  | 159 Tb ( ISTD ) [ No Gas ] |  |  | 159 Tb ( ISTD ) [ He ] |  |  | 209 Bi ( ISTD ) [ No Gas ] |  |  | 209 Bi ( ISTD ) [ He ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD
| TRUE | 001SMPL.d | 2023-04-28 13:13 | Sample |  | blk
| TRUE | 002SMPL.d | 2023-04-28 13:16 | Sample |  | blk
| TRUE | 003SMPL.d | 2023-04-28 13:20 | Sample |  | blk
| TRUE | 004CALB.d | 2023-04-28 13:24 | CalBlk | 1 | blk
| TRUE | 005CALS.d | 2023-04-28 13:27 | CalStd | 2 | curve 1
| TRUE | 006CALS.d | 2023-04-28 13:31 | CalStd | 3 | curve 2
| TRUE | 007CALS.d | 2023-04-28 13:35 | CalStd | 4 | curve 2.5 (Hg only)
| TRUE | 008CALS.d | 2023-04-28 13:39 | CalStd | 5 | curve 3
| TRUE | 009CALS.d | 2023-04-28 13:43 | CalStd | 6 | curve 4
| TRUE | 010CALS.d | 2023-04-28 13:47 | CalStd | 7 | curve 5
| TRUE | 011SMPL.d | 2023-04-28 13:51 | Sample |  | blk
| TRUE | 012SMPL.d | 2023-04-28 13:54 | Sample |  | blk
| TRUE | 013CALB.d | 2023-04-28 13:58 | CalBlk | 1 | blk
| TRUE | 014CALS.d | 2023-04-28 14:02 | CalStd | 2 | curve 1
| TRUE | 015SMPL.d | 2023-04-28 14:08 | Sample |  | blk
| TRUE | 016SMPL.d | 2023-04-28 14:11 | Sample |  | blk
| TRUE | 017CALB.d | 2023-04-28 14:15 | CalBlk | 1 | blk
| TRUE | 018CALS.d | 2023-04-28 14:19 | CalStd | 2 | curve 1
| TRUE | 019CALS.d | 2023-04-28 14:23 | CalStd | 3 | curve 2
| TRUE | 020CALS.d | 2023-04-28 14:27 | CalStd | 4 | curve 2.5 (Hg only)
| TRUE | 021CALS.d | 2023-04-28 14:31 | CalStd | 5 | curve 3
| TRUE | 022CALS.d | 2023-04-28 14:34 | CalStd | 6 | curve 4
| TRUE | 023CALS.d | 2023-04-28 14:38 | CalStd | 7 | curve 5
| TRUE | 024SMPL.d | 2023-04-28 14:42 | Sample |  | blk
| TRUE | 025SMPL.d | 2023-04-28 14:46 | Sample |  | blk
| TRUE | 026_QC1.d | 2023-04-28 14:49 | QC1 |  | qc 1
| TRUE | 027_QC2.d | 2023-04-28 14:53 | QC2 |  | qc 2
| TRUE | 028_QC3.d | 2023-04-28 14:57 | QC3 |  | qc 3
| TRUE | 029SMPL.d | 2023-04-28 15:01 | Sample |  | blk
| TRUE | 030SMPL.d | 2023-04-28 15:04 | Sample |  | blk
| TRUE | 031SMPL.d | 2023-04-28 15:08 | Sample |  | 173960-001
| TRUE | 032SMPL.d | 2023-04-28 15:12 | Sample |  | 173960-002
| TRUE | 033SMPL.d | 2023-04-28 15:16 | Sample |  | 173963-001
| TRUE | 034SMPL.d | 2023-04-28 15:19 | Sample |  | 173964-001
| TRUE | 035SMPL.d | 2023-04-28 15:23 | Sample |  | 173965-001
| TRUE | 036SMPL.d | 2023-04-28 15:27 | Sample |  | 173966-001
| TRUE | 037SMPL.d | 2023-04-28 15:31 | Sample |  | 173967-001
| TRUE | 038SMPL.d | 2023-04-28 15:34 | Sample |  | 173968-001
| TRUE | 039SMPL.d | 2023-04-28 15:38 | Sample |  | 173969-001
| TRUE | 040SMPL.d | 2023-04-28 15:42 | Sample |  | 173971-001 rush
| TRUE | 041_QC2.d | 2023-04-28 15:46 | QC2 |  | qc 2
| TRUE | 042SMPL.d | 2023-04-28 15:49 | Sample |  | blk
| TRUE | 043SMPL.d | 2023-04-28 15:53 | Sample |  | 173972-001
| TRUE | 044SMPL.d | 2023-04-28 15:57 | Sample |  | 173973-001
| TRUE | 045SMPL.d | 2023-04-28 16:01 | Sample |  | 173974-001
| TRUE | 046SMPL.d | 2023-04-28 16:04 | Sample |  | 173975-001
| TRUE | 047SMPL.d | 2023-04-28 16:08 | Sample |  | 173976-001 Pb
| TRUE | 048SMPL.d | 2023-04-28 16:12 | Sample |  | 173976-002 Pb
| TRUE | 049SMPL.d | 2023-04-28 16:16 | Sample |  | 173977-001
| FALSE | 050SMPL.d | 2023-04-28 16:19 | Sample |  | blk | [22 empty] | 8334.9233 | 0.80182 |  | 452596.23 | 0.67227 |  | 193327.8433 | 0.56532 |  | 61684.3433 | 0.44941 |  | 87818.4933 | 0.50758 |  | 615456.4433 | 0.92317 |  | 306035.9167 | 0.47697 |  | 399352.21 | 0.58723 |  | 236575.6533 | 0.54035
| FALSE | 051SMPL.d | 2023-04-28 16:23 | Sample |  | blk | [22 empty] | 8606.2167 | 2.3983 |  | 427344.5933 | 0.19357 |  | 180637.7367 | 0.10541 |  | 60283.6767 | 0.81462 |  | 86878.08 | 1.5622 |  | 601348.3067 | 0.24251 |  | 303349.1767 | 0.51717 |  | 392279.9367 | 0.70293 |  | 235205.5133 | 0.39217
| FALSE | 052CALB.d | 2023-04-28 16:27 | CalBlk | 1 | blk | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 8217.1 | 1.7515 | 100 | 423085.45 | 0.56983 | 100 | 178800.6333 | 0.85621 | 100 | 60219.91 | 0.69537 | 100 | 86001.5833 | 1.0364 | 100 | 599757.79 | 0.32514 | 100 | 301859.7467 | 0.36757 | 100 | 389826.2633 | 0.56447 | 100 | 231895.6867 | 0.65199
| FALSE | 053CALS.d | 2023-04-28 16:31 | CalStd | 2 | curve 1 | 0.11518 | 0.11144 | 0.26495 | 0.10836 | 0.099612 | 0.10644 | 0.097916 | 0.088295 | 0.097316 | 0.0056297 | <0.000 | 0.0048666 | 0.0049724 | 0.10364 | 0.10036 | 0.10472 | 0.11197 | 0.10567 | 0.1026 | 0.095396 | 0.09316 | 104.1001 | 8554.0067 | 1.2841 | 99.131 | 419408.6967 | 0.28467 | 99.9438 | 178700.1167 | 0.9249 | 100.942 | 60787.1767 | 0.69534 | 101.1767 | 87013.5267 | 0.77216 | 99.0522 | 594073.0333 | 0.56316 | 100.2599 | 302644.1967 | 0.24162 | 99.7404 | 388814.1 | 0.54331 | 100.7899 | 233727.54 | 0.56475
| FALSE | 054CALS.d | 2023-04-28 16:35 | CalStd | 3 | curve 2 | 1.0338 | 1.0646 | 1.2111 | 1.0401 | 1.062 | 1.0492 | 1.0408 | 0.98007 | 1.0453 | 0.042775 | 0.04251 | 0.037284 | 0.041389 | 0.98527 | 0.97307 | 0.971 | 1.0402 | 0.98517 | 0.98574 | 0.94981 | 0.93421 | 101.7726 | 8362.76 | 3.4039 | 99.2731 | 420009.9467 | 0.33122 | 101.1691 | 180890.9533 | 0.64958 | 100.8138 | 60709.9733 | 0.29461 | 100.7748 | 86667.89 | 0.37908 | 99.3595 | 595916.2333 | 0.62133 | 100.566 | 303568.1633 | 0.60355 | 99.5557 | 388094.39 | 0.38346 | 100.3249 | 232649.2033 | 0.72511
| FALSE | 055CALS.d | 2023-04-28 16:39 | CalStd | 4 | curve 2.5 (Hg only) | 2.0451 | 2.0439 | 2.025 | 2.0583 | 2.0739 | 2.1017 | 2.076 | 1.921 | 2.0712 | 0.078558 | 0.086668 | 0.088054 | 0.085451 | 1.9766 | 1.9472 | 1.9705 | 2.0793 | 1.978 | 1.9795 | 1.9098 | 1.8671 | 107.577 | 8839.7133 | 0.41495 | 104.4836 | 442055.0567 | 0.42251 | 107.6672 | 192509.6167 | 0.50366 | 105.8974 | 63771.31 | 1.1045 | 104.3089 | 89707.3267 | 1.2603 | 101.5155 | 608846.9567 | 0.58767 | 102.0495 | 308046.2367 | 0.09962 | 100.5089 | 391809.9867 | 0.50401 | 101.0983 | 234442.6133 | 0.4798
| FALSE | 056CALS.d | 2023-04-28 16:43 | CalStd | 5 | curve 3 | 10.1356 | 10.1058 | 10.5791 | 10.2177 | 10.379 | 10.3464 | 10.1784 | 9.6438 | 10.1943 | 0.46178 | 0.48978 | 0.4959 | 0.48995 | 9.7172 | 9.548 | 9.6231 | 10.1237 | 9.6774 | 9.6553 | 9.441 | 9.2982 | 107.8341 | 8860.8367 | 1.1739 | 102.3947 | 433217.2867 | 0.37037 | 103.7867 | 185571.2267 | 0.30154 | 103.4439 | 62293.7967 | 0.44407 | 103.0578 | 88631.3633 | 0.38421 | 101.2524 | 607268.9033 | 0.42479 | 101.5232 | 306457.61 | 0.13487 | 100.6491 | 392356.5233 | 0.12044 | 100.9755 | 234157.9333 | 0.12129
| FALSE | 057CALS.d | 2023-04-28 16:47 | CalStd | 6 | curve 4 | 50.0455 | 50.3486 | 50.1113 | 50.4517 | 50.3199 | 50.3267 | 50.2495 | 47.819 | 50.1049 | 2.4808 | 2.5255 | 2.4743 | 2.4743 | 47.7988 | 47.334 | 47.4267 | 50.5867 | 49.1527 | 49.9485 | 50.465 | 50.49 | 106.2647 | 8731.8767 | 0.44292 | 99.8459 | 422433.5967 | 0.17696 | 101.107 | 180779.9833 | 0.88273 | 103.2658 | 62186.6 | 0.88245 | 100.8505 | 86732.9933 | 0.61589 | 99.4806 | 596642.55 | 0.40236 | 100.697 | 303963.6467 | 0.63389 | 98.1971 | 382798.1667 | 0.31638 | 98.7547 | 229007.9267 | 0.42062
| FALSE | 058CALS.d | 2023-04-28 16:50 | CalStd | 7 | curve 5 | 99.9633 | 99.8145 | 99.8842 | 99.752 | 99.8015 | 99.8015 | 99.857 | 101.1263 | 99.9277 | 5.0139 | 4.9886 | 5.0136 | 5.0142 | 101.129 | 101.3785 | 101.3246 | 99.6939 | 100.4561 | 100.0604 | 99.8239 | 99.8259 | 104.884 | 8618.42 | 0.641 | 99.0309 | 418985.2867 | 0.4061 | 101.7508 | 181931.0033 | 1.2235 | 102.7118 | 61852.9633 | 0.59454 | 100.3078 | 86266.3133 | 0.74163 | 98.6338 | 591564.08 | 0.47096 | 100.0938 | 302142.7767 | 0.54877 | 96.3858 | 375737.1433 | 0.83504 | 97.8745 | 226966.63 | 0.72663
| FALSE | 059SMPL.d | 2023-04-28 16:54 | Sample |  | blk | 0.044865 | 0.098763 | 0.11249 | 0.011961 | 0.0070087 | 0.0074295 | 0.044775 | 0.046007 | 0.042824 | 0.083874 | 0.081978 | 0.085583 | 0.085773 | 0.022367 | 0.012675 | 0.016294 | 0.014869 | 0.018881 | 0.013872 | 0.047385 | 0.033439 | 105.7907 | 8692.93 | 0.40575 | 100.5613 | 425460.3167 | 0.84676 | 102.7593 | 183734.36 | 0.74751 | 103.8475 | 62536.8933 | 0.7842 | 102.9671 | 88553.3167 | 0.39732 | 99.9647 | 599545.9967 | 0.53269 | 101.2362 | 305591.3733 | 0.74833 | 99.6726 | 388549.88 | 0.29694 | 101.1996 | 234677.5 | 0.42603
| FALSE | 060SMPL.d | 2023-04-28 16:58 | Sample |  | blk | 0.023535 | 0.038772 | 0.18546 | 0.0078927 | 0.0046856 | 0.0065586 | 0.011844 | 0.013386 | 0.013716 | 0.0401 | 0.034351 | 0.050801 | 0.040923 | 0.011996 | 0.011988 | 0.012018 | 0.013712 | 0.01363 | 0.012417 | 0.014207 | 0.012695 | 105.2768 | 8650.7 | 1.3926 | 100.6979 | 426037.9667 | 0.2442 | 103.6716 | 185365.5433 | 0.44136 | 103.1009 | 62087.2633 | 0.41806 | 102.8637 | 88464.4367 | 0.2112 | 100.1339 | 600560.8067 | 0.37389 | 101.4773 | 306319.27 | 0.86097 | 99.7073 | 388685.1033 | 0.41795 | 101.0024 | 234220.2767 | 0.13302
| FALSE | 061_QC1.d | 2023-04-28 17:02 | QC1 |  | qc 1 | 5.2907 | 5.2267 | 5.4585 | 5.3613 | 5.3821 | 5.4169 | 5.282 | 5.013 | 5.3622 | 0.52127 | 0.52132 | 0.51103 | 0.52841 | 5.0613 | 4.9838 | 5.0192 | 5.3096 | 5.0469 | 5.0475 | 4.9502 | 4.8584 | 102.1649 | 8394.9933 | 0.81571 | 100.737 | 426203.78 | 0.19955 | 102.7357 | 183692.0033 | 0.34278 | 102.1295 | 61502.3 | 1.6457 | 101.3247 | 87140.8033 | 0.5805 | 100.2638 | 601339.7767 | 0.18656 | 100.9793 | 304815.95 | 0.26494 | 99.5859 | 388211.9733 | 0.2125 | 100.2508 | 232477.2067 | 0.24347
| FALSE | 062_QC2.d | 2023-04-28 17:05 | QC2 |  | qc 2 | 10.6665 | 10.2335 | 10.9091 | 10.6811 | 10.8743 | 10.8193 | 10.56 | 10.1051 | 10.6633 | 0.9859 | 1.0284 | 1.0282 | 1.008 | 10.0091 | 9.897 | 9.896 | 10.5611 | 9.9805 | 10.0166 | 9.7816 | 9.7448 | 103.2472 | 8483.9233 | 1.6043 | 99.7602 | 422070.7933 | 0.51737 | 101.1862 | 180921.56 | 0.62926 | 101.6944 | 61240.3033 | 0.21009 | 101.3195 | 87136.4133 | 0.24221 | 100.1337 | 600559.7533 | 0.5886 | 100.529 | 303456.4767 | 0.41724 | 99.5389 | 388028.88 | 0.38247 | 100.3868 | 232792.68 | 0.49426
| FALSE | 063_QC3.d | 2023-04-28 17:09 | QC3 |  | qc 3 | 52.3446 | 50.4713 | 48.9216 | 52.2781 | 52.9726 | 52.8406 | 52.588 | 49.6145 | 52.6557 | 5.0046 | 4.9825 | 5.0256 | 4.9502 | 49.5536 | 48.5445 | 49.0276 | 51.9771 | 51.0107 | 51.4583 | 52.551 | 52.4167 | 104.7356 | 8606.23 | 1.7407 | 98.8703 | 418305.7333 | 0.84212 | 99.2288 | 177421.7267 | 0.52382 | 100.2244 | 60355.0633 | 0.70038 | 98.7703 | 84944.0267 | 0.48268 | 99.2831 | 595458.3033 | 0.28609 | 99.9604 | 301740.3467 | 0.15739 | 97.6777 | 380773.21 | 0.39318 | 99.2041 | 230049.9433 | 0.66707
| FALSE | 064SMPL.d | 2023-04-28 17:13 | Sample |  | blk | 0.032964 | 0.052524 | 0.022725 | 0.0079852 | 0.0042379 | 0.0038369 | 0.019012 | 0.024576 | 0.015458 | 0.10851 | 0.081753 | 0.10995 | 0.090301 | 0.013605 | 0.012521 | 0.017009 | 0.0085312 | 0.015006 | 0.013107 | 0.033339 | 0.022234 | 101.2988 | 8323.8267 | 1.3425 | 98.94 | 418600.5633 | 0.75175 | 100.6105 | 179892.29 | 0.63728 | 101.1232 | 60896.3033 | 1.1645 | 100.0829 | 86072.8933 | 0.75558 | 99.2051 | 594990.1667 | 0.49245 | 99.0572 | 299013.8733 | 0.25011 | 98.9129 | 385588.5233 | 0.59498 | 99.6417 | 231064.81 | 0.6189
| FALSE | 065SMPL.d | 2023-04-28 17:16 | Sample |  | blk | 0.02616 | 0.025111 | 0.12267 | 0.0037001 | 0.0018505 | 0.0031849 | 0.0066849 | 0.0051514 | 0.0054321 | 0.04479 | 0.040215 | 0.043689 | 0.048422 | 0.0081842 | 0.011281 | 0.010265 | 0.0094542 | 0.0090055 | 0.010212 | 0.009329 | 0.010054 | 104.1809 | 8560.65 | 0.46469 | 98.2932 | 415864.37 | 0.23907 | 100.099 | 178977.69 | 1.4272 | 99.8707 | 60142.05 | 1.4689 | 99.9921 | 85994.7733 | 0.80468 | 98.8254 | 592713.0067 | 0.59028 | 99.083 | 299091.7967 | 0.2498 | 98.7852 | 385090.4967 | 0.729 | 99.7886 | 231405.3933 | 0.45175
| FALSE | 066SMPL.d | 2023-04-28 17:20 | Sample |  | 173960-001 | 0.57376 | 0.068841 | 0.14682 | 0.024678 | 0.018022 | 0.022728 | 0.16585 | 0.15126 | 0.1586 | 0.019934 | 0.028539 | 0.026307 | 0.036068 | 7.3276 | 7.2654 | 7.4133 | 7.8897 | 7.3685 | 7.4338 | 0.010331 | 0.010022 | 103.2745 | 8486.1667 | 3.0537 | 104.0802 | 440348.1667 | 0.18762 | 106.6731 | 190732.2167 | 0.53212 | 107.721 | 64869.4733 | 0.24497 | 99.3497 | 85442.3467 | 0.34796 | 98.7039 | 591984.12 | 0.21136 | 99.7175 | 301007.01 | 0.45084 | 96.4219 | 375877.8233 | 0.24033 | 96.8494 | 224589.6767 | 0.31969
| FALSE | 067SMPL.d | 2023-04-28 17:24 | Sample |  | 173960-002 | 0.57449 | 0.061897 | 0.095383 | 0.022822 | 0.023143 | 0.02464 | 0.12762 | 0.12641 | 0.12849 | 0.014047 | 0.016519 | 0.02238 | 0.027431 | 3.3216 | 3.2166 | 3.3022 | 3.5422 | 3.3028 | 3.314 | 0.0094132 | 0.010311 | 103.4366 | 8499.49 | 3.5194 | 107.3208 | 454058.5967 | 0.49482 | 109.5791 | 195928.05 | 1.3303 | 109.9609 | 66218.38 | 0.44792 | 100.3341 | 86288.8967 | 0.84473 | 100.0282 | 599927.04 | 0.49953 | 100.5129 | 303407.9733 | 0.49943 | 97.2875 | 379252.14 | 0.90837 | 97.8042 | 226803.6833 | 0.31717
| FALSE | 068SMPL.d | 2023-04-28 17:28 | Sample |  | 173963-001 | 0.44051 | 0.75328 | 0.70067 | 0.0316 | 0.026389 | 0.03028 | 0.19892 | 0.19568 | 0.18633 | 0.019517 | 0.015563 | 0.022474 | 0.020877 | 7.5423 | 7.4735 | 7.711 | 8.1694 | 7.6274 | 7.631 | 1.9367 | 1.9109 | 104.7627 | 8608.4567 | 2.2266 | 100.113 | 423563.58 | 0.64945 | 102.7929 | 183794.4133 | 0.43694 | 103.6845 | 62438.6933 | 0.57486 | 100.2666 | 86230.8433 | 0.86337 | 98.5147 | 590849.57 | 0.58928 | 100.3184 | 302820.9233 | 0.69016 | 92.8047 | 361777.16 | 0.72327 | 94.2051 | 218457.5467 | 0.62402
| FALSE | 069SMPL.d | 2023-04-28 17:31 | Sample |  | 173964-001 | 8.243 | 0.044891 | 0.093278 | 0.0053106 | 0.0041661 | 0.0040121 | 0.48636 | 0.45111 | 0.51161 | 0.012027 | 0.0048368 | 0.016484 | 0.015174 | 0.14068 | 0.13251 | 0.14666 | 0.14827 | 0.14484 | 0.13884 | 0.021924 | 0.021732 | 105.9667 | 8707.3867 | 0.82572 | 100.4923 | 425168.4567 | 0.5339 | 102.1433 | 182632.8733 | 0.70567 | 101.9443 | 61390.7367 | 0.8139 | 101.3909 | 87197.7633 | 0.32523 | 100.2709 | 601382.7067 | 0.49876 | 100.5431 | 303499.28 | 0.48211 | 99.0676 | 386191.71 | 0.43082 | 99.6314 | 231040.8833 | 0.78636
| FALSE | 070SMPL.d | 2023-04-28 17:35 | Sample |  | 173965-001 | 0.37411 | 0.10493 | 0.093148 | 0.002636 | 0.0023893 | 0.0021326 | 0.085103 | 0.084274 | 0.084477 | 0.014894 | 0.0062874 | 0.012423 | 0.0072212 | 0.17514 | 0.17749 | 0.18269 | 0.18863 | 0.17793 | 0.1821 | 0.34447 | 0.33181 | 104.749 | 8607.3333 | 2.1121 | 99.3292 | 420247.46 | 0.28155 | 100.8404 | 180303.2867 | 0.23309 | 101.7367 | 61265.7733 | 1.6631 | 100.2913 | 86252.09 | 0.17702 | 99.4517 | 596469.4667 | 0.14764 | 100.4662 | 303267.0567 | 0.41041 | 97.2755 | 379205.3333 | 0.53621 | 98.7743 | 229053.4133 | 0.14813
| FALSE | 071SMPL.d | 2023-04-28 17:39 | Sample |  | 173966-001 | 0.12907 | 0.015526 | <0.000 | 0.0020782 | 0.0017907 | 0.0033893 | 0.08674 | 0.073077 | 0.086433 | <0.000 | <0.000 | 0.00063054 | 0.0037997 | 0.39842 | 0.38985 | 0.40561 | 0.42819 | 0.40135 | 0.40529 | <0.000 | 0.00069976 | 100.9336 | 8293.8133 | 1.1769 | 98.0668 | 414906.3233 | 0.27617 | 98.7203 | 176512.54 | 1.1648 | 100.706 | 60645.0533 | 1.3783 | 98.1033 | 84370.3767 | 0.67239 | 98.0132 | 587841.9767 | 1.031 | 98.9701 | 298750.8267 | 0.96218 | 95.1885 | 371069.6667 | 0.50618 | 96.1919 | 223064.7533 | 0.23158
| FALSE | 072SMPL.d | 2023-04-28 17:43 | Sample |  | 173967-001 | 0.013559 | 0.038358 | 0.091526 | 0.010168 | 0.0083251 | 0.010206 | 0.10313 | 0.09353 | 0.095489 | <0.000 | <0.000 | 0.0024403 | 0.0011692 | 1.0204 | 1.003 | 1.0274 | 1.0948 | 1.021 | 1.0316 | <0.000 | <0.000 | 103.2201 | 8481.7 | 0.12006 | 100.5962 | 425607.7167 | 0.65696 | 101.3925 | 181290.3467 | 0.47124 | 102.3316 | 61623.9933 | 0.43259 | 101.9791 | 87703.6133 | 1.1435 | 99.6025 | 597373.6467 | 0.504 | 100.7581 | 304148.02 | 0.063586 | 100.0009 | 389829.74 | 0.33495 | 101.0823 | 234405.5033 | 0.19793
| FALSE | 073SMPL.d | 2023-04-28 17:46 | Sample |  | 173968-001 | 0.23207 | 0.035749 | 0.020634 | 0.013179 | 0.013066 | 0.014488 | 0.20204 | 0.18159 | 0.20835 | <0.000 | <0.000 | 0.0012028 | 0.0014476 | 1.5542 | 1.5472 | 1.6126 | 1.7583 | 1.5882 | 1.6037 | 0.004914 | <0.000 | 104.1267 | 8556.1967 | 2.029 | 100.8382 | 426631.8133 | 1.1344 | 101.2055 | 180956.0067 | 0.58304 | 102.4243 | 61679.8167 | 1.0595 | 102.1344 | 87837.2233 | 0.64825 | 100.1156 | 600451.2533 | 0.64581 | 100.6892 | 303940.03 | 0.17547 | 100.1846 | 390545.8 | 0.80849 | 101.3589 | 235047.02 | 0.73029
| FALSE | 074SMPL.d | 2023-04-28 17:50 | Sample |  | 173969-001 | 0.81933 | 0.26067 | 0.072238 | 0.0096256 | 0.010308 | 0.01555 | 0.41203 | 0.38298 | 0.38295 | 0.0054854 | 0.0032361 | 0.0084266 | 0.01317 | 11.7601 | 11.5877 | 11.652 | 12.3623 | 11.6589 | 11.6622 | 0.040683 | 0.041153 | 101.1094 | 8308.2567 | 2.0562 | 97.0542 | 410622.2033 | 0.40617 | 98.7862 | 176630.3567 | 0.80715 | 100.4061 | 60464.4867 | 0.33291 | 96.0157 | 82575.06 | 0.83995 | 96.6729 | 579803.39 | 0.44273 | 97.1894 | 293375.59 | 0.33244 | 91.7862 | 357806.8633 | 0.35598 | 93.1671 | 216050.3833 | 0.32542
| FALSE | 075SMPL.d | 2023-04-28 17:54 | Sample |  | 173971-001 rush | 0.019278 | 0.012454 | 0.11802 | 0.0083918 | 0.012103 | 0.0077406 | 0.068554 | 0.063988 | 0.071783 | <0.000 | <0.000 | 0.0015259 | <0.000 | 1.1361 | 1.1391 | 1.1821 | 1.2326 | 1.1593 | 1.1659 | <0.000 | <0.000 | 103.599 | 8512.8333 | 2.0765 | 99.0107 | 418899.9833 | 0.12081 | 100.3513 | 179428.78 | 0.30928 | 100.7174 | 60651.9067 | 1.1377 | 100.8098 | 86698.06 | 1.5244 | 99.37 | 595979.1133 | 0.76808 | 100.166 | 302360.6967 | 0.32548 | 99.5876 | 388218.5433 | 0.27343 | 100.7698 | 233680.91 | 0.66133
| FALSE | 076_QC2.d | 2023-04-28 17:58 | QC2 |  | qc 2 | 10.661 | 10.3268 | 10.5404 | 10.6441 | 10.8954 | 10.7116 | 10.7361 | 9.9663 | 10.6662 | 0.9978 | 0.97286 | 0.97368 | 0.97935 | 9.9397 | 9.7956 | 9.8808 | 10.4782 | 9.9435 | 9.9517 | 9.6851 | 9.4941 | 103.6528 | 8517.2533 | 0.56258 | 100.6547 | 425855.4367 | 0.29999 | 102.3775 | 183051.5467 | 1.1039 | 101.5533 | 61155.3233 | 0.33751 | 101.8707 | 87610.44 | 0.31443 | 100.66 | 603715.9133 | 0.21118 | 100.9334 | 304677.2367 | 0.40014 | 99.9053 | 389456.9333 | 0.43601 | 100.9655 | 234134.6367 | 0.14214
| FALSE | 077SMPL.d | 2023-04-28 18:01 | Sample |  | blk | 0.015366 | 0.023604 | 0.069755 | 0.0032123 | 0.0059852 | 0.0052515 | 0.0011794 | <0.000 | 0.0038831 | 0.010563 | 0.011721 | 0.016349 | 0.018565 | 0.013247 | 0.011559 | 0.011326 | 0.013029 | 0.011856 | 0.012515 | 0.018048 | 0.013665 | 102.2327 | 8400.5633 | 2.4012 | 98.5327 | 416877.68 | 0.4376 | 100.4302 | 179569.89 | 1.047 | 101.5735 | 61167.5 | 0.11424 | 100.5616 | 86484.5867 | 0.43073 | 98.7268 | 592121.5933 | 0.56386 | 99.829 | 301343.6433 | 0.50243 | 98.6997 | 384757.2167 | 0.3965 | 100.2984 | 232587.5967 | 0.4574
| FALSE | 078SMPL.d | 2023-04-28 18:05 | Sample |  | 173972-001 | 0.068724 | 0.0062823 | <0.000 | 0.0022382 | 0.0013605 | 0.0009164 | 0.061325 | 0.053431 | 0.051109 | <0.000 | 0.006972 | 0.032638 | 0.020295 | 0.09209 | 0.090654 | 0.094632 | 0.092008 | 0.091754 | 0.089002 | 0.0018657 | 0.0025212 | 127.509 | 10477.5433 | 0.96624 | 92.1337 | 389804.4133 | 0.47293 | 93.9912 | 168056.9167 | 0.7329 | 94.4663 | 56887.4967 | 0.8218 | 90.093 | 77481.3933 | 1.0293 | 91.1675 | 546784.04 | 0.15453 | 92.2532 | 278475.39 | 0.53111 | 85.3776 | 332824.4333 | 0.73502 | 86.6114 | 200848.1733 | 0.37528
| FALSE | 079SMPL.d | 2023-04-28 18:09 | Sample |  | 173973-001 | 0.085174 | 0.0071572 | 0.0025512 | 0.0041075 | 0.0025057 | 0.0052483 | 0.094646 | 0.077375 | 0.072597 | <0.000 | <0.000 | 0.00078284 | <0.000 | 3.2059 | 3.1786 | 3.1741 | 3.3479 | 3.194 | 3.198 | <0.000 | <0.000 | 107.9831 | 8873.0767 | 0.87616 | 97.185 | 411175.8 | 0.51112 | 98.5898 | 176279.1733 | 0.97192 | 98.481 | 59305.18 | 0.42999 | 97.3298 | 83705.14 | 1.889 | 97.683 | 585861.3267 | 0.43557 | 98.4668 | 297231.4867 | 0.30146 | 94.1417 | 366989.0733 | 0.31758 | 94.7483 | 219717.2333 | 0.37844
| FALSE | 080SMPL.d | 2023-04-28 18:13 | Sample |  | 173974-001 | 0.060081 | 0.025158 | 0.048149 | 0.0033044 | 0.00061233 | 0.015847 | 0.080583 | 0.06321 | 0.066036 | <0.000 | <0.000 | <0.000 | 0.0015538 | 1.0082 | 1.0176 | 1.039 | 1.1055 | 1.0201 | 1.0298 | 0.0012657 | 0.0020613 | 111.5549 | 9166.5767 | 0.90912 | 98.0654 | 414900.38 | 0.55915 | 99.6613 | 178195 | 0.11041 | 100.2227 | 60354.0267 | 0.79821 | 94.9774 | 81682.07 | 0.87116 | 95.683 | 573866.3867 | 0.41071 | 96.2929 | 290669.6133 | 0.30134 | 90.9951 | 354722.71 | 0.58078 | 90.8986 | 210789.94 | 0.24675
| FALSE | 081SMPL.d | 2023-04-28 18:16 | Sample |  | 173975-001 | 1.1235 | 0.096919 | 0.3451 | 0.0028544 | 0.0018475 | 0.0019828 | 0.063854 | 0.05541 | 0.06168 | <0.000 | <0.000 | 0.0063188 | 0.0029817 | 0.062467 | 0.064585 | 0.059035 | 0.068453 | 0.061443 | 0.065231 | 0.033706 | 0.033434 | 102.733 | 8441.67 | 1.979 | 97.384 | 412017.5133 | 0.38409 | 97.8455 | 174948.3267 | 0.60973 | 99.2685 | 59779.4033 | 1.4983 | 95.9652 | 82531.6033 | 0.90325 | 96.8359 | 580781.0833 | 0.59087 | 97.397 | 294002.4833 | 0.71429 | 93.5784 | 364793.0167 | 0.42445 | 93.9777 | 217930.34 | 0.37024
| FALSE | 082SMPL.d | 2023-04-28 18:20 | Sample |  | 173976-001 Pb | 0.47822 | 0.032137 | <0.000 | 0.018189 | 0.018189 | 0.080672 | 0.34499 | 0.32492 | 0.32945 | <0.000 | <0.000 | 0.0053811 | <0.000 | 0.47623 | 0.47315 | 0.48854 | 0.52245 | 0.48759 | 0.49306 | <0.000 | <0.000 | 103.4773 | 8502.8367 | 0.44569 | 101.3373 | 428743.2567 | 0.26862 | 103.3181 | 184733.42 | 0.42206 | 103.7143 | 62456.6367 | 0.34112 | 101.4459 | 87245.07 | 1.0783 | 101.1439 | 606618.39 | 0.16728 | 101.4375 | 306198.9467 | 0.044296 | 101.255 | 394718.7333 | 0.31193 | 102.4969 | 237685.9133 | 0.33954
| FALSE | 083SMPL.d | 2023-04-28 18:24 | Sample |  | 173976-002 Pb | 0.39739 | 0.066894 | 0.11612 | 0.33768 | 0.33894 | 0.393 | 0.53731 | 0.52024 | 0.55275 | <0.000 | <0.000 | <0.000 | <0.000 | 4.1794 | 4.1289 | 4.3934 | 4.642 | 4.2771 | 4.2881 | <0.000 | 0.00079658 | 104.4377 | 8581.7467 | 2.6475 | 99.6164 | 421462.55 | 0.2773 | 99.8497 | 178531.9267 | 0.81049 | 102.0887 | 61477.73 | 0.46588 | 102.438 | 88098.2633 | 0.52241 | 100.0885 | 600288.6433 | 0.40923 | 100.4876 | 303331.4767 | 0.60547 | 100.8104 | 392985.24 | 0.50443 | 101.8208 | 236117.9367 | 0.067602
| FALSE | 084SMPL.d | 2023-04-28 18:28 | Sample |  | 173977-001 | 1.2862 | 0.33027 | 0.42079 | 0.0034956 | 0.0031138 | 0.00052204 | 0.11197 | 0.101 | 0.095249 | <0.000 | <0.000 | <0.000 | <0.000 | 0.30829 | 0.29855 | 0.32637 | 0.34441 | 0.31351 | 0.31528 | 0.16706 | 0.163 | 100.0406 | 8220.4333 | 2.3783 | 97.0318 | 410527.29 | 0.53936 | 97.9184 | 175078.76 | 0.69579 | 98.77 | 59479.2067 | 1.4056 | 98.1512 | 84411.6167 | 0.47096 | 98.1264 | 588520.7167 | 0.33066 | 98.6937 | 297916.6267 | 0.16817 | 95.994 | 374209.7233 | 0.23379 | 97.2842 | 225597.94 | 0.76525
| FALSE | 085SMPL.d | 2023-04-28 18:31 | Sample |  | 173978-001 | 0.17948 | 0.018709 | 0.0027573 | 0.0066426 | 0.001871 | 0.0025269 | 0.16586 | 0.17936 | 0.19617 | 0.028294 | 0.031518 | 0.0547 | 0.041098 | 0.52775 | 0.53378 | 0.53241 | 0.57967 | 0.53089 | 0.53531 | 5.9161e-05 | 0.00020492 | 150.5154 | 12368 | 1.7904 | 93.2228 | 394412.28 | 0.24446 | 97.5099 | 174348.2933 | 0.54269 | 98.3233 | 59210.18 | 0.9996 | 93.6738 | 80560.9733 | 0.45388 | 91.4722 | 548611.67 | 0.4049 | 93.0834 | 280981.4633 | 0.44229 | 83.6003 | 325895.9933 | 0.31669 | 85.2162 | 197612.7967 | 0.61843
| FALSE | 086SMPL.d | 2023-04-28 18:35 | Sample |  | 173978-002 | 0.50885 | 0.050925 | <0.000 | 0.018456 | 0.019072 | 0.017661 | 0.67438 | 0.65315 | 0.69418 | <0.000 | <0.000 | <0.000 | <0.000 | 0.15755 | 0.14869 | 0.15768 | 0.16822 | 0.15703 | 0.15512 | 0.028116 | 0.028602 | 104.6274 | 8597.34 | 1.6098 | 102.6469 | 434284.3033 | 0.49851 | 103.9617 | 185884.2267 | 1.8295 | 102.1241 | 61499.0567 | 0.8198 | 101.2949 | 87115.2433 | 0.71448 | 101.3565 | 607893.7533 | 0.50322 | 100.8573 | 304447.6 | 0.12085 | 100.2752 | 390899 | 0.70014 | 101.15 | 234562.42 | 0.41723
| FALSE | 087SMPL.d | 2023-04-28 18:39 | Sample |  | 173991-001 | 0.80461 | 0.050558 | 0.1969 | 0.0022716 | 0.0024322 | <0.000 | 0.098373 | 0.094658 | 0.1035 | <0.000 | <0.000 | <0.000 | <0.000 | 0.080446 | 0.08422 | 0.084589 | 0.08965 | 0.081468 | 0.083582 | 0.00094355 | 0.0014429 | 101.5291 | 8342.7467 | 1.3161 | 98.312 | 415943.9533 | 0.70714 | 99.5419 | 177981.6067 | 1.5078 | 99.7574 | 60073.8033 | 0.87736 | 99.068 | 85200.01 | 0.27675 | 98.7805 | 592443.6033 | 0.23354 | 99.4925 | 300327.7233 | 0.31029 | 97.8127 | 381299.5067 | 0.24568 | 98.5038 | 228426.1533 | 1.5043
| FALSE | 088_QC2.d | 2023-04-28 18:43 | QC2 |  | qc 2 | 10.5177 | 10.4445 | 9.9362 | 10.5282 | 10.5183 | 10.667 | 10.5209 | 10.0209 | 10.5616 | 0.97482 | 0.98868 | 0.98988 | 0.98156 | 9.9546 | 9.8565 | 9.9291 | 10.3956 | 9.9321 | 9.9345 | 9.615 | 9.4788 | 102.1376 | 8392.7467 | 0.84967 | 98.7451 | 417776.3467 | 0.65003 | 100.5558 | 179794.46 | 0.57427 | 100.1413 | 60304.99 | 0.26371 | 101.1686 | 87006.61 | 1.2781 | 99.2347 | 595167.9367 | 0.68307 | 100.0816 | 302106.1133 | 0.39845 | 98.3395 | 383353.04 | 0.125 | 100.0256 | 231955.0533 | 0.26479
| FALSE | 089SMPL.d | 2023-04-28 18:46 | Sample |  | blk | 0.0045719 | 0.024344 | <0.000 | 0.0042202 | 0.0031133 | 0.0020272 | 0.0036326 | 0.002161 | <0.000 | 0.01267 | 0.010552 | 0.018273 | 0.015287 | 0.012243 | 0.011466 | 0.009944 | 0.013516 | 0.012091 | 0.011217 | 0.020455 | 0.016194 | 100.1898 | 8232.6933 | 3.5174 | 97.5694 | 412801.85 | 0.21286 | 97.7302 | 174742.3 | 0.57401 | 98.3568 | 59230.3467 | 0.64868 | 98.2165 | 84467.7267 | 1.102 | 98.7311 | 592147.2267 | 0.10709 | 98.3095 | 296756.7333 | 0.52126 | 98.7159 | 384820.6667 | 0.8845 | 99.653 | 231090.93 | 0.76904
| FALSE | 090SMPL.d | 2023-04-28 18:50 | Sample |  | 173991-002 | 0.81803 | 0.048552 | 0.05329 | 0.0022556 | 0.0025211 | 0.003302 | 0.1075 | 0.092939 | 0.10085 | <0.000 | <0.000 | <0.000 | <0.000 | 0.14638 | 0.14836 | 0.14488 | 0.15077 | 0.14657 | 0.14379 | 0.0013224 | 0.0023436 | 99.8919 | 8208.2167 | 1.5271 | 96.9516 | 410188.2667 | 0.61808 | 97.9447 | 175125.7533 | 1.1833 | 97.8937 | 58951.4867 | 0.52135 | 97.5511 | 83895.4967 | 0.42064 | 98.0004 | 587765.0467 | 0.50124 | 98.4003 | 297031.04 | 0.48506 | 97.9962 | 382014.7633 | 0.17668 | 98.4521 | 228306.0833 | 0.10504
| FALSE | 091SMPL.d | 2023-04-28 18:54 | Sample |  | 173991-003 | 0.81814 | 0.039441 | <0.000 | 0.0018254 | 0.0012383 | 0.00076543 | 0.10281 | 0.10375 | 0.10811 | <0.000 | <0.000 | <0.000 | <0.000 | 0.23848 | 0.23375 | 0.22997 | 0.26342 | 0.23401 | 0.23985 | 0.0012693 | 0.00098236 | 100.0406 | 8220.4333 | 0.82089 | 97.4362 | 412238.2233 | 0.064569 | 99.1164 | 177220.6933 | 1.4326 | 99.3481 | 59827.3467 | 0.95365 | 99.5567 | 85620.38 | 0.99303 | 98.2031 | 588980.91 | 0.60069 | 99.4005 | 300050.0833 | 0.89121 | 97.9102 | 381679.8233 | 0.51198 | 98.9536 | 229469.0833 | 0.85577
| FALSE | 092SMPL.d | 2023-04-28 18:58 | Sample |  | 173991-004 | 0.84893 | 0.054824 | 0.12657 | 0.0020695 | 0.0012447 | 0.00052478 | 0.10228 | 0.09942 | 0.10369 | <0.000 | <0.000 | <0.000 | <0.000 | 0.17449 | 0.17655 | 0.18572 | 0.18932 | 0.18215 | 0.17973 | 0.0002002 | 0.0014058 | 98.5251 | 8095.9033 | 3.949 | 98.2211 | 415559.13 | 0.37954 | 99.1802 | 177334.8167 | 0.67885 | 98.7959 | 59494.8267 | 0.53792 | 98.6898 | 84874.8267 | 0.84292 | 98.5677 | 591167.41 | 0.3826 | 99.2807 | 299688.4833 | 0.52186 | 97.9708 | 381915.8233 | 0.33361 | 99.2421 | 230138.0633 | 0.55598
| FALSE | 093SMPL.d | 2023-04-28 19:01 | Sample |  | 173991-005 | 0.81928 | 0.056483 | <0.000 | 0.012111 | 0.014668 | 0.013254 | 0.10205 | 0.088169 | 0.10303 | <0.000 | <0.000 | <0.000 | <0.000 | 0.035995 | 0.038002 | 0.038076 | 0.042277 | 0.039462 | 0.039199 | 0.00019319 | 0.00040452 | 98.349 | 8081.4367 | 2.2407 | 96.9964 | 410377.6633 | 0.44859 | 98.8653 | 176771.7967 | 0.81539 | 99.5926 | 59974.5833 | 0.56472 | 98.5689 | 84770.8167 | 0.51637 | 98.4296 | 590339.33 | 0.72639 | 99.2353 | 299551.4867 | 0.65805 | 97.6443 | 380643.1633 | 0.28261 | 99.2541 | 230166.0467 | 0.83725
| FALSE | 094SMPL.d | 2023-04-28 19:05 | Sample |  | 173991-006 | 0.82615 | 0.069356 | <0.000 | 0.0012155 | 0.0031207 | 0.00078131 | 0.090255 | 0.080535 | 0.08589 | <0.000 | <0.000 | <0.000 | <0.000 | 0.054512 | 0.059535 | 0.055683 | 0.059323 | 0.055622 | 0.060371 | 0.00017113 | 0.00074676 | 101.0281 | 8301.58 | 3.1228 | 97.0993 | 410813.1433 | 0.54201 | 98.5696 | 176243.0133 | 1.0413 | 98.4899 | 59310.53 | 0.21447 | 98.4256 | 84647.5833 | 1.2719 | 98.4467 | 590441.77 | 0.34192 | 99.1516 | 299298.67 | 0.759 | 97.7493 | 381052.5933 | 0.21477 | 99.3893 | 230479.61 | 0.81477
| FALSE | 095SMPL.d | 2023-04-28 19:09 | Sample |  | 173991-007 | 0.82173 | 0.068545 | 0.12917 | 0.00094797 | <0.000 | 0.0010624 | 0.10012 | 0.096058 | 0.094679 | <0.000 | <0.000 | <0.000 | <0.000 | 0.04126 | 0.04135 | 0.04147 | 0.042813 | 0.040692 | 0.040854 | 0.00099972 | 0.0015095 | 99.1475 | 8147.0467 | 3.3614 | 96.8667 | 409829.08 | 0.16267 | 99.5248 | 177950.93 | 1.8652 | 97.7231 | 58848.7333 | 0.76149 | 98.3464 | 84579.4667 | 0.41752 | 98.5274 | 590925.9433 | 0.325 | 98.4958 | 297319.0567 | 0.95551 | 97.3835 | 379626.44 | 0.28646 | 98.693 | 228864.91 | 0.63092
| FALSE | 096SMPL.d | 2023-04-28 19:13 | Sample |  | 173991-008 | 0.77101 | 0.072299 | 0.078488 | 0.0019877 | 0.0018993 | 0.0017939 | 0.081508 | 0.079362 | 0.092201 | <0.000 | <0.000 | <0.000 | <0.000 | 0.14657 | 0.1438 | 0.14082 | 0.15976 | 0.14246 | 0.14662 | 0.00088529 | 0.001431 | 99.0525 | 8139.24 | 2.4257 | 96.8391 | 409712.0933 | 0.38454 | 98.3959 | 175932.5333 | 1.3309 | 97.9898 | 59009.37 | 0.52048 | 98.9026 | 85057.8333 | 1.0901 | 98.0374 | 587987.0967 | 0.32516 | 98.7702 | 298147.4933 | 0.52512 | 97.8794 | 381559.52 | 0.2297 | 98.6617 | 228792.3267 | 0.59324
| FALSE | 097SMPL.d | 2023-04-28 19:16 | Sample |  | 173991-009 | 0.81164 | 0.04516 | 0.10205 | 0.0012192 | 0.0018793 | 0.00053677 | 0.079123 | 0.070438 | 0.066864 | <0.000 | <0.000 | <0.000 | <0.000 | 0.12545 | 0.12202 | 0.12464 | 0.13219 | 0.1272 | 0.12515 | 0.0010161 | 0.00059561 | 100.7578 | 8279.3667 | 1.3583 | 97.0169 | 410464.2267 | 0.22382 | 98.7673 | 176596.4967 | 0.24399 | 98.4548 | 59289.4067 | 0.098156 | 99.298 | 85397.87 | 1.0769 | 98.2487 | 589254.5167 | 0.17845 | 99.4948 | 300334.68 | 0.9117 | 97.4193 | 379765.9467 | 0.34799 | 99.1537 | 229933.1733 | 1.0046
| FALSE | 098SMPL.d | 2023-04-28 19:20 | Sample |  | 173991-010 | 0.76548 | 0.045041 | 0.051073 | 0.00060219 | 0.00064162 | 2.4849e-05 | 0.10273 | 0.091833 | 0.10738 | <0.000 | <0.000 | <0.000 | <0.000 | 0.033768 | 0.034819 | 0.030758 | 0.038392 | 0.032354 | 0.035694 | 0.00010042 | 0.00086277 | 98.1462 | 8064.77 | 3.7505 | 96.8971 | 409957.58 | 0.46187 | 98.56 | 176225.8267 | 0.78909 | 99.037 | 59639.9933 | 0.94088 | 99.2953 | 85395.4933 | 0.68607 | 98.0781 | 588231.1833 | 0.3056 | 99.5185 | 300406.17 | 0.43432 | 97.6866 | 380808.1433 | 0.71291 | 99.2751 | 230214.6467 | 0.26406
| FALSE | 099SMPL.d | 2023-04-28 19:24 | Sample |  | 173993-001 | 0.087647 | 0.024816 | 0.10809 | 0.011724 | 0.01207 | 0.0097063 | 0.3315 | 0.31098 | 0.30955 | 0.042805 | 0.04308 | 0.042493 | 0.04528 | 0.35396 | 0.3339 | 0.35974 | 0.36549 | 0.34866 | 0.34707 | 0.026612 | 0.027174 | 95.5485 | 7851.3133 | 1.9643 | 93.8338 | 396997.1533 | 0.79288 | 96.2731 | 172136.9733 | 0.63888 | 96.4112 | 58058.75 | 0.47637 | 93.018 | 79996.9367 | 0.61472 | 94.2049 | 565001.29 | 0.088082 | 95.0164 | 286816.1767 | 0.13848 | 89.2105 | 347766.1433 | 1.1214 | 91.0435 | 211125.91 | 0.75502
| FALSE | 100_QC2.d | 2023-04-28 19:28 | QC2 |  | qc 2 | 10.3899 | 10.3316 | 10.6054 | 10.4809 | 10.5368 | 10.6051 | 10.4688 | 9.9418 | 10.4972 | 0.96555 | 0.96219 | 0.95336 | 0.9583 | 9.8722 | 9.8211 | 9.7253 | 10.4499 | 9.8213 | 9.9222 | 9.4724 | 9.428 | 104.3029 | 8570.67 | 0.76491 | 99.2144 | 419761.78 | 0.6006 | 102.1146 | 182581.6333 | 0.91625 | 101.8017 | 61304.8733 | 0.31045 | 101.1166 | 86961.9 | 0.66184 | 99.1923 | 594913.4733 | 0.34448 | 100.6094 | 303699.2667 | 0.27877 | 99.1487 | 386507.5733 | 0.69306 | 100.3822 | 232782.0533 | 0.40308
| FALSE | 101SMPL.d | 2023-04-28 19:31 | Sample |  | blk | 0.0052789 | 0.018102 | 0.071984 | 0.0046682 | 0.0018116 | 0.0021639 | <0.000 | <0.000 | <0.000 | 0.011793 | 0.0084686 | 0.013241 | 0.010322 | 0.014102 | 0.013111 | 0.01193 | 0.010166 | 0.013408 | 0.012426 | 0.022484 | 0.019116 | 100.8661 | 8288.2667 | 3.6184 | 98.0273 | 414739.1 | 0.44249 | 99.9521 | 178714.94 | 0.28376 | 100.7028 | 60643.12 | 0.3007 | 100.0101 | 86010.2667 | 0.69381 | 98.9056 | 593194.16 | 0.82176 | 99.6232 | 300722.2667 | 0.10152 | 98.7655 | 385014.0467 | 0.93701 | 100.5452 | 233160.0733 | 0.1961
| FALSE | 102SMPL.d | 2023-04-28 19:35 | Sample |  | 173994-001 | 8.556 | 0.15485 | 1.0366 | 0.11669 | 0.087417 | 0.16531 | 2.1777 | 2.0256 | 2.0757 | 0.58798 | 0.55333 | 0.57856 | 0.66282 | 62.1177 | 61.873 | 63.9296 | 68.2399 | 63.0477 | 63.4229 | 0.019812 | 0.02317 | 99.161 | 8148.16 | 2.7157 | 96.7463 | 409319.5433 | 0.58362 | 98.9471 | 176917.9833 | 0.45015 | 97.8268 | 58911.2167 | 0.37224 | 96.2056 | 82738.3167 | 0.18535 | 96.8946 | 581132.7067 | 0.55339 | 97.7734 | 295138.3867 | 0.40417 | 91.9844 | 358579.5133 | 0.53007 | 93.2488 | 216240.01 | 1.2502
| FALSE | 103SMPL.d | 2023-04-28 19:39 | Sample |  | 173998-001 | 0.16072 | 0.033494 | 0.056317 | 0.0033203 | 0.0038343 | 0.0041218 | 0.095449 | 0.083115 | 0.075883 | 0.043476 | 0.057441 | 0.080944 | 0.06798 | 0.20058 | 0.20705 | 0.21627 | 0.21989 | 0.21062 | 0.21006 | 0.03304 | 0.031293 | 114.2615 | 9388.98 | 0.41537 | 95.0252 | 402037.8033 | 0.67169 | 96.2228 | 172047.0333 | 0.47767 | 96.8893 | 58346.65 | 0.78849 | 93.9275 | 80779.12 | 0.37118 | 95.06 | 570130.04 | 0.81483 | 96.0829 | 290035.6767 | 0.64375 | 90.7885 | 353917.48 | 0.89215 | 92.649 | 214849.13 | 1.0607
| FALSE | 104SMPL.d | 2023-04-28 19:43 | Sample |  | 174002-001 | 0.58997 | 0.010536 | 0.0083547 | 0.0352 | 0.044158 | 0.037281 | 0.11682 | 0.11515 | 0.12277 | 0.064808 | 0.045823 | 0.069563 | 0.057671 | 3.5874 | 3.603 | 3.7082 | 3.98 | 3.6553 | 3.7283 | 0.00095574 | 0.0012076 | 96.0627 | 7893.5667 | 1.7159 | 94.2768 | 398871.3467 | 0.98899 | 95.0059 | 169871.1533 | 0.47621 | 95.3052 | 57392.7 | 0.30086 | 93.7259 | 80605.7833 | 1.1284 | 96.1963 | 576944.72 | 0.79727 | 96.938 | 292616.7867 | 0.68568 | 93.7678 | 365531.3833 | 0.63535 | 94.1351 | 218295.3167 | 0.13265
| FALSE | 105SMPL.d | 2023-04-28 19:46 | Sample |  | 174003-001 | 0.20669 | 0.058342 | 0.11233 | 0.0080819 | 0.0093042 | 0.0059762 | 0.07853 | 0.069258 | 0.073777 | 0.028573 | 0.032564 | 0.03069 | 0.035443 | 0.22308 | 0.22049 | 0.21714 | 0.23248 | 0.22127 | 0.21884 | 0.0037929 | 0.004025 | 99.7429 | 8195.9767 | 1.9256 | 102.2137 | 432451.3667 | 0.57398 | 104.5421 | 186921.98 | 1.1026 | 104.2311 | 62767.8533 | 1.2091 | 98.4621 | 84678.9733 | 0.84549 | 99.4366 | 596378.5767 | 0.88451 | 99.6177 | 300705.8533 | 0.77807 | 99.2208 | 386788.84 | 0.2657 | 99.862 | 231575.5667 | 0.092043
| FALSE | 106SMPL.d | 2023-04-28 19:50 | Sample |  | 174004-001 | 0.43791 | 0.12301 | 0.22069 | 0.039403 | 0.020712 | 0.013476 | 0.91726 | 0.85783 | 0.8753 | 0.051422 | 0.044017 | 0.046888 | 0.052783 | 0.8691 | 0.86016 | 0.84692 | 0.89619 | 0.86311 | 0.86394 | 0.68707 | 0.66453 | 101.4476 | 8336.05 | 0.85164 | 104.3818 | 441624.0633 | 0.082703 | 105.0854 | 187893.4033 | 1.2086 | 105.9137 | 63781.1367 | 0.83963 | 97.7953 | 84105.4967 | 1.5818 | 97.9195 | 587279.8067 | 0.35391 | 99.4569 | 300220.3133 | 0.68249 | 93.6591 | 365107.6033 | 0.44511 | 96.0748 | 222793.41 | 0.48631
| FALSE | 107SMPL.d | 2023-04-28 19:54 | Sample |  | 174005-001 | 0.069524 | 0.026566 | 0.095555 | 0.14748 | 0.14391 | 0.15715 | 0.11977 | 0.11028 | 0.11279 | 0.020574 | 0.018914 | 0.023459 | 0.022581 | 3.7374 | 3.6961 | 3.7817 | 4.0286 | 3.7431 | 3.7758 | 0.00033158 | 0.0014149 | 101.9484 | 8377.2033 | 1.697 | 98.8225 | 418103.5067 | 0.56513 | 99.6453 | 178166.3867 | 0.32376 | 100.8525 | 60733.3033 | 0.69541 | 100.3364 | 86290.93 | 0.51249 | 99.7158 | 598053.33 | 0.12342 | 100.3745 | 302990.3 | 0.63755 | 97.8928 | 381611.66 | 0.33163 | 99.7003 | 231200.75 | 0.37393
| FALSE | 108SMPL.d | 2023-04-28 19:57 | Sample |  | 174005-002 | 0.055838 | 0.018303 | 0.12365 | 0.017194 | 0.020872 | 0.018922 | 0.15583 | 0.14575 | 0.15139 | 0.0065679 | 0.014666 | 0.018112 | 0.019097 | 1.5948 | 1.5666 | 1.6449 | 1.7328 | 1.6197 | 1.6215 | 0.00074759 | 0.0009531 | 100.8116 | 8283.79 | 0.90612 | 97.8485 | 413982.67 | 0.34628 | 98.7677 | 176597.2033 | 0.95492 | 99.3127 | 59805.9933 | 1.563 | 99.7518 | 85788.0867 | 0.63669 | 98.5677 | 591167.36 | 0.38324 | 99.7103 | 300985.2867 | 0.3932 | 98.0955 | 382401.9333 | 0.50107 | 99.7898 | 231408.2767 | 0.97554
| FALSE | 109SMPL.d | 2023-04-28 20:01 | Sample |  | 174005-003 | 0.061959 | 0.028247 | <0.000 | 0.011707 | 0.0091915 | 0.010806 | 0.089174 | 0.080328 | 0.087141 | 0.021089 | 0.025107 | 0.025727 | 0.024949 | 1.713 | 1.7028 | 1.8066 | 1.8551 | 1.7528 | 1.741 | 0.0012593 | 0.00097257 | 99.4587 | 8172.62 | 3.1106 | 97.9583 | 414447.3867 | 0.66899 | 98.7666 | 176595.31 | 0.38922 | 99.3628 | 59836.2133 | 1.2444 | 99.5047 | 85575.5933 | 0.94544 | 98.6362 | 591578.5167 | 0.28604 | 100.4049 | 303081.9967 | 0.50427 | 97.769 | 381129.36 | 0.74819 | 99.9209 | 231712.2433 | 0.55853
| FALSE | 110SMPL.d | 2023-04-28 20:05 | Sample |  | 174005-004 | 0.062463 | 0.046669 | 0.17288 | 0.0036957 | 0.001847 | 0.0054414 | 0.10479 | 0.087116 | 0.10569 | 0.040057 | 0.032105 | 0.04969 | 0.041164 | 0.20224 | 0.20331 | 0.2042 | 0.2136 | 0.20046 | 0.20495 | 0.0019168 | 0.0026414 | 101.1098 | 8308.29 | 4.2183 | 98.4189 | 416396.19 | 0.8585 | 98.7615 | 176586.24 | 1.0649 | 99.3481 | 59827.33 | 0.73977 | 99.615 | 85670.4533 | 0.79784 | 98.5268 | 590922.3567 | 0.86847 | 99.8411 | 301380.1167 | 0.80299 | 98.3309 | 383319.7333 | 0.67567 | 99.4924 | 230718.67 | 0.10964
| FALSE | 111SMPL.d | 2023-04-28 20:09 | Sample |  | 174005-006 Pb | 0.061046 | 0.033037 | <0.000 | 0.043936 | 0.047121 | 0.043377 | 0.51843 | 0.48909 | 0.49229 | 0.020275 | 0.014242 | 0.024141 | 0.018073 | 15.283 | 15.0947 | 16.6061 | 17.6243 | 15.938 | 16.0113 | 0.00024331 | 0.00055725 | 100.6356 | 8269.33 | 1.1876 | 98.2461 | 415665.0067 | 0.45947 | 100.8924 | 180396.3267 | 0.77543 | 100.8324 | 60721.2 | 0.80544 | 99.6973 | 85741.2633 | 0.87858 | 99.182 | 594852 | 0.8735 | 100.8322 | 304371.74 | 0.54204 | 98.2724 | 383091.5667 | 0.62481 | 100.2119 | 232387.1333 | 0.32077
| FALSE | 112_QC2.d | 2023-04-28 20:13 | QC2 |  | qc 2 | 10.6369 | 10.0815 | 10.1602 | 10.485 | 10.492 | 10.6452 | 10.5269 | 9.8927 | 10.4809 | 0.95796 | 0.94928 | 0.97988 | 0.97411 | 9.8547 | 9.7603 | 9.8022 | 10.288 | 9.8314 | 9.8673 | 9.4824 | 9.4345 | 100.7987 | 8282.73 | 3.8385 | 98.6894 | 417540.33 | 0.091398 | 99.5224 | 177946.74 | 0.54673 | 100.0838 | 60270.3733 | 1.0132 | 100.0089 | 86009.2533 | 0.16366 | 99.5588 | 597111.69 | 0.23518 | 100.4015 | 303071.6333 | 0.11916 | 98.4139 | 383643.1133 | 0.51961 | 100.0925 | 232110.3033 | 0.34704
| FALSE | 113SMPL.d | 2023-04-28 20:16 | Sample |  | blk | 0.0047301 | 0.019674 | 0.025163 | 0.0039245 | 0.0036769 | 0.002955 | 0.0020152 | 0.0046674 | <0.000 | 0.0078415 | <0.000 | 0.013786 | 0.014373 | 0.016744 | 0.014797 | 0.01037 | 0.0091415 | 0.013303 | 0.013419 | 0.022542 | 0.020014 | 97.7268 | 8030.3067 | 2.3162 | 96.6947 | 409101.4033 | 0.37279 | 99.2272 | 177418.86 | 0.49457 | 99.3943 | 59855.1667 | 1.1963 | 98.4828 | 84696.8033 | 0.97261 | 98.4929 | 590718.8033 | 0.18015 | 99.3928 | 300026.9567 | 0.10271 | 98.2031 | 382821.5967 | 0.38406 | 100.3527 | 232713.62 | 0.54992
| FALSE | 114SMPL.d | 2023-04-28 20:20 | Sample |  | 174005-007 Pb | 0.076997 | 0.029436 | 0.0014324 | 0.010905 | 0.0097948 | 0.011246 | 0.37513 | 0.36751 | 0.37227 | 0.038868 | 0.033078 | 0.032867 | 0.036 | 0.22367 | 0.22423 | 0.23494 | 0.2463 | 0.22796 | 0.22726 | 0.0026162 | 0.0030085 | 100.3786 | 8248.2067 | 1.415 | 97.2938 | 411636.1067 | 0.53687 | 99.499 | 177904.91 | 0.42049 | 100.0207 | 60232.3933 | 1.332 | 100.004 | 86005.0033 | 0.54446 | 98.3193 | 589677.4067 | 0.35371 | 99.9675 | 301761.6467 | 0.26181 | 98.2072 | 382837.43 | 0.37752 | 100.1702 | 232290.39 | 0.39388
| FALSE | 115SMPL.d | 2023-04-28 20:24 | Sample |  | 174006-001 | 0.056258 | 0.02708 | 0.099688 | 0.0060356 | 0.0061528 | 0.0091103 | 0.13797 | 0.1227 | 0.13289 | 0.023512 | 0.018703 | 0.019531 | 0.024177 | 1.5711 | 1.5452 | 1.5798 | 1.6544 | 1.5722 | 1.561 | <0.000 | 0.00057264 | 102.4219 | 8416.11 | 1.823 | 96.3207 | 407519.0233 | 0.45059 | 98.0871 | 175380.3267 | 0.3839 | 99.4685 | 59899.86 | 0.78727 | 99.0533 | 85187.3933 | 0.62323 | 97.84 | 586802.7567 | 0.43057 | 99.5419 | 300476.8467 | 0.10049 | 97.4045 | 379708.33 | 0.37357 | 99.776 | 231376.16 | 0.69483
| FALSE | 116SMPL.d | 2023-04-28 20:28 | Sample |  | 174006-002 | 0.055192 | 0.032638 | 0.076369 | 0.0076017 | 0.0080451 | 0.013802 | 0.12948 | 0.12491 | 0.12908 | 0.013579 | 0.011925 | 0.020481 | 0.019337 | 1.6682 | 1.6256 | 1.6934 | 1.7816 | 1.6749 | 1.6722 | <0.000 | 0.00048557 | 100.1353 | 8228.22 | 3.3847 | 96.6294 | 408824.86 | 0.45255 | 98.6383 | 176365.9 | 0.91626 | 99.0124 | 59625.1967 | 1.3963 | 99.5604 | 85623.5067 | 0.9606 | 97.9998 | 587761.21 | 0.25484 | 99.9082 | 301582.7333 | 0.7602 | 97.433 | 379819.3833 | 0.63179 | 99.9404 | 231757.4567 | 0.7193
| FALSE | 117SMPL.d | 2023-04-28 20:31 | Sample |  | 174006-003 | 0.054707 | 0.052456 | 0.19944 | 0.011513 | 0.012967 | 0.020266 | 0.13183 | 0.12593 | 0.13882 | 0.03575 | 0.033324 | 0.040125 | 0.044606 | 3.7382 | 3.6967 | 3.7645 | 3.9782 | 3.7626 | 3.7535 | 0.00040725 | 0.001506 | 100.9339 | 8293.8367 | 0.62478 | 96.8925 | 409938.0733 | 0.47337 | 98.2881 | 175739.6633 | 0.58989 | 98.9089 | 59562.8367 | 0.46133 | 98.5934 | 84791.9167 | 1.0388 | 98.4343 | 590367.2367 | 0.32586 | 99.7392 | 301072.35 | 0.42002 | 97.848 | 381437.1667 | 0.52502 | 100.0668 | 232050.6333 | 0.27386
| FALSE | 118SMPL.d | 2023-04-28 20:35 | Sample |  | 174006-004 | 0.047611 | 0.03882 | 0.11993 | 0.0038022 | 0.0024105 | 0.0045906 | 0.086642 | 0.085927 | 0.079433 | 0.032803 | 0.024423 | 0.022661 | 0.030995 | 0.14534 | 0.13192 | 0.13978 | 0.13939 | 0.13948 | 0.13677 | 0.0024344 | 0.0030576 | 101.9349 | 8376.0967 | 3.5261 | 97.68 | 413269.8967 | 0.078107 | 100.3335 | 179396.93 | 0.48987 | 100.8265 | 60717.63 | 0.29539 | 100.5314 | 86458.5833 | 1.1178 | 98.6456 | 591634.4633 | 0.54035 | 100.7317 | 304068.4733 | 0.52974 | 98.1912 | 382775.1733 | 0.49507 | 100.2227 | 232412.2067 | 0.6625
| FALSE | 119SMPL.d | 2023-04-28 20:39 | Sample |  | 174008-001 | 0.36236 | 0.069864 | <0.000 | 0.0057893 | 0.0031636 | 0.0043271 | 0.084504 | 0.081126 | 0.091282 | 0.015038 | 0.029425 | 0.029762 | 0.025167 | 0.20038 | 0.19114 | 0.20817 | 0.21062 | 0.20355 | 0.20003 | <0.000 | <0.000 | 98.4844 | 8092.56 | 1.5458 | 94.9662 | 401787.99 | 0.25499 | 97.8837 | 175016.7333 | 0.97204 | 97.4451 | 58681.3367 | 0.19211 | 96.3185 | 82835.4267 | 1.1178 | 96.9214 | 581293.6367 | 0.39248 | 98.707 | 297956.8367 | 0.1547 | 94.5889 | 368732.3567 | 0.34839 | 96.5357 | 223862.1967 | 0.85818
| FALSE | 120SMPL.d | 2023-04-28 20:42 | Sample |  | 174011-001 | 8.8686 | 0.067865 | 0.20818 | 0.0061693 | 0.0071253 | 0.0073899 | 0.41204 | 0.39227 | 0.39484 | 0.023771 | 0.024694 | 0.030086 | 0.02989 | 0.38525 | 0.36427 | 0.37902 | 0.42154 | 0.38246 | 0.38374 | 0.2858 | 0.27802 | 101.6505 | 8352.72 | 2.0073 | 105.8303 | 447752.5833 | 0.41988 | 108.1139 | 193308.42 | 0.28315 | 109.4193 | 65892.2133 | 1.1331 | 96.5024 | 82993.6267 | 0.8165 | 97.2366 | 583183.94 | 0.94832 | 98.9081 | 298563.86 | 0.49566 | 92.0053 | 358660.7033 | 0.57423 | 94.7059 | 219618.9067 | 0.59814
| FALSE | 121SMPL.d | 2023-04-28 20:46 | Sample |  | 174011-002 | 2.7458 | 0.065108 | 0.1754 | 0.12764 | 0.14924 | 0.11932 | 0.23136 | 0.20117 | 0.20732 | 0.069173 | 0.082867 | 0.092748 | 0.089237 | 8.5992 | 8.5678 | 8.203 | 8.6345 | 8.3941 | 8.4072 | 0.36024 | 0.35358 | 115.2627 | 9471.25 | 0.7184 | 114.8651 | 485977.4833 | 0.53185 | 118.1802 | 211306.92 | 0.56046 | 119.6876 | 72075.79 | 1.9563 | 95.4401 | 82080.02 | 0.8632 | 97.0327 | 581961.3167 | 0.21521 | 99.1163 | 299192.3 | 0.27972 | 91.7885 | 357815.65 | 0.23087 | 94.7411 | 219700.4567 | 0.58654
| FALSE | 122SMPL.d | 2023-04-28 20:50 | Sample |  | 174013-001 | 0.3725 | 2.1994 | 1.9833 | 0.051033 | 0.045777 | 0.089311 | 0.3436 | 0.32798 | 0.35375 | 0.041163 | 0.036107 | 0.037251 | 0.040873 | 3.048 | 3.0331 | 3.1805 | 3.3934 | 3.1182 | 3.131 | 0.032376 | 0.035263 | 100.0944 | 8224.8567 | 0.71014 | 98.9648 | 418705.8033 | 0.42625 | 100.958 | 180513.5 | 0.31115 | 99.9576 | 60194.4 | 2.3035 | 99.6334 | 85686.2633 | 1.0918 | 98.8128 | 592637.56 | 1.1642 | 100.2347 | 302568.1167 | 0.54516 | 96.7241 | 377055.9433 | 1.1192 | 98.6678 | 228806.4033 | 0.028827
| FALSE | 123SMPL.d | 2023-04-28 20:54 | Sample |  | 174014-001 | 0.11488 | 0.04657 | 0.048216 | 0.007306 | 0.0097552 | 0.0065856 | 0.080756 | 0.075805 | 0.079535 | 0.027958 | 0.032479 | 0.035523 | 0.029969 | 1.1182 | 1.0866 | 1.131 | 1.1851 | 1.1172 | 1.1197 | 0.0010216 | 0.0011994 | 102.598 | 8430.5767 | 2.2658 | 98.261 | 415727.93 | 0.61314 | 101.5027 | 181487.5333 | 0.7649 | 100.0819 | 60269.2367 | 0.75107 | 99.0536 | 85187.6567 | 0.61845 | 98.61 | 591421.2167 | 0.38249 | 99.9757 | 301786.3667 | 0.052563 | 97.3732 | 379586.26 | 0.77525 | 100.3189 | 232635.1067 | 0.17729
| FALSE | 124_QC2.d | 2023-04-28 20:58 | QC2 |  | qc 2 | 10.119 | 10.0245 | 10.612 | 10.3882 | 10.3717 | 10.4382 | 10.3465 | 9.842 | 10.4122 | 0.93825 | 0.92889 | 0.95686 | 0.95151 | 9.7341 | 9.5686 | 9.6171 | 10.2544 | 9.6731 | 9.7185 | 9.2725 | 9.2302 | 100.8118 | 8283.81 | 3.6036 | 98.4021 | 416325.02 | 0.54667 | 99.7359 | 178328.36 | 0.38611 | 100.8454 | 60728.9967 | 0.45362 | 100.3836 | 86331.48 | 1.0565 | 99.5627 | 597135.2733 | 0.48754 | 100.661 | 303854.9167 | 0.49316 | 98.3778 | 383502.3533 | 0.52601 | 100.8313 | 233823.3667 | 0.62826
| FALSE | 125SMPL.d | 2023-04-28 21:01 | Sample |  | blk | <0.000 | 0.013957 | <0.000 | 0.003352 | 0.0054442 | 0.0024117 | 0.002736 | <0.000 | 0.00079106 | 0.0036551 | <0.000 | 0.0090647 | 0.0041148 | 0.01183 | 0.0057498 | 0.011604 | 0.0085445 | 0.011499 | 0.0088844 | 0.01908 | 0.017627 | 100.0135 | 8218.21 | 1.2231 | 96.9771 | 410295.8067 | 0.53392 | 99.5249 | 177951.21 | 1.248 | 100.7101 | 60647.54 | 0.43687 | 99.3446 | 85437.95 | 0.83021 | 98.3337 | 589763.9767 | 0.13545 | 100.5465 | 303509.41 | 0.42326 | 98.6614 | 384607.9333 | 0.86647 | 100.4856 | 233021.7733 | 0.22845
| FALSE | 126SMPL.d | 2023-04-28 21:05 | Sample |  | 174015-001 | 0.065191 | 0.061744 | <0.000 | 0.0049667 | 0.0067645 | 0.0064238 | 0.059987 | 0.060146 | 0.064247 | 0.040327 | 0.031153 | 0.043596 | 0.043536 | 0.23874 | 0.23961 | 0.23905 | 0.25827 | 0.23822 | 0.24583 | 0.019653 | 0.019907 | 99.0801 | 8141.5133 | 1.3348 | 96.6915 | 409087.6967 | 0.19503 | 99.2431 | 177447.2167 | 1.2037 | 99.0516 | 59648.7967 | 1.077 | 98.5152 | 84724.6733 | 0.40032 | 97.7771 | 586426.0667 | 0.29784 | 99.3411 | 299870.8533 | 0.75784 | 96.2061 | 375036.5833 | 0.28255 | 97.8732 | 226963.6567 | 0.33888
| FALSE | 127SMPL.d | 2023-04-28 21:09 | Sample |  | 174018-001 | 0.045664 | 0.032921 | <0.000 | 0.053566 | 0.047473 | 0.044704 | 0.053445 | 0.050908 | 0.053679 | 0.027142 | 0.022608 | 0.034226 | 0.035932 | 0.27071 | 0.27457 | 0.28247 | 0.308 | 0.2771 | 0.28908 | 0.00086233 | 0.0015828 | 98.8906 | 8125.9367 | 1.3211 | 98.6738 | 417474.3967 | 0.38132 | 100.9113 | 180429.97 | 1.2738 | 101.4567 | 61097.1433 | 1.6662 | 101.2805 | 87102.8367 | 1.2536 | 99.5343 | 596964.9167 | 0.43615 | 101.1601 | 305361.6733 | 0.6231 | 98.857 | 385370.7 | 0.23597 | 100.7577 | 233652.8 | 0.50453
| FALSE | 128SMPL.d | 2023-04-28 21:13 | Sample |  | 174018-002 | 0.10137 | 0.022211 | 0.072227 | 0.017154 | 0.022401 | 0.019649 | 0.1112 | 0.097412 | 0.10287 | 0.030882 | 0.030905 | 0.033067 | 0.034943 | 0.15302 | 0.15133 | 0.15079 | 0.16393 | 0.15205 | 0.15425 | <0.000 | <0.000 | 98.8228 | 8120.3667 | 1.6962 | 97.6865 | 413297.46 | 0.58738 | 100.2802 | 179301.72 | 0.4894 | 100.5452 | 60548.24 | 0.82449 | 100.1717 | 86149.26 | 0.64081 | 98.6748 | 591809.91 | 0.60656 | 100.6968 | 303963 | 0.51605 | 97.9424 | 381805.17 | 0.39517 | 100.3762 | 232768.13 | 0.45299
| FALSE | 129SMPL.d | 2023-04-28 21:16 | Sample |  | 174018-003 | 0.049601 | 0.035816 | <0.000 | 0.045082 | 0.044288 | 0.038589 | 0.066125 | 0.059289 | 0.057965 | 0.036145 | 0.028056 | 0.036605 | 0.039756 | 0.02349 | 0.0214 | 0.021333 | 0.02153 | 0.02093 | 0.022019 | 0.0017708 | 0.0017753 | 101.0146 | 8300.4667 | 1.8985 | 97.855 | 414010.06 | 0.30061 | 100.8409 | 180304.09 | 0.6839 | 100.3562 | 60434.4 | 1.9162 | 100.3418 | 86295.5733 | 0.9415 | 98.927 | 593322.46 | 0.7092 | 100.742 | 304099.5567 | 0.82063 | 97.8829 | 381573.11 | 0.18786 | 100.6158 | 233323.7233 | 0.75318
| FALSE | 130SMPL.d | 2023-04-28 21:20 | Sample |  | 174018-004 | 0.72098 | 0.074481 | 0.098746 | 0.026408 | 0.028122 | 0.028421 | 0.11752 | 0.10554 | 0.1104 | 0.023176 | 0.033015 | 0.036333 | 0.032722 | 0.112 | 0.11121 | 0.11746 | 0.11309 | 0.11189 | 0.11134 | <0.000 | 0.00057128 | 99.7565 | 8197.09 | 3.3563 | 96.4638 | 408124.4367 | 0.55782 | 99.1877 | 177348.2567 | 0.5507 | 99.6999 | 60039.18 | 0.084328 | 100.0208 | 86019.4933 | 1.1285 | 98.0285 | 587933.4533 | 0.30042 | 100.3104 | 302796.6967 | 0.38838 | 97.3079 | 379331.9233 | 0.2953 | 99.8522 | 231553.0533 | 0.51946
| FALSE | 131SMPL.d | 2023-04-28 21:24 | Sample |  | 174028-001 | 1.5457 | 0.050893 | <0.000 | 0.0075654 | 0.0042566 | 0.021897 | 0.22265 | 0.20873 | 0.21705 | <0.000 | <0.000 | <0.000 | <0.000 | 1.458 | 1.4442 | 1.4846 | 1.5916 | 1.4786 | 1.4728 | 0.013168 | 0.013069 | 107.0357 | 8795.2333 | 0.65938 | 96.2437 | 407192.93 | 0.10287 | 98.6423 | 176373.0567 | 1.1068 | 100.3708 | 60443.2233 | 0.3773 | 99.7204 | 85761.1233 | 1.1388 | 97.9798 | 587641.2167 | 0.66816 | 99.5234 | 300421.1 | 0.46572 | 97.561 | 380318.3567 | 0.71869 | 100.491 | 233034.3167 | 0.26144
| FALSE | 132SMPL.d | 2023-04-28 21:28 | Sample |  | 174029-001 | 3.3933 | 0.026192 | 0.086708 | 0.0052076 | 0.0040583 | 0.0043712 | 0.053564 | 0.053788 | 0.056041 | <0.000 | <0.000 | <0.000 | <0.000 | 4.965 | 4.9186 | 5.1084 | 5.427 | 5.0489 | 5.0694 | 0.0010124 | 0.0011443 | 104.1403 | 8557.31 | 1.3849 | 98.1449 | 415236.6333 | 0.42455 | 100.7653 | 180169.0433 | 1.0946 | 104.1605 | 62725.3667 | 0.65837 | 98.77 | 84943.7633 | 1.0327 | 96.9458 | 581439.74 | 0.50748 | 100.7348 | 304077.71 | 0.27501 | 94.2547 | 367429.5467 | 0.39278 | 97.0065 | 224953.8133 | 0.67864
| FALSE | 133SMPL.d | 2023-04-28 21:31 | Sample |  | 174030-001 | 1.0787 | 0.12793 | 0.14305 | 0.0017458 | 0.00059673 | 0.0033556 | 0.049712 | 0.049552 | 0.052315 | <0.000 | <0.000 | <0.000 | <0.000 | 0.074132 | 0.072144 | 0.070739 | 0.075471 | 0.071468 | 0.073648 | 0.14409 | 0.13617 | 102.7194 | 8440.5567 | 2.7151 | 97.7513 | 413571.6733 | 0.25629 | 99.1574 | 177294.1433 | 0.64569 | 101.1284 | 60899.4033 | 0.42661 | 100.6074 | 86523.9267 | 0.79313 | 98.6912 | 591907.9167 | 0.5386 | 100.9483 | 304722.3133 | 0.57319 | 94.9855 | 370278.3467 | 0.84046 | 98.1913 | 227701.3167 | 0.334
| FALSE | 134SMPL.d | 2023-04-28 21:35 | Sample |  | 174031-001 | 0.15368 | 0.020574 | <0.000 | 0.0069824 | 0.0071537 | 0.0080935 | 0.089725 | 0.07528 | 0.084475 | <0.000 | <0.000 | <0.000 | <0.000 | 2.1204 | 2.0929 | 2.1848 | 2.3025 | 2.1443 | 2.1483 | 0.0013282 | 0.001849 | 103.1931 | 8479.48 | 1.2397 | 98.9085 | 418467.4433 | 0.21319 | 101.0052 | 180597.8633 | 0.95016 | 101.983 | 61414.0567 | 0.24546 | 101.4041 | 87209.1233 | 0.95808 | 99.5447 | 597026.9367 | 0.33334 | 101.6818 | 306936.4633 | 0.1648 | 102.4459 | 399360.8367 | 0.60358 | 105.3873 | 244388.65 | 0.53777
| FALSE | 135SMPL.d | 2023-04-28 21:39 | Sample |  | 174035-001 | 0.13045 | 0.021345 | <0.000 | 0.010621 | 0.011157 | 0.0074903 | 0.15178 | 0.14329 | 0.16228 | <0.000 | <0.000 | <0.000 | <0.000 | 0.097662 | 0.095928 | 0.099832 | 0.10306 | 0.096732 | 0.098035 | 0.02424 | 0.024998 | 97.4968 | 8011.41 | 2.1036 | 95.7233 | 404991.36 | 0.29201 | 98.0247 | 175268.87 | 1.0891 | 98.3121 | 59203.48 | 1.0918 | 96.329 | 82844.43 | 0.35256 | 96.4598 | 578525.2033 | 0.41531 | 98.5886 | 297599.4467 | 0.18689 | 92.4613 | 360438.6033 | 0.91386 | 94.7811 | 219793.2967 | 0.93149
| FALSE | 136_QC2.d | 2023-04-28 21:43 | QC2 |  | qc 2 | 10.3251 | 10.319 | 10.3292 | 10.6176 | 10.5319 | 10.6642 | 10.5905 | 10.0931 | 10.6613 | 0.92722 | 0.97115 | 0.95007 | 0.95991 | 9.9089 | 9.8201 | 9.8071 | 10.4096 | 9.8892 | 9.9024 | 9.4591 | 9.4094 | 101.7722 | 8362.72 | 0.27894 | 96.9785 | 410302.1133 | 0.3751 | 98.8013 | 176657.3667 | 1.5432 | 99.8299 | 60117.49 | 1.2331 | 99.3112 | 85409.2367 | 1.4466 | 98.5712 | 591188.72 | 0.65234 | 100.8932 | 304556.09 | 1.2504 | 97.8801 | 381562.29 | 0.80497 | 101.0196 | 234259.9967 | 1.3554
| FALSE | 137SMPL.d | 2023-04-28 21:46 | Sample |  | blk | <0.000 | 0.009766 | <0.000 | 0.0015317 | 0.0012242 | 0.0014687 | 0.0040864 | 0.00013598 | 0.0024429 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.0069565 | 0.0036921 | 99.5399 | 8179.2933 | 1.7734 | 98.0461 | 414818.8533 | 0.38744 | 99.3476 | 177634.0733 | 1.0139 | 99.8352 | 60120.6733 | 0.48915 | 100.5709 | 86492.5633 | 0.87072 | 98.595 | 591330.9033 | 0.059437 | 100.1877 | 302426.3933 | 1.0144 | 97.8439 | 381421.2433 | 0.43495 | 100.0116 | 231922.5667 | 0.43287
| FALSE | 138SMPL.d | 2023-04-28 21:50 | Sample |  | 174035-002 | 0.16192 | 0.04767 | 0.078213 | 4.5139 | 4.5227 | 4.5573 | 0.18494 | 0.17563 | 0.18829 | <0.000 | <0.000 | <0.000 | <0.000 | 0.2934 | 0.29963 | 0.29961 | 0.31884 | 0.29838 | 0.29875 | 0.030151 | 0.03143 | 96.1707 | 7902.4467 | 1.0995 | 94.875 | 401402.36 | 0.29615 | 96.8324 | 173137.03 | 0.92684 | 97.8603 | 58931.4067 | 1.2811 | 96.338 | 82852.2133 | 0.78197 | 96.1634 | 576747.24 | 0.34682 | 98.5938 | 297615.0767 | 0.89956 | 91.8202 | 357939.2933 | 0.38882 | 94.053 | 218104.77 | 0.31512
| FALSE | 139SMPL.d | 2023-04-28 21:54 | Sample |  | 174036-001 | 0.48247 | 0.033299 | 0.03366 | 0.0019015 | 0.0027139 | 0.0018547 | 0.18829 | 0.17634 | 0.168 | <0.000 | <0.000 | <0.000 | <0.000 | 0.28967 | 0.29245 | 0.30447 | 0.32009 | 0.29671 | 0.29256 | 0.027568 | 0.029371 | 112.3941 | 9235.5367 | 4.0376 | 101.0963 | 427723.5967 | 1.7767 | 107.9645 | 193041.1933 | 1.2387 | 108.2389 | 65181.37 | 2.8838 | 107.0946 | 92103.0733 | 2.6224 | 99.8127 | 598634.4867 | 1.1514 | 102.9934 | 310895.62 | 1.3499 | 97.8937 | 381615.3267 | 1.4411 | 100.747 | 233627.9 | 0.72503
| FALSE | 140SMPL.d | 2023-04-28 21:58 | Sample |  | 174036-002 | 0.56437 | 0.045153 | <0.000 | 0.022881 | 0.023875 | 0.020819 | 0.16422 | 0.15055 | 0.16564 | <0.000 | <0.000 | <0.000 | <0.000 | 0.07735 | 0.07152 | 0.066135 | 0.075488 | 0.070695 | 0.073225 | 0.02888 | 0.029765 | 105.845 | 8697.3933 | 2.0805 | 98.8529 | 418232.1667 | 0.53664 | 101.862 | 182129.9367 | 1.3002 | 101.865 | 61343.01 | 0.65967 | 101.1701 | 87007.8567 | 1.2805 | 98.9554 | 593492.77 | 0.92281 | 101.1901 | 305452.18 | 0.83425 | 97.3425 | 379466.8167 | 0.49471 | 99.5958 | 230958.4733 | 0.36544
| FALSE | 141SMPL.d | 2023-04-28 22:01 | Sample |  | 174037-001 | 0.49066 | 0.018096 | 0.092697 | 0.0042433 | 0.0071261 | 0.0042551 | 0.16035 | 0.15741 | 0.15737 | <0.000 | <0.000 | <0.000 | <0.000 | 0.14967 | 0.14798 | 0.14489 | 0.15732 | 0.14811 | 0.15017 | 0.010433 | 0.010427 | 104.6139 | 8596.23 | 2.7796 | 98.3339 | 416036.2167 | 0.40734 | 100.0853 | 178953.13 | 0.5467 | 102.0964 | 61482.3567 | 0.38335 | 100.45 | 86388.6267 | 0.10026 | 98.9953 | 593732.2367 | 0.39212 | 100.8423 | 304402.4167 | 0.65543 | 98.0382 | 382178.5967 | 0.63241 | 101.0154 | 234250.33 | 0.57098
| FALSE | 142SMPL.d | 2023-04-28 22:05 | Sample |  | 174037-002 | 0.52861 | 0.030591 | 0.16464 | 0.024959 | 0.028664 | 0.02224 | 0.16279 | 0.15624 | 0.17283 | 0.013094 | 0.0066479 | 0.019087 | 0.01312 | 0.23882 | 0.23348 | 0.24161 | 0.25004 | 0.2393 | 0.23803 | 0.015163 | 0.016398 | 101.2583 | 8320.4933 | 0.69136 | 99.1564 | 419516.1833 | 0.76181 | 100.123 | 179020.5733 | 1.3892 | 101.9055 | 61367.3967 | 0.83186 | 101.655 | 87424.9133 | 1.7194 | 99.4035 | 596180.2267 | 0.35728 | 101.4637 | 306277.9933 | 0.6475 | 98.0506 | 382227.06 | 0.37278 | 100.7596 | 233657.1567 | 0.2734
| FALSE | 143SMPL.d | 2023-04-28 22:09 | Sample |  | 174038-001 | 0.045786 | 0.043764 | 0.019745 | 0.0089586 | 0.010065 | 0.0071102 | 0.13162 | 0.13119 | 0.14829 | <0.000 | <0.000 | <0.000 | <0.000 | 0.66969 | 0.6586 | 0.7085 | 0.74492 | 0.68139 | 0.68537 | <0.000 | 0.00036067 | 102.6791 | 8437.2467 | 2.7118 | 98.1369 | 415202.7733 | 0.087294 | 101.2809 | 181090.8933 | 2.3953 | 102.606 | 61789.23 | 1.0794 | 102.1048 | 87811.7567 | 0.17925 | 98.7634 | 592340.96 | 0.61141 | 101.4732 | 306306.7433 | 0.38004 | 97.5705 | 380355.39 | 0.26878 | 100.495 | 233043.4633 | 0.34333
| FALSE | 144SMPL.d | 2023-04-28 22:13 | Sample |  | 174038-002 | 0.065032 | 0.041893 | 0.071395 | 0.04423 | 0.049539 | 0.045257 | 0.19564 | 0.19444 | 0.20383 | <0.000 | <0.000 | <0.000 | <0.000 | 0.88321 | 0.86252 | 0.89322 | 0.97725 | 0.887 | 0.89624 | <0.000 | 0.00067723 | 102.9225 | 8457.2433 | 0.19449 | 97.7797 | 413691.65 | 0.67488 | 99.6909 | 178247.9867 | 0.47358 | 100.8581 | 60736.6467 | 0.14882 | 101.0052 | 86866.0733 | 0.66952 | 98.2772 | 589425.2067 | 0.4253 | 101.1985 | 305477.45 | 0.13913 | 97.3614 | 379540.41 | 0.86219 | 99.9096 | 231686.1267 | 0.42536
| FALSE | 145SMPL.d | 2023-04-28 22:16 | Sample |  | 174038-003 | 0.027782 | 0.033708 | 0.04766 | 0.04591 | 0.043594 | 0.043182 | 0.13321 | 0.12159 | 0.12615 | <0.000 | <0.000 | <0.000 | <0.000 | 2.8216 | 2.8043 | 2.953 | 3.0922 | 2.883 | 2.9068 | <0.000 | <0.000 | 102.5705 | 8428.3233 | 1.7224 | 97.8107 | 413822.8733 | 0.53656 | 99.4103 | 177746.1967 | 0.58814 | 100.5993 | 60580.7967 | 0.44971 | 100.7153 | 86616.7767 | 0.41346 | 98.5929 | 591318.5167 | 0.52055 | 100.8289 | 304361.85 | 0.094158 | 97.1155 | 378581.7667 | 0.60948 | 99.8493 | 231546.31 | 0.28661
| FALSE | 146SMPL.d | 2023-04-28 22:20 | Sample |  | 174038-004 | 0.033295 | 0.030818 | 0.17008 | 0.073171 | 0.081271 | 0.07872 | 0.18904 | 0.17341 | 0.19062 | <0.000 | <0.000 | <0.000 | <0.000 | 1.9909 | 1.966 | 2.0739 | 2.219 | 2.0246 | 2.0415 | <0.000 | <0.000 | 101.5561 | 8344.9667 | 0.95985 | 96.7845 | 409481.2133 | 0.32977 | 99.4442 | 177806.8733 | 0.89605 | 100.5303 | 60539.2833 | 1.4981 | 100.2819 | 86244.0467 | 0.24351 | 98.0503 | 588064.14 | 0.44147 | 101.0518 | 305034.7767 | 0.30463 | 96.7678 | 377226.3667 | 0.43693 | 99.9299 | 231733.06 | 0.62444
| FALSE | 147SMPL.d | 2023-04-28 22:24 | Sample |  | 174039-001 | 0.10354 | 0.032188 | 0.050981 | 0.040861 | 0.031953 | 0.049994 | 0.11595 | 0.10165 | 0.12006 | <0.000 | <0.000 | <0.000 | <0.000 | 2.1836 | 2.1552 | 2.2435 | 2.3736 | 2.2175 | 2.2199 | 0.0010289 | 0.0012227 | 99.8242 | 8202.6533 | 2.0081 | 96.8619 | 409808.7367 | 0.4805 | 99.3821 | 177695.9033 | 1.3036 | 99.2279 | 59754.9767 | 0.56899 | 98.8936 | 85050.0333 | 0.65608 | 97.7988 | 586556.06 | 0.27288 | 100.0928 | 302139.8033 | 0.12791 | 94.7072 | 369193.4233 | 0.19617 | 97.1255 | 225229.7567 | 0.24594
| FALSE | 148_QC2.d | 2023-04-28 22:28 | QC2 |  | qc 2 | 10.204 | 10.2304 | 10.6337 | 10.5639 | 10.4779 | 10.6169 | 10.532 | 9.9913 | 10.6097 | 0.93701 | 0.94815 | 0.95167 | 0.9668 | 9.8233 | 9.7053 | 9.7752 | 10.4129 | 9.8127 | 9.8636 | 9.431 | 9.3878 | 100.7983 | 8282.6933 | 2.6027 | 97.1411 | 410989.9867 | 0.091936 | 99.3411 | 177622.46 | 0.84621 | 100.6561 | 60615.01 | 0.51467 | 100.3598 | 86310.9833 | 0.51611 | 98.6535 | 591681.9467 | 0.1284 | 100.8282 | 304359.89 | 0.22654 | 98.3344 | 383333.3267 | 0.46797 | 100.7007 | 233520.6633 | 0.46248
| FALSE | 149SMPL.d | 2023-04-28 22:31 | Sample |  | blk | 0.0026072 | 0.018442 | 0.078554 | 0.001596 | 0.00064913 | <0.000 | 0.001723 | 0.002332 | 0.0015318 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.010783 | 0.0062564 | 97.8892 | 8043.6567 | 1.8698 | 96.0502 | 406374.3833 | 0.21217 | 98.9207 | 176870.8233 | 1.3678 | 98.0584 | 59050.6633 | 0.26369 | 98.9119 | 85065.7933 | 0.44983 | 97.9946 | 587730.5267 | 0.21752 | 99.9106 | 301589.8133 | 0.24675 | 96.9057 | 377763.7967 | 0.26674 | 99.6446 | 231071.56 | 0.16924
| FALSE | 150SMPL.d | 2023-04-28 22:35 | Sample |  | 174039-002 | 0.11571 | 0.032708 | 0.14592 | 0.16671 | 0.18586 | 0.17221 | 0.16017 | 0.14265 | 0.14682 | <0.000 | <0.000 | <0.000 | <0.000 | 0.62607 | 0.62257 | 0.6494 | 0.70509 | 0.6346 | 0.64893 | 0.0025648 | 0.003634 | 99.6616 | 8189.2967 | 2.1994 | 96.3062 | 407457.33 | 0.87568 | 98.1534 | 175498.9033 | 0.53912 | 100.3076 | 60405.17 | 1.0228 | 98.124 | 84388.1533 | 1.0776 | 97.8003 | 586565.13 | 0.34868 | 100.1249 | 302236.7367 | 1.0666 | 94.8496 | 369748.7967 | 0.76887 | 97.1478 | 225281.45 | 0.79599
| FALSE | 151SMPL.d | 2023-04-28 22:39 | Sample |  | 174039-003 | 0.035115 | 0.040201 | 0.072538 | 0.19646 | 0.19675 | 0.20454 | 0.1259 | 0.11345 | 0.12044 | <0.000 | <0.000 | <0.000 | <0.000 | 1.4011 | 1.3612 | 1.4671 | 1.5544 | 1.4243 | 1.4186 | <0.000 | <0.000 | 101.4609 | 8337.14 | 2.1287 | 95.9465 | 405935.49 | 0.36582 | 97.3749 | 174107.0267 | 0.42768 | 100.0486 | 60249.15 | 1.2951 | 98.717 | 84898.2133 | 0.91353 | 98.0157 | 587856.76 | 0.26139 | 100.3264 | 302844.98 | 0.2191 | 95.4078 | 371924.57 | 0.46994 | 98.6583 | 228784.4467 | 0.38434
| FALSE | 152SMPL.d | 2023-04-28 22:43 | Sample |  | 174039-004 | 0.04663 | 0.053911 | 0.023533 | 0.71459 | 0.74686 | 0.73303 | 0.12629 | 0.12296 | 0.12184 | <0.000 | <0.000 | <0.000 | <0.000 | 1.302 | 1.2509 | 1.3588 | 1.4629 | 1.3227 | 1.3319 | <0.000 | <0.000 | 102.9088 | 8456.12 | 1.9019 | 95.8433 | 405498.9433 | 0.13715 | 98.3966 | 175933.82 | 0.49534 | 100.3058 | 60404.0467 | 1.0719 | 98.8691 | 85029.0033 | 0.80619 | 97.6863 | 585881.4867 | 0.67943 | 100.292 | 302741.16 | 0.27565 | 95.1943 | 371092.2433 | 0.67491 | 98.0002 | 227258.22 | 0.68338
| FALSE | 153SMPL.d | 2023-04-28 22:46 | Sample |  | 174040-001 | 0.13164 | 0.052302 | 0.12115 | 0.17233 | 0.17438 | 0.17225 | 0.09785 | 0.079568 | 0.092954 | <0.000 | <0.000 | <0.000 | <0.000 | 4.8392 | 4.7763 | 5.0536 | 5.3446 | 4.9191 | 4.9541 | <0.000 | <0.000 | 100.3653 | 8247.1133 | 1.2275 | 96.7864 | 409489.2233 | 0.45114 | 98.6843 | 176448.1967 | 0.99891 | 100.6209 | 60593.8433 | 0.69864 | 99.9568 | 85964.4667 | 0.67992 | 98.544 | 591025.1 | 0.51997 | 101.1932 | 305461.4367 | 0.80121 | 98.0408 | 382188.7367 | 0.47019 | 100.9183 | 234025.14 | 1.0765
| FALSE | 154SMPL.d | 2023-04-28 22:50 | Sample |  | 174040-002 | 0.023097 | 0.064482 | <0.000 | 0.3619 | 0.36485 | 0.35447 | 0.15356 | 0.13984 | 0.13946 | <0.000 | <0.000 | <0.000 | <0.000 | 2.6418 | 2.6332 | 2.7161 | 2.896 | 2.6751 | 2.6903 | <0.000 | <0.000 | 106.1967 | 8726.29 | 3.2898 | 97.2826 | 411588.5767 | 0.30086 | 99.3475 | 177633.9467 | 0.55547 | 103.9773 | 62615.0533 | 1.337 | 103.686 | 89171.6433 | 1.2093 | 98.5403 | 591003.4 | 0.58831 | 102.4742 | 309328.2167 | 0.53861 | 98.4958 | 383962.6267 | 0.57728 | 101.7866 | 236038.7133 | 0.54811
| FALSE | 155SMPL.d | 2023-04-28 22:54 | Sample |  | 174040-003 | 0.083816 | 0.043679 | 0.16246 | 0.055376 | 0.055728 | 0.05702 | 0.23683 | 0.20572 | 0.20941 | <0.000 | <0.000 | <0.000 | <0.000 | 0.97398 | 0.95839 | 0.99566 | 1.0627 | 0.97977 | 0.9915 | <0.000 | <0.000 | 102.8815 | 8453.8733 | 1.9975 | 98.1403 | 415217.3733 | 0.23349 | 101.7957 | 182011.3333 | 0.51905 | 102.7299 | 61863.83 | 0.47332 | 102.9303 | 88521.72 | 0.68886 | 99.4361 | 596375.74 | 0.44875 | 102.0268 | 307977.8233 | 0.36584 | 99.4084 | 387520.2333 | 0.40419 | 102.0013 | 236536.6833 | 0.065747
| FALSE | 156SMPL.d | 2023-04-28 22:58 | Sample |  | 174040-004 | 0.095536 | 0.049741 | 0.25023 | 0.15215 | 0.16456 | 0.14564 | 0.18487 | 0.17159 | 0.18666 | <0.000 | <0.000 | <0.000 | <0.000 | 1.9917 | 1.9542 | 2.0662 | 2.1796 | 2.019 | 2.0263 | <0.000 | <0.000 | 103.3826 | 8495.0533 | 2.4676 | 100.261 | 424189.7733 | 0.4802 | 103.2019 | 184525.57 | 0.74604 | 104.4036 | 62871.7433 | 0.40007 | 104.0881 | 89517.3733 | 1.8661 | 100.0649 | 600147.1033 | 0.55805 | 102.7433 | 310140.7833 | 0.43208 | 99.113 | 386368.43 | 0.51157 | 102.528 | 237758.04 | 0.087766
| FALSE | 157SMPL.d | 2023-04-28 23:01 | Sample |  | 174043-001 | 0.42257 | 0.0066998 | 0.15075 | 0.0047102 | 0.005077 | 0.0042003 | 0.10397 | 0.089162 | 0.095171 | <0.000 | <0.000 | <0.000 | <0.000 | 2.205 | 2.1382 | 2.2346 | 2.3946 | 2.2128 | 2.2125 | 0.053582 | 0.056035 | 117.3737 | 9644.7133 | 1.7559 | 99.5125 | 421022.94 | 0.16673 | 102.4564 | 183192.7133 | 0.92445 | 106.6781 | 64241.44 | 1.397 | 100.2468 | 86213.8067 | 0.96295 | 96.4368 | 578387.0933 | 0.72268 | 100.0675 | 302063.37 | 0.13871 | 90.8822 | 354282.86 | 0.096382 | 94.6562 | 219503.58 | 0.17695
| FALSE | 158SMPL.d | 2023-04-28 23:05 | Sample |  | 174045-001 | 0.1306 | 0.009116 | 0.0086132 | 0.0043116 | 0.00273 | 0.0020695 | 0.084547 | 0.08002 | 0.093064 | <0.000 | <0.000 | <0.000 | <0.000 | 1.0276 | 1.0305 | 1.0605 | 1.1142 | 1.0511 | 1.0485 | 0.074492 | 0.073967 | 107.2251 | 8810.79 | 2.9087 | 100.572 | 425505.4833 | 0.075269 | 104.2013 | 186312.5067 | 0.66003 | 108.2477 | 65186.6433 | 1.1552 | 102.0376 | 87753.9833 | 1.2057 | 97.1463 | 582642.28 | 0.46061 | 101.7118 | 307026.8967 | 0.11711 | 91.5514 | 356891.2133 | 0.38016 | 95.8787 | 222338.5033 | 0.86886
| FALSE | 159SMPL.d | 2023-04-28 23:09 | Sample |  | 174046-001 | 0.031657 | <0.000 | 0.017739 | 0.0013185 | 0.0017247 | <0.000 | 0.043676 | 0.035189 | 0.039836 | <0.000 | <0.000 | <0.000 | <0.000 | 0.12643 | 0.12177 | 0.1308 | 0.13446 | 0.12507 | 0.12563 | <0.000 | <0.000 | 134.1399 | 11022.4067 | 1.1726 | 98.309 | 415931.28 | 0.70523 | 101.7397 | 181911.2633 | 0.60085 | 103.4172 | 62277.7533 | 1.247 | 99.2316 | 85340.7567 | 0.86113 | 96.287 | 577488.7833 | 0.98414 | 99.417 | 300099.86 | 0.2329 | 89.9883 | 350798.1367 | 0.60194 | 93.3358 | 216441.7167 | 0.82467
| FALSE | 160_QC2.d | 2023-04-28 23:13 | QC2 |  | qc 2 | 10.5116 | 10.3213 | 11.2768 | 10.2441 | 9.9358 | 10.0219 | 10.1552 | 9.746 | 10.1969 | 0.92185 | 0.92773 | 0.93364 | 0.93199 | 9.798 | 9.7086 | 9.7203 | 10.3236 | 9.7936 | 9.8388 | 9.3092 | 9.2402 | 116.9139 | 9606.93 | 6.311 | 106.3974 | 450151.7233 | 1.3266 | 109.136 | 195135.8267 | 1.3165 | 116.6404 | 70240.7667 | 3.8467 | 113.3895 | 97516.7767 | 2.3057 | 102.708 | 615999.0367 | 0.52286 | 107.0759 | 323218.9667 | 0.34886 | 100.8284 | 393055.4567 | 0.77659 | 104.0549 | 241298.7467 | 0.51614
| FALSE | 161SMPL.d | 2023-04-28 23:16 | Sample |  | blk | <0.000 | 0.0047653 | 0.097561 | 0.0020663 | 0.0021281 | 0.0015484 | 0.0026593 | 0.0048092 | 0.00080183 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.012108 | 0.0084734 | 109.9857 | 9037.6333 | 1.1124 | 103.8521 | 439383.0967 | 0.261 | 107.5522 | 192304.1033 | 0.54413 | 109.7179 | 66072.05 | 0.95322 | 107.9672 | 92853.48 | 0.20598 | 100.9098 | 605214.4133 | 0.11751 | 104.8583 | 316525.0367 | 0.34649 | 98.8708 | 385424.3867 | 0.15973 | 102.4895 | 237668.7167 | 0.33211
| FALSE | 162SMPL.d | 2023-04-28 23:20 | Sample |  | 174047-001 | 1.1798 | 0.037282 | 0.0099783 | 0.0023655 | 0.0010392 | 0.00050241 | 0.096211 | 0.079017 | 0.086303 | <0.000 | <0.000 | 0.0021581 | <0.000 | 0.097524 | 0.094624 | 0.092431 | 0.10453 | 0.094787 | 0.098449 | 0.0045402 | 0.0046539 | 109.5796 | 9004.2633 | 1.352 | 101.1565 | 427978.6367 | 1.1819 | 103.9567 | 185875.2833 | 0.21228 | 108.1125 | 65105.23 | 1.0594 | 103.6042 | 89101.2633 | 0.62395 | 99.465 | 596548.88 | 0.46564 | 102.9545 | 310778.22 | 0.29559 | 95.3407 | 371663.13 | 0.37897 | 98.3039 | 227962.5367 | 0.72628
| FALSE | 163SMPL.d | 2023-04-28 23:24 | Sample |  | 174041-003 | 0.5214 | 0.077559 | 0.13379 | 0.016564 | 0.015744 | 0.019124 | 0.22386 | 0.22465 | 0.23323 | <0.000 | <0.000 | <0.000 | <0.000 | 0.33232 | 0.34262 | 0.34578 | 0.37138 | 0.34204 | 0.34618 | 0.061267 | 0.06077 | 103.0984 | 8471.7 | 2.1252 | 99.3885 | 420498.2967 | 0.42309 | 102.2054 | 182743.8567 | 1.0304 | 104.172 | 62732.2867 | 0.63309 | 99.2335 | 85342.3933 | 1.0808 | 95.8931 | 575126.46 | 0.67777 | 98.8254 | 298314.11 | 0.098214 | 87.5061 | 341121.7267 | 0.24765 | 90.4491 | 209747.5933 | 0.096562
| FALSE | 164SMPL.d | 2023-04-28 23:28 | Sample |  | 174041-004 | 0.4628 | 0.064324 | 0.11679 | 0.0037209 | 0.00059193 | 0.0042708 | 0.33578 | 0.30486 | 0.3365 | <0.000 | <0.000 | <0.000 | <0.000 | 0.11413 | 0.12054 | 0.11562 | 0.13051 | 0.11568 | 0.11983 | 0.050623 | 0.050503 | 101.7588 | 8361.62 | 0.83119 | 96.6366 | 408855.32 | 0.18162 | 99.6149 | 178112.1 | 0.12819 | 101.7942 | 61300.3867 | 0.92262 | 96.9439 | 83373.28 | 0.51154 | 95.4723 | 572602.54 | 0.44769 | 98.9659 | 298738.3433 | 0.22251 | 87.5017 | 341104.6733 | 0.17208 | 89.881 | 208430.1567 | 0.46659
| FALSE | 165SMPL.d | 2023-04-28 23:31 | Sample |  | 174048-001 | 0.1641 | 0.1245 | 0.043877 | 0.00531 | 0.0059207 | 0.0097034 | 0.19211 | 0.16986 | 0.17765 | <0.000 | <0.000 | <0.000 | <0.000 | 0.69678 | 0.67538 | 0.70793 | 0.75166 | 0.70219 | 0.70183 | 0.26344 | 0.26577 | 100.0404 | 8220.42 | 1.3117 | 100.5793 | 425536.3667 | 0.69335 | 100.5884 | 179852.78 | 0.83597 | 102.4999 | 61725.3533 | 0.47166 | 100.2223 | 86192.7667 | 0.20224 | 98.9039 | 593183.97 | 0.89494 | 101.4612 | 306270.4467 | 0.74486 | 93.1037 | 362942.5767 | 0.36472 | 97.2202 | 225449.4567 | 0.76384
| FALSE | 166SMPL.d | 2023-04-28 23:35 | Sample |  | 174055-001 Pb Hg | 0.027689 | 0.025724 | 0.085998 | 0.00064048 | 0.0011302 | 0.00082115 | 0.23814 | 0.21309 | 0.23202 | <0.000 | <0.000 | <0.000 | <0.000 | 0.10408 | 0.10873 | 0.10391 | 0.10723 | 0.10317 | 0.10401 | 0.0021941 | 0.0023548 | 103.7069 | 8521.7 | 1.1724 | 101.1423 | 427918.16 | 0.43678 | 102.3605 | 183021.2633 | 0.54478 | 104.3294 | 62827.0967 | 1.0224 | 104.4673 | 89843.56 | 0.76921 | 100.6389 | 603589.7633 | 0.50596 | 103.8582 | 313506.08 | 0.67991 | 98.8644 | 385399.45 | 0.29368 | 102.4327 | 237536.93 | 0.37089
| FALSE | 167_QC1.d | 2023-04-28 23:39 | QC1 |  | qc 1 | 5.1482 | 5.0876 | 5.1032 | 5.214 | 5.2796 | 5.2591 | 5.2072 | 4.9382 | 5.2173 | 0.4803 | 0.48008 | 0.48115 | 0.48627 | 4.9721 | 4.9371 | 4.8978 | 5.2327 | 4.9514 | 4.9893 | 4.6868 | 4.7123 | 103.3148 | 8489.4833 | 0.86436 | 100.3179 | 424430.3367 | 0.20428 | 101.9016 | 182200.65 | 0.73084 | 104.7313 | 63069.12 | 0.22548 | 103.4183 | 88941.4167 | 1.4931 | 100.3749 | 602006.49 | 0.36421 | 103.8245 | 313404.33 | 0.97493 | 98.7398 | 384913.84 | 0.25463 | 102.2324 | 237072.5167 | 0.56805
| FALSE | 168_QC2.d | 2023-04-28 23:43 | QC2 |  | qc 2 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.00044196 | <0.000 | 293.1319 | 24086.94 | 4.7339 | 278.3532 | 1177672.0833 | 4.759 | 302.6597 | 541157.46 | 3.8209 | 291.9502 | 175812.1533 | 3.7063 | 286.9431 | 246775.6033 | 3.6247 | 304.632 | 1827054.33 | 4.7115 | 327.9346 | 989902.67 | 3.3408 | 286.9024 | 1118420.8533 | 5.7653 | 287.9136 | 667659.3233 | 3.6839
| FALSE | 169_QC3.d | 2023-04-28 23:46 | QC3 |  | qc 3 | 50.8363 | 49.3318 | 51.7767 | 51.2697 | 51.933 | 52.288 | 52.2308 | 48.6266 | 52.2809 | 4.8254 | 4.7856 | 4.837 | 4.8304 | 47.9692 | 48.013 | 47.6122 | 51.0909 | 49.9395 | 51.2325 | 51.3363 | 52.7553 | 104.1537 | 8558.4133 | 2.2646 | 98.9626 | 418696.5667 | 0.14861 | 100.4183 | 179548.5133 | 0.14613 | 102.0537 | 61456.65 | 0.47735 | 102.2242 | 87914.3933 | 0.67923 | 99.5962 | 597336.2467 | 0.29638 | 103.297 | 311812.1333 | 0.11147 | 98.2477 | 382995.3733 | 0.59269 | 101.4835 | 235335.8567 | 0.17763
| FALSE | 170SMPL.d | 2023-04-28 23:50 | Sample |  | curve 4 | 49.0449 | 49.9085 | 50.8623 | 49.8052 | 50.6135 | 50.5803 | 50.784 | 47.3897 | 50.8543 | 2.4403 | 2.4488 | 2.5394 | 2.4939 | 46.8475 | 46.6553 | 46.2467 | 49.4999 | 48.6043 | 49.8054 | 49.3661 | 50.6314 | 106.4134 | 8744.0967 | 2.312 | 98.6346 | 417308.6667 | 1.0904 | 100.4236 | 179557.96 | 0.22852 | 101.9645 | 61402.9467 | 1.0863 | 101.7913 | 87542.13 | 0.90449 | 99.3679 | 595966.4933 | 0.77882 | 102.6364 | 309817.9567 | 0.65298 | 97.6141 | 380525.39 | 0.8641 | 100.8045 | 233761.3167 | 0.33014

## ValueList_Helper (hidden)
Bkgnd
BlkVrfy
CalBlk
CalStd
CICSpike
DilStd
DriftChk
FQBlk
IsoStd
QC1
QC2
QC3
QC4
QC5
Sample
Spike
Spike Ref
SQBlk
SQISTD
SQStd