## Sheet1
Sample | [7 empty] | 75 As [ He ] | 78 Se [ H2 ] | 78 Se [ He ] | 111 Cd [ No Gas ] | 111 Cd [ He ] | 114 Cd [ He ] | 121 Sb [ He ] | 123 Sb [ No Gas ] | 123 Sb [ He ] | 201 Hg [ No Gas ] | 201 Hg [ He ] | 202 Hg [ No Gas ] | 202 Hg [ He ] | 206 [Pb] [ No Gas ] | 206 [Pb] [ He ] | 207 [Pb] [ No Gas ] | 207 [Pb] [ He ] | 208 Pb [ No Gas ] | 208 Pb [ He ] | 238 U [ No Gas ] | 238 U [ He ] | 72 Ge ( ISTD ) [ He ] |  | 89 Y ( ISTD ) [ No Gas ] |  | 89 Y ( ISTD ) [ H2 ] |  | 89 Y ( ISTD ) [ He ] |  | 115 In ( ISTD ) [ He ] |  | 159 Tb ( ISTD ) [ No Gas ] |  | 159 Tb ( ISTD ) [ He ] |  | 209 Bi ( ISTD ) [ No Gas ] |  | 209 Bi ( ISTD ) [ He ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | Total Dil. | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS
| TRUE | 001SMPL.d | 2022-10-28 11:26 | Sample |  | blk | 1
| TRUE | 002SMPL.d | 2022-10-28 11:29 | Sample |  | blk | 1
| TRUE | 003SMPL.d | 2022-10-28 11:33 | Sample |  | blk | 1
| FALSE | 004CALB.d | 2022-10-28 11:37 | CalBlk | 1 | blk | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 12273.5167 | 100 | 640114.4433 | 100 | 294189.23 | 100 | 99207.9567 | 100 | 125920.7967 | 100 | 840267.1133 | 100 | 431794.4033 | 100 | 555671.5267 | 100 | 311943.04
| FALSE | 005CALS.d | 2022-10-28 11:41 | CalStd | 2 | curve 1 | 1 | 0.10254 | 0.0977 | 0.18957 | 0.093336 | 0.11081 | 0.11006 | 0.1028 | 0.098067 | 0.091392 | <0.000 | <0.000 | <0.000 | <0.000 | 0.10294 | 0.11165 | 0.10829 | 0.10951 | 0.10485 | 0.11072 | 0.089213 | 0.097996 | 98.079 | 12037.7367 | 101.6266 | 650526.66 | 98.4454 | 289615.73 | 99.3843 | 98597.1433 | 99.5298 | 125328.7033 | 102.2564 | 859227.0433 | 99.9397 | 431534.0867 | 98.8436 | 549245.5867 | 98.654 | 307744.26
| FALSE | 006CALS.d | 2022-10-28 11:45 | CalStd | 3 | curve 2 | 1 | 1.009 | 1.0046 | 1.1527 | 1.0117 | 1.034 | 1.0171 | 0.98518 | 0.99721 | 1.0217 | 0.036743 | 0.031619 | 0.034766 | 0.032398 | 1.0244 | 1.0144 | 1.0138 | 1.0032 | 1.0174 | 1.0112 | 0.9546 | 1.0105 | 99.3019 | 12187.8367 | 101.3018 | 648447.43 | 99.3909 | 292397.2267 | 100.295 | 99500.5867 | 99.541 | 125342.78 | 102.7523 | 863393.6333 | 100.4372 | 433682.2333 | 98.5047 | 547362.8067 | 98.8463 | 308344.0967
| FALSE | 007CALS.d | 2022-10-28 11:49 | CalStd | 4 | curve 2.5 (Hg only) | 1 | 2.0449 | 2.0647 | 1.9567 | 2.0458 | 2.0594 | 2.0089 | 1.9982 | 1.9972 | 1.9787 | 0.087763 | 0.084709 | 0.08395 | 0.07798 | 2.0196 | 2.0349 | 2.0329 | 2.0499 | 2.0226 | 2.051 | 1.9669 | 2.0381 | 98.9216 | 12141.16 | 100.4343 | 642894.1433 | 99.2056 | 291852.13 | 99.22 | 98434.15 | 98.1331 | 123570.03 | 101.4052 | 852074.85 | 98.9298 | 427173.4733 | 98.4623 | 547126.9967 | 97.6623 | 304650.6133
| FALSE | 008CALS.d | 2022-10-28 11:53 | CalStd | 5 | curve 3 | 1 | 10.1359 | 10.1825 | 10.8946 | 10.1398 | 10.2668 | 10.2923 | 10.1839 | 9.9805 | 10.0689 | 0.49012 | 0.4836 | 0.47771 | 0.47897 | 10.0042 | 10.1362 | 9.9148 | 10.0049 | 9.9387 | 10.0047 | 9.429 | 9.5818 | 96.7835 | 11878.7333 | 101.134 | 647373.5867 | 98.8008 | 290661.2 | 97.4029 | 96631.4067 | 98.4841 | 124011.9567 | 102.518 | 861424.6567 | 100.4878 | 433900.6333 | 98.6896 | 548390.0733 | 98.0049 | 305719.3133
| FALSE | 009CALS.d | 2022-10-28 11:57 | CalStd | 6 | curve 4 | 1 | 50.1602 | 49.4608 | 49.3058 | 49.367 | 49.9648 | 50.1482 | 49.8041 | 49.2958 | 49.5021 | 2.3684 | 2.4318 | 2.4004 | 2.4251 | 48.6249 | 49.5329 | 47.7952 | 49.125 | 48.4525 | 49.1913 | 48.3127 | 49.9025 | 95.4512 | 11715.22 | 99.1736 | 634824.2967 | 96.4333 | 283696.4267 | 96.1487 | 95387.1567 | 97.2976 | 122517.9533 | 102.3853 | 860310.37 | 100.1922 | 432624.41 | 98.3847 | 546695.9433 | 97.3095 | 303550.31
| FALSE | 010CALS.d | 2022-10-28 12:01 | CalStd | 7 | curve 5 | 1 | 99.9062 | 100.2513 | 100.256 | 100.3024 | 99.9906 | 99.8965 | 100.0797 | 100.3541 | 100.2419 | 5.0672 | 5.0362 | 5.0525 | 5.0402 | 100.6869 | 100.2198 | 101.1108 | 100.437 | 100.7797 | 100.4038 | 100.9012 | 100.0905 | 96.6291 | 11859.79 | 94.6015 | 605558.0933 | 93.0597 | 273771.4733 | 93.4272 | 92687.1833 | 93.1294 | 117269.2467 | 98.0089 | 823536.35 | 98.0464 | 423358.8233 | 92.1908 | 512278.19 | 93.4865 | 291624.4833
| FALSE | 011SMPL.d | 2022-10-28 12:04 | Sample |  | blk | 1 | 0.041122 | 0.11124 | 0.19915 | 0.050348 | 0.0069714 | 0.0083081 | 0.043936 | 0.094213 | 0.043416 | 0.058934 | 0.054288 | 0.063622 | 0.047776 | 0.049678 | 0.002806 | 0.056061 | 0.0094471 | 0.052808 | 0.0051865 | 0.079438 | 0.030345 | 92.9507 | 11408.3233 | 95.4818 | 611192.5167 | 92.7391 | 272828.5767 | 93.6595 | 92917.68 | 93.5624 | 117814.4733 | 99.0218 | 832047.6433 | 96.389 | 416202.4467 | 97.2441 | 540357.6767 | 96.7472 | 301796.28
| FALSE | 012SMPL.d | 2022-10-28 12:08 | Sample |  | blk | 1 | 0.020925 | 0.021282 | 0.062296 | 0.00081228 | 4.2418e-05 | 0.0059633 | 0.015796 | 0.013052 | 0.014143 | 0.015713 | 0.018298 | 0.02255 | 0.020345 | <0.000 | <0.000 | <0.000 | 0.003634 | <0.000 | <0.000 | <0.000 | 0.0070541 | 92.0264 | 11294.88 | 97.6571 | 625117.4333 | 93.2655 | 274377.1167 | 92.6295 | 91895.8367 | 93.475 | 117704.48 | 101.1684 | 850084.5933 | 96.127 | 415070.9033 | 99.6025 | 553462.47 | 95.972 | 299378.0067
| FALSE | 013_QC1.d | 2022-10-28 12:12 | QC1 |  | qc 1 | 1 | 5.1948 | 5.4779 | 5.043 | 5.35 | 5.2102 | 5.2344 | 5.171 | 5.3021 | 5.0836 | 0.53452 | 0.51269 | 0.52412 | 0.51154 | 5.1655 | 4.9802 | 5.3363 | 5.2541 | 5.2595 | 5.0972 | 5.1002 | 5.0756 | 94.4546 | 11592.9067 | 92.9584 | 595040.4133 | 90.1803 | 265300.63 | 94.5694 | 93820.3933 | 94.9017 | 119501.01 | 95.7487 | 804544.6133 | 97.9384 | 422892.64 | 95.0526 | 528180.07 | 98.0509 | 305862.9333
| FALSE | 014_QC2.d | 2022-10-28 12:16 | QC2 |  | qc 2 | 1 | 10.5972 | 10.7455 | 10.9 | 11.2744 | 10.5617 | 10.6633 | 10.543 | 11.1732 | 10.4285 | 1.1017 | 1.06 | 1.0879 | 1.0632 | 10.8462 | 10.272 | 11.2752 | 10.6322 | 11.0518 | 10.4137 | 11.3676 | 10.1355 | 93.1951 | 11438.31 | 89.221 | 571116.58 | 90.5599 | 266417.4133 | 92.7316 | 91997.0933 | 93.3803 | 117585.2733 | 92.1666 | 774445.6633 | 95.9835 | 414451.1967 | 90.6452 | 503689.5833 | 95.8735 | 299070.8133
| FALSE | 015_QC3.d | 2022-10-28 12:20 | QC3 |  | qc 3 | 1 | 50.951 | 50.6587 | 51.6957 | 58.0766 | 50.8398 | 50.8317 | 50.785 | 58.8737 | 50.528 | 5.748 | 5.2741 | 5.7248 | 5.2618 | 57.1686 | 50.7621 | 58.2159 | 52.4266 | 57.8598 | 51.6916 | 56.3034 | 51.6846 | 95.7592 | 11753.0233 | 84.7765 | 542666.84 | 93.9921 | 276514.74 | 94.7363 | 93985.9667 | 93.6312 | 117901.12 | 88.9085 | 747068.78 | 97.8808 | 422643.9133 | 84.4296 | 469151.0367 | 94.1356 | 293649.47
| FALSE | 016SMPL.d | 2022-10-28 12:23 | Sample |  | blk | 1 | 0.022713 | 0.060851 | 0.10359 | 0.0051407 | 0.0059962 | 0.010098 | 0.024762 | 0.031338 | 0.02246 | 0.074658 | 0.058661 | 0.067617 | 0.062891 | 0.00038698 | 0.001964 | 0.0024176 | 0.001932 | 0.0021035 | 0.002594 | 0.019451 | 0.019383 | 94.7354 | 11627.3633 | 94.9259 | 607634.3167 | 92.9322 | 273396.5833 | 92.5232 | 91790.39 | 94.1344 | 118534.76 | 98.5193 | 827824.8733 | 96.8066 | 418005.61 | 95.49 | 530610.7067 | 96.4436 | 300849.0567
| TRUE | 017SMPL.d | 2022-10-28 12:27 | Sample |  | blk | 1
| TRUE | 018SMPL.d | 2022-10-28 12:31 | Sample |  | 170965-001 | 1
| TRUE | 019SMPL.d | 2022-10-28 12:35 | Sample |  | 171032-001 | 1
| TRUE | 020SMPL.d | 2022-10-28 12:39 | Sample |  | 171039-001 | 1
| TRUE | 021SMPL.d | 2022-10-28 12:43 | Sample |  | 171043-001 | 1
| TRUE | 022SMPL.d | 2022-10-28 12:46 | Sample |  | 171045-001 | 1
| TRUE | 023SMPL.d | 2022-10-28 12:50 | Sample |  | 171046-001 | 1
| TRUE | 024SMPL.d | 2022-10-28 12:54 | Sample |  | blk | 1
| TRUE | 025SMPL.d | 2022-10-28 12:58 | Sample |  | blk | 1
| TRUE | 026CALB.d | 2022-10-28 13:02 | Sample |  | blk | 1
| TRUE | 027CALS.d | 2022-10-28 13:06 | Sample |  | curve 1 | 1
| TRUE | 028CALS.d | 2022-10-28 13:09 | Sample |  | curve 2 | 1
| TRUE | 029CALS.d | 2022-10-28 13:13 | Sample |  | curve 2.5 (Hg only) | 1
| TRUE | 030CALS.d | 2022-10-28 13:17 | Sample |  | curve 3 | 1
| TRUE | 031CALS.d | 2022-10-28 13:21 | Sample |  | curve 4 | 1
| TRUE | 032CALS.d | 2022-10-28 13:25 | Sample |  | curve 5 | 1
| TRUE | 033SMPL.d | 2022-10-28 13:29 | Sample |  | blk | 1
| FALSE | 034SMPL.d | 2022-10-28 13:33 | Sample |  | blk | 1 | 0.019749 | 0.036488 | 0.1191 | 0.0016811 | <0.000 | 0.0051954 | 0.014065 | 0.02213 | 0.017774 | 0.027039 | 0.03152 | 0.03208 | 0.029294 | <0.000 | 0.0024598 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.0091433 | 99.0032 | 12151.1733 | 101.9834 | 652810.63 | 95.3548 | 280523.53 | 100.4146 | 99619.28 | 100.5418 | 126603.05 | 101.3343 | 851478.4867 | 99.7815 | 430850.8767 | 89.6749 | 498297.73 | 92.2321 | 287711.64
| FALSE | 035_QC1.d | 2022-10-28 13:36 | QC1 |  | qc 1 | 1 | 5.1844 | 5.0033 | 5.6921 | 5.2268 | 5.0299 | 5.1437 | 5.1547 | 5.2365 | 5.1596 | 0.5563 | 0.55041 | 0.55139 | 0.5435 | 5.3163 | 5.2465 | 5.3015 | 5.1958 | 5.2429 | 5.1332 | 4.7597 | 4.6957 | 97.7345 | 11995.4567 | 97.1528 | 621889.0567 | 99.6609 | 293191.6167 | 98.1381 | 97360.83 | 98.6168 | 124179.0533 | 99.497 | 836040.3167 | 99.2988 | 428766.63 | 88.7814 | 493333.1667 | 92.2505 | 287768.86
| FALSE | 036_QC2.d | 2022-10-28 13:40 | QC2 |  | qc 2 | 1 | 11.279 | 9.8429 | 11.7543 | 10.1454 | 11.4145 | 11.2512 | 11.3973 | 10.175 | 11.4339 | 1.0602 | 1.1871 | 1.0299 | 1.1741 | 10.1034 | 11.4425 | 10.1104 | 11.4676 | 9.984 | 11.2211 | 9.3013 | 10.243 | 89.6001 | 10997.08 | 96.2959 | 616404.1933 | 98.2129 | 288931.73 | 86.8391 | 86151.3033 | 87.047 | 109610.3233 | 100.0219 | 840451.2533 | 89.9372 | 388343.6333 | 91.1762 | 506640.2 | 83.179 | 259471.0833
| FALSE | 037_QC3.d | 2022-10-28 13:44 | QC3 |  | qc 3 | 1 | 52.6831 | 50.5998 | 53.5113 | 50.2815 | 52.7108 | 52.4505 | 53.0825 | 51.9365 | 52.8777 | 5.1755 | 5.6122 | 5.1463 | 5.6068 | 52.1254 | 54.0521 | 50.6291 | 53.5335 | 52.0116 | 55.0454 | 47.457 | 51.4909 | 93.8024 | 11512.8567 | 102.2579 | 654567.55 | 91.6214 | 269540.1467 | 91.9637 | 91235.28 | 93.3366 | 117530.23 | 107.2359 | 901067.8 | 95.6543 | 413029.83 | 94.6643 | 526022.7 | 85.2311 | 265872.4467
| FALSE | 038SMPL.d | 2022-10-28 13:48 | Sample |  | blk | 1 | 0.025371 | 0.069099 | 0.12346 | 0.0062798 | 0.0048482 | 0.0074556 | 0.03028 | 0.043789 | 0.030954 | 0.1088 | 0.093564 | 0.098964 | 0.093312 | 0.0095524 | 0.0094611 | 0.0056937 | 0.0024525 | 0.0076281 | 0.0066917 | 0.025077 | 0.023613 | 93.8113 | 11513.9467 | 94.6083 | 605601.37 | 104.1068 | 306270.9333 | 94.8889 | 94137.3567 | 96.0146 | 120902.4 | 97.9838 | 823325.9 | 98.1826 | 423946.82 | 88.3464 | 490915.78 | 89.7783 | 280057.2367
| FALSE | 039SMPL.d | 2022-10-28 13:52 | Sample |  | blk | 1 | 0.0098833 | 0.019576 | <0.000 | <0.000 | <0.000 | 0.00029898 | 0.01214 | 0.017416 | 0.017101 | 0.058454 | 0.047901 | 0.050768 | 0.051149 | <0.000 | 0.00028815 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.0078084 | 95.0073 | 11660.7333 | 97.1094 | 621611.4433 | 83.4252 | 245427.82 | 95.7114 | 94953.3667 | 96.96 | 122092.8633 | 101.944 | 856601.4867 | 98.6131 | 425805.9033 | 92.7268 | 515256.25 | 90.6202 | 282683.51
| FALSE | 040SMPL.d | 2022-10-28 13:55 | Sample |  | 170965-001 | 1 | 0.13767 | 0.040768 | <0.000 | 0.00021204 | 0.002537 | 0.0031878 | 0.10065 | 0.11121 | 0.11184 | 0.030802 | 0.029701 | 0.035693 | 0.03142 | 0.37212 | 0.38061 | 0.35513 | 0.35948 | 0.35345 | 0.36079 | 2.9287 | 2.9632 | 94.2642 | 11569.5367 | 94.1907 | 602928.34 | 92.9738 | 273518.9 | 94.6022 | 93852.9 | 94.7161 | 119267.3 | 97.3592 | 818077.1067 | 97.8759 | 422622.68 | 86.3478 | 479810.3833 | 87.29 | 272295.1867
| FALSE | 041SMPL.d | 2022-10-28 13:59 | Sample |  | 171032-001 | 1 | 34.2029 | 0.046947 | 0.1857 | <0.000 | 0.00070811 | 0.0013607 | 0.56691 | 0.56985 | 0.55858 | 0.0121 | 0.015675 | 0.016402 | 0.017041 | 0.76187 | 0.79257 | 0.72687 | 0.7413 | 0.7353 | 0.74748 | 0.046271 | 0.05469 | 92.434 | 11344.9 | 96.6286 | 618533.3633 | 95.4609 | 280835.7867 | 96.927 | 96159.2633 | 91.0996 | 114713.3267 | 95.53 | 802706.9533 | 94.9886 | 410155.3267 | 81.229 | 451366.5367 | 81.868 | 255381.4967
| FALSE | 042SMPL.d | 2022-10-28 14:03 | Sample |  | 171039-001 | 1 | 0.64121 | 0.046604 | 0.12436 | <0.000 | <0.000 | <0.000 | 0.13918 | 0.14652 | 0.13703 | 0.066288 | 0.080577 | 0.13883 | 0.10569 | 0.13807 | 0.15442 | 0.13768 | 0.13764 | 0.1357 | 0.13959 | 0.022833 | 0.03131 | 179.537 | 22035.5033 | 93.4248 | 598025.9133 | 88.3826 | 260012.21 | 90.8197 | 90100.37 | 86.8948 | 109418.59 | 96.3469 | 809571.3967 | 90.627 | 391322.5167 | 78.3754 | 435509.9633 | 76.4066 | 238345.0867
| FALSE | 043SMPL.d | 2022-10-28 14:07 | Sample |  | 171043-001 | 1 | 2.7928 | 0.11652 | 0.2759 | <0.000 | <0.000 | <0.000 | 0.11233 | 0.12078 | 0.11895 | 0.045075 | 0.046004 | 0.05012 | 0.043725 | 0.25824 | 0.27863 | 0.25835 | 0.27224 | 0.2559 | 0.26588 | 4.5757 | 4.5885 | 100.916 | 12385.9433 | 94.7366 | 606422.46 | 93.3643 | 274667.6267 | 101.752 | 100946.0867 | 99.1575 | 124859.8933 | 97.6511 | 820530.3367 | 98.492 | 425283.07 | 87.45 | 485934.4933 | 87.8883 | 274161.5733
| FALSE | 044SMPL.d | 2022-10-28 14:11 | Sample |  | 171045-001 | 1 | 0.65301 | 0.0473 | 0.13854 | 0.048844 | 0.044369 | 0.055442 | 0.55004 | 0.547 | 0.53782 | 0.039356 | 0.035417 | 0.042941 | 0.036127 | 3.5629 | 3.6449 | 3.4422 | 3.4782 | 3.448 | 3.4644 | 0.052741 | 0.062907 | 96.0765 | 11791.97 | 101.6777 | 650853.59 | 101.2509 | 297869.1067 | 102.4744 | 101662.7167 | 95.4958 | 120249.1333 | 98.3794 | 826649.4467 | 98.2068 | 424051.2933 | 86.9021 | 482890.1533 | 87.8505 | 274043.39
| FALSE | 045SMPL.d | 2022-10-28 14:15 | Sample |  | 171046-001 | 1 | 1.0821 | 0.21428 | 0.13371 | <0.000 | <0.000 | <0.000 | 0.30261 | 0.302 | 0.30244 | 0.058564 | 0.062611 | 0.069033 | 0.06432 | 1.8704 | 1.8928 | 1.8569 | 1.8836 | 1.834 | 1.8361 | 0.35139 | 0.37171 | 92.7872 | 11388.2567 | 91.2226 | 583929.1867 | 89.0574 | 261997.3333 | 92.3135 | 91582.3333 | 90.7942 | 114328.8167 | 95.1732 | 799709.1167 | 94.9175 | 409848.32 | 81.3162 | 451851.1433 | 81.9467 | 255627.0633
| FALSE | 046SMPL.d | 2022-10-28 14:19 | Sample |  | 171047-001 | 1 | 0.13348 | 0.01603 | <0.000 | <0.000 | <0.000 | <0.000 | 0.071923 | 0.069945 | 0.069559 | 0.0084792 | 0.010744 | 0.059889 | 0.03575 | 0.038193 | 0.051508 | 0.035502 | 0.053219 | 0.036756 | 0.048247 | 0.00056257 | 0.010716 | 184.2429 | 22613.0867 | 91.6846 | 586886.14 | 90.1378 | 265175.8033 | 92.0957 | 91366.22 | 89.358 | 112520.3667 | 95.5659 | 803009.2267 | 94.3918 | 407578.34 | 80.9164 | 449629.28 | 80.4992 | 251111.6567
| FALSE | 047SMPL.d | 2022-10-28 14:22 | Sample |  | 171048-001 | 1 | 0.45609 | 0.058779 | 0.045259 | <0.000 | <0.000 | <0.000 | 0.2597 | 0.27509 | 0.26408 | 0.045306 | 0.04538 | 0.05132 | 0.045962 | 0.93118 | 0.88905 | 0.91145 | 0.86002 | 0.90094 | 0.85759 | 0.010925 | 0.021528 | 328.9799 | 40377.4033 | 85.5566 | 547660.36 | 88.2511 | 259625.29 | 91.8661 | 91138.53 | 89.2101 | 112334.0367 | 88.0069 | 739493.2367 | 93.9646 | 405733.8 | 73.5158 | 408506.1367 | 78.8928 | 246100.5533
| FALSE | 048SMPL.d | 2022-10-28 14:26 | Sample |  | 171049-001 | 1 | 0.065912 | 0.012172 | 0.074181 | <0.000 | <0.000 | 0.002495 | 0.15502 | 0.16792 | 0.16232 | 0.0079619 | 0.0012852 | 0.0031945 | 0.0017483 | 1.4701 | 1.3978 | 1.4186 | 1.3241 | 1.4221 | 1.3216 | <0.000 | <0.000 | 94.2009 | 11561.7633 | 87.4483 | 559768.89 | 89.7765 | 264112.7867 | 92.9775 | 92241.0733 | 93.6634 | 117941.71 | 91.8676 | 771933.5433 | 96.9924 | 418807.9667 | 80.5454 | 447567.81 | 86.0013 | 268274.94
| FALSE | 049SMPL.d | 2022-10-28 14:30 | Sample |  | 171050-001 | 1 | 2.923 | 0.05437 | <0.000 | 0.11707 | 0.03999 | 0.021709 | 0.91806 | 0.91884 | 0.89796 | 0.046799 | 0.04683 | 0.37915 | 0.22767 | 0.35592 | 0.36093 | 0.32362 | 0.32501 | 0.3324 | 0.33383 | 0.12395 | 0.13752 | 131.5906 | 16150.8 | 93.3077 | 597276.0233 | 93.3172 | 274529.2533 | 95.3678 | 94612.4467 | 91.5479 | 115277.82 | 95.9653 | 806364.86 | 96.2069 | 415415.8367 | 81.2241 | 451339.4033 | 82.2913 | 256701.99
| FALSE | 050_QC2.d | 2022-10-28 14:34 | QC2 |  | qc 2 | 1 | 10.2844 | 10.3233 | 10.7872 | 10.6384 | 10.3518 | 10.3495 | 10.4368 | 10.6252 | 10.4052 | 1.1265 | 1.1337 | 1.0714 | 1.1131 | 10.727 | 10.7548 | 10.622 | 10.5302 | 10.5469 | 10.4135 | 9.3685 | 9.3682 | 93.6029 | 11488.3733 | 92.9324 | 594873.8733 | 92.585 | 272375.0767 | 94.2112 | 93464.9933 | 94.9621 | 119577.0433 | 97.0236 | 815257.67 | 97.7431 | 422049.3267 | 83.8646 | 466011.62 | 85.7978 | 267640.3667
| FALSE | 051SMPL.d | 2022-10-28 14:38 | Sample |  | blk | 1 | 0.0067467 | 0.021588 | <0.000 | 0.0027821 | <0.000 | 0.00081716 | 0.0072084 | 0.015407 | 0.0088405 | 0.026655 | 0.031851 | 0.018927 | 0.024339 | <0.000 | 0.003185 | <0.000 | <0.000 | <0.000 | <0.000 | 0.0066194 | 0.010395 | 95.0616 | 11667.4033 | 104.7357 | 670428.5967 | 83.3336 | 245158.4233 | 93.7415 | 92998.98 | 94.0895 | 118478.2033 | 109.0469 | 916284.9167 | 96.8486 | 418186.7433 | 92.399 | 513434.7467 | 84.3284 | 263056.5467
| FALSE | 052SMPL.d | 2022-10-28 14:41 | Sample |  | 171051-001 | 1 | 5.3128 | 0.018765 | <0.000 | <0.000 | <0.000 | 0.0050505 | 0.14715 | 0.14231 | 0.15143 | 0.013754 | 0.005602 | 0.012445 | 0.0095769 | 0.19296 | 0.20333 | 0.18904 | 0.20398 | 0.18667 | 0.19417 | 0.13005 | 0.14614 | 91.3104 | 11207 | 93.069 | 595747.8467 | 91.5119 | 269218.26 | 92.6234 | 91889.83 | 92.4032 | 116354.79 | 97.3822 | 818270.7533 | 96.4714 | 416557.9567 | 84.4506 | 469268.1733 | 83.8548 | 261579.3533
| FALSE | 053SMPL.d | 2022-10-28 14:45 | Sample |  | 171052-001 | 1 | 0.090696 | 0.0042569 | 0.042932 | <0.000 | <0.000 | 0.00088775 | 0.080602 | 0.078612 | 0.076839 | 0.0068456 | 0.013146 | 0.015725 | 0.014244 | 3.3147 | 3.3325 | 3.1752 | 3.1575 | 3.1972 | 3.1756 | <0.000 | 0.0055675 | 103.4069 | 12691.66 | 89.7218 | 574322.24 | 89.203 | 262425.5 | 93.3825 | 92642.89 | 90.0475 | 113388.58 | 93.5263 | 785870.83 | 95.5086 | 412400.8533 | 77.6083 | 431247.2767 | 79.1899 | 247027.5167
| FALSE | 054SMPL.d | 2022-10-28 14:49 | Sample |  | 171053-001 | 1 | 0.52259 | 0.025775 | <0.000 | 0.0020946 | 0.00020463 | 0.0059234 | 0.17559 | 0.16576 | 0.1784 | 0.00019589 | <0.000 | 3.8395e-05 | <0.000 | 0.28138 | 0.31379 | 0.27086 | 0.29775 | 0.27489 | 0.2994 | 0.021053 | 0.034966 | 90.2416 | 11075.8167 | 97.3578 | 623201.41 | 89.6721 | 263805.6533 | 91.2302 | 90507.59 | 92.2904 | 116212.7533 | 100.3146 | 842910.78 | 95.7656 | 413510.4267 | 85.7838 | 476676.11 | 82.3551 | 256900.8967
| FALSE | 055SMPL.d | 2022-10-28 14:53 | Sample |  | 171068-001 | 1 | 2.6027 | 0.5706 | 0.73291 | <0.000 | <0.000 | <0.000 | 0.33507 | 0.35203 | 0.32217 | <0.000 | <0.000 | <0.000 | <0.000 | 0.025003 | 0.029126 | 0.020791 | 0.026341 | 0.020457 | 0.025234 | 0.35402 | 0.37283 | 91.3743 | 11214.8433 | 90.2067 | 577426.1767 | 90.1975 | 265351.2133 | 91.4264 | 90702.2333 | 91.7306 | 115507.8567 | 94.9037 | 797444.7767 | 95.7122 | 413279.7667 | 81.528 | 453027.7467 | 88.0885 | 274785.9033
| FALSE | 056SMPL.d | 2022-10-28 14:57 | Sample |  | 171033-001 | 1 | 2.5872 | 0.027676 | 0.10086 | 0.014144 | 0.011511 | 0.019333 | 0.28335 | 0.30441 | 0.28929 | 0.0012784 | 0.0012359 | 0.010532 | 0.0051991 | 0.4017 | 0.4294 | 0.38296 | 0.39839 | 0.38681 | 0.40327 | 0.074182 | 0.089731 | 91.3286 | 11209.2333 | 111.6828 | 714897.5667 | 96.8221 | 284840.2133 | 97.6214 | 96848.23 | 90.7349 | 114254.17 | 94.811 | 796665.7433 | 95.4012 | 411937.17 | 75.7418 | 420875.8633 | 80.6281 | 251513.5933
| FALSE | 057SMPL.d | 2022-10-28 15:01 | Sample |  | 171054-001 | 1 | 2.7639 | 0.026742 | 0.076937 | 0.0078982 | 0.0095218 | 0.011545 | 0.21015 | 0.22423 | 0.21122 | <0.000 | <0.000 | <0.000 | <0.000 | 1.1871 | 1.2265 | 1.1818 | 1.2097 | 1.175 | 1.1876 | 0.035265 | 0.046226 | 95.2352 | 11688.7067 | 98.8767 | 632924.0667 | 89.3538 | 262869.3133 | 99.5237 | 98735.4767 | 97.6047 | 122904.67 | 95.9845 | 806526.3233 | 97.3127 | 420190.7467 | 80.4509 | 447042.7933 | 83.1937 | 259517.0367
| FALSE | 058SMPL.d | 2022-10-28 15:04 | Sample |  | 171054-002 | 1 | 2.6002 | 0.035916 | 0.087011 | <0.000 | <0.000 | <0.000 | 0.21523 | 0.21792 | 0.21288 | <0.000 | <0.000 | <0.000 | <0.000 | 1.1517 | 1.1647 | 1.1198 | 1.1052 | 1.114 | 1.1125 | 0.031743 | 0.042867 | 88.6197 | 10876.75 | 87.9583 | 563034.0467 | 85.4736 | 251454.0367 | 88.8992 | 88195.0833 | 88.3466 | 111246.7933 | 93.1725 | 782897.5733 | 93.5932 | 404130.0633 | 78.3015 | 435099.1933 | 78.8698 | 246028.8
| FALSE | 059SMPL.d | 2022-10-28 15:08 | Sample |  | 171060-001 | 1 | 0.65145 | 0.031501 | 0.045716 | <0.000 | <0.000 | <0.000 | 0.12846 | 0.12074 | 0.11704 | 0.0022826 | 0.0052315 | 0.011458 | 0.0085796 | 0.85584 | 0.9065 | 0.84487 | 0.86929 | 0.83774 | 0.86345 | 0.38244 | 0.40123 | 90.7851 | 11142.5267 | 92.1226 | 589689.8433 | 91.082 | 267953.3767 | 92.6639 | 91929.9667 | 89.329 | 112483.7867 | 94.6654 | 795442.1233 | 94.1805 | 406666.07 | 78.895 | 438397.14 | 78.6029 | 245196.32
| FALSE | 060SMPL.d | 2022-10-28 15:12 | Sample |  | 171069-002 | 1 | 1.0954 | 0.17904 | 0.26946 | 0.0034082 | 0.0017768 | 0.0079798 | 0.12915 | 0.1228 | 0.1211 | <0.000 | <0.000 | <0.000 | <0.000 | 0.14108 | 0.1524 | 0.1322 | 0.14258 | 0.13604 | 0.14332 | <0.000 | 0.0089596 | 98.4332 | 12081.2167 | 97.2867 | 622746.2167 | 93.9393 | 276359.1767 | 101.6526 | 100847.44 | 95.6305 | 120418.7 | 96.9715 | 814819.44 | 96.5058 | 416706.7233 | 81.9831 | 455556.9667 | 81.124 | 253060.8167
| FALSE | 061SMPL.d | 2022-10-28 15:16 | Sample |  | 171070-001 | 1 | 0.1297 | 0.017886 | 0.032634 | <0.000 | <0.000 | <0.000 | 0.11003 | 0.10702 | 0.10497 | 0.00032652 | <0.000 | 0.0019382 | <0.000 | 0.12632 | 0.13447 | 0.11973 | 0.11635 | 0.11952 | 0.1231 | 0.044456 | 0.057619 | 90.6131 | 11121.42 | 90.2234 | 577532.8833 | 89.299 | 262707.9767 | 92.1841 | 91453.9267 | 91.2331 | 114881.4867 | 94.861 | 797085.6 | 95.4083 | 411967.5667 | 79.6477 | 442579.8333 | 80.4167 | 250854.2067
| FALSE | 062_QC2.d | 2022-10-28 15:20 | QC2 |  | qc 2 | 1 | 10.3486 | 10.3478 | 10.8001 | 10.4526 | 10.1117 | 9.9645 | 10.0396 | 10.4957 | 10.0384 | 1.1369 | 1.1129 | 1.0776 | 1.0957 | 10.6052 | 10.6167 | 10.4402 | 10.3823 | 10.4242 | 10.3005 | 9.238 | 9.1581 | 102.6657 | 12600.6867 | 91.9509 | 588591.06 | 93.5137 | 275107.1233 | 103.0103 | 102194.4633 | 101.1978 | 127429.0167 | 96.3032 | 809204.18 | 98.9438 | 427233.5933 | 81.7965 | 454519.62 | 83.6778 | 261027.21
| FALSE | 063SMPL.d | 2022-10-28 15:24 | Sample |  | blk | 1 | 0.0054268 | 0.01694 | 0.11061 | <0.000 | <0.000 | <0.000 | 0.010423 | 0.01504 | 0.0076848 | 0.02412 | 0.02627 | 0.026603 | 0.020939 | 0.0019685 | 0.0038631 | <0.000 | 0.00036935 | <0.000 | <0.000 | 0.0095477 | 0.013958 | 106.9335 | 13124.5033 | 90.1124 | 576822.5533 | 108.7194 | 319840.7367 | 107.4277 | 106576.78 | 103.9962 | 130952.7967 | 95.9222 | 806002.5733 | 99.2655 | 428622.7167 | 80.7206 | 448541.2833 | 83.7554 | 261269.27
| FALSE | 064SMPL.d | 2022-10-28 15:27 | Sample |  | 171071-001 Pb | 1 | 0.26109 | 0.035358 | 0.03645 | 0.00080322 | <0.000 | 0.00811 | 0.33836 | 0.33237 | 0.33698 | 0.0064883 | 0.0065773 | 0.0052608 | 0.0038635 | 1.3105 | 1.352 | 1.2676 | 1.3061 | 1.2777 | 1.2983 | <0.000 | 0.0078898 | 92.1078 | 11304.87 | 102.039 | 653166.6533 | 92.8582 | 273178.69 | 96.1996 | 95437.64 | 92.05 | 115910.0633 | 98.8105 | 830272.3833 | 96.4796 | 416593.4833 | 83.0595 | 461537.8367 | 82.807 | 258310.6233
| FALSE | 065SMPL.d | 2022-10-28 15:31 | Sample |  | 171071-002 Pb | 1 | 0.29464 | 0.03077 | 0.065368 | 0.0022567 | 0.0033225 | 0.0080338 | 0.38667 | 0.40346 | 0.38813 | 0.010414 | 0.0081767 | 0.0070096 | 0.0061133 | 2.0131 | 2.026 | 1.9582 | 1.8942 | 1.9459 | 1.9077 | <0.000 | 0.0076668 | 94.7753 | 11632.2567 | 92.7459 | 593679.83 | 100.2036 | 294788.09 | 100.0334 | 99241.13 | 96.6133 | 121656.2667 | 90.31 | 758845.0933 | 99.5848 | 430001.6433 | 77.3097 | 429587.8633 | 87.0707 | 271611.03
| FALSE | 066SMPL.d | 2022-10-28 15:35 | Sample |  | 170963-001 mj | 5 | 0.48542 | 0.31482 | 0.83871 | 0.12479 | 0.10616 | 0.093695 | 0.38888 | 0.3641 | 0.36017 | 0.095235 | 0.11241 | 0.093817 | 0.093167 | 4.632 | 4.8312 | 4.406 | 4.6068 | 4.4079 | 4.568 | 0.036293 | 0.093095 | 90.3773 | 11092.4767 | 92.2999 | 590825.08 | 91.1012 | 268009.9133 | 96.1486 | 95387.0433 | 91.4041 | 115096.7867 | 95.0143 | 798373.98 | 97.3179 | 420213.2933 | 81.9274 | 455247.05 | 82.63 | 257758.67
| FALSE | 067SMPL.d | 2022-10-28 15:39 | Sample |  | 170998-001 mj | 5 | 0.47588 | 0.1016 | 0.42088 | 0.2459 | 0.20596 | 0.27348 | 0.35475 | 0.35507 | 0.34151 | 0.10766 | 0.12228 | 0.12538 | 0.10247 | 4.6772 | 4.8262 | 4.5588 | 4.6368 | 4.5018 | 4.5816 | <0.000 | <0.000 | 86.7623 | 10648.7867 | 89.0204 | 569832.6433 | 86.8365 | 255463.4867 | 89.4967 | 88787.8733 | 88.0616 | 110887.8067 | 92.4587 | 776900.43 | 94.9039 | 409789.77 | 78.8293 | 438032.2167 | 81.8574 | 255348.3733
| FALSE | 068SMPL.d | 2022-10-28 15:43 | Sample |  | 170998-002 mj | 5 | 0.361 | 0.04373 | 0.29551 | 0.74684 | 0.6662 | 0.84569 | 0.34389 | 0.36303 | 0.36322 | 3.9947 | 3.7754 | 3.6883 | 3.8328 | 0.90799 | 1.0265 | 0.89112 | 0.9362 | 0.88637 | 0.94797 | <0.000 | 0.0001363 | 88.7013 | 10886.7667 | 89.4722 | 572724.37 | 77.2924 | 227385.97 | 93.0393 | 92302.4 | 91.5286 | 115253.58 | 95.1415 | 799442.86 | 96.7157 | 417613.0767 | 80.5774 | 447745.5367 | 81.9552 | 255653.5633
| FALSE | 069SMPL.d | 2022-10-28 15:47 | Sample |  | 171082-001 | 1 | 5.5124 | 0.0060059 | <0.000 | <0.000 | <0.000 | <0.000 | 0.095611 | 0.09124 | 0.088134 | 0.04483 | 0.04713 | 0.05818 | 0.043686 | 0.16786 | 0.16888 | 0.1547 | 0.16529 | 0.15863 | 0.15942 | 0.11121 | 0.11996 | 88.4206 | 10852.3133 | 88.3072 | 565267.0167 | 88.4924 | 260335.0167 | 89.9677 | 89255.08 | 89.9347 | 113246.4633 | 93.3033 | 783997.0633 | 94.6391 | 408646.15 | 78.5939 | 436723.71 | 81.3188 | 253668.49
| FALSE | 070SMPL.d | 2022-10-28 15:50 | Sample |  | 171083-001 | 1 | 0.13783 | 0.22324 | 0.2186 | 0.010722 | 0.013866 | 0.016778 | 0.17165 | 0.1738 | 0.15894 | 0.0048804 | <0.000 | 6.0174e-05 | <0.000 | 1.0957 | 1.1215 | 1.0647 | 1.0673 | 1.0551 | 1.0634 | 0.056676 | 0.067126 | 87.2698 | 10711.0767 | 87.0628 | 557301.5067 | 86.5357 | 254578.85 | 89.5961 | 88886.4467 | 88.6324 | 111606.6867 | 91.3517 | 767598.2433 | 93.5002 | 403728.6433 | 78.2385 | 434749.2367 | 81.5463 | 254378.1167
| FALSE | 071SMPL.d | 2022-10-28 15:54 | Sample |  | 171084-001 | 1 | 0.42848 | 0.12785 | 0.0092681 | 0.0053595 | 0.0048702 | 0.0089117 | 0.094243 | 0.090093 | 0.088492 | 0.012925 | 0.015917 | 0.017258 | 0.013105 | 0.69579 | 0.71443 | 0.67089 | 0.70051 | 0.66974 | 0.68846 | 0.0076723 | 0.019036 | 87.0161 | 10679.9333 | 102.9402 | 658935.25 | 88.2089 | 259501.11 | 89.8293 | 89117.8433 | 89.7386 | 112999.6167 | 92.2376 | 775042.2267 | 93.8421 | 405205.15 | 76.2437 | 423664.2567 | 82.1343 | 256212.3867
| FALSE | 072SMPL.d | 2022-10-28 15:58 | Sample |  | 171085-001 | 1 | 0.19189 | 0.039658 | 0.045325 | 0.0023341 | 0.0012131 | 0.0043974 | 0.077148 | 0.082958 | 0.074175 | 0.023061 | 0.022678 | 0.023494 | 0.022607 | 0.81327 | 0.77151 | 0.75721 | 0.73302 | 0.77218 | 0.7366 | 1.7763 | 1.6866 | 88.9912 | 10922.3533 | 86.4962 | 553674.9833 | 96.4333 | 283696.46 | 92.7632 | 92028.45 | 91.5501 | 115280.6733 | 86.3878 | 725888.41 | 94.3828 | 407539.7233 | 75.8984 | 421745.5633 | 84.1432 | 262478.93
| FALSE | 073SMPL.d | 2022-10-28 16:02 | Sample |  | 171085-002 | 1 | 7.463 | 0.015897 | 0.0079962 | 0.028375 | 0.025846 | 0.027193 | 0.24523 | 0.25552 | 0.23935 | 0.011923 | 0.0078509 | 0.0072587 | 0.010909 | 0.12789 | 0.13748 | 0.11924 | 0.11897 | 0.12109 | 0.12589 | 0.99393 | 1.0109 | 89.7977 | 11021.3367 | 86.6845 | 554880.2933 | 87.7887 | 258264.9433 | 90.3 | 89584.8267 | 88.7725 | 111783.05 | 90.9503 | 764225.5633 | 93.0091 | 401607.88 | 79.204 | 440114.2533 | 81.8362 | 255282.33
| FALSE | 074_QC2.d | 2022-10-28 16:06 | QC2 |  | qc 2 | 1 | 10.2018 | 10.4028 | 10.1562 | 10.1041 | 10.3266 | 10.2829 | 10.2569 | 9.9515 | 10.2513 | 1.0959 | 1.105 | 1.0581 | 1.0994 | 10.5292 | 10.7594 | 10.3749 | 10.5365 | 10.3047 | 10.3905 | 9.1336 | 9.3084 | 91.4646 | 11225.92 | 96.6586 | 618725.4233 | 86.5192 | 254530.2667 | 92.5932 | 91859.8667 | 92.4736 | 116443.4333 | 93.4594 | 785308.6167 | 95.5439 | 412553.17 | 80.6863 | 448350.5933 | 84.0832 | 262291.6833
| FALSE | 075SMPL.d | 2022-10-28 16:10 | Sample |  | blk | 1 | 0.0063703 | 0.015447 | 0.17881 | <0.000 | <0.000 | <0.000 | 0.0083409 | 0.011904 | 0.0084222 | 0.029097 | 0.020125 | 0.023801 | 0.018509 | <0.000 | <0.000 | <0.000 | 0.0015306 | <0.000 | <0.000 | 0.018761 | 0.020933 | 103.0451 | 12647.2633 | 96.2441 | 616072.5633 | 125.1836 | 368276.6033 | 102.5339 | 101721.8033 | 100.926 | 127086.8333 | 97.3199 | 817747.3667 | 97.9769 | 423058.92 | 83.6777 | 464973.2367 | 85.9894 | 268237.9933
| FALSE | 076SMPL.d | 2022-10-28 16:13 | Sample |  | 171086-001 | 1 | 5.2559 | 0.1441 | 0.4838 | 0.0022551 | <0.000 | <0.000 | 0.76311 | 0.75739 | 0.76013 | 0.0043468 | <0.000 | 0.024749 | 0.006954 | 0.46204 | 0.46356 | 0.4401 | 0.44162 | 0.44523 | 0.4361 | 0.13478 | 0.1428 | 239.5055 | 29395.75 | 115.5178 | 739445.9433 | 138.9293 | 408715.1567 | 141.3238 | 140204.4667 | 121.0566 | 152435.4 | 82.2913 | 691466.3867 | 99.8325 | 431071.22 | 58.628 | 325779.0233 | 74.2735 | 231691.0267
| FALSE | 077SMPL.d | 2022-10-28 16:17 | Sample |  | 171088-001 | 1 | 1.7931 | 0.0096151 | 0.26739 | <0.000 | <0.000 | <0.000 | 0.091044 | 0.089479 | 0.092193 | <0.000 | <0.000 | <0.000 | <0.000 | 0.23728 | 0.23855 | 0.2329 | 0.22292 | 0.22754 | 0.22148 | 0.094581 | 0.10485 | 147.3259 | 18082.0733 | 119.4768 | 764788.0633 | 141.5453 | 416410.94 | 144.0492 | 142908.26 | 131.9339 | 166132.2233 | 88.306 | 742005.97 | 105.3268 | 454795.1733 | 65.1661 | 362109.6233 | 83.961 | 261910.5
| FALSE | 078SMPL.d | 2022-10-28 16:21 | Sample |  | 171090-001 | 1 | 0.042997 | 0.000307 | 0.30167 | 0.0015321 | 0.00177 | 0.0045111 | 0.28653 | 0.2768 | 0.27943 | <0.000 | <0.000 | <0.000 | <0.000 | 1.1145 | 1.1412 | 1.1095 | 1.1352 | 1.0997 | 1.1114 | <0.000 | <0.000 | 150.6527 | 18490.39 | 123.2439 | 788902.0833 | 144.8949 | 426265.2767 | 147.4622 | 146294.2467 | 134.3342 | 169154.7567 | 91.5731 | 769458.6 | 107.0236 | 462121.7933 | 66.9401 | 371967.0933 | 82.8907 | 258571.7
| FALSE | 079SMPL.d | 2022-10-28 16:25 | Sample |  | 171096-001 | 1 | 1.0602 | 0.024134 | 0.22851 | <0.000 | <0.000 | <0.000 | 0.24949 | 0.24473 | 0.25577 | <0.000 | <0.000 | <0.000 | <0.000 | 0.51601 | 0.52809 | 0.50915 | 0.51285 | 0.50438 | 0.50583 | <0.000 | 0.0078007 | 144.9959 | 17796.0933 | 124.3205 | 795793.23 | 131.4124 | 386601.2333 | 141.5437 | 140422.5733 | 128.929 | 162348.41 | 93.8561 | 788642.2767 | 104.205 | 449951.2233 | 68.498 | 380623.97 | 81.4045 | 253935.8
| FALSE | 080SMPL.d | 2022-10-28 16:29 | Sample |  | 171099-001 | 1 | 0.17429 | 1.7006 | 2.0845 | <0.000 | <0.000 | <0.000 | 0.11663 | 0.10268 | 0.11231 | <0.000 | <0.000 | <0.000 | <0.000 | 0.2469 | 0.25873 | 0.24434 | 0.25879 | 0.23743 | 0.25138 | 0.14871 | 0.16128 | 143.7001 | 17637.05 | 123.1612 | 788372.58 | 135.6329 | 399017.3067 | 138.921 | 137820.72 | 125.4427 | 157958.4967 | 91.8387 | 771690.6367 | 102.3136 | 441784.4567 | 67.3294 | 374130.3567 | 80.2472 | 250325.47
| FALSE | 081SMPL.d | 2022-10-28 16:33 | Sample |  | 171091-003 | 1 | 0.78847 | 0.08083 | 0.35701 | 0.0086062 | 0.0064879 | 0.011439 | 0.25852 | 0.24354 | 0.2467 | <0.000 | <0.000 | <0.000 | <0.000 | 0.23097 | 0.22801 | 0.22316 | 0.22306 | 0.22138 | 0.22189 | 0.15165 | 0.16029 | 128.074 | 15719.1833 | 105.2294 | 673588.48 | 145.6969 | 428624.73 | 130.6211 | 129586.51 | 112.8543 | 142106.9933 | 74.8924 | 629296.5367 | 91.6152 | 395589.1967 | 51.1645 | 284306.3633 | 65.265 | 203589.6867
| FALSE | 082SMPL.d | 2022-10-28 16:36 | Sample |  | 171091-004 D.ICP | 1 | 0.68879 | 0.069883 | 0.26642 | 0.0024855 | <0.000 | 0.0053039 | 0.28713 | 0.29912 | 0.29033 | <0.000 | <0.000 | <0.000 | <0.000 | 0.041609 | 0.045061 | 0.039651 | 0.039432 | 0.039473 | 0.041223 | 0.14744 | 0.15444 | 99.429 | 12203.4367 | 98.7429 | 632067.5 | 97.7128 | 287460.47 | 102.4772 | 101665.5667 | 93.9338 | 118282.2267 | 85.3722 | 717354.5833 | 87.973 | 379862.64 | 61.2606 | 340407.8567 | 66.0521 | 206044.87
| FALSE | 083SMPL.d | 2022-10-28 16:40 | Sample |  | 171107-001 | 1 | 0.0098278 | 0.0010189 | 0.1048 | <0.000 | <0.000 | <0.000 | 0.068188 | 0.070683 | 0.066895 | <0.000 | <0.000 | <0.000 | <0.000 | 0.01208 | 0.01283 | 0.010457 | 0.021671 | 0.0084054 | 0.013377 | <0.000 | <0.000 | 112.1241 | 13761.57 | 111.4629 | 713490.0033 | 111.8113 | 328936.7067 | 112.9692 | 112074.4667 | 109.7864 | 138243.9433 | 103.4497 | 869253.59 | 103.7303 | 447901.43 | 87.2649 | 484906.33 | 89.7425 | 279945.52
| FALSE | 084SMPL.d | 2022-10-28 16:44 | Sample |  | 171107-002 | 1 | 0.0018848 | 0.00016765 | 0.085703 | <0.000 | <0.000 | <0.000 | 0.059423 | 0.061266 | 0.062967 | <0.000 | <0.000 | <0.000 | <0.000 | 0.029863 | 0.036519 | 0.023911 | 0.023995 | 0.025623 | 0.030998 | <0.000 | <0.000 | 101.4157 | 12447.2767 | 97.8804 | 626546.43 | 98.338 | 289299.9367 | 104.5035 | 103675.8233 | 102.9268 | 129606.3033 | 97.8687 | 822358.7567 | 100.6275 | 434503.97 | 85.3793 | 474428.5667 | 87.5489 | 273102.6733
| FALSE | 085SMPL.d | 2022-10-28 16:48 | Sample |  | 171107-003 | 1 | 2.8342 | 0.098451 | 0.18486 | <0.000 | <0.000 | 0.0027053 | 0.11944 | 0.12082 | 0.11456 | <0.000 | <0.000 | <0.000 | <0.000 | <0.000 | 0.0062894 | <0.000 | 0.0095172 | <0.000 | 0.0057321 | <0.000 | 0.0090713 | 92.2256 | 11319.3233 | 89.3047 | 571652.47 | 89.6584 | 263765.3633 | 93.623 | 92881.5 | 94.6915 | 119236.3167 | 93.1569 | 782767.17 | 95.4024 | 411942.0767 | 80.5621 | 447660.6567 | 82.2474 | 256564.9433
| FALSE | 086_QC2.d | 2022-10-28 16:52 | QC2 |  | qc 2 | 1 | 10.0473 | 10.2743 | 10.3328 | 11.8109 | 10.2431 | 10.2423 | 10.3273 | 11.8329 | 10.2693 | 1.2264 | 1.1033 | 1.2096 | 1.0751 | 11.7025 | 10.6417 | 11.5792 | 10.3591 | 11.5307 | 10.2802 | 10.219 | 9.2113 | 93.2677 | 11447.2267 | 80.7925 | 517164.34 | 90.4078 | 265969.92 | 94.3867 | 93639.1167 | 95.2414 | 119928.6767 | 85.3584 | 717238.7433 | 96.1343 | 415102.7367 | 72.3305 | 401919.8267 | 81.4583 | 254103.6467
| FALSE | 087SMPL.d | 2022-10-28 16:56 | Sample |  | blk | 1 | 0.026133 | 0.036794 | 0.094172 | <0.000 | <0.000 | 0.00050672 | 0.0096246 | 0.01308 | 0.012376 | 0.028774 | 0.020395 | 0.02287 | 0.020846 | <0.000 | 0.0016752 | <0.000 | <0.000 | <0.000 | <0.000 | 0.011865 | 0.01761 | 95.9495 | 11776.3833 | 92.1993 | 590180.9633 | 91.7641 | 269960.0167 | 95.2727 | 94518.0867 | 95.8276 | 120666.9133 | 95.313 | 800884.0967 | 96.69 | 417502.01 | 81.9802 | 455540.7533 | 83.0886 | 259189.07
| FALSE | 088SMPL.d | 2022-10-28 16:59 | Sample |  | 171108-001 | 1 | 0.24747 | 0.019289 | 0.16107 | <0.000 | <0.000 | <0.000 | 0.089979 | 0.099078 | 0.088454 | <0.000 | <0.000 | <0.000 | <0.000 | 0.17779 | 0.18661 | 0.15903 | 0.17956 | 0.16499 | 0.17666 | 0.031643 | 0.041396 | 91.2379 | 11198.1033 | 92.6668 | 593173.6533 | 92.5673 | 272323.0467 | 96.3 | 95537.3067 | 90.8837 | 114441.5033 | 91.1942 | 766274.9733 | 93.2364 | 402589.54 | 76.0929 | 422826.4867 | 77.5718 | 241979.85
| FALSE | 089SMPL.d | 2022-10-28 17:03 | Sample |  | 171109-001 | 1 | 7.4183 | 0.096373 | 0.4649 | 0.016185 | 0.012733 | 0.016811 | 1.0098 | 1.0078 | 0.99588 | <0.000 | 0.0055852 | 0.0068333 | <0.000 | 2.475 | 2.4904 | 2.3074 | 2.3515 | 2.3502 | 2.3554 | 0.33713 | 0.34202 | 97.0007 | 11905.3967 | 113.4163 | 725994.1433 | 111.9882 | 329457.1033 | 115.8954 | 114977.41 | 88.245 | 111118.8267 | 93.4906 | 785570.63 | 93.4547 | 403532.2067 | 75.9356 | 421952.69 | 77.85 | 242847.7233
| FALSE | 090_QC1.d | 2022-10-28 17:07 | QC1 |  | qc 1 | 1 | 4.9811 | 5.0839 | 4.5802 | 5.4576 | 5.0951 | 5.0154 | 5.0429 | 5.457 | 5.024 | 0.5568 | 0.52102 | 0.52228 | 0.51479 | 5.434 | 5.2923 | 5.3973 | 5.2033 | 5.3277 | 5.1194 | 4.8242 | 4.5974 | 94.8533 | 11641.8367 | 86.6247 | 554496.94 | 90.8765 | 267348.9633 | 94.611 | 93861.62 | 95.3104 | 120015.6067 | 91.1841 | 766190.2767 | 96.0211 | 414613.6867 | 80.4951 | 447288.5767 | 85.5491 | 266864.4333
| FALSE | 091_QC2.d | 2022-10-28 17:11 | QC2 |  | qc 2 | 1 | 10.2514 | 10.2729 | 10.7614 | 10.4282 | 10.3763 | 10.2643 | 10.3669 | 10.4658 | 10.32 | 1.1012 | 1.0935 | 1.061 | 1.0613 | 10.5456 | 10.6231 | 10.4704 | 10.4126 | 10.3498 | 10.2945 | 9.4397 | 9.3327 | 89.861 | 11029.1033 | 87.4132 | 559544.76 | 87.9979 | 258880.29 | 90.9958 | 90275.0867 | 91.745 | 115526.0133 | 90.7065 | 762176.7333 | 94.1886 | 406701.2233 | 81.5076 | 452914.5667 | 85.2377 | 265893.0733
| FALSE | 092_QC3.d | 2022-10-28 17:15 | QC3 |  | qc 3 | 1 | 51.2983 | 55.0899 | 57.304 | 52.6497 | 42.0176 | 40.92 | 44.2331 | 52.802 | 43.4409 | 6.2638 | 4.9812 | 6.1352 | 4.9172 | 60.5684 | 51.7415 | 60.1001 | 50.7324 | 62.8665 | 53.059 | 54.8628 | 47.8567 | 150.1635 | 18430.3433 | 103.7213 | 663935.04 | 141.5946 | 416556.0967 | 144.1936 | 143051.53 | 131.1273 | 165116.6033 | 75.6301 | 635494.7067 | 104.824 | 452624.0433 | 58.8205 | 326849.0333 | 84.6324 | 264004.86
| FALSE | 093SMPL.d | 2022-10-28 17:18 | Sample |  | curve 4 | 1 | 49.5567 | 54.3274 | 55.8773 | 43.5931 | 40.9011 | 40.0837 | 43.0426 | 43.7735 | 42.2861 | 2.6556 | 2.4469 | 2.5963 | 2.3881 | 51.4184 | 51.0944 | 48.9545 | 48.3253 | 51.9205 | 51.411 | 46.004 | 46.7611 | 147.0994 | 18054.2667 | 120.1352 | 769002.49 | 140.0255 | 411939.8533 | 144.3378 | 143194.6067 | 131.2214 | 165235.02 | 88.9712 | 747595.62 | 104.6341 | 451804.26 | 68.5005 | 380637.7833 | 85.2918 | 266061.8167

## ValueList_Helper (hidden)
Bkgnd
BlkVrfy
CalBlk
CalStd
CICSpike
DilStd
DriftChk
FQBlk
IsoStd
QC1
QC2
QC3
QC4
QC5
Sample
Spike
Spike Ref
SQBlk
SQISTD
SQStd