## Sheet1
Sample | [7 empty] | 75 As [ He ] | 78 Se [ H2 ] | 78 Se [ He ] | 111 Cd [ No Gas ] | 111 Cd [ He ] | 114 Cd [ He ] | 121 Sb [ He ] | 123 Sb [ No Gas ] | 123 Sb [ He ] | 201 Hg [ No Gas ] | 201 Hg [ He ] | 202 Hg [ No Gas ] | 202 Hg [ He ] | 206 [Pb] [ No Gas ] | 206 [Pb] [ He ] | 207 [Pb] [ No Gas ] | 207 [Pb] [ He ] | 208 Pb [ No Gas ] | 208 Pb [ He ] | 238 U [ No Gas ] | 238 U [ He ] | 72 Ge ( ISTD ) [ He ] |  | 89 Y ( ISTD ) [ No Gas ] |  | 89 Y ( ISTD ) [ H2 ] |  | 89 Y ( ISTD ) [ He ] |  | 115 In ( ISTD ) [ He ] |  | 159 Tb ( ISTD ) [ No Gas ] |  | 159 Tb ( ISTD ) [ He ] |  | 209 Bi ( ISTD ) [ No Gas ] |  | 209 Bi ( ISTD ) [ He ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | Total Dil. | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS | ISTD Recovery % | CPS
| FALSE | 001SMPL.d | 2022-08-30 16:20 | Sample |  | blk | 1 | [22 empty] | 10178.4267 |  | 583654.8467 |  | 234114.9767 |  | 83348.1233 |  | 108769.0233 |  | 749085.2133 |  | 393522.6267 |  | 463687.54 |  | 283423.6067
| FALSE | 002SMPL.d | 2022-08-30 16:24 | Sample |  | blk | 1 | [22 empty] | 10088.3667 |  | 579024.5567 |  | 232635.5133 |  | 82434.9833 |  | 107410.8333 |  | 741507.7333 |  | 388434.35 |  | 466774.83 |  | 282326.3733
| FALSE | 003SMPL.d | 2022-08-30 16:27 | Sample |  | blk | 1 | [22 empty] | 10191.7633 |  | 574290.8567 |  | 232244.1933 |  | 81996.5433 |  | 106610.3033 |  | 737726.4567 |  | 385641.9133 |  | 465074.0833 |  | 282736.5967
| FALSE | 004CALB.d | 2022-08-30 16:31 | CalBlk | 1 | blk | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 10271.81 | 100 | 574590.9667 | 100 | 235411.42 | 100 | 82423.4133 | 100 | 107543.9133 | 100 | 743049.0167 | 100 | 390079.24 | 100 | 462785.94 | 100 | 283483.93
| FALSE | 005CALS.d | 2022-08-30 16:35 | CalStd | 2 | curve 1 | 1 | 0.10875 | 0.095574 | 0.00091005 | 0.10549 | 0.10243 | 0.1075 | 0.10138 | 0.11114 | 0.09974 | <0.000 | 7.5105e-05 | <0.000 | <0.000 | 0.099602 | 0.10985 | 0.093659 | 0.10562 | 0.10107 | 0.10455 | 0.1002 | 0.094913 | 100.4875 | 10321.8833 | 100.6355 | 578242.3433 | 99.5583 | 234371.5433 | 99.9638 | 82393.5833 | 100.1053 | 107657.15 | 100.3712 | 745807.22 | 100.0829 | 390402.79 | 100.847 | 466705.7233 | 100.1468 | 283900.0667
| FALSE | 006CALS.d | 2022-08-30 16:39 | CalStd | 3 | curve 2 | 1 | 1.0467 | 1.026 | 1.0853 | 1.0385 | 1.0464 | 1.0457 | 1.0087 | 1.0318 | 0.99629 | 0.043709 | 0.040238 | 0.039353 | 0.041442 | 1.0275 | 1.0031 | 1.0221 | 1.0178 | 1.0174 | 1.0117 | 0.98935 | 0.98022 | 99.2101 | 10190.6767 | 101.2571 | 581813.87 | 101.21 | 238259.93 | 100.1115 | 82515.32 | 100.0438 | 107590.9833 | 101.0566 | 750900.11 | 100.2796 | 391169.7567 | 100.8673 | 466799.7267 | 100.3894 | 284587.8267
| FALSE | 007CALS.d | 2022-08-30 16:42 | CalStd | 4 | curve 2.5 (Hg only) | 1 | 1.996 | 2.0742 | 1.8425 | 2.0667 | 2.0679 | 2.0972 | 2.0469 | 2.086 | 2.0328 | 0.09137 | 0.10026 | 0.090969 | 0.089115 | 2.0547 | 2.0456 | 2.047 | 2.0559 | 2.0384 | 2.0428 | 1.9964 | 1.9964 | 100.076 | 10279.6133 | 100.0503 | 574880.1767 | 99.264 | 233678.7667 | 99.4414 | 81963.0133 | 98.7164 | 106163.4633 | 99.9971 | 743027.4033 | 99.4444 | 387911.7833 | 99.807 | 461892.5967 | 98.555 | 279387.6767
| FALSE | 008CALS.d | 2022-08-30 16:46 | CalStd | 5 | curve 3 | 1 | 10.112 | 10.0986 | 10.4837 | 10.2982 | 10.1699 | 10.2348 | 10.0644 | 10.2627 | 9.9923 | 0.48893 | 0.48402 | 0.47467 | 0.48287 | 10.1325 | 10.0791 | 10.0973 | 10.0777 | 10.0718 | 10.0905 | 9.8957 | 9.887 | 100.0869 | 10280.74 | 99.7312 | 573046.3733 | 99.9704 | 235341.7667 | 99.4081 | 81935.51 | 99.8239 | 107354.55 | 99.7667 | 741315.5867 | 99.6861 | 388854.6233 | 99.8053 | 461885.0967 | 98.3746 | 278876.2667
| FALSE | 009CALS.d | 2022-08-30 16:50 | CalStd | 6 | curve 4 | 1 | 50.0783 | 50.208 | 50.2009 | 50.623 | 50.2349 | 50.0894 | 50.0197 | 50.7454 | 49.9975 | 2.4728 | 2.4532 | 2.4606 | 2.4621 | 50.4211 | 50.1588 | 50.522 | 49.7376 | 50.5588 | 49.816 | 50.2341 | 49.7494 | 98.3873 | 10106.1567 | 98.9 | 568270.2267 | 98.2759 | 231352.73 | 97.6455 | 80482.7733 | 96.4603 | 103737.2167 | 98.7071 | 733442.2733 | 97.9651 | 382141.3867 | 97.299 | 450286.2967 | 95.9934 | 272125.8067
| FALSE | 010CALS.d | 2022-08-30 16:54 | CalStd | 7 | curve 5 | 1 | 99.9492 | 99.8859 | 99.8504 | 99.6583 | 99.8651 | 99.9314 | 99.9836 | 99.6007 | 100.0021 | 5.015 | 5.0251 | 5.0225 | 5.021 | 99.7759 | 99.9127 | 99.7291 | 100.1233 | 99.7133 | 100.0828 | 99.8935 | 100.1368 | 96.5037 | 9912.6733 | 96.7472 | 555900.7033 | 94.6879 | 222906.0667 | 94.7591 | 78103.6633 | 93.1746 | 100203.6367 | 97.0504 | 721132.04 | 95.1507 | 371163.07 | 95.4537 | 441746.36 | 93.0599 | 263809.9533
| FALSE | 011SMPL.d | 2022-08-30 16:58 | Sample |  | blk | 1 | 0.049813 | 0.12028 | <0.000 | 0.040772 | 0.016985 | 0.02142 | 0.073386 | 0.10337 | 0.072069 | 0.16526 | 0.14824 | 0.16159 | 0.14049 | 0.053934 | 0.034972 | 0.048949 | 0.03027 | 0.050834 | 0.031292 | 0.083528 | 0.055068 | 95.7351 | 9833.73 | 96.6791 | 555509.1967 | 96.0444 | 226099.3733 | 96.3977 | 79454.2867 | 96.0585 | 103305.09 | 97.3716 | 723519.01 | 96.7676 | 377470.1367 | 98.3473 | 455137.52 | 97.5666 | 276585.6467
| FALSE | 012SMPL.d | 2022-08-30 17:02 | Sample |  | blk | 1 | 0.01342 | 0.022884 | <0.000 | 0.0029508 | 0.003306 | 0.0039661 | 0.018036 | 0.021149 | 0.026659 | 0.056214 | 0.060985 | 0.056722 | 0.059432 | 0.0050955 | 0.007431 | 0.001723 | 0.007214 | 0.0045701 | 0.0059374 | 0.010364 | 0.010207 | 98.0516 | 10071.6733 | 97.2388 | 558725.2167 | 94.9014 | 223408.62 | 97.2275 | 80138.2133 | 97.9282 | 105315.8 | 97.5986 | 725205.2067 | 96.6211 | 376898.96 | 98.9147 | 457763.4333 | 98.0757 | 278028.9
| FALSE | 013_QC1.d | 2022-08-30 17:05 | QC1 |  | qc 1 | 1 | 5.2549 | 5.3075 | 5.0055 | 5.277 | 5.3652 | 5.26 | 5.2187 | 5.3007 | 5.23 | 0.55486 | 0.53649 | 0.51279 | 0.54941 | 5.132 | 5.1502 | 5.3312 | 5.3533 | 5.205 | 5.2466 | 5.0914 | 5.0997 | 99.329 | 10202.8833 | 97.9038 | 562546.6767 | 96.231 | 226538.7233 | 97.4443 | 80316.92 | 97.9128 | 105299.2233 | 98.287 | 730320.91 | 97.6578 | 380942.7067 | 99.3263 | 459668.0467 | 97.2835 | 275783.0067
| FALSE | 014_QC2.d | 2022-08-30 17:09 | QC2 |  | qc 2 | 1 | 10.3506 | 10.3307 | 10.3124 | 10.4195 | 10.197 | 10.2951 | 10.2819 | 10.5198 | 10.2764 | 1.0285 | 1.054 | 1.0208 | 1.0334 | 10.1503 | 10.1 | 10.5489 | 10.4202 | 10.3377 | 10.2999 | 10.0073 | 9.9355 | 97.7272 | 10038.35 | 98.4507 | 565688.6 | 97.8656 | 230386.7267 | 98.2308 | 80965.21 | 98.4384 | 105864.52 | 99.4248 | 738774.7367 | 98.8701 | 385671.74 | 99.9165 | 462399.3367 | 98.7916 | 280058.2967
| FALSE | 015_QC3.d | 2022-08-30 17:13 | QC3 |  | qc 3 | 1 | 51.2097 | 50.399 | 51.113 | 51.1914 | 50.9372 | 50.8355 | 51.1477 | 52.0203 | 51.102 | 5.1181 | 5.0835 | 5.0487 | 5.0848 | 50.0871 | 49.9708 | 52.0529 | 51.9368 | 51.3219 | 51.1966 | 50.2324 | 49.93 | 98.0411 | 10070.6 | 97.7062 | 561410.88 | 96.8558 | 228009.5067 | 97.3591 | 80246.6967 | 97.2421 | 104577.9467 | 98.6215 | 732805.7533 | 98.6558 | 384835.9633 | 97.8163 | 452679.8667 | 96.7699 | 274327.05
| FALSE | 016SMPL.d | 2022-08-30 17:16 | Sample |  | blk | 1 | 0.030956 | 0.062922 | <0.000 | 0.017626 | 0.013424 | 0.0075197 | 0.039986 | 0.057467 | 0.037881 | 0.19135 | 0.1408 | 0.16789 | 0.13811 | 0.027697 | 0.023111 | 0.023272 | 0.020459 | 0.025743 | 0.019791 | 0.049241 | 0.030458 | 95.9521 | 9856.0133 | 97.6572 | 561129.35 | 96.6327 | 227484.42 | 98.239 | 80971.92 | 98.1961 | 105603.9467 | 98.8239 | 734309.8233 | 99.1049 | 386587.8 | 99.8559 | 462119.2233 | 99.1672 | 281123.07
| FALSE | 017SMPL.d | 2022-08-30 17:20 | Sample |  | blk | 1 | 0.013269 | 0.0089645 | <0.000 | 0.0023769 | 0.0011088 | <0.000 | 0.014945 | 0.016457 | 0.017554 | 0.065448 | 0.0702 | 0.065322 | 0.062462 | 0.0048589 | 0.0070764 | <0.000 | 0.0062204 | 0.0035604 | 0.0041472 | 0.008645 | 0.0068379 | 97.1964 | 9983.8333 | 97.6308 | 560977.8133 | 95.8917 | 225740.12 | 98.0765 | 80837.9833 | 98.0952 | 105495.3967 | 98.5262 | 732097.81 | 98.2624 | 383301.17 | 99.8324 | 462010.4333 | 98.6767 | 279732.6167
| FALSE | 018SMPL.d | 2022-08-30 17:24 | Sample |  | 169967-003 | 1 | 0.33519 | 0.2106 | 0.31528 | 0.010219 | 0.0040179 | 0.0043595 | 0.2702 | 0.26624 | 0.2683 | 0.053879 | 0.05203 | 0.05877 | 0.061513 | 0.16569 | 0.17112 | 0.17939 | 0.17925 | 0.16811 | 0.17588 | 0.025923 | 0.025887 | 94.4037 | 9696.9667 | 95.8767 | 550899.0333 | 94.391 | 222207.31 | 94.8578 | 78185.01 | 94.4001 | 101521.6067 | 97.2315 | 722477.5867 | 96.4724 | 376318.7 | 95.0593 | 439921.2933 | 93.2295 | 264290.62
| FALSE | 019SMPL.d | 2022-08-30 17:28 | Sample |  | 169974-001 | 1 | 2.8085 | 1.0277 | 1.2302 | 0.042661 | 0.033684 | 0.038247 | 0.8586 | 0.8678 | 0.83931 | 0.083428 | 0.091853 | 0.082037 | 0.088283 | 1.1537 | 1.1717 | 1.1542 | 1.1478 | 1.1431 | 1.1528 | 0.11166 | 0.10785 | 95.9948 | 9860.4033 | 119.7821 | 688257.11 | 120.6467 | 284016.1267 | 121.5751 | 100206.3467 | 94.6232 | 101761.53 | 98.1977 | 729657.2567 | 97.8386 | 381647.8733 | 95.6347 | 442584.01 | 95.1211 | 269653.02
| FALSE | 020SMPL.d | 2022-08-30 17:31 | Sample |  | 169975-002 | 1 | 0.078481 | 0.054457 | <0.000 | 0.0035539 | <0.000 | 0.0051286 | 0.063095 | 0.063292 | 0.058838 | 0.026659 | 0.033495 | 0.028686 | 0.031935 | 0.38299 | 0.37544 | 0.37731 | 0.39221 | 0.37877 | 0.38138 | 0.0068359 | 0.0065624 | 93.6891 | 9623.5633 | 97.4771 | 560094.8967 | 96.5134 | 227203.4867 | 96.318 | 79388.5667 | 95.9913 | 103232.7933 | 99.4251 | 738776.8633 | 97.4887 | 380283 | 100.0289 | 462919.56 | 98.1038 | 278108.6167
| FALSE | 021SMPL.d | 2022-08-30 17:35 | Sample |  | 169954-001 mj | 5 | 0.51876 | 0.091538 | <0.000 | 0.078188 | 0.065247 | 0.099215 | 0.18 | 0.19024 | 0.1965 | 0.15529 | 0.15532 | 0.15595 | 0.1575 | 0.31443 | 0.32345 | 0.31853 | 0.37697 | 0.31726 | 0.34252 | 0.013521 | 0.013131 | 91.1455 | 9362.29 | 95.3466 | 547853.0933 | 93.453 | 219999.0367 | 93.8249 | 77333.71 | 92.5761 | 99559.9267 | 98.8779 | 734711.5767 | 96.5214 | 376509.8033 | 99.3149 | 459615.54 | 94.8171 | 268791.3433
| FALSE | 022SMPL.d | 2022-08-30 17:39 | Sample |  | 169955-001 mj | 5 | 0.77861 | 0.31191 | <0.000 | 0.93213 | 0.64842 | 0.75932 | 0.5267 | 0.69276 | 0.52779 | 0.1983 | 0.15572 | 0.20995 | 0.15973 | 1.0735 | 0.83613 | 1.0821 | 0.90943 | 1.0679 | 0.86956 | 0.45766 | 0.37377 | 93.094 | 9562.4367 | 77.792 | 446985.7 | 87.5315 | 206059.16 | 94.5707 | 77948.44 | 93.6639 | 100729.8733 | 80.4307 | 597639.85 | 97.1232 | 378857.5833 | 81.9838 | 379409.4667 | 94.9271 | 269103.1967
| FALSE | 023SMPL.d | 2022-08-30 17:43 | Sample |  | 169982-001 | 1 | 0.24174 | 0.095691 | 0.048016 | 0.070156 | 0.062002 | 0.064735 | 0.16338 | 0.17589 | 0.1756 | 0.014406 | 0.013233 | 0.012337 | 0.011035 | 0.18281 | 0.19296 | 0.18721 | 0.19545 | 0.18499 | 0.18931 | 0.091432 | 0.094372 | 90.9288 | 9340.03 | 93.0395 | 534596.2933 | 92.436 | 217604.7933 | 92.7516 | 76449.0467 | 92.4939 | 99471.5333 | 97.2339 | 722495.6567 | 96.0072 | 374504.1133 | 94.3886 | 436817.15 | 93.1255 | 263995.8167
| FALSE | 024SMPL.d | 2022-08-30 17:46 | Sample |  | 169983-001 | 1 | 0.10903 | 0.047549 | <0.000 | 0.010806 | 0.0088663 | 0.021524 | 0.12634 | 0.13522 | 0.12538 | 0.0066241 | 0.0075041 | 0.010091 | 0.004344 | 1.474 | 1.4444 | 1.5336 | 1.5082 | 1.5015 | 1.4734 | 0.007833 | 0.006985 | 91.687 | 9417.91 | 95.7189 | 549992.3267 | 93.3682 | 219799.4867 | 95.9289 | 79067.8867 | 95.7432 | 102966.0067 | 98.5075 | 731958.8433 | 97.7358 | 381247.1367 | 99.3153 | 459617.1733 | 98.9476 | 280500.57
| FALSE | 025SMPL.d | 2022-08-30 17:50 | Sample |  | 169983-002 | 1 | 0.10644 | 0.025477 | <0.000 | 0.0082985 | 0.0056701 | 0.011385 | 0.10222 | 0.10601 | 0.090334 | 0.0073325 | 0.0065536 | 0.0086578 | 0.0042028 | 0.98745 | 0.98249 | 1.0034 | 1.0061 | 0.98964 | 0.99096 | 0.0035895 | 0.0029402 | 90.0958 | 9254.47 | 95.0908 | 546383.2533 | 94.3911 | 222207.4367 | 95.2756 | 78529.3967 | 95.7764 | 103001.7067 | 98.8772 | 734706.1933 | 97.9815 | 382205.4133 | 99.5064 | 460501.6433 | 98.0701 | 278012.8433
| FALSE | 026SMPL.d | 2022-08-30 17:54 | Sample |  | 169990-001 | 1 | 0.085703 | 0.1693 | 0.13178 | 0.0042533 | 0.0024207 | 0.0044864 | 0.072309 | 0.08244 | 0.08052 | 0.0071839 | 0.014525 | 0.0074188 | 0.014577 | 0.10115 | 0.10486 | 0.097976 | 0.10912 | 0.099735 | 0.10521 | 0.0079547 | 0.0078441 | 91.167 | 9364.5 | 94.0861 | 540610.5033 | 91.6126 | 215666.46 | 93.3735 | 76961.62 | 93.2052 | 100236.4667 | 97.5316 | 724707.3067 | 95.2859 | 371690.5167 | 96.6941 | 447486.75 | 94.5636 | 268072.55
| FALSE | 027SMPL.d | 2022-08-30 17:58 | Sample |  | 169992-002 | 1 | 0.21594 | 0.022896 | <0.000 | 0.027366 | 0.0051302 | 0.0051709 | 0.054554 | 0.14525 | 0.05288 | 0.036723 | 0.034564 | 0.045023 | 0.041893 | 1.5172 | 1.5159 | 1.5314 | 1.5487 | 1.5145 | 1.5172 | 0.15443 | 0.15312 | 80.2457 | 8242.6833 | 81.6562 | 469189.0467 | 82.5041 | 194224.13 | 88.0854 | 72603 | 81.073 | 87189.0767 | 80.33 | 596891.5133 | 81.8439 | 319256.1867 | 69.7693 | 322882.61 | 68.9558 | 195478.61
| FALSE | 028_QC2.d | 2022-08-30 18:01 | QC2 |  | qc 2 | 1 | 10.2529 | 10.561 | 9.8332 | 10.1668 | 10.1984 | 10.2162 | 10.2719 | 10.1927 | 10.2355 | 0.99971 | 0.99312 | 1.0022 | 0.98391 | 10.0924 | 10.1374 | 10.3767 | 10.4837 | 10.1678 | 10.3345 | 9.0657 | 9.247 | 103.1937 | 10599.86 | 107.3735 | 616958.19 | 102.5689 | 241458.9867 | 104.7823 | 86365.1767 | 104.3411 | 112212.4667 | 103.51 | 769130.3267 | 102.1612 | 398509.6933 | 100.515 | 465169.19 | 99.7513 | 282778.8
| FALSE | 029SMPL.d | 2022-08-30 18:05 | Sample |  | blk | 1 | 0.0074005 | 0.022658 | 0.030388 | 0.0023278 | <0.000 | 0.002593 | 0.010255 | 0.032995 | 0.012292 | 0.02719 | 0.02164 | 0.034268 | 0.024209 | 0.0090911 | 0.0098234 | 0.0045006 | 0.00804 | 0.0078162 | 0.007343 | 0.015161 | 0.010855 | 102.2304 | 10500.9167 | 101.8315 | 585114.3567 | 99.7045 | 234715.83 | 102.5132 | 84494.8533 | 102.3678 | 110090.38 | 100.0693 | 743563.8067 | 101.7954 | 397082.77 | 99.076 | 458509.99 | 101.1477 | 286737.59
| FALSE | 030SMPL.d | 2022-08-30 18:09 | Sample |  | 169992-003 | 1 | 0.26887 | 0.15757 | 0.13696 | 0.01541 | 0.016721 | 0.015235 | 0.08467 | 0.095898 | 0.087359 | 0.016664 | 0.015371 | 0.015622 | 0.019048 | 0.59126 | 0.59087 | 0.6038 | 0.58978 | 0.586 | 0.58757 | 0.023205 | 0.023398 | 90.3339 | 9278.9233 | 94.1782 | 541139.52 | 91.6126 | 215666.5433 | 92.3381 | 76108.1733 | 92.3889 | 99358.5967 | 96.4922 | 716984.18 | 94.9014 | 370190.6967 | 93.2351 | 431478.8233 | 92.1457 | 261218.3433
| FALSE | 031SMPL.d | 2022-08-30 18:13 | Sample |  | 169992-004 | 1 | 0.070811 | 0.21415 | 0.027013 | 0.012785 | 0.006456 | 0.01649 | 0.090699 | 0.10665 | 0.095695 | 0.027265 | 0.017378 | 0.015617 | 0.016805 | 0.55811 | 0.56556 | 0.575 | 0.56189 | 0.55541 | 0.56242 | 0.023957 | 0.023111 | 90.3012 | 9275.5667 | 93.823 | 539098.5367 | 89.694 | 211149.8167 | 92.6541 | 76368.6367 | 92.1496 | 99101.2833 | 97.4391 | 724019.9267 | 94.2546 | 367667.5767 | 94.0437 | 435221.0667 | 92.3721 | 261860.1967
| FALSE | 032SMPL.d | 2022-08-30 18:16 | Sample |  | 169992-005 | 1 | 0.14604 | 0.017475 | <0.000 | 0.0020937 | <0.000 | 0.00032759 | 0.062961 | 0.086109 | 0.075452 | 0.010263 | 0.009636 | 0.011867 | 0.01385 | 0.34581 | 0.33861 | 0.33973 | 0.34016 | 0.34048 | 0.33791 | 0.08591 | 0.086915 | 93.0829 | 9561.2967 | 92.4754 | 531355.3833 | 91.4026 | 215172.06 | 96.4793 | 79521.5133 | 92.8624 | 99867.8333 | 93.9131 | 697820.18 | 95.5168 | 372591.0667 | 86.18 | 398828.8333 | 86.6255 | 245569.42
| FALSE | 033SMPL.d | 2022-08-30 18:20 | Sample |  | 169992-007 | 1 | 0.079617 | 0.0096631 | 0.10155 | 0.0074587 | 0.0023316 | 0.0061001 | 0.031267 | 0.044276 | 0.03105 | 0.0064582 | 0.0055337 | 0.011976 | 0.011835 | 1.1238 | 1.1402 | 1.1575 | 1.1527 | 1.1367 | 1.1493 | 0.016244 | 0.016845 | 93.7324 | 9628.0167 | 93.9642 | 539909.5733 | 91.3888 | 215139.6833 | 95.1344 | 78412.9933 | 91.7392 | 98659.9467 | 95.0828 | 706511.7033 | 94.747 | 369588.38 | 89.7941 | 415554.6367 | 90.0564 | 255295.4633
| FALSE | 034SMPL.d | 2022-08-30 18:24 | Sample |  | 169996-001 | 1 | 2.5544 | 0.024093 | 0.028125 | 0.05908 | 0.056546 | 0.059061 | 0.16109 | 0.16509 | 0.1669 | 0.015348 | 0.0053311 | 0.0055714 | 0.010174 | 0.31719 | 0.31424 | 0.3075 | 0.3095 | 0.30905 | 0.31317 | 0.24153 | 0.24488 | 89.6626 | 9209.9733 | 99.5901 | 572235.8633 | 94.9933 | 223625.1033 | 97.6685 | 80501.6967 | 91.7176 | 98636.6633 | 97.3525 | 723377.0767 | 94.868 | 370060.52 | 95.8924 | 443776.5167 | 94.2186 | 267094.5567
| FALSE | 035SMPL.d | 2022-08-30 18:28 | Sample |  | 169997-001 | 1 | 0.085044 | 0.033588 | 0.10694 | 0.0082758 | 0.0043795 | 0.011315 | 0.074356 | 0.069328 | 0.062489 | 0.0067116 | 0.0061967 | 0.0070256 | 0.0046619 | 0.79374 | 0.80664 | 0.81207 | 0.79421 | 0.79866 | 0.7939 | 0.0032679 | 0.0033982 | 87.9849 | 9037.6467 | 91.0705 | 523283.1067 | 87.2511 | 205399.0667 | 89.7075 | 73939.9833 | 91.5536 | 98460.3667 | 95.7298 | 711319.6267 | 94.2268 | 367559.2467 | 95.8077 | 443384.5667 | 94.3259 | 267398.8133
| FALSE | 036SMPL.d | 2022-08-30 18:31 | Sample |  | 169998-001 | 1 | 0.11047 | 0.029495 | <0.000 | 0.0055251 | 0.010458 | 0.010595 | 0.29283 | 0.29291 | 0.2817 | <0.000 | 0.0055341 | 0.0055449 | 0.0041015 | 2.6377 | 2.6579 | 2.6769 | 2.6929 | 2.6339 | 2.6658 | 0.0026292 | 0.0022448 | 87.043 | 8940.8967 | 90.8159 | 521819.92 | 87.2184 | 205322.0267 | 88.2606 | 72747.4 | 90.155 | 96956.18 | 96.1021 | 714085.6667 | 92.9096 | 362420.9733 | 95.9431 | 444011.04 | 93.2978 | 264484.24
| FALSE | 037SMPL.d | 2022-08-30 18:35 | Sample |  | 169999-001 | 1 | 0.12737 | 0.032167 | <0.000 | 0.004518 | 0.00088114 | 0.0029108 | 0.089728 | 0.089465 | 0.082892 | 0.0063221 | 0.0011917 | 0.0031135 | 0.0066971 | 0.90013 | 0.88987 | 0.93109 | 0.92802 | 0.90857 | 0.91214 | 0.018942 | 0.020356 | 87.9197 | 9030.9467 | 91.0423 | 523120.5933 | 87.0889 | 205017.1467 | 89.7575 | 73981.2333 | 91.1424 | 98018.05 | 96.0795 | 713918.13 | 94.1155 | 367125.0933 | 95.6634 | 442716.5667 | 93.7705 | 265824.4233
| FALSE | 038SMPL.d | 2022-08-30 18:39 | Sample |  | 169999-002 | 1 | 0.13879 | 0.025692 | <0.000 | 0.0015448 | 0.0014676 | 0.0022248 | 0.058673 | 0.064937 | 0.068672 | 0.0017831 | 0.010935 | 0.0022342 | 0.0047801 | 0.84487 | 0.85821 | 0.88317 | 0.8611 | 0.8521 | 0.85404 | 0.017076 | 0.019866 | 89.1861 | 9161.03 | 91.1253 | 523597.9567 | 86.5523 | 203754.0667 | 89.5136 | 73780.1433 | 91.4126 | 98308.72 | 96.1905 | 714742.8433 | 93.9296 | 366399.74 | 95.6405 | 442610.6867 | 94.0017 | 266479.7733
| FALSE | 039SMPL.d | 2022-08-30 18:43 | Sample |  | 169999-003 | 1 | 0.1475 | 0.031808 | <0.000 | 0.0050621 | 0.0049346 | 0.0047377 | 0.08578 | 0.09307 | 0.084986 | 0.0032406 | 0.0012437 | 0.0031219 | 0.0041267 | 1.2805 | 1.2431 | 1.287 | 1.2855 | 1.2693 | 1.2616 | 0.026577 | 0.028713 | 87.8984 | 9028.7533 | 91.7194 | 527011.4867 | 88.0855 | 207363.2367 | 90.3335 | 74455.9933 | 91.6178 | 98529.4067 | 96.5864 | 717684.4433 | 94.4842 | 368563.0567 | 96.1924 | 445164.8067 | 94.5312 | 267980.8967
| FALSE | 040_QC2.d | 2022-08-30 18:46 | QC2 |  | qc 2 | 1 | 10.147 | 10.2434 | 9.6471 | 10.5952 | 10.6163 | 10.5371 | 10.6037 | 10.8596 | 10.5492 | 0.97662 | 1.0066 | 0.98729 | 0.99712 | 10.1856 | 10.1445 | 10.499 | 10.4512 | 10.3112 | 10.292 | 8.9662 | 8.9547 | 89.8252 | 9226.6767 | 92.3406 | 530580.79 | 88.4317 | 208178.4033 | 90.8338 | 74868.33 | 92.7042 | 99697.7767 | 96.9892 | 720677.0933 | 94.5512 | 368824.4133 | 95.6617 | 442709.0967 | 94.649 | 268314.5767
| FALSE | 041SMPL.d | 2022-08-30 18:50 | Sample |  | blk | 1 | 0.0040749 | 0.018399 | <0.000 | 0.0038887 | 0.0042467 | 0.00095038 | 0.010044 | 0.020349 | 0.012306 | 0.031663 | 0.024989 | 0.031054 | 0.024276 | 0.0063596 | 0.006427 | 0.0032621 | 0.0065469 | 0.0045914 | 0.0047798 | 0.016771 | 0.011043 | 89.576 | 9201.08 | 91.6249 | 526468.1233 | 88.0499 | 207279.5633 | 91.975 | 75808.93 | 92.766 | 99764.2333 | 96.2217 | 714974.54 | 95.3465 | 371926.76 | 95.151 | 440345.5567 | 95.1215 | 269654.23
| FALSE | 042SMPL.d | 2022-08-30 18:54 | Sample |  | 169999-004 | 1 | 0.14216 | 0.032266 | <0.000 | 0.002551 | 0.00085181 | 0.0038071 | 0.10493 | 0.11395 | 0.097404 | 0.013349 | 0.0089344 | 0.0097771 | 0.013344 | 1.2443 | 1.2508 | 1.2504 | 1.2474 | 1.2392 | 1.2477 | 0.026675 | 0.027066 | 89.6085 | 9204.4167 | 90.8076 | 521772.42 | 87.2939 | 205499.9067 | 90.2982 | 74426.8467 | 92.3763 | 99345.1167 | 95.9263 | 712779.19 | 94.5759 | 368921.0733 | 95.7315 | 443031.9567 | 93.8177 | 265957.99
| FALSE | 043SMPL.d | 2022-08-30 18:58 | Sample |  | 169999-005 | 1 | 0.10977 | 0.026532 | 0.012018 | 0.015369 | 0.015295 | 0.012054 | 0.082108 | 0.080323 | 0.073543 | 0.022066 | 0.0057158 | 0.006442 | 0.0094913 | 2.1128 | 2.097 | 2.152 | 2.1253 | 2.1124 | 2.1175 | 0.019481 | 0.017798 | 89.7165 | 9215.5133 | 91.1743 | 523879.3133 | 87.9653 | 207080.2833 | 90.8607 | 74890.52 | 91.6825 | 98598.9167 | 96.3464 | 715900.6433 | 94.1849 | 367395.9033 | 95.0022 | 439656.74 | 93.624 | 265409.11
| FALSE | 044SMPL.d | 2022-08-30 19:01 | Sample |  | 169999-006 | 1 | 0.42601 | 0.058762 | 0.056786 | 0.0010081 | <0.000 | 0.0014536 | 0.11573 | 0.12861 | 0.13388 | 0.0067976 | 0.0040509 | 0.0085412 | 0.0049869 | 0.78691 | 0.76904 | 0.78657 | 0.7956 | 0.77602 | 0.77928 | 0.010065 | 0.0079944 | 87.5408 | 8992.02 | 91.4945 | 525719.41 | 86.3773 | 203341.92 | 90.8297 | 74864.9 | 93.0465 | 100065.82 | 96.5057 | 717084.6767 | 94.4375 | 368381.13 | 96.6611 | 447333.87 | 94.512 | 267926.2367
| FALSE | 045SMPL.d | 2022-08-30 19:05 | Sample |  | 169999-008 Pb | 1 | 0.26088 | 0.044055 | 0.012623 | 0.002654 | 0.0019887 | 0.0097388 | 0.23435 | 0.2419 | 0.24364 | 0.0084138 | 0.0056429 | 0.0056515 | 0.0065994 | 3.6426 | 3.674 | 3.6608 | 3.6306 | 3.608 | 3.6292 | 0.0080023 | 0.007975 | 90.5285 | 9298.9133 | 91.4504 | 525465.66 | 87.9929 | 207145.29 | 90.9827 | 74991.0233 | 92.3254 | 99290.3033 | 96.3268 | 715755.2767 | 94.7273 | 369511.5567 | 95.6521 | 442664.63 | 94.199 | 267039.1633
| FALSE | 046SMPL.d | 2022-08-30 19:09 | Sample |  | 169999-009 Pb | 1 | 0.43213 | 0.045619 | <0.000 | 0.007781 | 0.003691 | 0.0081221 | 0.17366 | 0.19406 | 0.17942 | 0.0045284 | 0.0039535 | 0.0060704 | 0.0032021 | 0.86428 | 0.81234 | 0.86335 | 0.82164 | 0.85948 | 0.80943 | 0.010988 | 0.0096823 | 88.7316 | 9114.3433 | 85.2324 | 489737.4533 | 87.6222 | 206272.61 | 91.0954 | 75083.9067 | 91.8281 | 98755.5033 | 90.4681 | 672222.6 | 94.8644 | 370046.52 | 90.3337 | 418051.7333 | 94.3852 | 267566.9267
| FALSE | 047SMPL.d | 2022-08-30 19:13 | Sample |  | 170000-001 | 1 | 0.098176 | 0.031997 | <0.000 | 0.002958 | 0.00083639 | 0.0023879 | 0.063509 | 0.061036 | 0.067001 | <0.000 | <0.000 | <0.000 | <0.000 | 1.0025 | 1.004 | 1.0393 | 1.0395 | 1.0089 | 1.0172 | 0.019166 | 0.018404 | 89.7491 | 9218.86 | 90.5719 | 520417.69 | 87.8103 | 206715.55 | 90.6336 | 74703.2833 | 91.7711 | 98694.2533 | 95.6751 | 710912.62 | 94.0703 | 366948.5333 | 95.1075 | 440144.3167 | 93.3946 | 264758.7033
| FALSE | 048SMPL.d | 2022-08-30 19:16 | Sample |  | 170000-002 | 1 | 0.14988 | 0.022711 | <0.000 | 0.0024128 | 0.00026025 | 0.0019593 | 0.06966 | 0.075976 | 0.064654 | <0.000 | <0.000 | <0.000 | <0.000 | 0.7359 | 0.73394 | 0.73941 | 0.75756 | 0.72998 | 0.73174 | 0.017483 | 0.017648 | 88.5154 | 9092.1367 | 90.8856 | 522220.5367 | 87.0475 | 204919.76 | 90.2552 | 74391.4467 | 92.1589 | 99111.2833 | 95.8744 | 712394.0767 | 94.2336 | 367585.52 | 95.0396 | 439830.1333 | 93.641 | 265457.2967
| FALSE | 049SMPL.d | 2022-08-30 19:20 | Sample |  | 170000-003 | 1 | 0.13801 | 0.023177 | 0.057946 | 0.0022276 | 0.00026569 | 0.0035469 | 0.087861 | 0.090949 | 0.086536 | <0.000 | <0.000 | <0.000 | <0.000 | 0.967 | 0.95245 | 0.9868 | 0.96895 | 0.97131 | 0.96291 | 0.022967 | 0.022418 | 89.1646 | 9158.82 | 90.783 | 521631.1167 | 85.9234 | 202273.57 | 90.5494 | 74633.8667 | 91.849 | 98777.99 | 95.5289 | 709826.19 | 94.4666 | 368494.45 | 93.5999 | 433167.0667 | 93.6239 | 265408.5767
| FALSE | 050SMPL.d | 2022-08-30 19:24 | Sample |  | 170000-004 | 1 | 0.39829 | 0.045522 | <0.000 | 0.00056441 | <0.000 | 0.0012231 | 0.15074 | 0.14671 | 0.15018 | <0.000 | <0.000 | <0.000 | <0.000 | 0.72977 | 0.71899 | 0.73535 | 0.71625 | 0.72342 | 0.72099 | 0.0089122 | 0.0085635 | 88.4717 | 9087.65 | 90.8601 | 522073.7333 | 87.9402 | 207021.2267 | 91.0089 | 75012.62 | 92.7127 | 99706.8133 | 96.1732 | 714614.2867 | 94.7727 | 369688.7433 | 95.3192 | 441123.9833 | 94.6144 | 268216.5667
| FALSE | 051SMPL.d | 2022-08-30 19:28 | Sample |  | 170001-001 | 1 | 0.052312 | 0.022439 | <0.000 | 0.0018894 | 0.0031838 | 0.0024103 | 0.057683 | 0.055862 | 0.05945 | <0.000 | <0.000 | <0.000 | <0.000 | 0.87632 | 0.86967 | 0.86732 | 0.89007 | 0.86349 | 0.87503 | 0.0028444 | 0.0023924 | 90.1386 | 9258.87 | 90.8048 | 521756.22 | 87.967 | 207084.4167 | 90.3446 | 74465.13 | 91.4441 | 98342.5267 | 96.0952 | 714034.5533 | 94.2779 | 367758.3567 | 94.8546 | 438973.5733 | 93.3328 | 264583.4233
| FALSE | 052_QC2.d | 2022-08-30 19:31 | QC2 |  | qc 2 | 1 | 10.1024 | 9.9748 | 9.857 | 10.5209 | 10.4162 | 10.3341 | 10.418 | 10.7336 | 10.4569 | 0.99345 | 0.9881 | 0.96642 | 0.98777 | 10.2104 | 10.1859 | 10.403 | 10.3702 | 10.2632 | 10.329 | 8.7708 | 8.7517 | 90.6585 | 9312.27 | 92.2261 | 529922.9267 | 89.7316 | 211238.44 | 92.5589 | 76290.2067 | 92.6733 | 99664.5067 | 96.8213 | 719429.3467 | 95.0102 | 370615.07 | 94.446 | 437082.8467 | 94.1843 | 266997.41
| FALSE | 053SMPL.d | 2022-08-30 19:35 | Sample |  | blk | 1 | 0.0062612 | 0.0087217 | <0.000 | 0.0065288 | <0.000 | 0.0036802 | 0.0095659 | 0.021154 | 0.014058 | 0.032904 | 0.030767 | 0.03491 | 0.02329 | 0.0070607 | 0.0081019 | 0.0054295 | 0.0037739 | 0.0060982 | 0.0031159 | 0.020695 | 0.010972 | 91.1781 | 9365.6367 | 81.068 | 465809.33 | 89.2467 | 210096.8333 | 92.2826 | 76062.5 | 94.0477 | 101142.6233 | 85.2568 | 633499.7433 | 95.3737 | 372033.0567 | 85.2598 | 394570.5867 | 94.3424 | 267445.4833
| FALSE | 054SMPL.d | 2022-08-30 19:39 | Sample |  | 170001-002 | 1 | 0.036434 | 0.022523 | <0.000 | 0.00095298 | 0.0019362 | 0.0025551 | 0.050699 | 0.055877 | 0.052752 | 0.0029016 | 0.00056341 | 0.0026967 | 0.0049142 | 0.47568 | 0.46976 | 0.46582 | 0.46594 | 0.46773 | 0.46421 | 0.0045486 | 0.0041486 | 91.0593 | 9353.4367 | 91.1121 | 523521.7033 | 87.5336 | 206064.2033 | 91.8803 | 75730.8867 | 93.0267 | 100044.5633 | 95.6071 | 710407.95 | 95.412 | 372182.43 | 94.7542 | 438509.0667 | 94.3475 | 267460.02
| FALSE | 055SMPL.d | 2022-08-30 19:43 | Sample |  | 170001-003 | 1 | 0.041617 | 0.021204 | <0.000 | 0.0016248 | <0.000 | 0.002806 | 0.043449 | 0.043534 | 0.044497 | <0.000 | <0.000 | <0.000 | <0.000 | 0.49735 | 0.51123 | 0.51837 | 0.5241 | 0.50418 | 0.51121 | 0.0033365 | 0.0028791 | 89.2184 | 9164.3467 | 90.807 | 521768.8833 | 87.6175 | 206261.57 | 91.4746 | 75396.47 | 92.3191 | 99283.5467 | 95.7131 | 711195.17 | 94.1077 | 367094.72 | 93.9159 | 434629.4467 | 93.4259 | 264847.3733
| FALSE | 056SMPL.d | 2022-08-30 19:46 | Sample |  | 170001-004 | 1 | 0.050595 | 0.026018 | <0.000 | 0.00042967 | <0.000 | 0.0018366 | 0.043246 | 0.047424 | 0.048887 | 0.0014402 | <0.000 | <0.000 | <0.000 | 0.071163 | 0.064823 | 0.062286 | 0.065003 | 0.06538 | 0.063208 | 0.0032762 | 0.0026853 | 89.6951 | 9213.31 | 91.014 | 522958.3667 | 89.1741 | 209925.9433 | 92.3286 | 76100.36 | 92.8681 | 99874.0033 | 96.2926 | 715500.8833 | 94.8009 | 369798.7 | 94.1009 | 435485.55 | 93.9476 | 266326.24
| FALSE | 057SMPL.d | 2022-08-30 19:50 | Sample |  | 170001-006 Pb | 1 | 0.064987 | 0.026449 | <0.000 | 0.0073669 | 0.0030713 | 0.0091099 | 0.12528 | 0.13272 | 0.13464 | <0.000 | <0.000 | <0.000 | <0.000 | 2.1376 | 2.1444 | 2.1996 | 2.2041 | 2.1427 | 2.1635 | 0.0033074 | 0.003074 | 88.1799 | 9057.6667 | 90.9286 | 522467.24 | 88.1899 | 207609.15 | 92.1781 | 75976.3 | 93.1693 | 100197.8933 | 95.7125 | 711190.7367 | 94.7551 | 369619.84 | 94.6054 | 437820.3333 | 93.4504 | 264916.7367
| FALSE | 058SMPL.d | 2022-08-30 19:54 | Sample |  | 170001-007 Pb | 1 | 0.051248 | 0.034652 | <0.000 | 0.0022164 | 0.0013551 | 0.0018532 | 0.16679 | 0.1697 | 0.18013 | <0.000 | <0.000 | <0.000 | <0.000 | 0.074596 | 0.072924 | 0.073464 | 0.079847 | 0.073101 | 0.072365 | 0.0029597 | 0.0020562 | 88.8185 | 9123.2667 | 90.8672 | 522114.4467 | 87.8172 | 206731.6133 | 92.0643 | 75882.5033 | 93.1682 | 100196.7267 | 96.2634 | 715284.4067 | 94.9553 | 370400.9033 | 93.7827 | 434013.32 | 93.8845 | 266147.51
| FALSE | 059SMPL.d | 2022-08-30 19:58 | Sample |  | 170003-001 | 1 | 0.096236 | 0.012441 | 0.062816 | 0.0063403 | 0.0043854 | 0.0033888 | 0.05674 | 0.078717 | 0.058431 | <0.000 | <0.000 | <0.000 | <0.000 | 0.40701 | 0.4159 | 0.41294 | 0.41229 | 0.41089 | 0.41054 | 0.15019 | 0.15085 | 86.6099 | 8896.4067 | 85.2936 | 490089.3767 | 83.5444 | 196672.97 | 89.5262 | 73790.55 | 86.7061 | 93247.1467 | 88.2514 | 655751.4333 | 89.1619 | 347802.2433 | 78.0263 | 361094.6667 | 78.563 | 222713.3633
| FALSE | 060SMPL.d | 2022-08-30 20:01 | Sample |  | 170005-001 | 1 | 0.30816 | 0.0084888 | <0.000 | 0.020057 | 0.02208 | 0.021402 | 0.038605 | 0.049608 | 0.043428 | <0.000 | <0.000 | <0.000 | <0.000 | 0.83406 | 0.84061 | 0.85511 | 0.87654 | 0.83187 | 0.85753 | <0.000 | <0.000 | 95.7893 | 9839.2967 | 94.4752 | 542846.2333 | 90.6855 | 213484.1367 | 95.6343 | 78825.0733 | 94.432 | 101555.8667 | 97.0583 | 721190.82 | 96.3403 | 375803.63 | 92.7131 | 429063.3433 | 92.5026 | 262230.14
| FALSE | 061SMPL.d | 2022-08-30 20:05 | Sample |  | 170005-002 | 1 | 0.19127 | 0.010222 | <0.000 | <0.000 | <0.000 | 0.0048352 | 0.064397 | 0.064436 | 0.067011 | <0.000 | <0.000 | <0.000 | <0.000 | 0.11515 | 0.11202 | 0.11533 | 0.11988 | 0.11358 | 0.11353 | 0.0026043 | 0.0027211 | 90.5176 | 9297.7967 | 90.3233 | 518989.45 | 88.0886 | 207370.64 | 91.625 | 75520.4533 | 91.4326 | 98330.1833 | 94.1824 | 699821.2467 | 94.142 | 367228.3833 | 88.8486 | 411178.8 | 89.0256 | 252373.32
| FALSE | 062SMPL.d | 2022-08-30 20:09 | Sample |  | 170005-003 | 1 | 0.10877 | <0.000 | <0.000 | 0.016783 | 0.012169 | 0.021583 | 0.092069 | 0.10177 | 0.090418 | <0.000 | <0.000 | <0.000 | <0.000 | 2.703 | 2.6849 | 2.7559 | 2.7169 | 2.6882 | 2.6942 | <0.000 | <0.000 | 92.0114 | 9451.24 | 90.7367 | 521364.9267 | 87.3608 | 205657.3367 | 92.3097 | 76084.84 | 91.8549 | 98784.35 | 95.4061 | 708913.7933 | 95.1086 | 370998.7533 | 90.2192 | 417521.9867 | 89.9853 | 255093.89
| FALSE | 063SMPL.d | 2022-08-30 20:13 | Sample |  | 170006-001 | 1 | 0.86083 | 0.052483 | <0.000 | 0.0071078 | 0.00076999 | 0.0027184 | 0.065183 | 0.065395 | 0.064386 | <0.000 | <0.000 | <0.000 | <0.000 | 0.68778 | 0.67713 | 0.67108 | 0.68188 | 0.67157 | 0.67719 | 1.6656 | 1.6606 | 91.0807 | 9355.6333 | 91.5487 | 526030.7367 | 87.4896 | 205960.4567 | 92.6792 | 76389.38 | 92.9906 | 100005.68 | 96.4025 | 716317.5 | 94.7403 | 369562.1533 | 92.1323 | 426375.4067 | 91.9766 | 260738.7967
| FALSE | 064_QC2.d | 2022-08-30 20:16 | QC2 |  | qc 2 | 1 | 9.9575 | 10.2502 | 10.8738 | 10.4264 | 10.4807 | 10.3123 | 10.4487 | 10.6463 | 10.5346 | 0.97385 | 1.0068 | 0.99255 | 0.98337 | 10.2045 | 10.1089 | 10.3525 | 10.3565 | 10.1997 | 10.2119 | 8.6133 | 8.5669 | 91.5678 | 9405.67 | 93.1186 | 535051.2267 | 89.147 | 209862.1467 | 93.1039 | 76739.4367 | 94.034 | 101127.8767 | 97.1129 | 721596.6133 | 95.7749 | 373597.8267 | 94.2582 | 436213.4867 | 94.3638 | 267506.3367
| FALSE | 065SMPL.d | 2022-08-30 20:20 | Sample |  | blk | 1 | 0.0026565 | 0.017011 | <0.000 | 0.0026346 | 0.0024885 | 0.0016107 | 0.0069063 | 0.017186 | 0.013001 | 0.033117 | 0.023317 | 0.033001 | 0.024395 | 0.0030194 | 0.0073474 | 0.00092268 | 0.0054418 | 0.0024933 | 0.0029115 | 0.015095 | 0.010753 | 90.745 | 9321.1533 | 91.824 | 527612.5133 | 88.0681 | 207322.39 | 92.3325 | 76103.5667 | 93.743 | 100814.8867 | 96.0948 | 714031.3 | 94.7129 | 369455.2 | 94.1484 | 435705.5133 | 93.6196 | 265396.6233
| FALSE | 066SMPL.d | 2022-08-30 20:24 | Sample |  | 170008-001 | 1 | 0.16024 | 0.22943 | 0.054305 | 0.010112 | 0.0025378 | 0.010555 | 0.11147 | 0.11739 | 0.11065 | 0.0043221 | 0.0077462 | 0.005042 | 0.0061843 | 1.1344 | 1.1226 | 1.1449 | 1.1358 | 1.1234 | 1.1286 | 0.0074176 | 0.0064579 | 90.8209 | 9328.9467 | 90.6325 | 520766.43 | 86.8765 | 204517.2567 | 91.5727 | 75477.3567 | 91.4139 | 98310.0567 | 94.793 | 704358.34 | 93.8879 | 366237.2533 | 90.7898 | 420162.5967 | 90.7387 | 257229.5
| FALSE | 067SMPL.d | 2022-08-30 20:28 | Sample |  | 170012-001 | 1 | 0.66673 | 0.019907 | <0.000 | 0.0013582 | <0.000 | 0.0011606 | 0.070668 | 0.07472 | 0.060845 | <0.000 | <0.000 | <0.000 | <0.000 | 0.33277 | 0.33419 | 0.33993 | 0.33259 | 0.33058 | 0.32867 | 0.21798 | 0.21116 | 90.7557 | 9322.25 | 90.8493 | 522011.7133 | 87.3924 | 205731.6433 | 92.658 | 76371.9067 | 92.1839 | 99138.2233 | 95.1115 | 706725.32 | 95.0391 | 370727.6433 | 90.0333 | 416661.6133 | 90.9421 | 257806.2133
| FALSE | 068SMPL.d | 2022-08-30 20:31 | Sample |  | 170012-002 | 1 | 0.75858 | 0.011645 | <0.000 | 0.0018186 | 0.0013213 | 0.0033866 | 0.067214 | 0.068184 | 0.066531 | <0.000 | <0.000 | <0.000 | <0.000 | 0.60237 | 0.6185 | 0.61151 | 0.60536 | 0.59625 | 0.60571 | 0.15082 | 0.15177 | 91.1779 | 9365.6233 | 90.9064 | 522339.73 | 88.0744 | 207337.2967 | 92.876 | 76551.5533 | 91.6987 | 98616.4167 | 94.8815 | 705015.8333 | 94.1342 | 367198.06 | 90.0963 | 416952.96 | 90.4035 | 256279.2967
| FALSE | 069SMPL.d | 2022-08-30 20:35 | Sample |  | 170013-001 | 1 | 0.031908 | 0.7783 | 0.35736 | 0.032808 | 0.028186 | 0.026916 | 0.064388 | 0.071157 | 0.075911 | <0.000 | <0.000 | 0.00012309 | <0.000 | 0.043668 | 0.044187 | 0.039436 | 0.044313 | 0.040356 | 0.041528 | 0.022362 | 0.021614 | 89.6411 | 9207.7633 | 90.918 | 522406.7833 | 87.4993 | 205983.4533 | 91.9732 | 75807.4467 | 91.9516 | 98888.2967 | 95.5883 | 710267.6 | 94.5587 | 368854.0067 | 91.2329 | 422212.8533 | 91.1935 | 258519.0233
| FALSE | 070SMPL.d | 2022-08-30 20:39 | Sample |  | 169980-001 mj | 5 | 0.095464 | 0.10534 | <0.000 | 0.12541 | 0.10147 | 0.10669 | 0.19347 | 0.21495 | 0.21483 | 0.23422 | 0.21873 | 0.17955 | 0.21236 | 2.1221 | 2.2252 | 2.1618 | 2.2405 | 2.1269 | 2.1751 | 0.018307 | 0.01464 | 89.0129 | 9143.24 | 91.5475 | 526023.5033 | 87.8982 | 206922.4667 | 91.4163 | 75348.4733 | 90.6575 | 97496.6333 | 96.6729 | 718327.15 | 95.1644 | 371216.5267 | 92.3409 | 427340.9333 | 91.1539 | 258406.71
| FALSE | 071SMPL.d | 2022-08-30 20:43 | Sample |  | 170016-001 Pb | 1 | 0.17857 | 0.030386 | <0.000 | 0.015101 | 0.013242 | 0.014037 | 0.18185 | 0.17819 | 0.17557 | <0.000 | <0.000 | <0.000 | <0.000 | 0.83561 | 0.86198 | 0.86122 | 0.85921 | 0.83862 | 0.85349 | 0.47788 | 0.47434 | 88.4828 | 9088.79 | 91.5654 | 526126.4467 | 88.457 | 208237.8667 | 92.5444 | 76278.2767 | 92.872 | 99878.23 | 96.0735 | 713873.5 | 95.1698 | 371237.7933 | 91.151 | 421834.0167 | 90.8691 | 257599.4233
| FALSE | 072SMPL.d | 2022-08-30 20:46 | Sample |  | 170016-002 Pb | 1 | 0.21448 | 0.03796 | <0.000 | 0.0050453 | 0.0038804 | 0.0048175 | 0.14982 | 0.1466 | 0.14464 | <0.000 | <0.000 | <0.000 | <0.000 | 0.45419 | 0.44977 | 0.44922 | 0.46179 | 0.44114 | 0.44877 | 0.81658 | 0.8216 | 86.6212 | 8897.56 | 90.0921 | 517661.1233 | 86.5997 | 203865.5267 | 89.1913 | 73514.54 | 91.2835 | 98169.87 | 95.6381 | 710637.9667 | 93.4378 | 364481.6167 | 91.5152 | 423519.3433 | 90.6636 | 257016.6833
| FALSE | 073SMPL.d | 2022-08-30 20:50 | Sample |  | 170016-003 Pb | 1 | 0.91197 | 0.010501 | 0.076396 | 0.11418 | 0.092719 | 0.16007 | 2.2812 | 2.3148 | 2.2222 | <0.000 | <0.000 | <0.000 | <0.000 | 22.1027 | 22.0746 | 21.9963 | 21.988 | 21.7375 | 21.841 | 0.79241 | 0.79291 | 87.79 | 9017.62 | 89.8192 | 516093.2233 | 86.749 | 204217.15 | 91.4938 | 75412.3133 | 91.5605 | 98467.78 | 95.0717 | 706429.6133 | 94.2825 | 367776.29 | 90.3215 | 417995.02 | 90.4854 | 256511.6433
| FALSE | 074SMPL.d | 2022-08-30 20:54 | Sample |  | 170016-004 Pb | 1 | 0.19749 | 0.027646 | <0.000 | 0.0046701 | 0.0037877 | 0.0054491 | 0.11104 | 0.11553 | 0.11384 | <0.000 | <0.000 | <0.000 | <0.000 | 0.98075 | 0.99613 | 0.97823 | 0.96897 | 0.97209 | 0.9704 | 0.78524 | 0.79381 | 86.924 | 8928.6667 | 89.8351 | 516184.5233 | 85.0635 | 200249.22 | 89.9309 | 74124.1533 | 90.4417 | 97264.58 | 95.5842 | 710237.4867 | 93.3008 | 363946.8667 | 92.0732 | 426101.75 | 90.8961 | 257675.9633
| FALSE | 075_QC1.d | 2022-08-30 20:58 | QC1 |  | qc 1 | 1 | 5.0763 | 5.1497 | 4.3319 | 5.2962 | 5.328 | 5.2519 | 5.2804 | 5.4378 | 5.2654 | 0.49345 | 0.48972 | 0.47028 | 0.49469 | 5.1903 | 5.1683 | 5.242 | 5.2486 | 5.1659 | 5.1708 | 4.2738 | 4.3064 | 90.2038 | 9265.5667 | 91.7685 | 527293.2367 | 88.8836 | 209242.2567 | 92.5482 | 76281.3967 | 94.1173 | 101217.4167 | 96.3492 | 715921.42 | 95.328 | 371854.8733 | 92.6365 | 428708.6967 | 93.3395 | 264602.6067
| FALSE | 076_QC2.d | 2022-08-30 21:01 | QC2 |  | qc 2 | 1 | 10.0815 | 10.4011 | 10.0243 | 10.569 | 10.31 | 10.404 | 10.5648 | 10.8182 | 10.5672 | 1.0566 | 1.0189 | 1.0182 | 1.0005 | 10.2588 | 10.1985 | 10.4675 | 10.3545 | 10.2823 | 10.2425 | 8.5445 | 8.5061 | 89.6624 | 9209.9533 | 90.0309 | 517309.6767 | 87.7911 | 206670.28 | 91.411 | 75344.0733 | 92.47 | 99445.8267 | 95.0173 | 706025.44 | 95.0857 | 370909.4833 | 91.7921 | 424800.8667 | 92.7746 | 263001.2167
| FALSE | 077_QC3.d | 2022-08-30 21:05 | QC3 |  | qc 3 | 1 | 49.8443 | 50.478 | 49.5983 | 51.7122 | 51.3373 | 51.3548 | 52.1327 | 53.5427 | 51.9337 | 5.2602 | 5.1371 | 5.1057 | 5.1379 | 51.1941 | 51.0318 | 51.838 | 51.9567 | 52.9902 | 52.9844 | 46.6699 | 47.0646 | 89.5759 | 9201.0633 | 89.272 | 512948.5933 | 85.404 | 201050.8567 | 90.3216 | 74446.1267 | 90.8425 | 97695.6233 | 94.6682 | 703431.5 | 93.5571 | 364946.9633 | 89.9557 | 416302.1867 | 90.099 | 255416.2967
| FALSE | 078SMPL.d | 2022-08-30 21:09 | Sample |  | curve 4 | 1 | 48.7073 | 49.7759 | 49.9198 | 50.9582 | 50.6666 | 50.5348 | 50.9779 | 52.0485 | 50.9996 | 2.5405 | 2.5468 | 2.6048 | 2.5424 | 50.8823 | 50.6814 | 49.4821 | 49.63 | 51.5608 | 51.5294 | 46.2058 | 46.5051 | 89.5544 | 9198.86 | 89.4047 | 513711.1133 | 86.0082 | 202473.1267 | 89.881 | 74082.98 | 91.6564 | 98570.9233 | 94.8257 | 704601.16 | 93.8482 | 366082.3667 | 90.0209 | 416604.18 | 90.1462 | 255550.0833

## ValueList_Helper (hidden)
Bkgnd
BlkVrfy
CalBlk
CalStd
CICSpike
DilStd
DriftChk
FQBlk
IsoStd
QC1
QC2
QC3
QC4
QC5
Sample
Spike
Spike Ref
SQBlk
SQISTD
SQStd